## Form-15_DTR
TRIPPING REPORT OF LINES SUMMARY
HIMACHAL PRADESH
STATE LOAD DESPATCH CENTER
Monthly Tripping Report Summary For The Month Of Aug, 2020
Sr. No. | Date | Name of Transmission Line | Tripping Time |  | Restoration Time |  | Duration |  | Load Loss | Generation Loss | Reason of Tripping | tripping due to the Element
|  |  | Hour | Minute | Hour | Minute | Hour | Minute | (MW) | (MW)
1 | 03.08.2020 | Parwati-III to Sainj | 14 | 15 | 15 | 30 | 1 | 15 | 0 | 0 | Under Voltage | _
2 | 05.08.2020 | 220kV Phozal to Nalagarh (ADHPL Ckt-I) | 10 | 34 | 17 | 23 | 6 | 49 | 0 | 0 | Line to Earth Fault | _
3 | 05.08.2020 | 220kV AD Hydro to Phozal | 16 | 11 | 18 | 0 | 1 | 49 | 0 | 0 | No relay operated at Phozal end | _
4 | 19.08.2020 | 220kV AD Hydro to Phozal | 16 | 15 | 18 | 56 | 2 | 41 | 0 | 17.73 | No relay operated at Phozal end | _
5 | 19.08.2020 | 220kV Phozal to Nalagarh (ADHPL Ckt-I) | 16 | 15 | 18 | 56 | 2 | 41 | 0 | 17.73 | Phase to Phase | _
6 | 21.08.2020 | 220kV AD Hydro to Phozal | 19 | 30 | - | - | - | - | 0 | 17.73 | Under Voltage | _
7 | 22.08.2020 | 220kV AD Hydro to Phozal | - | - | 19 | 49 | 24 | 19 | 0 | 17.73 | Under Voltage | _
8 | 21.08.2020 | 220kV Phozal to Nalagarh (ADHPL Ckt-I) | 19 | 30 | - | - | - | - | 0 | - | Phase to Phase | _
9 | 25.08.2020 | 220kV AD Hydro to Phozal | 5 | 24 | 7 | 17 | 1 | 53 | 0 | 25 | Phase to Phase | _
Total:- | [9 empty] | 95.92