## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2020-10-12
Hiamchal Pradesh State Load Despatch Centre
[10 empty] | DATED | 2020-10-13
FROM | [8 empty] | TO
| POWER CONTROLLER | [8 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [8 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [10 empty] | DEMAND OF STATE |  |  | 28205.085 | MWh
[14 empty] | ACTUAL MALANA GENERATION |  |  | 1011 | MWh
|  | State:- Himachal Pradesh | [11 empty] | ACTUAL BASPA GENERATION |  |  | 3640 | MWh | [7 empty] | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[9 empty] | PEAK DEMAND(MW) |  |  | 1439.6 | [13 empty] | 1 | 00.00-00.15 | 50.04 |  | 901.55
|  | Month/Day :- |  | 2020-10-12 |  |  |  |  | Min.DEMAND(MW) |  |  | 864.54 |  | ACTUAL OWN GENERATION |  |  | 10761 | MWh | [7 empty] | 2 | 00.15-00.30 | 50.07 |  | 893.96
[26 empty] | 3 | 00.30-00.45 | 49.97 |  | 889.24 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) |  |  |  | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET |  |  | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P6 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 49.96 | 50.01 | 906.1 | 897.7125 | Malana | HRS. OF THE DAY
[8 empty] | DUE TO LOAD SHEDD-ING (MW) | DUE TO SATUTORY CUT (MW) | DUE TO T&D CONS-TRAINTS (MW) | [15 empty] | 5 | 01.00-01.15 | 49.97 |  | 890.73
[26 empty] | 6 | 01.15-01.30 | 49.99 |  | 892.25
[26 empty] | 7 | 01.30-01.45 | 50.03 |  | 892.93
[26 empty] | 8 | 01.45-02:00 | 50.02 | 50.0025 | 882.15 | 889.515
| OWN GEN | Malana | BASPA | TOTAL | [10 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50 |  | 881.27 |  | Malana
[6 empty] | 5+6 | [19 empty] | 10 | 02.15-02.30 | 50.02 |  | 872.06
[6 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P6/1000 | P7 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50.03 |  | 877.06
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.03 | 50.02 | 879.43 | 877.455
1 | 430.2879 | 32.9427 | 182.507 | 645.7375 | 251.9856 | 897.7231 | 0 | 0 | 0 | 0 | 0 | 0 | 897.7231 | 1 | 446.89 | 37.7 | 180 | 664.59 | 897.7125 | 906.1 | 889.24 | 897.7125 | 897.7125 | 897.7231 | 0 | 13 | 03.00-03.15 | 50.02 |  | 870.54 |  | 37.7 | 1
2 | 425.2811 | 32.4184 | 152.0891 | 609.7886 | 279.7369 | 889.5255 | 0 | 0 | 0 | 0 | 0 | 0 | 889.5255 | 2 | 441.69 | 37.1 | 150 | 628.79 | 889.515 | 892.93 | 882.15 | 889.515 | 889.515 | 889.5255 | 0 | 14 | 03.15-03.30 | 50 |  | 864.54 |  | 37.1 | 2
3 | 425.4159 | 32.9427 | 182.507 | 640.8655 | 236.5998 | 877.4653 | 0 | 0 | 0 | 0 | 0 | 0 | 877.4653 | 3 | 441.83 | 37.7 | 180 | 659.53 | 877.455 | 881.27 | 872.06 | 877.455 | 877.455 | 877.4653 | 0 | 15 | 03.30-03.45 | 50.01 |  | 875.68 |  | 37.7 | 3
4 | 421.68 | 12.845 | 182.507 | 617.032 | 247.508 | 864.54 | 0 | 0 | 0 | 0 | 0 | 0 | 864.54 | 4 | 437.95 | 14.7 | 180 | 632.65 | 872.755 | 880.26 | 864.54 | 864.54 | 864.54 | 864.54 | 0 | 16 | 03.45-04.00 | 50.01 | 50.01 | 880.26 | 872.755 | 14.7 | 4
5 | 441.8998 | 152.6549 | 60.8357 | 655.3904 | 240.9702 | 896.3606 | 0 | 0 | 0 | 0 | 0 | 0 | 896.3606 | 5 | 458.95 | 174.7 | 60 | 693.65 | 896.35 | 914.21 | 880.36 | 896.35 | 896.35 | 896.3606 | 0 | 17 | 04.00-04.15 | 50 |  | 880.36 |  | 174.7 | 5
6 | 452.0483 | 12.845 | 141.9499 | 606.8432 | 380.156 | 986.9991 | 0 | 0 | 0 | 0 | 0 | 0 | 986.9991 | 6 | 469.49 | 14.7 | 140 | 624.19 | 986.9875 | 1037.98 | 939.85 | 986.9875 | 986.9875 | 986.9991 | 0 | 18 | 04.15-04.30 | 50 |  | 881.51 |  | 14.7 | 6
7 | 451.0951 | 12.845 | 152.0891 | 616.0292 | 587.8525 | 1203.8817 | 0 | 0 | 0 | 0 | 0 | 0 | 1203.8817 | 7 | 468.5 | 14.7 | 150 | 633.2 | 1203.8675 | 1291.88 | 1103.1 | 1203.8675 | 1203.8675 | 1203.8817 | 0 | 19 | 04.30-04.45 | 50.02 |  | 909.32 |  | 14.7 | 7
8 | 470.0921 | 22.3696 | 182.507 | 674.9686 | 699.0526 | 1374.0212 | 0 | 0 | 0 | 0 | 0 | 0 | 1374.0212 | 8 | 488.23 | 25.6 | 180 | 693.83 | 1374.005 | 1401.75 | 1339.36 | 1374.005 | 1374.005 | 1374.0212 | 0 | 20 | 04.45-05.00 | 50.05 | 50.0175 | 914.21 | 896.35 | 25.6 | 8
9 | 469.4085 | 22.8065 | 182.507 | 674.7219 | 728.2671 | 1402.989 | 0 | 0 | 0 | 0 | 0 | 0 | 1402.989 | 9 | 487.52 | 26.1 | 180 | 693.62 | 1402.9725 | 1406.99 | 1394.61 | 1402.9725 | 1402.9725 | 1402.989 | 0 | 21 | 05.00-05.15 | 50.04 |  | 939.85 |  | 26.1 | 9
10 | 463.458 | 47.1858 | 223.0641 | 733.7079 | 705.8921 | 1439.6 | 0 | 0 | 0 | 0 | 0 | 0 | 1439.6 | 10 | 481.34 | 54 | 220 | 755.34 | 1431.7175 | 1439.6 | 1418.28 | 1439.6 | 1439.6 | 1439.6 | 0 | 22 | 05.15-05.30 | 50.01 |  | 967.36 |  | 54 | 10
11 | 463.1596 | 46.3994 | 162.2284 | 671.7874 | 703.0263 | 1374.8137 | 0 | 0 | 0 | 0 | 0 | 0 | 1374.8137 | 11 | 481.03 | 53.1 | 160 | 694.13 | 1374.7975 | 1392.33 | 1364.98 | 1374.7975 | 1374.7975 | 1374.8137 | 0 | 23 | 05.30-05.45 | 50.03 |  | 1002.76 |  | 53.1 | 11
12 | 443.3249 | 46.9237 | 162.2284 | 652.4769 | 705.6991 | 1358.176 | 0 | 0 | 0 | 0 | 0 | 0 | 1358.176 | 12 | 460.43 | 53.7 | 160 | 674.13 | 1358.16 | 1375.81 | 1344.17 | 1358.16 | 1358.16 | 1358.176 | 0 | 24 | 05.45-06.00 | 50.06 | 50.035 | 1037.98 | 986.9875 | 53.7 | 12
13 | 434.7555 | 48.0596 | 202.7855 | 685.6006 | 636.1049 | 1321.7056 | 0 | 0 | 0 | 0 | 0 | 0 | 1321.7056 | 13 | 451.53 | 55 | 200 | 706.53 | 1321.69 | 1331.93 | 1307.55 | 1321.69 | 1321.69 | 1321.7056 | 0 | 25 | 06.00-06.15 | 50.04 |  | 1103.1 |  | 55 | 13
14 | 417.5301 | 48.0596 | 141.9499 | 607.5396 | 652.8377 | 1260.3774 | 0 | 0 | 0 | 0 | 0 | 0 | 1260.3774 | 14 | 433.64 | 55 | 140 | 628.64 | 1260.3625 | 1269.45 | 1251.33 | 1260.3625 | 1260.3625 | 1260.3774 | 0 | 26 | 06.15-06.30 | 50.05 |  | 1178.51 |  | 55 | 14
15 | 417.5301 | 47.1858 | 121.6713 | 586.3872 | 684.3777 | 1270.765 | 0 | 0 | 0 | 0 | 0 | 0 | 1270.765 | 15 | 433.64 | 54 | 120 | 607.64 | 1270.75 | 1281 | 1263 | 1270.75 | 1270.75 | 1270.765 | 0 | 27 | 06.30-06.45 | 50.05 |  | 1241.98 |  | 54 | 15
16 | 419.7543 | 46.7489 | 101.3928 | 567.896 | 710.1191 | 1278.0151 | 0 | 0 | 0 | 0 | 0 | 0 | 1278.0151 | 16 | 435.95 | 53.5 | 100 | 589.45 | 1278 | 1288 | 1269 | 1278 | 1278 | 1278.0151 | 0 | 28 | 06.45-07.00 | 50.03 | 50.0425 | 1291.88 | 1203.8675 | 53.5 | 16
17 | 417.5686 | 46.7489 | 101.3928 | 565.7103 | 689.0545 | 1254.7648 | 0 | 0 | 0 | 0 | 0 | 0 | 1254.7648 | 17 | 433.68 | 53.5 | 100 | 587.18 | 1254.75 | 1279 | 1234 | 1254.75 | 1254.75 | 1254.7648 | 0 | 29 | 07.00-07.15 | 50.02 |  | 1339.36 |  | 53.5 | 17
18 | 422.094 | 46.7489 | 172.3677 | 641.2106 | 594.8039 | 1236.0146 | 0 | 0 | 0 | 0 | 0 | 0 | 1236.0146 | 18 | 438.38 | 53.5 | 170 | 661.88 | 1236 | 1269 | 1215 | 1236 | 1236 | 1236.0146 | 0 | 30 | 07.15-07.30 | 50.03 |  | 1367.13 |  | 53.5 | 18
19 | 458.8749 | 46.7489 | 121.6713 | 627.2951 | 731.2209 | 1358.516 | 0 | 0 | 0 | 0 | 0 | 0 | 1358.516 | 19 | 476.58 | 53.5 | 120 | 650.08 | 1358.5 | 1376 | 1312 | 1358.5 | 1358.5 | 1358.516 | 0 | 31 | 07.30-07.45 | 50.03 |  | 1387.78 |  | 53.5 | 19
20 | 491.7658 | 41.2439 | 101.3928 | 634.4025 | 676.4455 | 1310.848 | 0 | 0 | 0 | 0 | 0 | 0 | 1310.848 | 20 | 510.74 | 47.2 | 100 | 657.94 | 1310.8325 | 1354 | 1268.33 | 1310.8325 | 1310.8325 | 1310.848 | 0 | 32 | 07.45-08.00 | 50.06 | 50.035 | 1401.75 | 1374.005 | 47.2 | 20
21 | 504.3599 | 41.0691 | 101.3928 | 646.8218 | 551.4998 | 1198.3216 | 0 | 0 | 0 | 0 | 0 | 0 | 1198.3216 | 21 | 523.82 | 47 | 100 | 670.82 | 1198.3075 | 1236.27 | 1167.18 | 1198.3075 | 1198.3075 | 1198.3216 | 0 | 33 | 08.00-08.15 | 50.02 |  | 1405.6 |  | 47 | 21
22 | 508.8371 | 41.0691 | 101.3928 | 651.299 | 443.2839 | 1094.5829 | 0 | 0 | 0 | 0 | 0 | 0 | 1094.5829 | 22 | 528.47 | 47 | 100 | 675.47 | 1094.57 | 1135.1 | 1044.18 | 1094.57 | 1094.57 | 1094.5829 | 0 | 34 | 08.15-08.30 | 49.98 |  | 1394.61 |  | 47 | 22
23 | 462.8611 | 41.0691 | 182.507 | 686.4372 | 359.6152 | 1046.0523 | 0 | 0 | 0 | 0 | 0 | 0 | 1046.0523 | 23 | 480.72 | 47 | 180 | 707.72 | 1046.04 | 1059.17 | 1040.49 | 1046.04 | 1046.04 | 1046.0523 | 0 | 35 | 08.30-08.45 | 50 |  | 1406.99 |  | 47 | 23
24 | 447.9176 | 41.0691 | 223.0641 | 712.0509 | 296.9485 | 1008.9994 | 0 | 0 | 0 | 0 | 0 | 0 | 1008.9994 | 24 | 465.2 | 47 | 220 | 732.2 | 1008.9875 | 1011.64 | 1006.08 | 1008.9875 | 1008.9875 | 1008.9994 | 0 | 36 | 08.45-09.00 | 50.04 | 50.01 | 1404.69 | 1402.9725 | 47 | 24
[26 empty] | 37 | 09.00-09.15 | 50.02 |  | 1434.24
TOTAL | 10761 | 1011 | 3640 | 15412 | 12793.0578 | 28205.0578 | 0 | 0 | 0 | 0 | 0 | 0 | 28205.0578 | TOTAL | 11176.2 | 1157 | 3590 | 15923.2 | 28205.085 |  |  | 28204.7525 | 28204.7525 | 28205.0578 | 0 | 38 | 09.15-09.30 | 50.01 |  | 1439.6
[26 empty] | 39 | 09.30-09.45 | 50.01 |  | 1434.75
[26 empty] | 40 | 09.45-10.00 | 50.03 | 50.0175 | 1418.28 | 1431.7175
|  |  | Hourly Average Frequency (Fr) |  |  | 5+6 P4: 50.0146; 5+6 P5: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 50.12 |  | 1392.33
|  |  | Demand met for the day |  |  | 5+6 P4: 1439.6; 5+6 P5: MW | [12 empty] | 42 | 10.15-10.30 | 50.09 |  | 1373.57
|  |  | Unrestricted Demand for the day |  |  | 5+6 P4: 1439.6; 5+6 P5: MW | MAX = | 1439.6 | [10 empty] | 43 | 10.30-10.45 | 50.09 |  | 1368.31
|  |  | Minimum Demand(Unrestricted) for the day |  |  | 5+6 P4: 864.54; 5+6 P5: MW; 5+6 P6: Aux.; 5+6 P6/1000: Net gen. | MIN = | 864.54 | [10 empty] | 44 | 10.45-11.00 | 50.04 | 50.085 | 1364.98 | 1374.7975
|  |  | Gross own generation |  |  | 5+6 P4: 10761; 5+6 P5: MWH; 5+6 P6: 21.935; 5+6 P6/1000: 10739.065 | [12 empty] | 45 | 11.00-11.15 | 50.05 |  | 1375.81
|  |  | Gross Baspa generation |  |  | 5+6 P4: 3640; 5+6 P5: MWH; 5+6 P6: 6.77; 5+6 P6/1000: 3633.23 | [12 empty] | 46 | 11.15-11.30 | 50.06 |  | 1361.55
|  |  | Gross Malana generation |  |  | 5+6 P4: 1011; 5+6 P5: MWH; 5+6 P6: 4.35; 5+6 P6/1000: 1006.65 | [12 empty] | 47 | 11.30-11.45 | 50.03 |  | 1351.11
|  |  | Malana generation at 0300 Hrs. |  |  | 5+6 P4: 37.7; 5+6 P5: MW | [12 empty] | 48 | 11.45-12.00 | 50.04 | 50.045 | 1344.17 | 1358.16
|  |  | Malana generation at 2400 Hrs. |  |  | 5+6 P4: 47; 5+6 P5: MW | [12 empty] | 49 | 12.00-12.15 | 50.01 |  | 1328.62
|  |  | Max.generation of Malana at 500 Hrs. |  |  | 5+6 P4: 174.7; 5+6 P5: MW | [12 empty] | 50 | 12.15-12.30 | 49.97 |  | 1331.93
[7 empty] | Off Peak Hrs MW |  | Peak Hrs MW |  | Gross Lus | Net Lus
|  |  | Total Own Generation |  |  | 5+6 P2: 349.446; 5+6 P4: 653.8731; 5+6 P6: 107.61; 5+6 P6/1000: 107.3907 | [12 empty] | 51 | 12.30-12.45 | 49.92 |  | 1318.66
|  |  | Above 25 MW |  |  | 5+6 P2: 165.8518; 5+6 P4: 221.1357; 5+6 P6: 44.35; 5+6 P6/1000: 44.1703 | [12 empty] | 52 | 12.45-13.00 | 49.98 | 49.97 | 1307.55 | 1321.69
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  | 5+6 P2: 183.5942; 5+6 P4: 432.7373; 5+6 P6: 63.26; 5+6 P6/1000: 63.2204 | [12 empty] | 53 | 13.00-13.15 | 50.02 |  | 1267.76
[26 empty] | 54 | 13.15-13.30 | 50.02 |  | 1251.33
[26 empty] | 55 | 13.30-13.45 | 49.92 |  | 1252.91
[26 empty] | 56 | 13.45-14.00 | 50.01 | 49.9925 | 1269.45 | 1260.3625
[26 empty] | 57 | 14.00-14.15 | 50 |  | 1263
[26 empty] | 58 | 14.15-14.30 | 49.94 |  | 1266
[26 empty] | 59 | 14.30-14.45 | 49.96 |  | 1273
[26 empty] | 60 | 14.45-15.00 | 49.99 | 49.9725 | 1281 | 1270.75
[26 empty] | 61 | 15.00-15.15 | 50.01 |  | 1269
[26 empty] | 62 | 15.15-15.30 | 49.99 |  | 1272
[26 empty] | 63 | 15.30-15.45 | 49.99 |  | 1288
[26 empty] | 64 | 15.45-16.00 | 50.02 | 50.0025 | 1283 | 1278
[26 empty] | 65 | 16.00-16.15 | 50.04 |  | 1279
[26 empty] | 66 | 16.15-16.30 | 50.02 |  | 1259
[26 empty] | 67 | 16.30-16.45 | 49.99 |  | 1247
[26 empty] | 68 | 16.45-17.00 | 49.97 | 50.005 | 1234 | 1254.75
[26 empty] | 69 | 17.00-17.15 | 50 |  | 1221
[26 empty] | 70 | 17.15-17.30 | 49.99 |  | 1215
[26 empty] | 71 | 17.30-17.45 | 49.98 |  | 1239
[26 empty] | 72 | 17.45-18.00 | 49.97 | 49.985 | 1269 | 1236
[26 empty] | 73 | 18.00-18.15 | 49.98 |  | 1312
[26 empty] | 74 | 18.15-18.30 | 49.97 |  | 1371
[26 empty] | 75 | 18.30-18.45 | 50.03 |  | 1376
[26 empty] | 76 | 18.45-19.00 | 50.03 | 50.0025 | 1375 | 1358.5
[26 empty] | 77 | 19.00-19.15 | 50.02 |  | 1354
[26 empty] | 78 | 19.15-19.30 | 50.04 |  | 1319
[26 empty] | 79 | 19.30-19.45 | 50.02 |  | 1302
[26 empty] | 80 | 19.45-20.00 | 50.04 | 50.03 | 1268.33 | 1310.8325
[26 empty] | 81 | 20.00-20.15 | 50.04 |  | 1236.27
[26 empty] | 82 | 20.15-20.30 | 50.02 |  | 1198.28
[26 empty] | 83 | 20.30-20.45 | 50 |  | 1191.5
[26 empty] | 84 | 20.45-21.00 | 50.03 | 50.0225 | 1167.18 | 1198.3075
[26 empty] | 85 | 21.00-21.15 | 50.07 |  | 1135.1
[26 empty] | 86 | 21.15-21.30 | 50.04 |  | 1120.53
[26 empty] | 87 | 21.30-21.45 | 50.03 |  | 1078.47
[26 empty] | 88 | 21.45-22.00 | 50.01 | 50.0375 | 1044.18 | 1094.57
[26 empty] | 89 | 22.00-22.15 | 50 |  | 1043.71
[26 empty] | 90 | 22.15-22.30 | 50.01 |  | 1040.79
[26 empty] | 91 | 22.30-22.45 | 50.01 |  | 1059.17
[26 empty] | 92 | 22.45-23.00 | 50.03 | 50.0125 | 1040.49 | 1046.04
[26 empty] | 93 | 23.00-23.15 | 49.95 |  | 1011.64
[26 empty] | 94 | 23.15-23.30 | 50.01 |  | 1006.08
[26 empty] | 95 | 23.30-23.45 | 49.99 |  | 1008.56
[26 empty] | 96 | 23.45-24.00 | 50 | 49.9875 | 1009.67 | 1008.9875
[27 empty] | Total | 50.0146 | 50.0146 | 28205.085 | 28205.085
[27 empty] | max | 1439.6 |  | avg. max | 1431.7175
[27 empty] | min | 864.54 |  | avg. min | 872.755
Note on Y16: ReportServer: critical formulas…….do not disturb
Note on Z16: ReportServer: critical formulas…….do not disturb
Note on Q24: Please don't edit here
Note on E25: Column no. 5 =Sum (2+3+4 Column)
Note on I25: The fig of power cut comes from daily hourly load sheet.