## Form-15_DTR
MULTIPLE ELEMENT TRIPPING REPORT OF LINES SUMMARY
HIMACHAL PRADESH
STATE LOAD DESPATCH CENTER
Monthly Multiple Element Tripping Report Summary For The Month Of Feb, 2021
Sr. No. | Date | Name of Transmission Line | Tripping Time |  | Restoration Time |  | Duration |  | Generation Loss | Reason of Tripping | Tripping due to the Element
|  |  | Hour | Minute | Hour | Minute | Hour | Minute | (MW)
1 | 2021-02-22 | 220 KV Budhil(LB)-Lahal(HP) (HPSEB) Ckt-1 | 12 | 20 | 13 | 21 | 25 | 1 | 0 | FLASH OVER IN V.T. ON 220 KV BUS 1 THERE UPON,ALL THE ELEMENTS CONNECTED THROUGH IT GOT DISCONNECTED | FLASH OVER IN V.T. ON 220 KV BUS 1 THEREUPON
2 | 2021-02-22 | 400/220 kV 315 MVA ICT 2 at Lahal(HP) | 12 | 20 | 19 | 39 | 7 | 19 | 0 | FLASH OVER IN V.T. ON 220 KV BUS 1 THERE UPON,ALL THE ELEMENTS CONNECTED THROUGH IT GOT DISCONNECTED | FLASH OVER IN V.T. ON 220 KV BUS 1 THEREUPON
3 | 2021-02-22 | 400/220 kV 315 MVA ICT 1 at Lahal(HP) | 12 | 20 | 19 | 39 | 7 | 19 | 0 | FLASH OVER IN V.T. ON 220 KV BUS 1 THERE UPON,ALL THE ELEMENTS CONNECTED THROUGH IT GOT DISCONNECTED | FLASH OVER IN V.T. ON 220 KV BUS 1 THEREUPON
Total:-
Note on F9: HP: restorated on 23