## Form-15_DTR
TRIPPING REPORT OF LINES SUMMARY
HIMACHAL PRADESH
STATE LOAD DESPATCH CENTER
Monthly Tripping Report Summary For The Month Of March, 2021
Sr. No. | Date | Name of Transmission Line | Tripping Time |  | Restoration Time |  | Duration |  | Gen. Shedding | Load Shedding | Reason of Tripping | Tripping due to the Element
|  |  | Hour | Minute | Hour | Minute | Hour | Minute | (MW) | (MW)
1 | 2021-03-03 | 132 KV Hamirpur(HP)-Chohal (PS) (PSTCL) Ckt-1 | 0 | 40 | 9 | 37 | 8 | 57 | 0 | 16 | Earth Fault
2 | 2021-03-08 | 220 KV Bairasiul(NH)-Jessore(HP) (PG) Ckt-1 | 0 | 50 | 6 | 18 | 5 | 32 | 0 | 0 | Due to overvoltage
3 | 2021-03-10 | 400 KV Karcham Wangtoo(JSW)-Wangto_GIS(HP) (HPPTCL) Ckt-2 | 11 | 36 | 12 | 5 | 0 | 41 | 0 | 0 | Nill (False- Operation)
4 | 2021-03-12 | 220 KV Bairasiul(NH)-Jessore(HP) (PG) Ckt-1 | 3 | 17 | 6 | 28 | 3 | 11 | 0 | 0 | CB Opened on NRLDC Direction
5 | 2021-03-19 | 220 KV Bairasiul(NH)-Jessore(HP) (PG) Ckt-1 | 4 | 56 | 6 | 31 | 1 | 35 | 0 | 0 | CB Opened on NRLDC Direction
6 | 2021-03-19 | 220 KV Jessore(HP)-Pong(BB) (PG) Ckt-1 | 5 | 11 | 6 | 59 | 1 | 48 | 0 | 0 | Machine No. 4 LA damaged at Pong
7 | 2021-03-22 | 220 KV Bairasiul(NH)-Jessore(HP) (PG) Ckt-1 | 2 | 3 | 6 | 41 | 4 | 38 | 0 | 0 | CB Opened on NRLDC Direction
8 | 2021-03-23 | 132 KV Hamirpur(HP)-Chohal (PS) (PSTCL) Ckt-1 | 10 | 40 | 15 | 40 | 29 | 0 | 0 | 25
9 | 2021-03-25 | 400 KV Kala Amb(PKTL)-Wangto_GIS(HP) (HPPTCL) Ckt-1 | 11 | 56 | 12 | 52 | 0 | 56 | 0 | 0 | Earth Fault
10 | 2021-03-30 | 220 KV Jessore(HP)-Pong(BB) (PG) Ckt-1 | 4 | 10 | 9 | 11 | 5 | 1 | 0 | 0 | Due to CT blast on Pong Power House
11 | 2021-03-30 | 220 KV Bairasiul(NH)-Jessore(HP) (PG) Ckt-1 | 4 | 15 | 6 | 30 | 2 | 15 | 0 | 0 | CB Opened on NRLDC Direction
12 | 2021-03-31 | 400 KV Kala Amb(PKTL)-Wangto_GIS(HP) (HPPTCL) Ckt-1 | 6 | 36 | 7 | 48 | 1 | 12 | 0 | 0 | Earth Fault
Total:- | [8 empty] | 0 | 41
Note on F16: Ankush Sharma: on 24 march