## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2021-07-06
Hiamchal Pradesh State Load Despatch Centre
[12 empty] | DATED | 2021-07-07
FROM | [10 empty] | TO
| POWER CONTROLLER | [10 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [10 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [12 empty] | DEMAND OF STATE |  |  | 30517.2175 | MWh
[16 empty] | ACTUAL MALANA GENERATION |  |  | 1943.04 | MWh
|  | State:- Himachal Pradesh | [13 empty] | ACTUAL BASPA GENERATION |  |  | 7933.7 | MWh | [7 empty] | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[11 empty] | PEAK DEMAND(MW) |  |  | 1509.3884 | [13 empty] | 1 | 00.00-00.15 | 49.92 |  | 1152.75
|  | Month/Day :- |  |  |  | 2021-07-06 |  |  |  |  | Min.DEMAND(MW) |  |  | 1085.6957 |  | ACTUAL OWN GENERATION |  |  | 22445.8575 | MWh | [7 empty] | 2 | 00.15-00.30 | 49.95 |  | 1155.26
[28 empty] | 3 | 00.30-00.45 | 49.97 |  | 1152.19 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [5 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET |  |  | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P6 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 49.98 | 49.955 | 1137.69 | 1149.4725 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[10 empty] | DUE TO LOAD SHEDD-ING (MW) | DUE TO SATUTORY CUT (MW) | DUE TO T&D CONS-TRAINTS (MW) | [15 empty] | 5 | 01.00-01.15 | 50 |  | 1128.5 |  |  |  | MALANA-2 | 101.04 | 101.04 | 101.5 | 101.03 | 101.03 | 101.02 | 101.05 | 101 | 101 | 101.05 | 101 | 101 | 101 | 101.04 | 101.07 | 101.07 | 101.7 | 101.5 | 101.05 | 101.08 | 101.04 | 101.04 | 101.04 | 101.04 | 2426.43
[28 empty] | 6 | 01.15-01.30 | 50.01 |  | 1124.65 |  |  |  | SWARA KUDDU | 74 | 74 | 74 | 55.5 | 37 | 37 | 37 | 37 | 18.5 | 0 | 0 | 0 | 0 | 19.85 | 40.2 | 40.15 | 38.74 | 37 | 74 | 73.9963 | 74 | 74 | 74 | 74 | 1063.9363
[28 empty] | 7 | 01.30-01.45 | 50.03 |  | 1128.57
[28 empty] | 8 | 01.45-02:00 | 50.04 | 50.02 | 1117.89 | 1124.9025
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | TOTAL | [10 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50.03 |  | 1117.74 |  | Malana
[8 empty] | 5+6 | [19 empty] | 10 | 02.15-02.30 | 50.03 |  | 1111.63
[8 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P6/1000 | P7 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50.01 |  | 1100.77
1 | 2 | 3 | 4 |  |  | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.01 | 50.02 | 1099.05 | 1107.2975
1 | 942.5805 | 79.9811 | 330.5708 | 101.04 | 74 | 1528.1724 | -378.7573 | 1149.4151 | 0 | 0 | 0 | 0 | 0 | 0 | 1149.4151 | 1 | 743.63 | 80 | 330 | 1153.63 | 1149.4725 | 1155.26 | 1137.69 | 1149.4725 | 1149.4725 | 1149.4151 | 0 | 13 | 03.00-03.15 | 50.02 |  | 1101.82 |  | 80 | 1
2 | 938.7779 | 78.6814 | 330.5708 | 101.04 | 74 | 1523.0701 | -398.2238 | 1124.8463 | 0 | 0 | 0 | 0 | 0 | 0 | 1124.8463 | 2 | 740.63 | 78.7 | 330 | 1149.33 | 1124.9025 | 1128.57 | 1117.89 | 1124.9025 | 1124.9025 | 1124.8463 | 0 | 14 | 03.15-03.30 | 50.02 |  | 1099.49 |  | 78.7 | 2
3 | 934.8105 | 78.8813 | 330.5708 | 101.5 | 74 | 1519.7626 | -412.5204 | 1107.2422 | 0 | 0 | 0 | 0 | 0 | 0 | 1107.2422 | 3 | 737.5 | 78.9 | 330 | 1146.4 | 1107.2975 | 1117.74 | 1099.05 | 1107.2975 | 1107.2975 | 1107.2422 | 0 | 15 | 03.30-03.45 | 50.01 |  | 1077.21 |  | 78.9 | 3
4 | 936.078 | 79.3812 | 330.5708 | 101.03 | 55.5 | 1502.56 | -414.2394 | 1088.3206 | 0 | 0 | 0 | 0 | 0 | 0 | 1088.3206 | 4 | 738.5 | 79.4 | 330 | 1147.9 | 1088.375 | 1101.82 | 1074.98 | 1088.375 | 1088.375 | 1088.3206 | 0 | 16 | 03.45-04.00 | 50.03 | 50.02 | 1074.98 | 1088.375 | 79.4 | 4
5 | 929.8671 | 79.3812 | 330.5708 | 101.03 | 37 | 1477.8491 | -392.1533 | 1085.6957 | 0 | 0 | 0 | 0 | 0 | 0 | 1085.6957 | 5 | 733.6 | 79.4 | 330 | 1143 | 1085.75 | 1106.08 | 1073.2 | 1085.75 | 1085.75 | 1085.6957 | 0 | 17 | 04.00-04.15 | 49.98 |  | 1079.64 |  | 79.4 | 5
6 | 928.9798 | 79.9811 | 330.5708 | 101.02 | 37 | 1477.5517 | -315.2523 | 1162.2994 | 0 | 0 | 0 | 0 | 0 | 0 | 1162.2994 | 6 | 732.9 | 80 | 330 | 1142.9 | 1162.3575 | 1198.18 | 1129.55 | 1162.3575 | 1162.3575 | 1162.2994 | 0 | 18 | 04.15-04.30 | 49.95 |  | 1073.2 |  | 80 | 6
7 | 934.8738 | 80.5809 | 330.5708 | 101.05 | 37 | 1484.0756 | -207.7694 | 1276.3062 | 0 | 0 | 0 | 0 | 0 | 0 | 1276.3062 | 7 | 737.55 | 80.6 | 330 | 1148.15 | 1276.37 | 1309.02 | 1240.17 | 1276.37 | 1276.37 | 1276.3062 | 0 | 19 | 04.30-04.45 | 49.94 |  | 1084.08 |  | 80.6 | 7
8 | 931.7684 | 79.3812 | 330.5708 | 101 | 37 | 1479.7204 | -112.6587 | 1367.0617 | 0 | 0 | 0 | 0 | 0 | 0 | 1367.0617 | 8 | 735.1 | 79.4 | 330 | 1144.5 | 1367.13 | 1387.33 | 1341.15 | 1367.13 | 1367.13 | 1367.0617 | 0 | 20 | 04.45-05.00 | 50 | 49.9675 | 1106.08 | 1085.75 | 79.4 | 8
9 | 926.9644 | 78.6814 | 330.5708 | 101 | 18.5 | 1455.7166 | -25.7031 | 1430.0135 | 0 | 0 | 0 | 0 | 0 | 0 | 1430.0135 | 9 | 731.31 | 78.7 | 330 | 1140.01 | 1430.085 | 1449.91 | 1396.64 | 1430.085 | 1430.085 | 1430.0135 | 0 | 21 | 05.00-05.15 | 50.06 |  | 1129.55 |  | 78.7 | 9
10 | 931.5782 | 81.2808 | 330.5708 | 101.05 | 0 | 1444.4798 | 6.5827 | 1451.0625 | 0 | 0 | 0 | 0 | 0 | 0 | 1451.0625 | 10 | 734.95 | 81.3 | 330 | 1146.25 | 1451.135 | 1496.82 | 1394.6 | 1451.135 | 1451.135 | 1451.0625 | 0 | 22 | 05.15-05.30 | 50.05 |  | 1151.06 |  | 81.3 | 10
11 | 928.1305 | 80.5809 | 330.5708 | 101 | 0 | 1440.2823 | 62.7677 | 1503.05 | 0 | 0 | 0 | 0 | 0 | 0 | 1503.05 | 11 | 732.23 | 80.6 | 330 | 1142.83 | 1486.2675 | 1503.05 | 1469.55 | 1503.05 | 1503.05 | 1503.05 | 0 | 23 | 05.30-05.45 | 50.01 |  | 1170.64 |  | 80.6 | 11
12 | 930.5008 | 81.4807 | 330.5708 | 101 | 0 | 1443.5524 | -83.0829 | 1360.4695 | 0 | 127.2 | 0 | 0 | 127.2 | 0.1272 | 1487.6695 | 12 | 734.1 | 81.5 | 330 | 1145.6 | 1360.5375 | 1473.29 | 1036.65 | 1360.5375 | 1360.5375 | 1360.4695 | 127.2 | 24 | 05.45-06.00 | 49.91 | 50.0075 | 1198.18 | 1162.3575 | 81.5 | 12
13 | 832.7608 | 79.9811 | 330.5708 | 101 | 0 | 1344.3127 | -311.9243 | 1032.3884 | 0 | 477 | 0 | 0 | 477 | 0.477 | 1509.3884 | 13 | 656.99 | 80 | 330 | 1066.99 | 1047.6975 | 1067.97 | 1032.44 | 1032.44 | 1032.44 | 1032.3884 | 477 | 25 | 06.00-06.15 | 49.99 |  | 1240.17 |  | 80 | 13
14 | 882.4737 | 79.9811 | 330.5708 | 101.04 | 19.85 | 1413.9156 | -304.8636 | 1109.0521 | 0 | 200.5 | 0 | 0 | 200.5 | 0.2005 | 1309.5521 | 14 | 696.21 | 80 | 330 | 1106.21 | 1109.1075 | 1231.88 | 1048.56 | 1109.1075 | 1109.1075 | 1109.0521 | 200.5 | 26 | 06.15-06.30 | 49.94 |  | 1269.92 |  | 80 | 14
15 | 947.3211 | 79.9811 | 330.5708 | 101.07 | 40.2 | 1499.143 | -115.0996 | 1384.0433 | 0 | 28 | 0 | 0 | 28 | 0.028 | 1412.0433 | 15 | 747.37 | 80 | 330 | 1157.37 | 1384.1125 | 1429.66 | 1318.6 | 1384.1125 | 1384.1125 | 1384.0433 | 28 | 27 | 06.30-06.45 | 50.03 |  | 1286.37 |  | 80 | 15
16 | 954.8122 | 75.982 | 330.5708 | 101.07 | 40.15 | 1502.5851 | -76.8438 | 1425.7413 | 0 | 0 | 0 | 0 | 0 | 0 | 1425.7413 | 16 | 753.28 | 76 | 330 | 1159.28 | 1425.8125 | 1442.86 | 1410.45 | 1425.8125 | 1425.8125 | 1425.7413 | 0 | 28 | 06.45-07.00 | 50.03 | 49.9975 | 1309.02 | 1276.37 | 76 | 16
17 | 941.5791 | 84.9799 | 330.5708 | 101.7 | 38.74 | 1497.5698 | -66.0339 | 1431.536 | 0 | 0 | 0 | 0 | 0 | 0 | 1431.536 | 17 | 742.84 | 85 | 330 | 1157.84 | 1431.6075 | 1448.59 | 1399.57 | 1431.6075 | 1431.6075 | 1431.536 | 0 | 29 | 07.00-07.15 | 50.01 |  | 1341.15 |  | 85 | 17
18 | 941.4397 | 80.9808 | 330.5708 | 101.5 | 37 | 1491.4914 | -154.1707 | 1337.3207 | 0 | 0 | 0 | 0 | 0 | 0 | 1337.3207 | 18 | 742.73 | 81 | 330 | 1153.73 | 1337.3875 | 1367.61 | 1307.96 | 1337.3875 | 1337.3875 | 1337.3207 | 0 | 30 | 07.15-07.30 | 50.03 |  | 1358.95 |  | 81 | 18
19 | 958.4627 | 83.9801 | 330.5708 | 101.05 | 74 | 1548.0637 | -310.7955 | 1237.2682 | 0 | 0 | 0 | 0 | 0 | 0 | 1237.2682 | 19 | 756.16 | 84 | 330 | 1170.16 | 1237.33 | 1284.92 | 1204.12 | 1237.33 | 1237.33 | 1237.2682 | 0 | 31 | 07.30-07.45 | 50.03 |  | 1387.33 |  | 84 | 19
20 | 962.0626 | 85.9796 | 330.5708 | 101.08 | 73.9963 | 1553.6893 | -326.4607 | 1227.2287 | 0 | 0 | 0 | 0 | 0 | 0 | 1227.2287 | 20 | 759 | 86 | 330 | 1175 | 1227.29 | 1247.82 | 1206.68 | 1227.29 | 1227.29 | 1227.2287 | 0 | 32 | 07.45-08.00 | 50.05 | 50.03 | 1381.09 | 1367.13 | 86 | 20
21 | 960.5035 | 85.9796 | 330.5708 | 101.04 | 74 | 1552.094 | -228.4201 | 1323.6739 | 0 | 0 | 0 | 0 | 0 | 0 | 1323.6739 | 21 | 757.77 | 86 | 330 | 1173.77 | 1323.74 | 1345.65 | 1285.98 | 1323.74 | 1323.74 | 1323.6739 | 0 | 33 | 08.00-08.15 | 50.01 |  | 1396.64 |  | 86 | 21
22 | 946.269 | 85.9796 | 330.5708 | 101.04 | 74 | 1537.8595 | -201.2863 | 1336.5732 | 0 | 0 | 0 | 0 | 0 | 0 | 1336.5732 | 22 | 746.54 | 86 | 330 | 1162.54 | 1336.64 | 1346.56 | 1325.66 | 1336.64 | 1336.64 | 1336.5732 | 0 | 34 | 08.15-08.30 | 50.01 |  | 1432.73 |  | 86 | 22
23 | 955.8643 | 79.9811 | 330.5708 | 101.04 | 74 | 1541.4562 | -228.2293 | 1313.2269 | 0 | 0 | 0 | 0 | 0 | 0 | 1313.2269 | 23 | 754.11 | 80 | 330 | 1164.11 | 1313.2925 | 1322.22 | 1291.39 | 1313.2925 | 1313.2925 | 1313.2269 | 0 | 35 | 08.30-08.45 | 50 |  | 1441.06 |  | 80 | 23
24 | 967.3989 | 80.9808 | 330.5708 | 101.04 | 74 | 1553.9906 | -300.5332 | 1253.4574 | 0 | 0 | 0 | 0 | 0 | 0 | 1253.4574 | 24 | 763.21 | 81 | 330 | 1174.21 | 1253.52 | 1268.54 | 1236.22 | 1253.52 | 1253.52 | 1253.4574 | 0 | 36 | 08.45-09.00 | 50.05 | 50.0175 | 1449.91 | 1430.085 | 81 | 24
[16 empty] | 12: 37 | 09.00-09.15 | 49.99 |  | 1467.38
TOTAL (in MWh) | 22445.8575 | 1943.04 | 7933.7 | 2426.43 | 1063.9363 | 35812.9638 | -5295.6712 | 30517.2926 | 0 | 832.7 | 0 | 0 | 832.7 | 832.7 | 31349.9926 | TOTAL | 17708.21 | 1943.5 | 7920 | 27571.71 | 30517.2175 |  |  | 30518.7425 | 30518.7425 | 30517.2926 | 832.7 | 38 | 09.15-09.30 | 50 |  | 1496.82
[16 empty] | 12: 39 | 09.30-09.45 | 50.02 |  | 1394.6
[16 empty] | 12: 40 | 09.45-10.00 | 49.98 | 49.9975 | 1445.74 | 1451.135
|  |  | Hourly Average Frequency (Fr) | [7 empty] | 49.9531 | HZ |  |  |  | 1: Note :- Please don't edit these figures.; 12: 41 | 10.00-10.15 | 49.93 |  | 1475.88
|  |  | Demand met for the day | [7 empty] | 1503.05 | MW |  |  |  | 12: 42 | 10.15-10.30 | 49.88 |  | 1469.55
|  |  | Unrestricted Demand for the day | [7 empty] | 1509.3884 | MW |  |  |  | 1: MAX =; 2: 1503.05; 12: 43 | 10.30-10.45 | 49.97 |  | 1503.05
|  |  | Minimum Demand(Unrestricted) for the day | [7 empty] | 1085.6957 | MW | Aux. | Net gen. |  | 1: MIN =; 2: 1022.95; 12: 44 | 10.45-11.00 | 49.98 | 49.94 | 1496.59 | 1486.2675
|  |  | Gross own generation | [7 empty] | 22445.8575 | MWH | 33.829 | 22412.0285 |  | 12: 45 | 11.00-11.15 | 49.98 |  | 1473.29
|  |  | Gross Baspa generation | [7 empty] | 7933.7 | MWH | 9.4 | 7924.3 |  | 12: 46 | 11.15-11.30 | 49.96 |  | 1468.5
|  |  | Gross Malana generation | [7 empty] | 1943.04 | MWH | 1.25 | 1941.79 |  | 12: 47 | 11.30-11.45 | 49.96 |  | 1463.71
|  |  | Malana generation at 0300 Hrs. | [7 empty] | 78.9 | MW |  |  |  | 12: 48 | 11.45-12.00 | 49.94 | 49.96 | 1036.65 | 1360.5375
|  |  | Malana generation at 2400 Hrs. | [7 empty] | 81 | MW |  |  |  | 12: 49 | 12.00-12.15 | 50.01 |  | 1054.53
|  |  | Max.generation of Malana at 2000 Hrs. | [7 empty] | 86 | MW |  |  |  | 12: 50 | 12.15-12.30 | 49.99 |  | 1067.97
[9 empty] | Off Peak Hrs MW |  | Peak Hrs MW |  | Gross Lus | Net Lus
|  |  | Total Own Generation | [5 empty] | 940.7344 |  | 969.2439 |  | 224.4586 | 224.1203 |  | 12: 51 | 12.30-12.45 | 49.99 |  | 1035.85
|  |  | Above 25 MW | [5 empty] | 382.2913 |  | 398.3035 |  | 92.6306 | 92.3397 |  | 12: 52 | 12.45-13.00 | 49.97 | 49.99 | 1032.44 | 1047.6975
|  |  | Below 25 MW(Small Hydro <25 MW) | [5 empty] | 558.4431 |  | 570.9404 |  | 131.828 | 131.7806 |  | 12: 53 | 13.00-13.15 | 50.03 |  | 1022.95
[16 empty] | 12: 54 | 13.15-13.30 | 50 |  | 1048.56
[16 empty] | 12: 55 | 13.30-13.45 | 49.98 |  | 1133.04
[16 empty] | 12: 56 | 13.45-14.00 | 49.95 | 49.99 | 1231.88 | 1109.1075
[16 empty] | 12: 57 | 14.00-14.15 | 49.88 |  | 1318.6
[16 empty] | 12: 58 | 14.15-14.30 | 49.89 |  | 1374.91
[16 empty] | 12: 59 | 14.30-14.45 | 49.96 |  | 1413.28
[16 empty] | 12: 60 | 14.45-15.00 | 49.95 | 49.92 | 1429.66 | 1384.1125
[16 empty] | 12: 61 | 15.00-15.15 | 49.94 |  | 1418.54
[16 empty] | 12: 62 | 15.15-15.30 | 49.87 |  | 1442.86
[16 empty] | 12: 63 | 15.30-15.45 | 49.88 |  | 1431.4
[16 empty] | 12: 64 | 15.45-16.00 | 49.94 | 49.9075 | 1410.45 | 1425.8125
[16 empty] | 12: 65 | 16.00-16.15 | 49.99 |  | 1448.59
[16 empty] | 12: 66 | 16.15-16.30 | 49.97 |  | 1447.19
[16 empty] | 12: 67 | 16.30-16.45 | 49.96 |  | 1431.08
[16 empty] | 12: 68 | 16.45-17.00 | 49.94 | 49.965 | 1399.57 | 1431.6075
[16 empty] | 12: 69 | 17.00-17.15 | 50.04 |  | 1367.61
[16 empty] | 12: 70 | 17.15-17.30 | 50.02 |  | 1350.92
[16 empty] | 12: 71 | 17.30-17.45 | 50.02 |  | 1323.06
[16 empty] | 12: 72 | 17.45-18.00 | 50.04 | 50.03 | 1307.96 | 1337.3875
[16 empty] | 12: 73 | 18.00-18.15 | 50.01 |  | 1284.92
[16 empty] | 12: 74 | 18.15-18.30 | 49.95 |  | 1238.31
[16 empty] | 12: 75 | 18.30-18.45 | 49.9 |  | 1221.97
[16 empty] | 12: 76 | 18.45-19.00 | 49.86 | 49.93 | 1204.12 | 1237.33
[16 empty] | 12: 77 | 19.00-19.15 | 49.8 |  | 1206.68
[16 empty] | 12: 78 | 19.15-19.30 | 49.76 |  | 1217.16
[16 empty] | 12: 79 | 19.30-19.45 | 49.78 |  | 1247.82
[16 empty] | 12: 80 | 19.45-20.00 | 49.78 | 49.78 | 1237.5 | 1227.29
[16 empty] | 12: 81 | 20.00-20.15 | 49.72 |  | 1285.98
[16 empty] | 12: 82 | 20.15-20.30 | 49.75 |  | 1322.16
[16 empty] | 12: 83 | 20.30-20.45 | 49.83 |  | 1345.65
[16 empty] | 12: 84 | 20.45-21.00 | 49.89 | 49.7975 | 1341.17 | 1323.74
[16 empty] | 12: 85 | 21.00-21.15 | 49.88 |  | 1346.56
[16 empty] | 12: 86 | 21.15-21.30 | 49.89 |  | 1340.55
[16 empty] | 12: 87 | 21.30-21.45 | 49.85 |  | 1333.79
[16 empty] | 12: 88 | 21.45-22.00 | 49.78 | 49.85 | 1325.66 | 1336.64
[16 empty] | 12: 89 | 22.00-22.15 | 49.72 |  | 1318.9
[16 empty] | 12: 90 | 22.15-22.30 | 49.83 |  | 1322.22
[16 empty] | 12: 91 | 22.30-22.45 | 49.94 |  | 1320.66
[16 empty] | 12: 92 | 22.45-23.00 | 49.88 | 49.8425 | 1291.39 | 1313.2925
[16 empty] | 12: 93 | 23.00-23.15 | 49.9 |  | 1268.54
[16 empty] | 12: 94 | 23.15-23.30 | 49.98 |  | 1259.85
[16 empty] | 12: 95 | 23.30-23.45 | 49.92 |  | 1249.47
[16 empty] | 12: 96 | 23.45-24.00 | 49.96 | 49.94 | 1236.22 | 1253.52
[29 empty] | Total | 49.9531 | 49.9531 | 30517.2175 | 30517.2175
[29 empty] | max | 1503.05 |  | avg. max | 1486.2675
[29 empty] | min | 1022.95 |  | avg. min | 1047.6975
Note on AA16: ReportServer: critical formulas…….do not disturb
Note on AB16: ReportServer: critical formulas…….do not disturb
Note on S24: Please don't edit here
Note on G25: Column no. 5 =Sum (2+3+4 Column)
Note on K25: The fig of power cut comes from daily hourly load sheet.