## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2021-07-24
Hiamchal Pradesh State Load Despatch Centre
[12 empty] | DATED | 2021-07-25
FROM | [10 empty] | TO
| POWER CONTROLLER | [10 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [10 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [12 empty] | DEMAND OF STATE |  |  | 31505.755 | MWh
[16 empty] | ACTUAL MALANA GENERATION |  |  | 2422.4 | MWh
|  | State:- Himachal Pradesh | [13 empty] | ACTUAL BASPA GENERATION |  |  | 7933.4 | MWh | [7 empty] | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[11 empty] | PEAK DEMAND(MW) |  |  | 1531.27 | [13 empty] | 1 | 00.00-00.15 | 49.97 |  | 1161.26
|  | Month/Day :- |  |  |  | 2021-07-24 |  |  |  |  | Min.DEMAND(MW) |  |  | 1086.99 |  | ACTUAL OWN GENERATION |  |  | 26686.3965 | MWh | [7 empty] | 2 | 00.15-00.30 | 49.92 |  | 1148.94
[28 empty] | 3 | 00.30-00.45 | 49.89 |  | 1145.53 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [5 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET |  |  | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P6 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 49.89 | 49.9175 | 1146.05 | 1150.445 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[10 empty] | DUE TO LOAD SHEDD-ING (MW) | DUE TO SATUTORY CUT (MW) | DUE TO T&D CONS-TRAINTS (MW) | [15 empty] | 5 | 01.00-01.15 | 49.85 |  | 1143.92 |  |  |  | MALANA-2 | 111.07 | 111.03 | 111.05 | 111.03 | 111.03 | 111.02 | 111.07 | 111.07 | 111.07 | 111.07 | 111.07 | 111.07 | 111.07 | 111.07 | 111.06 | 111 | 111.05 | 111 | 111.12 | 111 | 111.05 | 111.07 | 111.06 | 111.05 | 2665.25
[28 empty] | 6 | 01.15-01.30 | 49.87 |  | 1137.43 |  |  |  | SWARA KUDDU | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37 | 74 | 74 | 74 | 74 | 74 | 74 | 1184
[28 empty] | 7 | 01.30-01.45 | 49.97 |  | 1127.24
[28 empty] | 8 | 01.45-02:00 | 49.99 | 49.92 | 1118.93 | 1131.88
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | TOTAL | [10 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50.02 |  | 1106.89 |  | Malana
[8 empty] | 5+6 | [19 empty] | 10 | 02.15-02.30 | 50.02 |  | 1101.65
[8 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P6/1000 | P7 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.99 |  | 1104.15
1 | 2 | 3 | 4 |  |  | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.01 | 50.01 | 1109.37 | 1105.515
1 | 1126.88 | 101.9002 | 330.5583 | 111.07 | 74 | 1744.4086 | -594.2422 | 1150.1664 | 0 | 0 | 0 | 0 | 0 | 0 | 1150.1664 | 1 | 818.26 | 101 | 330 | 1249.26 | 1150.445 | 1161.26 | 1145.53 | 1150.445 | 1150.445 | 1150.1664 | 0 | 13 | 03.00-03.15 | 50.01 |  | 1118.12 |  | 101 | 1
2 | 1046.9355 | 101.9002 | 330.5583 | 111.03 | 74 | 1664.4241 | -532.8182 | 1131.6059 | 0 | 0 | 0 | 0 | 0 | 0 | 1131.6059 | 2 | 760.21 | 101 | 330 | 1191.21 | 1131.88 | 1143.92 | 1118.93 | 1131.88 | 1131.88 | 1131.6059 | 0 | 14 | 03.15-03.30 | 49.97 |  | 1119.63 |  | 101 | 2
3 | 1046.9355 | 101.9002 | 330.5583 | 111.05 | 74 | 1664.4441 | -559.1968 | 1105.2472 | 0 | 0 | 0 | 0 | 0 | 0 | 1105.2472 | 3 | 760.21 | 101 | 330 | 1191.21 | 1105.515 | 1109.37 | 1101.65 | 1105.515 | 1105.515 | 1105.2472 | 0 | 15 | 03.30-03.45 | 49.97 |  | 1117.82 |  | 101 | 3
4 | 1038.1905 | 101.9002 | 330.5583 | 111.03 | 74 | 1655.6791 | -540.1268 | 1115.5522 | 0 | 0 | 0 | 0 | 0 | 0 | 1115.5522 | 4 | 753.86 | 101 | 330 | 1184.86 | 1115.8225 | 1119.63 | 1107.72 | 1115.8225 | 1115.8225 | 1115.5522 | 0 | 16 | 03.45-04.00 | 50.01 | 49.99 | 1107.72 | 1115.8225 | 101 | 4
5 | 1023.1794 | 101.9002 | 330.5583 | 111.03 | 74 | 1640.668 | -553.678 | 1086.99 | 0 | 0 | 0 | 0 | 0 | 0 | 1086.99 | 5 | 742.96 | 101 | 330 | 1173.96 | 1097.94 | 1105.03 | 1086.99 | 1086.99 | 1086.99 | 1086.99 | 0 | 17 | 04.00-04.15 | 49.88 |  | 1094.86 |  | 101 | 5
6 | 1105.8094 | 101.9002 | 330.5583 | 111.02 | 74 | 1723.2879 | -559.1375 | 1164.1505 | 0 | 0 | 0 | 0 | 0 | 0 | 1164.1505 | 6 | 802.96 | 101 | 330 | 1233.96 | 1164.4325 | 1208.3 | 1125.23 | 1164.4325 | 1164.4325 | 1164.1505 | 0 | 18 | 04.15-04.30 | 49.98 |  | 1086.99 |  | 101 | 6
7 | 1114.6233 | 101.9002 | 330.5583 | 111.07 | 74 | 1732.1518 | -462.2819 | 1269.8699 | 0 | 0 | 0 | 0 | 0 | 0 | 1269.8699 | 7 | 809.36 | 101 | 330 | 1240.36 | 1270.1775 | 1306.33 | 1231.38 | 1270.1775 | 1270.1775 | 1269.8699 | 0 | 19 | 04.30-04.45 | 49.9 |  | 1104.88 |  | 101 | 7
8 | 1116.7579 | 101.9002 | 330.5583 | 111.07 | 74 | 1734.2864 | -342.5011 | 1391.7853 | 0 | 0 | 0 | 0 | 0 | 0 | 1391.7853 | 8 | 810.91 | 101 | 330 | 1241.91 | 1392.1225 | 1417.82 | 1349.8 | 1392.1225 | 1392.1225 | 1391.7853 | 0 | 20 | 04.45-05.00 | 49.99 | 49.9375 | 1105.03 | 1097.94 | 101 | 8
9 | 1114.8987 | 101.9002 | 330.5583 | 111.07 | 74 | 1732.4272 | -276.7024 | 1455.7248 | 0 | 0 | 0 | 0 | 0 | 0 | 1455.7248 | 9 | 809.56 | 101 | 330 | 1240.56 | 1456.0775 | 1470.51 | 1448.37 | 1456.0775 | 1456.0775 | 1455.7248 | 0 | 21 | 05.00-05.15 | 50.01 |  | 1125.23 |  | 101 | 9
10 | 1114.8298 | 101.9002 | 330.5583 | 111.07 | 37 | 1695.3584 | -164.0884 | 1531.27 | 0 | 0 | 0 | 0 | 0 | 0 | 1531.27 | 10 | 809.51 | 101 | 330 | 1240.51 | 1512.6875 | 1531.27 | 1497.83 | 1531.27 | 1531.27 | 1531.27 | 0 | 22 | 05.15-05.30 | 50 |  | 1148.17 |  | 101 | 10
11 | 1135.57 | 99.8824 | 330.5583 | 111.07 | 0 | 1677.0807 | -187.654 | 1489.4267 | 0 | 0 | 0 | 0 | 0 | 0 | 1489.4267 | 11 | 824.57 | 99 | 330 | 1253.57 | 1489.7875 | 1499.85 | 1479.14 | 1489.7875 | 1489.7875 | 1489.4267 | 0 | 23 | 05.30-05.45 | 49.99 |  | 1176.03 |  | 99 | 11
12 | 1135.0604 | 100.8913 | 330.5583 | 111.07 | 0 | 1677.58 | -168.6006 | 1508.9794 | 0 | 0 | 0 | 0 | 0 | 0 | 1508.9794 | 12 | 824.2 | 100 | 330 | 1254.2 | 1509.345 | 1520.8 | 1503.62 | 1509.345 | 1509.345 | 1508.9794 | 0 | 24 | 05.45-06.00 | 49.99 | 49.9975 | 1208.3 | 1164.4325 | 100 | 12
13 | 1129.7445 | 99.8824 | 330.5583 | 111.07 | 0 | 1671.2553 | -176.3649 | 1494.8904 | 0 | 0 | 0 | 0 | 0 | 0 | 1494.8904 | 13 | 820.34 | 99 | 330 | 1249.34 | 1495.2525 | 1511.53 | 1488.1 | 1495.2525 | 1495.2525 | 1494.8904 | 0 | 25 | 06.00-06.15 | 49.93 |  | 1231.38 |  | 99 | 13
14 | 1044.8973 | 95.8467 | 330.5583 | 111.07 | 0 | 1582.3724 | -138.4397 | 1443.9327 | 0 | 0 | 0 | 0 | 0 | 0 | 1443.9327 | 14 | 758.73 | 95 | 330 | 1183.73 | 1444.2825 | 1446.99 | 1429.08 | 1444.2825 | 1444.2825 | 1443.9327 | 0 | 26 | 06.15-06.30 | 49.83 |  | 1264.54 |  | 95 | 14
15 | 1141.5469 | 98.8735 | 330.5583 | 111.06 | 0 | 1682.0387 | -253.5097 | 1428.5289 | 0 | 0 | 0 | 0 | 0 | 0 | 1428.5289 | 15 | 828.91 | 98 | 330 | 1256.91 | 1428.875 | 1444.84 | 1409.56 | 1428.875 | 1428.875 | 1428.5289 | 0 | 27 | 06.30-06.45 | 49.87 |  | 1278.46 |  | 98 | 15
16 | 1138.5859 | 95.8467 | 330.5583 | 111 | 0 | 1675.991 | -224.2152 | 1451.7758 | 0 | 0 | 0 | 0 | 0 | 0 | 1451.7758 | 16 | 826.76 | 95 | 330 | 1251.76 | 1452.1275 | 1461.34 | 1442.7 | 1452.1275 | 1452.1275 | 1451.7758 | 0 | 28 | 06.45-07.00 | 49.99 | 49.905 | 1306.33 | 1270.1775 | 95 | 16
17 | 1146.6011 | 100.8913 | 330.5583 | 111.05 | 0 | 1689.1007 | -284.9433 | 1404.1573 | 0 | 0 | 0 | 0 | 0 | 0 | 1404.1573 | 17 | 832.58 | 100 | 330 | 1262.58 | 1404.4975 | 1428.37 | 1383.12 | 1404.4975 | 1404.4975 | 1404.1573 | 0 | 29 | 07.00-07.15 | 50.03 |  | 1349.8 |  | 100 | 17
18 | 1142.7312 | 100.8913 | 330.5583 | 111 | 37 | 1722.1808 | -400.5135 | 1321.6673 | 0 | 0 | 0 | 0 | 0 | 0 | 1321.6673 | 18 | 829.77 | 100 | 330 | 1259.77 | 1321.9875 | 1347.2 | 1299.66 | 1321.9875 | 1321.9875 | 1321.6673 | 0 | 30 | 07.15-07.30 | 50.04 |  | 1385.38 |  | 100 | 18
19 | 1141.9049 | 100.8913 | 330.5583 | 111.12 | 74 | 1758.4745 | -489.9294 | 1268.5452 | 0 | 0 | 0 | 0 | 0 | 0 | 1268.5452 | 19 | 829.17 | 100 | 330 | 1259.17 | 1268.8525 | 1293.12 | 1244.12 | 1268.8525 | 1268.8525 | 1268.5452 | 0 | 31 | 07.30-07.45 | 50.05 |  | 1417.82 |  | 100 | 19
20 | 1139.8529 | 100.8913 | 330.5583 | 111 | 74 | 1756.3026 | -485.5029 | 1270.7996 | 0 | 0 | 0 | 0 | 0 | 0 | 1270.7996 | 20 | 827.68 | 100 | 330 | 1257.68 | 1271.1075 | 1302.31 | 1246.73 | 1271.1075 | 1271.1075 | 1270.7996 | 0 | 32 | 07.45-08.00 | 50.06 | 50.045 | 1415.49 | 1392.1225 | 100 | 20
21 | 1136.231 | 103.918 | 330.5583 | 111.05 | 74 | 1755.7574 | -445.8347 | 1309.9227 | 0 | 0 | 0 | 0 | 0 | 0 | 1309.9227 | 21 | 825.05 | 103 | 330 | 1258.05 | 1310.24 | 1317.07 | 1304.44 | 1310.24 | 1310.24 | 1309.9227 | 0 | 33 | 08.00-08.15 | 50.05 |  | 1452.16 |  | 103 | 21
22 | 1136.9747 | 99.8824 | 330.5583 | 111.07 | 74 | 1752.4854 | -476.1596 | 1276.3258 | 0 | 0 | 0 | 0 | 0 | 0 | 1276.3258 | 22 | 825.59 | 99 | 330 | 1254.59 | 1276.635 | 1296.45 | 1252.99 | 1276.635 | 1276.635 | 1276.3258 | 0 | 34 | 08.15-08.30 | 50.02 |  | 1448.37 |  | 99 | 22
23 | 1133.9724 | 101.9002 | 330.5583 | 111.06 | 74 | 1751.491 | -502.9285 | 1248.5625 | 0 | 0 | 0 | 0 | 0 | 0 | 1248.5625 | 23 | 823.41 | 101 | 330 | 1254.41 | 1248.865 | 1256.19 | 1232.39 | 1248.865 | 1248.865 | 1248.5625 | 0 | 35 | 08.30-08.45 | 50 |  | 1453.27 |  | 101 | 23
24 | 1133.6832 | 102.9091 | 330.5583 | 111.05 | 74 | 1752.2007 | -565.6881 | 1186.5126 | 0 | 0 | 0 | 0 | 0 | 0 | 1186.5126 | 24 | 823.2 | 102 | 330 | 1255.2 | 1186.8 | 1204.63 | 1176.96 | 1186.8 | 1186.8 | 1186.5126 | 0 | 36 | 08.45-09.00 | 50 | 50.0175 | 1470.51 | 1456.0775 | 102 | 24
[16 empty] | 12: 37 | 09.00-09.15 | 49.96 |  | 1497.83
TOTAL (in MWh) | 26686.3965 | 2422.4 | 7933.4 | 2665.25 | 1184 | 40891.4465 | -9385.0574 | 31506.3891 | 0 | 0 | 0 | 0 | 0 | 0 | 31506.3891 | TOTAL | 19377.76 | 2401 | 7920 | 29698.76 | 31505.755 |  |  | 31513.3875 | 31513.3875 | 31506.3891 | 0 | 38 | 09.15-09.30 | 50.03 |  | 1531.27
[16 empty] | 12: 39 | 09.30-09.45 | 49.97 |  | 1509.23
[16 empty] | 12: 40 | 09.45-10.00 | 49.99 | 49.9875 | 1512.42 | 1512.6875
|  |  | Hourly Average Frequency (Fr) | [7 empty] | 49.9717 | HZ |  |  |  | 1: Note :- Please don't edit these figures.; 12: 41 | 10.00-10.15 | 49.98 |  | 1499.85
|  |  | Demand met for the day | [7 empty] | 1531.27 | MW |  |  |  | 12: 42 | 10.15-10.30 | 50.01 |  | 1479.14
|  |  | Unrestricted Demand for the day | [7 empty] | 1531.27 | MW |  |  |  | 1: MAX =; 2: 1531.27; 12: 43 | 10.30-10.45 | 50 |  | 1485.61
|  |  | Minimum Demand(Unrestricted) for the day | [7 empty] | 1086.99 | MW | Aux. | Net gen. |  | 1: MIN =; 2: 1086.99; 12: 44 | 10.45-11.00 | 50.02 | 50.0025 | 1494.55 | 1489.7875
|  |  | Gross own generation | [7 empty] | 26686.3965 | MWH | 35.345 | 26651.0515 |  | 12: 45 | 11.00-11.15 | 50.03 |  | 1505.66
|  |  | Gross Baspa generation | [7 empty] | 7933.4 | MWH | 9.75 | 7923.65 |  | 12: 46 | 11.15-11.30 | 50.03 |  | 1507.3
|  |  | Gross Malana generation | [7 empty] | 2422.4 | MWH | 1.8 | 2420.6 |  | 12: 47 | 11.30-11.45 | 50 |  | 1503.62
|  |  | Malana generation at 0300 Hrs. | [7 empty] | 101 | MW |  |  |  | 12: 48 | 11.45-12.00 | 50.02 | 50.02 | 1520.8 | 1509.345
|  |  | Malana generation at 2400 Hrs. | [7 empty] | 102 | MW |  |  |  | 12: 49 | 12.00-12.15 | 49.98 |  | 1511.53
|  |  | Max.generation of Malana at 2100 Hrs. | [7 empty] | 103 | MW |  |  |  | 12: 50 | 12.15-12.30 | 49.86 |  | 1488.1
[9 empty] | Off Peak Hrs MW |  | Peak Hrs MW |  | Gross Lus | Net Lus
|  |  | Total Own Generation | [5 empty] | 1061.6972 |  | 1140.8174 |  | 266.864 | 266.5105 |  | 12: 51 | 12.30-12.45 | 50 |  | 1489.11
|  |  | Above 25 MW | [5 empty] | 393.7496 |  | 456.1359 |  | 105.7806 | 105.4821 |  | 12: 52 | 12.45-13.00 | 50.01 | 49.9625 | 1492.27 | 1495.2525
|  |  | Below 25 MW(Small Hydro <25 MW) | [5 empty] | 667.9476 |  | 684.6815 |  | 161.0834 | 161.0284 |  | 12: 53 | 13.00-13.15 | 50.03 |  | 1464.02
[16 empty] | 12: 54 | 13.15-13.30 | 49.99 |  | 1437.04
[16 empty] | 12: 55 | 13.30-13.45 | 49.92 |  | 1446.99
[16 empty] | 12: 56 | 13.45-14.00 | 49.97 | 49.9775 | 1429.08 | 1444.2825
[16 empty] | 12: 57 | 14.00-14.15 | 49.96 |  | 1436.75
[16 empty] | 12: 58 | 14.15-14.30 | 50.01 |  | 1409.56
[16 empty] | 12: 59 | 14.30-14.45 | 49.94 |  | 1424.35
[16 empty] | 12: 60 | 14.45-15.00 | 49.98 | 49.9725 | 1444.84 | 1428.875
[16 empty] | 12: 61 | 15.00-15.15 | 50.01 |  | 1454.34
[16 empty] | 12: 62 | 15.15-15.30 | 49.99 |  | 1450.13
[16 empty] | 12: 63 | 15.30-15.45 | 49.99 |  | 1461.34
[16 empty] | 12: 64 | 15.45-16.00 | 50.01 | 50 | 1442.7 | 1452.1275
[16 empty] | 12: 65 | 16.00-16.15 | 50 |  | 1428.37
[16 empty] | 12: 66 | 16.15-16.30 | 49.99 |  | 1412.31
[16 empty] | 12: 67 | 16.30-16.45 | 49.98 |  | 1394.19
[16 empty] | 12: 68 | 16.45-17.00 | 49.96 | 49.9825 | 1383.12 | 1404.4975
[16 empty] | 12: 69 | 17.00-17.15 | 49.95 |  | 1347.2
[16 empty] | 12: 70 | 17.15-17.30 | 49.98 |  | 1324.89
[16 empty] | 12: 71 | 17.30-17.45 | 49.99 |  | 1316.2
[16 empty] | 12: 72 | 17.45-18.00 | 49.93 | 49.9625 | 1299.66 | 1321.9875
[16 empty] | 12: 73 | 18.00-18.15 | 49.96 |  | 1293.12
[16 empty] | 12: 74 | 18.15-18.30 | 49.87 |  | 1280.8
[16 empty] | 12: 75 | 18.30-18.45 | 49.94 |  | 1257.37
[16 empty] | 12: 76 | 18.45-19.00 | 49.88 | 49.9125 | 1244.12 | 1268.8525
[16 empty] | 12: 77 | 19.00-19.15 | 49.96 |  | 1246.73
[16 empty] | 12: 78 | 19.15-19.30 | 49.82 |  | 1257.71
[16 empty] | 12: 79 | 19.30-19.45 | 49.8 |  | 1277.68
[16 empty] | 12: 80 | 19.45-20.00 | 49.85 | 49.8575 | 1302.31 | 1271.1075
[16 empty] | 12: 81 | 20.00-20.15 | 49.95 |  | 1314.51
[16 empty] | 12: 82 | 20.15-20.30 | 49.94 |  | 1317.07
[16 empty] | 12: 83 | 20.30-20.45 | 49.99 |  | 1304.44
[16 empty] | 12: 84 | 20.45-21.00 | 50.01 | 49.9725 | 1304.94 | 1310.24
[16 empty] | 12: 85 | 21.00-21.15 | 50.01 |  | 1296.45
[16 empty] | 12: 86 | 21.15-21.30 | 50 |  | 1287.24
[16 empty] | 12: 87 | 21.30-21.45 | 50.01 |  | 1269.86
[16 empty] | 12: 88 | 21.45-22.00 | 50 | 50.005 | 1252.99 | 1276.635
[16 empty] | 12: 89 | 22.00-22.15 | 49.97 |  | 1253.17
[16 empty] | 12: 90 | 22.15-22.30 | 49.98 |  | 1253.71
[16 empty] | 12: 91 | 22.30-22.45 | 49.95 |  | 1256.19
[16 empty] | 12: 92 | 22.45-23.00 | 49.94 | 49.96 | 1232.39 | 1248.865
[16 empty] | 12: 93 | 23.00-23.15 | 49.99 |  | 1204.63
[16 empty] | 12: 94 | 23.15-23.30 | 50.01 |  | 1186.11
[16 empty] | 12: 95 | 23.30-23.45 | 50 |  | 1179.5
[16 empty] | 12: 96 | 23.45-24.00 | 50.02 | 50.005 | 1176.96 | 1186.8
[29 empty] | Total | 49.9717 | 49.9717 | 31505.755 | 31505.755
[29 empty] | max | 1531.27 |  | avg. max | 1512.6875
[29 empty] | min | 1086.99 |  | avg. min | 1097.94
Note on AA16: ReportServer: critical formulas…….do not disturb
Note on AB16: ReportServer: critical formulas…….do not disturb
Note on S24: Please don't edit here
Note on G25: Column no. 5 =Sum (2+3+4 Column)
Note on K25: The fig of power cut comes from daily hourly load sheet.