## Form-15_DTR
Frequent Single Element TRIPPING REPORT OF LINES SUMMARY
HIMACHAL PRADESH
STATE LOAD DESPATCH CENTER
Monthly Frequent Single Element Tripping Report Summary For The Month Of June 2021
Sr. No. | Date | Name of Transmission Line | Tripping Time |  | Restoration Time |  | Duration |  | Load Shedding | Reason of Tripping | Tripping due to the Element
|  |  | Hour | Minute | Hour | Minute | Hour | Minute | (MW)
| 2021-06-12 | 400 KV Karcham Wangtoo(JSW)-Wangto_GIS(HP) (HPPTCL) Ckt-2 | 3 | 35 | 17 | 13 | 13 | 38 | 41 | 0 | Tripped due to operation of bus bar differential of Bus 1
| 2021-06-12 | 132 KV Hamirpur(HP)-Chohal (PS) (PSTCL) Ckt-1 | 0 | 37 | 2 | 5 | 1 | 28 | 0 | 0 | Phase to Earth Fault
| 2021-06-13 | 400 KV Karcham Wangtoo(JSW)-Wangto_GIS(HP) (HPPTCL) Ckt-2 | 18 | 36 | 19 | 55 | 1 | 19 | 0 | 0 | Tripping occurred at Bay 408
| 2021-06-15 | 132 KV Hamirpur(HP)-Chohal (PS) (PSTCL) Ckt-1 | 9 | 1 | 10 | 12 | 1 | 11 | 0 | 0 | Phase to Earth Fault
| 2021-06-29 | 132 KV Hamirpur(HP)-Chohal (PS) (PSTCL) Ckt-1 | 23 | 5 | 17 | 12 | 18 | 7 | 0 | 0 | Phase to Phase fault
Note on F16: Ankush Sharma: on 24 march