## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2021-07-08
Hiamchal Pradesh State Load Despatch Centre
[12 empty] | DATED | 2021-07-09
FROM | [10 empty] | TO
| POWER CONTROLLER | [10 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [10 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [12 empty] | DEMAND OF STATE |  |  | 31710.39 | MWh
[16 empty] | ACTUAL MALANA GENERATION |  |  | 2216 | MWh
|  | State:- Himachal Pradesh | [13 empty] | ACTUAL BASPA GENERATION |  |  | 6304.8 | MWh | [7 empty] | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[11 empty] | PEAK DEMAND(MW) |  |  | 1582.83 | [13 empty] | 1 | 00.00-00.15 | 50.02 |  | 1232.99
|  | Month/Day :- |  |  |  | 2021-07-08 |  |  |  |  | Min.DEMAND(MW) |  |  | 1120.38 |  | ACTUAL OWN GENERATION |  |  | 22248.035 | MWh | [7 empty] | 2 | 00.15-00.30 | 50.01 |  | 1232.79
[28 empty] | 3 | 00.30-00.45 | 50.02 |  | 1216.59 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [5 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET |  |  | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P6 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50.03 | 50.02 | 1215.55 | 1224.48 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[10 empty] | DUE TO LOAD SHEDD-ING (MW) | DUE TO SATUTORY CUT (MW) | DUE TO T&D CONS-TRAINTS (MW) | [15 empty] | 5 | 01.00-01.15 | 50.02 |  | 1213.84 |  |  |  | MALANA-2 | 111 | 111 | 111.05 | 111.05 | 111.05 | 111.02 | 111.03 | 110.98 | 111.02 | 111.3 | 111.09 | 111.06 | 111.01 | 111.07 | 111.03 | 111.07 | 110.93 | 110.85 | 110.87 | 110.94 | 110.87 | 110.87 | 110.87 | 110.87 | 2663.9
[28 empty] | 6 | 01.15-01.30 | 50.04 |  | 1204.61 |  |  |  | SWARA KUDDU | 74 | 74 | 74 | 74 | 57 | 39 | 39.5 | 37 | 0 | 0 | 0 | 0 | 0 | 0 | 38.3 | 39.4 | 37.3 | 37 | 58.8 | 73.9963 | 74 | 74 | 230 | 230 | 1361.2963
[28 empty] | 7 | 01.30-01.45 | 50.03 |  | 1189.42
[28 empty] | 8 | 01.45-02:00 | 50.04 | 50.0325 | 1159.08 | 1191.7375
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | TOTAL | [10 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50.04 |  | 1141.79 |  | Malana
[8 empty] | 5+6 | [19 empty] | 10 | 02.15-02.30 | 50.05 |  | 1141.84
[8 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P6/1000 | P7 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50.07 |  | 1143.04
1 | 2 | 3 | 4 |  |  | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.07 | 50.0575 | 1130.96 | 1139.4075
1 | 891.5915 | 95.314 | 331.8316 | 111 | 74 | 1503.7371 | -280.0054 | 1223.7317 | 0 | 0 | 0 | 0 | 0 | 0 | 1223.7317 | 1 | 744.82 | 95 | 330 | 1169.82 | 1224.48 | 1232.99 | 1215.55 | 1224.48 | 1224.48 | 1223.7317 | 0 | 13 | 03.00-03.15 | 50.04 |  | 1130.85 |  | 95 | 1
2 | 990.624 | 95.314 | 331.8316 | 111 | 74 | 1602.7696 | -411.7603 | 1191.0092 | 0 | 0 | 0 | 0 | 0 | 0 | 1191.0092 | 2 | 827.55 | 95 | 330 | 1252.55 | 1191.7375 | 1213.84 | 1159.08 | 1191.7375 | 1191.7375 | 1191.0092 | 0 | 14 | 03.15-03.30 | 50.04 |  | 1129.72 |  | 95 | 2
3 | 891.8908 | 97.3206 | 331.8316 | 111.05 | 74 | 1506.093 | -367.3818 | 1138.7112 | 0 | 0 | 0 | 0 | 0 | 0 | 1138.7112 | 3 | 745.07 | 97 | 330 | 1172.07 | 1139.4075 | 1143.04 | 1130.96 | 1139.4075 | 1139.4075 | 1138.7112 | 0 | 15 | 03.30-03.45 | 50.03 |  | 1120.38 |  | 97 | 3
4 | 888.7306 | 95.314 | 331.8316 | 111.05 | 74 | 1500.9261 | -380.5461 | 1120.38 | 0 | 0 | 0 | 0 | 0 | 0 | 1120.38 | 4 | 742.43 | 95 | 330 | 1167.43 | 1126.3325 | 1130.85 | 1120.38 | 1120.38 | 1120.38 | 1120.38 | 0 | 16 | 03.45-04.00 | 50.03 | 50.035 | 1124.38 | 1126.3325 | 95 | 4
5 | 885.726 | 95.314 | 331.8316 | 111.05 | 57 | 1480.9215 | -346.1554 | 1134.7661 | 0 | 0 | 0 | 0 | 0 | 0 | 1134.7661 | 5 | 739.92 | 95 | 330 | 1164.92 | 1135.46 | 1138.02 | 1132.82 | 1135.46 | 1135.46 | 1134.7661 | 0 | 17 | 04.00-04.15 | 50 |  | 1133.16 |  | 95 | 5
6 | 867.5187 | 95.314 | 331.8316 | 111.02 | 39 | 1444.6843 | -238.0571 | 1206.6272 | 0 | 0 | 0 | 0 | 0 | 0 | 1206.6272 | 6 | 724.71 | 95 | 330 | 1149.71 | 1207.365 | 1238.02 | 1167.69 | 1207.365 | 1207.365 | 1206.6272 | 0 | 18 | 04.15-04.30 | 50.03 |  | 1137.84 |  | 95 | 6
7 | 858.9478 | 95.314 | 331.8316 | 111.03 | 39.5 | 1436.6234 | -130.2697 | 1306.3537 | 0 | 0 | 0 | 0 | 0 | 0 | 1306.3537 | 7 | 717.55 | 95 | 330 | 1142.55 | 1307.1525 | 1349.69 | 1256.9 | 1307.1525 | 1307.1525 | 1306.3537 | 0 | 19 | 04.30-04.45 | 50.04 |  | 1132.82 |  | 95 | 7
8 | 832.9477 | 95.314 | 331.8316 | 110.98 | 37 | 1408.0733 | -7.1699 | 1400.9034 | 0 | 0 | 0 | 0 | 0 | 0 | 1400.9034 | 8 | 695.83 | 95 | 330 | 1120.83 | 1401.76 | 1416.79 | 1374.42 | 1401.76 | 1401.76 | 1400.9034 | 0 | 20 | 04.45-05.00 | 50.03 | 50.025 | 1138.02 | 1135.46 | 95 | 8
9 | 873.3484 | 95.314 | 331.8316 | 111.02 | 0 | 1411.514 | 27.6685 | 1439.1825 | 0 | 0 | 0 | 0 | 0 | 0 | 1439.1825 | 9 | 729.58 | 95 | 330 | 1154.58 | 1440.0625 | 1461.51 | 1425.67 | 1440.0625 | 1440.0625 | 1439.1825 | 0 | 21 | 05.00-05.15 | 50.07 |  | 1167.69 |  | 95 | 9
10 | 878.6035 | 95.314 | 221.2211 | 111.3 | 0 | 1306.4385 | 199.3582 | 1505.7967 | 0 | 5 | 0 | 0 | 5 | 0.005 | 1510.7967 | 10 | 733.97 | 95 | 220 | 1048.97 | 1506.7175 | 1518.96 | 1486.98 | 1506.7175 | 1506.7175 | 1505.7967 | 5 | 22 | 05.15-05.30 | 50.06 |  | 1198.4 |  | 95 | 10
11 | 868.4644 | 92.4044 | 221.2211 | 111.09 | 0 | 1293.1799 | 215.3802 | 1508.5601 | 0 | 19.75 | 0 | 0 | 19.75 | 0.01975 | 1528.3101 | 11 | 725.5 | 92.1 | 220 | 1037.6 | 1509.4825 | 1523.62 | 1495.6 | 1509.4825 | 1509.4825 | 1508.5601 | 19.75 | 23 | 05.30-05.45 | 50.06 |  | 1225.35 |  | 92.1 | 11
12 | 799.8132 | 89.8961 | 221.2211 | 111.06 | 0 | 1221.9904 | 313.3308 | 1535.3212 | 0 | 23 | 0 | 0 | 23 | 0.023 | 1558.3212 | 12 | 668.15 | 89.6 | 220 | 977.75 | 1536.26 | 1540.7 | 1532.56 | 1536.26 | 1536.26 | 1535.3212 | 23 | 24 | 05.45-06.00 | 50.04 | 50.0575 | 1238.02 | 1207.365 | 89.6 | 12
13 | 815.5545 | 90.2975 | 221.2211 | 111.01 | 0 | 1238.083 | 321.747 | 1559.83 | 0 | 23 | 0 | 0 | 23 | 0.023 | 1582.83 | 13 | 681.3 | 90 | 220 | 991.3 | 1534.4875 | 1559.83 | 1503.08 | 1559.83 | 1559.83 | 1559.83 | 23 | 25 | 06.00-06.15 | 50.06 |  | 1256.9 |  | 90 | 13
14 | 787.3758 | 90.2975 | 221.2211 | 111.07 | 0 | 1209.9643 | 261.0512 | 1471.0155 | 0 | 23 | 0 | 0 | 23 | 0.023 | 1494.0155 | 14 | 657.76 | 90 | 220 | 967.76 | 1471.915 | 1492.34 | 1454.23 | 1471.915 | 1471.915 | 1471.0155 | 23 | 26 | 06.15-06.30 | 50.05 |  | 1303.54 |  | 90 | 14
15 | 860.6716 | 90.2975 | 221.2211 | 111.03 | 38.3 | 1321.5201 | 127.8812 | 1449.4012 | 0 | 23 | 0 | 0 | 23 | 0.023 | 1472.4012 | 15 | 718.99 | 90 | 220 | 1028.99 | 1450.2875 | 1482.59 | 1427.97 | 1450.2875 | 1450.2875 | 1449.4012 | 23 | 27 | 06.30-06.45 | 50.04 |  | 1318.48 |  | 90 | 15
16 | 876.2213 | 89.2942 | 221.2211 | 111.07 | 39.4 | 1337.2065 | 121.3091 | 1458.5157 | 0 | 12.1667 | 0 | 0 | 12.1667 | 0.012167 | 1470.6823 | 16 | 731.98 | 89 | 220 | 1040.98 | 1459.4075 | 1472.94 | 1448.03 | 1459.4075 | 1459.4075 | 1458.5157 | 12.1667 | 28 | 06.45-07.00 | 50.05 | 50.05 | 1349.69 | 1307.1525 | 89 | 16
17 | 886.504 | 90.2975 | 221.2211 | 110.93 | 37.3 | 1346.2526 | 87.5457 | 1433.7983 | 0 | 10 | 0 | 0 | 10 | 0.01 | 1443.7983 | 17 | 740.57 | 90 | 220 | 1050.57 | 1434.675 | 1442.2 | 1428.51 | 1434.675 | 1434.675 | 1433.7983 | 10 | 29 | 07.00-07.15 | 49.98 |  | 1374.42 |  | 90 | 17
18 | 885.0197 | 90.2975 | 221.2211 | 110.85 | 37 | 1344.3882 | -7.4932 | 1336.895 | 0 | 2.3333 | 0 | 0 | 2.3333 | 0.0023333 | 1339.2284 | 18 | 739.33 | 90 | 220 | 1049.33 | 1337.7125 | 1377.85 | 1287.28 | 1337.7125 | 1337.7125 | 1336.895 | 2.3333 | 30 | 07.15-07.30 | 50.04 |  | 1405.63 |  | 90 | 18
19 | 885.5703 | 90.2975 | 221.2211 | 110.87 | 58.8 | 1366.7589 | -151.8168 | 1214.9421 | 0 | 0 | 0 | 0 | 0 | 0 | 1214.9421 | 19 | 739.79 | 90 | 220 | 1049.79 | 1215.685 | 1286.04 | 1150.42 | 1215.685 | 1215.685 | 1214.9421 | 0 | 31 | 07.30-07.45 | 50.06 |  | 1416.79 |  | 90 | 19
20 | 886.2646 | 90.2975 | 221.2211 | 110.94 | 73.9963 | 1382.7194 | -232.1555 | 1150.564 | 0 | 3.75 | 0 | 0 | 3.75 | 0.00375 | 1154.314 | 20 | 740.37 | 90 | 220 | 1050.37 | 1151.2675 | 1187 | 1122.24 | 1151.2675 | 1151.2675 | 1150.564 | 3.75 | 32 | 07.45-08.00 | 50.09 | 50.0425 | 1410.2 | 1401.76 | 90 | 20
21 | 899.8273 | 89.2942 | 221.2211 | 110.87 | 74 | 1395.2125 | -162.6662 | 1232.5463 | 0 | 15 | 0 | 0 | 15 | 0.015 | 1247.5463 | 21 | 751.7 | 89 | 220 | 1060.7 | 1233.3 | 1257 | 1205.83 | 1233.3 | 1233.3 | 1232.5463 | 15 | 33 | 08.00-08.15 | 50.09 |  | 1425.67 |  | 89 | 21
22 | 897.493 | 89.2942 | 221.2211 | 110.87 | 74 | 1392.8782 | -125.6431 | 1267.2351 | 0 | 15 | 0 | 0 | 15 | 0.015 | 1282.2351 | 22 | 749.75 | 89 | 220 | 1058.75 | 1268.01 | 1274.29 | 1256.99 | 1268.01 | 1268.01 | 1267.2351 | 15 | 34 | 08.15-08.30 | 50.04 |  | 1439.08 |  | 89 | 22
23 | 1519.6631 | 89.2942 | 221.2211 | 110.87 | 230 | 2171.0483 | -934.6268 | 1236.4215 | 0 | 15 | 0 | 0 | 15 | 0.015 | 1251.4215 | 23 | 1269.5 | 89 | 220 | 1578.5 | 1237.1775 | 1243.53 | 1224.83 | 1237.1775 | 1237.1775 | 1236.4215 | 15 | 35 | 08.30-08.45 | 50.09 |  | 1433.99 |  | 89 | 23
24 | 1519.6631 | 89.2942 | 221.2211 | 110.87 | 230 | 2171.0483 | -981.5281 | 1189.5201 | 0 | 15 | 0 | 0 | 15 | 0.015 | 1204.5201 | 24 | 1269.5 | 89 | 220 | 1578.5 | 1190.2475 | 1212.12 | 1170.83 | 1190.2475 | 1190.2475 | 1189.5201 | 15 | 36 | 08.45-09.00 | 50.12 | 50.085 | 1461.51 | 1440.0625 | 89 | 24
[16 empty] | 12: 37 | 09.00-09.15 | 50.09 |  | 1486.98
TOTAL (in MWh) | 22248.035 | 2216 | 6304.8 | 2663.9 | 1361.2963 | 34794.0313 | -3082.0034 | 31712.0279 | 0 | 205 | 0 | 0 | 205 | 205 | 31917.0279 | TOTAL | 18585.62 | 2208.7 | 6270 | 27064.32 | 31710.39 |  |  | 31729.78 | 31729.78 | 31712.0279 | 205 | 38 | 09.15-09.30 | 50.08 |  | 1503.4
[16 empty] | 12: 39 | 09.30-09.45 | 50.04 |  | 1518.96
[16 empty] | 12: 40 | 09.45-10.00 | 50.05 | 50.065 | 1517.53 | 1506.7175
|  |  | Hourly Average Frequency (Fr) | [7 empty] | 50.0229 | HZ |  |  |  | 1: Note :- Please don't edit these figures.; 12: 41 | 10.00-10.15 | 50.02 |  | 1514.51
|  |  | Demand met for the day | [7 empty] | 1559.83 | MW |  |  |  | 12: 42 | 10.15-10.30 | 50.05 |  | 1495.6
|  |  | Unrestricted Demand for the day | [7 empty] | 1582.83 | MW |  |  |  | 1: MAX =; 2: 1559.83; 12: 43 | 10.30-10.45 | 50.01 |  | 1504.2
|  |  | Minimum Demand(Unrestricted) for the day | [7 empty] | 1120.38 | MW | Aux. | Net gen. |  | 1: MIN =; 2: 1120.38; 12: 44 | 10.45-11.00 | 50.02 | 50.025 | 1523.62 | 1509.4825
|  |  | Gross own generation | [7 empty] | 22248.035 | MWH | 40.126 | 22207.909 |  | 12: 45 | 11.00-11.15 | 50.04 |  | 1532.56
|  |  | Gross Baspa generation | [7 empty] | 6304.8 | MWH | 7 | 6297.8 |  | 12: 46 | 11.15-11.30 | 49.98 |  | 1537.96
|  |  | Gross Malana generation | [7 empty] | 2216 | MWH | 1.25 | 2214.75 |  | 12: 47 | 11.30-11.45 | 49.97 |  | 1533.82
|  |  | Malana generation at 0300 Hrs. | [7 empty] | 97 | MW |  |  |  | 12: 48 | 11.45-12.00 | 50 | 49.9975 | 1540.7 | 1536.26
|  |  | Malana generation at 2400 Hrs. | [7 empty] | 89 | MW |  |  |  | 12: 49 | 12.00-12.15 | 49.99 |  | 1559.83
|  |  | Max.generation of Malana at 300 Hrs. | [7 empty] | 97 | MW |  |  |  | 12: 50 | 12.15-12.30 | 50.01 |  | 1556.7
[9 empty] | Off Peak Hrs MW |  | Peak Hrs MW |  | Gross Lus | Net Lus
|  |  | Total Own Generation | [5 empty] | 949.8901 |  | 945.3088 |  | 222.4803 | 222.0791 |  | 12: 51 | 12.30-12.45 | 49.96 |  | 1518.34
|  |  | Above 25 MW | [5 empty] | 387.9984 |  | 382.9725 |  | 91.3204 | 90.9689 |  | 12: 52 | 12.45-13.00 | 50.01 | 49.9925 | 1503.08 | 1534.4875
|  |  | Below 25 MW(Small Hydro <25 MW) | [5 empty] | 561.8916 |  | 562.3363 |  | 131.16 | 131.1102 |  | 12: 53 | 13.00-13.15 | 50.02 |  | 1470.74
[16 empty] | 12: 54 | 13.15-13.30 | 50 |  | 1454.23
[16 empty] | 12: 55 | 13.30-13.45 | 49.93 |  | 1470.35
[16 empty] | 12: 56 | 13.45-14.00 | 49.98 | 49.9825 | 1492.34 | 1471.915
[16 empty] | 12: 57 | 14.00-14.15 | 49.99 |  | 1482.59
[16 empty] | 12: 58 | 14.15-14.30 | 49.94 |  | 1454.4
[16 empty] | 12: 59 | 14.30-14.45 | 49.99 |  | 1427.97
[16 empty] | 12: 60 | 14.45-15.00 | 49.96 | 49.97 | 1436.19 | 1450.2875
[16 empty] | 12: 61 | 15.00-15.15 | 50 |  | 1450.35
[16 empty] | 12: 62 | 15.15-15.30 | 49.98 |  | 1472.94
[16 empty] | 12: 63 | 15.30-15.45 | 50 |  | 1466.31
[16 empty] | 12: 64 | 15.45-16.00 | 49.97 | 49.9875 | 1448.03 | 1459.4075
[16 empty] | 12: 65 | 16.00-16.15 | 49.98 |  | 1435.16
[16 empty] | 12: 66 | 16.15-16.30 | 49.97 |  | 1432.83
[16 empty] | 12: 67 | 16.30-16.45 | 49.92 |  | 1442.2
[16 empty] | 12: 68 | 16.45-17.00 | 50 | 49.9675 | 1428.51 | 1434.675
[16 empty] | 12: 69 | 17.00-17.15 | 50.02 |  | 1377.85
[16 empty] | 12: 70 | 17.15-17.30 | 49.99 |  | 1364.61
[16 empty] | 12: 71 | 17.30-17.45 | 50.01 |  | 1321.11
[16 empty] | 12: 72 | 17.45-18.00 | 50.03 | 50.0125 | 1287.28 | 1337.7125
[16 empty] | 12: 73 | 18.00-18.15 | 49.97 |  | 1286.04
[16 empty] | 12: 74 | 18.15-18.30 | 50.01 |  | 1246.44
[16 empty] | 12: 75 | 18.30-18.45 | 50.02 |  | 1179.84
[16 empty] | 12: 76 | 18.45-19.00 | 50.01 | 50.0025 | 1150.42 | 1215.685
[16 empty] | 12: 77 | 19.00-19.15 | 50.01 |  | 1129.93
[16 empty] | 12: 78 | 19.15-19.30 | 50.01 |  | 1122.24
[16 empty] | 12: 79 | 19.30-19.45 | 50.02 |  | 1165.9
[16 empty] | 12: 80 | 19.45-20.00 | 50.04 | 50.02 | 1187 | 1151.2675
[16 empty] | 12: 81 | 20.00-20.15 | 50.04 |  | 1205.83
[16 empty] | 12: 82 | 20.15-20.30 | 50.01 |  | 1233.48
[16 empty] | 12: 83 | 20.30-20.45 | 50.03 |  | 1236.89
[16 empty] | 12: 84 | 20.45-21.00 | 50.04 | 50.03 | 1257 | 1233.3
[16 empty] | 12: 85 | 21.00-21.15 | 50.02 |  | 1256.99
[16 empty] | 12: 86 | 21.15-21.30 | 50.05 |  | 1274.29
[16 empty] | 12: 87 | 21.30-21.45 | 50.02 |  | 1273.99
[16 empty] | 12: 88 | 21.45-22.00 | 50.04 | 50.0325 | 1266.77 | 1268.01
[16 empty] | 12: 89 | 22.00-22.15 | 50.04 |  | 1243.53
[16 empty] | 12: 90 | 22.15-22.30 | 50.03 |  | 1241.78
[16 empty] | 12: 91 | 22.30-22.45 | 50 |  | 1238.57
[16 empty] | 12: 92 | 22.45-23.00 | 50.03 | 50.025 | 1224.83 | 1237.1775
[16 empty] | 12: 93 | 23.00-23.15 | 50 |  | 1212.12
[16 empty] | 12: 94 | 23.15-23.30 | 50.03 |  | 1196.95
[16 empty] | 12: 95 | 23.30-23.45 | 50.04 |  | 1181.09
[16 empty] | 12: 96 | 23.45-24.00 | 50.07 | 50.035 | 1170.83 | 1190.2475
[29 empty] | Total | 50.0229 | 50.0229 | 31710.39 | 31710.39
[29 empty] | max | 1559.83 |  | avg. max | 1536.26
[29 empty] | min | 1120.38 |  | avg. min | 1126.3325
Note on AA16: ReportServer: critical formulas…….do not disturb
Note on AB16: ReportServer: critical formulas…….do not disturb
Note on S24: Please don't edit here
Note on G25: Column no. 5 =Sum (2+3+4 Column)
Note on K25: The fig of power cut comes from daily hourly load sheet.