## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2021-07-09
Hiamchal Pradesh State Load Despatch Centre
[12 empty] | DATED | 2021-07-10
FROM | [10 empty] | TO
| POWER CONTROLLER | [10 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [10 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [12 empty] | DEMAND OF STATE |  |  | 31539.3 | MWh
[16 empty] | ACTUAL MALANA GENERATION |  |  | 2186 | MWh
|  | State:- Himachal Pradesh | [13 empty] | ACTUAL BASPA GENERATION |  |  | 7874 | MWh | [7 empty] | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[11 empty] | PEAK DEMAND(MW) |  |  | 1509.5 | [13 empty] | 1 | 00.00-00.15 | 50.04 |  | 1143.03
|  | Month/Day :- |  |  |  | 2021-07-09 |  |  |  |  | Min.DEMAND(MW) |  |  | 1097.66 |  | ACTUAL OWN GENERATION |  |  | 22476.055 | MWh | [7 empty] | 2 | 00.15-00.30 | 50.04 |  | 1116.66
[28 empty] | 3 | 00.30-00.45 | 50.04 |  | 1118.52 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [5 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET |  |  | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P6 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50.04 | 50.04 | 1134.2 | 1128.1025 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[10 empty] | DUE TO LOAD SHEDD-ING (MW) | DUE TO SATUTORY CUT (MW) | DUE TO T&D CONS-TRAINTS (MW) | [15 empty] | 5 | 01.00-01.15 | 50.01 |  | 1124.05 |  |  |  | MALANA-2 | 111.1 | 111.07 | 111 | 111.06 | 111.06 | 111.06 | 111.06 | 11.03 | 111.07 | 110.95 | 110.91 | 111.03 | 111.02 | 111.06 | 111.06 | 110.87 | 110.92 | 110.87 | 110.89 | 110.92 | 110.84 | 111 | 111 | 111 | 2563.85
[28 empty] | 6 | 01.15-01.30 | 50.02 |  | 1105.83 |  |  |  | SWARA KUDDU | 74 | 74 | 74 | 74 | 57 | 39 | 39.5 | 37 | 0 | 0 | 0 | 0 | 0 | 0 | 38.3 | 39.4 | 37.3 | 37 | 58.8 | 73.9963 | 74 | 74 | 230 | 230 | 1361.2963
[28 empty] | 7 | 01.30-01.45 | 50.01 |  | 1110.86
[28 empty] | 8 | 01.45-02:00 | 50.01 | 50.0125 | 1099.81 | 1110.1375
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | TOTAL | [10 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50.02 |  | 1097.9 |  | Malana
[8 empty] | 5+6 | [19 empty] | 10 | 02.15-02.30 | 50.03 |  | 1097.85
[8 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P6/1000 | P7 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50.03 |  | 1110.44
1 | 2 | 3 | 4 |  |  | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.04 | 50.03 | 1107.61 | 1103.45
1 | 885.0656 | 91.7939 | 328.0833 | 111.1 | 74 | 1490.0429 | -362.3267 | 1127.7162 | 0 | 0 | 0 | 0 | 0 | 0 | 1127.7162 | 1 | 723.5 | 91.5 | 330 | 1145 | 1128.1025 | 1143.03 | 1116.66 | 1128.1025 | 1128.1025 | 1127.7162 | 0 | 13 | 03.00-03.15 | 50.03 |  | 1103.29 |  | 91.5 | 1
2 | 922.132 | 91.7939 | 328.0833 | 111.07 | 74 | 1527.0792 | -417.3218 | 1109.7574 | 0 | 0 | 0 | 0 | 0 | 0 | 1109.7574 | 2 | 753.8 | 91.5 | 330 | 1175.3 | 1110.1375 | 1124.05 | 1099.81 | 1110.1375 | 1110.1375 | 1109.7574 | 0 | 14 | 03.15-03.30 | 50.03 |  | 1101.31 |  | 91.5 | 2
3 | 926.597 | 91.192 | 328.0833 | 111 | 74 | 1530.8724 | -427.8002 | 1103.0722 | 0 | 0 | 0 | 0 | 0 | 0 | 1103.0722 | 3 | 757.45 | 90.9 | 330 | 1178.35 | 1103.45 | 1110.44 | 1097.85 | 1103.45 | 1103.45 | 1103.0722 | 0 | 15 | 03.30-03.45 | 50.02 |  | 1107.26 |  | 90.9 | 3
4 | 921.5203 | 91.7939 | 328.0833 | 111.06 | 74 | 1526.4576 | -420.7413 | 1105.7163 | 0 | 0 | 0 | 0 | 0 | 0 | 1105.7163 | 4 | 753.3 | 91.5 | 330 | 1174.8 | 1106.095 | 1112.52 | 1101.31 | 1106.095 | 1106.095 | 1105.7163 | 0 | 16 | 03.45-04.00 | 50.04 | 50.03 | 1112.52 | 1106.095 | 91.5 | 4
5 | 910.2047 | 91.192 | 328.0833 | 111.06 | 57 | 1497.54 | -399.88 | 1097.66 | 0 | 0 | 0 | 0 | 0 | 0 | 1097.66 | 5 | 744.05 | 90.9 | 330 | 1164.95 | 1103.84 | 1107.19 | 1097.66 | 1097.66 | 1097.66 | 1097.66 | 0 | 17 | 04.00-04.15 | 50.03 |  | 1106.43 |  | 90.9 | 5
6 | 921.9485 | 92.1952 | 328.0833 | 111.06 | 39 | 1492.287 | -318.684 | 1173.603 | 0 | 0 | 0 | 0 | 0 | 0 | 1173.603 | 6 | 753.65 | 91.9 | 330 | 1175.55 | 1174.005 | 1202.81 | 1146.69 | 1174.005 | 1174.005 | 1173.603 | 0 | 18 | 04.15-04.30 | 49.98 |  | 1104.08 |  | 91.9 | 6
7 | 912.896 | 91.7939 | 328.0833 | 111.06 | 39.5 | 1483.3332 | -207.4927 | 1275.8405 | 0 | 0 | 0 | 0 | 0 | 0 | 1275.8405 | 7 | 746.25 | 91.5 | 330 | 1167.75 | 1276.2775 | 1323.19 | 1228.03 | 1276.2775 | 1276.2775 | 1275.8405 | 0 | 19 | 04.30-04.45 | 50 |  | 1097.66 |  | 91.5 | 7
8 | 892.3443 | 91.192 | 328.0833 | 11.03 | 37 | 1359.6497 | 23.5541 | 1383.2037 | 0 | 0 | 0 | 0 | 0 | 0 | 1383.2037 | 8 | 729.45 | 90.9 | 330 | 1150.35 | 1383.6775 | 1414.02 | 1343.98 | 1383.6775 | 1383.6775 | 1383.2037 | 0 | 20 | 04.45-05.00 | 49.92 | 49.9825 | 1107.19 | 1103.84 | 90.9 | 8
9 | 893.5676 | 91.7939 | 328.0833 | 111.07 | 0 | 1424.5149 | 14.5222 | 1439.0371 | 0 | 0 | 0 | 0 | 0 | 0 | 1439.0371 | 9 | 730.45 | 91.5 | 330 | 1151.95 | 1439.53 | 1451.27 | 1430.03 | 1439.53 | 1439.53 | 1439.0371 | 0 | 21 | 05.00-05.15 | 49.95 |  | 1146.69 |  | 91.5 | 9
10 | 849.1003 | 91.192 | 328.0833 | 110.95 | 0 | 1379.3256 | 110.1744 | 1489.5 | 0 | 20 | 0 | 0 | 20 | 0.02 | 1509.5 | 10 | 694.1 | 90.9 | 330 | 1115 | 1472.5175 | 1489.5 | 1458.53 | 1489.5 | 1489.5 | 1489.5 | 20 | 22 | 05.15-05.30 | 49.94 |  | 1155.45 |  | 90.9 | 10
11 | 869.7131 | 90.2891 | 328.0833 | 110.91 | 0 | 1398.9955 | 68.7867 | 1467.7823 | 0 | 40 | 0 | 0 | 40 | 0.04 | 1507.7823 | 11 | 710.95 | 90 | 330 | 1130.95 | 1468.285 | 1481.96 | 1459.47 | 1468.285 | 1468.285 | 1467.7823 | 40 | 23 | 05.30-05.45 | 49.93 |  | 1191.07 |  | 90 | 11
12 | 859.3761 | 89.2859 | 328.0833 | 111.03 | 0 | 1387.7753 | 81.5514 | 1469.3267 | 0 | 40 | 0 | 0 | 40 | 0.04 | 1509.3267 | 12 | 702.5 | 89 | 330 | 1121.5 | 1469.83 | 1480.99 | 1465.28 | 1469.83 | 1469.83 | 1469.3267 | 40 | 24 | 05.45-06.00 | 49.85 | 49.9175 | 1202.81 | 1174.005 | 89 | 12
13 | 789.3293 | 90.2891 | 328.0833 | 111.02 | 0 | 1318.7218 | 123.4743 | 1442.196 | 0 | 40 | 0 | 0 | 40 | 0.04 | 1482.196 | 13 | 645.24 | 90 | 330 | 1065.24 | 1442.69 | 1457.97 | 1413.51 | 1442.69 | 1442.69 | 1442.196 | 40 | 25 | 06.00-06.15 | 49.97 |  | 1228.03 |  | 90 | 13
14 | 782.7601 | 90.2891 | 328.0833 | 111.06 | 0 | 1312.1926 | 84.4716 | 1396.6641 | 0 | 40 | 0 | 0 | 40 | 0.04 | 1436.6641 | 14 | 639.87 | 90 | 330 | 1059.87 | 1397.1425 | 1412.77 | 1388.94 | 1397.1425 | 1397.1425 | 1396.6641 | 40 | 26 | 06.15-06.30 | 49.92 |  | 1265.75 |  | 90 | 14
15 | 883.1817 | 90.2891 | 328.0833 | 111.06 | 38.3 | 1450.9142 | -30.9405 | 1419.9736 | 0 | 40 | 0 | 0 | 40 | 0.04 | 1459.9736 | 15 | 721.96 | 90 | 330 | 1141.96 | 1420.46 | 1465.29 | 1372.47 | 1420.46 | 1420.46 | 1419.9736 | 40 | 27 | 06.30-06.45 | 49.96 |  | 1288.14 |  | 90 | 15
16 | 886.4847 | 90.2891 | 328.0833 | 110.87 | 39.4 | 1455.1271 | -23.3475 | 1431.7796 | 0 | 40 | 0 | 0 | 40 | 0.04 | 1471.7796 | 16 | 724.66 | 90 | 330 | 1144.66 | 1432.27 | 1445.3 | 1424.07 | 1432.27 | 1432.27 | 1431.7796 | 40 | 28 | 06.45-07.00 | 50.02 | 49.9675 | 1323.19 | 1276.2775 | 90 | 16
17 | 899.7698 | 90.2891 | 328.0833 | 110.92 | 37.3 | 1466.3623 | -46.846 | 1419.5163 | 0 | 40 | 0 | 0 | 40 | 0.04 | 1459.5163 | 17 | 735.52 | 90 | 330 | 1155.52 | 1420.0025 | 1435.16 | 1404.28 | 1420.0025 | 1420.0025 | 1419.5163 | 40 | 29 | 07.00-07.15 | 50.01 |  | 1343.98 |  | 90 | 17
18 | 907.8192 | 90.2891 | 328.0833 | 110.87 | 37 | 1474.0617 | -111.6733 | 1362.3884 | 0 | 40 | 0 | 0 | 40 | 0.04 | 1402.3884 | 18 | 742.1 | 90 | 330 | 1162.1 | 1362.855 | 1395.65 | 1334.72 | 1362.855 | 1362.855 | 1362.3884 | 40 | 30 | 07.15-07.30 | 50.03 |  | 1375.68 |  | 90 | 18
19 | 904.8221 | 90.2891 | 328.0833 | 110.89 | 58.8 | 1492.8846 | -205.3331 | 1287.5515 | 0 | 40 | 0 | 0 | 40 | 0.04 | 1327.5515 | 19 | 739.65 | 90 | 330 | 1159.65 | 1287.9925 | 1300.85 | 1282.83 | 1287.9925 | 1287.9925 | 1287.5515 | 40 | 31 | 07.30-07.45 | 49.98 |  | 1401.03 |  | 90 | 19
20 | 906.7182 | 90.2891 | 328.0833 | 110.92 | 73.9963 | 1510.007 | -268.9846 | 1241.0224 | 0 | 23.3333 | 0 | 0 | 23.3333 | 0.023333 | 1264.3558 | 20 | 741.2 | 90 | 330 | 1161.2 | 1241.4475 | 1283.97 | 1213.79 | 1241.4475 | 1241.4475 | 1241.0224 | 23.3333 | 32 | 07.45-08.00 | 50.03 | 50.0125 | 1414.02 | 1383.6775 | 90 | 20
21 | 917.8993 | 91.2923 | 328.0833 | 110.84 | 74 | 1522.115 | -164.8698 | 1357.2451 | 0 | 0 | 0 | 0 | 0 | 0 | 1357.2451 | 21 | 750.34 | 91 | 330 | 1171.34 | 1357.71 | 1375.48 | 1316.62 | 1357.71 | 1357.71 | 1357.2451 | 0 | 33 | 08.00-08.15 | 49.97 |  | 1432.05 |  | 91 | 21
22 | 853.7244 | 92.2955 | 328.0833 | 111 | 74 | 1459.1033 | -100.3662 | 1358.7371 | 0 | 0 | 0 | 0 | 0 | 0 | 1358.7371 | 22 | 697.88 | 92 | 330 | 1119.88 | 1359.2025 | 1365.62 | 1351.5 | 1359.2025 | 1359.2025 | 1358.7371 | 0 | 34 | 08.15-08.30 | 49.88 |  | 1430.03 |  | 92 | 22
23 | 1489.5404 | 92.2955 | 328.0833 | 111 | 230 | 2250.9193 | -938.1639 | 1312.7554 | 0 | 0 | 0 | 0 | 0 | 0 | 1312.7554 | 23 | 1217.63 | 92 | 330 | 1639.63 | 1313.205 | 1319.74 | 1304.24 | 1313.205 | 1313.205 | 1312.7554 | 0 | 35 | 08.30-08.45 | 49.99 |  | 1444.77 |  | 92 | 23
24 | 1489.5404 | 92.2955 | 328.0833 | 111 | 230 | 2250.9193 | -982.7786 | 1268.1407 | 0 | 0 | 0 | 0 | 0 | 0 | 1268.1407 | 24 | 1217.63 | 92 | 330 | 1639.63 | 1268.575 | 1280.52 | 1248.7 | 1268.575 | 1268.575 | 1268.1407 | 0 | 36 | 08.45-09.00 | 50.03 | 49.9675 | 1451.27 | 1439.53 | 92 | 24
[16 empty] | 12: 37 | 09.00-09.15 | 50 |  | 1464.44
TOTAL (in MWh) | 22476.055 | 2186 | 7874 | 2563.85 | 1361.2963 | 36461.2013 | -4921.0155 | 31540.1858 | 0 | 403.3333 | 0 | 0 | 403.3333 | 403.3333 | 31943.5192 | TOTAL | 18373.13 | 2179 | 7920 | 28472.13 | 31539.3 |  |  | 31550.1025 | 31550.1025 | 31540.1858 | 403.3333 | 38 | 09.15-09.30 | 50.04 |  | 1458.53
[16 empty] | 12: 39 | 09.30-09.45 | 50.07 |  | 1477.6
[16 empty] | 12: 40 | 09.45-10.00 | 50.12 | 50.0575 | 1489.5 | 1472.5175
|  |  | Hourly Average Frequency (Fr) | [7 empty] | 50.0106 | HZ |  |  |  | 1: Note :- Please don't edit these figures.; 12: 41 | 10.00-10.15 | 50.1 |  | 1481.96
|  |  | Demand met for the day | [7 empty] | 1489.5 | MW |  |  |  | 12: 42 | 10.15-10.30 | 50.09 |  | 1461.14
|  |  | Unrestricted Demand for the day | [7 empty] | 1509.5 | MW |  |  |  | 1: MAX =; 2: 1489.5; 12: 43 | 10.30-10.45 | 50.08 |  | 1459.47
|  |  | Minimum Demand(Unrestricted) for the day | [7 empty] | 1097.66 | MW | Aux. | Net gen. |  | 1: MIN =; 2: 1097.66; 12: 44 | 10.45-11.00 | 50.05 | 50.08 | 1470.57 | 1468.285
|  |  | Gross own generation | [7 empty] | 22476.055 | MWH | 37.047 | 22439.008 |  | 12: 45 | 11.00-11.15 | 50.06 |  | 1465.28
|  |  | Gross Baspa generation | [7 empty] | 7874 | MWH | 9.16 | 7864.84 |  | 12: 46 | 11.15-11.30 | 50.03 |  | 1466.37
|  |  | Gross Malana generation | [7 empty] | 2186 | MWH | 1.45 | 2184.55 |  | 12: 47 | 11.30-11.45 | 50.04 |  | 1466.68
|  |  | Malana generation at 0300 Hrs. | [7 empty] | 90.9 | MW |  |  |  | 12: 48 | 11.45-12.00 | 50.01 | 50.035 | 1480.99 | 1469.83
|  |  | Malana generation at 2400 Hrs. | [7 empty] | 92 | MW |  |  |  | 12: 49 | 12.00-12.15 | 50.01 |  | 1453.33
|  |  | Max.generation of Malana at 2200 Hrs. | [7 empty] | 92 | MW |  |  |  | 12: 50 | 12.15-12.30 | 49.96 |  | 1457.97
[9 empty] | Off Peak Hrs MW |  | Peak Hrs MW |  | Gross Lus | Net Lus
|  |  | Total Own Generation | [5 empty] | 992.6226 |  | 989.3934 |  | 224.7606 | 224.3901 |  | 12: 51 | 12.30-12.45 | 50.02 |  | 1445.95
|  |  | Above 25 MW | [5 empty] | 408.6825 |  | 383.5792 |  | 91.2206 | 90.898 |  | 12: 52 | 12.45-13.00 | 49.99 | 49.995 | 1413.51 | 1442.69
|  |  | Below 25 MW(Small Hydro <25 MW) | [5 empty] | 583.9401 |  | 605.8142 |  | 133.54 | 133.492 |  | 12: 53 | 13.00-13.15 | 50 |  | 1386.62
[16 empty] | 12: 54 | 13.15-13.30 | 49.99 |  | 1388.94
[16 empty] | 12: 55 | 13.30-13.45 | 49.98 |  | 1400.24
[16 empty] | 12: 56 | 13.45-14.00 | 49.99 | 49.99 | 1412.77 | 1397.1425
[16 empty] | 12: 57 | 14.00-14.15 | 50.02 |  | 1372.47
[16 empty] | 12: 58 | 14.15-14.30 | 50.04 |  | 1412.8
[16 empty] | 12: 59 | 14.30-14.45 | 50.05 |  | 1431.28
[16 empty] | 12: 60 | 14.45-15.00 | 50.04 | 50.0375 | 1465.29 | 1420.46
[16 empty] | 12: 61 | 15.00-15.15 | 50 |  | 1445.3
[16 empty] | 12: 62 | 15.15-15.30 | 49.99 |  | 1434.52
[16 empty] | 12: 63 | 15.30-15.45 | 50.03 |  | 1424.07
[16 empty] | 12: 64 | 15.45-16.00 | 50.01 | 50.0075 | 1425.19 | 1432.27
[16 empty] | 12: 65 | 16.00-16.15 | 50.04 |  | 1426.05
[16 empty] | 12: 66 | 16.15-16.30 | 50.01 |  | 1435.16
[16 empty] | 12: 67 | 16.30-16.45 | 50 |  | 1414.52
[16 empty] | 12: 68 | 16.45-17.00 | 49.99 | 50.01 | 1404.28 | 1420.0025
[16 empty] | 12: 69 | 17.00-17.15 | 50.04 |  | 1395.65
[16 empty] | 12: 70 | 17.15-17.30 | 50.04 |  | 1383.77
[16 empty] | 12: 71 | 17.30-17.45 | 49.99 |  | 1337.28
[16 empty] | 12: 72 | 17.45-18.00 | 50.03 | 50.025 | 1334.72 | 1362.855
[16 empty] | 12: 73 | 18.00-18.15 | 50.08 |  | 1300.85
[16 empty] | 12: 74 | 18.15-18.30 | 50.02 |  | 1283.43
[16 empty] | 12: 75 | 18.30-18.45 | 50.01 |  | 1284.86
[16 empty] | 12: 76 | 18.45-19.00 | 50 | 50.0275 | 1282.83 | 1287.9925
[16 empty] | 12: 77 | 19.00-19.15 | 49.97 |  | 1229.35
[16 empty] | 12: 78 | 19.15-19.30 | 49.95 |  | 1213.79
[16 empty] | 12: 79 | 19.30-19.45 | 49.92 |  | 1238.68
[16 empty] | 12: 80 | 19.45-20.00 | 49.99 | 49.9575 | 1283.97 | 1241.4475
[16 empty] | 12: 81 | 20.00-20.15 | 49.98 |  | 1316.62
[16 empty] | 12: 82 | 20.15-20.30 | 50 |  | 1364.16
[16 empty] | 12: 83 | 20.30-20.45 | 50.03 |  | 1374.58
[16 empty] | 12: 84 | 20.45-21.00 | 50.04 | 50.0125 | 1375.48 | 1357.71
[16 empty] | 12: 85 | 21.00-21.15 | 50.04 |  | 1361.39
[16 empty] | 12: 86 | 21.15-21.30 | 50.02 |  | 1358.3
[16 empty] | 12: 87 | 21.30-21.45 | 50.04 |  | 1365.62
[16 empty] | 12: 88 | 21.45-22.00 | 50.04 | 50.035 | 1351.5 | 1359.2025
[16 empty] | 12: 89 | 22.00-22.15 | 50.01 |  | 1319.74
[16 empty] | 12: 90 | 22.15-22.30 | 50.02 |  | 1312.54
[16 empty] | 12: 91 | 22.30-22.45 | 50.02 |  | 1316.3
[16 empty] | 12: 92 | 22.45-23.00 | 50.06 | 50.0275 | 1304.24 | 1313.205
[16 empty] | 12: 93 | 23.00-23.15 | 49.95 |  | 1280.52
[16 empty] | 12: 94 | 23.15-23.30 | 49.98 |  | 1279.92
[16 empty] | 12: 95 | 23.30-23.45 | 50.03 |  | 1248.7
[16 empty] | 12: 96 | 23.45-24.00 | 50.03 | 49.9975 | 1265.16 | 1268.575
[29 empty] | Total | 50.0106 | 50.0106 | 31539.3 | 31539.3
[29 empty] | max | 1489.5 |  | avg. max | 1472.5175
[29 empty] | min | 1097.66 |  | avg. min | 1103.45
Note on AA16: ReportServer: critical formulas…….do not disturb
Note on AB16: ReportServer: critical formulas…….do not disturb
Note on S24: Please don't edit here
Note on G25: Column no. 5 =Sum (2+3+4 Column)
Note on K25: The fig of power cut comes from daily hourly load sheet.