## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2021-07-13
Hiamchal Pradesh State Load Despatch Centre
[12 empty] | DATED | 2021-07-14
FROM | [10 empty] | TO
| POWER CONTROLLER | [10 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [10 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [12 empty] | DEMAND OF STATE |  |  | 29099.2825 | MWh
[16 empty] | ACTUAL MALANA GENERATION |  |  | 241.816 | MWh
|  | State:- Himachal Pradesh | [13 empty] | ACTUAL BASPA GENERATION |  |  | 7933.2 | MWh | [7 empty] | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[11 empty] | PEAK DEMAND(MW) |  |  | 1394.47 | [13 empty] | 1 | 00.00-00.15 | 49.96 |  | 1043.63
|  | Month/Day :- |  |  |  | 2021-07-13 |  |  |  |  | Min.DEMAND(MW) |  |  | 986.45 |  | ACTUAL OWN GENERATION |  |  | 24521.4285 | MWh | [7 empty] | 2 | 00.15-00.30 | 49.97 |  | 1015
[28 empty] | 3 | 00.30-00.45 | 50.01 |  | 1026.95 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [5 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET |  |  | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P6 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 49.98 | 49.98 | 993.4 | 1019.745 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[10 empty] | DUE TO LOAD SHEDD-ING (MW) | DUE TO SATUTORY CUT (MW) | DUE TO T&D CONS-TRAINTS (MW) | [15 empty] | 5 | 01.00-01.15 | 50.01 |  | 989.33 |  |  |  | MALANA-2 | 111.03 | 111.02 | 111.03 | 111.02 | 110.95 | 110.95 | 111.02 | 111.05 | 111.07 | 111 | 111.03 | 111.1 | 111.11 | 111.1 | 111.09 | 111.06 | 111.06 | 111.06 | 111.08 | 111.01 | 111.01 | 111.03 | 111.03 | 111.03 | 2664.94
[28 empty] | 6 | 01.15-01.30 | 50.04 |  | 990.49 |  |  |  | SWARA KUDDU | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 1776
[28 empty] | 7 | 01.30-01.45 | 50.03 |  | 998.12
[28 empty] | 8 | 01.45-02:00 | 50.03 | 50.0275 | 1003.81 | 995.4375
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | TOTAL | [10 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50.03 |  | 1011.21 |  | Malana
[8 empty] | 5+6 | [19 empty] | 10 | 02.15-02.30 | 50.04 |  | 1008.11
[8 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P6/1000 | P7 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50.06 |  | 1019.55
1 | 2 | 3 | 4 |  |  | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.03 | 50.04 | 1002.08 | 1010.2375
1 | 988.049 | 10.1013 | 330.55 | 111.03 | 74 | 1513.7304 | -494.7703 | 1018.9601 | 0 | 0 | 0 | 0 | 0 | 0 | 1018.9601 | 1 | 752.37 | 100 | 330 | 1182.37 | 1019.745 | 1043.63 | 993.4 | 1019.745 | 1019.745 | 1018.9601 | 0 | 13 | 03.00-03.15 | 50.05 |  | 986.45 |  | 100 | 1
2 | 984.9104 | 10.1013 | 330.55 | 111.02 | 74 | 1510.5817 | -515.9104 | 994.6713 | 0 | 0 | 0 | 0 | 0 | 0 | 994.6713 | 2 | 749.98 | 100 | 330 | 1179.98 | 995.4375 | 1003.81 | 989.33 | 995.4375 | 995.4375 | 994.6713 | 0 | 14 | 03.15-03.30 | 50.03 |  | 987.26 |  | 100 | 2
3 | 1000.735 | 10.1013 | 330.55 | 111.03 | 74 | 1526.4163 | -516.9564 | 1009.4599 | 0 | 0 | 0 | 0 | 0 | 0 | 1009.4599 | 3 | 762.03 | 100 | 330 | 1192.03 | 1010.2375 | 1019.55 | 1002.08 | 1010.2375 | 1010.2375 | 1009.4599 | 0 | 15 | 03.30-03.45 | 50.03 |  | 993.14 |  | 100 | 3
4 | 1018.3719 | 10.1013 | 330.55 | 111.02 | 74 | 1544.0433 | -557.5933 | 986.45 | 0 | 0 | 0 | 0 | 0 | 0 | 986.45 | 4 | 775.46 | 100 | 330 | 1205.46 | 990.17 | 993.83 | 986.45 | 986.45 | 986.45 | 986.45 | 0 | 16 | 03.45-04.00 | 50.03 | 50.035 | 993.83 | 990.17 | 100 | 4
5 | 1014.0513 | 10.1013 | 330.55 | 110.95 | 74 | 1539.6527 | -541.1743 | 998.4784 | 0 | 0 | 0 | 0 | 0 | 0 | 998.4784 | 5 | 772.17 | 100 | 330 | 1202.17 | 999.2475 | 1015.01 | 986.67 | 999.2475 | 999.2475 | 998.4784 | 0 | 17 | 04.00-04.15 | 49.97 |  | 986.67 |  | 100 | 5
6 | 1030.1912 | 10.1013 | 330.55 | 110.95 | 74 | 1555.7925 | -491.8171 | 1063.9754 | 0 | 0 | 0 | 0 | 0 | 0 | 1063.9754 | 6 | 784.46 | 100 | 330 | 1214.46 | 1064.795 | 1088.49 | 1036.64 | 1064.795 | 1064.795 | 1063.9754 | 0 | 18 | 04.15-04.30 | 50.01 |  | 990.49 |  | 100 | 6
7 | 1050.8617 | 9.7983 | 330.55 | 111.02 | 74 | 1576.23 | -404.9472 | 1171.2828 | 0 | 0 | 0 | 0 | 0 | 0 | 1171.2828 | 7 | 800.2 | 97 | 330 | 1227.2 | 1172.185 | 1211.49 | 1133.66 | 1172.185 | 1172.185 | 1171.2828 | 0 | 19 | 04.30-04.45 | 49.96 |  | 1004.82 |  | 97 | 7
8 | 1056.7582 | 10.1013 | 330.55 | 111.05 | 74 | 1582.4595 | -297.4569 | 1285.0027 | 0 | 0 | 0 | 0 | 0 | 0 | 1285.0027 | 8 | 804.69 | 100 | 330 | 1234.69 | 1285.9925 | 1335.45 | 1234.48 | 1285.9925 | 1285.9925 | 1285.0027 | 0 | 20 | 04.45-05.00 | 49.95 | 49.9725 | 1015.01 | 999.2475 | 100 | 8
9 | 1045.8714 | 10.1013 | 330.55 | 111.07 | 74 | 1571.5927 | -222.1722 | 1349.4205 | 0 | 0 | 0 | 0 | 0 | 0 | 1349.4205 | 9 | 796.4 | 100 | 330 | 1226.4 | 1350.46 | 1375.78 | 1329.94 | 1350.46 | 1350.46 | 1349.4205 | 0 | 21 | 05.00-05.15 | 50.07 |  | 1036.64 |  | 100 | 9
10 | 998.5419 | 10.1013 | 330.55 | 111 | 74 | 1524.1932 | -129.7232 | 1394.47 | 0 | 0 | 0 | 0 | 0 | 0 | 1394.47 | 10 | 760.36 | 100 | 330 | 1190.36 | 1368.335 | 1394.47 | 1343.04 | 1394.47 | 1394.47 | 1394.47 | 0 | 22 | 05.15-05.30 | 50.06 |  | 1055.24 |  | 100 | 10
11 | 978.3704 | 10.1013 | 330.55 | 111.03 | 74 | 1504.0517 | -137.6917 | 1366.36 | 0 | 20.8333 | 0 | 0 | 20.8333 | 0.020833 | 1387.1933 | 11 | 745 | 100 | 330 | 1175 | 1367.4125 | 1386.68 | 1354.22 | 1367.4125 | 1367.4125 | 1366.36 | 20.8333 | 23 | 05.30-05.45 | 50.05 |  | 1078.81 |  | 100 | 11
12 | 904.8547 | 10.1013 | 330.55 | 111.1 | 74 | 1430.606 | -70.6186 | 1359.9874 | 0 | 25 | 0 | 0 | 25 | 0.025 | 1384.9874 | 12 | 689.02 | 100 | 330 | 1119.02 | 1361.035 | 1372.91 | 1350.15 | 1361.035 | 1361.035 | 1359.9874 | 25 | 24 | 05.45-06.00 | 50.04 | 50.055 | 1088.49 | 1064.795 | 100 | 12
13 | 909.3985 | 10.3034 | 330.55 | 111.11 | 74 | 1435.3619 | -124.7115 | 1310.6504 | 0 | 25 | 0 | 0 | 25 | 0.025 | 1335.6504 | 13 | 692.48 | 102 | 330 | 1124.48 | 1311.66 | 1334.13 | 1290.35 | 1311.66 | 1311.66 | 1310.6504 | 25 | 25 | 06.00-06.15 | 50.08 |  | 1133.66 |  | 102 | 13
14 | 954.0753 | 9.7983 | 330.55 | 111.1 | 74 | 1479.5236 | -190.3966 | 1289.127 | 0 | 25 | 0 | 0 | 25 | 0.025 | 1314.127 | 14 | 726.5 | 97 | 330 | 1153.5 | 1290.12 | 1326.62 | 1276.26 | 1290.12 | 1290.12 | 1289.127 | 25 | 26 | 06.15-06.30 | 50.11 |  | 1163.36 |  | 97 | 14
15 | 1005.0031 | 10.2024 | 330.55 | 111.09 | 74 | 1530.8454 | -215.9008 | 1314.9446 | 0 | 25 | 0 | 0 | 25 | 0.025 | 1339.9446 | 15 | 765.28 | 101 | 330 | 1196.28 | 1315.9575 | 1322.89 | 1301.78 | 1315.9575 | 1315.9575 | 1314.9446 | 25 | 27 | 06.30-06.45 | 50.11 |  | 1180.23 |  | 101 | 15
16 | 1013.6311 | 10.2024 | 330.55 | 111.06 | 74 | 1539.4435 | -231.8782 | 1307.5653 | 0 | 20.8333 | 0 | 0 | 20.8333 | 0.020833 | 1328.3986 | 16 | 771.85 | 101 | 330 | 1202.85 | 1308.5725 | 1325.37 | 1295.99 | 1308.5725 | 1308.5725 | 1307.5653 | 20.8333 | 28 | 06.45-07.00 | 50.11 | 50.1025 | 1211.49 | 1172.185 | 101 | 16
17 | 1067.7632 | 10.2024 | 330.55 | 111.06 | 74 | 1593.5756 | -280.4671 | 1313.1085 | 0 | 0 | 0 | 0 | 0 | 0 | 1313.1085 | 17 | 813.07 | 101 | 330 | 1244.07 | 1314.12 | 1324.02 | 1304.25 | 1314.12 | 1314.12 | 1313.1085 | 0 | 29 | 07.00-07.15 | 50.07 |  | 1234.48 |  | 101 | 17
18 | 1063.4164 | 10.2024 | 330.55 | 111.06 | 74 | 1589.2287 | -311.413 | 1277.8157 | 0 | 0 | 0 | 0 | 0 | 0 | 1277.8157 | 18 | 809.76 | 101 | 330 | 1240.76 | 1278.8 | 1321.91 | 1225.64 | 1278.8 | 1278.8 | 1277.8157 | 0 | 30 | 07.15-07.30 | 50.03 |  | 1261.26 |  | 101 | 18
19 | 1062.5496 | 10.2024 | 330.55 | 111.08 | 74 | 1588.382 | -391.1942 | 1197.1878 | 0 | 4.7667 | 0 | 0 | 4.7667 | 0.0047667 | 1201.9545 | 19 | 809.1 | 101 | 330 | 1240.1 | 1198.11 | 1221.64 | 1172.41 | 1198.11 | 1198.11 | 1197.1878 | 4.7667 | 31 | 07.30-07.45 | 50.08 |  | 1312.78 |  | 101 | 19
20 | 1066.4894 | 10.2024 | 330.55 | 111.01 | 74 | 1592.2517 | -380.9848 | 1211.267 | 0 | 0 | 0 | 0 | 0 | 0 | 1211.267 | 20 | 812.1 | 101 | 330 | 1243.1 | 1212.2 | 1267.8 | 1156.33 | 1212.2 | 1212.2 | 1211.267 | 0 | 32 | 07.45-08.00 | 50.07 | 50.0625 | 1335.45 | 1285.9925 | 101 | 20
21 | 1076.7458 | 10.1923 | 330.55 | 111.01 | 74 | 1602.4981 | -311.8748 | 1290.6233 | 0 | 0 | 0 | 0 | 0 | 0 | 1290.6233 | 21 | 819.91 | 100.9 | 330 | 1250.81 | 1291.6175 | 1303.16 | 1279.38 | 1291.6175 | 1291.6175 | 1290.6233 | 0 | 33 | 08.00-08.15 | 50.06 |  | 1333.26 |  | 100.9 | 21
22 | 1076.9297 | 9.7983 | 330.55 | 111.03 | 74 | 1602.308 | -342.9955 | 1259.3125 | 0 | 0 | 0 | 0 | 0 | 0 | 1259.3125 | 22 | 820.05 | 97 | 330 | 1247.05 | 1260.2825 | 1290.46 | 1231.23 | 1260.2825 | 1260.2825 | 1259.3125 | 0 | 34 | 08.15-08.30 | 49.97 |  | 1329.94 |  | 97 | 22
23 | 1076.9297 | 9.7983 | 330.55 | 111.03 | 74 | 1602.308 | -401.3456 | 1200.9624 | 0 | 0 | 0 | 0 | 0 | 0 | 1200.9624 | 23 | 820.05 | 97 | 330 | 1247.05 | 1201.8875 | 1224.12 | 1177.59 | 1201.8875 | 1201.8875 | 1200.9624 | 0 | 35 | 08.30-08.45 | 49.97 |  | 1362.86 |  | 97 | 23
24 | 1076.9297 | 9.7983 | 330.55 | 111.03 | 74 | 1602.308 | -472.276 | 1130.032 | 0 | 0 | 0 | 0 | 0 | 0 | 1130.032 | 24 | 820.05 | 97 | 330 | 1247.05 | 1130.9025 | 1166.85 | 1115.81 | 1130.9025 | 1130.9025 | 1130.032 | 0 | 36 | 08.45-09.00 | 50.01 | 50.0025 | 1375.78 | 1350.46 | 97 | 24
[16 empty] | 12: 37 | 09.00-09.15 | 49.98 |  | 1366.87
TOTAL (in MWh) | 24521.4285 | 241.816 | 7933.2 | 2664.94 | 1776 | 37137.3845 | -8036.2694 | 29101.1151 | 0 | 146.4333 | 0 | 0 | 146.4333 | 146.4333 | 29247.5484 | TOTAL | 18672.34 | 2393.9 | 7920 | 28986.24 | 29099.2825 |  |  | 29121.6975 | 29121.6975 | 29101.1151 | 146.4333 | 38 | 09.15-09.30 | 49.99 |  | 1343.04
[16 empty] | 12: 39 | 09.30-09.45 | 50.02 |  | 1368.96
[16 empty] | 12: 40 | 09.45-10.00 | 50.01 | 50 | 1394.47 | 1368.335
|  |  | Hourly Average Frequency (Fr) | [7 empty] | 50.0209 | HZ |  |  |  | 1: Note :- Please don't edit these figures.; 12: 41 | 10.00-10.15 | 50.07 |  | 1386.68
|  |  | Demand met for the day | [7 empty] | 1394.47 | MW |  |  |  | 12: 42 | 10.15-10.30 | 50.04 |  | 1364.77
|  |  | Unrestricted Demand for the day | [7 empty] | 1394.47 | MW |  |  |  | 1: MAX =; 2: 1394.47; 12: 43 | 10.30-10.45 | 50 |  | 1354.22
|  |  | Minimum Demand(Unrestricted) for the day | [7 empty] | 986.45 | MW | Aux. | Net gen. |  | 1: MIN =; 2: 986.45; 12: 44 | 10.45-11.00 | 50.03 | 50.035 | 1363.98 | 1367.4125
|  |  | Gross own generation | [7 empty] | 24521.4285 | MWH | 36.874 | 24484.5545 |  | 12: 45 | 11.00-11.15 | 50.03 |  | 1372.91
|  |  | Gross Baspa generation | [7 empty] | 7933.2 | MWH | 10.55 | 7922.65 |  | 12: 46 | 11.15-11.30 | 50.04 |  | 1370.63
|  |  | Gross Malana generation | [7 empty] | 241.816 | MWH | 1.448 | 240.368 |  | 12: 47 | 11.30-11.45 | 50.02 |  | 1350.15
|  |  | Malana generation at 0300 Hrs. | [7 empty] | 100 | MW |  |  |  | 12: 48 | 11.45-12.00 | 50.01 | 50.025 | 1350.45 | 1361.035
|  |  | Malana generation at 2400 Hrs. | [7 empty] | 97 | MW |  |  |  | 12: 49 | 12.00-12.15 | 50.03 |  | 1334.13
|  |  | Max.generation of Malana at 1300 Hrs. | [7 empty] | 102 | MW |  |  |  | 12: 50 | 12.15-12.30 | 49.99 |  | 1301.97
[9 empty] | Off Peak Hrs MW |  | Peak Hrs MW |  | Gross Lus | Net Lus
|  |  | Total Own Generation | [5 empty] | 1009.1081 |  | 1059.3031 |  | 245.2143 | 244.8455 |  | 12: 51 | 12.30-12.45 | 50.04 |  | 1320.19
|  |  | Above 25 MW | [5 empty] | 385.5709 |  | 435.6451 |  | 96.9586 | 96.6391 |  | 12: 52 | 12.45-13.00 | 50.05 | 50.0275 | 1290.35 | 1311.66
|  |  | Below 25 MW(Small Hydro <25 MW) | [5 empty] | 623.5372 |  | 623.658 |  | 148.2557 | 148.2065 |  | 12: 53 | 13.00-13.15 | 50.05 |  | 1248.17
[16 empty] | 12: 54 | 13.15-13.30 | 50.07 |  | 1276.26
[16 empty] | 12: 55 | 13.30-13.45 | 50.04 |  | 1309.43
[16 empty] | 12: 56 | 13.45-14.00 | 50.08 | 50.06 | 1326.62 | 1290.12
[16 empty] | 12: 57 | 14.00-14.15 | 50.02 |  | 1322.89
[16 empty] | 12: 58 | 14.15-14.30 | 50.02 |  | 1301.78
[16 empty] | 12: 59 | 14.30-14.45 | 49.95 |  | 1319.33
[16 empty] | 12: 60 | 14.45-15.00 | 49.94 | 49.9825 | 1319.83 | 1315.9575
[16 empty] | 12: 61 | 15.00-15.15 | 50.02 |  | 1325.37
[16 empty] | 12: 62 | 15.15-15.30 | 50.01 |  | 1306.6
[16 empty] | 12: 63 | 15.30-15.45 | 50.02 |  | 1306.33
[16 empty] | 12: 64 | 15.45-16.00 | 50 | 50.0125 | 1295.99 | 1308.5725
[16 empty] | 12: 65 | 16.00-16.15 | 50 |  | 1310.83
[16 empty] | 12: 66 | 16.15-16.30 | 50 |  | 1324.02
[16 empty] | 12: 67 | 16.30-16.45 | 50 |  | 1304.25
[16 empty] | 12: 68 | 16.45-17.00 | 49.99 | 49.9975 | 1317.38 | 1314.12
[16 empty] | 12: 69 | 17.00-17.15 | 49.98 |  | 1321.91
[16 empty] | 12: 70 | 17.15-17.30 | 49.99 |  | 1305.91
[16 empty] | 12: 71 | 17.30-17.45 | 49.97 |  | 1261.74
[16 empty] | 12: 72 | 17.45-18.00 | 49.95 | 49.9725 | 1225.64 | 1278.8
[16 empty] | 12: 73 | 18.00-18.15 | 50 |  | 1213.93
[16 empty] | 12: 74 | 18.15-18.30 | 50.03 |  | 1221.64
[16 empty] | 12: 75 | 18.30-18.45 | 50.05 |  | 1184.46
[16 empty] | 12: 76 | 18.45-19.00 | 50.04 | 50.03 | 1172.41 | 1198.11
[16 empty] | 12: 77 | 19.00-19.15 | 50.02 |  | 1156.33
[16 empty] | 12: 78 | 19.15-19.30 | 50.01 |  | 1194.76
[16 empty] | 12: 79 | 19.30-19.45 | 50.03 |  | 1229.91
[16 empty] | 12: 80 | 19.45-20.00 | 50.03 | 50.0225 | 1267.8 | 1212.2
[16 empty] | 12: 81 | 20.00-20.15 | 50.02 |  | 1303.16
[16 empty] | 12: 82 | 20.15-20.30 | 49.99 |  | 1279.38
[16 empty] | 12: 83 | 20.30-20.45 | 49.99 |  | 1284.14
[16 empty] | 12: 84 | 20.45-21.00 | 50 | 50 | 1299.79 | 1291.6175
[16 empty] | 12: 85 | 21.00-21.15 | 50.01 |  | 1290.46
[16 empty] | 12: 86 | 21.15-21.30 | 50.04 |  | 1276.99
[16 empty] | 12: 87 | 21.30-21.45 | 50.03 |  | 1242.45
[16 empty] | 12: 88 | 21.45-22.00 | 50.02 | 50.025 | 1231.23 | 1260.2825
[16 empty] | 12: 89 | 22.00-22.15 | 50 |  | 1224.12
[16 empty] | 12: 90 | 22.15-22.30 | 50 |  | 1213.57
[16 empty] | 12: 91 | 22.30-22.45 | 50.04 |  | 1192.27
[16 empty] | 12: 92 | 22.45-23.00 | 50.05 | 50.0225 | 1177.59 | 1201.8875
[16 empty] | 12: 93 | 23.00-23.15 | 50.02 |  | 1166.85
[16 empty] | 12: 94 | 23.15-23.30 | 50.02 |  | 1120.29
[16 empty] | 12: 95 | 23.30-23.45 | 50.01 |  | 1115.81
[16 empty] | 12: 96 | 23.45-24.00 | 50 | 50.0125 | 1120.66 | 1130.9025
[29 empty] | Total | 50.0209 | 50.0209 | 29099.2825 | 29099.2825
[29 empty] | max | 1394.47 |  | avg. max | 1368.335
[29 empty] | min | 986.45 |  | avg. min | 990.17
Note on AA16: ReportServer: critical formulas…….do not disturb
Note on AB16: ReportServer: critical formulas…….do not disturb
Note on S24: Please don't edit here
Note on G25: Column no. 5 =Sum (2+3+4 Column)
Note on K25: The fig of power cut comes from daily hourly load sheet.