## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2021-07-14
Hiamchal Pradesh State Load Despatch Centre
[12 empty] | DATED | 2021-07-15
FROM | [10 empty] | TO
| POWER CONTROLLER | [10 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [10 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [12 empty] | DEMAND OF STATE |  |  | 30590.475 | MWh
[16 empty] | ACTUAL MALANA GENERATION |  |  | 2422.64 | MWh
|  | State:- Himachal Pradesh | [13 empty] | ACTUAL BASPA GENERATION |  |  | 7925 | MWh | [7 empty] | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[11 empty] | PEAK DEMAND(MW) |  |  | 1496.9587 | [13 empty] | 1 | 00.00-00.15 | 50.02 |  | 1105.51
|  | Month/Day :- |  |  |  | 2021-07-14 |  |  |  |  | Min.DEMAND(MW) |  |  | 1043.78 |  | ACTUAL OWN GENERATION |  |  | 24130.708 | MWh | [7 empty] | 2 | 00.15-00.30 | 49.98 |  | 1096.96
[28 empty] | 3 | 00.30-00.45 | 50.01 |  | 1094.02 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [5 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET |  |  | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P6 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50.02 | 50.0075 | 1086.06 | 1095.6375 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[10 empty] | DUE TO LOAD SHEDD-ING (MW) | DUE TO SATUTORY CUT (MW) | DUE TO T&D CONS-TRAINTS (MW) | [15 empty] | 5 | 01.00-01.15 | 50 |  | 1073.59 |  |  |  | MALANA-2 | 111.03 | 111.02 | 111.02 | 110.99 | 111.02 | 111.02 | 111.03 | 111.02 | 111.05 | 111.08 | 111.04 | 111.02 | 111.06 | 111 | 111.09 | 111.03 | 111.03 | 111.03 | 111.03 | 111.03 | 111.09 | 111.06 | 111.03 | 111.03 | 2664.85
[28 empty] | 6 | 01.15-01.30 | 50.03 |  | 1068.15 |  |  |  | SWARA KUDDU | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 1776
[28 empty] | 7 | 01.30-01.45 | 50.02 |  | 1054.39
[28 empty] | 8 | 01.45-02:00 | 50.02 | 50.0175 | 1065.57 | 1065.425
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | TOTAL | [10 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50.05 |  | 1045.94 |  | Malana
[8 empty] | 5+6 | [19 empty] | 10 | 02.15-02.30 | 50.03 |  | 1050.82
[8 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P6/1000 | P7 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50.05 |  | 1051.28
1 | 2 | 3 | 4 |  |  | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.04 | 50.0425 | 1050.47 | 1049.6275
1 | 1012.6638 | 71.3801 | 330.2083 | 111.03 | 74 | 1599.2823 | -503.7405 | 1095.5418 | 0 | 0 | 0 | 0 | 0 | 0 | 1095.5418 | 1 | 811.07 | 100 | 330 | 1241.07 | 1095.6375 | 1105.51 | 1086.06 | 1095.6375 | 1095.6375 | 1095.5418 | 0 | 13 | 03.00-03.15 | 50.05 |  | 1051.44 |  | 100 | 1
2 | 1011.665 | 785.1809 | 330.2083 | 111.02 | 74 | 2312.0742 | -1246.7423 | 1065.3319 | 0 | 0 | 0 | 0 | 0 | 0 | 1065.3319 | 2 | 810.27 | 1100 | 330 | 2240.27 | 1065.425 | 1073.59 | 1054.39 | 1065.425 | 1065.425 | 1065.3319 | 0 | 14 | 03.15-03.30 | 50.04 |  | 1046.36 |  | 1100 | 2
3 | 1010.404 | 71.3801 | 330.2083 | 111.02 | 74 | 1597.0124 | -547.4766 | 1049.5358 | 0 | 0 | 0 | 0 | 0 | 0 | 1049.5358 | 3 | 809.26 | 100 | 330 | 1239.26 | 1049.6275 | 1051.28 | 1045.94 | 1049.6275 | 1049.6275 | 1049.5358 | 0 | 15 | 03.30-03.45 | 50.04 |  | 1043.78 |  | 100 | 3
4 | 1010.9159 | 71.3801 | 330.2083 | 110.99 | 74 | 1597.4943 | -553.7143 | 1043.78 | 0 | 0 | 0 | 0 | 0 | 0 | 1043.78 | 4 | 809.67 | 100 | 330 | 1239.67 | 1051.9175 | 1066.09 | 1043.78 | 1043.78 | 1043.78 | 1043.78 | 0 | 16 | 03.45-04.00 | 50.06 | 50.0475 | 1066.09 | 1051.9175 | 100 | 4
5 | 1000.2283 | 71.3801 | 330.2083 | 111.02 | 74 | 1586.8367 | -518.3725 | 1068.4642 | 0 | 0 | 0 | 0 | 0 | 0 | 1068.4642 | 5 | 801.11 | 100 | 330 | 1231.11 | 1068.5575 | 1085.37 | 1056.07 | 1068.5575 | 1068.5575 | 1068.4642 | 0 | 17 | 04.00-04.15 | 50.03 |  | 1066.58 |  | 100 | 5
6 | 1002.9751 | 71.3801 | 330.2083 | 111.02 | 74 | 1589.5835 | -433.9869 | 1155.5965 | 0 | 0 | 0 | 0 | 0 | 0 | 1155.5965 | 6 | 803.31 | 100 | 330 | 1233.31 | 1155.6975 | 1193.81 | 1108.9 | 1155.6975 | 1155.6975 | 1155.5965 | 0 | 18 | 04.15-04.30 | 50.04 |  | 1056.07 |  | 100 | 6
7 | 1246.8175 | 72.0939 | 330.2083 | 111.03 | 74 | 1834.1497 | -556.1838 | 1277.9659 | 0 | 0 | 0 | 0 | 0 | 0 | 1277.9659 | 7 | 998.61 | 101 | 330 | 1429.61 | 1278.0775 | 1302.92 | 1243.73 | 1278.0775 | 1278.0775 | 1277.9659 | 0 | 19 | 04.30-04.45 | 50.02 |  | 1066.21 |  | 101 | 7
8 | 988.6791 | 72.8077 | 330.2083 | 111.02 | 74 | 1576.7152 | -208.5422 | 1368.173 | 0 | 0 | 0 | 0 | 0 | 0 | 1368.173 | 8 | 791.86 | 102 | 330 | 1223.86 | 1368.2925 | 1395.75 | 1327.14 | 1368.2925 | 1368.2925 | 1368.173 | 0 | 20 | 04.45-05.00 | 50 | 50.0225 | 1085.37 | 1068.5575 | 102 | 8
9 | 982.0493 | 71.3801 | 330.2083 | 111.05 | 74 | 1568.6877 | -135.5479 | 1433.1398 | 0 | 0 | 0 | 0 | 0 | 0 | 1433.1398 | 9 | 786.55 | 100 | 330 | 1216.55 | 1433.265 | 1445.96 | 1423.35 | 1433.265 | 1433.265 | 1433.1398 | 0 | 21 | 05.00-05.15 | 50.01 |  | 1108.9 |  | 100 | 9
10 | 997.3441 | 71.3801 | 330.2083 | 111.08 | 74 | 1584.0125 | -91.7925 | 1492.22 | 0 | 0 | 0 | 0 | 0 | 0 | 1492.22 | 10 | 798.8 | 100 | 330 | 1228.8 | 1481.41 | 1492.22 | 1464.97 | 1492.22 | 1492.22 | 1492.22 | 0 | 22 | 05.15-05.30 | 50.03 |  | 1148.62 |  | 100 | 10
11 | 995.4088 | 71.3801 | 330.2083 | 111.04 | 74 | 1582.0373 | -98.4119 | 1483.6254 | 0 | 13.3333 | 0 | 0 | 13.3333 | 0.013333 | 1496.9587 | 11 | 797.25 | 100 | 330 | 1227.25 | 1483.755 | 1489.42 | 1469.87 | 1483.755 | 1483.755 | 1483.6254 | 13.3333 | 23 | 05.30-05.45 | 50.04 |  | 1171.46 |  | 100 | 11
12 | 911.8931 | 71.3801 | 330.2083 | 111.02 | 74 | 1498.5016 | -46.9584 | 1451.5432 | 0 | 20.1667 | 0 | 0 | 20.1667 | 0.020167 | 1471.7099 | 12 | 730.36 | 100 | 330 | 1160.36 | 1451.67 | 1457.47 | 1447.29 | 1451.67 | 1451.67 | 1451.5432 | 20.1667 | 24 | 05.45-06.00 | 50.03 | 50.0275 | 1193.81 | 1155.6975 | 100 | 12
13 | 922.2936 | 67.8111 | 330.2083 | 111.06 | 74 | 1505.373 | -74.278 | 1431.095 | 0 | 20.1667 | 0 | 0 | 20.1667 | 0.020167 | 1451.2616 | 13 | 738.69 | 95 | 330 | 1163.69 | 1431.22 | 1469.01 | 1391.49 | 1431.22 | 1431.22 | 1431.095 | 20.1667 | 25 | 06.00-06.15 | 50.02 |  | 1243.73 |  | 95 | 13
14 | 996.2329 | 68.5249 | 330.2083 | 111 | 74 | 1579.9661 | -214.0804 | 1365.8857 | 0 | 16 | 0 | 0 | 16 | 0.016 | 1381.8857 | 14 | 797.91 | 96 | 330 | 1223.91 | 1366.005 | 1388.09 | 1349.66 | 1366.005 | 1366.005 | 1365.8857 | 16 | 26 | 06.15-06.30 | 49.96 |  | 1272.32 |  | 96 | 14
15 | 1011.3279 | 70.6663 | 330.2083 | 111.09 | 74 | 1597.2925 | -200.6445 | 1396.648 | 0 | 16 | 0 | 0 | 16 | 0.016 | 1412.648 | 15 | 810 | 99 | 330 | 1239 | 1396.77 | 1406.42 | 1381.9 | 1396.77 | 1396.77 | 1396.648 | 16 | 27 | 06.30-06.45 | 50.03 |  | 1293.34 |  | 99 | 15
16 | 996.1455 | 72.0939 | 330.2083 | 111.03 | 74 | 1583.4777 | -177.973 | 1405.5047 | 0 | 13.3333 | 0 | 0 | 13.3333 | 0.013333 | 1418.838 | 16 | 797.84 | 101 | 330 | 1228.84 | 1405.6275 | 1414.12 | 1398.2 | 1405.6275 | 1405.6275 | 1405.5047 | 13.3333 | 28 | 06.45-07.00 | 50.01 | 50.005 | 1302.92 | 1278.0775 | 101 | 16
17 | 1007.9693 | 72.0939 | 330.2083 | 111.03 | 74 | 1595.3015 | -208.4877 | 1386.8138 | 0 | 0 | 0 | 0 | 0 | 0 | 1386.8138 | 17 | 807.31 | 101 | 330 | 1238.31 | 1386.935 | 1393.6 | 1380.06 | 1386.935 | 1386.935 | 1386.8138 | 0 | 29 | 07.00-07.15 | 50.03 |  | 1327.14 |  | 101 | 17
18 | 1003.2872 | 72.0939 | 330.2083 | 111.03 | 74 | 1590.6194 | -268.6399 | 1321.9795 | 0 | 0 | 0 | 0 | 0 | 0 | 1321.9795 | 18 | 803.56 | 101 | 330 | 1234.56 | 1322.095 | 1347.45 | 1290.78 | 1322.095 | 1322.095 | 1321.9795 | 0 | 30 | 07.15-07.30 | 50.01 |  | 1366.43 |  | 101 | 18
19 | 994.9718 | 72.0939 | 330.2083 | 111.03 | 74 | 1582.3041 | -351.5816 | 1230.7225 | 0 | 0 | 0 | 0 | 0 | 0 | 1230.7225 | 19 | 796.9 | 101 | 330 | 1227.9 | 1230.83 | 1265.35 | 1201.3 | 1230.83 | 1230.83 | 1230.7225 | 0 | 31 | 07.30-07.45 | 50.02 |  | 1383.85 |  | 101 | 19
20 | 979.0528 | 72.0939 | 330.2083 | 111.03 | 74 | 1566.385 | -346.2816 | 1220.1034 | 0 | 0 | 0 | 0 | 0 | 0 | 1220.1034 | 20 | 784.15 | 101 | 330 | 1215.15 | 1220.21 | 1259.14 | 1187.02 | 1220.21 | 1220.21 | 1220.1034 | 0 | 32 | 07.45-08.00 | 50.04 | 50.025 | 1395.75 | 1368.2925 | 101 | 20
21 | 988.7541 | 72.0939 | 330.2083 | 111.09 | 74 | 1576.1463 | -302.2326 | 1273.9137 | 0 | 0 | 0 | 0 | 0 | 0 | 1273.9137 | 21 | 791.92 | 101 | 330 | 1222.92 | 1274.025 | 1284.82 | 1260.91 | 1274.025 | 1274.025 | 1273.9137 | 0 | 33 | 08.00-08.15 | 50.05 |  | 1426.58 |  | 101 | 21
22 | 1011.8773 | 72.0939 | 330.2083 | 111.06 | 74 | 1599.2395 | -362.89 | 1236.3495 | 0 | 0 | 0 | 0 | 0 | 0 | 1236.3495 | 22 | 810.44 | 101 | 330 | 1241.44 | 1236.4575 | 1255.89 | 1222.95 | 1236.4575 | 1236.4575 | 1236.3495 | 0 | 34 | 08.15-08.30 | 49.99 |  | 1423.35 |  | 101 | 22
23 | 1023.8758 | 69.2387 | 330.2083 | 111.03 | 74 | 1608.3529 | -415.982 | 1192.3708 | 0 | 0 | 0 | 0 | 0 | 0 | 1192.3708 | 23 | 820.05 | 97 | 330 | 1247.05 | 1192.475 | 1214.96 | 1171.25 | 1192.475 | 1192.475 | 1192.3708 | 0 | 35 | 08.30-08.45 | 50.03 |  | 1445.96 |  | 97 | 23
24 | 1023.8758 | 69.2387 | 330.2083 | 111.03 | 74 | 1608.3529 | -463.9603 | 1144.3925 | 0 | 0 | 0 | 0 | 0 | 0 | 1144.3925 | 24 | 820.05 | 97 | 330 | 1247.05 | 1144.4925 | 1148.39 | 1139.97 | 1144.4925 | 1144.4925 | 1144.3925 | 0 | 36 | 08.45-09.00 | 50 | 50.0175 | 1437.17 | 1433.265 | 97 | 24
[16 empty] | 12: 37 | 09.00-09.15 | 49.98 |  | 1464.97
TOTAL (in MWh) | 24130.708 | 2422.64 | 7925 | 2664.85 | 1776 | 38919.198 | -8328.5015 | 30590.6965 | 0 | 99 | 0 | 0 | 99 | 99 | 30689.6965 | TOTAL | 19326.94 | 3394 | 7920 | 30640.94 | 30590.475 |  |  | 30593.1475 | 30593.1475 | 30590.6965 | 99 | 38 | 09.15-09.30 | 50.02 |  | 1478.87
[16 empty] | 12: 39 | 09.30-09.45 | 50.02 |  | 1489.58
[16 empty] | 12: 40 | 09.45-10.00 | 50.01 | 50.0075 | 1492.22 | 1481.41
|  |  | Hourly Average Frequency (Fr) | [7 empty] | 50.024 | HZ |  |  |  | 1: Note :- Please don't edit these figures.; 12: 41 | 10.00-10.15 | 50.02 |  | 1487.5
|  |  | Demand met for the day | [7 empty] | 1492.22 | MW |  |  |  | 12: 42 | 10.15-10.30 | 49.99 |  | 1488.23
|  |  | Unrestricted Demand for the day | [7 empty] | 1496.9587 | MW |  |  |  | 1: MAX =; 2: 1492.22; 12: 43 | 10.30-10.45 | 50.03 |  | 1489.42
|  |  | Minimum Demand(Unrestricted) for the day | [7 empty] | 1043.78 | MW | Aux. | Net gen. |  | 1: MIN =; 2: 1043.78; 12: 44 | 10.45-11.00 | 50.04 | 50.02 | 1469.87 | 1483.755
|  |  | Gross own generation | [7 empty] | 24130.708 | MWH | 39.44 | 24091.268 |  | 12: 45 | 11.00-11.15 | 50.04 |  | 1457.47
|  |  | Gross Baspa generation | [7 empty] | 7925 | MWH | 10.36 | 7914.64 |  | 12: 46 | 11.15-11.30 | 50.06 |  | 1450.66
|  |  | Gross Malana generation | [7 empty] | 2422.64 | MWH | 1.504 | 2421.136 |  | 12: 47 | 11.30-11.45 | 50.07 |  | 1447.29
|  |  | Malana generation at 0300 Hrs. | [7 empty] | 100 | MW |  |  |  | 12: 48 | 11.45-12.00 | 50.07 | 50.06 | 1451.26 | 1451.67
|  |  | Malana generation at 2400 Hrs. | [7 empty] | 97 | MW |  |  |  | 12: 49 | 12.00-12.15 | 50.09 |  | 1448.9
|  |  | Max.generation of Malana at 200 Hrs. | [7 empty] | 1100 | MW |  |  |  | 12: 50 | 12.15-12.30 | 50.11 |  | 1469.01
[9 empty] | Off Peak Hrs MW |  | Peak Hrs MW |  | Gross Lus | Net Lus
|  |  | Total Own Generation | [5 empty] | 1011.7906 |  | 971.5857 |  | 241.3071 | 240.9127 |  | 12: 51 | 12.30-12.45 | 50.07 |  | 1415.48
|  |  | Above 25 MW | [5 empty] | 433.9344 |  | 420.9064 |  | 103.6532 | 103.3127 |  | 12: 52 | 12.45-13.00 | 50.06 | 50.0825 | 1391.49 | 1431.22
|  |  | Below 25 MW(Small Hydro <25 MW) | [5 empty] | 577.8562 |  | 550.6793 |  | 137.6539 | 137.6 |  | 12: 53 | 13.00-13.15 | 50.17 |  | 1357.57
[16 empty] | 12: 54 | 13.15-13.30 | 50.21 |  | 1349.66
[16 empty] | 12: 55 | 13.30-13.45 | 50.08 |  | 1368.7
[16 empty] | 12: 56 | 13.45-14.00 | 50.07 | 50.1325 | 1388.09 | 1366.005
[16 empty] | 12: 57 | 14.00-14.15 | 50.03 |  | 1381.9
[16 empty] | 12: 58 | 14.15-14.30 | 50.02 |  | 1394.18
[16 empty] | 12: 59 | 14.30-14.45 | 49.97 |  | 1406.42
[16 empty] | 12: 60 | 14.45-15.00 | 49.95 | 49.9925 | 1404.58 | 1396.77
[16 empty] | 12: 61 | 15.00-15.15 | 50 |  | 1399.99
[16 empty] | 12: 62 | 15.15-15.30 | 50.02 |  | 1414.12
[16 empty] | 12: 63 | 15.30-15.45 | 49.94 |  | 1398.2
[16 empty] | 12: 64 | 15.45-16.00 | 49.94 | 49.975 | 1410.2 | 1405.6275
[16 empty] | 12: 65 | 16.00-16.15 | 50.01 |  | 1393.6
[16 empty] | 12: 66 | 16.15-16.30 | 49.99 |  | 1387.43
[16 empty] | 12: 67 | 16.30-16.45 | 49.98 |  | 1386.65
[16 empty] | 12: 68 | 16.45-17.00 | 49.98 | 49.99 | 1380.06 | 1386.935
[16 empty] | 12: 69 | 17.00-17.15 | 50 |  | 1347.45
[16 empty] | 12: 70 | 17.15-17.30 | 50 |  | 1334.17
[16 empty] | 12: 71 | 17.30-17.45 | 49.97 |  | 1315.98
[16 empty] | 12: 72 | 17.45-18.00 | 49.96 | 49.9825 | 1290.78 | 1322.095
[16 empty] | 12: 73 | 18.00-18.15 | 50 |  | 1265.35
[16 empty] | 12: 74 | 18.15-18.30 | 49.99 |  | 1239.65
[16 empty] | 12: 75 | 18.30-18.45 | 49.93 |  | 1217.02
[16 empty] | 12: 76 | 18.45-19.00 | 49.99 | 49.9775 | 1201.3 | 1230.83
[16 empty] | 12: 77 | 19.00-19.15 | 50.01 |  | 1187.02
[16 empty] | 12: 78 | 19.15-19.30 | 50.01 |  | 1204.02
[16 empty] | 12: 79 | 19.30-19.45 | 50.05 |  | 1230.66
[16 empty] | 12: 80 | 19.45-20.00 | 50.05 | 50.03 | 1259.14 | 1220.21
[16 empty] | 12: 81 | 20.00-20.15 | 50.09 |  | 1276.72
[16 empty] | 12: 82 | 20.15-20.30 | 50.05 |  | 1284.82
[16 empty] | 12: 83 | 20.30-20.45 | 50.05 |  | 1273.65
[16 empty] | 12: 84 | 20.45-21.00 | 50.05 | 50.06 | 1260.91 | 1274.025
[16 empty] | 12: 85 | 21.00-21.15 | 50.03 |  | 1255.89
[16 empty] | 12: 86 | 21.15-21.30 | 50.03 |  | 1240.31
[16 empty] | 12: 87 | 21.30-21.45 | 50.01 |  | 1222.95
[16 empty] | 12: 88 | 21.45-22.00 | 50.03 | 50.025 | 1226.68 | 1236.4575
[16 empty] | 12: 89 | 22.00-22.15 | 50.04 |  | 1214.96
[16 empty] | 12: 90 | 22.15-22.30 | 49.97 |  | 1199.66
[16 empty] | 12: 91 | 22.30-22.45 | 50.01 |  | 1184.03
[16 empty] | 12: 92 | 22.45-23.00 | 50.01 | 50.0075 | 1171.25 | 1192.475
[16 empty] | 12: 93 | 23.00-23.15 | 50.02 |  | 1148.39
[16 empty] | 12: 94 | 23.15-23.30 | 50.03 |  | 1139.97
[16 empty] | 12: 95 | 23.30-23.45 | 50 |  | 1143.51
[16 empty] | 12: 96 | 23.45-24.00 | 50.03 | 50.02 | 1146.1 | 1144.4925
[29 empty] | Total | 50.024 | 50.024 | 30590.475 | 30590.475
[29 empty] | max | 1492.22 |  | avg. max | 1483.755
[29 empty] | min | 1043.78 |  | avg. min | 1049.6275
Note on AA16: ReportServer: critical formulas…….do not disturb
Note on AB16: ReportServer: critical formulas…….do not disturb
Note on S24: Please don't edit here
Note on G25: Column no. 5 =Sum (2+3+4 Column)
Note on K25: The fig of power cut comes from daily hourly load sheet.