## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2021-07-19
Hiamchal Pradesh State Load Despatch Centre
[12 empty] | DATED | 2021-07-20
FROM | [10 empty] | TO
| POWER CONTROLLER | [10 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [10 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [12 empty] | DEMAND OF STATE |  |  | 28616.6525 | MWh
[16 empty] | ACTUAL MALANA GENERATION |  |  | 2451 | MWh
|  | State:- Himachal Pradesh | [13 empty] | ACTUAL BASPA GENERATION |  |  | 7933.1 | MWh | [7 empty] | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[11 empty] | PEAK DEMAND(MW) |  |  | 1451.52 | [13 empty] | 1 | 00.00-00.15 | 50.13 |  | 1100.3
|  | Month/Day :- |  |  |  | 2021-07-19 |  |  |  |  | Min.DEMAND(MW) |  |  | 984.07 |  | ACTUAL OWN GENERATION |  |  | 23314.3355 | MWh | [7 empty] | 2 | 00.15-00.30 | 50.04 |  | 1095.35
[28 empty] | 3 | 00.30-00.45 | 50.07 |  | 1099.53 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [5 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET |  |  | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P6 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50.04 | 50.07 | 1076.25 | 1092.8575 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[10 empty] | DUE TO LOAD SHEDD-ING (MW) | DUE TO SATUTORY CUT (MW) | DUE TO T&D CONS-TRAINTS (MW) | [15 empty] | 5 | 01.00-01.15 | 50.04 |  | 1123.88 |  |  |  | MALANA-2 | 111.02 | 111.03 | 111 | 111.03 | 111.1 | 111.07 | 111.06 | 111.06 | 111.05 | 111.06 | 111.08 | 111.08 | 111.07 | 111.07 | 111.03 | 111.02 | 111.03 | 110.99 | 110.99 | 111.03 | 111.06 | 111.03 | 111.06 | 111.06 | 2665.08
[28 empty] | 6 | 01.15-01.30 | 50.06 |  | 1076.32 |  |  |  | SWARA KUDDU | 37 | 37 | 38 | 37 | 37 | 37 | 37 | 37 | 0 | 0 | 0 | 39 | 56 | 71 | 68 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 1197
[28 empty] | 7 | 01.30-01.45 | 50.02 |  | 1065.09
[28 empty] | 8 | 01.45-02:00 | 50.01 | 50.0325 | 1014.75 | 1070.01
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | TOTAL | [10 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50.03 |  | 1017.83 |  | Malana
[8 empty] | 5+6 | [19 empty] | 10 | 02.15-02.30 | 50.04 |  | 1012.33
[8 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P6/1000 | P7 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50.06 |  | 1008.26
1 | 2 | 3 | 4 |  |  | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.03 | 50.04 | 1013.74 | 1013.04
1 | 1011.0105 | 102.0055 | 330.5458 | 111.02 | 37 | 1591.5818 | -499.2102 | 1092.3717 | 0 | 0 | 0 | 0 | 0 | 0 | 1092.3717 | 1 | 755.94 | 101 | 330 | 1186.94 | 1092.8575 | 1100.3 | 1076.25 | 1092.8575 | 1092.8575 | 1092.3717 | 0 | 13 | 03.00-03.15 | 50.09 |  | 1008.13 |  | 101 | 1
2 | 950.3986 | 102.0055 | 330.5458 | 111.03 | 37 | 1530.9799 | -461.4456 | 1069.5343 | 0 | 0 | 0 | 0 | 0 | 0 | 1069.5343 | 2 | 710.62 | 101 | 330 | 1141.62 | 1070.01 | 1123.88 | 1014.75 | 1070.01 | 1070.01 | 1069.5343 | 0 | 14 | 03.15-03.30 | 50.11 |  | 1000.73 |  | 101 | 2
3 | 996.6867 | 102.0055 | 330.5458 | 111 | 38 | 1578.2381 | -565.6484 | 1012.5896 | 0 | 0 | 0 | 0 | 0 | 0 | 1012.5896 | 3 | 745.23 | 101 | 330 | 1176.23 | 1013.04 | 1017.83 | 1008.26 | 1013.04 | 1013.04 | 1012.5896 | 0 | 15 | 03.30-03.45 | 50.08 |  | 996.24 |  | 101 | 3
4 | 995.9779 | 100.9955 | 330.5458 | 111.03 | 37 | 1575.5493 | -576.3687 | 999.1806 | 0 | 0 | 0 | 0 | 0 | 0 | 999.1806 | 4 | 744.7 | 100 | 330 | 1174.7 | 999.625 | 1008.13 | 993.4 | 999.625 | 999.625 | 999.1806 | 0 | 16 | 03.45-04.00 | 50.1 | 50.095 | 993.4 | 999.625 | 100 | 4
5 | 986.4421 | 102.8135 | 330.5458 | 111.1 | 37 | 1567.9014 | -583.8314 | 984.07 | 0 | 0 | 0 | 0 | 0 | 0 | 984.07 | 5 | 737.57 | 101.8 | 330 | 1169.37 | 992.415 | 1002.29 | 984.07 | 984.07 | 984.07 | 984.07 | 0 | 17 | 04.00-04.15 | 50.05 |  | 984.07 |  | 101.8 | 5
6 | 980.4906 | 102.8135 | 330.5458 | 111.07 | 37 | 1561.9198 | -508.2835 | 1053.6364 | 0 | 0 | 0 | 0 | 0 | 0 | 1053.6364 | 6 | 733.12 | 101.8 | 330 | 1164.92 | 1054.105 | 1068.74 | 1027.42 | 1054.105 | 1054.105 | 1053.6364 | 0 | 18 | 04.15-04.30 | 50.05 |  | 993.35 |  | 101.8 | 6
7 | 988.5017 | 102.8135 | 330.5458 | 111.06 | 37 | 1569.921 | -388.4015 | 1181.5195 | 0 | 0 | 0 | 0 | 0 | 0 | 1181.5195 | 7 | 739.11 | 101.8 | 330 | 1170.91 | 1182.045 | 1232.69 | 1114.16 | 1182.045 | 1182.045 | 1181.5195 | 0 | 19 | 04.30-04.45 | 50.07 |  | 1002.29 |  | 101.8 | 7
8 | 998.3318 | 102.8135 | 330.5458 | 111.06 | 37 | 1579.7511 | -279.8292 | 1299.9218 | 0 | 0 | 0 | 0 | 0 | 0 | 1299.9218 | 8 | 746.46 | 101.8 | 330 | 1178.26 | 1300.5 | 1339.92 | 1255.36 | 1300.5 | 1300.5 | 1299.9218 | 0 | 20 | 04.45-05.00 | 50.05 | 50.055 | 989.95 | 992.415 | 101.8 | 8
9 | 975.3816 | 102.8135 | 330.5458 | 111.05 | 0 | 1519.7909 | -135.7115 | 1384.0794 | 0 | 0 | 0 | 0 | 0 | 0 | 1384.0794 | 9 | 729.3 | 101.8 | 330 | 1161.1 | 1384.695 | 1410.27 | 1359.23 | 1384.695 | 1384.695 | 1384.0794 | 0 | 21 | 05.00-05.15 | 49.99 |  | 1027.42 |  | 101.8 | 9
10 | 885.7075 | 102.8135 | 330.5458 | 111.06 | 0 | 1430.1268 | -22.3804 | 1407.7464 | 0 | 0 | 0 | 0 | 0 | 0 | 1407.7464 | 10 | 662.25 | 101.8 | 330 | 1094.05 | 1408.3725 | 1434.28 | 1374.64 | 1408.3725 | 1408.3725 | 1407.7464 | 0 | 22 | 05.15-05.30 | 50.04 |  | 1056.63 |  | 101.8 | 10
11 | 869.5648 | 102.0055 | 330.5458 | 111.08 | 0 | 1413.1961 | 38.3239 | 1451.52 | 0 | 0 | 0 | 0 | 0 | 0 | 1451.52 | 11 | 650.18 | 101 | 330 | 1081.18 | 1430.4475 | 1451.52 | 1399.5 | 1451.52 | 1451.52 | 1451.52 | 0 | 23 | 05.30-05.45 | 50.04 |  | 1063.63 |  | 101 | 11
12 | 878.1511 | 103.0154 | 330.5458 | 111.08 | 39 | 1461.7923 | -97.8365 | 1363.9559 | 0 | 0 | 0 | 0 | 0 | 0 | 1363.9559 | 12 | 656.6 | 102 | 330 | 1088.6 | 1364.5625 | 1414.18 | 1334.6 | 1364.5625 | 1364.5625 | 1363.9559 | 0 | 24 | 05.45-06.00 | 50.01 | 50.02 | 1068.74 | 1054.105 | 102 | 12
13 | 919.4774 | 102.0459 | 330.5458 | 111.07 | 56 | 1519.1391 | -271.2491 | 1247.89 | 0 | 0 | 0 | 0 | 0 | 0 | 1247.89 | 13 | 687.5 | 101.04 | 330 | 1118.54 | 1248.445 | 1314.64 | 1194.7 | 1248.445 | 1248.445 | 1247.89 | 0 | 25 | 06.00-06.15 | 50.02 |  | 1114.16 |  | 101.04 | 13
14 | 976.3847 | 102.0459 | 330.5458 | 111.07 | 71 | 1591.0464 | -417.4734 | 1173.573 | 0 | 0 | 0 | 0 | 0 | 0 | 1173.573 | 14 | 730.05 | 101.04 | 330 | 1161.09 | 1174.095 | 1202.97 | 1156.79 | 1174.095 | 1174.095 | 1173.573 | 0 | 26 | 06.15-06.30 | 50.06 |  | 1169.93 |  | 101.04 | 14
15 | 1010.1011 | 102.0459 | 330.5458 | 111.03 | 68 | 1621.7228 | -412.1508 | 1209.572 | 0 | 0 | 0 | 0 | 0 | 0 | 1209.572 | 15 | 755.26 | 101.04 | 330 | 1186.3 | 1210.11 | 1217.81 | 1193.33 | 1210.11 | 1210.11 | 1209.572 | 0 | 27 | 06.30-06.45 | 50.07 |  | 1211.4 |  | 101.04 | 15
16 | 1007.7071 | 102.0459 | 330.5458 | 111.02 | 74 | 1625.3188 | -402.0954 | 1223.2235 | 0 | 0 | 0 | 0 | 0 | 0 | 1223.2235 | 16 | 753.47 | 101.04 | 330 | 1184.51 | 1223.7675 | 1256.39 | 1197.59 | 1223.7675 | 1223.7675 | 1223.2235 | 0 | 28 | 06.45-07.00 | 50.07 | 50.055 | 1232.69 | 1182.045 | 101.04 | 16
17 | 967.8653 | 101.7631 | 330.5458 | 111.03 | 74 | 1585.2042 | -331.5093 | 1253.6949 | 0 | 0 | 0 | 0 | 0 | 0 | 1253.6949 | 17 | 723.68 | 100.76 | 330 | 1154.44 | 1254.2525 | 1260.18 | 1247.72 | 1254.2525 | 1254.2525 | 1253.6949 | 0 | 29 | 07.00-07.15 | 50.04 |  | 1255.36 |  | 100.76 | 17
18 | 960.2821 | 102.0459 | 330.5458 | 110.99 | 74 | 1577.8638 | -373.6069 | 1204.2569 | 0 | 0 | 0 | 0 | 0 | 0 | 1204.2569 | 18 | 718.01 | 101.04 | 330 | 1149.05 | 1204.7925 | 1248.33 | 1183.7 | 1204.7925 | 1204.7925 | 1204.2569 | 0 | 30 | 07.15-07.30 | 50.02 |  | 1290.63 |  | 101.04 | 18
19 | 984.2888 | 102.0459 | 330.5458 | 110.99 | 74 | 1601.8706 | -445.7523 | 1156.1183 | 0 | 0 | 0 | 0 | 0 | 0 | 1156.1183 | 19 | 735.96 | 101.04 | 330 | 1167 | 1156.6325 | 1197.71 | 1118.52 | 1156.6325 | 1156.6325 | 1156.1183 | 0 | 31 | 07.30-07.45 | 50.06 |  | 1316.09 |  | 101.04 | 19
20 | 995.3894 | 102.0459 | 330.5458 | 111.03 | 74 | 1613.0112 | -435.6848 | 1177.3264 | 0 | 0 | 0 | 0 | 0 | 0 | 1177.3264 | 20 | 744.26 | 101.04 | 330 | 1175.3 | 1177.85 | 1234.36 | 1123.79 | 1177.85 | 1177.85 | 1177.3264 | 0 | 32 | 07.45-08.00 | 50.1 | 50.055 | 1339.92 | 1300.5 | 101.04 | 20
21 | 1007.346 | 100.9955 | 330.5458 | 111.06 | 74 | 1623.9474 | -401.3986 | 1222.5488 | 0 | 0 | 0 | 0 | 0 | 0 | 1222.5488 | 21 | 753.2 | 100 | 330 | 1183.2 | 1223.0925 | 1240.3 | 1206.12 | 1223.0925 | 1223.0925 | 1222.5488 | 0 | 33 | 08.00-08.15 | 50.08 |  | 1372.46 |  | 100 | 21
22 | 872.467 | 100.9955 | 330.5458 | 111.03 | 74 | 1489.0384 | -287.9876 | 1201.0508 | 0 | 0 | 0 | 0 | 0 | 0 | 1201.0508 | 22 | 652.35 | 100 | 330 | 1082.35 | 1201.585 | 1209.5 | 1193.19 | 1201.585 | 1201.585 | 1201.0508 | 0 | 34 | 08.15-08.30 | 50 |  | 1410.27 |  | 100 | 22
23 | 1048.1908 | 102.0055 | 330.5458 | 111.06 | 74 | 1665.8022 | -533.3009 | 1132.5013 | 0 | 0 | 0 | 0 | 0 | 0 | 1132.5013 | 23 | 783.74 | 101 | 330 | 1214.74 | 1133.005 | 1157.1 | 1101.59 | 1133.005 | 1133.005 | 1132.5013 | 0 | 35 | 08.30-08.45 | 50.02 |  | 1396.82 |  | 101 | 23
24 | 1048.1908 | 102.0055 | 330.5458 | 111.06 | 74 | 1665.8022 | -549.9485 | 1115.8537 | 0 | 0 | 0 | 0 | 0 | 0 | 1115.8537 | 24 | 783.74 | 101 | 330 | 1214.74 | 1116.35 | 1132.06 | 1098.65 | 1116.35 | 1116.35 | 1115.8537 | 0 | 36 | 08.45-09.00 | 50.03 | 50.0325 | 1359.23 | 1384.695 | 101 | 24
[16 empty] | 12: 37 | 09.00-09.15 | 50 |  | 1374.64
TOTAL (in MWh) | 23314.3355 | 2451 | 7933.1 | 2665.08 | 1197 | 37560.5155 | -8942.7802 | 28617.7353 | 0 | 0 | 0 | 0 | 0 | 0 | 28617.7353 | TOTAL | 17432.3 | 2426.84 | 7920 | 27779.14 | 28616.6525 |  |  | 28629.38 | 28629.38 | 28617.7353 | 0 | 38 | 09.15-09.30 | 50.03 |  | 1414.47
[16 empty] | 12: 39 | 09.30-09.45 | 49.97 |  | 1434.28
[16 empty] | 12: 40 | 09.45-10.00 | 50.02 | 50.005 | 1410.1 | 1408.3725
|  |  | Hourly Average Frequency (Fr) | [7 empty] | 50.021 | HZ |  |  |  | 1: Note :- Please don't edit these figures.; 12: 41 | 10.00-10.15 | 50.05 |  | 1428.55
|  |  | Demand met for the day | [7 empty] | 1451.52 | MW |  |  |  | 12: 42 | 10.15-10.30 | 50.07 |  | 1399.5
|  |  | Unrestricted Demand for the day | [7 empty] | 1451.52 | MW |  |  |  | 1: MAX =; 2: 1451.52; 12: 43 | 10.30-10.45 | 50.08 |  | 1451.52
|  |  | Minimum Demand(Unrestricted) for the day | [7 empty] | 984.07 | MW | Aux. | Net gen. |  | 1: MIN =; 2: 984.07; 12: 44 | 10.45-11.00 | 50.04 | 50.06 | 1442.22 | 1430.4475
|  |  | Gross own generation | [7 empty] | 23314.3355 | MWH | 37.987 | 23276.3485 |  | 12: 45 | 11.00-11.15 | 50.05 |  | 1414.18
|  |  | Gross Baspa generation | [7 empty] | 7933.1 | MWH | 9.03 | 7924.07 |  | 12: 46 | 11.15-11.30 | 50.03 |  | 1370.09
|  |  | Gross Malana generation | [7 empty] | 2451 | MWH | 2.056 | 2448.944 |  | 12: 47 | 11.30-11.45 | 50.01 |  | 1339.38
|  |  | Malana generation at 0300 Hrs. | [7 empty] | 101 | MW |  |  |  | 12: 48 | 11.45-12.00 | 50.03 | 50.03 | 1334.6 | 1364.5625
|  |  | Malana generation at 2400 Hrs. | [7 empty] | 101 | MW |  |  |  | 12: 49 | 12.00-12.15 | 50.02 |  | 1314.64
|  |  | Max.generation of Malana at 1200 Hrs. | [7 empty] | 102 | MW |  |  |  | 12: 50 | 12.15-12.30 | 50.03 |  | 1245.29
[9 empty] | Off Peak Hrs MW |  | Peak Hrs MW |  | Gross Lus | Net Lus
|  |  | Total Own Generation | [5 empty] | 1008.3272 |  | 987.8063 |  | 233.1434 | 232.7635 |  | 12: 51 | 12.30-12.45 | 50 |  | 1239.15
|  |  | Above 25 MW | [5 empty] | 390.6933 |  | 401.6566 |  | 91.9026 | 91.5684 |  | 12: 52 | 12.45-13.00 | 50.04 | 50.0225 | 1194.7 | 1248.445
|  |  | Below 25 MW(Small Hydro <25 MW) | [5 empty] | 617.6339 |  | 586.1496 |  | 141.2407 | 141.1951 |  | 12: 53 | 13.00-13.15 | 50.05 |  | 1151.91
[16 empty] | 12: 54 | 13.15-13.30 | 50.01 |  | 1156.79
[16 empty] | 12: 55 | 13.30-13.45 | 49.98 |  | 1184.71
[16 empty] | 12: 56 | 13.45-14.00 | 49.97 | 50.0025 | 1202.97 | 1174.095
[16 empty] | 12: 57 | 14.00-14.15 | 49.93 |  | 1216.82
[16 empty] | 12: 58 | 14.15-14.30 | 49.93 |  | 1217.81
[16 empty] | 12: 59 | 14.30-14.45 | 49.93 |  | 1212.48
[16 empty] | 12: 60 | 14.45-15.00 | 50.02 | 49.9525 | 1193.33 | 1210.11
[16 empty] | 12: 61 | 15.00-15.15 | 50.02 |  | 1197.59
[16 empty] | 12: 62 | 15.15-15.30 | 50.06 |  | 1210.09
[16 empty] | 12: 63 | 15.30-15.45 | 49.96 |  | 1231
[16 empty] | 12: 64 | 15.45-16.00 | 50.03 | 50.0175 | 1256.39 | 1223.7675
[16 empty] | 12: 65 | 16.00-16.15 | 50.01 |  | 1247.72
[16 empty] | 12: 66 | 16.15-16.30 | 50 |  | 1257.4
[16 empty] | 12: 67 | 16.30-16.45 | 49.97 |  | 1251.71
[16 empty] | 12: 68 | 16.45-17.00 | 49.94 | 49.98 | 1260.18 | 1254.2525
[16 empty] | 12: 69 | 17.00-17.15 | 49.99 |  | 1248.33
[16 empty] | 12: 70 | 17.15-17.30 | 49.89 |  | 1198.46
[16 empty] | 12: 71 | 17.30-17.45 | 49.97 |  | 1183.7
[16 empty] | 12: 72 | 17.45-18.00 | 49.9 | 49.9375 | 1188.68 | 1204.7925
[16 empty] | 12: 73 | 18.00-18.15 | 49.94 |  | 1197.71
[16 empty] | 12: 74 | 18.15-18.30 | 49.94 |  | 1167.42
[16 empty] | 12: 75 | 18.30-18.45 | 49.95 |  | 1142.88
[16 empty] | 12: 76 | 18.45-19.00 | 49.85 | 49.92 | 1118.52 | 1156.6325
[16 empty] | 12: 77 | 19.00-19.15 | 49.99 |  | 1123.79
[16 empty] | 12: 78 | 19.15-19.30 | 49.96 |  | 1148.82
[16 empty] | 12: 79 | 19.30-19.45 | 50.02 |  | 1204.43
[16 empty] | 12: 80 | 19.45-20.00 | 50 | 49.9925 | 1234.36 | 1177.85
[16 empty] | 12: 81 | 20.00-20.15 | 50.01 |  | 1231.76
[16 empty] | 12: 82 | 20.15-20.30 | 49.98 |  | 1240.3
[16 empty] | 12: 83 | 20.30-20.45 | 50.02 |  | 1214.19
[16 empty] | 12: 84 | 20.45-21.00 | 50.03 | 50.01 | 1206.12 | 1223.0925
[16 empty] | 12: 85 | 21.00-21.15 | 50.06 |  | 1198.75
[16 empty] | 12: 86 | 21.15-21.30 | 50.06 |  | 1193.19
[16 empty] | 12: 87 | 21.30-21.45 | 50.05 |  | 1204.9
[16 empty] | 12: 88 | 21.45-22.00 | 50.09 | 50.065 | 1209.5 | 1201.585
[16 empty] | 12: 89 | 22.00-22.15 | 50.06 |  | 1132.99
[16 empty] | 12: 90 | 22.15-22.30 | 50.01 |  | 1157.1
[16 empty] | 12: 91 | 22.30-22.45 | 50 |  | 1140.34
[16 empty] | 12: 92 | 22.45-23.00 | 50.01 | 50.02 | 1101.59 | 1133.005
[16 empty] | 12: 93 | 23.00-23.15 | 50.03 |  | 1111.22
[16 empty] | 12: 94 | 23.15-23.30 | 50.03 |  | 1123.47
[16 empty] | 12: 95 | 23.30-23.45 | 50.04 |  | 1098.65
[16 empty] | 12: 96 | 23.45-24.00 | 50.04 | 50.035 | 1132.06 | 1116.35
[29 empty] | Total | 50.021 | 50.021 | 28616.6525 | 28616.6525
[29 empty] | max | 1451.52 |  | avg. max | 1430.4475
[29 empty] | min | 984.07 |  | avg. min | 992.415
Note on AA16: ReportServer: critical formulas…….do not disturb
Note on AB16: ReportServer: critical formulas…….do not disturb
Note on S24: Please don't edit here
Note on G25: Column no. 5 =Sum (2+3+4 Column)
Note on K25: The fig of power cut comes from daily hourly load sheet.