## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2021-07-22
Hiamchal Pradesh State Load Despatch Centre
[12 empty] | DATED | 2021-07-23
FROM | [10 empty] | TO
| POWER CONTROLLER | [10 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [10 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [12 empty] | DEMAND OF STATE |  |  | 31060.5025 | MWh
[16 empty] | ACTUAL MALANA GENERATION |  |  | 2452 | MWh
|  | State:- Himachal Pradesh | [13 empty] | ACTUAL BASPA GENERATION |  |  | 7933 | MWh | [7 empty] | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[11 empty] | PEAK DEMAND(MW) |  |  | 1480.78 | [13 empty] | 1 | 00.00-00.15 | 50.08 |  | 1164.72
|  | Month/Day :- |  |  |  | 2021-07-22 |  |  |  |  | Min.DEMAND(MW) |  |  | 1071.44 |  | ACTUAL OWN GENERATION |  |  | 25743.088 | MWh | [7 empty] | 2 | 00.15-00.30 | 50.05 |  | 1154.98
[28 empty] | 3 | 00.30-00.45 | 50.02 |  | 1139.88 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [5 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET |  |  | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P6 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50.02 | 50.0425 | 1133.69 | 1148.3175 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[10 empty] | DUE TO LOAD SHEDD-ING (MW) | DUE TO SATUTORY CUT (MW) | DUE TO T&D CONS-TRAINTS (MW) | [15 empty] | 5 | 01.00-01.15 | 50.01 |  | 1102.5 |  |  |  | MALANA-2 | 111.01 | 111.02 | 111.05 | 111.02 | 111.04 | 111.06 | 111.04 | 111.05 | 111.05 | 111.03 | 111.09 | 111.07 | 111.07 | 111.08 | 111.1 | 111.02 | 111.03 | 111.03 | 111.02 | 111.06 | 111.02 | 111.04 | 111.06 | 111.06 | 2665.12
[28 empty] | 6 | 01.15-01.30 | 50.02 |  | 1108.6 |  |  |  | SWARA KUDDU | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 1184
[28 empty] | 7 | 01.30-01.45 | 49.99 |  | 1114.89
[28 empty] | 8 | 01.45-02:00 | 50.01 | 50.0075 | 1110.63 | 1109.155
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | TOTAL | [10 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50.02 |  | 1111.72 |  | Malana
[8 empty] | 5+6 | [19 empty] | 10 | 02.15-02.30 | 50.05 |  | 1097.06
[8 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P6/1000 | P7 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50.02 |  | 1108.3
1 | 2 | 3 | 4 |  |  | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.02 | 50.0275 | 1115.67 | 1108.1875
1 | 1106.3832 | 99.7649 | 330.5417 | 111.01 | 74 | 1721.6998 | -572.9517 | 1148.7481 | 0 | 0 | 0 | 0 | 0 | 0 | 1148.7481 | 1 | 819.76 | 99 | 330 | 1248.76 | 1148.3175 | 1164.72 | 1133.69 | 1148.3175 | 1148.3175 | 1148.7481 | 0 | 13 | 03.00-03.15 | 50.06 |  | 1108.18 |  | 99 | 1
2 | 1104.9796 | 102.7881 | 330.5417 | 111.02 | 74 | 1723.3294 | -613.7585 | 1109.5709 | 0 | 0 | 0 | 0 | 0 | 0 | 1109.5709 | 2 | 818.72 | 102 | 330 | 1250.72 | 1109.155 | 1114.89 | 1102.5 | 1109.155 | 1109.155 | 1109.5709 | 0 | 14 | 03.15-03.30 | 50.04 |  | 1110.34 |  | 102 | 2
3 | 1104.2913 | 102.7881 | 330.5417 | 111.05 | 74 | 1722.6711 | -614.068 | 1108.603 | 0 | 0 | 0 | 0 | 0 | 0 | 1108.603 | 3 | 818.21 | 102 | 330 | 1250.21 | 1108.1875 | 1115.67 | 1097.06 | 1108.1875 | 1108.1875 | 1108.603 | 0 | 15 | 03.30-03.45 | 50.05 |  | 1071.44 |  | 102 | 3
4 | 1098.7038 | 102.7881 | 330.5417 | 111.02 | 74 | 1717.0535 | -645.6135 | 1071.44 | 0 | 0 | 0 | 0 | 0 | 0 | 1071.44 | 4 | 814.07 | 102 | 330 | 1246.07 | 1090.84 | 1110.34 | 1071.44 | 1071.44 | 1071.44 | 1071.44 | 0 | 16 | 03.45-04.00 | 50.04 | 50.0475 | 1073.4 | 1090.84 | 102 | 4
5 | 1096.9222 | 102.7881 | 330.5417 | 111.04 | 74 | 1715.292 | -624.7907 | 1090.5013 | 0 | 0 | 0 | 0 | 0 | 0 | 1090.5013 | 5 | 812.75 | 102 | 330 | 1244.75 | 1090.0925 | 1105.93 | 1071.66 | 1090.0925 | 1090.0925 | 1090.5013 | 0 | 17 | 04.00-04.15 | 50.03 |  | 1071.66 |  | 102 | 5
6 | 1088.3385 | 102.7881 | 330.5417 | 111.06 | 74 | 1706.7283 | -558.5029 | 1148.2254 | 0 | 0 | 0 | 0 | 0 | 0 | 1148.2254 | 6 | 806.39 | 102 | 330 | 1238.39 | 1147.795 | 1203.78 | 1102.9 | 1147.795 | 1147.795 | 1148.2254 | 0 | 18 | 04.15-04.30 | 50.04 |  | 1093.93 |  | 102 | 6
7 | 1103.5625 | 102.7881 | 330.5417 | 111.04 | 74 | 1721.9322 | -457.6408 | 1264.2914 | 0 | 0 | 0 | 0 | 0 | 0 | 1264.2914 | 7 | 817.67 | 102 | 330 | 1249.67 | 1263.8175 | 1300.13 | 1241.82 | 1263.8175 | 1263.8175 | 1264.2914 | 0 | 19 | 04.30-04.45 | 50.04 |  | 1088.85 |  | 102 | 7
8 | 1107.7599 | 102.7881 | 330.5417 | 111.05 | 74 | 1726.1396 | -366.3449 | 1359.7947 | 0 | 0 | 0 | 0 | 0 | 0 | 1359.7947 | 8 | 820.78 | 102 | 330 | 1252.78 | 1359.285 | 1385.73 | 1321.96 | 1359.285 | 1359.285 | 1359.7947 | 0 | 20 | 04.45-05.00 | 50.02 | 50.0325 | 1105.93 | 1090.0925 | 102 | 8
9 | 1106.6667 | 102.7881 | 330.5417 | 111.05 | 0 | 1651.0464 | -224.1341 | 1426.9124 | 0 | 0 | 0 | 0 | 0 | 0 | 1426.9124 | 9 | 819.97 | 102 | 330 | 1251.97 | 1426.3775 | 1452.8 | 1410.66 | 1426.3775 | 1426.3775 | 1426.9124 | 0 | 21 | 05.00-05.15 | 50.02 |  | 1102.9 |  | 102 | 9
10 | 1106.7476 | 102.7881 | 330.5417 | 111.03 | 0 | 1651.1074 | -185.5556 | 1465.5518 | 0 | 0 | 0 | 0 | 0 | 0 | 1465.5518 | 10 | 820.03 | 102 | 330 | 1252.03 | 1465.0025 | 1474.75 | 1457.22 | 1465.0025 | 1465.0025 | 1465.5518 | 0 | 22 | 05.15-05.30 | 50.03 |  | 1117.95 |  | 102 | 10
11 | 1090.0121 | 102.7881 | 330.5417 | 111.09 | 0 | 1634.4318 | -153.6518 | 1480.78 | 0 | 0 | 0 | 0 | 0 | 0 | 1480.78 | 11 | 807.63 | 102 | 330 | 1239.63 | 1473.0225 | 1480.78 | 1467.19 | 1480.78 | 1480.78 | 1480.78 | 0 | 23 | 05.30-05.45 | 50.04 |  | 1166.55 |  | 102 | 11
12 | 1092.0905 | 102.7881 | 330.5417 | 111.07 | 0 | 1636.4903 | -195.3901 | 1441.1002 | 0 | 0 | 0 | 0 | 0 | 0 | 1441.1002 | 12 | 809.17 | 102 | 330 | 1241.17 | 1440.56 | 1445.9 | 1431.73 | 1440.56 | 1440.56 | 1441.1002 | 0 | 24 | 05.45-06.00 | 50.02 | 50.0275 | 1203.78 | 1147.795 | 102 | 12
13 | 1082.1436 | 102.1835 | 330.5417 | 111.07 | 0 | 1625.9388 | -187.5821 | 1438.3566 | 0 | 0 | 0 | 0 | 0 | 0 | 1438.3566 | 13 | 801.8 | 101.4 | 330 | 1233.2 | 1437.8175 | 1445.05 | 1433.31 | 1437.8175 | 1437.8175 | 1438.3566 | 0 | 25 | 06.00-06.15 | 50.02 |  | 1241.82 |  | 101.4 | 13
14 | 1000.6927 | 98.6564 | 330.5417 | 111.08 | 0 | 1540.9708 | -156.3893 | 1384.5815 | 0 | 0 | 0 | 0 | 0 | 0 | 1384.5815 | 14 | 741.45 | 97.9 | 330 | 1169.35 | 1384.0625 | 1385.9 | 1372.11 | 1384.0625 | 1384.0625 | 1384.5815 | 0 | 26 | 06.15-06.30 | 49.97 |  | 1250.04 |  | 97.9 | 14
15 | 1092.266 | 102.5866 | 330.5417 | 111.1 | 0 | 1636.4942 | -209.7969 | 1426.6973 | 0 | 0 | 0 | 0 | 0 | 0 | 1426.6973 | 15 | 809.3 | 101.8 | 330 | 1241.1 | 1426.1625 | 1440.1 | 1410.05 | 1426.1625 | 1426.1625 | 1426.6973 | 0 | 27 | 06.30-06.45 | 50.02 |  | 1263.28 |  | 101.8 | 15
16 | 1033.4215 | 102.4858 | 330.5417 | 111.02 | 0 | 1577.469 | -149.9714 | 1427.4976 | 0 | 0 | 0 | 0 | 0 | 0 | 1427.4976 | 16 | 765.7 | 101.7 | 330 | 1197.4 | 1426.9625 | 1436.21 | 1414.75 | 1426.9625 | 1426.9625 | 1427.4976 | 0 | 28 | 06.45-07.00 | 49.99 | 50 | 1300.13 | 1263.8175 | 101.7 | 16
17 | 1098.2719 | 102.385 | 330.5417 | 111.03 | 74 | 1716.2286 | -314.1905 | 1402.038 | 0 | 0 | 0 | 0 | 0 | 0 | 1402.038 | 17 | 813.75 | 101.6 | 330 | 1245.35 | 1401.5125 | 1409.38 | 1384.81 | 1401.5125 | 1401.5125 | 1402.038 | 0 | 29 | 07.00-07.15 | 49.98 |  | 1321.96 |  | 101.6 | 17
18 | 1085.3828 | 101.8811 | 330.5417 | 111.03 | 74 | 1702.8356 | -382.9809 | 1319.8547 | 0 | 0 | 0 | 0 | 0 | 0 | 1319.8547 | 18 | 804.2 | 101.1 | 330 | 1235.3 | 1319.36 | 1340.28 | 1296.14 | 1319.36 | 1319.36 | 1319.8547 | 0 | 30 | 07.15-07.30 | 50 |  | 1355.26 |  | 101.1 | 18
19 | 1071.0091 | 102.385 | 330.5417 | 111.02 | 74 | 1688.9558 | -432.4773 | 1256.4785 | 0 | 0 | 0 | 0 | 0 | 0 | 1256.4785 | 19 | 793.55 | 101.6 | 330 | 1225.15 | 1256.0075 | 1277.95 | 1222.41 | 1256.0075 | 1256.0075 | 1256.4785 | 0 | 31 | 07.30-07.45 | 50 |  | 1374.19 |  | 101.6 | 19
20 | 942.9955 | 102.385 | 330.5417 | 111.06 | 74 | 1560.9821 | -266.762 | 1294.2201 | 0 | 0 | 0 | 0 | 0 | 0 | 1294.2201 | 20 | 698.7 | 101.6 | 330 | 1130.3 | 1293.735 | 1379.11 | 1244.69 | 1293.735 | 1293.735 | 1294.2201 | 0 | 32 | 07.45-08.00 | 50.02 | 50 | 1385.73 | 1359.285 | 101.6 | 20
21 | 950.8909 | 101.7804 | 330.5417 | 111.02 | 74 | 1568.2329 | -224.5218 | 1343.7112 | 0 | 0 | 0 | 0 | 0 | 0 | 1343.7112 | 21 | 704.55 | 101 | 330 | 1135.55 | 1343.2075 | 1383.36 | 1302.49 | 1343.2075 | 1343.2075 | 1343.7112 | 0 | 33 | 08.00-08.15 | 50.01 |  | 1414.36 |  | 101 | 21
22 | 964.4548 | 103.292 | 330.5417 | 111.04 | 74 | 1583.3284 | -300.4375 | 1282.8909 | 0 | 0 | 0 | 0 | 0 | 0 | 1282.8909 | 22 | 714.6 | 102.5 | 330 | 1147.1 | 1282.41 | 1296.62 | 1256.56 | 1282.41 | 1282.41 | 1282.8909 | 0 | 34 | 08.15-08.30 | 50 |  | 1410.66 |  | 102.5 | 22
23 | 1108.2592 | 100.7726 | 330.5417 | 111.06 | 74 | 1724.6336 | -500.7848 | 1223.8487 | 0 | 0 | 0 | 0 | 0 | 0 | 1223.8487 | 23 | 821.15 | 100 | 330 | 1251.15 | 1223.39 | 1245.15 | 1176.42 | 1223.39 | 1223.39 | 1223.8487 | 0 | 35 | 08.30-08.45 | 50.03 |  | 1427.69 |  | 100 | 23
24 | 1106.8421 | 100.7726 | 330.5417 | 111.06 | 74 | 1723.2164 | -579.3652 | 1143.8513 | 0 | 0 | 0 | 0 | 0 | 0 | 1143.8513 | 24 | 820.1 | 100 | 330 | 1250.1 | 1143.4225 | 1171.56 | 1113.05 | 1143.4225 | 1143.4225 | 1143.8513 | 0 | 36 | 08.45-09.00 | 50.03 | 50.0175 | 1452.8 | 1426.3775 | 100 | 24
[16 empty] | 12: 37 | 09.00-09.15 | 49.97 |  | 1457.22
TOTAL (in MWh) | 25743.088 | 2452 | 7933 | 2665.12 | 1184 | 39977.208 | -8917.6625 | 31059.5455 | 0 | 0 | 0 | 0 | 0 | 0 | 31059.5455 | TOTAL | 19074 | 2433.2 | 7920 | 29427.2 | 31060.5025 |  |  | 31048.86 | 31048.86 | 31059.5455 | 0 | 38 | 09.15-09.30 | 49.96 |  | 1463.9
[16 empty] | 12: 39 | 09.30-09.45 | 50.04 |  | 1474.75
[16 empty] | 12: 40 | 09.45-10.00 | 50.05 | 50.005 | 1464.14 | 1465.0025
|  |  | Hourly Average Frequency (Fr) | [7 empty] | 50.0128 | HZ |  |  |  | 1: Note :- Please don't edit these figures.; 12: 41 | 10.00-10.15 | 50.03 |  | 1467.19
|  |  | Demand met for the day | [7 empty] | 1480.78 | MW |  |  |  | 12: 42 | 10.15-10.30 | 50.02 |  | 1474.74
|  |  | Unrestricted Demand for the day | [7 empty] | 1480.78 | MW |  |  |  | 1: MAX =; 2: 1480.78; 12: 43 | 10.30-10.45 | 50.04 |  | 1480.78
|  |  | Minimum Demand(Unrestricted) for the day | [7 empty] | 1071.44 | MW | Aux. | Net gen. |  | 1: MIN =; 2: 1071.44; 12: 44 | 10.45-11.00 | 50.06 | 50.0375 | 1469.38 | 1473.0225
|  |  | Gross own generation | [7 empty] | 25743.088 | MWH | 40.171 | 25702.917 |  | 12: 45 | 11.00-11.15 | 50.03 |  | 1445.9
|  |  | Gross Baspa generation | [7 empty] | 7933 | MWH | 10.09 | 7922.91 |  | 12: 46 | 11.15-11.30 | 50.05 |  | 1431.73
|  |  | Gross Malana generation | [7 empty] | 2452 | MWH | 1.968 | 2450.032 |  | 12: 47 | 11.30-11.45 | 50.04 |  | 1439.86
|  |  | Malana generation at 0300 Hrs. | [7 empty] | 102 | MW |  |  |  | 12: 48 | 11.45-12.00 | 50.05 | 50.0425 | 1444.75 | 1440.56
|  |  | Malana generation at 2400 Hrs. | [7 empty] | 100 | MW |  |  |  | 12: 49 | 12.00-12.15 | 50.05 |  | 1433.31
|  |  | Max.generation of Malana at 2200 Hrs. | [7 empty] | 102.5 | MW |  |  |  | 12: 50 | 12.15-12.30 | 50.04 |  | 1438.45
[9 empty] | Off Peak Hrs MW |  | Peak Hrs MW |  | Gross Lus | Net Lus
|  |  | Total Own Generation | [5 empty] | 1111.3751 |  | 901.7551 |  | 257.4309 | 257.0292 |  | 12: 51 | 12.30-12.45 | 50.05 |  | 1445.05
|  |  | Above 25 MW | [5 empty] | 442.8064 |  | 379.1219 |  | 102.9202 | 102.5808 |  | 12: 52 | 12.45-13.00 | 50.04 | 50.045 | 1434.46 | 1437.8175
|  |  | Below 25 MW(Small Hydro <25 MW) | [5 empty] | 668.5687 |  | 522.6332 |  | 154.5107 | 154.4484 |  | 12: 53 | 13.00-13.15 | 50.07 |  | 1393.6
[16 empty] | 12: 54 | 13.15-13.30 | 50.09 |  | 1372.11
[16 empty] | 12: 55 | 13.30-13.45 | 50.06 |  | 1384.64
[16 empty] | 12: 56 | 13.45-14.00 | 50.06 | 50.07 | 1385.9 | 1384.0625
[16 empty] | 12: 57 | 14.00-14.15 | 50.01 |  | 1410.05
[16 empty] | 12: 58 | 14.15-14.30 | 50 |  | 1433.42
[16 empty] | 12: 59 | 14.30-14.45 | 49.99 |  | 1421.08
[16 empty] | 12: 60 | 14.45-15.00 | 49.99 | 49.9975 | 1440.1 | 1426.1625
[16 empty] | 12: 61 | 15.00-15.15 | 49.97 |  | 1435.73
[16 empty] | 12: 62 | 15.15-15.30 | 49.95 |  | 1414.75
[16 empty] | 12: 63 | 15.30-15.45 | 49.96 |  | 1421.16
[16 empty] | 12: 64 | 15.45-16.00 | 49.94 | 49.955 | 1436.21 | 1426.9625
[16 empty] | 12: 65 | 16.00-16.15 | 49.94 |  | 1408.16
[16 empty] | 12: 66 | 16.15-16.30 | 49.97 |  | 1409.38
[16 empty] | 12: 67 | 16.30-16.45 | 50.01 |  | 1403.7
[16 empty] | 12: 68 | 16.45-17.00 | 50.01 | 49.9825 | 1384.81 | 1401.5125
[16 empty] | 12: 69 | 17.00-17.15 | 50.04 |  | 1340.28
[16 empty] | 12: 70 | 17.15-17.30 | 50 |  | 1329.16
[16 empty] | 12: 71 | 17.30-17.45 | 49.98 |  | 1311.86
[16 empty] | 12: 72 | 17.45-18.00 | 50.02 | 50.01 | 1296.14 | 1319.36
[16 empty] | 12: 73 | 18.00-18.15 | 50.02 |  | 1277.95
[16 empty] | 12: 74 | 18.15-18.30 | 50.01 |  | 1271.09
[16 empty] | 12: 75 | 18.30-18.45 | 50 |  | 1252.58
[16 empty] | 12: 76 | 18.45-19.00 | 49.97 | 50 | 1222.41 | 1256.0075
[16 empty] | 12: 77 | 19.00-19.15 | 49.97 |  | 1244.69
[16 empty] | 12: 78 | 19.15-19.30 | 49.95 |  | 1258.83
[16 empty] | 12: 79 | 19.30-19.45 | 49.95 |  | 1292.31
[16 empty] | 12: 80 | 19.45-20.00 | 49.99 | 49.965 | 1379.11 | 1293.735
[16 empty] | 12: 81 | 20.00-20.15 | 50.02 |  | 1383.36
[16 empty] | 12: 82 | 20.15-20.30 | 49.98 |  | 1353.34
[16 empty] | 12: 83 | 20.30-20.45 | 50 |  | 1333.64
[16 empty] | 12: 84 | 20.45-21.00 | 49.99 | 49.9975 | 1302.49 | 1343.2075
[16 empty] | 12: 85 | 21.00-21.15 | 50.01 |  | 1296.62
[16 empty] | 12: 86 | 21.15-21.30 | 49.93 |  | 1290.88
[16 empty] | 12: 87 | 21.30-21.45 | 50 |  | 1285.58
[16 empty] | 12: 88 | 21.45-22.00 | 49.99 | 49.9825 | 1256.56 | 1282.41
[16 empty] | 12: 89 | 22.00-22.15 | 49.98 |  | 1239.36
[16 empty] | 12: 90 | 22.15-22.30 | 50 |  | 1245.15
[16 empty] | 12: 91 | 22.30-22.45 | 50.01 |  | 1232.63
[16 empty] | 12: 92 | 22.45-23.00 | 50.02 | 50.0025 | 1176.42 | 1223.39
[16 empty] | 12: 93 | 23.00-23.15 | 50 |  | 1171.56
[16 empty] | 12: 94 | 23.15-23.30 | 50.01 |  | 1157.31
[16 empty] | 12: 95 | 23.30-23.45 | 50.03 |  | 1131.77
[16 empty] | 12: 96 | 23.45-24.00 | 50.01 | 50.0125 | 1113.05 | 1143.4225
[29 empty] | Total | 50.0128 | 50.0128 | 31060.5025 | 31060.5025
[29 empty] | max | 1480.78 |  | avg. max | 1473.0225
[29 empty] | min | 1071.44 |  | avg. min | 1090.0925
Note on AA16: ReportServer: critical formulas…….do not disturb
Note on AB16: ReportServer: critical formulas…….do not disturb
Note on S24: Please don't edit here
Note on G25: Column no. 5 =Sum (2+3+4 Column)
Note on K25: The fig of power cut comes from daily hourly load sheet.