## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2021-10-11
Hiamchal Pradesh State Load Despatch Centre
[12 empty] | DATED | 2021-10-12
FROM | [10 empty] | TO
| POWER CONTROLLER | [10 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [10 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [12 empty] | DEMAND OF STATE |  |  | 31003.865 | MWh
[16 empty] | ACTUAL MALANA GENERATION |  |  | 770 | MWh
|  | State:- Himachal Pradesh | [13 empty] | ACTUAL BASPA GENERATION |  |  | 3431 | MWh | [7 empty] | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[11 empty] | PEAK DEMAND(MW) |  |  | 1550.91 | [13 empty] | 1 | 00.00-00.15 | 49.9 |  | 1017.47
|  | Month/Day :- |  |  |  | 2021-10-11 |  |  |  |  | Min.DEMAND(MW) |  |  | 991.32 |  | ACTUAL OWN GENERATION |  |  | 14730.925 | MWh | [7 empty] | 2 | 00.15-00.30 | 49.86 |  | 1014.43
[28 empty] | 3 | 00.30-00.45 | 49.96 |  | 1016.63 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [5 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET |  |  | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P6 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 49.95 | 49.9175 | 1030.15 | 1019.67 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[10 empty] | DUE TO LOAD SHEDD-ING (MW) | DUE TO SATUTORY CUT (MW) | DUE TO T&D CONS-TRAINTS (MW) | [15 empty] | 5 | 01.00-01.15 | 49.92 |  | 1021.35 |  |  |  | MALANA-2 | 30.01 | 30.01 | 30.01 | 30.01 | 30.01 | 30.01 | 30.02 | 30.04 | 25.03 | 25.01 | 25.02 | 25.07 | 30.01 | 30.02 | 30.04 | 25.03 | 25.01 | 25.02 | 25.07 | 101.05 | 101.04 | 101.04 | 35.01 | 35.01 | 903.6
[28 empty] | 6 | 01.15-01.30 | 49.93 |  | 1015.36 |  |  |  | SWARA KUDDU | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.25 | 70.3 | 81.4 | 81.4 | 81.4 | 81.4 | 81.4 | 81.4 | 81.4 | 81.4 | 989.75
[28 empty] | 7 | 01.30-01.45 | 49.9 |  | 1006.46
[28 empty] | 8 | 01.45-02:00 | 50.02 | 49.9425 | 1016.85 | 1015.005
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | TOTAL | [10 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.99 |  | 1002.9 |  | Malana
[8 empty] | 5+6 | [19 empty] | 10 | 02.15-02.30 | 50.02 |  | 1013.57
[8 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P6/1000 | P7 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.97 |  | 1003.26
1 | 2 | 3 | 4 |  |  | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 49.96 | 49.985 | 995.13 | 1003.715
1 | 598.457 | 30.4994 | 139.8505 | 30.01 | 37 | 805.8069 | 213.6418 | 1019.4487 | 0 | 0 | 0 | 0 | 0 | 0 | 1019.4487 | 1 | 574.18 | 28 | 150 | 752.18 | 1019.67 | 1030.15 | 1014.43 | 1019.67 | 1019.67 | 1019.4487 | 0 | 13 | 03.00-03.15 | 49.85 |  | 1007.27 |  | 28 | 1
2 | 598.7697 | 0 | 158.4973 | 30.01 | 37 | 794.267 | 220.5177 | 1014.7847 | 0 | 0 | 0 | 0 | 0 | 0 | 1014.7847 | 2 | 574.48 | 0 | 170 | 744.48 | 1015.005 | 1021.35 | 1006.46 | 1015.005 | 1015.005 | 1014.7847 | 0 | 14 | 03.15-03.30 | 49.93 |  | 993.17 |  | 0 | 2
3 | 593.0476 | 0 | 158.4973 | 30.01 | 37 | 788.5449 | 214.9523 | 1003.4972 | 0 | 0 | 0 | 0 | 0 | 0 | 1003.4972 | 3 | 568.99 | 0 | 170 | 738.99 | 1003.715 | 1013.57 | 995.13 | 1003.715 | 1003.715 | 1003.4972 | 0 | 15 | 03.30-03.45 | 49.99 |  | 991.32 |  | 0 | 3
4 | 541.4338 | 0 | 130.5272 | 30.01 | 37 | 708.961 | 282.359 | 991.32 | 0 | 0 | 0 | 0 | 0 | 0 | 991.32 | 4 | 519.47 | 0 | 140 | 659.47 | 995.93 | 1007.27 | 991.32 | 991.32 | 991.32 | 991.32 | 0 | 16 | 03.45-04.00 | 49.99 | 49.94 | 991.96 | 995.93 | 0 | 4
5 | 565.99 | 0 | 65.2636 | 30.01 | 37 | 668.2535 | 357.0639 | 1025.3174 | 0 | 0 | 0 | 0 | 0 | 0 | 1025.3174 | 5 | 543.03 | 0 | 70 | 613.03 | 1025.54 | 1040.76 | 1014.42 | 1025.54 | 1025.54 | 1025.3174 | 0 | 17 | 04.00-04.15 | 49.93 |  | 1014.42 |  | 0 | 5
6 | 556.4948 | 0 | 102.5571 | 30.01 | 37 | 696.0518 | 418.1613 | 1114.2131 | 0 | 0 | 0 | 0 | 0 | 0 | 1114.2131 | 6 | 533.92 | 0 | 110 | 643.92 | 1114.455 | 1178.69 | 1053.6 | 1114.455 | 1114.455 | 1114.2131 | 0 | 18 | 04.15-04.30 | 49.9 |  | 1025.33 |  | 0 | 6
7 | 552.7009 | 43.5705 | 83.9103 | 30.02 | 37 | 717.1817 | 646.5423 | 1363.724 | 0 | 0 | 0 | 0 | 0 | 0 | 1363.724 | 7 | 530.28 | 40 | 90 | 660.28 | 1364.02 | 1470.59 | 1251.56 | 1364.02 | 1364.02 | 1363.724 | 0 | 19 | 04.30-04.45 | 49.89 |  | 1021.65 |  | 40 | 7
8 | 643.8901 | 43.5705 | 102.5571 | 30.04 | 0 | 790.0176 | 760.8924 | 1550.91 | 0 | 0 | 0 | 0 | 0 | 0 | 1550.91 | 8 | 617.77 | 40 | 110 | 767.77 | 1539.57 | 1550.91 | 1511.81 | 1550.91 | 1550.91 | 1550.91 | 0 | 20 | 04.45-05.00 | 49.93 | 49.9125 | 1040.76 | 1025.54 | 40 | 8
9 | 676.2633 | 43.5705 | 121.2038 | 25.03 | 0 | 841.0376 | 656.4323 | 1497.4699 | 0 | 0 | 0 | 0 | 0 | 0 | 1497.4699 | 9 | 648.83 | 40 | 130 | 818.83 | 1497.795 | 1511.65 | 1487.59 | 1497.795 | 1497.795 | 1497.4699 | 0 | 21 | 05.00-05.15 | 49.99 |  | 1053.6 |  | 40 | 9
10 | 661.7026 | 15.2497 | 167.8207 | 25.01 | 0 | 844.773 | 649.5651 | 1494.3381 | 0 | 0 | 0 | 0 | 0 | 0 | 1494.3381 | 10 | 634.86 | 14 | 180 | 828.86 | 1494.6625 | 1504.42 | 1486.07 | 1494.6625 | 1494.6625 | 1494.3381 | 0 | 22 | 05.15-05.30 | 49.96 |  | 1098.9 |  | 14 | 10
11 | 574.0259 | 15.2497 | 186.4674 | 25.02 | 0 | 775.743 | 685.4423 | 1461.1853 | 0 | 0 | 0 | 0 | 0 | 0 | 1461.1853 | 11 | 550.74 | 14 | 200 | 764.74 | 1461.5025 | 1473.01 | 1446.87 | 1461.5025 | 1461.5025 | 1461.1853 | 0 | 23 | 05.30-05.45 | 49.99 |  | 1126.63 |  | 14 | 11
12 | 552.1172 | 15.2497 | 167.8207 | 25.07 | 0 | 735.1875 | 685.3341 | 1420.5216 | 0 | 0 | 0 | 0 | 0 | 0 | 1420.5216 | 12 | 529.72 | 14 | 180 | 723.72 | 1420.83 | 1459.34 | 1395.21 | 1420.83 | 1420.83 | 1420.5216 | 0 | 24 | 05.45-06.00 | 50.02 | 49.99 | 1178.69 | 1114.455 | 14 | 12
13 | 556.4948 | 0 | 102.5571 | 30.01 | 0 | 659.0518 | 732.5161 | 1391.5679 | 0 | 0 | 0 | 0 | 0 | 0 | 1391.5679 | 13 | 533.92 | 0 | 110 | 643.92 | 1391.87 | 1399.61 | 1386.66 | 1391.87 | 1391.87 | 1391.5679 | 0 | 25 | 06.00-06.15 | 50.01 |  | 1251.56 |  | 0 | 13
14 | 552.7009 | 43.5705 | 83.9103 | 30.02 | 0 | 680.1817 | 674.5092 | 1354.6909 | 0 | 0 | 0 | 0 | 0 | 0 | 1354.6909 | 14 | 530.28 | 40 | 90 | 660.28 | 1354.985 | 1376.24 | 1343.57 | 1354.985 | 1354.985 | 1354.6909 | 0 | 26 | 06.15-06.30 | 49.95 |  | 1323.73 |  | 40 | 14
15 | 643.8901 | 43.5705 | 102.5571 | 30.04 | 9.25 | 799.2676 | 580.8453 | 1380.1129 | 0 | 0 | 0 | 0 | 0 | 0 | 1380.1129 | 15 | 617.77 | 40 | 110 | 767.77 | 1380.4125 | 1390.82 | 1376 | 1380.4125 | 1380.4125 | 1380.1129 | 0 | 27 | 06.30-06.45 | 49.99 |  | 1410.2 |  | 40 | 15
16 | 676.2633 | 43.5705 | 121.2038 | 25.03 | 70.3 | 911.3376 | 457.8527 | 1369.1903 | 0 | 0 | 0 | 0 | 0 | 0 | 1369.1903 | 16 | 648.83 | 40 | 130 | 818.83 | 1369.4875 | 1375.98 | 1364.38 | 1369.4875 | 1369.4875 | 1369.1903 | 0 | 28 | 06.45-07.00 | 49.92 | 49.9675 | 1470.59 | 1364.02 | 40 | 16
17 | 661.7026 | 15.2497 | 167.8207 | 25.01 | 81.4 | 926.173 | 440.4654 | 1366.6383 | 0 | 0 | 0 | 0 | 0 | 0 | 1366.6383 | 17 | 634.86 | 14 | 180 | 828.86 | 1366.935 | 1372.54 | 1357.09 | 1366.935 | 1366.935 | 1366.6383 | 0 | 29 | 07.00-07.15 | 49.91 |  | 1511.81 |  | 14 | 17
18 | 574.0259 | 15.2497 | 186.4674 | 25.02 | 81.4 | 857.143 | 485.1106 | 1342.2536 | 0 | 0 | 0 | 0 | 0 | 0 | 1342.2536 | 18 | 550.74 | 14 | 200 | 764.74 | 1342.545 | 1358.26 | 1329.23 | 1342.545 | 1342.545 | 1342.2536 | 0 | 30 | 07.15-07.30 | 49.95 |  | 1550.66 |  | 14 | 18
19 | 552.1172 | 15.2497 | 167.8207 | 25.07 | 81.4 | 816.5875 | 673.3191 | 1489.9066 | 0 | 0 | 0 | 0 | 0 | 0 | 1489.9066 | 19 | 529.72 | 14 | 180 | 723.72 | 1490.23 | 1529.32 | 1420.11 | 1490.23 | 1490.23 | 1489.9066 | 0 | 31 | 07.30-07.45 | 49.97 |  | 1550.91 |  | 14 | 19
20 | 735.8193 | 99.014 | 158.4973 | 101.05 | 81.4 | 1074.7305 | 383.6279 | 1458.3584 | 0 | 0 | 0 | 0 | 0 | 0 | 1458.3584 | 20 | 705.97 | 90.9 | 170 | 966.87 | 1458.675 | 1519.15 | 1401.46 | 1458.675 | 1458.675 | 1458.3584 | 0 | 32 | 07.45-08.00 | 50.02 | 49.9625 | 1544.9 | 1539.57 | 90.9 | 20
21 | 722.6865 | 99.1229 | 158.4973 | 101.04 | 81.4 | 1061.7067 | 285.2984 | 1347.0051 | 0 | 0 | 0 | 0 | 0 | 0 | 1347.0051 | 21 | 693.37 | 91 | 170 | 954.37 | 1347.2975 | 1378.47 | 1302.09 | 1347.2975 | 1347.2975 | 1347.0051 | 0 | 33 | 08.00-08.15 | 50.01 |  | 1511.65 |  | 91 | 21
22 | 700.3609 | 99.1229 | 186.4674 | 101.04 | 81.4 | 1067.3512 | 179.5332 | 1246.8843 | 0 | 0 | 0 | 0 | 0 | 0 | 1246.8843 | 22 | 671.95 | 91 | 200 | 962.95 | 1247.155 | 1282.33 | 1206.36 | 1247.155 | 1247.155 | 1246.8843 | 0 | 34 | 08.15-08.30 | 50.01 |  | 1496.62 |  | 91 | 22
23 | 620.3866 | 44.6598 | 205.1141 | 35.01 | 81.4 | 951.5605 | 224.5367 | 1176.0972 | 0 | 0 | 0 | 0 | 0 | 0 | 1176.0972 | 23 | 595.22 | 41 | 220 | 856.22 | 1176.3525 | 1194.22 | 1164.51 | 1176.3525 | 1176.3525 | 1176.0972 | 0 | 35 | 08.30-08.45 | 49.95 |  | 1487.59 |  | 41 | 23
24 | 619.5841 | 44.6598 | 205.1141 | 35.01 | 81.4 | 950.758 | 174.2228 | 1124.9808 | 0 | 0 | 0 | 0 | 0 | 0 | 1124.9808 | 24 | 594.45 | 41 | 220 | 855.45 | 1125.225 | 1146 | 1116.31 | 1125.225 | 1125.225 | 1124.9808 | 0 | 36 | 08.45-09.00 | 50.01 | 49.995 | 1495.32 | 1497.795 | 41 | 24
[16 empty] | 12: 37 | 09.00-09.15 | 50 |  | 1498.46
TOTAL (in MWh) | 14730.925 | 770 | 3431 | 903.6 | 989.75 | 19921.675 | 11082.7417 | 31004.4167 | 0 | 0 | 0 | 0 | 0 | 0 | 31004.4167 | TOTAL | 14133.35 | 706.9 | 3680 | 18520.25 | 31003.865 |  |  | 31010.595 | 31010.595 | 31004.4167 | 0 | 38 | 09.15-09.30 | 50.03 |  | 1504.42
[16 empty] | 12: 39 | 09.30-09.45 | 50 |  | 1486.07
[16 empty] | 12: 40 | 09.45-10.00 | 50.03 | 50.015 | 1489.7 | 1494.6625
|  |  | Hourly Average Frequency (Fr) | [7 empty] | 49.9547 | HZ |  |  |  | 1: Note :- Please don't edit these figures.; 12: 41 | 10.00-10.15 | 50.05 |  | 1461.02
|  |  | Demand met for the day | [7 empty] | 1550.91 | MW |  |  |  | 12: 42 | 10.15-10.30 | 50 |  | 1446.87
|  |  | Unrestricted Demand for the day | [7 empty] | 1550.91 | MW |  |  |  | 1: MAX =; 2: 1550.91; 12: 43 | 10.30-10.45 | 49.98 |  | 1473.01
|  |  | Minimum Demand(Unrestricted) for the day | [7 empty] | 991.32 | MW | Aux. | Net gen. |  | 1: MIN =; 2: 991.32; 12: 44 | 10.45-11.00 | 49.9 | 49.9825 | 1465.11 | 1461.5025
|  |  | Gross own generation | [7 empty] | 14730.925 | MWH | 29.73 | 14701.195 |  | 12: 45 | 11.00-11.15 | 49.98 |  | 1459.34
|  |  | Gross Baspa generation | [7 empty] | 3431 | MWH | 6.39 | 3424.61 |  | 12: 46 | 11.15-11.30 | 50.01 |  | 1418.51
|  |  | Gross Malana generation | [7 empty] | 770 | MWH | 9.417 | 760.583 |  | 12: 47 | 11.30-11.45 | 49.96 |  | 1410.26
|  |  | Malana generation at 0300 Hrs. | [7 empty] | 0 | MW |  |  |  | 12: 48 | 11.45-12.00 | 49.99 | 49.985 | 1395.21 | 1420.83
|  |  | Malana generation at 2400 Hrs. | [7 empty] | 41 | MW |  |  |  | 12: 49 | 12.00-12.15 | 50 |  | 1399.61
|  |  | Max.generation of Malana at 2100 Hrs. | [7 empty] | 91 | MW |  |  |  | 12: 50 | 12.15-12.30 | 49.93 |  | 1387.49
[9 empty] | Off Peak Hrs MW |  | Peak Hrs MW |  | Gross Lus | Net Lus
|  |  | Total Own Generation | [5 empty] | 552.4749 |  | 973.1853 |  | 147.3092 | 147.0119 |  | 12: 51 | 12.30-12.45 | 50.02 |  | 1393.72
|  |  | Above 25 MW | [5 empty] | 243.236 |  | 333.4247 |  | 60.6632 | 60.4193 |  | 12: 52 | 12.45-13.00 | 50.02 | 49.9925 | 1386.66 | 1391.87
|  |  | Below 25 MW(Small Hydro <25 MW) | [5 empty] | 309.2389 |  | 639.7606 |  | 86.646 | 86.5926 |  | 12: 53 | 13.00-13.15 | 50.04 |  | 1344.7
[16 empty] | 12: 54 | 13.15-13.30 | 50 |  | 1343.57
[16 empty] | 12: 55 | 13.30-13.45 | 50.01 |  | 1355.43
[16 empty] | 12: 56 | 13.45-14.00 | 50.01 | 50.015 | 1376.24 | 1354.985
[16 empty] | 12: 57 | 14.00-14.15 | 50 |  | 1376.71
[16 empty] | 12: 58 | 14.15-14.30 | 50.01 |  | 1390.82
[16 empty] | 12: 59 | 14.30-14.45 | 49.97 |  | 1378.12
[16 empty] | 12: 60 | 14.45-15.00 | 50.03 | 50.0025 | 1376 | 1380.4125
[16 empty] | 12: 61 | 15.00-15.15 | 49.94 |  | 1369.01
[16 empty] | 12: 62 | 15.15-15.30 | 49.9 |  | 1375.98
[16 empty] | 12: 63 | 15.30-15.45 | 49.92 |  | 1364.38
[16 empty] | 12: 64 | 15.45-16.00 | 49.92 | 49.92 | 1368.58 | 1369.4875
[16 empty] | 12: 65 | 16.00-16.15 | 49.88 |  | 1366.85
[16 empty] | 12: 66 | 16.15-16.30 | 49.86 |  | 1372.54
[16 empty] | 12: 67 | 16.30-16.45 | 49.93 |  | 1371.26
[16 empty] | 12: 68 | 16.45-17.00 | 49.84 | 49.8775 | 1357.09 | 1366.935
[16 empty] | 12: 69 | 17.00-17.15 | 49.94 |  | 1341.61
[16 empty] | 12: 70 | 17.15-17.30 | 49.81 |  | 1341.08
[16 empty] | 12: 71 | 17.30-17.45 | 49.75 |  | 1329.23
[16 empty] | 12: 72 | 17.45-18.00 | 49.81 | 49.8275 | 1358.26 | 1342.545
[16 empty] | 12: 73 | 18.00-18.15 | 49.88 |  | 1420.11
[16 empty] | 12: 74 | 18.15-18.30 | 49.82 |  | 1487.49
[16 empty] | 12: 75 | 18.30-18.45 | 49.81 |  | 1529.32
[16 empty] | 12: 76 | 18.45-19.00 | 49.91 | 49.855 | 1524 | 1490.23
[16 empty] | 12: 77 | 19.00-19.15 | 49.99 |  | 1519.15
[16 empty] | 12: 78 | 19.15-19.30 | 50 |  | 1484.02
[16 empty] | 12: 79 | 19.30-19.45 | 49.99 |  | 1430.07
[16 empty] | 12: 80 | 19.45-20.00 | 50.01 | 49.9975 | 1401.46 | 1458.675
[16 empty] | 12: 81 | 20.00-20.15 | 49.96 |  | 1378.47
[16 empty] | 12: 82 | 20.15-20.30 | 50 |  | 1369.67
[16 empty] | 12: 83 | 20.30-20.45 | 50 |  | 1338.96
[16 empty] | 12: 84 | 20.45-21.00 | 50.02 | 49.995 | 1302.09 | 1347.2975
[16 empty] | 12: 85 | 21.00-21.15 | 50.01 |  | 1282.33
[16 empty] | 12: 86 | 21.15-21.30 | 50 |  | 1258.48
[16 empty] | 12: 87 | 21.30-21.45 | 50.02 |  | 1241.45
[16 empty] | 12: 88 | 21.45-22.00 | 50.04 | 50.0175 | 1206.36 | 1247.155
[16 empty] | 12: 89 | 22.00-22.15 | 49.95 |  | 1194.22
[16 empty] | 12: 90 | 22.15-22.30 | 49.8 |  | 1180.92
[16 empty] | 12: 91 | 22.30-22.45 | 49.89 |  | 1165.76
[16 empty] | 12: 92 | 22.45-23.00 | 49.92 | 49.89 | 1164.51 | 1176.3525
[16 empty] | 12: 93 | 23.00-23.15 | 49.98 |  | 1146
[16 empty] | 12: 94 | 23.15-23.30 | 49.83 |  | 1120.42
[16 empty] | 12: 95 | 23.30-23.45 | 49.93 |  | 1116.31
[16 empty] | 12: 96 | 23.45-24.00 | 49.97 | 49.9275 | 1118.17 | 1125.225
[29 empty] | Total | 49.9547 | 49.9547 | 31003.865 | 31003.865
[29 empty] | max | 1550.91 |  | avg. max | 1539.57
[29 empty] | min | 991.32 |  | avg. min | 995.93
Note on AA16: ReportServer: critical formulas…….do not disturb
Note on AB16: ReportServer: critical formulas…….do not disturb
Note on S24: Please don't edit here
Note on G25: Column no. 5 =Sum (2+3+4 Column)
Note on K25: The fig of power cut comes from daily hourly load sheet.