## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2021-10-13
Hiamchal Pradesh State Load Despatch Centre
[12 empty] | DATED | 2021-10-14
FROM | [10 empty] | TO
| POWER CONTROLLER | [10 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [10 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [12 empty] | DEMAND OF STATE |  |  | 32240.5825 | MWh
[16 empty] | ACTUAL MALANA GENERATION |  |  | 663.68 | MWh
|  | State:- Himachal Pradesh | [13 empty] | ACTUAL BASPA GENERATION |  |  | 3068.1 | MWh | [7 empty] | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[11 empty] | PEAK DEMAND(MW) |  |  | 1623.09 | [13 empty] | 1 | 00.00-00.15 | 49.78 |  | 1105.68
|  | Month/Day :- |  |  |  | 2021-10-13 |  |  |  |  | Min.DEMAND(MW) |  |  | 1069.81 |  | ACTUAL OWN GENERATION |  |  | 13848.2397 | MWh | [7 empty] | 2 | 00.15-00.30 | 49.85 |  | 1104.99
[28 empty] | 3 | 00.30-00.45 | 49.89 |  | 1082.4 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [5 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET |  |  | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P6 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 49.92 | 49.86 | 1084.81 | 1094.47 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[10 empty] | DUE TO LOAD SHEDD-ING (MW) | DUE TO SATUTORY CUT (MW) | DUE TO T&D CONS-TRAINTS (MW) | [15 empty] | 5 | 01.00-01.15 | 49.9 |  | 1085.89 |  |  |  | MALANA-2 | 20.05 | 20.1 | 20 | 20.1 | 20.03 | 20.02 | 20.2 | 20 | 20 | 20 | 20 | 20.01 | 30.01 | 30.02 | 30.04 | 25.03 | 25.01 | 25.02 | 25.07 | 101.05 | 101.04 | 101.04 | 35.01 | 31.1 | 799.95
[28 empty] | 6 | 01.15-01.30 | 49.92 |  | 1089.22 |  |  |  | SWARA KUDDU | 40.7 | 40.7 | 40.7 | 40.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.4 | 74 | 74 | 74 | 81.4 | 88.8 | 88.8 | 88.8 | 81.4 | 74 | 908.4
[28 empty] | 7 | 01.30-01.45 | 49.79 |  | 1091.22
[28 empty] | 8 | 01.45-02:00 | 49.79 | 49.85 | 1087.64 | 1088.4925
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | TOTAL | [10 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.9 |  | 1088.32 |  | Malana
[8 empty] | 5+6 | [19 empty] | 10 | 02.15-02.30 | 49.88 |  | 1092.92
[8 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P6/1000 | P7 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.95 |  | 1092.29
1 | 2 | 3 | 4 |  |  | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 49.95 | 49.92 | 1082.5 | 1089.0075
1 | 572.2797 | 0 | 112.6703 | 20.05 | 40.7 | 725.65 | 368.2101 | 1093.8601 | 0 | 0 | 0 | 0 | 0 | 0 | 1093.8601 | 1 | 558.28 | 0 | 130 | 688.28 | 1094.47 | 1105.68 | 1082.4 | 1094.47 | 1094.47 | 1093.8601 | 0 | 13 | 03.00-03.15 | 49.99 |  | 1069.81 |  | 0 | 1
2 | 592.73 | 0 | 138.6712 | 20.1 | 40.7 | 772.1011 | 315.7848 | 1087.886 | 0 | 0 | 0 | 0 | 0 | 0 | 1087.886 | 2 | 578.23 | 0 | 160 | 738.23 | 1088.4925 | 1091.22 | 1085.89 | 1088.4925 | 1088.4925 | 1087.886 | 0 | 14 | 03.15-03.30 | 49.95 |  | 1083.95 |  | 0 | 2
3 | 555.0687 | 0 | 138.6712 | 20 | 40.7 | 734.4398 | 353.9608 | 1088.4007 | 0 | 0 | 0 | 0 | 0 | 0 | 1088.4007 | 3 | 541.49 | 0 | 160 | 701.49 | 1089.0075 | 1092.92 | 1082.5 | 1089.0075 | 1089.0075 | 1088.4007 | 0 | 15 | 03.30-03.45 | 49.97 |  | 1072.91 |  | 0 | 3
4 | 504.6144 | 0 | 121.3373 | 20.1 | 40.7 | 666.6517 | 403.1583 | 1069.81 | 0 | 0 | 0 | 0 | 0 | 0 | 1069.81 | 4 | 492.27 | 0 | 140 | 632.27 | 1075.9375 | 1083.95 | 1069.81 | 1069.81 | 1069.81 | 1069.81 | 0 | 16 | 03.45-04.00 | 49.99 | 49.975 | 1077.08 | 1075.9375 | 0 | 4
5 | 517.0486 | 0 | 147.3381 | 20.03 | 0 | 664.3867 | 439.9851 | 1104.3718 | 0 | 0 | 0 | 0 | 0 | 0 | 1104.3718 | 5 | 504.4 | 0 | 170 | 674.4 | 1104.9875 | 1127.68 | 1088.03 | 1104.9875 | 1104.9875 | 1104.3718 | 0 | 17 | 04.00-04.15 | 49.95 |  | 1088.03 |  | 0 | 5
6 | 511.7899 | 0 | 130.0042 | 20.02 | 0 | 641.7942 | 557.5347 | 1199.3288 | 0 | 0 | 0 | 0 | 0 | 0 | 1199.3288 | 6 | 499.27 | 0 | 150 | 649.27 | 1199.9975 | 1269.06 | 1135.49 | 1199.9975 | 1199.9975 | 1199.3288 | 0 | 18 | 04.15-04.30 | 49.89 |  | 1096.81 |  | 0 | 6
7 | 531.0511 | 0 | 173.339 | 20.2 | 0 | 704.3901 | 739.1101 | 1443.5002 | 0 | 0 | 0 | 0 | 0 | 0 | 1443.5002 | 7 | 518.06 | 0 | 200 | 718.06 | 1444.305 | 1552.35 | 1336.43 | 1444.305 | 1444.305 | 1443.5002 | 0 | 19 | 04.30-04.45 | 49.77 |  | 1107.43 |  | 0 | 7
8 | 543.9876 | 20.5188 | 104.0034 | 20 | 0 | 668.5097 | 954.5803 | 1623.09 | 0 | 0 | 0 | 0 | 0 | 0 | 1623.09 | 8 | 530.68 | 20 | 120 | 670.68 | 1598.9875 | 1623.09 | 1564.43 | 1623.09 | 1623.09 | 1623.09 | 0 | 20 | 04.45-05.00 | 49.83 | 49.86 | 1127.68 | 1104.9875 | 20 | 8
9 | 590.8541 | 20.5188 | 104.0034 | 20 | 0 | 715.3762 | 860.0354 | 1575.4117 | 0 | 0 | 0 | 0 | 0 | 0 | 1575.4117 | 9 | 576.4 | 20 | 120 | 716.4 | 1576.29 | 1583.37 | 1565.31 | 1576.29 | 1576.29 | 1575.4117 | 0 | 21 | 05.00-05.15 | 49.74 |  | 1135.49 |  | 20 | 9
10 | 561.2089 | 14.3631 | 69.3356 | 20 | 0 | 644.9076 | 913.1288 | 1558.0364 | 0 | 0 | 0 | 0 | 0 | 0 | 1558.0364 | 10 | 547.48 | 14 | 80 | 641.48 | 1558.905 | 1578.96 | 1546.43 | 1558.905 | 1558.905 | 1558.0364 | 0 | 22 | 05.15-05.30 | 49.79 |  | 1178 |  | 14 | 10
11 | 527.7196 | 14.3631 | 86.6695 | 20 | 0 | 628.7523 | 883.9569 | 1512.7091 | 0 | 0 | 0 | 0 | 0 | 0 | 1512.7091 | 11 | 514.81 | 14 | 100 | 628.81 | 1513.5525 | 1534.56 | 1502.13 | 1513.5525 | 1513.5525 | 1512.7091 | 0 | 23 | 05.30-05.45 | 49.93 |  | 1217.44 |  | 14 | 11
12 | 520.3391 | 14.3631 | 104.0034 | 20.01 | 0 | 638.7056 | 845.0397 | 1483.7453 | 0 | 0 | 0 | 0 | 0 | 0 | 1483.7453 | 12 | 507.61 | 14 | 120 | 641.61 | 1484.5725 | 1490.2 | 1481.47 | 1484.5725 | 1484.5725 | 1483.7453 | 0 | 24 | 05.45-06.00 | 50.01 | 49.8675 | 1269.06 | 1199.9975 | 14 | 12
13 | 547.3088 | 0 | 95.3364 | 30.01 | 0 | 642.6453 | 814.2625 | 1456.9077 | 0 | 0 | 0 | 0 | 0 | 0 | 1456.9077 | 13 | 533.92 | 0 | 110 | 643.92 | 1457.72 | 1469.96 | 1444.97 | 1457.72 | 1457.72 | 1456.9077 | 0 | 25 | 06.00-06.15 | 49.99 |  | 1336.43 |  | 0 | 13
14 | 543.5775 | 41.0376 | 78.0025 | 30.02 | 0 | 662.6177 | 734.8482 | 1397.4659 | 0 | 0 | 0 | 0 | 0 | 0 | 1397.4659 | 14 | 530.28 | 40 | 90 | 660.28 | 1398.245 | 1407.31 | 1378.99 | 1398.245 | 1398.245 | 1397.4659 | 0 | 26 | 06.15-06.30 | 49.87 |  | 1406.99 |  | 40 | 14
15 | 633.2615 | 41.0376 | 95.3364 | 30.04 | 20.4 | 790.0355 | 634.6027 | 1424.6382 | 0 | 0 | 0 | 0 | 0 | 0 | 1424.6382 | 15 | 617.77 | 40 | 110 | 767.77 | 1425.4325 | 1431.37 | 1417.86 | 1425.4325 | 1425.4325 | 1424.6382 | 0 | 27 | 06.30-06.45 | 49.88 |  | 1481.45 |  | 40 | 15
16 | 665.1004 | 41.0376 | 112.6703 | 25.03 | 74 | 892.8083 | 545.17 | 1437.9783 | 0 | 0 | 0 | 0 | 0 | 0 | 1437.9783 | 16 | 648.83 | 40 | 130 | 818.83 | 1438.78 | 1453.95 | 1427.32 | 1438.78 | 1438.78 | 1437.9783 | 0 | 28 | 06.45-07.00 | 50.01 | 49.9375 | 1552.35 | 1444.305 | 40 | 16
17 | 650.78 | 14.3631 | 156.0051 | 25.01 | 74 | 895.1483 | 529.1002 | 1424.2484 | 0 | 0 | 0 | 0 | 0 | 0 | 1424.2484 | 17 | 634.86 | 14 | 180 | 828.86 | 1425.0425 | 1437.72 | 1400.58 | 1425.0425 | 1425.0425 | 1424.2484 | 0 | 29 | 07.00-07.15 | 50.01 |  | 1564.43 |  | 14 | 17
18 | 564.5506 | 14.3631 | 173.339 | 25.02 | 74 | 826.2527 | 566.7656 | 1393.0184 | 0 | 0 | 0 | 0 | 0 | 0 | 1393.0184 | 18 | 550.74 | 14 | 200 | 764.74 | 1393.795 | 1419.87 | 1370.44 | 1393.795 | 1393.795 | 1393.0184 | 0 | 30 | 07.15-07.30 | 50 |  | 1602.29 |  | 14 | 18
19 | 543.0035 | 14.3631 | 156.0051 | 25.07 | 81.4 | 794.7717 | 702.0987 | 1496.8705 | 0 | 0 | 0 | 0 | 0 | 0 | 1496.8705 | 19 | 529.72 | 14 | 180 | 723.72 | 1497.705 | 1530.31 | 1444.27 | 1497.705 | 1497.705 | 1496.8705 | 0 | 31 | 07.30-07.45 | 50.04 |  | 1623.09 |  | 14 | 19
20 | 723.6732 | 93.2579 | 147.3381 | 101.05 | 88.8 | 1053.0692 | 400.253 | 1453.3222 | 0 | 0 | 0 | 0 | 0 | 0 | 1453.3222 | 20 | 705.97 | 90.9 | 170 | 966.87 | 1454.1325 | 1490.28 | 1411.73 | 1454.1325 | 1454.1325 | 1453.3222 | 0 | 32 | 07.45-08.00 | 50.04 | 50.0225 | 1606.14 | 1598.9875 | 90.9 | 20
21 | 710.7573 | 93.3605 | 147.3381 | 101.04 | 88.8 | 1040.2559 | 310.7259 | 1350.9818 | 0 | 0 | 0 | 0 | 0 | 0 | 1350.9818 | 21 | 693.37 | 91 | 170 | 954.37 | 1351.735 | 1386.07 | 1320.05 | 1351.735 | 1351.735 | 1350.9818 | 0 | 33 | 08.00-08.15 | 50.02 |  | 1583.37 |  | 91 | 21
22 | 688.8001 | 93.3605 | 173.339 | 101.04 | 88.8 | 1044.2996 | 209.9911 | 1254.2907 | 0 | 0 | 0 | 0 | 0 | 0 | 1254.2907 | 22 | 671.95 | 91 | 200 | 962.95 | 1254.99 | 1292.44 | 1219.74 | 1254.99 | 1254.99 | 1254.2907 | 0 | 34 | 08.15-08.30 | 50.05 |  | 1580.46 |  | 91 | 22
23 | 518.986 | 92.3345 | 112.6703 | 35.01 | 81.4 | 805.3908 | 377.3972 | 1182.7881 | 0 | 0 | 0 | 0 | 0 | 0 | 1182.7881 | 23 | 506.29 | 90 | 130 | 726.29 | 1183.4475 | 1198.86 | 1157.61 | 1183.4475 | 1183.4475 | 1182.7881 | 0 | 35 | 08.30-08.45 | 50.07 |  | 1576.02 |  | 90 | 23
24 | 529.7493 | 41.0376 | 190.6729 | 31.1 | 74 | 835.4597 | 293.9631 | 1129.4228 | 0 | 0 | 0 | 0 | 0 | 0 | 1129.4228 | 24 | 516.79 | 40 | 220 | 776.79 | 1130.0525 | 1137.73 | 1123.1 | 1130.0525 | 1130.0525 | 1129.4228 | 0 | 36 | 08.45-09.00 | 50.1 | 50.06 | 1565.31 | 1576.29 | 40 | 24
[16 empty] | 12: 37 | 09.00-09.15 | 50.04 |  | 1578.96
TOTAL (in MWh) | 13848.2397 | 663.68 | 3068.1 | 799.95 | 908.4 | 18488.4197 | 13753.6633 | 32242.083 | 0 | 0 | 0 | 0 | 0 | 0 | 32242.083 | TOTAL | 13509.47 | 646.9 | 3540 | 17696.37 | 32240.5825 |  |  | 32258.5575 | 32258.5575 | 32242.083 | 0 | 38 | 09.15-09.30 | 50.03 |  | 1554.13
[16 empty] | 12: 39 | 09.30-09.45 | 50.04 |  | 1556.1
[16 empty] | 12: 40 | 09.45-10.00 | 50.06 | 50.0425 | 1546.43 | 1558.905
|  |  | Hourly Average Frequency (Fr) | [7 empty] | 49.9531 | HZ |  |  |  | 1: Note :- Please don't edit these figures.; 12: 41 | 10.00-10.15 | 50.03 |  | 1534.56
|  |  | Demand met for the day | [7 empty] | 1623.09 | MW |  |  |  | 12: 42 | 10.15-10.30 | 50.01 |  | 1509.51
|  |  | Unrestricted Demand for the day | [7 empty] | 1623.09 | MW |  |  |  | 1: MAX =; 2: 1623.09; 12: 43 | 10.30-10.45 | 49.93 |  | 1508.01
|  |  | Minimum Demand(Unrestricted) for the day | [7 empty] | 1069.81 | MW | Aux. | Net gen. |  | 1: MIN =; 2: 1069.81; 12: 44 | 10.45-11.00 | 49.97 | 49.985 | 1502.13 | 1513.5525
|  |  | Gross own generation | [7 empty] | 13848.2397 | MWH | 27.04 | 13821.1997 |  | 12: 45 | 11.00-11.15 | 50.02 |  | 1490.2
|  |  | Gross Baspa generation | [7 empty] | 3068.1 | MWH | 6.57 | 3061.53 |  | 12: 46 | 11.15-11.30 | 50 |  | 1482.59
|  |  | Gross Malana generation | [7 empty] | 663.68 | MWH | 9.333 | 654.347 |  | 12: 47 | 11.30-11.45 | 50.01 |  | 1481.47
|  |  | Malana generation at 0300 Hrs. | [7 empty] | 0 | MW |  |  |  | 12: 48 | 11.45-12.00 | 49.99 | 50.005 | 1484.03 | 1484.5725
|  |  | Malana generation at 2400 Hrs. | [7 empty] | 40 | MW |  |  |  | 12: 49 | 12.00-12.15 | 49.98 |  | 1469.96
|  |  | Max.generation of Malana at 2100 Hrs. | [7 empty] | 91 | MW |  |  |  | 12: 50 | 12.15-12.30 | 49.98 |  | 1467.38
[9 empty] | Off Peak Hrs MW |  | Peak Hrs MW |  | Gross Lus | Net Lus
|  |  | Total Own Generation | [5 empty] | 491.5492 |  | 987.2355 |  | 138.4824 | 138.212 |  | 12: 51 | 12.30-12.45 | 49.99 |  | 1448.57
|  |  | Above 25 MW | [5 empty] | 217.5031 |  | 326.2546 |  | 54.4293 | 54.2111 |  | 12: 52 | 12.45-13.00 | 50.03 | 49.995 | 1444.97 | 1457.72
|  |  | Below 25 MW(Small Hydro <25 MW) | [5 empty] | 274.0462 |  | 660.981 |  | 84.0531 | 84.0008 |  | 12: 53 | 13.00-13.15 | 50.09 |  | 1409.91
[16 empty] | 12: 54 | 13.15-13.30 | 50.01 |  | 1378.99
[16 empty] | 12: 55 | 13.30-13.45 | 49.97 |  | 1396.77
[16 empty] | 12: 56 | 13.45-14.00 | 49.94 | 50.0025 | 1407.31 | 1398.245
[16 empty] | 12: 57 | 14.00-14.15 | 49.96 |  | 1417.86
[16 empty] | 12: 58 | 14.15-14.30 | 49.85 |  | 1431.37
[16 empty] | 12: 59 | 14.30-14.45 | 49.84 |  | 1423.01
[16 empty] | 12: 60 | 14.45-15.00 | 49.85 | 49.875 | 1429.49 | 1425.4325
[16 empty] | 12: 61 | 15.00-15.15 | 49.95 |  | 1453.95
[16 empty] | 12: 62 | 15.15-15.30 | 49.98 |  | 1443.81
[16 empty] | 12: 63 | 15.30-15.45 | 49.98 |  | 1430.04
[16 empty] | 12: 64 | 15.45-16.00 | 50.01 | 49.98 | 1427.32 | 1438.78
[16 empty] | 12: 65 | 16.00-16.15 | 50.01 |  | 1437.72
[16 empty] | 12: 66 | 16.15-16.30 | 49.87 |  | 1425.42
[16 empty] | 12: 67 | 16.30-16.45 | 49.98 |  | 1436.45
[16 empty] | 12: 68 | 16.45-17.00 | 49.9 | 49.94 | 1400.58 | 1425.0425
[16 empty] | 12: 69 | 17.00-17.15 | 49.92 |  | 1388.17
[16 empty] | 12: 70 | 17.15-17.30 | 49.8 |  | 1370.44
[16 empty] | 12: 71 | 17.30-17.45 | 49.94 |  | 1396.7
[16 empty] | 12: 72 | 17.45-18.00 | 49.85 | 49.8775 | 1419.87 | 1393.795
[16 empty] | 12: 73 | 18.00-18.15 | 49.89 |  | 1444.27
[16 empty] | 12: 74 | 18.15-18.30 | 49.69 |  | 1499.61
[16 empty] | 12: 75 | 18.30-18.45 | 49.84 |  | 1530.31
[16 empty] | 12: 76 | 18.45-19.00 | 49.83 | 49.8125 | 1516.63 | 1497.705
[16 empty] | 12: 77 | 19.00-19.15 | 49.91 |  | 1490.28
[16 empty] | 12: 78 | 19.15-19.30 | 50.01 |  | 1471.99
[16 empty] | 12: 79 | 19.30-19.45 | 50.01 |  | 1442.53
[16 empty] | 12: 80 | 19.45-20.00 | 50.04 | 49.9925 | 1411.73 | 1454.1325
[16 empty] | 12: 81 | 20.00-20.15 | 50.02 |  | 1386.07
[16 empty] | 12: 82 | 20.15-20.30 | 50.01 |  | 1360.31
[16 empty] | 12: 83 | 20.30-20.45 | 50.04 |  | 1340.51
[16 empty] | 12: 84 | 20.45-21.00 | 50.03 | 50.025 | 1320.05 | 1351.735
[16 empty] | 12: 85 | 21.00-21.15 | 50.02 |  | 1292.44
[16 empty] | 12: 86 | 21.15-21.30 | 50.02 |  | 1266.08
[16 empty] | 12: 87 | 21.30-21.45 | 50.03 |  | 1241.7
[16 empty] | 12: 88 | 21.45-22.00 | 50.04 | 50.0275 | 1219.74 | 1254.99
[16 empty] | 12: 89 | 22.00-22.15 | 49.97 |  | 1185.88
[16 empty] | 12: 90 | 22.15-22.30 | 50 |  | 1191.44
[16 empty] | 12: 91 | 22.30-22.45 | 50 |  | 1198.86
[16 empty] | 12: 92 | 22.45-23.00 | 50.01 | 49.995 | 1157.61 | 1183.4475
[16 empty] | 12: 93 | 23.00-23.15 | 49.97 |  | 1137.73
[16 empty] | 12: 94 | 23.15-23.30 | 49.97 |  | 1131.8
[16 empty] | 12: 95 | 23.30-23.45 | 49.93 |  | 1127.58
[16 empty] | 12: 96 | 23.45-24.00 | 50 | 49.9675 | 1123.1 | 1130.0525
[29 empty] | Total | 49.9531 | 49.9531 | 32240.5825 | 32240.5825
[29 empty] | max | 1623.09 |  | avg. max | 1598.9875
[29 empty] | min | 1069.81 |  | avg. min | 1075.9375
Note on AA16: ReportServer: critical formulas…….do not disturb
Note on AB16: ReportServer: critical formulas…….do not disturb
Note on S24: Please don't edit here
Note on G25: Column no. 5 =Sum (2+3+4 Column)
Note on K25: The fig of power cut comes from daily hourly load sheet.