## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2021-10-14
Hiamchal Pradesh State Load Despatch Centre
[12 empty] | DATED | 2021-10-15
FROM | [10 empty] | TO
| POWER CONTROLLER | [10 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [10 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [12 empty] | DEMAND OF STATE |  |  | 31853.9675 | MWh
[16 empty] | ACTUAL MALANA GENERATION |  |  | 584.96 | MWh
|  | State:- Himachal Pradesh | [13 empty] | ACTUAL BASPA GENERATION |  |  | 2982.2 | MWh | [7 empty] | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[11 empty] | PEAK DEMAND(MW) |  |  | 1568.25 | [13 empty] | 1 | 00.00-00.15 | 49.87 |  | 1110.57
|  | Month/Day :- |  |  |  | 2021-10-14 |  |  |  |  | Min.DEMAND(MW) |  |  | 1069.51 |  | ACTUAL OWN GENERATION |  |  | 13949.8585 | MWh | [7 empty] | 2 | 00.15-00.30 | 50 |  | 1125.43
[28 empty] | 3 | 00.30-00.45 | 50 |  | 1114.71 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [5 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET |  |  | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P6 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50 | 49.9675 | 1107.62 | 1114.5825 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[10 empty] | DUE TO LOAD SHEDD-ING (MW) | DUE TO SATUTORY CUT (MW) | DUE TO T&D CONS-TRAINTS (MW) | [15 empty] | 5 | 01.00-01.15 | 49.98 |  | 1084.66 |  |  |  | MALANA-2 | 15.09 | 15.05 | 15.03 | 15.04 | 15.04 | 14.98 | 15.01 | 15.01 | 15.01 | 15.02 | 15.01 | 15.01 | 30.01 | 30.02 | 30.04 | 25.03 | 25.01 | 25.02 | 25.07 | 101.05 | 101.04 | 101.04 | 30.04 | 30.03 | 733.7
[28 empty] | 6 | 01.15-01.30 | 49.93 |  | 1085.63 |  |  |  | SWARA KUDDU | 65.6 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 20.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.4 | 87 | 88.8 | 88.8 | 88.8 | 88.8 | 85.1 | 837.2
[28 empty] | 7 | 01.30-01.45 | 49.97 |  | 1099.31
[28 empty] | 8 | 01.45-02:00 | 49.99 | 49.9675 | 1094.71 | 1091.0775
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | TOTAL | [10 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50.02 |  | 1088.56 |  | Malana
[8 empty] | 5+6 | [19 empty] | 10 | 02.15-02.30 | 50.03 |  | 1094.16
[8 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P6/1000 | P7 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50.02 |  | 1095.62
1 | 2 | 3 | 4 |  |  | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.01 | 50.02 | 1083.63 | 1090.4925
1 | 548.2152 | 0 | 136.7198 | 15.09 | 65.6 | 750.535 | 364.0183 | 1114.5533 | 0 | 0 | 0 | 0 | 0 | 0 | 1114.5533 | 1 | 523.8 | 0 | 160 | 683.8 | 1114.5825 | 1125.43 | 1107.62 | 1114.5825 | 1114.5825 | 1114.5533 | 0 | 13 | 03.00-03.15 | 50.02 |  | 1080.76 |  | 0 | 1
2 | 565.746 | 0 | 187.9897 | 15.05 | 40.7 | 794.4356 | 296.6133 | 1091.0489 | 0 | 0 | 0 | 0 | 0 | 0 | 1091.0489 | 2 | 540.55 | 0 | 220 | 760.55 | 1091.0775 | 1099.31 | 1084.66 | 1091.0775 | 1091.0775 | 1091.0489 | 0 | 14 | 03.15-03.30 | 50.04 |  | 1077.11 |  | 0 | 2
3 | 554.3379 | 0 | 128.1748 | 15.03 | 40.7 | 723.2127 | 367.2512 | 1090.4639 | 0 | 0 | 0 | 0 | 0 | 0 | 1090.4639 | 3 | 529.65 | 0 | 150 | 679.65 | 1090.4925 | 1095.62 | 1083.63 | 1090.4925 | 1090.4925 | 1090.4639 | 0 | 15 | 03.30-03.45 | 50.04 |  | 1076.26 |  | 0 | 3
4 | 541.1192 | 0 | 76.9049 | 15.04 | 40.7 | 658.7241 | 410.7859 | 1069.51 | 0 | 0 | 0 | 0 | 0 | 0 | 1069.51 | 4 | 517.02 | 0 | 90 | 607.02 | 1075.91 | 1080.76 | 1069.51 | 1069.51 | 1069.51 | 1069.51 | 0 | 16 | 03.45-04.00 | 50.04 | 50.035 | 1069.51 | 1075.91 | 0 | 4
5 | 508.4858 | 0 | 68.3599 | 15.04 | 40.7 | 617.5457 | 472.9057 | 1090.4514 | 0 | 0 | 0 | 0 | 0 | 0 | 1090.4514 | 5 | 485.84 | 0 | 80 | 565.84 | 1090.48 | 1113.16 | 1075.42 | 1090.48 | 1090.48 | 1090.4514 | 0 | 17 | 04.00-04.15 | 50.04 |  | 1075.42 |  | 0 | 5
6 | 512.9758 | 0 | 85.4499 | 14.98 | 40.7 | 639.1257 | 555.173 | 1194.2987 | 0 | 0 | 0 | 0 | 0 | 0 | 1194.2987 | 6 | 490.13 | 0 | 100 | 590.13 | 1194.33 | 1255.25 | 1138.79 | 1194.33 | 1194.33 | 1194.2987 | 0 | 18 | 04.15-04.30 | 50.01 |  | 1081.46 |  | 0 | 6
7 | 497.2138 | 0 | 187.9897 | 15.01 | 20.4 | 705.6035 | 720.9741 | 1426.5776 | 0 | 0 | 0 | 0 | 0 | 0 | 1426.5776 | 7 | 475.07 | 0 | 220 | 695.07 | 1426.615 | 1533.34 | 1316.53 | 1426.615 | 1426.615 | 1426.5776 | 0 | 19 | 04.30-04.45 | 50 |  | 1091.88 |  | 0 | 7
8 | 535.2163 | 0 | 128.1748 | 15.01 | 0 | 663.3911 | 904.8589 | 1568.25 | 0 | 0 | 0 | 0 | 0 | 0 | 1568.25 | 8 | 511.38 | 0 | 150 | 661.38 | 1561.015 | 1568.25 | 1544.98 | 1568.25 | 1568.25 | 1568.25 | 0 | 20 | 04.45-05.00 | 50.02 | 50.0175 | 1113.16 | 1090.48 | 0 | 8
9 | 541.0669 | 0 | 128.1748 | 15.01 | 0 | 669.2416 | 867.0731 | 1536.3147 | 0 | 0 | 0 | 0 | 0 | 0 | 1536.3147 | 9 | 516.97 | 0 | 150 | 666.97 | 1536.355 | 1547.05 | 1516.29 | 1536.355 | 1536.355 | 1536.3147 | 0 | 21 | 05.00-05.15 | 50.02 |  | 1138.79 |  | 0 | 9
10 | 596.621 | 14.5746 | 102.5398 | 15.02 | 0 | 713.7354 | 796.74 | 1510.4754 | 0 | 0 | 0 | 0 | 0 | 0 | 1510.4754 | 10 | 570.05 | 14 | 120 | 704.05 | 1510.515 | 1517.95 | 1503.48 | 1510.515 | 1510.515 | 1510.4754 | 0 | 22 | 05.15-05.30 | 50.02 |  | 1170.94 |  | 14 | 10
11 | 562.1875 | 14.5746 | 128.1748 | 15.01 | 0 | 704.9368 | 774.5119 | 1479.4487 | 0 | 0 | 0 | 0 | 0 | 0 | 1479.4487 | 11 | 537.15 | 14 | 150 | 701.15 | 1479.4875 | 1494.29 | 1469.68 | 1479.4875 | 1479.4875 | 1479.4487 | 0 | 23 | 05.30-05.45 | 50.01 |  | 1212.34 |  | 14 | 11
12 | 514.148 | 14.5746 | 128.1748 | 15.01 | 0 | 656.8973 | 798.497 | 1455.3943 | 0 | 0 | 0 | 0 | 0 | 0 | 1455.3943 | 12 | 491.25 | 14 | 150 | 655.25 | 1455.4325 | 1465.28 | 1448.78 | 1455.4325 | 1455.4325 | 1455.3943 | 0 | 24 | 05.45-06.00 | 50.01 | 50.015 | 1255.25 | 1194.33 | 14 | 12
13 | 558.8069 | 0 | 93.9948 | 30.01 | 0 | 652.8018 | 779.2057 | 1432.0075 | 0 | 0 | 0 | 0 | 0 | 0 | 1432.0075 | 13 | 533.92 | 0 | 110 | 643.92 | 1432.045 | 1465.63 | 1405.33 | 1432.045 | 1432.045 | 1432.0075 | 0 | 25 | 06.00-06.15 | 50.02 |  | 1316.53 |  | 0 | 13
14 | 554.9973 | 41.6416 | 76.9049 | 30.02 | 0 | 673.5437 | 693.3405 | 1366.8842 | 0 | 0 | 0 | 0 | 0 | 0 | 1366.8842 | 14 | 530.28 | 40 | 90 | 660.28 | 1366.92 | 1363.91 | 1356.03 | 1366.92 | 1366.92 | 1366.8842 | 0 | 26 | 06.15-06.30 | 50.01 |  | 1385.54 |  | 40 | 14
15 | 646.5653 | 41.6416 | 93.9948 | 30.04 | 0 | 782.2017 | 585.0499 | 1367.2517 | 0 | 0 | 0 | 0 | 0 | 0 | 1367.2517 | 15 | 617.77 | 40 | 110 | 767.77 | 1367.2875 | 1378.22 | 1352.97 | 1367.2875 | 1367.2875 | 1367.2517 | 0 | 27 | 06.30-06.45 | 50.01 |  | 1471.05 |  | 40 | 15
16 | 679.0731 | 41.6416 | 111.0848 | 25.03 | 0 | 831.7995 | 537.0971 | 1368.8966 | 0 | 0 | 0 | 0 | 0 | 0 | 1368.8966 | 16 | 648.83 | 40 | 130 | 818.83 | 1368.9325 | 1386.5 | 1355.54 | 1368.9325 | 1368.9325 | 1368.8966 | 0 | 28 | 06.45-07.00 | 50.02 | 50.015 | 1533.34 | 1426.615 | 40 | 16
17 | 664.4519 | 14.5746 | 153.8097 | 25.01 | 0 | 832.8362 | 565.5671 | 1398.4033 | 0 | 0 | 0 | 0 | 0 | 0 | 1398.4033 | 17 | 634.86 | 14 | 180 | 828.86 | 1398.44 | 1405.33 | 1389.06 | 1398.44 | 1398.44 | 1398.4033 | 0 | 29 | 07.00-07.15 | 50.05 |  | 1544.98 |  | 14 | 17
18 | 576.4109 | 14.5746 | 170.8997 | 25.02 | 20.4 | 782.2852 | 590.6713 | 1372.9565 | 0 | 0 | 0 | 0 | 0 | 0 | 1372.9565 | 18 | 550.74 | 14 | 200 | 764.74 | 1372.9925 | 1387.28 | 1362.03 | 1372.9925 | 1372.9925 | 1372.9565 | 0 | 30 | 07.15-07.30 | 50.03 |  | 1564.82 |  | 14 | 18
19 | 554.4112 | 14.5746 | 153.8097 | 25.07 | 87 | 809.7955 | 665.4009 | 1475.1963 | 0 | 0 | 0 | 0 | 0 | 0 | 1475.1963 | 19 | 529.72 | 14 | 180 | 723.72 | 1475.235 | 1514.17 | 1404.45 | 1475.235 | 1475.235 | 1475.1963 | 0 | 31 | 07.30-07.45 | 50.06 |  | 1566.01 |  | 14 | 19
20 | 738.8765 | 94.6305 | 145.2648 | 101.05 | 88.8 | 1067.5717 | 368.1232 | 1435.6949 | 0 | 0 | 0 | 0 | 0 | 0 | 1435.6949 | 20 | 705.97 | 90.9 | 170 | 966.87 | 1435.7325 | 1463.42 | 1398 | 1435.7325 | 1435.7325 | 1435.6949 | 0 | 32 | 07.45-08.00 | 50.06 | 50.05 | 1568.25 | 1561.015 | 90.9 | 20
21 | 725.6892 | 94.7346 | 145.2648 | 101.04 | 88.8 | 1054.4885 | 282.8639 | 1337.3524 | 0 | 0 | 0 | 0 | 0 | 0 | 1337.3524 | 21 | 693.37 | 91 | 170 | 954.37 | 1337.3875 | 1369.48 | 1313.88 | 1337.3875 | 1337.3875 | 1337.3524 | 0 | 33 | 08.00-08.15 | 50.03 |  | 1547.05 |  | 91 | 21
22 | 703.2707 | 94.7346 | 170.8997 | 101.04 | 88.8 | 1057.705 | 207.8268 | 1265.5318 | 0 | 0 | 0 | 0 | 0 | 0 | 1265.5318 | 22 | 671.95 | 91 | 200 | 962.95 | 1265.565 | 1295.98 | 1244.34 | 1265.565 | 1265.565 | 1265.5318 | 0 | 34 | 08.15-08.30 | 50.03 |  | 1545.26 |  | 91 | 22
23 | 524.6351 | 69.7496 | 93.9948 | 30.04 | 88.8 | 777.1795 | 456.4081 | 1233.5877 | 0 | 0 | 0 | 0 | 0 | 0 | 1233.5877 | 23 | 501.27 | 67 | 110 | 678.27 | 1233.62 | 1255.22 | 1200.83 | 1233.62 | 1233.62 | 1233.5877 | 0 | 35 | 08.30-08.45 | 50.06 |  | 1536.82 |  | 67 | 23
24 | 545.337 | 18.7387 | 85.4499 | 30.03 | 85.1 | 734.6256 | 438.8611 | 1173.4867 | 0 | 0 | 0 | 0 | 0 | 0 | 1173.4867 | 24 | 521.05 | 18 | 100 | 639.05 | 1173.5175 | 1192.37 | 1154.21 | 1173.5175 | 1173.5175 | 1173.4867 | 0 | 36 | 08.45-09.00 | 50.08 | 50.05 | 1516.29 | 1536.355 | 18 | 24
[16 empty] | 12: 37 | 09.00-09.15 | 50.07 |  | 1505.76
TOTAL (in MWh) | 13949.8585 | 584.96 | 2982.2 | 733.7 | 837.2 | 18354.2185 | 13499.8181 | 31854.0366 | 0 | 0 | 0 | 0 | 0 | 0 | 31854.0366 | TOTAL | 13328.59 | 561.9 | 3490 | 17380.49 | 31853.9675 |  |  | 31854.8025 | 31854.8025 | 31854.0366 | 0 | 38 | 09.15-09.30 | 50.02 |  | 1517.95
[16 empty] | 12: 39 | 09.30-09.45 | 50.02 |  | 1514.87
[16 empty] | 12: 40 | 09.45-10.00 | 50.03 | 50.035 | 1503.48 | 1510.515
|  |  | Hourly Average Frequency (Fr) | [7 empty] | 50.0064 | HZ |  |  |  | 1: Note :- Please don't edit these figures.; 12: 41 | 10.00-10.15 | 50 |  | 1494.29
|  |  | Demand met for the day | [7 empty] | 1568.25 | MW |  |  |  | 12: 42 | 10.15-10.30 | 49.93 |  | 1482.59
|  |  | Unrestricted Demand for the day | [7 empty] | 1568.25 | MW |  |  |  | 1: MAX =; 2: 1568.25; 12: 43 | 10.30-10.45 | 49.96 |  | 1471.39
|  |  | Minimum Demand(Unrestricted) for the day | [7 empty] | 1069.51 | MW | Aux. | Net gen. |  | 1: MIN =; 2: 1069.51; 12: 44 | 10.45-11.00 | 50 | 49.9725 | 1469.68 | 1479.4875
|  |  | Gross own generation | [7 empty] | 13949.8585 | MWH | 31.983 | 13917.8755 |  | 12: 45 | 11.00-11.15 | 49.96 |  | 1465.28
|  |  | Gross Baspa generation | [7 empty] | 2982.2 | MWH | 6.64 | 2975.56 |  | 12: 46 | 11.15-11.30 | 49.97 |  | 1448.78
|  |  | Gross Malana generation | [7 empty] | 584.96 | MWH | 7.949 | 577.011 |  | 12: 47 | 11.30-11.45 | 49.96 |  | 1449.59
|  |  | Malana generation at 0300 Hrs. | [7 empty] | 0 | MW |  |  |  | 12: 48 | 11.45-12.00 | 49.95 | 49.96 | 1458.08 | 1455.4325
|  |  | Malana generation at 2400 Hrs. | [7 empty] | 18 | MW |  |  |  | 12: 49 | 12.00-12.15 | 49.99 |  | 1465.63
|  |  | Max.generation of Malana at 2100 Hrs. | [7 empty] | 91 | MW |  |  |  | 12: 50 | 12.15-12.30 | 49.84 |  | 1436.35
[9 empty] | Off Peak Hrs MW |  | Peak Hrs MW |  | Gross Lus | Net Lus
|  |  | Total Own Generation | [5 empty] | 475.8763 |  | 1033.8663 |  | 139.4986 | 139.1788 |  | 12: 51 | 12.30-12.45 | 49.81 |  | 1420.87
|  |  | Above 25 MW | [5 empty] | 207.5517 |  | 323.2508 |  | 52.674 | 52.403 |  | 12: 52 | 12.45-13.00 | 50.01 | 49.9125 | 1405.33 | 1432.045
|  |  | Below 25 MW(Small Hydro <25 MW) | [5 empty] | 268.3245 |  | 710.6155 |  | 86.8246 | 86.7758 |  | 12: 53 | 13.00-13.15 | 50.08 |  | 1383.9
[16 empty] | 12: 54 | 13.15-13.30 | 50.06 |  | 1363.91
[16 empty] | 12: 55 | 13.30-13.45 | 50.02 |  | 1356.03
[16 empty] | 12: 56 | 13.45-14.00 | 50.04 | 50.05 | 1363.84 | 1366.92
[16 empty] | 12: 57 | 14.00-14.15 | 50 |  | 1359.77
[16 empty] | 12: 58 | 14.15-14.30 | 49.99 |  | 1352.97
[16 empty] | 12: 59 | 14.30-14.45 | 50.04 |  | 1378.19
[16 empty] | 12: 60 | 14.45-15.00 | 50.06 | 50.0225 | 1378.22 | 1367.2875
[16 empty] | 12: 61 | 15.00-15.15 | 50.02 |  | 1361.52
[16 empty] | 12: 62 | 15.15-15.30 | 49.99 |  | 1355.54
[16 empty] | 12: 63 | 15.30-15.45 | 50 |  | 1372.17
[16 empty] | 12: 64 | 15.45-16.00 | 50.01 | 50.005 | 1386.5 | 1368.9325
[16 empty] | 12: 65 | 16.00-16.15 | 50.02 |  | 1389.06
[16 empty] | 12: 66 | 16.15-16.30 | 50.01 |  | 1404.51
[16 empty] | 12: 67 | 16.30-16.45 | 50 |  | 1394.86
[16 empty] | 12: 68 | 16.45-17.00 | 49.96 | 49.9975 | 1405.33 | 1398.44
[16 empty] | 12: 69 | 17.00-17.15 | 50.03 |  | 1387.28
[16 empty] | 12: 70 | 17.15-17.30 | 50.02 |  | 1379.69
[16 empty] | 12: 71 | 17.30-17.45 | 49.99 |  | 1362.97
[16 empty] | 12: 72 | 17.45-18.00 | 49.94 | 49.995 | 1362.03 | 1372.9925
[16 empty] | 12: 73 | 18.00-18.15 | 49.96 |  | 1404.45
[16 empty] | 12: 74 | 18.15-18.30 | 49.93 |  | 1484.33
[16 empty] | 12: 75 | 18.30-18.45 | 49.97 |  | 1514.17
[16 empty] | 12: 76 | 18.45-19.00 | 50.01 | 49.9675 | 1497.99 | 1475.235
[16 empty] | 12: 77 | 19.00-19.15 | 50.05 |  | 1463.42
[16 empty] | 12: 78 | 19.15-19.30 | 50.05 |  | 1453.06
[16 empty] | 12: 79 | 19.30-19.45 | 50.05 |  | 1428.45
[16 empty] | 12: 80 | 19.45-20.00 | 50.06 | 50.0525 | 1398 | 1435.7325
[16 empty] | 12: 81 | 20.00-20.15 | 50.05 |  | 1369.48
[16 empty] | 12: 82 | 20.15-20.30 | 49.98 |  | 1335.21
[16 empty] | 12: 83 | 20.30-20.45 | 50.02 |  | 1330.98
[16 empty] | 12: 84 | 20.45-21.00 | 50.04 | 50.0225 | 1313.88 | 1337.3875
[16 empty] | 12: 85 | 21.00-21.15 | 50 |  | 1295.98
[16 empty] | 12: 86 | 21.15-21.30 | 50.01 |  | 1271.41
[16 empty] | 12: 87 | 21.30-21.45 | 50 |  | 1250.53
[16 empty] | 12: 88 | 21.45-22.00 | 50.01 | 50.005 | 1244.34 | 1265.565
[16 empty] | 12: 89 | 22.00-22.15 | 50 |  | 1246.18
[16 empty] | 12: 90 | 22.15-22.30 | 50.02 |  | 1255.22
[16 empty] | 12: 91 | 22.30-22.45 | 49.99 |  | 1232.25
[16 empty] | 12: 92 | 22.45-23.00 | 50 | 50.0025 | 1200.83 | 1233.62
[16 empty] | 12: 93 | 23.00-23.15 | 50 |  | 1192.37
[16 empty] | 12: 94 | 23.15-23.30 | 50 |  | 1176.85
[16 empty] | 12: 95 | 23.30-23.45 | 50.02 |  | 1170.64
[16 empty] | 12: 96 | 23.45-24.00 | 50.04 | 50.015 | 1154.21 | 1173.5175
[29 empty] | Total | 50.0064 | 50.0064 | 31853.9675 | 31853.9675
[29 empty] | max | 1568.25 |  | avg. max | 1561.015
[29 empty] | min | 1069.51 |  | avg. min | 1075.91
Note on AA16: ReportServer: critical formulas…….do not disturb
Note on AB16: ReportServer: critical formulas…….do not disturb
Note on S24: Please don't edit here
Note on G25: Column no. 5 =Sum (2+3+4 Column)
Note on K25: The fig of power cut comes from daily hourly load sheet.