## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2021-10-15
Hiamchal Pradesh State Load Despatch Centre
[12 empty] | DATED | 2021-10-16
FROM | [10 empty] | TO
| POWER CONTROLLER | [10 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [10 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [12 empty] | DEMAND OF STATE |  |  | 28417.185 | MWh
[16 empty] | ACTUAL MALANA GENERATION |  |  | 570.24 | MWh
|  | State:- Himachal Pradesh | [13 empty] | ACTUAL BASPA GENERATION |  |  | 3091.8 | MWh | [7 empty] | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[11 empty] | PEAK DEMAND(MW) |  |  | 1437.27 | [13 empty] | 1 | 00.00-00.15 | 49.95 |  | 1153.1
|  | Month/Day :- |  |  |  | 2021-10-15 |  |  |  |  | Min.DEMAND(MW) |  |  | 958.13 |  | ACTUAL OWN GENERATION |  |  | 13904.896 | MWh | [7 empty] | 2 | 00.15-00.30 | 49.89 |  | 1153.27
[28 empty] | 3 | 00.30-00.45 | 49.83 |  | 1142.87 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [5 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET |  |  | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P6 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 49.99 | 49.915 | 1101.84 | 1137.77 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[10 empty] | DUE TO LOAD SHEDD-ING (MW) | DUE TO SATUTORY CUT (MW) | DUE TO T&D CONS-TRAINTS (MW) | [15 empty] | 5 | 01.00-01.15 | 49.98 |  | 1108.73 |  |  |  | MALANA-2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28.01 | 28.01 | 28.01 | 28.01 | 30.01 | 30.02 | 30.04 | 25.03 | 25.01 | 25.02 | 25.07 | 101.05 | 101.04 | 101.04 | 25.04 | 25.02 | 655.43
[28 empty] | 6 | 01.15-01.30 | 50.01 |  | 1113.48 |  |  |  | SWARA KUDDU | 74 | 40.7 | 40.7 | 37 | 37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.5 | 84.5 | 88.8 | 88.8 | 88.8 | 88.8 | 85.1 | 772.7
[28 empty] | 7 | 01.30-01.45 | 50.02 |  | 1107.67
[28 empty] | 8 | 01.45-02:00 | 50.05 | 50.015 | 1105.82 | 1108.925
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | TOTAL | [10 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50.03 |  | 1096.52 |  | Malana
[8 empty] | 5+6 | [19 empty] | 10 | 02.15-02.30 | 50.05 |  | 1087.49
[8 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P6/1000 | P7 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50.05 |  | 1086.27
1 | 2 | 3 | 4 |  |  | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.03 | 50.04 | 1064.4 | 1083.67
1 | 546.7917 | 0 | 175.1728 | 0 | 74 | 795.9645 | 341.6125 | 1137.5769 | 0 | 0 | 0 | 0 | 0 | 0 | 1137.5769 | 1 | 526.27 | 0 | 200 | 726.27 | 1137.77 | 1153.27 | 1101.84 | 1137.77 | 1137.77 | 1137.5769 | 0 | 13 | 03.00-03.15 | 50.03 |  | 1062.94 |  | 0 | 1
2 | 573.1718 | 0 | 157.6555 | 0 | 40.7 | 771.5273 | 337.2096 | 1108.7368 | 0 | 0 | 0 | 0 | 0 | 0 | 1108.7368 | 2 | 551.66 | 0 | 180 | 731.66 | 1108.925 | 1113.48 | 1105.82 | 1108.925 | 1108.925 | 1108.7368 | 0 | 14 | 03.15-03.30 | 50.03 |  | 1072.8 |  | 0 | 2
3 | 572.7562 | 0 | 87.5864 | 0 | 40.7 | 701.0426 | 382.4436 | 1083.4861 | 0 | 0 | 0 | 0 | 0 | 0 | 1083.4861 | 3 | 551.26 | 0 | 100 | 651.26 | 1083.67 | 1096.52 | 1064.4 | 1083.67 | 1083.67 | 1083.4861 | 0 | 15 | 03.30-03.45 | 50.04 |  | 1087.95 |  | 0 | 3
4 | 517.2739 | 0 | 105.1037 | 0 | 37 | 659.3775 | 416.9123 | 1076.2898 | 0 | 0 | 0 | 0 | 0 | 0 | 1076.2898 | 4 | 497.86 | 0 | 120 | 617.86 | 1076.4725 | 1087.95 | 1062.94 | 1076.4725 | 1076.4725 | 1076.2898 | 0 | 16 | 03.45-04.00 | 50.03 | 50.0325 | 1082.2 | 1076.4725 | 0 | 4
5 | 501.4811 | 0 | 96.345 | 0 | 37 | 634.8262 | 447.7326 | 1082.5588 | 0 | 0 | 0 | 0 | 0 | 0 | 1082.5588 | 5 | 482.66 | 0 | 110 | 592.66 | 1082.7425 | 1091 | 1075.51 | 1082.7425 | 1082.7425 | 1082.5588 | 0 | 17 | 04.00-04.15 | 50.03 |  | 1077.03 |  | 0 | 5
6 | 506.4683 | 0 | 140.1382 | 0 | 0 | 646.6066 | 504.1732 | 1150.7797 | 0 | 0 | 0 | 0 | 0 | 0 | 1150.7797 | 6 | 487.46 | 0 | 160 | 647.46 | 1150.975 | 1199.26 | 1100.7 | 1150.975 | 1150.975 | 1150.7797 | 0 | 18 | 04.15-04.30 | 50.03 |  | 1075.51 |  | 0 | 6
7 | 539.7057 | 0 | 157.6555 | 0 | 0 | 697.3613 | 619.4803 | 1316.8415 | 0 | 0 | 0 | 0 | 0 | 0 | 1316.8415 | 7 | 519.45 | 0 | 180 | 699.45 | 1317.065 | 1383.07 | 1240.48 | 1317.065 | 1317.065 | 1316.8415 | 0 | 19 | 04.30-04.45 | 50.03 |  | 1087.43 |  | 0 | 7
8 | 543.4461 | 0 | 192.6901 | 0 | 0 | 736.1362 | 701.1338 | 1437.27 | 0 | 0 | 0 | 0 | 0 | 0 | 1437.27 | 8 | 523.05 | 0 | 220 | 743.05 | 1422.09 | 1437.27 | 1399.8 | 1437.27 | 1437.27 | 1437.27 | 0 | 20 | 04.45-05.00 | 50.01 | 50.025 | 1091 | 1082.7425 | 0 | 8
9 | 546.7709 | 0 | 87.5864 | 28.01 | 0 | 634.3573 | 770.9992 | 1405.3565 | 0 | 0 | 0 | 0 | 0 | 0 | 1405.3565 | 9 | 526.25 | 0 | 100 | 626.25 | 1405.595 | 1419.86 | 1387.15 | 1405.595 | 1405.595 | 1405.3565 | 0 | 21 | 05.00-05.15 | 49.99 |  | 1100.7 |  | 0 | 9
10 | 562.7714 | 14.5975 | 87.5864 | 28.01 | 0 | 664.9553 | 710.5563 | 1375.5116 | 0 | 0 | 0 | 0 | 0 | 0 | 1375.5116 | 10 | 541.65 | 14 | 100 | 655.65 | 1375.745 | 1383.8 | 1369.85 | 1375.745 | 1375.745 | 1375.5116 | 0 | 22 | 05.15-05.30 | 50 |  | 1137.69 |  | 14 | 10
11 | 560.07 | 14.5975 | 87.5864 | 28.01 | 0 | 662.2539 | 676.1289 | 1338.3829 | 0 | 0 | 0 | 0 | 0 | 0 | 1338.3829 | 11 | 539.05 | 14 | 100 | 653.05 | 1338.61 | 1371.52 | 1304.88 | 1338.61 | 1338.61 | 1338.3829 | 0 | 23 | 05.30-05.45 | 50.01 |  | 1166.25 |  | 14 | 11
12 | 512.0685 | 14.5975 | 122.621 | 28.01 | 0 | 649.2869 | 624.9818 | 1274.2688 | 0 | 0 | 0 | 0 | 0 | 0 | 1274.2688 | 12 | 492.85 | 14 | 140 | 646.85 | 1274.485 | 1295.71 | 1258.15 | 1274.485 | 1274.485 | 1274.2688 | 0 | 24 | 05.45-06.00 | 50.04 | 50.01 | 1199.26 | 1150.975 | 14 | 12
13 | 554.74 | 0 | 96.345 | 30.01 | 0 | 651.085 | 592.2665 | 1243.3515 | 0 | 0 | 0 | 0 | 0 | 0 | 1243.3515 | 13 | 533.92 | 0 | 110 | 643.92 | 1243.5625 | 1251.07 | 1228.83 | 1243.5625 | 1243.5625 | 1243.3515 | 0 | 25 | 06.00-06.15 | 50.05 |  | 1240.48 |  | 0 | 13
14 | 550.9581 | 41.7071 | 78.8278 | 30.02 | 0 | 671.4929 | 519.1101 | 1190.603 | 0 | 0 | 0 | 0 | 0 | 0 | 1190.603 | 14 | 530.28 | 40 | 90 | 660.28 | 1190.805 | 1191.63 | 1180.51 | 1190.805 | 1190.805 | 1190.603 | 0 | 26 | 06.15-06.30 | 49.97 |  | 1288.47 |  | 40 | 14
15 | 641.8597 | 41.7071 | 96.345 | 30.04 | 0 | 779.9118 | 372.0202 | 1151.932 | 0 | 0 | 0 | 0 | 0 | 0 | 1151.932 | 15 | 617.77 | 40 | 110 | 767.77 | 1152.1275 | 1159.43 | 1147.66 | 1152.1275 | 1152.1275 | 1151.932 | 0 | 27 | 06.30-06.45 | 50.01 |  | 1356.24 |  | 40 | 15
16 | 674.1309 | 41.7071 | 113.8623 | 25.03 | 0 | 829.7003 | 303.2875 | 1132.9877 | 0 | 0 | 0 | 0 | 0 | 0 | 1132.9877 | 16 | 648.83 | 40 | 130 | 818.83 | 1133.18 | 1145.1 | 1122.4 | 1133.18 | 1133.18 | 1132.9877 | 0 | 28 | 06.45-07.00 | 50.04 | 50.0175 | 1383.07 | 1317.065 | 40 | 16
17 | 659.6161 | 14.5975 | 157.6555 | 25.01 | 0 | 831.8691 | 258.3784 | 1090.2475 | 0 | 0 | 0 | 0 | 0 | 0 | 1090.2475 | 17 | 634.86 | 14 | 180 | 828.86 | 1090.4325 | 1106.91 | 1076.46 | 1090.4325 | 1090.4325 | 1090.2475 | 0 | 29 | 07.00-07.15 | 50.04 |  | 1399.8 |  | 14 | 17
18 | 572.2159 | 14.5975 | 175.1728 | 25.02 | 18.5 | 780.4862 | 302.1276 | 1082.6138 | 0 | 0 | 0 | 0 | 0 | 0 | 1082.6138 | 18 | 550.74 | 14 | 200 | 764.74 | 1082.7975 | 1119.15 | 1063.52 | 1082.7975 | 1082.7975 | 1082.6138 | 0 | 30 | 07.15-07.30 | 50.08 |  | 1419.66 |  | 14 | 18
19 | 550.3762 | 14.5975 | 157.6555 | 25.07 | 84.5 | 807.1292 | 439.2718 | 1246.401 | 0 | 0 | 0 | 0 | 0 | 0 | 1246.401 | 19 | 529.72 | 14 | 180 | 723.72 | 1246.6125 | 1318.26 | 1152.17 | 1246.6125 | 1246.6125 | 1246.401 | 0 | 31 | 07.30-07.45 | 50.07 |  | 1437.27 |  | 14 | 19
20 | 733.499 | 94.7793 | 148.8969 | 101.05 | 88.8 | 1065.9752 | 181.4356 | 1247.4108 | 0 | 0 | 0 | 0 | 0 | 0 | 1247.4108 | 20 | 705.97 | 90.9 | 170 | 966.87 | 1247.6225 | 1288.41 | 1206.94 | 1247.6225 | 1247.6225 | 1247.4108 | 0 | 32 | 07.45-08.00 | 50.04 | 50.0575 | 1431.63 | 1422.09 | 90.9 | 20
21 | 720.4077 | 94.8836 | 148.8969 | 101.04 | 88.8 | 1052.9882 | 105.8327 | 1158.8208 | 0 | 0 | 0 | 0 | 0 | 0 | 1158.8208 | 21 | 693.37 | 91 | 170 | 954.37 | 1159.0175 | 1180.93 | 1126.95 | 1159.0175 | 1159.0175 | 1158.8208 | 0 | 33 | 08.00-08.15 | 50.03 |  | 1419.86 |  | 91 | 21
22 | 698.1524 | 94.8836 | 175.1728 | 101.04 | 88.8 | 1057.0088 | 45.1341 | 1102.143 | 0 | 0 | 0 | 0 | 0 | 0 | 1102.143 | 22 | 671.95 | 91 | 200 | 962.95 | 1102.33 | 1120.1 | 1054.53 | 1102.33 | 1102.33 | 1102.143 | 0 | 34 | 08.15-08.30 | 50.07 |  | 1416.91 |  | 91 | 22
23 | 537.2433 | 36.4937 | 122.621 | 25.04 | 88.8 | 785.158 | 240.7329 | 1025.8909 | 0 | 0 | 0 | 0 | 0 | 0 | 1025.8909 | 23 | 517.08 | 35 | 140 | 692.08 | 1026.065 | 1048.47 | 1007.99 | 1026.065 | 1026.065 | 1025.8909 | 0 | 35 | 08.30-08.45 | 50.05 |  | 1398.46 |  | 35 | 23
24 | 528.921 | 36.4937 | 122.621 | 25.02 | 85.1 | 773.1356 | 184.9944 | 958.13 | 0 | 0 | 0 | 0 | 0 | 0 | 958.13 | 24 | 509.07 | 35 | 140 | 684.07 | 968.4875 | 984.42 | 958.13 | 958.13 | 958.13 | 958.13 | 0 | 36 | 08.45-09.00 | 50.07 | 50.055 | 1387.15 | 1405.595 | 35 | 24
[16 empty] | 12: 37 | 09.00-09.15 | 50.04 |  | 1377.39
TOTAL (in MWh) | 13904.896 | 570.24 | 3091.8 | 655.43 | 772.7 | 18339.636 | 10077.9554 | 28417.5914 | 0 | 0 | 0 | 0 | 0 | 0 | 28417.5914 | TOTAL | 13383.03 | 546.9 | 3530 | 17459.93 | 28417.185 |  |  | 28422.0075 | 28422.0075 | 28417.5914 | 0 | 38 | 09.15-09.30 | 50.02 |  | 1383.8
[16 empty] | 12: 39 | 09.30-09.45 | 49.98 |  | 1369.85
[16 empty] | 12: 40 | 09.45-10.00 | 49.95 | 49.9975 | 1371.94 | 1375.745
|  |  | Hourly Average Frequency (Fr) | [7 empty] | 50.0072 | HZ |  |  |  | 1: Note :- Please don't edit these figures.; 12: 41 | 10.00-10.15 | 49.87 |  | 1371.52
|  |  | Demand met for the day | [7 empty] | 1437.27 | MW |  |  |  | 12: 42 | 10.15-10.30 | 49.95 |  | 1351.42
|  |  | Unrestricted Demand for the day | [7 empty] | 1437.27 | MW |  |  |  | 1: MAX =; 2: 1437.27; 12: 43 | 10.30-10.45 | 49.99 |  | 1326.62
|  |  | Minimum Demand(Unrestricted) for the day | [7 empty] | 958.13 | MW | Aux. | Net gen. |  | 1: MIN =; 2: 958.13; 12: 44 | 10.45-11.00 | 50.02 | 49.9575 | 1304.88 | 1338.61
|  |  | Gross own generation | [7 empty] | 13904.896 | MWH | 29.234 | 13875.662 |  | 12: 45 | 11.00-11.15 | 50.05 |  | 1295.71
|  |  | Gross Baspa generation | [7 empty] | 3091.8 | MWH | 6.9 | 3084.9 |  | 12: 46 | 11.15-11.30 | 50.02 |  | 1283.18
|  |  | Gross Malana generation | [7 empty] | 570.24 | MWH | 8.579 | 561.661 |  | 12: 47 | 11.30-11.45 | 50.02 |  | 1258.15
|  |  | Malana generation at 0300 Hrs. | [7 empty] | 0 | MW |  |  |  | 12: 48 | 11.45-12.00 | 50.04 | 50.0325 | 1260.9 | 1274.485
|  |  | Malana generation at 2400 Hrs. | [7 empty] | 35 | MW |  |  |  | 12: 49 | 12.00-12.15 | 50.01 |  | 1250.35
|  |  | Max.generation of Malana at 2100 Hrs. | [7 empty] | 91 | MW |  |  |  | 12: 50 | 12.15-12.30 | 50.02 |  | 1251.07
[9 empty] | Off Peak Hrs MW |  | Peak Hrs MW |  | Gross Lus | Net Lus
|  |  | Total Own Generation | [5 empty] | 416.7012 |  | 1052.4845 |  | 139.049 | 138.7566 |  | 12: 51 | 12.30-12.45 | 50.03 |  | 1244
|  |  | Above 25 MW | [5 empty] | 240.0969 |  | 325.4647 |  | 53.7283 | 53.4868 |  | 12: 52 | 12.45-13.00 | 50.05 | 50.0275 | 1228.83 | 1243.5625
|  |  | Below 25 MW(Small Hydro <25 MW) | [5 empty] | 176.6043 |  | 727.0198 |  | 85.3206 | 85.2699 |  | 12: 53 | 13.00-13.15 | 50.04 |  | 1201.83
[16 empty] | 12: 54 | 13.15-13.30 | 50.02 |  | 1189.25
[16 empty] | 12: 55 | 13.30-13.45 | 50.02 |  | 1191.63
[16 empty] | 12: 56 | 13.45-14.00 | 50.04 | 50.03 | 1180.51 | 1190.805
[16 empty] | 12: 57 | 14.00-14.15 | 50.03 |  | 1159.43
[16 empty] | 12: 58 | 14.15-14.30 | 50.04 |  | 1152.93
[16 empty] | 12: 59 | 14.30-14.45 | 50.01 |  | 1147.66
[16 empty] | 12: 60 | 14.45-15.00 | 50.02 | 50.025 | 1148.49 | 1152.1275
[16 empty] | 12: 61 | 15.00-15.15 | 50.06 |  | 1145.1
[16 empty] | 12: 62 | 15.15-15.30 | 50.02 |  | 1134.06
[16 empty] | 12: 63 | 15.30-15.45 | 50.03 |  | 1131.16
[16 empty] | 12: 64 | 15.45-16.00 | 50.03 | 50.035 | 1122.4 | 1133.18
[16 empty] | 12: 65 | 16.00-16.15 | 50.07 |  | 1106.91
[16 empty] | 12: 66 | 16.15-16.30 | 50.01 |  | 1096.14
[16 empty] | 12: 67 | 16.30-16.45 | 49.99 |  | 1076.46
[16 empty] | 12: 68 | 16.45-17.00 | 50 | 50.0175 | 1082.22 | 1090.4325
[16 empty] | 12: 69 | 17.00-17.15 | 49.99 |  | 1063.52
[16 empty] | 12: 70 | 17.15-17.30 | 50.01 |  | 1065.34
[16 empty] | 12: 71 | 17.30-17.45 | 50.03 |  | 1083.18
[16 empty] | 12: 72 | 17.45-18.00 | 50.05 | 50.02 | 1119.15 | 1082.7975
[16 empty] | 12: 73 | 18.00-18.15 | 50.06 |  | 1152.17
[16 empty] | 12: 74 | 18.15-18.30 | 50.02 |  | 1229.67
[16 empty] | 12: 75 | 18.30-18.45 | 50.06 |  | 1286.35
[16 empty] | 12: 76 | 18.45-19.00 | 50.05 | 50.0475 | 1318.26 | 1246.6125
[16 empty] | 12: 77 | 19.00-19.15 | 50.04 |  | 1288.41
[16 empty] | 12: 78 | 19.15-19.30 | 49.99 |  | 1255.26
[16 empty] | 12: 79 | 19.30-19.45 | 49.99 |  | 1239.88
[16 empty] | 12: 80 | 19.45-20.00 | 49.95 | 49.9925 | 1206.94 | 1247.6225
[16 empty] | 12: 81 | 20.00-20.15 | 49.96 |  | 1179.28
[16 empty] | 12: 82 | 20.15-20.30 | 49.93 |  | 1180.93
[16 empty] | 12: 83 | 20.30-20.45 | 49.88 |  | 1148.91
[16 empty] | 12: 84 | 20.45-21.00 | 49.91 | 49.92 | 1126.95 | 1159.0175
[16 empty] | 12: 85 | 21.00-21.15 | 49.98 |  | 1120.1
[16 empty] | 12: 86 | 21.15-21.30 | 50.02 |  | 1116.63
[16 empty] | 12: 87 | 21.30-21.45 | 50.04 |  | 1118.06
[16 empty] | 12: 88 | 21.45-22.00 | 50.04 | 50.02 | 1054.53 | 1102.33
[16 empty] | 12: 89 | 22.00-22.15 | 50.01 |  | 1048.47
[16 empty] | 12: 90 | 22.15-22.30 | 50.01 |  | 1028.57
[16 empty] | 12: 91 | 22.30-22.45 | 49.94 |  | 1019.23
[16 empty] | 12: 92 | 22.45-23.00 | 49.9 | 49.965 | 1007.99 | 1026.065
[16 empty] | 12: 93 | 23.00-23.15 | 49.86 |  | 984.42
[16 empty] | 12: 94 | 23.15-23.30 | 49.86 |  | 961.39
[16 empty] | 12: 95 | 23.30-23.45 | 49.97 |  | 970.01
[16 empty] | 12: 96 | 23.45-24.00 | 49.98 | 49.9175 | 958.13 | 968.4875
[29 empty] | Total | 50.0072 | 50.0072 | 28417.185 | 28417.185
[29 empty] | max | 1437.27 |  | avg. max | 1422.09
[29 empty] | min | 958.13 |  | avg. min | 968.4875
Note on AA16: ReportServer: critical formulas…….do not disturb
Note on AB16: ReportServer: critical formulas…….do not disturb
Note on S24: Please don't edit here
Note on G25: Column no. 5 =Sum (2+3+4 Column)
Note on K25: The fig of power cut comes from daily hourly load sheet.