## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2021-10-17
Hiamchal Pradesh State Load Despatch Centre
[12 empty] | DATED | 2021-10-18
FROM | [10 empty] | TO
| POWER CONTROLLER | [10 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [10 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [12 empty] | DEMAND OF STATE |  |  | 29418.7225 | MWh
[16 empty] | ACTUAL MALANA GENERATION |  |  | 746 | MWh
|  | State:- Himachal Pradesh | [13 empty] | ACTUAL BASPA GENERATION |  |  | 2860.2 | MWh | [7 empty] | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[11 empty] | PEAK DEMAND(MW) |  |  | 1512.41 | [13 empty] | 1 | 00.00-00.15 | 49.94 |  | 1108.14
|  | Month/Day :- |  |  |  | 2021-10-17 |  |  |  |  | Min.DEMAND(MW) |  |  | 974.48 |  | ACTUAL OWN GENERATION |  |  | 13874.605 | MWh | [7 empty] | 2 | 00.15-00.30 | 49.9 |  | 1105.04
[28 empty] | 3 | 00.30-00.45 | 50 |  | 1098.69 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [5 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET |  |  | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P6 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 49.99 | 49.9575 | 1098.25 | 1102.53 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[10 empty] | DUE TO LOAD SHEDD-ING (MW) | DUE TO SATUTORY CUT (MW) | DUE TO T&D CONS-TRAINTS (MW) | [15 empty] | 5 | 01.00-01.15 | 49.99 |  | 1094.99 |  |  |  | MALANA-2 | 0 | 0 | 0 | 0 | 0 | 35.01 | 35.01 | 35.01 | 35.01 | 35.01 | 35.01 | 35.01 | 30.01 | 30.02 | 30.04 | 25.03 | 25.01 | 25.02 | 25.07 | 101.05 | 101.04 | 101.04 | 25.04 | 25.02 | 788.46
[28 empty] | 6 | 01.15-01.30 | 49.99 |  | 1081.63 |  |  |  | SWARA KUDDU | 74 | 74 | 37 | 37 | 37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.5 | 37 | 37 | 37 | 85.1 | 88.8 | 88.8 | 88.8 | 81.4 | 74 | 895.4
[28 empty] | 7 | 01.30-01.45 | 50 |  | 1052.38
[28 empty] | 8 | 01.45-02:00 | 50.03 | 50.0025 | 1039.95 | 1067.2375
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | TOTAL | [10 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50.01 |  | 1045.85 |  | Malana
[8 empty] | 5+6 | [19 empty] | 10 | 02.15-02.30 | 49.98 |  | 1046.33
[8 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P6/1000 | P7 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50.01 |  | 1059.12
1 | 2 | 3 | 4 |  |  | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.01 | 50.0025 | 1037.63 | 1047.2325
1 | 493.3855 | 20.4692 | 90.2271 | 0 | 74 | 678.0818 | 424.2275 | 1102.3093 | 0 | 0 | 0 | 0 | 0 | 0 | 1102.3093 | 1 | 472.5 | 20 | 100 | 592.5 | 1102.53 | 1108.14 | 1098.25 | 1102.53 | 1102.53 | 1102.3093 | 0 | 13 | 03.00-03.15 | 50.01 |  | 1043.19 |  | 20 | 1
2 | 541.1055 | 20.4692 | 54.1363 | 0 | 74 | 689.711 | 377.3129 | 1067.0239 | 0 | 0 | 0 | 0 | 0 | 0 | 1067.0239 | 2 | 518.2 | 20 | 60 | 598.2 | 1067.2375 | 1094.99 | 1039.95 | 1067.2375 | 1067.2375 | 1067.0239 | 0 | 14 | 03.15-03.30 | 50.02 |  | 1028.12 |  | 20 | 2
3 | 533.1696 | 0 | 81.2044 | 0 | 37 | 651.374 | 395.6489 | 1047.0229 | 0 | 0 | 0 | 0 | 0 | 0 | 1047.0229 | 3 | 510.6 | 0 | 90 | 600.6 | 1047.2325 | 1059.12 | 1037.63 | 1047.2325 | 1047.2325 | 1047.0229 | 0 | 15 | 03.30-03.45 | 50.01 |  | 1022.24 |  | 0 | 3
4 | 553.8448 | 0 | 135.3407 | 0 | 37 | 726.1855 | 309.4747 | 1035.6601 | 0 | 0 | 0 | 0 | 0 | 0 | 1035.6601 | 4 | 530.4 | 0 | 150 | 680.4 | 1035.8675 | 1049.92 | 1022.24 | 1035.8675 | 1035.8675 | 1035.6601 | 0 | 16 | 03.45-04.00 | 50.03 | 50.0175 | 1049.92 | 1035.8675 | 0 | 4
5 | 516.2535 | 0 | 108.2726 | 0 | 37 | 661.526 | 415.6358 | 1077.1618 | 0 | 0 | 0 | 0 | 0 | 0 | 1077.1618 | 5 | 494.4 | 0 | 120 | 614.4 | 1077.3775 | 1094.35 | 1059.25 | 1077.3775 | 1077.3775 | 1077.1618 | 0 | 17 | 04.00-04.15 | 50.02 |  | 1059.25 |  | 0 | 5
6 | 519.0728 | 0 | 126.318 | 35.01 | 0 | 645.3908 | 513.1597 | 1158.5505 | 0 | 0 | 0 | 0 | 0 | 0 | 1158.5505 | 6 | 497.1 | 0 | 140 | 637.1 | 1158.7825 | 1206.46 | 1109.49 | 1158.7825 | 1158.7825 | 1158.5505 | 0 | 18 | 04.15-04.30 | 50.06 |  | 1070.96 |  | 0 | 6
7 | 505.2894 | 36.8446 | 54.1363 | 35.01 | 0 | 596.2702 | 715.5372 | 1311.8074 | 0 | 0 | 0 | 0 | 0 | 0 | 1311.8074 | 7 | 483.9 | 36 | 60 | 579.9 | 1312.07 | 1378.29 | 1249.24 | 1312.07 | 1312.07 | 1311.8074 | 0 | 19 | 04.30-04.45 | 50.03 |  | 1084.95 |  | 36 | 7
8 | 528.7839 | 40.9384 | 108.2726 | 35.01 | 0 | 677.9949 | 767.0733 | 1445.0682 | 0 | 0 | 0 | 0 | 0 | 0 | 1445.0682 | 8 | 506.4 | 40 | 120 | 666.4 | 1445.3575 | 1476 | 1403.52 | 1445.3575 | 1445.3575 | 1445.0682 | 0 | 20 | 04.45-05.00 | 50.02 | 50.0325 | 1094.35 | 1077.3775 | 40 | 8
9 | 558.5437 | 42.9853 | 81.2044 | 35.01 | 0 | 682.7334 | 801.6244 | 1484.3578 | 0 | 0 | 0 | 0 | 0 | 0 | 1484.3578 | 9 | 534.9 | 42 | 90 | 666.9 | 1484.655 | 1486.32 | 1482.14 | 1484.655 | 1484.655 | 1484.3578 | 0 | 21 | 05.00-05.15 | 50.02 |  | 1109.49 |  | 42 | 9
10 | 600.8339 | 33.7742 | 198.4997 | 35.01 | 0 | 833.1077 | 679.3023 | 1512.41 | 0 | 0 | 0 | 0 | 0 | 0 | 1512.41 | 10 | 575.4 | 33 | 220 | 828.4 | 1502.955 | 1512.41 | 1494.09 | 1512.41 | 1512.41 | 1512.41 | 0 | 22 | 05.15-05.30 | 50.01 |  | 1144.39 |  | 33 | 10
11 | 567.9519 | 33.7742 | 99.2498 | 35.01 | 0 | 700.976 | 743.1999 | 1444.1759 | 0 | 0 | 0 | 0 | 0 | 0 | 1444.1759 | 11 | 543.91 | 33 | 110 | 686.91 | 1444.465 | 1467.29 | 1423.82 | 1444.465 | 1444.465 | 1444.1759 | 0 | 23 | 05.30-05.45 | 50.02 |  | 1174.79 |  | 33 | 11
12 | 497.0506 | 0 | 81.2044 | 35.01 | 0 | 578.255 | 801.9186 | 1380.1737 | 0 | 0 | 0 | 0 | 0 | 0 | 1380.1737 | 12 | 476.01 | 0 | 90 | 566.01 | 1380.45 | 1399.79 | 1364.78 | 1380.45 | 1380.45 | 1380.1737 | 0 | 24 | 05.45-06.00 | 50.04 | 50.0225 | 1206.46 | 1158.7825 | 0 | 12
13 | 557.5204 | 0 | 99.2498 | 30.01 | 0 | 656.7702 | 685.4836 | 1342.2538 | 0 | 0 | 0 | 0 | 0 | 0 | 1342.2538 | 13 | 533.92 | 0 | 110 | 643.92 | 1342.5225 | 1362.06 | 1321.07 | 1342.5225 | 1342.5225 | 1342.2538 | 0 | 25 | 06.00-06.15 | 50.03 |  | 1249.24 |  | 0 | 13
14 | 553.7195 | 40.9384 | 81.2044 | 30.02 | 0 | 675.8623 | 576.9444 | 1252.8067 | 0 | 0 | 0 | 0 | 0 | 0 | 1252.8067 | 14 | 530.28 | 40 | 90 | 660.28 | 1253.0575 | 1249.97 | 1236.61 | 1253.0575 | 1253.0575 | 1252.8067 | 0 | 26 | 06.15-06.30 | 50.05 |  | 1293.26 |  | 40 | 14
15 | 645.0767 | 40.9384 | 99.2498 | 30.04 | 18.5 | 803.7649 | 416.0833 | 1219.8483 | 0 | 0 | 0 | 0 | 0 | 0 | 1219.8483 | 15 | 617.77 | 40 | 110 | 767.77 | 1220.0925 | 1226.06 | 1216.5 | 1220.0925 | 1220.0925 | 1219.8483 | 0 | 27 | 06.30-06.45 | 50.04 |  | 1327.49 |  | 40 | 15
16 | 677.5096 | 40.9384 | 117.2953 | 25.03 | 37 | 872.7433 | 355.4183 | 1228.1616 | 0 | 0 | 0 | 0 | 0 | 0 | 1228.1616 | 16 | 648.83 | 40 | 130 | 818.83 | 1228.4075 | 1233.6 | 1224.02 | 1228.4075 | 1228.4075 | 1228.1616 | 0 | 28 | 06.45-07.00 | 50.04 | 50.04 | 1378.29 | 1312.07 | 40 | 16
17 | 662.9221 | 14.3284 | 162.4088 | 25.01 | 37 | 876.6594 | 365.5469 | 1242.2063 | 0 | 0 | 0 | 0 | 0 | 0 | 1242.2063 | 17 | 634.86 | 14 | 180 | 828.86 | 1242.455 | 1251.28 | 1236.86 | 1242.455 | 1242.455 | 1242.2063 | 0 | 29 | 07.00-07.15 | 50.03 |  | 1403.52 |  | 14 | 17
18 | 575.0838 | 14.3284 | 180.4543 | 25.02 | 37 | 806.8665 | 460.5097 | 1267.3763 | 0 | 0 | 0 | 0 | 0 | 0 | 1267.3763 | 18 | 550.74 | 14 | 200 | 764.74 | 1267.63 | 1317.62 | 1237.92 | 1267.63 | 1267.63 | 1267.3763 | 0 | 30 | 07.15-07.30 | 50.04 |  | 1439.77 |  | 14 | 18
19 | 553.1347 | 14.3284 | 162.4088 | 25.07 | 85.1 | 814.972 | 518.901 | 1333.8729 | 0 | 0 | 0 | 0 | 0 | 0 | 1333.8729 | 19 | 529.72 | 14 | 180 | 723.72 | 1334.14 | 1361.29 | 1308.58 | 1334.14 | 1334.14 | 1333.8729 | 0 | 31 | 07.30-07.45 | 50.04 |  | 1462.14 |  | 14 | 19
20 | 737.1753 | 93.0325 | 153.3861 | 101.05 | 88.8 | 1072.394 | 177.0784 | 1249.4723 | 0 | 0 | 0 | 0 | 0 | 0 | 1249.4723 | 20 | 705.97 | 90.9 | 170 | 966.87 | 1249.7225 | 1272 | 1215.46 | 1249.7225 | 1249.7225 | 1249.4723 | 0 | 32 | 07.45-08.00 | 50.03 | 50.035 | 1476 | 1445.3575 | 90.9 | 20
21 | 724.0184 | 93.1349 | 153.3861 | 101.04 | 88.8 | 1059.3394 | 97.1391 | 1156.4785 | 0 | 0 | 0 | 0 | 0 | 0 | 1156.4785 | 21 | 693.37 | 91 | 170 | 954.37 | 1156.71 | 1197.87 | 1121.7 | 1156.71 | 1156.71 | 1156.4785 | 0 | 33 | 08.00-08.15 | 49.98 |  | 1485.04 |  | 91 | 21
22 | 701.6516 | 93.1349 | 180.4543 | 101.04 | 88.8 | 1064.0407 | 21.6894 | 1085.7301 | 0 | 0 | 0 | 0 | 0 | 0 | 1085.7301 | 22 | 671.95 | 91 | 200 | 962.95 | 1085.9475 | 1121.31 | 1043.57 | 1085.9475 | 1085.9475 | 1085.7301 | 0 | 34 | 08.15-08.30 | 50 |  | 1485.12 |  | 91 | 22
23 | 539.936 | 35.8211 | 126.318 | 25.04 | 81.4 | 783.4751 | 217.337 | 1000.8121 | 0 | 0 | 0 | 0 | 0 | 0 | 1000.8121 | 23 | 517.08 | 35 | 140 | 692.08 | 1001.0125 | 1011.7 | 981.48 | 1001.0125 | 1001.0125 | 1000.8121 | 0 | 35 | 08.30-08.45 | 49.92 |  | 1482.14 |  | 35 | 23
24 | 531.5719 | 35.8211 | 126.318 | 25.02 | 74 | 767.711 | 206.769 | 974.48 | 0 | 0 | 0 | 0 | 0 | 0 | 974.48 | 24 | 509.07 | 35 | 140 | 684.07 | 978.045 | 979.88 | 974.48 | 974.48 | 974.48 | 974.48 | 0 | 36 | 08.45-09.00 | 49.89 | 49.9475 | 1486.32 | 1484.655 | 35 | 24
[16 empty] | 12: 37 | 09.00-09.15 | 49.94 |  | 1503.51
TOTAL (in MWh) | 13874.605 | 746 | 2860.2 | 788.46 | 895.4 | 18376.205 | 11043.0153 | 29419.2203 | 0 | 0 | 0 | 0 | 0 | 0 | 29419.2203 | TOTAL | 13287.28 | 728.9 | 3170 | 17186.18 | 29418.7225 |  |  | 29424.6125 | 29424.6125 | 29419.2203 | 0 | 38 | 09.15-09.30 | 50.03 |  | 1512.41
[16 empty] | 12: 39 | 09.30-09.45 | 50 |  | 1494.09
[16 empty] | 12: 40 | 09.45-10.00 | 50.04 | 50.0025 | 1501.81 | 1502.955
|  |  | Hourly Average Frequency (Fr) | [7 empty] | 50.0149 | HZ |  |  |  | 1: Note :- Please don't edit these figures.; 12: 41 | 10.00-10.15 | 50.05 |  | 1467.29
|  |  | Demand met for the day | [7 empty] | 1512.41 | MW |  |  |  | 12: 42 | 10.15-10.30 | 50.05 |  | 1423.82
|  |  | Unrestricted Demand for the day | [7 empty] | 1512.41 | MW |  |  |  | 1: MAX =; 2: 1512.41; 12: 43 | 10.30-10.45 | 50.05 |  | 1448.18
|  |  | Minimum Demand(Unrestricted) for the day | [7 empty] | 974.48 | MW | Aux. | Net gen. |  | 1: MIN =; 2: 974.48; 12: 44 | 10.45-11.00 | 50.02 | 50.0425 | 1438.57 | 1444.465
|  |  | Gross own generation | [7 empty] | 13874.605 | MWH | 30.183 | 13844.422 |  | 12: 45 | 11.00-11.15 | 50.04 |  | 1399.79
|  |  | Gross Baspa generation | [7 empty] | 2860.2 | MWH | 6.59 | 2853.61 |  | 12: 46 | 11.15-11.30 | 50.01 |  | 1373.63
|  |  | Gross Malana generation | [7 empty] | 746 | MWH | 9.028 | 736.972 |  | 12: 47 | 11.30-11.45 | 50.01 |  | 1383.6
|  |  | Malana generation at 0300 Hrs. | [7 empty] | 0 | MW |  |  |  | 12: 48 | 11.45-12.00 | 50.05 | 50.0275 | 1364.78 | 1380.45
|  |  | Malana generation at 2400 Hrs. | [7 empty] | 35 | MW |  |  |  | 12: 49 | 12.00-12.15 | 50.04 |  | 1362.06
|  |  | Max.generation of Malana at 2100 Hrs. | [7 empty] | 91 | MW |  |  |  | 12: 50 | 12.15-12.30 | 50.01 |  | 1353.66
[9 empty] | Off Peak Hrs MW |  | Peak Hrs MW |  | Gross Lus | Net Lus
|  |  | Total Own Generation | [5 empty] | 368.7516 |  | 1025.0292 |  | 138.746 | 138.4442 |  | 12: 51 | 12.30-12.45 | 50.02 |  | 1333.3
|  |  | Above 25 MW | [5 empty] | 203.6692 |  | 322.6966 |  | 52.6189 | 52.3667 |  | 12: 52 | 12.45-13.00 | 50.01 | 50.02 | 1321.07 | 1342.5225
|  |  | Below 25 MW(Small Hydro <25 MW) | [5 empty] | 165.0824 |  | 702.3326 |  | 86.1271 | 86.0775 |  | 12: 53 | 13.00-13.15 | 50.09 |  | 1278.12
[16 empty] | 12: 54 | 13.15-13.30 | 50.04 |  | 1247.53
[16 empty] | 12: 55 | 13.30-13.45 | 50.05 |  | 1249.97
[16 empty] | 12: 56 | 13.45-14.00 | 50.03 | 50.0525 | 1236.61 | 1253.0575
[16 empty] | 12: 57 | 14.00-14.15 | 50.07 |  | 1226.06
[16 empty] | 12: 58 | 14.15-14.30 | 50.04 |  | 1219.2
[16 empty] | 12: 59 | 14.30-14.45 | 50.02 |  | 1216.5
[16 empty] | 12: 60 | 14.45-15.00 | 50.01 | 50.035 | 1218.61 | 1220.0925
[16 empty] | 12: 61 | 15.00-15.15 | 50.03 |  | 1227.97
[16 empty] | 12: 62 | 15.15-15.30 | 50.03 |  | 1224.02
[16 empty] | 12: 63 | 15.30-15.45 | 50.02 |  | 1233.6
[16 empty] | 12: 64 | 15.45-16.00 | 49.96 | 50.01 | 1228.04 | 1228.4075
[16 empty] | 12: 65 | 16.00-16.15 | 49.98 |  | 1240.68
[16 empty] | 12: 66 | 16.15-16.30 | 49.88 |  | 1241
[16 empty] | 12: 67 | 16.30-16.45 | 49.86 |  | 1251.28
[16 empty] | 12: 68 | 16.45-17.00 | 49.91 | 49.9075 | 1236.86 | 1242.455
[16 empty] | 12: 69 | 17.00-17.15 | 50.02 |  | 1237.92
[16 empty] | 12: 70 | 17.15-17.30 | 50.01 |  | 1250.03
[16 empty] | 12: 71 | 17.30-17.45 | 49.93 |  | 1264.95
[16 empty] | 12: 72 | 17.45-18.00 | 49.98 | 49.985 | 1317.62 | 1267.63
[16 empty] | 12: 73 | 18.00-18.15 | 50.04 |  | 1346.81
[16 empty] | 12: 74 | 18.15-18.30 | 50.04 |  | 1361.29
[16 empty] | 12: 75 | 18.30-18.45 | 50.06 |  | 1319.88
[16 empty] | 12: 76 | 18.45-19.00 | 50.06 | 50.05 | 1308.58 | 1334.14
[16 empty] | 12: 77 | 19.00-19.15 | 50.1 |  | 1272
[16 empty] | 12: 78 | 19.15-19.30 | 50.06 |  | 1269.18
[16 empty] | 12: 79 | 19.30-19.45 | 50.12 |  | 1242.25
[16 empty] | 12: 80 | 19.45-20.00 | 50.1 | 50.095 | 1215.46 | 1249.7225
[16 empty] | 12: 81 | 20.00-20.15 | 50.07 |  | 1197.87
[16 empty] | 12: 82 | 20.15-20.30 | 50.05 |  | 1171.33
[16 empty] | 12: 83 | 20.30-20.45 | 50.01 |  | 1135.94
[16 empty] | 12: 84 | 20.45-21.00 | 50 | 50.0325 | 1121.7 | 1156.71
[16 empty] | 12: 85 | 21.00-21.15 | 50.02 |  | 1121.31
[16 empty] | 12: 86 | 21.15-21.30 | 50.03 |  | 1097.95
[16 empty] | 12: 87 | 21.30-21.45 | 50 |  | 1080.96
[16 empty] | 12: 88 | 21.45-22.00 | 50.02 | 50.0175 | 1043.57 | 1085.9475
[16 empty] | 12: 89 | 22.00-22.15 | 50.01 |  | 1011.7
[16 empty] | 12: 90 | 22.15-22.30 | 50.01 |  | 1007.52
[16 empty] | 12: 91 | 22.30-22.45 | 50.03 |  | 1003.35
[16 empty] | 12: 92 | 22.45-23.00 | 50.01 | 50.015 | 981.48 | 1001.0125
[16 empty] | 12: 93 | 23.00-23.15 | 50.01 |  | 979.88
[16 empty] | 12: 94 | 23.15-23.30 | 49.99 |  | 978.49
[16 empty] | 12: 95 | 23.30-23.45 | 50 |  | 974.48
[16 empty] | 12: 96 | 23.45-24.00 | 50.03 | 50.0075 | 979.33 | 978.045
[29 empty] | Total | 50.0149 | 50.0149 | 29418.7225 | 29418.7225
[29 empty] | max | 1512.41 |  | avg. max | 1502.955
[29 empty] | min | 974.48 |  | avg. min | 978.045
Note on AA16: ReportServer: critical formulas…….do not disturb
Note on AB16: ReportServer: critical formulas…….do not disturb
Note on S24: Please don't edit here
Note on G25: Column no. 5 =Sum (2+3+4 Column)
Note on K25: The fig of power cut comes from daily hourly load sheet.