## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2021-09-30
Hiamchal Pradesh State Load Despatch Centre
[12 empty] | DATED | 2021-10-01
FROM | [10 empty] | TO
| POWER CONTROLLER | [10 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [10 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [12 empty] | DEMAND OF STATE |  |  | 30109.35 | MWh
[16 empty] | ACTUAL MALANA GENERATION |  |  | 1088.64 | MWh
|  | State:- Himachal Pradesh | [13 empty] | ACTUAL BASPA GENERATION |  |  | 5385.3 | MWh | [7 empty] | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[11 empty] | PEAK DEMAND(MW) |  |  | 1491.37 | [13 empty] | 1 | 00.00-00.15 | 50 |  | 1095.6
|  | Month/Day :- |  |  |  | 2021-09-30 |  |  |  |  | Min.DEMAND(MW) |  |  | 1038.5 |  | ACTUAL OWN GENERATION |  |  | 19271.9485 | MWh | [7 empty] | 2 | 00.15-00.30 | 49.93 |  | 1073.18
[28 empty] | 3 | 00.30-00.45 | 49.93 |  | 1084.04 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [5 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET |  |  | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P6 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50.03 | 49.9725 | 1073.35 | 1081.5425 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[10 empty] | DUE TO LOAD SHEDD-ING (MW) | DUE TO SATUTORY CUT (MW) | DUE TO T&D CONS-TRAINTS (MW) | [15 empty] | 5 | 01.00-01.15 | 50.03 |  | 1086.15 |  |  |  | MALANA-2 | 40.05 | 40.05 | 40.05 | 40.03 | 40.03 | 35.01 | 35.01 | 35.05 | 35.01 | 35.09 | 35.01 | 35.01 | 35.01 | 35.09 | 35.06 | 61.04 | 90.02 | 90.05 | 90.06 | 101.05 | 101.02 | 101.02 | 40.04 | 40.05 | 1264.91
[28 empty] | 6 | 01.15-01.30 | 50.03 |  | 1064.77 |  |  |  | SWARA KUDDU | 88.8 | 88.8 | 88.8 | 88.8 | 88.8 | 88.8 | 88.8 | 88.8 | 88.8 | 81.4 | 81.4 | 74 | 74 | 74 | 77.7 | 81.4 | 81.4 | 88.8 | 88.8 | 88.8 | 88.8 | 88.8 | 88.8 | 88.8 | 2046.1
[28 empty] | 7 | 01.30-01.45 | 50.04 |  | 1063.89
[28 empty] | 8 | 01.45-02:00 | 50.05 | 50.0375 | 1070.52 | 1071.3325
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | TOTAL | [10 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50.06 |  | 1084.92 |  | Malana
[8 empty] | 5+6 | [19 empty] | 10 | 02.15-02.30 | 50.05 |  | 1074.21
[8 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P6/1000 | P7 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50.01 |  | 1066.18
1 | 2 | 3 | 4 |  |  | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.02 | 50.035 | 1063.23 | 1072.135
1 | 791.492 | 70.6654 | 264.3693 | 40.05 | 88.8 | 1215.3267 | -135.2743 | 1080.0524 | 0 | 0 | 0 | 0 | 0 | 0 | 1080.0524 | 1 | 698.28 | 72 | 270 | 1040.28 | 1081.5425 | 1095.6 | 1073.18 | 1081.5425 | 1081.5425 | 1080.0524 | 0 | 13 | 03.00-03.15 | 50.02 |  | 1047.21 |  | 72 | 1
2 | 837.3076 | 32.2902 | 283.9522 | 40.05 | 88.8 | 1242.3499 | -172.4935 | 1069.8565 | 0 | 0 | 0 | 0 | 0 | 0 | 1069.8565 | 2 | 738.7 | 32.9 | 290 | 1061.6 | 1071.3325 | 1086.15 | 1063.89 | 1071.3325 | 1071.3325 | 1069.8565 | 0 | 14 | 03.15-03.30 | 50.01 |  | 1049.79 |  | 32.9 | 2
3 | 828.1377 | 32.6828 | 225.2035 | 40.05 | 88.8 | 1174.8239 | -104.166 | 1070.6579 | 0 | 0 | 0 | 0 | 0 | 0 | 1070.6579 | 3 | 730.61 | 33.3 | 230 | 993.91 | 1072.135 | 1084.92 | 1063.23 | 1072.135 | 1072.135 | 1070.6579 | 0 | 15 | 03.30-03.45 | 50 |  | 1042.09 |  | 33.3 | 3
4 | 800.3672 | 31.4069 | 166.4547 | 40.03 | 88.8 | 1087.0288 | -41.5112 | 1045.5176 | 0 | 0 | 0 | 0 | 0 | 0 | 1045.5176 | 4 | 706.11 | 32 | 170 | 908.11 | 1046.96 | 1049.79 | 1042.09 | 1046.96 | 1046.96 | 1045.5176 | 0 | 16 | 03.45-04.00 | 50 | 50.0075 | 1048.75 | 1046.96 | 32 | 4
5 | 779.2503 | 32.192 | 176.2462 | 40.03 | 88.8 | 1076.4885 | -37.9885 | 1038.5 | 0 | 0 | 0 | 0 | 0 | 0 | 1038.5 | 5 | 687.48 | 32.8 | 180 | 900.28 | 1046.2575 | 1053.43 | 1038.5 | 1038.5 | 1038.5 | 1038.5 | 0 | 17 | 04.00-04.15 | 49.99 |  | 1050.62 |  | 32.8 | 5
6 | 777.6181 | 32.3883 | 274.1607 | 35.01 | 88.8 | 1172.9672 | -82.1621 | 1090.8051 | 0 | 0.38333 | 0 | 0 | 0.38333 | 0.00038333 | 1091.1884 | 6 | 686.04 | 33 | 280 | 999.04 | 1092.31 | 1131.71 | 1053.88 | 1092.31 | 1092.31 | 1090.8051 | 0.38333 | 18 | 04.15-04.30 | 49.99 |  | 1053.43 |  | 33 | 6
7 | 816.0887 | 31.9957 | 205.6205 | 35.01 | 88.8 | 1142.505 | 43.2167 | 1185.7216 | 0 | 23 | 0 | 0 | 23 | 0.023 | 1208.7216 | 7 | 719.98 | 32.6 | 210 | 962.58 | 1187.3575 | 1265.43 | 1094.49 | 1187.3575 | 1187.3575 | 1185.7216 | 23 | 19 | 04.30-04.45 | 49.97 |  | 1042.48 |  | 32.6 | 7
8 | 841.9096 | 32.5846 | 205.6205 | 35.05 | 88.8 | 1168.9147 | 175.3931 | 1344.3078 | 0 | 23 | 0 | 0 | 23 | 0.023 | 1367.3078 | 8 | 742.76 | 33.2 | 210 | 985.96 | 1346.1625 | 1372.77 | 1303.99 | 1346.1625 | 1346.1625 | 1344.3078 | 23 | 20 | 04.45-05.00 | 50 | 49.9875 | 1038.5 | 1046.2575 | 33.2 | 8
9 | 847.3956 | 32.5846 | 176.2462 | 35.01 | 88.8 | 1145.0264 | 225.0259 | 1370.0523 | 0 | 19.9333 | 0 | 0 | 19.9333 | 0.019933 | 1389.9857 | 9 | 747.6 | 33.2 | 180 | 960.8 | 1371.9425 | 1382.25 | 1364.17 | 1371.9425 | 1371.9425 | 1370.0523 | 19.9333 | 21 | 05.00-05.15 | 49.98 |  | 1053.88 |  | 33.2 | 9
10 | 785.3825 | 32.5846 | 274.1607 | 35.09 | 81.4 | 1173.5278 | 317.8422 | 1491.37 | 0 | 0 | 0 | 0 | 0 | 0 | 1491.37 | 10 | 692.89 | 33.2 | 280 | 1006.09 | 1442.0725 | 1491.37 | 1387.08 | 1491.37 | 1491.37 | 1491.37 | 0 | 22 | 05.15-05.30 | 49.97 |  | 1079.43 |  | 33.2 | 10
11 | 741.7205 | 31.4069 | 283.9522 | 35.01 | 81.4 | 1138.4796 | 305.5157 | 1443.9953 | 0 | 0 | 0 | 0 | 0 | 0 | 1443.9953 | 11 | 654.37 | 32 | 290 | 976.37 | 1445.9875 | 1490.49 | 1422.72 | 1445.9875 | 1445.9875 | 1443.9953 | 0 | 23 | 05.30-05.45 | 49.91 |  | 1104.22 |  | 32 | 11
12 | 730.1476 | 31.4069 | 274.1607 | 35.01 | 74 | 1109.7152 | 300.1297 | 1409.8449 | 0 | 0 | 0 | 0 | 0 | 0 | 1409.8449 | 12 | 644.16 | 32 | 280 | 956.16 | 1411.79 | 1427.37 | 1401.83 | 1411.79 | 1411.79 | 1409.8449 | 0 | 24 | 05.45-06.00 | 49.87 | 49.9325 | 1131.71 | 1092.31 | 32 | 12
13 | 786.448 | 31.4069 | 264.3693 | 35.01 | 74 | 1156.2241 | 197.286 | 1353.5101 | 0 | 0 | 0 | 0 | 0 | 0 | 1353.5101 | 13 | 693.83 | 32 | 270 | 995.83 | 1355.3775 | 1387.66 | 1325.35 | 1355.3775 | 1355.3775 | 1353.5101 | 0 | 25 | 06.00-06.15 | 49.95 |  | 1094.49 |  | 32 | 13
14 | 789.6104 | 31.4069 | 225.2035 | 35.09 | 74 | 1120.2207 | 224.3118 | 1344.5325 | 0 | 0 | 0 | 0 | 0 | 0 | 1344.5325 | 14 | 696.62 | 32 | 230 | 958.62 | 1346.3875 | 1356.42 | 1329.42 | 1346.3875 | 1346.3875 | 1344.5325 | 0 | 26 | 06.15-06.30 | 49.95 |  | 1166.93 |  | 32 | 14
15 | 774.025 | 31.4069 | 234.9949 | 35.06 | 77.7 | 1118.1267 | 238.5566 | 1356.6833 | 0 | 0 | 0 | 0 | 0 | 0 | 1356.6833 | 15 | 682.87 | 32 | 240 | 954.87 | 1358.555 | 1366.76 | 1353.3 | 1358.555 | 1358.555 | 1356.6833 | 0 | 27 | 06.30-06.45 | 49.86 |  | 1222.58 |  | 32 | 15
16 | 748.1474 | 33.3698 | 195.8291 | 61.04 | 81.4 | 1058.7463 | 284.835 | 1343.5813 | 0 | 0 | 0 | 0 | 0 | 0 | 1343.5813 | 16 | 660.04 | 34 | 200 | 894.04 | 1345.435 | 1362.59 | 1333.2 | 1345.435 | 1345.435 | 1343.5813 | 0 | 28 | 06.45-07.00 | 49.95 | 49.9275 | 1265.43 | 1187.3575 | 34 | 16
17 | 786.9127 | 35.3327 | 117.4975 | 90.02 | 81.4 | 1021.1429 | 288.8323 | 1309.9752 | 0 | 0 | 0 | 0 | 0 | 0 | 1309.9752 | 17 | 694.24 | 36 | 120 | 850.24 | 1311.7825 | 1322.23 | 1304.06 | 1311.7825 | 1311.7825 | 1309.9752 | 0 | 29 | 07.00-07.15 | 49.89 |  | 1303.99 |  | 36 | 17
18 | 789.0663 | 35.3327 | 146.8718 | 90.05 | 88.8 | 1060.0709 | 221.4536 | 1281.5245 | 0 | 0 | 0 | 0 | 0 | 0 | 1281.5245 | 18 | 696.14 | 36 | 150 | 882.14 | 1283.2925 | 1305.29 | 1264.2 | 1283.2925 | 1283.2925 | 1281.5245 | 0 | 30 | 07.15-07.30 | 50.01 |  | 1349.78 |  | 36 | 18
19 | 833.4084 | 93.2391 | 293.7436 | 90.06 | 88.8 | 1309.1911 | 29.0126 | 1338.2038 | 0 | 0 | 0 | 0 | 0 | 0 | 1338.2038 | 19 | 735.26 | 95 | 300 | 1130.26 | 1340.05 | 1405.3 | 1271.11 | 1340.05 | 1340.05 | 1338.2038 | 0 | 31 | 07.30-07.45 | 50.02 |  | 1358.11 |  | 95 | 19
20 | 871.2782 | 91.2762 | 225.2035 | 101.05 | 88.8 | 1276.5578 | 93.2623 | 1369.8201 | 0 | 0 | 0 | 0 | 0 | 0 | 1369.8201 | 20 | 768.67 | 93 | 230 | 1091.67 | 1371.71 | 1407.8 | 1337.54 | 1371.71 | 1371.71 | 1369.8201 | 0 | 32 | 07.45-08.00 | 50.04 | 49.99 | 1372.77 | 1346.1625 | 93 | 20
21 | 852.4737 | 90.2947 | 186.0376 | 101.02 | 88.8 | 1217.606 | 66.1454 | 1283.7514 | 0 | 0 | 0 | 0 | 0 | 0 | 1283.7514 | 21 | 752.08 | 92 | 190 | 1034.08 | 1285.5225 | 1306.75 | 1265.76 | 1285.5225 | 1285.5225 | 1283.7514 | 0 | 33 | 08.00-08.15 | 50.06 |  | 1382.25 |  | 92 | 21
22 | 819.8859 | 93.2391 | 215.412 | 101.02 | 88.8 | 1217.337 | 12.2167 | 1229.5537 | 0 | 0 | 0 | 0 | 0 | 0 | 1229.5537 | 22 | 723.33 | 95 | 220 | 1038.33 | 1231.25 | 1253.21 | 1201.69 | 1231.25 | 1231.25 | 1229.5537 | 0 | 34 | 08.15-08.30 | 50.05 |  | 1365.41 |  | 95 | 22
23 | 821.6541 | 49.0732 | 234.9949 | 40.04 | 88.8 | 1194.5222 | -38.9989 | 1155.5233 | 0 | 0 | 0 | 0 | 0 | 0 | 1155.5233 | 23 | 724.89 | 50 | 240 | 1014.89 | 1157.1175 | 1176.92 | 1135.35 | 1157.1175 | 1157.1175 | 1155.5233 | 0 | 35 | 08.30-08.45 | 50.06 |  | 1375.94 |  | 50 | 23
24 | 822.2209 | 49.0732 | 234.9949 | 40.05 | 88.8 | 1195.089 | -89.5942 | 1105.4948 | 0 | 0 | 0 | 0 | 0 | 0 | 1105.4948 | 24 | 725.39 | 50 | 240 | 1015.39 | 1107.02 | 1130.67 | 1095.58 | 1107.02 | 1107.02 | 1105.4948 | 0 | 36 | 08.45-09.00 | 50.08 | 50.0625 | 1364.17 | 1371.9425 | 50 | 24
[16 empty] | 12: 37 | 09.00-09.15 | 50.04 |  | 1387.08
TOTAL (in MWh) | 19271.9485 | 1088.64 | 5385.3 | 1264.91 | 2046.1 | 27791.9885 | 2320.847 | 30112.8355 | 0 | 66.3167 | 0 | 0 | 66.3167 | 66.3167 | 30179.1522 | TOTAL | 17002.34 | 1109.2 | 5500 | 23611.54 | 30109.35 |  |  | 30150.89 | 30150.89 | 30112.8355 | 66.3167 | 38 | 09.15-09.30 | 50.02 |  | 1418.87
[16 empty] | 12: 39 | 09.30-09.45 | 50.03 |  | 1470.97
[16 empty] | 12: 40 | 09.45-10.00 | 50 | 50.0225 | 1491.37 | 1442.0725
|  |  | Hourly Average Frequency (Fr) | [7 empty] | 49.9933 | HZ |  |  |  | 1: Note :- Please don't edit these figures.; 12: 41 | 10.00-10.15 | 50.02 |  | 1490.49
|  |  | Demand met for the day | [7 empty] | 1491.37 | MW |  |  |  | 12: 42 | 10.15-10.30 | 50.02 |  | 1447.81
|  |  | Unrestricted Demand for the day | [7 empty] | 1491.37 | MW |  |  |  | 1: MAX =; 2: 1491.37; 12: 43 | 10.30-10.45 | 50.03 |  | 1422.93
|  |  | Minimum Demand(Unrestricted) for the day | [7 empty] | 1038.5 | MW | Aux. | Net gen. |  | 1: MIN =; 2: 1038.5; 12: 44 | 10.45-11.00 | 50.01 | 50.02 | 1422.72 | 1445.9875
|  |  | Gross own generation | [7 empty] | 19271.9485 | MWH | 37.902 | 19234.0465 |  | 12: 45 | 11.00-11.15 | 50.04 |  | 1427.37
|  |  | Gross Baspa generation | [7 empty] | 5385.3 | MWH | 8.62 | 5376.68 |  | 12: 46 | 11.15-11.30 | 50.03 |  | 1408.98
|  |  | Gross Malana generation | [7 empty] | 1088.64 | MWH | 21.15 | 1067.49 |  | 12: 47 | 11.30-11.45 | 50.02 |  | 1401.83
|  |  | Malana generation at 0300 Hrs. | [7 empty] | 33.3 | MW |  |  |  | 12: 48 | 11.45-12.00 | 50.01 | 50.025 | 1408.98 | 1411.79
|  |  | Malana generation at 2400 Hrs. | [7 empty] | 50 | MW |  |  |  | 12: 49 | 12.00-12.15 | 50.02 |  | 1387.66
|  |  | Max.generation of Malana at 1900 Hrs. | [7 empty] | 95 | MW |  |  |  | 12: 50 | 12.15-12.30 | 50.01 |  | 1330.44
[9 empty] | Off Peak Hrs MW |  | Peak Hrs MW |  | Gross Lus | Net Lus
|  |  | Total Own Generation | [5 empty] | 795.2018 |  | 1017.9799 |  | 192.7195 | 192.3405 |  | 12: 51 | 12.30-12.45 | 50 |  | 1325.35
|  |  | Above 25 MW | [5 empty] | 389.3249 |  | 415.2799 |  | 88.7112 | 88.4143 |  | 12: 52 | 12.45-13.00 | 49.92 | 49.9875 | 1378.06 | 1355.3775
|  |  | Below 25 MW(Small Hydro <25 MW) | [5 empty] | 405.8769 |  | 602.7 |  | 104.0083 | 103.9262 |  | 12: 53 | 13.00-13.15 | 50.01 |  | 1351.8
[16 empty] | 12: 54 | 13.15-13.30 | 50.04 |  | 1347.91
[16 empty] | 12: 55 | 13.30-13.45 | 50.02 |  | 1329.42
[16 empty] | 12: 56 | 13.45-14.00 | 50.06 | 50.0325 | 1356.42 | 1346.3875
[16 empty] | 12: 57 | 14.00-14.15 | 50.04 |  | 1366.76
[16 empty] | 12: 58 | 14.15-14.30 | 50.03 |  | 1356.54
[16 empty] | 12: 59 | 14.30-14.45 | 49.98 |  | 1353.3
[16 empty] | 12: 60 | 14.45-15.00 | 50.02 | 50.0175 | 1357.62 | 1358.555
[16 empty] | 12: 61 | 15.00-15.15 | 49.97 |  | 1362.59
[16 empty] | 12: 62 | 15.15-15.30 | 49.86 |  | 1346.44
[16 empty] | 12: 63 | 15.30-15.45 | 49.94 |  | 1339.51
[16 empty] | 12: 64 | 15.45-16.00 | 49.82 | 49.8975 | 1333.2 | 1345.435
[16 empty] | 12: 65 | 16.00-16.15 | 50.01 |  | 1316.67
[16 empty] | 12: 66 | 16.15-16.30 | 50.02 |  | 1322.23
[16 empty] | 12: 67 | 16.30-16.45 | 50.02 |  | 1304.17
[16 empty] | 12: 68 | 16.45-17.00 | 50.02 | 50.0175 | 1304.06 | 1311.7825
[16 empty] | 12: 69 | 17.00-17.15 | 50.04 |  | 1305.29
[16 empty] | 12: 70 | 17.15-17.30 | 50.01 |  | 1297.37
[16 empty] | 12: 71 | 17.30-17.45 | 49.99 |  | 1266.31
[16 empty] | 12: 72 | 17.45-18.00 | 49.97 | 50.0025 | 1264.2 | 1283.2925
[16 empty] | 12: 73 | 18.00-18.15 | 50 |  | 1271.11
[16 empty] | 12: 74 | 18.15-18.30 | 49.81 |  | 1306.04
[16 empty] | 12: 75 | 18.30-18.45 | 49.8 |  | 1377.75
[16 empty] | 12: 76 | 18.45-19.00 | 49.89 | 49.875 | 1405.3 | 1340.05
[16 empty] | 12: 77 | 19.00-19.15 | 49.98 |  | 1407.8
[16 empty] | 12: 78 | 19.15-19.30 | 49.95 |  | 1388.06
[16 empty] | 12: 79 | 19.30-19.45 | 49.85 |  | 1353.44
[16 empty] | 12: 80 | 19.45-20.00 | 50.04 | 49.955 | 1337.54 | 1371.71
[16 empty] | 12: 81 | 20.00-20.15 | 50.04 |  | 1306.75
[16 empty] | 12: 82 | 20.15-20.30 | 50 |  | 1288.63
[16 empty] | 12: 83 | 20.30-20.45 | 49.98 |  | 1280.95
[16 empty] | 12: 84 | 20.45-21.00 | 49.92 | 49.985 | 1265.76 | 1285.5225
[16 empty] | 12: 85 | 21.00-21.15 | 50 |  | 1253.21
[16 empty] | 12: 86 | 21.15-21.30 | 50.01 |  | 1237.39
[16 empty] | 12: 87 | 21.30-21.45 | 50.04 |  | 1232.71
[16 empty] | 12: 88 | 21.45-22.00 | 50.03 | 50.02 | 1201.69 | 1231.25
[16 empty] | 12: 89 | 22.00-22.15 | 50.03 |  | 1176.92
[16 empty] | 12: 90 | 22.15-22.30 | 50.01 |  | 1171.84
[16 empty] | 12: 91 | 22.30-22.45 | 50.03 |  | 1144.36
[16 empty] | 12: 92 | 22.45-23.00 | 50.04 | 50.0275 | 1135.35 | 1157.1175
[16 empty] | 12: 93 | 23.00-23.15 | 50.01 |  | 1130.67
[16 empty] | 12: 94 | 23.15-23.30 | 50 |  | 1105.34
[16 empty] | 12: 95 | 23.30-23.45 | 50.01 |  | 1095.58
[16 empty] | 12: 96 | 23.45-24.00 | 49.99 | 50.0025 | 1096.49 | 1107.02
[29 empty] | Total | 49.9933 | 49.9933 | 30109.35 | 30109.35
[29 empty] | max | 1491.37 |  | avg. max | 1445.9875
[29 empty] | min | 1038.5 |  | avg. min | 1046.2575
Note on AA16: ReportServer: critical formulas…….do not disturb
Note on AB16: ReportServer: critical formulas…….do not disturb
Note on S24: Please don't edit here
Note on G25: Column no. 5 =Sum (2+3+4 Column)
Note on K25: The fig of power cut comes from daily hourly load sheet.