## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2021-10-01
Hiamchal Pradesh State Load Despatch Centre
[12 empty] | DATED | 2021-10-02
FROM | [10 empty] | TO
| POWER CONTROLLER | [10 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [10 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [12 empty] | DEMAND OF STATE |  |  | 30565.9725 | MWh
[16 empty] | ACTUAL MALANA GENERATION |  |  | 1330.56 | MWh
|  | State:- Himachal Pradesh | [13 empty] | ACTUAL BASPA GENERATION |  |  | 5527.4 | MWh | [7 empty] | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[11 empty] | PEAK DEMAND(MW) |  |  | 1462.17 | [13 empty] | 1 | 00.00-00.15 | 50.03 |  | 1080.81
|  | Month/Day :- |  |  |  | 2021-10-01 |  |  |  |  | Min.DEMAND(MW) |  |  | 999.8 |  | ACTUAL OWN GENERATION |  |  | 19999.142 | MWh | [7 empty] | 2 | 00.15-00.30 | 50.04 |  | 1076.76
[28 empty] | 3 | 00.30-00.45 | 50.03 |  | 1098.64 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [5 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET |  |  | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P6 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50.03 | 50.0325 | 1086.75 | 1085.74 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[10 empty] | DUE TO LOAD SHEDD-ING (MW) | DUE TO SATUTORY CUT (MW) | DUE TO T&D CONS-TRAINTS (MW) | [15 empty] | 5 | 01.00-01.15 | 50.04 |  | 1068.29 |  |  |  | MALANA-2 | 45.07 | 45.07 | 45.06 | 45.01 | 45.01 | 35.01 | 35.05 | 35.05 | 35.01 | 35.09 | 50.03 | 50.03 | 50.03 | 50.02 | 50.06 | 50.02 | 80.04 | 80.03 | 80.07 | 101.04 | 101.02 | 101.02 | 40.04 | 40.05 | 1323.93
[28 empty] | 6 | 01.15-01.30 | 50.06 |  | 1035.39 |  |  |  | SWARA KUDDU | 70 | 70 | 70 | 70 | 81.4 | 81.4 | 81.4 | 81.4 | 81.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 44.4 | 88.8 | 88.8 | 88.8 | 88.8 | 88.8 | 1175.4
[28 empty] | 7 | 01.30-01.45 | 50.04 |  | 1020.22
[28 empty] | 8 | 01.45-02:00 | 50.03 | 50.0425 | 1039.53 | 1040.8575
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | TOTAL | [10 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50.03 |  | 1033.8 |  | Malana
[8 empty] | 5+6 | [19 empty] | 10 | 02.15-02.30 | 50.03 |  | 1027.73
[8 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P6/1000 | P7 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.99 |  | 1031.79
1 | 2 | 3 | 4 |  |  | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.01 | 50.015 | 1031.68 | 1031.25
1 | 792.6987 | 89.7649 | 210.6632 | 45.07 | 70 | 1163.1268 | -77.5383 | 1085.5884 | 0 | 0 | 0 | 0 | 0 | 0 | 1085.5884 | 1 | 679.63 | 88 | 210 | 977.63 | 1085.74 | 1098.64 | 1076.76 | 1085.74 | 1085.74 | 1085.5884 | 0 | 13 | 03.00-03.15 | 50 |  | 1027.45 |  | 88 | 1
2 | 818.2422 | 91.805 | 200.6316 | 45.07 | 70 | 1180.6787 | -139.9665 | 1040.7122 | 0 | 0 | 0 | 0 | 0 | 0 | 1040.7122 | 2 | 701.53 | 90 | 200 | 991.53 | 1040.8575 | 1068.29 | 1020.22 | 1040.8575 | 1040.8575 | 1040.7122 | 0 | 14 | 03.15-03.30 | 50.02 |  | 999.8 |  | 90 | 2
3 | 849.6058 | 91.805 | 260.8211 | 45.06 | 70 | 1272.2319 | -241.1258 | 1031.106 | 0 | 0 | 0 | 0 | 0 | 0 | 1031.106 | 3 | 728.42 | 90 | 260 | 1078.42 | 1031.25 | 1033.8 | 1027.73 | 1031.25 | 1031.25 | 1031.106 | 0 | 15 | 03.30-03.45 | 50.03 |  | 1000.7 |  | 90 | 3
4 | 830.6757 | 91.805 | 280.8842 | 45.01 | 70 | 1273.3649 | -273.5649 | 999.8 | 0 | 0 | 0 | 0 | 0 | 0 | 999.8 | 4 | 712.19 | 90 | 280 | 1082.19 | 1011.4075 | 1027.45 | 999.8 | 999.8 | 999.8 | 999.8 | 0 | 16 | 03.45-04.00 | 50.01 | 50.015 | 1017.68 | 1011.4075 | 90 | 4
5 | 863.6839 | 19.381 | 280.8842 | 45.01 | 81.4 | 1245.3492 | -210.2012 | 1035.148 | 0 | 0 | 0 | 0 | 0 | 0 | 1035.148 | 5 | 740.49 | 19 | 280 | 1039.49 | 1035.2925 | 1037.57 | 1031.19 | 1035.2925 | 1035.2925 | 1035.148 | 0 | 17 | 04.00-04.15 | 50.01 |  | 1031.19 |  | 19 | 5
6 | 814.4165 | 19.381 | 180.5684 | 35.01 | 81.4 | 1095.766 | -0.5014 | 1095.2646 | 0 | 0 | 0 | 0 | 0 | 0 | 1095.2646 | 6 | 698.25 | 19 | 180 | 897.25 | 1095.4175 | 1136 | 1056.54 | 1095.4175 | 1095.4175 | 1095.2646 | 0 | 18 | 04.15-04.30 | 50.01 |  | 1035.75 |  | 19 | 6
7 | 804.4557 | 19.381 | 220.6947 | 35.05 | 81.4 | 1125.9315 | 157.8018 | 1283.7333 | 0 | 0 | 0 | 0 | 0 | 0 | 1283.7333 | 7 | 689.71 | 19 | 220 | 928.71 | 1283.9125 | 1368.59 | 1193.06 | 1283.9125 | 1283.9125 | 1283.7333 | 0 | 19 | 04.30-04.45 | 50.01 |  | 1036.66 |  | 19 | 7
8 | 816.7959 | 19.381 | 200.6316 | 35.05 | 81.4 | 1118.2085 | 317.2661 | 1435.4746 | 0 | 0 | 0 | 0 | 0 | 0 | 1435.4746 | 8 | 700.29 | 19 | 200 | 919.29 | 1435.675 | 1450.66 | 1401.3 | 1435.675 | 1435.675 | 1435.4746 | 0 | 20 | 04.45-05.00 | 50 | 50.0075 | 1037.57 | 1035.2925 | 19 | 8
9 | 846.1651 | 19.381 | 170.5368 | 35.01 | 81.4 | 1117.4829 | 325.7156 | 1443.1985 | 0 | 0 | 0 | 0 | 0 | 0 | 1443.1985 | 9 | 725.47 | 19 | 170 | 914.47 | 1443.4 | 1456.2 | 1427.46 | 1443.4 | 1443.4 | 1443.1985 | 0 | 21 | 05.00-05.15 | 50.03 |  | 1056.54 |  | 19 | 9
10 | 891.2568 | 19.381 | 230.7263 | 35.09 | 0 | 1141.3642 | 305.7038 | 1447.068 | 0 | 0 | 0 | 0 | 0 | 0 | 1447.068 | 10 | 764.13 | 19 | 230 | 1013.13 | 1447.27 | 1455.45 | 1432.46 | 1447.27 | 1447.27 | 1447.068 | 0 | 22 | 05.15-05.30 | 50.02 |  | 1084.37 |  | 19 | 10
11 | 875.056 | 45.9025 | 200.6316 | 50.03 | 0 | 1121.5901 | 287.5982 | 1409.1883 | 0 | 0 | 0 | 0 | 0 | 0 | 1409.1883 | 11 | 750.24 | 45 | 200 | 995.24 | 1409.385 | 1418.76 | 1398.68 | 1409.385 | 1409.385 | 1409.1883 | 0 | 23 | 05.30-05.45 | 50.03 |  | 1104.76 |  | 45 | 11
12 | 901.5909 | 45.9025 | 280.8842 | 50.03 | 0 | 1228.3776 | 167.1726 | 1395.5502 | 0 | 0 | 0 | 0 | 0 | 0 | 1395.5502 | 12 | 772.99 | 45 | 280 | 1097.99 | 1395.745 | 1405.57 | 1388.52 | 1395.745 | 1395.745 | 1395.5502 | 0 | 24 | 05.45-06.00 | 50.05 | 50.0325 | 1136 | 1095.4175 | 45 | 12
13 | 862.7975 | 46.9225 | 300.9474 | 50.03 | 0 | 1210.6674 | 251.5026 | 1462.17 | 0 | 0 | 0 | 0 | 0 | 0 | 1462.17 | 13 | 739.73 | 46 | 300 | 1085.73 | 1446.295 | 1462.17 | 1426.98 | 1462.17 | 1462.17 | 1462.17 | 0 | 25 | 06.00-06.15 | 50.05 |  | 1193.06 |  | 46 | 13
14 | 777.8159 | 46.9225 | 270.8526 | 50.02 | 0 | 1095.5911 | 283.9038 | 1379.4949 | 0 | 0 | 0 | 0 | 0 | 0 | 1379.4949 | 14 | 666.87 | 46 | 270 | 982.87 | 1379.6875 | 1386.72 | 1354.04 | 1379.6875 | 1379.6875 | 1379.4949 | 0 | 26 | 06.15-06.30 | 50.01 |  | 1255.01 |  | 46 | 14
15 | 774.83 | 46.9225 | 230.7263 | 50.06 | 0 | 1052.4788 | 308.4512 | 1360.93 | 0 | 0 | 0 | 0 | 0 | 0 | 1360.93 | 15 | 664.31 | 46 | 230 | 940.31 | 1361.12 | 1368.85 | 1353.2 | 1361.12 | 1361.12 | 1360.93 | 0 | 27 | 06.30-06.45 | 49.98 |  | 1318.99 |  | 46 | 15
16 | 776.4046 | 46.9225 | 200.6316 | 50.02 | 0 | 1023.9587 | 341.6256 | 1365.5843 | 0 | 0 | 0 | 0 | 0 | 0 | 1365.5843 | 16 | 665.66 | 46 | 200 | 911.66 | 1365.775 | 1373.13 | 1354.17 | 1365.775 | 1365.775 | 1365.5843 | 0 | 28 | 06.45-07.00 | 50.01 | 50.0125 | 1368.59 | 1283.9125 | 46 | 16
17 | 748.7267 | 46.9225 | 140.4421 | 80.04 | 0 | 936.0913 | 382.7571 | 1318.8484 | 0 | 0 | 0 | 0 | 0 | 0 | 1318.8484 | 17 | 641.93 | 46 | 140 | 827.93 | 1319.0325 | 1345.46 | 1296.15 | 1319.0325 | 1319.0325 | 1318.8484 | 0 | 29 | 07.00-07.15 | 50.01 |  | 1401.3 |  | 46 | 17
18 | 752.9489 | 46.9225 | 230.7263 | 80.03 | 0 | 1030.5978 | 248.1737 | 1278.7715 | 0 | 0 | 0 | 0 | 0 | 0 | 1278.7715 | 18 | 645.55 | 46 | 230 | 921.55 | 1278.95 | 1305.99 | 1262.96 | 1278.95 | 1278.95 | 1278.7715 | 0 | 30 | 07.15-07.30 | 50.02 |  | 1446.5 |  | 46 | 18
19 | 856.8723 | 92.825 | 331.0421 | 80.07 | 44.4 | 1325.1394 | 47.8389 | 1372.9783 | 0 | 0 | 0 | 0 | 0 | 0 | 1372.9783 | 19 | 734.65 | 91 | 330 | 1155.65 | 1373.17 | 1427.28 | 1320.3 | 1373.17 | 1373.17 | 1372.9783 | 0 | 31 | 07.30-07.45 | 50.07 |  | 1444.24 |  | 91 | 19
20 | 889.9972 | 92.825 | 220.6947 | 101.04 | 88.8 | 1292.3169 | 75.912 | 1368.229 | 0 | 0 | 0 | 0 | 0 | 0 | 1368.229 | 20 | 763.05 | 91 | 220 | 1074.05 | 1368.42 | 1398.99 | 1327.06 | 1368.42 | 1368.42 | 1368.229 | 0 | 32 | 07.45-08.00 | 50.07 | 50.0425 | 1450.66 | 1435.675 | 91 | 20
21 | 884.3519 | 94.0491 | 190.6 | 101.02 | 88.8 | 1257.801 | 19.3107 | 1277.1117 | 0 | 0 | 0 | 0 | 0 | 0 | 1277.1117 | 21 | 758.21 | 92.2 | 190 | 1040.41 | 1277.29 | 1294.29 | 1263.28 | 1277.29 | 1277.29 | 1277.1117 | 0 | 33 | 08.00-08.15 | 50.05 |  | 1454.54 |  | 92.2 | 21
22 | 878.1935 | 94.0491 | 210.6632 | 101.02 | 88.8 | 1271.7058 | -43.0598 | 1228.646 | 0 | 0 | 0 | 0 | 0 | 0 | 1228.646 | 22 | 752.93 | 92.2 | 210 | 1055.13 | 1228.8175 | 1250.09 | 1210.73 | 1228.8175 | 1228.8175 | 1228.646 | 0 | 34 | 08.15-08.30 | 50.07 |  | 1456.2 |  | 92.2 | 22
23 | 845.4886 | 51.0028 | 240.7579 | 40.04 | 88.8 | 1226.0492 | -50.5233 | 1175.5259 | 0 | 0 | 0 | 0 | 0 | 0 | 1175.5259 | 23 | 724.89 | 50 | 240 | 1014.89 | 1175.69 | 1196.68 | 1156.82 | 1175.69 | 1175.69 | 1175.5259 | 0 | 35 | 08.30-08.45 | 50.06 |  | 1427.46 |  | 50 | 23
24 | 846.0717 | 51.0028 | 240.7579 | 40.05 | 88.8 | 1226.6324 | 49.5619 | 1276.1943 | 0 | 0 | 0 | 0 | 0 | 0 | 1276.1943 | 24 | 725.39 | 50 | 240 | 1015.39 | 1276.3725 | 1369.79 | 1247.46 | 1276.3725 | 1276.3725 | 1276.1943 | 0 | 36 | 08.45-09.00 | 50.07 | 50.0625 | 1435.4 | 1443.4 | 50 | 24
[16 empty] | 12: 37 | 09.00-09.15 | 50.08 |  | 1432.46
TOTAL (in MWh) | 19999.142 | 1330.56 | 5527.4 | 1323.93 | 1175.4 | 28032.502 | 2533.8142 | 30566.3162 | 0 | 0 | 0 | 0 | 0 | 0 | 30566.3162 | TOTAL | 17146.51 | 1304.4 | 5510 | 23960.91 | 30565.9725 |  |  | 30570.24 | 30570.24 | 30566.3162 | 0 | 38 | 09.15-09.30 | 50.01 |  | 1446.49
[16 empty] | 12: 39 | 09.30-09.45 | 50.03 |  | 1454.68
[16 empty] | 12: 40 | 09.45-10.00 | 50.01 | 50.0325 | 1455.45 | 1447.27
|  |  | Hourly Average Frequency (Fr) | [7 empty] | 49.9921 | HZ |  |  |  | 1: Note :- Please don't edit these figures.; 12: 41 | 10.00-10.15 | 49.94 |  | 1418.76
|  |  | Demand met for the day | [7 empty] | 1462.17 | MW |  |  |  | 12: 42 | 10.15-10.30 | 49.98 |  | 1402.61
|  |  | Unrestricted Demand for the day | [7 empty] | 1462.17 | MW |  |  |  | 1: MAX =; 2: 1462.17; 12: 43 | 10.30-10.45 | 49.98 |  | 1417.49
|  |  | Minimum Demand(Unrestricted) for the day | [7 empty] | 999.8 | MW | Aux. | Net gen. |  | 1: MIN =; 2: 999.8; 12: 44 | 10.45-11.00 | 49.98 | 49.97 | 1398.68 | 1409.385
|  |  | Gross own generation | [7 empty] | 19999.142 | MWH | 29.546 | 19969.596 |  | 12: 45 | 11.00-11.15 | 50.04 |  | 1398.95
|  |  | Gross Baspa generation | [7 empty] | 5527.4 | MWH | 8.45 | 5518.95 |  | 12: 46 | 11.15-11.30 | 50.01 |  | 1388.52
|  |  | Gross Malana generation | [7 empty] | 1330.56 | MWH | 11.358 | 1319.202 |  | 12: 47 | 11.30-11.45 | 49.93 |  | 1389.94
|  |  | Malana generation at 0300 Hrs. | [7 empty] | 90 | MW |  |  |  | 12: 48 | 11.45-12.00 | 49.84 | 49.955 | 1405.57 | 1395.745
|  |  | Malana generation at 2400 Hrs. | [7 empty] | 50 | MW |  |  |  | 12: 49 | 12.00-12.15 | 49.99 |  | 1446.99
|  |  | Max.generation of Malana at 2100 Hrs. | [7 empty] | 92.2 | MW |  |  |  | 12: 50 | 12.15-12.30 | 50.02 |  | 1426.98
[9 empty] | Off Peak Hrs MW |  | Peak Hrs MW |  | Gross Lus | Net Lus
|  |  | Total Own Generation | [5 empty] | 817.1257 |  | 1024.0186 |  | 199.9914 | 199.696 |  | 12: 51 | 12.30-12.45 | 49.93 |  | 1462.17
|  |  | Above 25 MW | [5 empty] | 383.7845 |  | 409.4359 |  | 88.5862 | 88.3427 |  | 12: 52 | 12.45-13.00 | 49.93 | 49.9675 | 1449.04 | 1446.295
|  |  | Below 25 MW(Small Hydro <25 MW) | [5 empty] | 433.3412 |  | 614.5826 |  | 111.4053 | 111.3532 |  | 12: 53 | 13.00-13.15 | 50.06 |  | 1418.43
[16 empty] | 12: 54 | 13.15-13.30 | 50.06 |  | 1386.72
[16 empty] | 12: 55 | 13.30-13.45 | 50.05 |  | 1359.56
[16 empty] | 12: 56 | 13.45-14.00 | 50.06 | 50.0575 | 1354.04 | 1379.6875
[16 empty] | 12: 57 | 14.00-14.15 | 50.05 |  | 1355.86
[16 empty] | 12: 58 | 14.15-14.30 | 49.97 |  | 1353.2
[16 empty] | 12: 59 | 14.30-14.45 | 49.91 |  | 1366.57
[16 empty] | 12: 60 | 14.45-15.00 | 49.86 | 49.9475 | 1368.85 | 1361.12
[16 empty] | 12: 61 | 15.00-15.15 | 50.01 |  | 1354.17
[16 empty] | 12: 62 | 15.15-15.30 | 50.03 |  | 1368.01
[16 empty] | 12: 63 | 15.30-15.45 | 50.02 |  | 1373.13
[16 empty] | 12: 64 | 15.45-16.00 | 50.03 | 50.0225 | 1367.79 | 1365.775
[16 empty] | 12: 65 | 16.00-16.15 | 49.97 |  | 1345.46
[16 empty] | 12: 66 | 16.15-16.30 | 49.93 |  | 1321.88
[16 empty] | 12: 67 | 16.30-16.45 | 49.89 |  | 1296.15
[16 empty] | 12: 68 | 16.45-17.00 | 49.99 | 49.945 | 1312.64 | 1319.0325
[16 empty] | 12: 69 | 17.00-17.15 | 50.05 |  | 1305.99
[16 empty] | 12: 70 | 17.15-17.30 | 49.99 |  | 1272.43
[16 empty] | 12: 71 | 17.30-17.45 | 49.96 |  | 1262.96
[16 empty] | 12: 72 | 17.45-18.00 | 49.88 | 49.97 | 1274.42 | 1278.95
[16 empty] | 12: 73 | 18.00-18.15 | 49.87 |  | 1320.3
[16 empty] | 12: 74 | 18.15-18.30 | 49.71 |  | 1336.06
[16 empty] | 12: 75 | 18.30-18.45 | 49.87 |  | 1409.04
[16 empty] | 12: 76 | 18.45-19.00 | 49.89 | 49.835 | 1427.28 | 1373.17
[16 empty] | 12: 77 | 19.00-19.15 | 49.92 |  | 1398.99
[16 empty] | 12: 78 | 19.15-19.30 | 49.96 |  | 1391.33
[16 empty] | 12: 79 | 19.30-19.45 | 49.98 |  | 1356.3
[16 empty] | 12: 80 | 19.45-20.00 | 50.02 | 49.97 | 1327.06 | 1368.42
[16 empty] | 12: 81 | 20.00-20.15 | 50.01 |  | 1294.29
[16 empty] | 12: 82 | 20.15-20.30 | 50.02 |  | 1281.7
[16 empty] | 12: 83 | 20.30-20.45 | 50.01 |  | 1263.28
[16 empty] | 12: 84 | 20.45-21.00 | 50.04 | 50.02 | 1269.89 | 1277.29
[16 empty] | 12: 85 | 21.00-21.15 | 49.99 |  | 1250.09
[16 empty] | 12: 86 | 21.15-21.30 | 50.03 |  | 1234.22
[16 empty] | 12: 87 | 21.30-21.45 | 50.01 |  | 1220.23
[16 empty] | 12: 88 | 21.45-22.00 | 49.99 | 50.005 | 1210.73 | 1228.8175
[16 empty] | 12: 89 | 22.00-22.15 | 49.98 |  | 1167.93
[16 empty] | 12: 90 | 22.15-22.30 | 49.99 |  | 1196.68
[16 empty] | 12: 91 | 22.30-22.45 | 49.9 |  | 1181.33
[16 empty] | 12: 92 | 22.45-23.00 | 49.98 | 49.9625 | 1156.82 | 1175.69
[16 empty] | 12: 93 | 23.00-23.15 | 49.85 |  | 1141.22
[16 empty] | 12: 94 | 23.15-23.30 | 49.87 |  | 1347.02
[16 empty] | 12: 95 | 23.30-23.45 | 49.92 |  | 1369.79
[16 empty] | 12: 96 | 23.45-24.00 | 49.91 | 49.8875 | 1247.46 | 1276.3725
[29 empty] | Total | 49.9921 | 49.9921 | 30565.9725 | 30565.9725
[29 empty] | max | 1462.17 |  | avg. max | 1447.27
[29 empty] | min | 999.8 |  | avg. min | 1011.4075
Note on AA16: ReportServer: critical formulas…….do not disturb
Note on AB16: ReportServer: critical formulas…….do not disturb
Note on S24: Please don't edit here
Note on G25: Column no. 5 =Sum (2+3+4 Column)
Note on K25: The fig of power cut comes from daily hourly load sheet.