## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2021-10-06
Hiamchal Pradesh State Load Despatch Centre
[12 empty] | DATED | 2021-10-07
FROM | [10 empty] | TO
| POWER CONTROLLER | [10 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [10 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [12 empty] | DEMAND OF STATE |  |  | 31558.475 | MWh
[16 empty] | ACTUAL MALANA GENERATION |  |  | 806 | MWh
|  | State:- Himachal Pradesh | [13 empty] | ACTUAL BASPA GENERATION |  |  | 3934.7 | MWh | [7 empty] | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[11 empty] | PEAK DEMAND(MW) |  |  | 1636.1338 | [13 empty] | 1 | 00.00-00.15 | 49.89 |  | 1113.06
|  | Month/Day :- |  |  |  | 2021-10-06 |  |  |  |  | Min.DEMAND(MW) |  |  | 1027.23 |  | ACTUAL OWN GENERATION |  |  | 16091.969 | MWh | [7 empty] | 2 | 00.15-00.30 | 50.01 |  | 1121.74
[28 empty] | 3 | 00.30-00.45 | 49.92 |  | 1112.72 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [5 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET |  |  | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P6 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50.01 | 49.9575 | 1108.82 | 1114.085 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[10 empty] | DUE TO LOAD SHEDD-ING (MW) | DUE TO SATUTORY CUT (MW) | DUE TO T&D CONS-TRAINTS (MW) | [15 empty] | 5 | 01.00-01.15 | 50 |  | 1093.07 |  |  |  | MALANA-2 | 35.05 | 25.03 | 25.03 | 25.03 | 25.11 | 25.03 | 25.03 | 25 | 25.01 | 25.01 | 25.03 | 25.01 | 25 | 25.01 | 25.01 | 25.03 | 25.01 | 35.04 | 35.09 | 101.05 | 101.04 | 101.04 | 35.02 | 35.01 | 878.72
[28 empty] | 6 | 01.15-01.30 | 49.99 |  | 1099.72 |  |  |  | SWARA KUDDU | 88.8 | 88.8 | 63.8 | 37 | 37 | 81.2 | 81.4 | 81.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.9 | 88.8 | 88.8 | 88.8 | 88.8 | 88.8 | 88.8 | 88.8 | 1230.9
[28 empty] | 7 | 01.30-01.45 | 49.97 |  | 1107.7
[28 empty] | 8 | 01.45-02:00 | 49.98 | 49.985 | 1128.07 | 1107.14
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | TOTAL | [10 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.99 |  | 1078.69 |  | Malana
[8 empty] | 5+6 | [19 empty] | 10 | 02.15-02.30 | 49.99 |  | 1036.16
[8 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P6/1000 | P7 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.97 |  | 1027.23
1 | 2 | 3 | 4 |  |  | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.01 | 49.99 | 1074.69 | 1054.1925
1 | 668.7938 | 30.2484 | 250.39 | 35.05 | 88.8 | 1038.2323 | 76.4795 | 1114.7118 | 0 | 0 | 0 | 0 | 0 | 0 | 1114.7118 | 1 | 629.28 | 30 | 280 | 939.28 | 1114.085 | 1121.74 | 1108.82 | 1114.085 | 1114.085 | 1114.7118 | 0 | 13 | 03.00-03.15 | 49.98 |  | 1093.39 |  | 30 | 1
2 | 666.9871 | 30.2484 | 205.6775 | 25.03 | 88.8 | 991.713 | 116.0499 | 1107.7629 | 0 | 0 | 0 | 0 | 0 | 0 | 1107.7629 | 2 | 627.58 | 30 | 230 | 887.58 | 1107.14 | 1128.07 | 1093.07 | 1107.14 | 1107.14 | 1107.7629 | 0 | 14 | 03.15-03.30 | 50.01 |  | 1070.62 |  | 30 | 2
3 | 696.1076 | 30.2484 | 143.08 | 25.03 | 63.8 | 933.236 | 93.994 | 1027.23 | 0 | 0 | 0 | 0 | 0 | 0 | 1027.23 | 3 | 654.98 | 30 | 160 | 844.98 | 1054.1925 | 1078.69 | 1027.23 | 1027.23 | 1027.23 | 1027.23 | 0 | 15 | 03.30-03.45 | 50.01 |  | 1073.85 |  | 30 | 3
4 | 712.8997 | 13.511 | 89.425 | 25.03 | 37 | 852.8357 | 228.4173 | 1081.253 | 0 | 0 | 0 | 0 | 0 | 0 | 1081.253 | 4 | 670.78 | 13.4 | 100 | 784.18 | 1080.645 | 1093.39 | 1070.62 | 1080.645 | 1080.645 | 1081.253 | 0 | 16 | 03.45-04.00 | 50.02 | 50.005 | 1084.72 | 1080.645 | 13.4 | 4
5 | 716.0774 | 13.511 | 143.08 | 25.11 | 37 | 909.6684 | 200.3933 | 1110.0617 | 0 | 0 | 0 | 0 | 0 | 0 | 1110.0617 | 5 | 673.77 | 13.4 | 160 | 847.17 | 1109.4375 | 1127.88 | 1092.41 | 1109.4375 | 1109.4375 | 1110.0617 | 0 | 17 | 04.00-04.15 | 50.02 |  | 1092.41 |  | 13.4 | 5
6 | 628.5034 | 13.511 | 143.08 | 25.03 | 81.2 | 866.2943 | 350.8976 | 1217.1919 | 0 | 0 | 0 | 0 | 0 | 0 | 1217.1919 | 6 | 591.37 | 13.4 | 160 | 764.77 | 1216.5075 | 1247.16 | 1202.38 | 1216.5075 | 1216.5075 | 1217.1919 | 0 | 18 | 04.15-04.30 | 50 |  | 1097.21 |  | 13.4 | 6
7 | 616.0581 | 13.511 | 196.735 | 25.03 | 81.4 | 907.704 | 508.7524 | 1416.4565 | 0 | 0 | 0 | 0 | 0 | 0 | 1416.4565 | 7 | 579.66 | 13.4 | 220 | 813.06 | 1415.66 | 1500.69 | 1314.29 | 1415.66 | 1415.66 | 1416.4565 | 0 | 19 | 04.30-04.45 | 50 |  | 1120.25 |  | 13.4 | 7
8 | 647.7293 | 13.511 | 196.735 | 25 | 81.4 | 939.3752 | 617.0324 | 1556.4077 | 0 | 0 | 0 | 0 | 0 | 0 | 1556.4077 | 8 | 609.46 | 13.4 | 220 | 842.86 | 1555.5325 | 1560.46 | 1550.86 | 1555.5325 | 1555.5325 | 1556.4077 | 0 | 20 | 04.45-05.00 | 49.96 | 49.995 | 1127.88 | 1109.4375 | 13.4 | 8
9 | 641.9583 | 13.511 | 143.08 | 25.01 | 0 | 798.5493 | 769.6007 | 1568.15 | 0 | 0 | 0 | 0 | 0 | 0 | 1568.15 | 9 | 604.03 | 13.4 | 160 | 777.43 | 1558.9325 | 1568.15 | 1547.78 | 1568.15 | 1568.15 | 1568.15 | 0 | 21 | 05.00-05.15 | 49.92 |  | 1202.38 |  | 13.4 | 9
10 | 663.2567 | 13.511 | 143.08 | 25.01 | 0 | 819.8476 | 716.2861 | 1536.1338 | 0 | 100 | 0 | 0 | 100 | 0.1 | 1636.1338 | 10 | 624.07 | 13.4 | 160 | 797.47 | 1535.27 | 1545.64 | 1508.19 | 1535.27 | 1535.27 | 1536.1338 | 100 | 22 | 05.15-05.30 | 49.97 |  | 1205.37 |  | 13.4 | 10
11 | 651.0558 | 13.1077 | 143.08 | 25.03 | 0 | 807.2435 | 686.0237 | 1493.2671 | 0 | 100 | 0 | 0 | 100 | 0.1 | 1593.2671 | 11 | 612.59 | 13 | 160 | 785.59 | 1492.4275 | 1509.57 | 1467.17 | 1492.4275 | 1492.4275 | 1493.2671 | 100 | 23 | 05.30-05.45 | 49.97 |  | 1211.12 |  | 13 | 11
12 | 630.2145 | 13.1077 | 152.0225 | 25.01 | 0 | 795.3446 | 666.6725 | 1462.0171 | 0 | 100 | 0 | 0 | 100 | 0.1 | 1562.0171 | 12 | 592.98 | 13 | 170 | 775.98 | 1461.195 | 1474.58 | 1449.15 | 1461.195 | 1461.195 | 1462.0171 | 100 | 24 | 05.45-06.00 | 49.99 | 49.9625 | 1247.16 | 1216.5075 | 13 | 12
13 | 645.1148 | 13.511 | 196.735 | 25 | 0 | 855.3608 | 564.8453 | 1420.2061 | 0 | 100 | 0 | 0 | 100 | 0.1 | 1520.2061 | 13 | 607 | 13.4 | 220 | 840.4 | 1419.4075 | 1445.89 | 1388.13 | 1419.4075 | 1419.4075 | 1420.2061 | 100 | 25 | 06.00-06.15 | 49.99 |  | 1314.29 |  | 13.4 | 13
14 | 639.9178 | 13.511 | 143.08 | 25.01 | 0 | 796.5087 | 571.5505 | 1368.0592 | 0 | 100 | 0 | 0 | 100 | 0.1 | 1468.0592 | 14 | 602.11 | 13.4 | 160 | 775.51 | 1367.29 | 1375.68 | 1354.51 | 1367.29 | 1367.29 | 1368.0592 | 100 | 26 | 06.15-06.30 | 49.97 |  | 1384.26 |  | 13.4 | 14
15 | 664.447 | 13.511 | 143.08 | 25.01 | 0 | 821.038 | 537.2208 | 1358.2587 | 0 | 100 | 0 | 0 | 100 | 0.1 | 1458.2587 | 15 | 625.19 | 13.4 | 160 | 798.59 | 1357.495 | 1389.05 | 1324.43 | 1357.495 | 1357.495 | 1358.2587 | 100 | 27 | 06.30-06.45 | 49.97 |  | 1463.4 |  | 13.4 | 15
16 | 652.8732 | 13.1077 | 143.08 | 25.03 | 0 | 809.0608 | 576.1606 | 1385.2214 | 0 | 100 | 0 | 0 | 100 | 0.1 | 1485.2214 | 16 | 614.3 | 13 | 160 | 787.3 | 1384.4425 | 1397.99 | 1375.37 | 1384.4425 | 1384.4425 | 1385.2214 | 100 | 28 | 06.45-07.00 | 50.01 | 49.985 | 1500.69 | 1415.66 | 13 | 16
17 | 632.8396 | 13.1077 | 152.0225 | 25.01 | 49.9 | 847.8697 | 537.1466 | 1385.0163 | 0 | 100 | 0 | 0 | 100 | 0.1 | 1485.0163 | 17 | 595.45 | 13 | 170 | 778.45 | 1384.2375 | 1396.08 | 1379.9 | 1384.2375 | 1384.2375 | 1385.0163 | 100 | 29 | 07.00-07.15 | 50.01 |  | 1550.86 |  | 13 | 17
18 | 674.6073 | 60.0734 | 178.85 | 35.04 | 88.8 | 1002.3307 | 318.4295 | 1320.7601 | 0 | 100 | 0 | 0 | 100 | 0.1 | 1420.7601 | 18 | 634.75 | 59.58 | 200 | 894.33 | 1320.0175 | 1332.77 | 1296.48 | 1320.0175 | 1320.0175 | 1320.7601 | 100 | 30 | 07.15-07.30 | 50.02 |  | 1560.46 |  | 59.58 | 18
19 | 777.73 | 91.6528 | 152.0225 | 35.09 | 88.8 | 1110.2053 | 284.8817 | 1395.0869 | 0 | 20 | 0 | 0 | 20 | 0.02 | 1415.0869 | 19 | 731.78 | 90.9 | 170 | 992.68 | 1394.3025 | 1464.32 | 1323.53 | 1394.3025 | 1394.3025 | 1395.0869 | 20 | 31 | 07.30-07.45 | 50.02 |  | 1559.87 |  | 90.9 | 19
20 | 765.4122 | 91.6528 | 152.0225 | 101.05 | 88.8 | 1097.8875 | 306.4021 | 1404.2896 | 0 | 0 | 0 | 0 | 0 | 0 | 1404.2896 | 20 | 720.19 | 90.9 | 170 | 981.09 | 1403.5 | 1436.39 | 1372.62 | 1403.5 | 1403.5 | 1404.2896 | 0 | 32 | 07.45-08.00 | 50.03 | 50.02 | 1550.94 | 1555.5325 | 90.9 | 20
21 | 751.6597 | 91.7536 | 152.0225 | 101.04 | 88.8 | 1084.2358 | 228.3122 | 1312.548 | 0 | 0 | 0 | 0 | 0 | 0 | 1312.548 | 21 | 707.25 | 91 | 170 | 968.25 | 1311.81 | 1334.74 | 1293.71 | 1311.81 | 1311.81 | 1312.548 | 0 | 33 | 08.00-08.15 | 50.01 |  | 1561.23 |  | 91 | 21
22 | 728.7034 | 91.7536 | 178.85 | 101.04 | 88.8 | 1088.107 | 148.2632 | 1236.3702 | 0 | 0 | 0 | 0 | 0 | 0 | 1236.3702 | 22 | 685.65 | 91 | 200 | 976.65 | 1235.675 | 1265.13 | 1209.05 | 1235.675 | 1235.675 | 1236.3702 | 0 | 34 | 08.15-08.30 | 50.01 |  | 1568.15 |  | 91 | 22
23 | 585.811 | 50.4141 | 196.735 | 35.02 | 88.8 | 921.7601 | 237.6293 | 1159.3894 | 0 | 0 | 0 | 0 | 0 | 0 | 1159.3894 | 23 | 551.2 | 50 | 220 | 821.2 | 1158.7375 | 1175.56 | 1142.68 | 1158.7375 | 1158.7375 | 1159.3894 | 0 | 35 | 08.30-08.45 | 50.03 |  | 1558.57 |  | 50 | 23
24 | 633.2115 | 50.4141 | 196.735 | 35.01 | 88.8 | 969.1606 | 152.0048 | 1121.1654 | 0 | 0 | 0 | 0 | 0 | 0 | 1121.1654 | 24 | 595.8 | 50 | 220 | 865.8 | 1120.535 | 1133.84 | 1105.62 | 1120.535 | 1120.535 | 1121.1654 | 0 | 36 | 08.45-09.00 | 50.06 | 50.0275 | 1547.78 | 1558.9325 | 50 | 24
[16 empty] | 12: 37 | 09.00-09.15 | 50.02 |  | 1545.64
TOTAL (in MWh) | 16091.969 | 806 | 3934.7 | 878.72 | 1230.9 | 22063.569 | 9493.4458 | 31557.0148 | 0 | 920 | 0 | 0 | 920 | 920 | 32477.0148 | TOTAL | 15141.22 | 799.38 | 4400 | 20340.6 | 31558.475 |  |  | 31540.73 | 31540.73 | 31557.0148 | 920 | 38 | 09.15-09.30 | 50.02 |  | 1542.24
[16 empty] | 12: 39 | 09.30-09.45 | 50.03 |  | 1545.01
[16 empty] | 12: 40 | 09.45-10.00 | 50.03 | 50.025 | 1508.19 | 1535.27
|  |  | Hourly Average Frequency (Fr) | [7 empty] | 49.9811 | HZ |  |  |  | 1: Note :- Please don't edit these figures.; 12: 41 | 10.00-10.15 | 50.02 |  | 1506.47
|  |  | Demand met for the day | [7 empty] | 1568.15 | MW |  |  |  | 12: 42 | 10.15-10.30 | 50.04 |  | 1509.57
|  |  | Unrestricted Demand for the day | [7 empty] | 1636.1338 | MW |  |  |  | 1: MAX =; 2: 1568.15; 12: 43 | 10.30-10.45 | 50.05 |  | 1486.5
|  |  | Minimum Demand(Unrestricted) for the day | [7 empty] | 1027.23 | MW | Aux. | Net gen. |  | 1: MIN =; 2: 1027.23; 12: 44 | 10.45-11.00 | 50.06 | 50.0425 | 1467.17 | 1492.4275
|  |  | Gross own generation | [7 empty] | 16091.969 | MWH | 31.629 | 16060.34 |  | 12: 45 | 11.00-11.15 | 50.02 |  | 1474.58
|  |  | Gross Baspa generation | [7 empty] | 3934.7 | MWH | 5.3 | 3929.4 |  | 12: 46 | 11.15-11.30 | 50.04 |  | 1458.02
|  |  | Gross Malana generation | [7 empty] | 806 | MWH | 13.449 | 792.551 |  | 12: 47 | 11.30-11.45 | 50.03 |  | 1463.03
|  |  | Malana generation at 0300 Hrs. | [7 empty] | 30 | MW |  |  |  | 12: 48 | 11.45-12.00 | 50.03 | 50.03 | 1449.15 | 1461.195
|  |  | Malana generation at 2400 Hrs. | [7 empty] | 50 | MW |  |  |  | 12: 49 | 12.00-12.15 | 50.02 |  | 1416.27
|  |  | Max.generation of Malana at 2100 Hrs. | [7 empty] | 91 | MW |  |  |  | 12: 50 | 12.15-12.30 | 50.03 |  | 1427.34
[9 empty] | Off Peak Hrs MW |  | Peak Hrs MW |  | Gross Lus | Net Lus
|  |  | Total Own Generation | [5 empty] | 644.0114 |  | 982.3412 |  | 160.9197 | 160.6034 |  | 12: 51 | 12.30-12.45 | 50.01 |  | 1445.89
|  |  | Above 25 MW | [5 empty] | 309.6143 |  | 345.445 |  | 67.4436 | 67.1823 |  | 12: 52 | 12.45-13.00 | 50.04 | 50.025 | 1388.13 | 1419.4075
|  |  | Below 25 MW(Small Hydro <25 MW) | [5 empty] | 334.3971 |  | 636.8962 |  | 93.4761 | 93.4211 |  | 12: 53 | 13.00-13.15 | 50.07 |  | 1377.54
[16 empty] | 12: 54 | 13.15-13.30 | 50.02 |  | 1354.51
[16 empty] | 12: 55 | 13.30-13.45 | 50.03 |  | 1361.43
[16 empty] | 12: 56 | 13.45-14.00 | 50.02 | 50.035 | 1375.68 | 1367.29
[16 empty] | 12: 57 | 14.00-14.15 | 50 |  | 1342.81
[16 empty] | 12: 58 | 14.15-14.30 | 49.97 |  | 1324.43
[16 empty] | 12: 59 | 14.30-14.45 | 49.93 |  | 1373.69
[16 empty] | 12: 60 | 14.45-15.00 | 49.96 | 49.965 | 1389.05 | 1357.495
[16 empty] | 12: 61 | 15.00-15.15 | 49.98 |  | 1375.37
[16 empty] | 12: 62 | 15.15-15.30 | 49.98 |  | 1385.9
[16 empty] | 12: 63 | 15.30-15.45 | 50 |  | 1378.51
[16 empty] | 12: 64 | 15.45-16.00 | 50 | 49.99 | 1397.99 | 1384.4425
[16 empty] | 12: 65 | 16.00-16.15 | 49.97 |  | 1396.08
[16 empty] | 12: 66 | 16.15-16.30 | 50 |  | 1380.7
[16 empty] | 12: 67 | 16.30-16.45 | 49.98 |  | 1380.27
[16 empty] | 12: 68 | 16.45-17.00 | 49.97 | 49.98 | 1379.9 | 1384.2375
[16 empty] | 12: 69 | 17.00-17.15 | 49.97 |  | 1332.77
[16 empty] | 12: 70 | 17.15-17.30 | 49.85 |  | 1328.47
[16 empty] | 12: 71 | 17.30-17.45 | 49.74 |  | 1296.48
[16 empty] | 12: 72 | 17.45-18.00 | 49.78 | 49.835 | 1322.35 | 1320.0175
[16 empty] | 12: 73 | 18.00-18.15 | 49.81 |  | 1323.53
[16 empty] | 12: 74 | 18.15-18.30 | 49.75 |  | 1364.81
[16 empty] | 12: 75 | 18.30-18.45 | 49.97 |  | 1424.55
[16 empty] | 12: 76 | 18.45-19.00 | 49.98 | 49.8775 | 1464.32 | 1394.3025
[16 empty] | 12: 77 | 19.00-19.15 | 49.95 |  | 1436.39
[16 empty] | 12: 78 | 19.15-19.30 | 49.85 |  | 1413.65
[16 empty] | 12: 79 | 19.30-19.45 | 49.96 |  | 1391.34
[16 empty] | 12: 80 | 19.45-20.00 | 50.01 | 49.9425 | 1372.62 | 1403.5
[16 empty] | 12: 81 | 20.00-20.15 | 50 |  | 1334.74
[16 empty] | 12: 82 | 20.15-20.30 | 50 |  | 1318.06
[16 empty] | 12: 83 | 20.30-20.45 | 50.01 |  | 1300.73
[16 empty] | 12: 84 | 20.45-21.00 | 50 | 50.0025 | 1293.71 | 1311.81
[16 empty] | 12: 85 | 21.00-21.15 | 49.96 |  | 1265.13
[16 empty] | 12: 86 | 21.15-21.30 | 49.92 |  | 1243.39
[16 empty] | 12: 87 | 21.30-21.45 | 49.9 |  | 1225.13
[16 empty] | 12: 88 | 21.45-22.00 | 50.02 | 49.95 | 1209.05 | 1235.675
[16 empty] | 12: 89 | 22.00-22.15 | 50 |  | 1175.56
[16 empty] | 12: 90 | 22.15-22.30 | 49.97 |  | 1157.84
[16 empty] | 12: 91 | 22.30-22.45 | 49.94 |  | 1158.87
[16 empty] | 12: 92 | 22.45-23.00 | 49.91 | 49.955 | 1142.68 | 1158.7375
[16 empty] | 12: 93 | 23.00-23.15 | 49.96 |  | 1129.05
[16 empty] | 12: 94 | 23.15-23.30 | 49.96 |  | 1133.84
[16 empty] | 12: 95 | 23.30-23.45 | 50 |  | 1113.63
[16 empty] | 12: 96 | 23.45-24.00 | 49.94 | 49.965 | 1105.62 | 1120.535
[29 empty] | Total | 49.9811 | 49.9811 | 31558.475 | 31558.475
[29 empty] | max | 1568.15 |  | avg. max | 1558.9325
[29 empty] | min | 1027.23 |  | avg. min | 1054.1925
Note on AA16: ReportServer: critical formulas…….do not disturb
Note on AB16: ReportServer: critical formulas…….do not disturb
Note on S24: Please don't edit here
Note on G25: Column no. 5 =Sum (2+3+4 Column)
Note on K25: The fig of power cut comes from daily hourly load sheet.