## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2021-10-08
Hiamchal Pradesh State Load Despatch Centre
[12 empty] | DATED | 2021-10-09
FROM | [10 empty] | TO
| POWER CONTROLLER | [10 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [10 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [12 empty] | DEMAND OF STATE |  |  | 31852.4675 | MWh
[16 empty] | ACTUAL MALANA GENERATION |  |  | 938 | MWh
|  | State:- Himachal Pradesh | [13 empty] | ACTUAL BASPA GENERATION |  |  | 3789 | MWh | [7 empty] | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[11 empty] | PEAK DEMAND(MW) |  |  | 1547.53 | [13 empty] | 1 | 00.00-00.15 | 50.01 |  | 1132.28
|  | Month/Day :- |  |  |  | 2021-10-08 |  |  |  |  | Min.DEMAND(MW) |  |  | 1064.23 |  | ACTUAL OWN GENERATION |  |  | 15936.8425 | MWh | [7 empty] | 2 | 00.15-00.30 | 49.98 |  | 1109.77
[28 empty] | 3 | 00.30-00.45 | 50 |  | 1102.77 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [5 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET |  |  | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P6 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 49.95 | 49.985 | 1108.48 | 1113.325 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[10 empty] | DUE TO LOAD SHEDD-ING (MW) | DUE TO SATUTORY CUT (MW) | DUE TO T&D CONS-TRAINTS (MW) | [15 empty] | 5 | 01.00-01.15 | 49.88 |  | 1102.16 |  |  |  | MALANA-2 | 30.06 | 30.06 | 30.06 | 30.06 | 30.06 | 30.02 | 30.02 | 29.98 | 30.01 | 30.02 | 40.04 | 40.05 | 25 | 25.01 | 25.01 | 25.03 | 25.01 | 35.04 | 35.09 | 101.05 | 101.04 | 101.04 | 30.06 | 30.02 | 938.84
[28 empty] | 6 | 01.15-01.30 | 49.98 |  | 1086.6 |  |  |  | SWARA KUDDU | 71.8 | 11 | 0 | 0 | 0 | 51.7 | 81.4 | 81.4 | 11.5 | 0 | 0 | 0 | 0 | 0 | 41.6 | 88.8 | 88.8 | 88.8 | 88.8 | 88.8 | 74 | 74 | 74 | 74 | 1090.4
[28 empty] | 7 | 01.30-01.45 | 49.93 |  | 1096.37
[28 empty] | 8 | 01.45-02:00 | 49.92 | 49.9275 | 1094.97 | 1095.025
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | TOTAL | [10 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.98 |  | 1090.46 |  | Malana
[8 empty] | 5+6 | [19 empty] | 10 | 02.15-02.30 | 49.96 |  | 1075.77
[8 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P6/1000 | P7 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.93 |  | 1080.11
1 | 2 | 3 | 4 |  |  | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 49.99 | 49.965 | 1069.48 | 1078.955
1 | 653.0141 | 85.5586 | 135.3214 | 30.06 | 71.8 | 945.6942 | 167.1484 | 1112.8426 | 0 | 0 | 0 | 0 | 0 | 0 | 1112.8426 | 1 | 610.37 | 74 | 150 | 834.37 | 1113.325 | 1132.28 | 1102.77 | 1113.325 | 1113.325 | 1112.8426 | 0 | 13 | 03.00-03.15 | 49.91 |  | 1068.6 |  | 74 | 1
2 | 662.1829 | 0 | 153.3643 | 30.06 | 11 | 826.5472 | 268.0033 | 1094.5505 | 0 | 0 | 0 | 0 | 0 | 0 | 1094.5505 | 2 | 618.94 | 0 | 170 | 788.94 | 1095.025 | 1102.16 | 1086.6 | 1095.025 | 1095.025 | 1094.5505 | 0 | 14 | 03.15-03.30 | 49.99 |  | 1068.48 |  | 0 | 2
3 | 680.3706 | 0 | 108.2571 | 30.06 | 0 | 788.6278 | 289.8597 | 1078.4875 | 0 | 0 | 0 | 0 | 0 | 0 | 1078.4875 | 3 | 635.94 | 0 | 120 | 755.94 | 1078.955 | 1090.46 | 1069.48 | 1078.955 | 1078.955 | 1078.4875 | 0 | 15 | 03.30-03.45 | 50.01 |  | 1064.23 |  | 0 | 3
4 | 677.8136 | 0 | 135.3214 | 30.06 | 0 | 813.1351 | 251.0949 | 1064.23 | 0 | 0 | 0 | 0 | 0 | 0 | 1064.23 | 4 | 633.55 | 0 | 150 | 783.55 | 1068.45 | 1072.49 | 1064.23 | 1064.23 | 1064.23 | 1064.23 | 0 | 16 | 03.45-04.00 | 50 | 49.9775 | 1072.49 | 1068.45 | 0 | 4
5 | 630.7609 | 0 | 135.3214 | 30.06 | 0 | 766.0824 | 316.0585 | 1082.1409 | 0 | 0 | 0 | 0 | 0 | 0 | 1082.1409 | 5 | 589.57 | 0 | 150 | 739.57 | 1082.61 | 1093.22 | 1073.96 | 1082.61 | 1082.61 | 1082.1409 | 0 | 17 | 04.00-04.15 | 50 |  | 1073.96 |  | 0 | 5
6 | 612.7765 | 0 | 171.4071 | 30.02 | 51.7 | 835.8836 | 331.9576 | 1167.8413 | 0 | 0 | 0 | 0 | 0 | 0 | 1167.8413 | 6 | 572.76 | 0 | 190 | 762.76 | 1168.3475 | 1230.62 | 1105.79 | 1168.3475 | 1168.3475 | 1167.8413 | 0 | 18 | 04.15-04.30 | 50 |  | 1077.51 |  | 0 | 6
7 | 593.8613 | 47.4041 | 180.4286 | 30.02 | 81.4 | 903.0939 | 486.7236 | 1389.8175 | 0 | 0 | 0 | 0 | 0 | 0 | 1389.8175 | 7 | 555.08 | 41 | 200 | 796.08 | 1390.42 | 1469.5 | 1293.8 | 1390.42 | 1390.42 | 1389.8175 | 0 | 19 | 04.30-04.45 | 49.98 |  | 1085.75 |  | 41 | 7
8 | 592.8449 | 47.4041 | 99.2357 | 29.98 | 81.4 | 820.8847 | 726.6453 | 1547.53 | 0 | 0 | 0 | 0 | 0 | 0 | 1547.53 | 8 | 554.13 | 41 | 110 | 705.13 | 1529.5025 | 1547.53 | 1506.65 | 1547.53 | 1547.53 | 1547.53 | 0 | 20 | 04.45-05.00 | 49.92 | 49.975 | 1093.22 | 1082.61 | 41 | 8
9 | 597.6914 | 47.4041 | 135.3214 | 30.01 | 11.5 | 791.9169 | 738.5946 | 1530.5115 | 0 | 0 | 0 | 0 | 0 | 0 | 1530.5115 | 9 | 558.66 | 41 | 150 | 749.66 | 1531.175 | 1537.93 | 1521.73 | 1531.175 | 1531.175 | 1530.5115 | 0 | 21 | 05.00-05.15 | 49.93 |  | 1105.79 |  | 41 | 9
10 | 611.3322 | 16.9961 | 135.3214 | 30.02 | 0 | 763.6497 | 737.9744 | 1501.6241 | 0 | 0 | 0 | 0 | 0 | 0 | 1501.6241 | 10 | 571.41 | 14.7 | 150 | 736.11 | 1502.275 | 1514.84 | 1492.4 | 1502.275 | 1502.275 | 1501.6241 | 0 | 22 | 05.15-05.30 | 49.91 |  | 1148.12 |  | 14.7 | 10
11 | 663.4988 | 16.1868 | 198.4714 | 40.04 | 0 | 878.157 | 617.0148 | 1495.1719 | 0 | 0 | 0 | 0 | 0 | 0 | 1495.1719 | 11 | 620.17 | 14 | 220 | 854.17 | 1495.82 | 1501.32 | 1489.25 | 1495.82 | 1495.82 | 1495.1719 | 0 | 23 | 05.30-05.45 | 50 |  | 1188.86 |  | 14 | 11
12 | 668.3881 | 16.1868 | 198.4714 | 40.05 | 0 | 883.0463 | 576.6534 | 1459.6997 | 0 | 0 | 0 | 0 | 0 | 0 | 1459.6997 | 12 | 624.74 | 14 | 220 | 858.74 | 1460.3325 | 1469.23 | 1449.63 | 1460.3325 | 1460.3325 | 1459.6997 | 0 | 24 | 05.45-06.00 | 50.02 | 49.965 | 1230.62 | 1168.3475 | 14 | 12
13 | 648.7133 | 15.493 | 198.4714 | 25 | 0 | 862.6778 | 606.0081 | 1468.6858 | 0 | 0 | 0 | 0 | 0 | 0 | 1468.6858 | 13 | 606.35 | 13.4 | 220 | 839.75 | 1469.3225 | 1494.98 | 1442.5 | 1469.3225 | 1469.3225 | 1468.6858 | 0 | 25 | 06.00-06.15 | 49.99 |  | 1293.8 |  | 13.4 | 13
14 | 643.7063 | 15.493 | 144.3429 | 25.01 | 0 | 803.5422 | 589.5464 | 1393.0886 | 0 | 0 | 0 | 0 | 0 | 0 | 1393.0886 | 14 | 601.67 | 13.4 | 160 | 775.07 | 1393.6925 | 1410.64 | 1362.03 | 1393.6925 | 1393.6925 | 1393.0886 | 0 | 26 | 06.15-06.30 | 49.88 |  | 1366.54 |  | 13.4 | 14
15 | 664.9859 | 15.493 | 144.3429 | 25.01 | 41.6 | 866.4219 | 541.0855 | 1407.5074 | 0 | 0 | 0 | 0 | 0 | 0 | 1407.5074 | 15 | 621.56 | 13.4 | 160 | 794.96 | 1408.1175 | 1428.03 | 1396.22 | 1408.1175 | 1408.1175 | 1407.5074 | 0 | 27 | 06.30-06.45 | 49.8 |  | 1431.84 |  | 13.4 | 15
16 | 656.8015 | 15.0306 | 144.3429 | 25.03 | 88.8 | 904.9749 | 515.8467 | 1420.8216 | 0 | 0 | 0 | 0 | 0 | 0 | 1420.8216 | 16 | 613.91 | 13 | 160 | 786.91 | 1421.4375 | 1425.39 | 1413.77 | 1421.4375 | 1421.4375 | 1420.8216 | 0 | 28 | 06.45-07.00 | 49.97 | 49.91 | 1469.5 | 1390.42 | 13 | 16
17 | 636.4954 | 15.0306 | 153.3643 | 25.01 | 88.8 | 893.6903 | 503.8214 | 1397.5117 | 0 | 0 | 0 | 0 | 0 | 0 | 1397.5117 | 17 | 594.93 | 13 | 170 | 777.93 | 1398.1175 | 1408.23 | 1392.27 | 1398.1175 | 1398.1175 | 1397.5117 | 0 | 29 | 07.00-07.15 | 49.97 |  | 1506.65 |  | 13 | 17
18 | 669.8859 | 68.8863 | 180.4286 | 35.04 | 88.8 | 1008.0008 | 362.4002 | 1370.401 | 0 | 0 | 0 | 0 | 0 | 0 | 1370.401 | 18 | 626.14 | 59.58 | 200 | 885.72 | 1370.995 | 1374.85 | 1366.9 | 1370.995 | 1370.995 | 1370.401 | 0 | 30 | 07.15-07.30 | 49.95 |  | 1521.32 |  | 59.58 | 18
19 | 774.123 | 105.0984 | 153.3643 | 35.09 | 88.8 | 1121.3856 | 345.2161 | 1466.6018 | 0 | 0 | 0 | 0 | 0 | 0 | 1466.6018 | 19 | 723.57 | 90.9 | 170 | 984.47 | 1467.2375 | 1527.79 | 1380.79 | 1467.2375 | 1467.2375 | 1466.6018 | 0 | 31 | 07.30-07.45 | 50.05 |  | 1547.53 |  | 90.9 | 19
20 | 764.8151 | 105.0984 | 153.3643 | 101.05 | 88.8 | 1112.0778 | 338.0111 | 1450.0889 | 0 | 0 | 0 | 0 | 0 | 0 | 1450.0889 | 20 | 714.87 | 90.9 | 170 | 975.77 | 1450.7175 | 1504.86 | 1395.59 | 1450.7175 | 1450.7175 | 1450.0889 | 0 | 32 | 07.45-08.00 | 50.03 | 50 | 1542.51 | 1529.5025 | 90.9 | 20
21 | 756.2562 | 105.214 | 153.3643 | 101.04 | 74 | 1088.8345 | 260.2257 | 1349.0602 | 0 | 0 | 0 | 0 | 0 | 0 | 1349.0602 | 21 | 706.87 | 91 | 170 | 967.87 | 1349.645 | 1378.53 | 1310.7 | 1349.645 | 1349.645 | 1349.0602 | 0 | 33 | 08.00-08.15 | 50 |  | 1532.42 |  | 91 | 21
22 | 733.1257 | 105.214 | 180.4286 | 101.04 | 74 | 1092.7683 | 159.4839 | 1252.2522 | 0 | 0 | 0 | 0 | 0 | 0 | 1252.2522 | 22 | 685.25 | 91 | 200 | 976.25 | 1252.795 | 1291.29 | 1223.18 | 1252.795 | 1252.795 | 1252.2522 | 0 | 34 | 08.15-08.30 | 50.01 |  | 1537.93 |  | 91 | 22
23 | 680.9911 | 47.4041 | 198.4714 | 30.06 | 74 | 1000.8667 | 192.9983 | 1193.865 | 0 | 0 | 0 | 0 | 0 | 0 | 1193.865 | 23 | 636.52 | 41 | 220 | 897.52 | 1194.3825 | 1198.24 | 1187.72 | 1194.3825 | 1194.3825 | 1193.865 | 0 | 35 | 08.30-08.45 | 50.02 |  | 1532.62 |  | 41 | 23
24 | 662.4076 | 47.4041 | 198.4714 | 30.02 | 74 | 982.2831 | 176.9844 | 1159.2675 | 0 | 0 | 0 | 0 | 0 | 0 | 1159.2675 | 24 | 619.15 | 41 | 220 | 880.15 | 1159.77 | 1167.89 | 1148.19 | 1159.77 | 1159.77 | 1159.2675 | 0 | 36 | 08.45-09.00 | 49.99 | 50.005 | 1521.73 | 1531.175 | 41 | 24
[16 empty] | 12: 37 | 09.00-09.15 | 49.98 |  | 1504.99
TOTAL (in MWh) | 15936.8425 | 938 | 3789 | 938.84 | 1090.4 | 21754.2425 | 10099.3567 | 31853.5992 | 0 | 0 | 0 | 0 | 0 | 0 | 31853.5992 | TOTAL | 14896.11 | 811.28 | 4200 | 19907.39 | 31852.4675 |  |  | 31866.275 | 31866.275 | 31853.5992 | 0 | 38 | 09.15-09.30 | 50.02 |  | 1496.87
[16 empty] | 12: 39 | 09.30-09.45 | 49.96 |  | 1514.84
[16 empty] | 12: 40 | 09.45-10.00 | 49.98 | 49.985 | 1492.4 | 1502.275
|  |  | Hourly Average Frequency (Fr) | [7 empty] | 49.9524 | HZ |  |  |  | 1: Note :- Please don't edit these figures.; 12: 41 | 10.00-10.15 | 49.97 |  | 1494.93
|  |  | Demand met for the day | [7 empty] | 1547.53 | MW |  |  |  | 12: 42 | 10.15-10.30 | 50.01 |  | 1497.78
|  |  | Unrestricted Demand for the day | [7 empty] | 1547.53 | MW |  |  |  | 1: MAX =; 2: 1547.53; 12: 43 | 10.30-10.45 | 50.03 |  | 1501.32
|  |  | Minimum Demand(Unrestricted) for the day | [7 empty] | 1064.23 | MW | Aux. | Net gen. |  | 1: MIN =; 2: 1064.23; 12: 44 | 10.45-11.00 | 50.02 | 50.0075 | 1489.25 | 1495.82
|  |  | Gross own generation | [7 empty] | 15936.8425 | MWH | 26.813 | 15910.0295 |  | 12: 45 | 11.00-11.15 | 49.98 |  | 1469.23
|  |  | Gross Baspa generation | [7 empty] | 3789 | MWH | 6.26 | 3782.74 |  | 12: 46 | 11.15-11.30 | 49.98 |  | 1465.5
|  |  | Gross Malana generation | [7 empty] | 938 | MWH | 13.449 | 924.551 |  | 12: 47 | 11.30-11.45 | 49.91 |  | 1456.97
|  |  | Malana generation at 0300 Hrs. | [7 empty] | 0 | MW |  |  |  | 12: 48 | 11.45-12.00 | 49.89 | 49.94 | 1449.63 | 1460.3325
|  |  | Malana generation at 2400 Hrs. | [7 empty] | 41 | MW |  |  |  | 12: 49 | 12.00-12.15 | 49.94 |  | 1457.05
|  |  | Max.generation of Malana at 2100 Hrs. | [7 empty] | 91 | MW |  |  |  | 12: 50 | 12.15-12.30 | 49.86 |  | 1442.5
[9 empty] | Off Peak Hrs MW |  | Peak Hrs MW |  | Gross Lus | Net Lus
|  |  | Total Own Generation | [5 empty] | 632.4231 |  | 969.9832 |  | 159.3684 | 159.1003 |  | 12: 51 | 12.30-12.45 | 49.92 |  | 1494.98
|  |  | Above 25 MW | [5 empty] | 301.7103 |  | 350.1329 |  | 66.8884 | 66.6741 |  | 12: 52 | 12.45-13.00 | 50 | 49.93 | 1482.76 | 1469.3225
|  |  | Below 25 MW(Small Hydro <25 MW) | [5 empty] | 330.7128 |  | 619.8503 |  | 92.48 | 92.4262 |  | 12: 53 | 13.00-13.15 | 50.07 |  | 1418.54
[16 empty] | 12: 54 | 13.15-13.30 | 50.03 |  | 1362.03
[16 empty] | 12: 55 | 13.30-13.45 | 49.9 |  | 1383.56
[16 empty] | 12: 56 | 13.45-14.00 | 49.96 | 49.99 | 1410.64 | 1393.6925
[16 empty] | 12: 57 | 14.00-14.15 | 49.97 |  | 1403.1
[16 empty] | 12: 58 | 14.15-14.30 | 49.8 |  | 1396.22
[16 empty] | 12: 59 | 14.30-14.45 | 49.91 |  | 1405.12
[16 empty] | 12: 60 | 14.45-15.00 | 49.99 | 49.9175 | 1428.03 | 1408.1175
[16 empty] | 12: 61 | 15.00-15.15 | 50 |  | 1422.48
[16 empty] | 12: 62 | 15.15-15.30 | 50.03 |  | 1425.39
[16 empty] | 12: 63 | 15.30-15.45 | 49.98 |  | 1424.11
[16 empty] | 12: 64 | 15.45-16.00 | 49.87 | 49.97 | 1413.77 | 1421.4375
[16 empty] | 12: 65 | 16.00-16.15 | 49.96 |  | 1408.23
[16 empty] | 12: 66 | 16.15-16.30 | 49.94 |  | 1398.98
[16 empty] | 12: 67 | 16.30-16.45 | 49.9 |  | 1392.27
[16 empty] | 12: 68 | 16.45-17.00 | 49.86 | 49.915 | 1392.99 | 1398.1175
[16 empty] | 12: 69 | 17.00-17.15 | 49.95 |  | 1374.85
[16 empty] | 12: 70 | 17.15-17.30 | 49.86 |  | 1366.9
[16 empty] | 12: 71 | 17.30-17.45 | 49.92 |  | 1371.97
[16 empty] | 12: 72 | 17.45-18.00 | 49.84 | 49.8925 | 1370.26 | 1370.995
[16 empty] | 12: 73 | 18.00-18.15 | 49.91 |  | 1380.79
[16 empty] | 12: 74 | 18.15-18.30 | 49.74 |  | 1456.72
[16 empty] | 12: 75 | 18.30-18.45 | 49.92 |  | 1503.65
[16 empty] | 12: 76 | 18.45-19.00 | 49.94 | 49.8775 | 1527.79 | 1467.2375
[16 empty] | 12: 77 | 19.00-19.15 | 49.96 |  | 1504.86
[16 empty] | 12: 78 | 19.15-19.30 | 49.97 |  | 1469.66
[16 empty] | 12: 79 | 19.30-19.45 | 49.91 |  | 1432.76
[16 empty] | 12: 80 | 19.45-20.00 | 49.96 | 49.95 | 1395.59 | 1450.7175
[16 empty] | 12: 81 | 20.00-20.15 | 50.02 |  | 1378.53
[16 empty] | 12: 82 | 20.15-20.30 | 50 |  | 1367.27
[16 empty] | 12: 83 | 20.30-20.45 | 49.93 |  | 1342.08
[16 empty] | 12: 84 | 20.45-21.00 | 49.92 | 49.9675 | 1310.7 | 1349.645
[16 empty] | 12: 85 | 21.00-21.15 | 50.02 |  | 1291.29
[16 empty] | 12: 86 | 21.15-21.30 | 49.96 |  | 1263.04
[16 empty] | 12: 87 | 21.30-21.45 | 49.83 |  | 1233.67
[16 empty] | 12: 88 | 21.45-22.00 | 50.02 | 49.9575 | 1223.18 | 1252.795
[16 empty] | 12: 89 | 22.00-22.15 | 49.89 |  | 1198.24
[16 empty] | 12: 90 | 22.15-22.30 | 49.88 |  | 1194.85
[16 empty] | 12: 91 | 22.30-22.45 | 49.97 |  | 1196.72
[16 empty] | 12: 92 | 22.45-23.00 | 49.89 | 49.9075 | 1187.72 | 1194.3825
[16 empty] | 12: 93 | 23.00-23.15 | 49.88 |  | 1167.89
[16 empty] | 12: 94 | 23.15-23.30 | 49.92 |  | 1167.27
[16 empty] | 12: 95 | 23.30-23.45 | 50 |  | 1155.73
[16 empty] | 12: 96 | 23.45-24.00 | 49.96 | 49.94 | 1148.19 | 1159.77
[29 empty] | Total | 49.9524 | 49.9524 | 31852.4675 | 31852.4675
[29 empty] | max | 1547.53 |  | avg. max | 1531.175
[29 empty] | min | 1064.23 |  | avg. min | 1068.45
Note on AA16: ReportServer: critical formulas…….do not disturb
Note on AB16: ReportServer: critical formulas…….do not disturb
Note on S24: Please don't edit here
Note on G25: Column no. 5 =Sum (2+3+4 Column)
Note on K25: The fig of power cut comes from daily hourly load sheet.