## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2021-10-09
Hiamchal Pradesh State Load Despatch Centre
[12 empty] | DATED | 2021-10-10
FROM | [10 empty] | TO
| POWER CONTROLLER | [10 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [10 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [12 empty] | DEMAND OF STATE |  |  | 31793.5975 | MWh
[16 empty] | ACTUAL MALANA GENERATION |  |  | 920 | MWh
|  | State:- Himachal Pradesh | [13 empty] | ACTUAL BASPA GENERATION |  |  | 3732 | MWh | [7 empty] | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[11 empty] | PEAK DEMAND(MW) |  |  | 1535.59 | [13 empty] | 1 | 00.00-00.15 | 49.87 |  | 1135.86
|  | Month/Day :- |  |  |  | 2021-10-09 |  |  |  |  | Min.DEMAND(MW) |  |  | 1086.42 |  | ACTUAL OWN GENERATION |  |  | 15900.5425 | MWh | [7 empty] | 2 | 00.15-00.30 | 49.82 |  | 1123.21
[28 empty] | 3 | 00.30-00.45 | 49.94 |  | 1123.16 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [5 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET |  |  | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P6 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 49.87 | 49.875 | 1114.42 | 1124.1625 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[10 empty] | DUE TO LOAD SHEDD-ING (MW) | DUE TO SATUTORY CUT (MW) | DUE TO T&D CONS-TRAINTS (MW) | [15 empty] | 5 | 01.00-01.15 | 49.84 |  | 1108.79 |  |  |  | MALANA-2 | 30.06 | 30.06 | 30.06 | 30.02 | 30.02 | 30.02 | 30.04 | 29.98 | 30.03 | 30.05 | 30.02 | 30.06 | 25 | 25.01 | 25.01 | 25.03 | 25.01 | 35.04 | 35.09 | 101.05 | 101.04 | 101.04 | 30.06 | 30.02 | 918.82
[28 empty] | 6 | 01.15-01.30 | 49.92 |  | 1105.27 |  |  |  | SWARA KUDDU | 51.6 | 0 | 0 | 0 | 0 | 71.6 | 81.4 | 42.2 | 0 | 0 | 0 | 0 | 0 | 0 | 21.7 | 87.7 | 88.8 | 88.8 | 88.8 | 88.8 | 74 | 74 | 74 | 74 | 1007.4
[28 empty] | 7 | 01.30-01.45 | 49.86 |  | 1102.5
[28 empty] | 8 | 01.45-02:00 | 49.97 | 49.8975 | 1102.4 | 1104.74
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | TOTAL | [10 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.97 |  | 1109.21 |  | Malana
[8 empty] | 5+6 | [19 empty] | 10 | 02.15-02.30 | 49.88 |  | 1096.4
[8 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P6/1000 | P7 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.85 |  | 1086.42
1 | 2 | 3 | 4 |  |  | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 49.96 | 49.915 | 1112.98 | 1101.2525
1 | 652.0431 | 56.2672 | 184.7525 | 30.06 | 51.6 | 944.6627 | 179.7319 | 1124.3946 | 0 | 0 | 0 | 0 | 0 | 0 | 1124.3946 | 1 | 601.7 | 53 | 200 | 854.7 | 1124.1625 | 1135.86 | 1114.42 | 1124.1625 | 1124.1625 | 1124.3946 | 0 | 13 | 03.00-03.15 | 50.01 |  | 1124.74 |  | 53 | 1
2 | 652.8016 | 27.6028 | 184.7525 | 30.06 | 0 | 865.1569 | 239.8112 | 1104.9681 | 0 | 0 | 0 | 0 | 0 | 0 | 1104.9681 | 2 | 602.4 | 26 | 200 | 828.4 | 1104.74 | 1108.79 | 1102.4 | 1104.74 | 1104.74 | 1104.9681 | 0 | 14 | 03.15-03.30 | 50.03 |  | 1100.97 |  | 26 | 2
3 | 642.1817 | 14.863 | 157.0396 | 30.06 | 0 | 814.0843 | 272.3357 | 1086.42 | 0 | 0 | 0 | 0 | 0 | 0 | 1086.42 | 3 | 592.6 | 14 | 170 | 776.6 | 1101.2525 | 1112.98 | 1086.42 | 1086.42 | 1086.42 | 1086.42 | 0 | 15 | 03.30-03.45 | 50.02 |  | 1096.17 |  | 14 | 3
4 | 568.6006 | 14.863 | 147.802 | 30.02 | 0 | 731.2656 | 373.8825 | 1105.1481 | 0 | 0 | 0 | 0 | 0 | 0 | 1105.1481 | 4 | 524.7 | 14 | 160 | 698.7 | 1104.92 | 1124.74 | 1096.17 | 1104.92 | 1104.92 | 1105.1481 | 0 | 16 | 03.45-04.00 | 50.01 | 50.0175 | 1097.8 | 1104.92 | 14 | 4
5 | 576.9449 | 14.863 | 92.3762 | 30.02 | 0 | 684.1841 | 424.7698 | 1108.9539 | 0 | 0 | 0 | 0 | 0 | 0 | 1108.9539 | 5 | 532.4 | 14 | 100 | 646.4 | 1108.725 | 1130.5 | 1092.92 | 1108.725 | 1108.725 | 1108.9539 | 0 | 17 | 04.00-04.15 | 50.01 |  | 1092.92 |  | 14 | 5
6 | 556.1385 | 42.4658 | 83.1386 | 30.02 | 71.6 | 753.3429 | 429.3738 | 1182.7166 | 0 | 0 | 0 | 0 | 0 | 0 | 1182.7166 | 6 | 513.2 | 40 | 90 | 643.2 | 1182.4725 | 1224.62 | 1144.86 | 1182.4725 | 1182.4725 | 1182.7166 | 0 | 18 | 04.15-04.30 | 50.01 |  | 1104.24 |  | 40 | 6
7 | 596.4509 | 42.4658 | 83.1386 | 30.04 | 81.4 | 803.4553 | 562.9742 | 1366.4295 | 0 | 0 | 0 | 0 | 0 | 0 | 1366.4295 | 7 | 550.4 | 40 | 90 | 680.4 | 1366.1475 | 1448.6 | 1287.67 | 1366.1475 | 1366.1475 | 1366.4295 | 0 | 19 | 04.30-04.45 | 49.98 |  | 1107.24 |  | 40 | 7
8 | 717.9301 | 42.4658 | 83.1386 | 29.98 | 42.2 | 885.7345 | 612.0897 | 1497.8242 | 0 | 0 | 0 | 0 | 0 | 0 | 1497.8242 | 8 | 662.5 | 40 | 90 | 792.5 | 1497.515 | 1523.61 | 1474.67 | 1497.515 | 1497.515 | 1497.8242 | 0 | 20 | 04.45-05.00 | 50 | 50 | 1130.5 | 1108.725 | 40 | 8
9 | 691.1635 | 14.3322 | 157.0396 | 30.03 | 0 | 862.5353 | 652.6975 | 1515.2328 | 0 | 0 | 0 | 0 | 0 | 0 | 1515.2328 | 9 | 637.8 | 13.5 | 170 | 821.3 | 1514.92 | 1520.49 | 1511.19 | 1514.92 | 1514.92 | 1515.2328 | 0 | 21 | 05.00-05.15 | 49.97 |  | 1144.86 |  | 13.5 | 9
10 | 661.471 | 14.3322 | 175.5149 | 30.05 | 0 | 851.318 | 684.272 | 1535.59 | 0 | 0 | 0 | 0 | 0 | 0 | 1535.59 | 10 | 610.4 | 13.5 | 190 | 813.9 | 1527.32 | 1535.59 | 1516.98 | 1535.59 | 1535.59 | 1535.59 | 0 | 22 | 05.15-05.30 | 49.98 |  | 1168.75 |  | 13.5 | 10
11 | 596.1258 | 14.3322 | 184.7525 | 30.02 | 0 | 795.2105 | 714.3086 | 1509.5191 | 0 | 0 | 0 | 0 | 0 | 0 | 1509.5191 | 11 | 550.1 | 13.5 | 200 | 763.6 | 1509.2075 | 1520.01 | 1493.06 | 1509.2075 | 1509.2075 | 1509.5191 | 0 | 23 | 05.30-05.45 | 50.02 |  | 1191.66 |  | 13.5 | 11
12 | 600.027 | 14.3322 | 147.802 | 30.06 | 0 | 762.1612 | 708.6049 | 1470.7661 | 0 | 0 | 0 | 0 | 0 | 0 | 1470.7661 | 12 | 553.7 | 13.5 | 160 | 727.2 | 1470.4625 | 1477.61 | 1463.49 | 1470.4625 | 1470.4625 | 1470.7661 | 0 | 24 | 05.45-06.00 | 49.99 | 49.99 | 1224.62 | 1182.4725 | 13.5 | 12
13 | 654.1562 | 14.226 | 203.2277 | 25 | 0 | 871.61 | 567.8546 | 1439.4646 | 0 | 0 | 0 | 0 | 0 | 0 | 1439.4646 | 13 | 603.65 | 13.4 | 220 | 837.05 | 1439.1675 | 1445.24 | 1423.74 | 1439.1675 | 1439.1675 | 1439.4646 | 0 | 25 | 06.00-06.15 | 50 |  | 1287.67 |  | 13.4 | 13
14 | 648.2177 | 14.226 | 147.802 | 25.01 | 0 | 810.2458 | 572.9573 | 1383.203 | 0 | 0 | 0 | 0 | 0 | 0 | 1383.203 | 14 | 598.17 | 13.4 | 160 | 771.57 | 1382.9175 | 1391.12 | 1369.02 | 1382.9175 | 1382.9175 | 1383.203 | 0 | 26 | 06.15-06.30 | 49.97 |  | 1334.33 |  | 13.4 | 14
15 | 673.348 | 14.226 | 147.802 | 25.01 | 21.7 | 857.076 | 543.6406 | 1400.7166 | 0 | 0 | 0 | 0 | 0 | 0 | 1400.7166 | 15 | 621.36 | 13.4 | 160 | 794.76 | 1400.4275 | 1410.87 | 1390.58 | 1400.4275 | 1400.4275 | 1400.7166 | 0 | 27 | 06.30-06.45 | 49.97 |  | 1393.99 |  | 13.4 | 15
16 | 663.7575 | 13.8014 | 147.802 | 25.03 | 87.7 | 913.0609 | 495.0923 | 1408.1532 | 0 | 0 | 0 | 0 | 0 | 0 | 1408.1532 | 16 | 612.51 | 13 | 160 | 785.51 | 1407.8625 | 1415.44 | 1397.27 | 1407.8625 | 1407.8625 | 1408.1532 | 0 | 28 | 06.45-07.00 | 49.94 | 49.97 | 1448.6 | 1366.1475 | 13 | 16
17 | 642.9728 | 13.8014 | 157.0396 | 25.01 | 88.8 | 902.6138 | 477.4836 | 1380.0974 | 0 | 0 | 0 | 0 | 0 | 0 | 1380.0974 | 17 | 593.33 | 13 | 170 | 776.33 | 1379.8125 | 1391.99 | 1362.89 | 1379.8125 | 1379.8125 | 1380.0974 | 0 | 29 | 07.00-07.15 | 49.91 |  | 1474.67 |  | 13 | 17
18 | 681.4538 | 63.2528 | 184.7525 | 35.04 | 88.8 | 1018.2591 | 323.4854 | 1341.7444 | 0 | 0 | 0 | 0 | 0 | 0 | 1341.7444 | 18 | 628.84 | 59.58 | 200 | 888.42 | 1341.4675 | 1351.1 | 1334.78 | 1341.4675 | 1341.4675 | 1341.7444 | 0 | 30 | 07.15-07.30 | 49.99 |  | 1492.92 |  | 59.58 | 18
19 | 787.9025 | 96.5035 | 157.0396 | 35.09 | 88.8 | 1130.2456 | 328.813 | 1459.0587 | 0 | 0 | 0 | 0 | 0 | 0 | 1459.0587 | 19 | 727.07 | 90.9 | 170 | 987.97 | 1458.7575 | 1499.52 | 1388.07 | 1458.7575 | 1458.7575 | 1459.0587 | 0 | 31 | 07.30-07.45 | 49.98 |  | 1498.86 |  | 90.9 | 19
20 | 776.6324 | 96.5035 | 157.0396 | 101.05 | 88.8 | 1118.9755 | 309.3043 | 1428.2798 | 0 | 0 | 0 | 0 | 0 | 0 | 1428.2798 | 20 | 716.67 | 90.9 | 170 | 977.57 | 1427.985 | 1454.65 | 1389.59 | 1427.985 | 1427.985 | 1428.2798 | 0 | 32 | 07.45-08.00 | 50.04 | 49.98 | 1523.61 | 1497.515 | 90.9 | 20
21 | 762.6531 | 96.6097 | 157.0396 | 101.04 | 74 | 1090.3023 | 248.1564 | 1338.4588 | 0 | 0 | 0 | 0 | 0 | 0 | 1338.4588 | 21 | 703.77 | 91 | 170 | 964.77 | 1338.1825 | 1355.84 | 1318.19 | 1338.1825 | 1338.1825 | 1338.4588 | 0 | 33 | 08.00-08.15 | 50.01 |  | 1511.19 |  | 91 | 21
22 | 740.0911 | 96.6097 | 184.7525 | 101.04 | 74 | 1095.4532 | 165.6771 | 1261.1303 | 0 | 0 | 0 | 0 | 0 | 0 | 1261.1303 | 22 | 682.95 | 91 | 200 | 973.95 | 1260.87 | 1292.21 | 1236.57 | 1260.87 | 1260.87 | 1261.1303 | 0 | 34 | 08.15-08.30 | 49.98 |  | 1516.1 |  | 91 | 22
23 | 688.3676 | 43.5274 | 203.2277 | 30.06 | 74 | 1009.1228 | 188.3319 | 1197.4547 | 0 | 0 | 0 | 0 | 0 | 0 | 1197.4547 | 23 | 635.22 | 41 | 220 | 896.22 | 1197.2075 | 1223.9 | 1167.76 | 1197.2075 | 1197.2075 | 1197.4547 | 0 | 35 | 08.30-08.45 | 49.98 |  | 1511.9 |  | 41 | 23
24 | 669.1109 | 43.5274 | 203.2277 | 30.02 | 74 | 989.866 | 157.4658 | 1147.3318 | 0 | 0 | 0 | 0 | 0 | 0 | 1147.3318 | 24 | 617.45 | 41 | 220 | 878.45 | 1147.095 | 1160.73 | 1130.97 | 1147.095 | 1147.095 | 1147.3318 | 0 | 36 | 08.45-09.00 | 50 | 49.9925 | 1520.49 | 1514.92 | 41 | 24
[16 empty] | 12: 37 | 09.00-09.15 | 49.94 |  | 1521.42
TOTAL (in MWh) | 15900.5425 | 920 | 3732 | 918.82 | 1007.4 | 21559.9425 | 10233.1137 | 31793.0562 | 0 | 0 | 0 | 0 | 0 | 0 | 31793.0562 | TOTAL | 14672.89 | 866.58 | 4040 | 19579.47 | 31793.5975 |  |  | 31787.035 | 31787.035 | 31793.0562 | 0 | 38 | 09.15-09.30 | 49.97 |  | 1535.59
[16 empty] | 12: 39 | 09.30-09.45 | 50 |  | 1535.29
[16 empty] | 12: 40 | 09.45-10.00 | 49.99 | 49.975 | 1516.98 | 1527.32
|  |  | Hourly Average Frequency (Fr) | [7 empty] | 49.9577 | HZ |  |  |  | 1: Note :- Please don't edit these figures.; 12: 41 | 10.00-10.15 | 50 |  | 1512.4
|  |  | Demand met for the day | [7 empty] | 1535.59 | MW |  |  |  | 12: 42 | 10.15-10.30 | 50.01 |  | 1520.01
|  |  | Unrestricted Demand for the day | [7 empty] | 1535.59 | MW |  |  |  | 1: MAX =; 2: 1535.59; 12: 43 | 10.30-10.45 | 50.05 |  | 1511.36
|  |  | Minimum Demand(Unrestricted) for the day | [7 empty] | 1086.42 | MW | Aux. | Net gen. |  | 1: MIN =; 2: 1086.42; 12: 44 | 10.45-11.00 | 50.06 | 50.03 | 1493.06 | 1509.2075
|  |  | Gross own generation | [7 empty] | 15900.5425 | MWH | 28.479 | 15872.0635 |  | 12: 45 | 11.00-11.15 | 50.06 |  | 1477.61
|  |  | Gross Baspa generation | [7 empty] | 3732 | MWH | 6.74 | 3725.26 |  | 12: 46 | 11.15-11.30 | 50.04 |  | 1470.89
|  |  | Gross Malana generation | [7 empty] | 920 | MWH | 13.449 | 906.551 |  | 12: 47 | 11.30-11.45 | 50.03 |  | 1469.86
|  |  | Malana generation at 0300 Hrs. | [7 empty] | 14 | MW |  |  |  | 12: 48 | 11.45-12.00 | 50.06 | 50.0475 | 1463.49 | 1470.4625
|  |  | Malana generation at 2400 Hrs. | [7 empty] | 41 | MW |  |  |  | 12: 49 | 12.00-12.15 | 50.01 |  | 1445.24
|  |  | Max.generation of Malana at 2100 Hrs. | [7 empty] | 91 | MW |  |  |  | 12: 50 | 12.15-12.30 | 50.02 |  | 1444.5
[9 empty] | Off Peak Hrs MW |  | Peak Hrs MW |  | Gross Lus | Net Lus
|  |  | Total Own Generation | [5 empty] | 591.3496 |  | 999.0006 |  | 159.0054 | 158.7206 |  | 12: 51 | 12.30-12.45 | 50.04 |  | 1443.19
|  |  | Above 25 MW | [5 empty] | 268.0443 |  | 351.166 |  | 65.5354 | 65.3043 |  | 12: 52 | 12.45-13.00 | 50.1 | 50.0425 | 1423.74 | 1439.1675
|  |  | Below 25 MW(Small Hydro <25 MW) | [5 empty] | 323.3053 |  | 647.8346 |  | 93.47 | 93.4163 |  | 12: 53 | 13.00-13.15 | 50.12 |  | 1393
[16 empty] | 12: 54 | 13.15-13.30 | 50.08 |  | 1369.02
[16 empty] | 12: 55 | 13.30-13.45 | 50.02 |  | 1378.53
[16 empty] | 12: 56 | 13.45-14.00 | 49.98 | 50.05 | 1391.12 | 1382.9175
[16 empty] | 12: 57 | 14.00-14.15 | 49.99 |  | 1395.25
[16 empty] | 12: 58 | 14.15-14.30 | 49.91 |  | 1390.58
[16 empty] | 12: 59 | 14.30-14.45 | 49.85 |  | 1405.01
[16 empty] | 12: 60 | 14.45-15.00 | 49.78 | 49.8825 | 1410.87 | 1400.4275
[16 empty] | 12: 61 | 15.00-15.15 | 49.89 |  | 1415.44
[16 empty] | 12: 62 | 15.15-15.30 | 49.94 |  | 1412.58
[16 empty] | 12: 63 | 15.30-15.45 | 49.99 |  | 1406.16
[16 empty] | 12: 64 | 15.45-16.00 | 49.97 | 49.9475 | 1397.27 | 1407.8625
[16 empty] | 12: 65 | 16.00-16.15 | 49.81 |  | 1379.88
[16 empty] | 12: 66 | 16.15-16.30 | 49.94 |  | 1384.49
[16 empty] | 12: 67 | 16.30-16.45 | 49.96 |  | 1391.99
[16 empty] | 12: 68 | 16.45-17.00 | 49.95 | 49.915 | 1362.89 | 1379.8125
[16 empty] | 12: 69 | 17.00-17.15 | 49.99 |  | 1351.1
[16 empty] | 12: 70 | 17.15-17.30 | 49.86 |  | 1338.05
[16 empty] | 12: 71 | 17.30-17.45 | 49.85 |  | 1334.78
[16 empty] | 12: 72 | 17.45-18.00 | 49.78 | 49.87 | 1341.94 | 1341.4675
[16 empty] | 12: 73 | 18.00-18.15 | 49.92 |  | 1388.07
[16 empty] | 12: 74 | 18.15-18.30 | 49.7 |  | 1453.59
[16 empty] | 12: 75 | 18.30-18.45 | 49.9 |  | 1493.85
[16 empty] | 12: 76 | 18.45-19.00 | 49.82 | 49.835 | 1499.52 | 1458.7575
[16 empty] | 12: 77 | 19.00-19.15 | 49.97 |  | 1454.65
[16 empty] | 12: 78 | 19.15-19.30 | 50 |  | 1446.46
[16 empty] | 12: 79 | 19.30-19.45 | 49.91 |  | 1421.24
[16 empty] | 12: 80 | 19.45-20.00 | 49.94 | 49.955 | 1389.59 | 1427.985
[16 empty] | 12: 81 | 20.00-20.15 | 49.94 |  | 1355.84
[16 empty] | 12: 82 | 20.15-20.30 | 49.82 |  | 1346.16
[16 empty] | 12: 83 | 20.30-20.45 | 49.93 |  | 1332.54
[16 empty] | 12: 84 | 20.45-21.00 | 50.01 | 49.925 | 1318.19 | 1338.1825
[16 empty] | 12: 85 | 21.00-21.15 | 49.92 |  | 1292.21
[16 empty] | 12: 86 | 21.15-21.30 | 49.99 |  | 1266.8
[16 empty] | 12: 87 | 21.30-21.45 | 50 |  | 1247.9
[16 empty] | 12: 88 | 21.45-22.00 | 50.01 | 49.98 | 1236.57 | 1260.87
[16 empty] | 12: 89 | 22.00-22.15 | 49.96 |  | 1223.9
[16 empty] | 12: 90 | 22.15-22.30 | 49.86 |  | 1216.69
[16 empty] | 12: 91 | 22.30-22.45 | 50 |  | 1180.48
[16 empty] | 12: 92 | 22.45-23.00 | 49.99 | 49.9525 | 1167.76 | 1197.2075
[16 empty] | 12: 93 | 23.00-23.15 | 49.98 |  | 1160.73
[16 empty] | 12: 94 | 23.15-23.30 | 49.94 |  | 1154.35
[16 empty] | 12: 95 | 23.30-23.45 | 49.85 |  | 1142.33
[16 empty] | 12: 96 | 23.45-24.00 | 49.99 | 49.94 | 1130.97 | 1147.095
[29 empty] | Total | 49.9577 | 49.9577 | 31793.5975 | 31793.5975
[29 empty] | max | 1535.59 |  | avg. max | 1527.32
[29 empty] | min | 1086.42 |  | avg. min | 1101.2525
Note on AA16: ReportServer: critical formulas…….do not disturb
Note on AB16: ReportServer: critical formulas…….do not disturb
Note on S24: Please don't edit here
Note on G25: Column no. 5 =Sum (2+3+4 Column)
Note on K25: The fig of power cut comes from daily hourly load sheet.