## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2021-10-21
Hiamchal Pradesh State Load Despatch Centre
[12 empty] | DATED | 2021-10-22
FROM | [10 empty] | TO
| POWER CONTROLLER | [10 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [10 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [12 empty] | DEMAND OF STATE |  |  | 31426.8825 | MWh
[16 empty] | ACTUAL MALANA GENERATION |  |  | 498.56 | MWh
|  | State:- Himachal Pradesh | [13 empty] | ACTUAL BASPA GENERATION |  |  | 2762.8 | MWh | [7 empty] | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[11 empty] | PEAK DEMAND(MW) |  |  | 1624.21 | [13 empty] | 1 | 00.00-00.15 | 50.04 |  | 1068.42
|  | Month/Day :- |  |  |  | 2021-10-21 |  |  |  |  | Min.DEMAND(MW) |  |  | 1012.49 |  | ACTUAL OWN GENERATION |  |  | 12876.8165 | MWh | [7 empty] | 2 | 00.15-00.30 | 50.04 |  | 1053.79
[28 empty] | 3 | 00.30-00.45 | 50.04 |  | 1058.54 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [5 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET |  |  | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P6 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50.04 | 50.04 | 1048.97 | 1057.43 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[10 empty] | DUE TO LOAD SHEDD-ING (MW) | DUE TO SATUTORY CUT (MW) | DUE TO T&D CONS-TRAINTS (MW) | [15 empty] | 5 | 01.00-01.15 | 50.04 |  | 1042.88 |  |  |  | MALANA-2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.19 | 20.08 | 30.01 | 30.02 | 30.04 | 25.03 | 25.01 | 25.02 | 25.07 | 101.05 | 101.04 | 101.04 | 25.04 | 25.02 | 583.66
[28 empty] | 6 | 01.15-01.30 | 50.05 |  | 1053.64 |  |  |  | SWARA KUDDU | 64.75 | 37 | 0 | 0 | 0 | 20.35 | 40.7 | 40.7 | 40.7 | 40.7 | 0 | 0 | 0 | 0 | 0 | 0 | 37 | 81.4 | 88.8 | 88.8 | 88.8 | 74 | 74 | 74 | 891.7
[28 empty] | 7 | 01.30-01.45 | 50.01 |  | 1043.91
[28 empty] | 8 | 01.45-02:00 | 50.01 | 50.0275 | 1045.77 | 1046.55
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | TOTAL | [10 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.99 |  | 1032.19 |  | Malana
[8 empty] | 5+6 | [19 empty] | 10 | 02.15-02.30 | 50.01 |  | 1022.35
[8 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P6/1000 | P7 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50 |  | 1029.5
1 | 2 | 3 | 4 |  |  | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 49.99 | 49.9975 | 1012.49 | 1024.1325
1 | 496.1981 | 0 | 53.8208 | 0 | 64.75 | 614.7689 | 441.5502 | 1056.3191 | 0 | 0 | 0 | 0 | 0 | 0 | 1056.3191 | 1 | 506.5 | 0 | 60 | 566.5 | 1057.43 | 1068.42 | 1048.97 | 1057.43 | 1057.43 | 1056.3191 | 0 | 13 | 03.00-03.15 | 50 |  | 1021.09 |  | 0 | 1
2 | 525.5879 | 0 | 89.7013 | 0 | 37 | 652.2892 | 393.1613 | 1045.4506 | 0 | 0 | 0 | 0 | 0 | 0 | 1045.4506 | 2 | 536.5 | 0 | 100 | 636.5 | 1046.55 | 1053.64 | 1042.88 | 1046.55 | 1046.55 | 1045.4506 | 0 | 14 | 03.15-03.30 | 50.01 |  | 1021.14 |  | 0 | 2
3 | 483.6585 | 0 | 98.6714 | 0 | 0 | 582.3299 | 430.1601 | 1012.49 | 0 | 0 | 0 | 0 | 0 | 0 | 1012.49 | 3 | 493.7 | 0 | 110 | 603.7 | 1024.1325 | 1032.19 | 1012.49 | 1012.49 | 1012.49 | 1012.49 | 0 | 15 | 03.30-03.45 | 50.02 |  | 1023.16 |  | 0 | 3
4 | 458.0893 | 0 | 143.5221 | 0 | 0 | 601.6114 | 418.7331 | 1020.3445 | 0 | 0 | 0 | 0 | 0 | 0 | 1020.3445 | 4 | 467.6 | 0 | 160 | 627.6 | 1021.4175 | 1023.16 | 1020.28 | 1021.4175 | 1021.4175 | 1020.3445 | 0 | 16 | 03.45-04.00 | 50.03 | 50.015 | 1020.28 | 1021.4175 | 0 | 4
5 | 481.993 | 0 | 89.7013 | 0 | 0 | 571.6943 | 472.495 | 1044.1894 | 0 | 0 | 0 | 0 | 0 | 0 | 1044.1894 | 5 | 492 | 0 | 100 | 592 | 1045.2875 | 1061.76 | 1028.68 | 1045.2875 | 1045.2875 | 1044.1894 | 0 | 17 | 04.00-04.15 | 50.03 |  | 1028.68 |  | 0 | 5
6 | 476.6049 | 0 | 80.7312 | 0 | 20.35 | 577.6861 | 557.7049 | 1135.391 | 0 | 0 | 0 | 0 | 0 | 0 | 1135.391 | 6 | 486.5 | 0 | 90 | 576.5 | 1136.585 | 1195.28 | 1077.72 | 1136.585 | 1136.585 | 1135.391 | 0 | 18 | 04.15-04.30 | 50.03 |  | 1037.84 |  | 0 | 6
7 | 489.8303 | 0 | 116.6117 | 0 | 40.7 | 647.142 | 738.9603 | 1386.1023 | 0 | 0 | 0 | 0 | 0 | 0 | 1386.1023 | 7 | 500 | 0 | 130 | 630 | 1387.56 | 1496.95 | 1257.58 | 1387.56 | 1387.56 | 1386.1023 | 0 | 19 | 04.30-04.45 | 50.01 |  | 1052.87 |  | 0 | 7
8 | 502.7619 | 0 | 116.6117 | 0 | 40.7 | 660.0735 | 964.1365 | 1624.21 | 0 | 0 | 0 | 0 | 0 | 0 | 1624.21 | 8 | 513.2 | 0 | 130 | 643.2 | 1579.5175 | 1624.21 | 1533.14 | 1624.21 | 1624.21 | 1624.21 | 0 | 20 | 04.45-05.00 | 50 | 50.0175 | 1061.76 | 1045.2875 | 0 | 8
9 | 522.9429 | 0 | 53.8208 | 0 | 40.7 | 617.4636 | 968.8956 | 1586.3592 | 0 | 0 | 0 | 0 | 0 | 0 | 1586.3592 | 9 | 533.8 | 0 | 60 | 593.8 | 1588.0275 | 1600.42 | 1567.44 | 1588.0275 | 1588.0275 | 1586.3592 | 0 | 21 | 05.00-05.15 | 49.96 |  | 1077.72 |  | 0 | 9
10 | 492.1815 | 0 | 107.6416 | 0 | 40.7 | 640.5231 | 906.9146 | 1547.4376 | 0 | 0 | 0 | 0 | 0 | 0 | 1547.4376 | 10 | 502.4 | 0 | 120 | 622.4 | 1549.065 | 1559.59 | 1531.75 | 1549.065 | 1549.065 | 1547.4376 | 0 | 22 | 05.15-05.30 | 49.96 |  | 1120.86 |  | 0 | 10
11 | 493.9449 | 0 | 62.7909 | 20.19 | 0 | 556.7358 | 922.2913 | 1479.0271 | 0 | 0 | 0 | 0 | 0 | 0 | 1479.0271 | 11 | 504.2 | 0 | 70 | 574.2 | 1480.5825 | 1495.42 | 1465.76 | 1480.5825 | 1480.5825 | 1479.0271 | 0 | 23 | 05.30-05.45 | 49.96 |  | 1152.48 |  | 0 | 11
12 | 454.7585 | 0 | 116.6117 | 20.08 | 0 | 571.3702 | 863.8155 | 1435.1857 | 0 | 0 | 0 | 0 | 0 | 0 | 1435.1857 | 12 | 464.2 | 0 | 130 | 594.2 | 1436.695 | 1455.46 | 1410.46 | 1436.695 | 1436.695 | 1435.1857 | 0 | 24 | 05.45-06.00 | 49.99 | 49.9675 | 1195.28 | 1136.585 | 0 | 12
13 | 523.0604 | 0 | 98.6714 | 30.01 | 0 | 621.7318 | 767.0576 | 1388.7895 | 0 | 0 | 0 | 0 | 0 | 0 | 1388.7895 | 13 | 533.92 | 0 | 110 | 643.92 | 1390.25 | 1409.41 | 1372.47 | 1390.25 | 1390.25 | 1388.7895 | 0 | 25 | 06.00-06.15 | 50 |  | 1257.58 |  | 0 | 13
14 | 519.4945 | 39.4977 | 80.7312 | 30.02 | 0 | 639.7233 | 703.0495 | 1342.7729 | 0 | 0 | 0 | 0 | 0 | 0 | 1342.7729 | 14 | 530.28 | 40 | 90 | 660.28 | 1344.185 | 1349.61 | 1335.69 | 1344.185 | 1344.185 | 1342.7729 | 0 | 26 | 06.15-06.30 | 50 |  | 1354.15 |  | 40 | 14
15 | 605.205 | 39.4977 | 98.6714 | 30.04 | 0 | 743.3741 | 606.9708 | 1350.3449 | 0 | 0 | 0 | 0 | 0 | 0 | 1350.3449 | 15 | 617.77 | 40 | 110 | 767.77 | 1351.765 | 1368.61 | 1332.62 | 1351.765 | 1351.765 | 1350.3449 | 0 | 27 | 06.30-06.45 | 50.02 |  | 1441.56 |  | 40 | 15
16 | 635.6332 | 39.4977 | 116.6117 | 25.03 | 0 | 791.7426 | 569.9304 | 1361.673 | 0 | 0 | 0 | 0 | 0 | 0 | 1361.673 | 16 | 648.83 | 40 | 130 | 818.83 | 1363.105 | 1378.04 | 1353.5 | 1363.105 | 1363.105 | 1361.673 | 0 | 28 | 06.45-07.00 | 50 | 50.005 | 1496.95 | 1387.56 | 40 | 16
17 | 621.9474 | 13.8242 | 161.4623 | 25.01 | 37 | 834.2339 | 543.0077 | 1377.2416 | 0 | 0 | 0 | 0 | 0 | 0 | 1377.2416 | 17 | 634.86 | 14 | 180 | 828.86 | 1378.69 | 1385.11 | 1369.44 | 1378.69 | 1378.69 | 1377.2416 | 0 | 29 | 07.00-07.15 | 49.97 |  | 1533.14 |  | 14 | 17
18 | 539.5383 | 13.8242 | 179.4026 | 25.02 | 81.4 | 814.1651 | 586.5269 | 1400.692 | 0 | 0 | 0 | 0 | 0 | 0 | 1400.692 | 18 | 550.74 | 14 | 200 | 764.74 | 1402.165 | 1439.18 | 1379.8 | 1402.165 | 1402.165 | 1400.692 | 0 | 30 | 07.15-07.30 | 50 |  | 1572.45 |  | 14 | 18
19 | 518.9458 | 13.8242 | 161.4623 | 25.07 | 88.8 | 783.0324 | 755.3423 | 1538.3747 | 0 | 0 | 0 | 0 | 0 | 0 | 1538.3747 | 19 | 529.72 | 14 | 180 | 723.72 | 1539.9925 | 1573.23 | 1514.68 | 1539.9925 | 1539.9925 | 1538.3747 | 0 | 31 | 07.30-07.45 | 50.04 |  | 1588.27 |  | 14 | 19
20 | 691.611 | 89.7586 | 152.4922 | 101.05 | 88.8 | 1022.6618 | 430.7722 | 1453.434 | 0 | 0 | 0 | 0 | 0 | 0 | 1453.434 | 20 | 705.97 | 90.9 | 170 | 966.87 | 1454.9625 | 1497.02 | 1408.2 | 1454.9625 | 1454.9625 | 1453.434 | 0 | 32 | 07.45-08.00 | 50.09 | 50.025 | 1624.21 | 1579.5175 | 90.9 | 20
21 | 679.2673 | 89.8573 | 152.4922 | 101.04 | 88.8 | 1010.4168 | 327.2339 | 1337.6508 | 0 | 0 | 0 | 0 | 0 | 0 | 1337.6508 | 21 | 693.37 | 91 | 170 | 954.37 | 1339.0575 | 1363.64 | 1316.32 | 1339.0575 | 1339.0575 | 1337.6508 | 0 | 33 | 08.00-08.15 | 50.08 |  | 1600.42 |  | 91 | 21
22 | 658.283 | 89.8573 | 179.4026 | 101.04 | 74 | 1001.5429 | 222.5872 | 1224.1301 | 0 | 0 | 0 | 0 | 0 | 0 | 1224.1301 | 22 | 671.95 | 91 | 200 | 962.95 | 1225.4175 | 1239.3 | 1212.72 | 1225.4175 | 1225.4175 | 1224.1301 | 0 | 34 | 08.15-08.30 | 50.05 |  | 1595.44 |  | 91 | 22
23 | 506.5629 | 34.5605 | 125.5818 | 25.04 | 74 | 740.7053 | 434.9509 | 1175.6561 | 0 | 0 | 0 | 0 | 0 | 0 | 1175.6561 | 23 | 517.08 | 35 | 140 | 692.08 | 1176.8925 | 1190.37 | 1160.43 | 1176.8925 | 1176.8925 | 1175.6561 | 0 | 35 | 08.30-08.45 | 50.05 |  | 1588.81 |  | 35 | 23
24 | 498.7159 | 34.5605 | 125.5818 | 25.02 | 74 | 732.8582 | 373.5283 | 1106.3865 | 0 | 0 | 0 | 0 | 0 | 0 | 1106.3865 | 24 | 509.07 | 35 | 140 | 684.07 | 1107.55 | 1118.16 | 1097.92 | 1107.55 | 1107.55 | 1106.3865 | 0 | 36 | 08.45-09.00 | 50.1 | 50.07 | 1567.44 | 1588.0275 | 35 | 24
[16 empty] | 12: 37 | 09.00-09.15 | 50.13 |  | 1559.59
TOTAL (in MWh) | 12876.8165 | 498.56 | 2762.8 | 583.66 | 891.7 | 17029.8765 | 14399.776 | 31429.6525 | 0 | 0 | 0 | 0 | 0 | 0 | 31429.6525 | TOTAL | 13144.16 | 504.9 | 3080 | 16729.06 | 31426.8825 |  |  | 31459.9325 | 31459.9325 | 31429.6525 | 0 | 38 | 09.15-09.30 | 50.07 |  | 1554.72
[16 empty] | 12: 39 | 09.30-09.45 | 50.08 |  | 1550.2
[16 empty] | 12: 40 | 09.45-10.00 | 50.06 | 50.085 | 1531.75 | 1549.065
|  |  | Hourly Average Frequency (Fr) | [7 empty] | 50.0068 | HZ |  |  |  | 1: Note :- Please don't edit these figures.; 12: 41 | 10.00-10.15 | 50.02 |  | 1495.42
|  |  | Demand met for the day | [7 empty] | 1624.21 | MW |  |  |  | 12: 42 | 10.15-10.30 | 50.04 |  | 1485.82
|  |  | Unrestricted Demand for the day | [7 empty] | 1624.21 | MW |  |  |  | 1: MAX =; 2: 1624.21; 12: 43 | 10.30-10.45 | 50.04 |  | 1475.33
|  |  | Minimum Demand(Unrestricted) for the day | [7 empty] | 1012.49 | MW | Aux. | Net gen. |  | 1: MIN =; 2: 1012.49; 12: 44 | 10.45-11.00 | 50.07 | 50.0425 | 1465.76 | 1480.5825
|  |  | Gross own generation | [7 empty] | 12876.8165 | MWH | 28.45 | 12848.3665 |  | 12: 45 | 11.00-11.15 | 50.06 |  | 1455.46
|  |  | Gross Baspa generation | [7 empty] | 2762.8 | MWH | 6.23 | 2756.57 |  | 12: 46 | 11.15-11.30 | 49.99 |  | 1445.82
|  |  | Gross Malana generation | [7 empty] | 498.56 | MWH | 8.43 | 490.13 |  | 12: 47 | 11.30-11.45 | 50.01 |  | 1435.04
|  |  | Malana generation at 0300 Hrs. | [7 empty] | 0 | MW |  |  |  | 12: 48 | 11.45-12.00 | 50 | 50.015 | 1410.46 | 1436.695
|  |  | Malana generation at 2400 Hrs. | [7 empty] | 35 | MW |  |  |  | 12: 49 | 12.00-12.15 | 50 |  | 1409.41
|  |  | Max.generation of Malana at 2100 Hrs. | [7 empty] | 91 | MW |  |  |  | 12: 50 | 12.15-12.30 | 49.99 |  | 1395.53
[9 empty] | Off Peak Hrs MW |  | Peak Hrs MW |  | Gross Lus | Net Lus
|  |  | Total Own Generation | [5 empty] | 342.2946 |  | 1025.2244 |  | 128.7682 | 128.4837 |  | 12: 51 | 12.30-12.45 | 49.93 |  | 1383.59
|  |  | Above 25 MW | [5 empty] | 179.1759 |  | 303.6036 |  | 48.6512 | 48.4104 |  | 12: 52 | 12.45-13.00 | 49.92 | 49.96 | 1372.47 | 1390.25
|  |  | Below 25 MW(Small Hydro <25 MW) | [5 empty] | 163.1187 |  | 721.6208 |  | 80.1169 | 80.0732 |  | 12: 53 | 13.00-13.15 | 50.02 |  | 1353.19
[16 empty] | 12: 54 | 13.15-13.30 | 50.01 |  | 1335.69
[16 empty] | 12: 55 | 13.30-13.45 | 49.95 |  | 1338.25
[16 empty] | 12: 56 | 13.45-14.00 | 49.91 | 49.9725 | 1349.61 | 1344.185
[16 empty] | 12: 57 | 14.00-14.15 | 49.8 |  | 1361.76
[16 empty] | 12: 58 | 14.15-14.30 | 49.83 |  | 1368.61
[16 empty] | 12: 59 | 14.30-14.45 | 49.78 |  | 1344.07
[16 empty] | 12: 60 | 14.45-15.00 | 49.79 | 49.8 | 1332.62 | 1351.765
[16 empty] | 12: 61 | 15.00-15.15 | 50.03 |  | 1366.01
[16 empty] | 12: 62 | 15.15-15.30 | 50.02 |  | 1354.87
[16 empty] | 12: 63 | 15.30-15.45 | 50.04 |  | 1353.5
[16 empty] | 12: 64 | 15.45-16.00 | 50.02 | 50.0275 | 1378.04 | 1363.105
[16 empty] | 12: 65 | 16.00-16.15 | 50.04 |  | 1383.4
[16 empty] | 12: 66 | 16.15-16.30 | 49.99 |  | 1385.11
[16 empty] | 12: 67 | 16.30-16.45 | 49.96 |  | 1369.44
[16 empty] | 12: 68 | 16.45-17.00 | 49.99 | 49.995 | 1376.81 | 1378.69
[16 empty] | 12: 69 | 17.00-17.15 | 50.04 |  | 1379.8
[16 empty] | 12: 70 | 17.15-17.30 | 49.98 |  | 1387.34
[16 empty] | 12: 71 | 17.30-17.45 | 49.99 |  | 1402.34
[16 empty] | 12: 72 | 17.45-18.00 | 50.01 | 50.005 | 1439.18 | 1402.165
[16 empty] | 12: 73 | 18.00-18.15 | 49.98 |  | 1514.68
[16 empty] | 12: 74 | 18.15-18.30 | 49.99 |  | 1573.23
[16 empty] | 12: 75 | 18.30-18.45 | 50.05 |  | 1530.1
[16 empty] | 12: 76 | 18.45-19.00 | 50.06 | 50.02 | 1541.96 | 1539.9925
[16 empty] | 12: 77 | 19.00-19.15 | 50.05 |  | 1497.02
[16 empty] | 12: 78 | 19.15-19.30 | 50.04 |  | 1474.33
[16 empty] | 12: 79 | 19.30-19.45 | 50.03 |  | 1440.3
[16 empty] | 12: 80 | 19.45-20.00 | 50.04 | 50.04 | 1408.2 | 1454.9625
[16 empty] | 12: 81 | 20.00-20.15 | 50.03 |  | 1329.66
[16 empty] | 12: 82 | 20.15-20.30 | 50.02 |  | 1363.64
[16 empty] | 12: 83 | 20.30-20.45 | 50 |  | 1346.61
[16 empty] | 12: 84 | 20.45-21.00 | 50.01 | 50.015 | 1316.32 | 1339.0575
[16 empty] | 12: 85 | 21.00-21.15 | 49.99 |  | 1228.9
[16 empty] | 12: 86 | 21.15-21.30 | 49.96 |  | 1220.75
[16 empty] | 12: 87 | 21.30-21.45 | 50.02 |  | 1239.3
[16 empty] | 12: 88 | 21.45-22.00 | 50.03 | 50 | 1212.72 | 1225.4175
[16 empty] | 12: 89 | 22.00-22.15 | 50.03 |  | 1187.67
[16 empty] | 12: 90 | 22.15-22.30 | 50.02 |  | 1190.37
[16 empty] | 12: 91 | 22.30-22.45 | 49.97 |  | 1169.1
[16 empty] | 12: 92 | 22.45-23.00 | 50.01 | 50.0075 | 1160.43 | 1176.8925
[16 empty] | 12: 93 | 23.00-23.15 | 50.02 |  | 1118.16
[16 empty] | 12: 94 | 23.15-23.30 | 50.01 |  | 1105.39
[16 empty] | 12: 95 | 23.30-23.45 | 50.01 |  | 1097.92
[16 empty] | 12: 96 | 23.45-24.00 | 50.01 | 50.0125 | 1108.73 | 1107.55
[29 empty] | Total | 50.0068 | 50.0068 | 31426.8825 | 31426.8825
[29 empty] | max | 1624.21 |  | avg. max | 1588.0275
[29 empty] | min | 1012.49 |  | avg. min | 1021.4175
Note on AA16: ReportServer: critical formulas…….do not disturb
Note on AB16: ReportServer: critical formulas…….do not disturb
Note on S24: Please don't edit here
Note on G25: Column no. 5 =Sum (2+3+4 Column)
Note on K25: The fig of power cut comes from daily hourly load sheet.