## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2021-10-22
Hiamchal Pradesh State Load Despatch Centre
[12 empty] | DATED | 2021-10-23
FROM | [10 empty] | TO
| POWER CONTROLLER | [10 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [10 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [12 empty] | DEMAND OF STATE |  |  | 32174.9775 | MWh
[16 empty] | ACTUAL MALANA GENERATION |  |  | 496.64 | MWh
|  | State:- Himachal Pradesh | [13 empty] | ACTUAL BASPA GENERATION |  |  | 2872.8 | MWh | [7 empty] | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[11 empty] | PEAK DEMAND(MW) |  |  | 1666.11 | [13 empty] | 1 | 00.00-00.15 | 50.02 |  | 1101.56
|  | Month/Day :- |  |  |  | 2021-10-22 |  |  |  |  | Min.DEMAND(MW) |  |  | 1046.6 |  | ACTUAL OWN GENERATION |  |  | 12476.5775 | MWh | [7 empty] | 2 | 00.15-00.30 | 50.03 |  | 1097.91
[28 empty] | 3 | 00.30-00.45 | 49.99 |  | 1095.08 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [5 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET |  |  | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P6 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50 | 50.01 | 1099.65 | 1098.55 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[10 empty] | DUE TO LOAD SHEDD-ING (MW) | DUE TO SATUTORY CUT (MW) | DUE TO T&D CONS-TRAINTS (MW) | [15 empty] | 5 | 01.00-01.15 | 50.01 |  | 1070.24 |  |  |  | MALANA-2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.19 | 30.01 | 30.02 | 30.04 | 25.03 | 25.01 | 25.02 | 25.07 | 101.05 | 101.04 | 101.04 | 25.04 | 25.02 | 563.58
[28 empty] | 6 | 01.15-01.30 | 50 |  | 1077.79 |  |  |  | SWARA KUDDU | 65.67 | 40.7 | 0 | 0 | 0 | 20.35 | 40.7 | 40.7 | 20.35 | 0 | 0 | 0 | 0 | 0 | 0 | 18.5 | 37 | 81.4 | 88.8 | 88.8 | 88.8 | 74 | 74 | 74 | 853.77
[28 empty] | 7 | 01.30-01.45 | 49.97 |  | 1077.89
[28 empty] | 8 | 01.45-02:00 | 50 | 49.995 | 1075.06 | 1075.245
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | TOTAL | [10 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.99 |  | 1061.57 |  | Malana
[8 empty] | 5+6 | [19 empty] | 10 | 02.15-02.30 | 50 |  | 1055.81
[8 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P6/1000 | P7 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.98 |  | 1064.08
1 | 2 | 3 | 4 |  |  | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50 | 49.9925 | 1053.99 | 1058.8625
1 | 459.8322 | 0 | 136.8 | 0 | 65.67 | 662.3022 | 435.2512 | 1097.5534 | 0 | 0 | 0 | 0 | 0 | 0 | 1097.5534 | 1 | 482.8 | 0 | 150 | 632.8 | 1098.55 | 1101.56 | 1095.08 | 1098.55 | 1098.55 | 1097.5534 | 0 | 13 | 03.00-03.15 | 49.99 |  | 1049.46 |  | 0 | 1
2 | 504.3106 | 0 | 100.32 | 0 | 40.7 | 645.3306 | 428.939 | 1074.2696 | 0 | 0 | 0 | 0 | 0 | 0 | 1074.2696 | 2 | 529.5 | 0 | 110 | 639.5 | 1075.245 | 1077.89 | 1070.24 | 1075.245 | 1075.245 | 1074.2696 | 0 | 14 | 03.15-03.30 | 49.99 |  | 1046.6 |  | 0 | 2
3 | 462.4038 | 0 | 100.32 | 0 | 0 | 562.7238 | 495.1782 | 1057.9019 | 0 | 0 | 0 | 0 | 0 | 0 | 1057.9019 | 3 | 485.5 | 0 | 110 | 595.5 | 1058.8625 | 1064.08 | 1053.99 | 1058.8625 | 1058.8625 | 1057.9019 | 0 | 15 | 03.30-03.45 | 50.02 |  | 1057.45 |  | 0 | 3
4 | 431.8308 | 0 | 100.32 | 0 | 0 | 532.1508 | 514.4492 | 1046.6 | 0 | 0 | 0 | 0 | 0 | 0 | 1046.6 | 4 | 453.4 | 0 | 110 | 563.4 | 1054.8725 | 1065.98 | 1046.6 | 1046.6 | 1046.6 | 1046.6 | 0 | 16 | 03.45-04.00 | 50.02 | 50.005 | 1065.98 | 1054.8725 | 0 | 4
5 | 467.8326 | 0 | 100.32 | 0 | 0 | 568.1526 | 516.2203 | 1084.3729 | 0 | 0 | 0 | 0 | 0 | 0 | 1084.3729 | 5 | 491.2 | 0 | 110 | 601.2 | 1085.3575 | 1107.17 | 1070.42 | 1085.3575 | 1085.3575 | 1084.3729 | 0 | 17 | 04.00-04.15 | 50 |  | 1070.42 |  | 0 | 5
6 | 468.1183 | 0 | 100.32 | 0 | 20.35 | 588.7883 | 598.2363 | 1187.0247 | 0 | 0 | 0 | 0 | 0 | 0 | 1187.0247 | 6 | 491.5 | 0 | 110 | 601.5 | 1188.1025 | 1251.95 | 1131.44 | 1188.1025 | 1188.1025 | 1187.0247 | 0 | 18 | 04.15-04.30 | 49.99 |  | 1075.43 |  | 0 | 6
7 | 479.4522 | 0 | 100.32 | 0 | 40.7 | 620.4722 | 810.1962 | 1430.6684 | 0 | 0 | 0 | 0 | 0 | 0 | 1430.6684 | 7 | 503.4 | 0 | 110 | 613.4 | 1431.9675 | 1532.39 | 1317.1 | 1431.9675 | 1431.9675 | 1430.6684 | 0 | 19 | 04.30-04.45 | 50 |  | 1088.41 |  | 0 | 7
8 | 492.9767 | 0 | 100.32 | 0 | 40.7 | 633.9967 | 1032.1133 | 1666.11 | 0 | 0 | 0 | 0 | 0 | 0 | 1666.11 | 8 | 517.6 | 0 | 110 | 627.6 | 1628.6225 | 1666.11 | 1581.43 | 1666.11 | 1666.11 | 1666.11 | 0 | 20 | 04.45-05.00 | 49.98 | 49.9925 | 1107.17 | 1085.3575 | 0 | 8
9 | 516.4064 | 0 | 72.96 | 0 | 20.35 | 609.7164 | 1022.7638 | 1632.4802 | 0 | 0 | 0 | 0 | 0 | 0 | 1632.4802 | 9 | 542.2 | 0 | 80 | 622.2 | 1633.9625 | 1657.85 | 1614.76 | 1633.9625 | 1633.9625 | 1632.4802 | 0 | 21 | 05.00-05.15 | 49.92 |  | 1131.44 |  | 0 | 9
10 | 482.881 | 0 | 100.32 | 0 | 0 | 583.201 | 988.8766 | 1572.0775 | 0 | 0 | 0 | 0 | 0 | 0 | 1572.0775 | 10 | 507 | 0 | 110 | 617 | 1573.505 | 1609.82 | 1535.48 | 1573.505 | 1573.505 | 1572.0775 | 0 | 22 | 05.15-05.30 | 49.8 |  | 1161.04 |  | 0 | 10
11 | 439.0693 | 0 | 100.32 | 0 | 0 | 539.3893 | 984.4945 | 1523.8838 | 0 | 0 | 0 | 0 | 0 | 0 | 1523.8838 | 11 | 461 | 0 | 110 | 571 | 1525.2675 | 1538.9 | 1511.63 | 1525.2675 | 1525.2675 | 1523.8838 | 0 | 23 | 05.30-05.45 | 49.84 |  | 1207.98 |  | 0 | 11
12 | 463.6419 | 0 | 100.32 | 20.19 | 0 | 563.9619 | 910.824 | 1474.7859 | 0 | 0 | 0 | 0 | 0 | 0 | 1474.7859 | 12 | 486.8 | 0 | 110 | 596.8 | 1476.125 | 1502.85 | 1466.37 | 1476.125 | 1476.125 | 1474.7859 | 0 | 24 | 05.45-06.00 | 49.9 | 49.865 | 1251.95 | 1188.1025 | 0 | 12
13 | 508.5203 | 0 | 100.32 | 30.01 | 0 | 608.8403 | 805.9226 | 1414.7629 | 0 | 0 | 0 | 0 | 0 | 0 | 1414.7629 | 13 | 533.92 | 0 | 110 | 643.92 | 1416.0475 | 1433.89 | 1377.26 | 1416.0475 | 1416.0475 | 1414.7629 | 0 | 25 | 06.00-06.15 | 50 |  | 1317.1 |  | 0 | 13
14 | 505.0535 | 39.3456 | 82.08 | 30.02 | 0 | 626.4791 | 788.039 | 1414.5181 | 0 | 0 | 0 | 0 | 0 | 0 | 1414.5181 | 14 | 530.28 | 40 | 90 | 660.28 | 1415.8025 | 1544.89 | 1372.42 | 1415.8025 | 1415.8025 | 1414.5181 | 0 | 26 | 06.15-06.30 | 49.98 |  | 1396.98 |  | 40 | 14
15 | 588.3814 | 39.3456 | 100.32 | 30.04 | 0 | 728.047 | 635.862 | 1363.9091 | 0 | 0 | 0 | 0 | 0 | 0 | 1363.9091 | 15 | 617.77 | 40 | 110 | 767.77 | 1365.1475 | 1387.76 | 1344.87 | 1365.1475 | 1365.1475 | 1363.9091 | 0 | 27 | 06.30-06.45 | 49.97 |  | 1481.4 |  | 40 | 15
16 | 617.5829 | 39.3456 | 118.56 | 25.03 | 18.5 | 793.9885 | 562.3799 | 1356.3684 | 0 | 0 | 0 | 0 | 0 | 0 | 1356.3684 | 16 | 648.43 | 40 | 130 | 818.43 | 1357.6 | 1375.03 | 1345.21 | 1357.6 | 1357.6 | 1356.3684 | 0 | 28 | 06.45-07.00 | 49.99 | 49.985 | 1532.39 | 1431.9675 | 40 | 16
17 | 603.9917 | 13.771 | 164.16 | 25.01 | 37 | 818.9227 | 552.4122 | 1371.3348 | 0 | 0 | 0 | 0 | 0 | 0 | 1371.3348 | 17 | 634.16 | 14 | 180 | 828.16 | 1372.58 | 1386.79 | 1358.88 | 1372.58 | 1372.58 | 1371.3348 | 0 | 29 | 07.00-07.15 | 50.01 |  | 1581.43 |  | 14 | 17
18 | 527.207 | 13.771 | 182.4 | 25.02 | 81.4 | 804.7779 | 596.6521 | 1401.43 | 0 | 0 | 0 | 0 | 0 | 0 | 1401.43 | 18 | 553.54 | 14 | 200 | 767.54 | 1402.7025 | 1443.82 | 1380.82 | 1402.7025 | 1402.7025 | 1401.43 | 0 | 30 | 07.15-07.30 | 50.03 |  | 1626.99 |  | 14 | 18
19 | 507.6631 | 13.771 | 164.16 | 25.07 | 88.8 | 774.3941 | 755.5417 | 1529.9358 | 0 | 0 | 0 | 0 | 0 | 0 | 1529.9358 | 19 | 533.02 | 14 | 180 | 727.02 | 1531.325 | 1553.48 | 1492.16 | 1531.325 | 1531.325 | 1529.9358 | 0 | 31 | 07.30-07.45 | 50.06 |  | 1639.96 |  | 14 | 19
20 | 671.7189 | 89.4129 | 155.04 | 101.05 | 88.8 | 1004.9718 | 481.2662 | 1486.238 | 0 | 0 | 0 | 0 | 0 | 0 | 1486.238 | 20 | 705.27 | 90.9 | 170 | 966.17 | 1487.5875 | 1540.53 | 1432.87 | 1487.5875 | 1487.5875 | 1486.238 | 0 | 32 | 07.45-08.00 | 50.08 | 50.045 | 1666.11 | 1628.6225 | 90.9 | 20
21 | 660.385 | 89.5113 | 155.04 | 101.04 | 88.8 | 993.7362 | 376.0375 | 1369.7737 | 0 | 0 | 0 | 0 | 0 | 0 | 1369.7737 | 21 | 693.37 | 91 | 170 | 954.37 | 1371.0175 | 1403.93 | 1336.15 | 1371.0175 | 1371.0175 | 1369.7737 | 0 | 33 | 08.00-08.15 | 50.03 |  | 1657.85 |  | 91 | 21
22 | 639.984 | 89.5113 | 182.4 | 101.04 | 74 | 985.8952 | 289.202 | 1275.0972 | 0 | 0 | 0 | 0 | 0 | 0 | 1275.0972 | 22 | 671.95 | 91 | 200 | 962.95 | 1276.255 | 1318.87 | 1224.19 | 1276.255 | 1276.255 | 1275.0972 | 0 | 34 | 08.15-08.30 | 50.05 |  | 1641.08 |  | 91 | 22
23 | 492.4814 | 34.4274 | 127.68 | 25.04 | 74 | 728.5889 | 476.7217 | 1205.3106 | 0 | 0 | 0 | 0 | 0 | 0 | 1205.3106 | 23 | 517.08 | 35 | 140 | 692.08 | 1206.405 | 1222.15 | 1178.85 | 1206.405 | 1206.405 | 1205.3106 | 0 | 35 | 08.30-08.45 | 50.04 |  | 1622.16 |  | 35 | 23
24 | 484.8525 | 34.4274 | 127.68 | 25.02 | 74 | 720.9599 | 420.0715 | 1141.0314 | 0 | 0 | 0 | 0 | 0 | 0 | 1141.0314 | 24 | 509.07 | 35 | 140 | 684.07 | 1142.0675 | 1156.31 | 1126.08 | 1142.0675 | 1142.0675 | 1141.0314 | 0 | 36 | 08.45-09.00 | 50.1 | 50.055 | 1614.76 | 1633.9625 | 35 | 24
[16 empty] | 12: 37 | 09.00-09.15 | 50.1 |  | 1609.82
TOTAL (in MWh) | 12476.5775 | 496.64 | 2872.8 | 563.58 | 853.77 | 16699.7875 | 15477.6509 | 32177.4384 | 0 | 0 | 0 | 0 | 0 | 0 | 32177.4384 | TOTAL | 13099.76 | 504.9 | 3150 | 16754.66 | 32174.9775 |  |  | 32204.1925 | 32204.1925 | 32177.4384 | 0 | 38 | 09.15-09.30 | 50.06 |  | 1592.74
[16 empty] | 12: 39 | 09.30-09.45 | 50.05 |  | 1555.98
[16 empty] | 12: 40 | 09.45-10.00 | 50.03 | 50.06 | 1535.48 | 1573.505
|  |  | Hourly Average Frequency (Fr) | [7 empty] | 49.9858 | HZ |  |  |  | 1: Note :- Please don't edit these figures.; 12: 41 | 10.00-10.15 | 50.08 |  | 1538.9
|  |  | Demand met for the day | [7 empty] | 1666.11 | MW |  |  |  | 12: 42 | 10.15-10.30 | 50.04 |  | 1530.61
|  |  | Unrestricted Demand for the day | [7 empty] | 1666.11 | MW |  |  |  | 1: MAX =; 2: 1666.11; 12: 43 | 10.30-10.45 | 50.03 |  | 1519.93
|  |  | Minimum Demand(Unrestricted) for the day | [7 empty] | 1046.6 | MW | Aux. | Net gen. |  | 1: MIN =; 2: 1046.6; 12: 44 | 10.45-11.00 | 49.98 | 50.0325 | 1511.63 | 1525.2675
|  |  | Gross own generation | [7 empty] | 12476.5775 | MWH | 23.183 | 12453.3945 |  | 12: 45 | 11.00-11.15 | 49.92 |  | 1502.85
|  |  | Gross Baspa generation | [7 empty] | 2872.8 | MWH | 6.1 | 2866.7 |  | 12: 46 | 11.15-11.30 | 49.91 |  | 1467.57
|  |  | Gross Malana generation | [7 empty] | 496.64 | MWH | 10.165 | 486.475 |  | 12: 47 | 11.30-11.45 | 49.83 |  | 1467.71
|  |  | Malana generation at 0300 Hrs. | [7 empty] | 0 | MW |  |  |  | 12: 48 | 11.45-12.00 | 49.74 | 49.85 | 1466.37 | 1476.125
|  |  | Malana generation at 2400 Hrs. | [7 empty] | 35 | MW |  |  |  | 12: 49 | 12.00-12.15 | 49.94 |  | 1426.43
|  |  | Max.generation of Malana at 2100 Hrs. | [7 empty] | 91 | MW |  |  |  | 12: 50 | 12.15-12.30 | 49.87 |  | 1426.61
[9 empty] | Off Peak Hrs MW |  | Peak Hrs MW |  | Gross Lus | Net Lus
|  |  | Total Own Generation | [5 empty] | 328.7599 |  | 997.2397 |  | 124.7658 | 124.5339 |  | 12: 51 | 12.30-12.45 | 49.89 |  | 1433.89
|  |  | Above 25 MW | [5 empty] | 171.8178 |  | 302.3333 |  | 48.1007 | 47.9125 |  | 12: 52 | 12.45-13.00 | 49.91 | 49.9025 | 1377.26 | 1416.0475
|  |  | Below 25 MW(Small Hydro <25 MW) | [5 empty] | 156.9421 |  | 694.9065 |  | 76.6651 | 76.6214 |  | 12: 53 | 13.00-13.15 | 50.06 |  | 1369.53
[16 empty] | 12: 54 | 13.15-13.30 | 50.01 |  | 1544.89
[16 empty] | 12: 55 | 13.30-13.45 | 49.95 |  | 1372.42
[16 empty] | 12: 56 | 13.45-14.00 | 50.04 | 50.015 | 1376.37 | 1415.8025
[16 empty] | 12: 57 | 14.00-14.15 | 50.05 |  | 1387.76
[16 empty] | 12: 58 | 14.15-14.30 | 49.88 |  | 1366.44
[16 empty] | 12: 59 | 14.30-14.45 | 49.9 |  | 1361.52
[16 empty] | 12: 60 | 14.45-15.00 | 49.89 | 49.93 | 1344.87 | 1365.1475
[16 empty] | 12: 61 | 15.00-15.15 | 50.02 |  | 1346.18
[16 empty] | 12: 62 | 15.15-15.30 | 49.98 |  | 1345.21
[16 empty] | 12: 63 | 15.30-15.45 | 49.95 |  | 1363.98
[16 empty] | 12: 64 | 15.45-16.00 | 50 | 49.9875 | 1375.03 | 1357.6
[16 empty] | 12: 65 | 16.00-16.15 | 50.01 |  | 1358.88
[16 empty] | 12: 66 | 16.15-16.30 | 50 |  | 1364.11
[16 empty] | 12: 67 | 16.30-16.45 | 49.96 |  | 1380.54
[16 empty] | 12: 68 | 16.45-17.00 | 49.91 | 49.97 | 1386.79 | 1372.58
[16 empty] | 12: 69 | 17.00-17.15 | 49.98 |  | 1380.82
[16 empty] | 12: 70 | 17.15-17.30 | 50 |  | 1388.44
[16 empty] | 12: 71 | 17.30-17.45 | 50.02 |  | 1397.73
[16 empty] | 12: 72 | 17.45-18.00 | 49.91 | 49.9775 | 1443.82 | 1402.7025
[16 empty] | 12: 73 | 18.00-18.15 | 49.93 |  | 1492.16
[16 empty] | 12: 74 | 18.15-18.30 | 49.92 |  | 1542.55
[16 empty] | 12: 75 | 18.30-18.45 | 49.98 |  | 1553.48
[16 empty] | 12: 76 | 18.45-19.00 | 50.02 | 49.9625 | 1537.11 | 1531.325
[16 empty] | 12: 77 | 19.00-19.15 | 50.03 |  | 1540.53
[16 empty] | 12: 78 | 19.15-19.30 | 50.04 |  | 1510.82
[16 empty] | 12: 79 | 19.30-19.45 | 50.04 |  | 1466.13
[16 empty] | 12: 80 | 19.45-20.00 | 50.03 | 50.035 | 1432.87 | 1487.5875
[16 empty] | 12: 81 | 20.00-20.15 | 50.01 |  | 1403.93
[16 empty] | 12: 82 | 20.15-20.30 | 49.99 |  | 1390.96
[16 empty] | 12: 83 | 20.30-20.45 | 49.98 |  | 1353.03
[16 empty] | 12: 84 | 20.45-21.00 | 49.99 | 49.9925 | 1336.15 | 1371.0175
[16 empty] | 12: 85 | 21.00-21.15 | 49.97 |  | 1318.87
[16 empty] | 12: 86 | 21.15-21.30 | 49.89 |  | 1290.7
[16 empty] | 12: 87 | 21.30-21.45 | 49.99 |  | 1271.26
[16 empty] | 12: 88 | 21.45-22.00 | 50.07 | 49.98 | 1224.19 | 1276.255
[16 empty] | 12: 89 | 22.00-22.15 | 50.02 |  | 1220.82
[16 empty] | 12: 90 | 22.15-22.30 | 50.03 |  | 1222.15
[16 empty] | 12: 91 | 22.30-22.45 | 50.04 |  | 1203.8
[16 empty] | 12: 92 | 22.45-23.00 | 50.02 | 50.0275 | 1178.85 | 1206.405
[16 empty] | 12: 93 | 23.00-23.15 | 49.98 |  | 1156.31
[16 empty] | 12: 94 | 23.15-23.30 | 49.98 |  | 1148.89
[16 empty] | 12: 95 | 23.30-23.45 | 50.01 |  | 1136.99
[16 empty] | 12: 96 | 23.45-24.00 | 50 | 49.9925 | 1126.08 | 1142.0675
[29 empty] | Total | 49.9858 | 49.9858 | 32174.9775 | 32174.9775
[29 empty] | max | 1666.11 |  | avg. max | 1633.9625
[29 empty] | min | 1046.6 |  | avg. min | 1054.8725
Note on AA16: ReportServer: critical formulas…….do not disturb
Note on AB16: ReportServer: critical formulas…….do not disturb
Note on S24: Please don't edit here
Note on G25: Column no. 5 =Sum (2+3+4 Column)
Note on K25: The fig of power cut comes from daily hourly load sheet.