## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2021-10-23
Hiamchal Pradesh State Load Despatch Centre
[12 empty] | DATED | 2021-10-24
FROM | [10 empty] | TO
| POWER CONTROLLER | [10 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [10 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [12 empty] | DEMAND OF STATE |  |  | 32087.7975 | MWh
[16 empty] | ACTUAL MALANA GENERATION |  |  | 497.92 | MWh
|  | State:- Himachal Pradesh | [13 empty] | ACTUAL BASPA GENERATION |  |  | 2548.9 | MWh | [7 empty] | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[11 empty] | PEAK DEMAND(MW) |  |  | 1642.98 | [13 empty] | 1 | 00.00-00.15 | 49.93 |  | 1128.39
|  | Month/Day :- |  |  |  | 2021-10-23 |  |  |  |  | Min.DEMAND(MW) |  |  | 1045.59 |  | ACTUAL OWN GENERATION |  |  | 12473.411 | MWh | [7 empty] | 2 | 00.15-00.30 | 49.9 |  | 1113.98
[28 empty] | 3 | 00.30-00.45 | 49.9 |  | 1109.9 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [5 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET |  |  | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P6 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 49.88 | 49.9025 | 1099.08 | 1112.8375 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[10 empty] | DUE TO LOAD SHEDD-ING (MW) | DUE TO SATUTORY CUT (MW) | DUE TO T&D CONS-TRAINTS (MW) | [15 empty] | 5 | 01.00-01.15 | 49.88 |  | 1092.46 |  |  |  | MALANA-2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30.01 | 30.02 | 30.04 | 25.03 | 25.01 | 25.02 | 25.07 | 101.05 | 101.04 | 101.04 | 25.04 | 25.02 | 543.39
[28 empty] | 6 | 01.15-01.30 | 49.9 |  | 1091.39 |  |  |  | SWARA KUDDU | 49.02 | 20.35 | 0 | 0 | 0 | 20.35 | 40.7 | 40.7 | 40.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.35 | 81.4 | 88.8 | 88.8 | 88.8 | 74 | 74 | 74 | 801.97
[28 empty] | 7 | 01.30-01.45 | 49.85 |  | 1091.77
[28 empty] | 8 | 01.45-02:00 | 49.99 | 49.905 | 1090.59 | 1091.5525
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | TOTAL | [10 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50 |  | 1081.84 |  | Malana
[8 empty] | 5+6 | [19 empty] | 10 | 02.15-02.30 | 50 |  | 1072.07
[8 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P6/1000 | P7 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50 |  | 1070.63
1 | 2 | 3 | 4 |  |  | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50 | 50 | 1069.79 | 1073.5825
1 | 473.4454 | 0 | 118.9487 | 0 | 49.02 | 641.414 | 471.11 | 1112.524 | 0 | 0 | 0 | 0 | 0 | 0 | 1112.524 | 1 | 491.3 | 0 | 140 | 631.3 | 1112.8375 | 1128.39 | 1099.08 | 1112.8375 | 1112.8375 | 1112.524 | 0 | 13 | 03.00-03.15 | 49.99 |  | 1070.26 |  | 0 | 1
2 | 515.5572 | 0 | 84.9633 | 0 | 20.35 | 620.8706 | 470.3744 | 1091.245 | 0 | 0 | 0 | 0 | 0 | 0 | 1091.245 | 2 | 535 | 0 | 100 | 635 | 1091.5525 | 1092.46 | 1090.59 | 1091.5525 | 1091.5525 | 1091.245 | 0 | 14 | 03.15-03.30 | 50.01 |  | 1077.4 |  | 0 | 2
3 | 444.1501 | 0 | 59.4743 | 0 | 0 | 503.6245 | 569.6556 | 1073.28 | 0 | 0 | 0 | 0 | 0 | 0 | 1073.28 | 3 | 460.9 | 0 | 70 | 530.9 | 1073.5825 | 1081.84 | 1069.79 | 1073.5825 | 1073.5825 | 1073.28 | 0 | 15 | 03.30-03.45 | 50.01 |  | 1060.96 |  | 0 | 3
4 | 414.084 | 0 | 59.4743 | 0 | 0 | 473.5583 | 596.6951 | 1070.2534 | 0 | 0 | 0 | 0 | 0 | 0 | 1070.2534 | 4 | 429.7 | 0 | 70 | 499.7 | 1070.555 | 1077.4 | 1060.96 | 1070.555 | 1070.555 | 1070.2534 | 0 | 16 | 03.45-04.00 | 50.01 | 50.005 | 1073.6 | 1070.555 | 0 | 4
5 | 437.9827 | 0 | 59.4743 | 0 | 0 | 497.4571 | 598.4116 | 1095.8687 | 0 | 0 | 0 | 0 | 0 | 0 | 1095.8687 | 5 | 454.5 | 0 | 70 | 524.5 | 1096.1775 | 1109.81 | 1075.27 | 1096.1775 | 1096.1775 | 1095.8687 | 0 | 17 | 04.00-04.15 | 50.01 |  | 1075.27 |  | 0 | 5
6 | 456.485 | 0 | 59.4743 | 0 | 20.35 | 536.3093 | 658.8414 | 1195.1507 | 0 | 0 | 0 | 0 | 0 | 0 | 1195.1507 | 6 | 473.7 | 0 | 70 | 543.7 | 1195.4875 | 1255.04 | 1139.32 | 1195.4875 | 1195.4875 | 1195.1507 | 0 | 18 | 04.15-04.30 | 50.01 |  | 1094.77 |  | 0 | 6
7 | 449.9321 | 0 | 50.978 | 0 | 40.7 | 541.6101 | 875.8829 | 1417.493 | 0 | 0 | 0 | 0 | 0 | 0 | 1417.493 | 7 | 466.9 | 0 | 60 | 526.9 | 1417.8925 | 1527.9 | 1295.57 | 1417.8925 | 1417.8925 | 1417.493 | 0 | 19 | 04.30-04.45 | 50.01 |  | 1104.86 |  | 0 | 7
8 | 480.5764 | 0 | 50.978 | 0 | 40.7 | 572.2544 | 1070.7256 | 1642.98 | 0 | 0 | 0 | 0 | 0 | 0 | 1642.98 | 8 | 498.7 | 0 | 60 | 558.7 | 1617.525 | 1642.98 | 1572.09 | 1642.98 | 1642.98 | 1642.98 | 0 | 20 | 04.45-05.00 | 49.98 | 50.0025 | 1109.81 | 1096.1775 | 0 | 8
9 | 531.9394 | 0 | 84.9633 | 0 | 40.7 | 657.6028 | 965.9097 | 1623.5125 | 0 | 0 | 0 | 0 | 0 | 0 | 1623.5125 | 9 | 552 | 0 | 100 | 652 | 1623.97 | 1642.46 | 1604.37 | 1623.97 | 1623.97 | 1623.5125 | 0 | 21 | 05.00-05.15 | 49.98 |  | 1139.32 |  | 0 | 9
10 | 459.665 | 0 | 101.956 | 0 | 0 | 561.621 | 1024.462 | 1586.083 | 0 | 0 | 0 | 0 | 0 | 0 | 1586.083 | 10 | 477 | 0 | 120 | 597 | 1586.53 | 1592.59 | 1577.77 | 1586.53 | 1586.53 | 1586.083 | 0 | 22 | 05.15-05.30 | 49.99 |  | 1178.57 |  | 0 | 10
11 | 449.1323 | 0 | 135.9413 | 0 | 0 | 585.0736 | 961.908 | 1546.9816 | 0 | 0 | 0 | 0 | 0 | 0 | 1546.9816 | 11 | 466.07 | 0 | 160 | 626.07 | 1547.4175 | 1564.41 | 1536.44 | 1547.4175 | 1547.4175 | 1546.9816 | 0 | 23 | 05.30-05.45 | 49.96 |  | 1209.02 |  | 0 | 11
12 | 472.3661 | 0 | 135.9413 | 0 | 0 | 608.3074 | 888.3308 | 1496.6382 | 0 | 0 | 0 | 0 | 0 | 0 | 1496.6382 | 12 | 490.18 | 0 | 160 | 650.18 | 1497.06 | 1509.51 | 1484.24 | 1497.06 | 1497.06 | 1496.6382 | 0 | 24 | 05.45-06.00 | 49.99 | 49.98 | 1255.04 | 1195.4875 | 0 | 12
13 | 514.5165 | 0 | 93.4597 | 30.01 | 0 | 607.9761 | 850.3704 | 1458.3465 | 0 | 0 | 0 | 0 | 0 | 0 | 1458.3465 | 13 | 533.92 | 0 | 110 | 643.92 | 1458.7575 | 1483.58 | 1430.05 | 1458.7575 | 1458.7575 | 1458.3465 | 0 | 25 | 06.00-06.15 | 50.02 |  | 1295.57 |  | 0 | 13
14 | 511.0088 | 39.447 | 76.467 | 30.02 | 0 | 626.9228 | 748.3622 | 1375.2849 | 0 | 0 | 0 | 0 | 0 | 0 | 1375.2849 | 14 | 530.28 | 40 | 90 | 660.28 | 1375.6725 | 1394.91 | 1362.19 | 1375.6725 | 1375.6725 | 1375.2849 | 0 | 26 | 06.15-06.30 | 49.99 |  | 1382.62 |  | 40 | 14
15 | 595.3192 | 39.447 | 93.4597 | 30.04 | 0 | 728.2259 | 672.0645 | 1400.2904 | 0 | 0 | 0 | 0 | 0 | 0 | 1400.2904 | 15 | 617.77 | 40 | 110 | 767.77 | 1400.685 | 1410.79 | 1391.58 | 1400.685 | 1400.685 | 1400.2904 | 0 | 27 | 06.30-06.45 | 50 |  | 1465.48 |  | 40 | 15
16 | 624.865 | 39.447 | 110.4523 | 25.03 | 0 | 774.7644 | 642.9611 | 1417.7255 | 0 | 0 | 0 | 0 | 0 | 0 | 1417.7255 | 16 | 648.43 | 40 | 130 | 818.43 | 1418.125 | 1428.02 | 1409.31 | 1418.125 | 1418.125 | 1417.7255 | 0 | 28 | 06.45-07.00 | 50.02 | 50.0075 | 1527.9 | 1417.8925 | 40 | 16
17 | 611.1136 | 13.8065 | 152.934 | 25.01 | 20.35 | 798.2041 | 636.6866 | 1434.8906 | 0 | 0 | 0 | 0 | 0 | 0 | 1434.8906 | 17 | 634.16 | 14 | 180 | 828.16 | 1435.295 | 1443.68 | 1425.57 | 1435.295 | 1435.295 | 1434.8906 | 0 | 29 | 07.00-07.15 | 50.02 |  | 1572.09 |  | 14 | 17
18 | 533.4235 | 13.8065 | 169.9267 | 25.02 | 81.4 | 798.5566 | 622.1031 | 1420.6597 | 0 | 0 | 0 | 0 | 0 | 0 | 1420.6597 | 18 | 553.54 | 14 | 200 | 767.54 | 1421.06 | 1456.7 | 1402.07 | 1421.06 | 1421.06 | 1420.6597 | 0 | 30 | 07.15-07.30 | 49.97 |  | 1616.62 |  | 14 | 18
19 | 513.6492 | 13.8065 | 152.934 | 25.07 | 88.8 | 769.1896 | 720.9604 | 1490.1501 | 0 | 0 | 0 | 0 | 0 | 0 | 1490.1501 | 19 | 533.02 | 14 | 180 | 727.02 | 1490.57 | 1500.46 | 1481.58 | 1490.57 | 1490.57 | 1490.1501 | 0 | 31 | 07.30-07.45 | 49.95 |  | 1638.41 |  | 14 | 19
20 | 679.6393 | 89.6434 | 144.4377 | 101.05 | 88.8 | 1002.5204 | 417.267 | 1419.7874 | 0 | 0 | 0 | 0 | 0 | 0 | 1419.7874 | 20 | 705.27 | 90.9 | 170 | 966.17 | 1420.1875 | 1440.41 | 1392.76 | 1420.1875 | 1420.1875 | 1419.7874 | 0 | 32 | 07.45-08.00 | 50.03 | 49.9925 | 1642.98 | 1617.525 | 90.9 | 20
21 | 668.1718 | 89.742 | 144.4377 | 101.04 | 88.8 | 991.1514 | 341.8929 | 1333.0443 | 0 | 0 | 0 | 0 | 0 | 0 | 1333.0443 | 21 | 693.37 | 91 | 170 | 954.37 | 1333.42 | 1379.88 | 1285.82 | 1333.42 | 1333.42 | 1333.0443 | 0 | 33 | 08.00-08.15 | 50.02 |  | 1642.46 |  | 91 | 21
22 | 647.5302 | 89.742 | 169.9267 | 101.04 | 74 | 981.1989 | 224.7138 | 1205.9127 | 0 | 0 | 0 | 0 | 0 | 0 | 1205.9127 | 22 | 671.95 | 91 | 200 | 962.95 | 1206.2525 | 1250.83 | 1157.68 | 1206.2525 | 1206.2525 | 1205.9127 | 0 | 34 | 08.15-08.30 | 50.03 |  | 1632.79 |  | 91 | 22
23 | 498.2885 | 34.5161 | 118.9487 | 25.04 | 74 | 725.7533 | 409.1094 | 1134.8627 | 0 | 0 | 0 | 0 | 0 | 0 | 1134.8627 | 23 | 517.08 | 35 | 140 | 692.08 | 1135.1825 | 1157.75 | 1120.05 | 1135.1825 | 1135.1825 | 1134.8627 | 0 | 35 | 08.30-08.45 | 49.99 |  | 1616.26 |  | 35 | 23
24 | 490.5696 | 34.5161 | 118.9487 | 25.02 | 74 | 718.0344 | 327.5556 | 1045.59 | 0 | 0 | 0 | 0 | 0 | 0 | 1045.59 | 24 | 509.07 | 35 | 140 | 684.07 | 1062.0025 | 1087.61 | 1045.59 | 1045.59 | 1045.59 | 1045.59 | 0 | 36 | 08.45-09.00 | 49.98 | 50.005 | 1604.37 | 1623.97 | 35 | 24
[16 empty] | 12: 37 | 09.00-09.15 | 49.97 |  | 1592.59
TOTAL (in MWh) | 12473.411 | 497.92 | 2548.9 | 543.39 | 801.97 | 16322.201 | 15766.3539 | 32088.5549 | 0 | 0 | 0 | 0 | 0 | 0 | 32088.5549 | TOTAL | 12943.81 | 504.9 | 3000 | 16448.71 | 32087.7975 |  |  | 32096.84 | 32096.84 | 32088.5549 | 0 | 38 | 09.15-09.30 | 49.95 |  | 1589.95
[16 empty] | 12: 39 | 09.30-09.45 | 50 |  | 1585.81
[16 empty] | 12: 40 | 09.45-10.00 | 50.05 | 49.9925 | 1577.77 | 1586.53
|  |  | Hourly Average Frequency (Fr) | [7 empty] | 49.988 | HZ |  |  |  | 1: Note :- Please don't edit these figures.; 12: 41 | 10.00-10.15 | 50.05 |  | 1538.85
|  |  | Demand met for the day | [7 empty] | 1642.98 | MW |  |  |  | 12: 42 | 10.15-10.30 | 50.05 |  | 1564.41
|  |  | Unrestricted Demand for the day | [7 empty] | 1642.98 | MW |  |  |  | 1: MAX =; 2: 1642.98; 12: 43 | 10.30-10.45 | 50.03 |  | 1549.97
|  |  | Minimum Demand(Unrestricted) for the day | [7 empty] | 1045.59 | MW | Aux. | Net gen. |  | 1: MIN =; 2: 1045.59; 12: 44 | 10.45-11.00 | 50.01 | 50.035 | 1536.44 | 1547.4175
|  |  | Gross own generation | [7 empty] | 12473.411 | MWH | 27.214 | 12446.197 |  | 12: 45 | 11.00-11.15 | 49.92 |  | 1509.51
|  |  | Gross Baspa generation | [7 empty] | 2548.9 | MWH | 5.69 | 2543.21 |  | 12: 46 | 11.15-11.30 | 49.85 |  | 1502.03
|  |  | Gross Malana generation | [7 empty] | 497.92 | MWH | 8.367 | 489.553 |  | 12: 47 | 11.30-11.45 | 49.96 |  | 1492.46
|  |  | Malana generation at 0300 Hrs. | [7 empty] | 0 | MW |  |  |  | 12: 48 | 11.45-12.00 | 49.99 | 49.93 | 1484.24 | 1497.06
|  |  | Malana generation at 2400 Hrs. | [7 empty] | 35 | MW |  |  |  | 12: 49 | 12.00-12.15 | 50.03 |  | 1483.58
|  |  | Max.generation of Malana at 2100 Hrs. | [7 empty] | 91 | MW |  |  |  | 12: 50 | 12.15-12.30 | 50 |  | 1472.51
[9 empty] | Off Peak Hrs MW |  | Peak Hrs MW |  | Gross Lus | Net Lus
|  |  | Total Own Generation | [5 empty] | 299.981 |  | 1022.399 |  | 124.7341 | 124.462 |  | 12: 51 | 12.30-12.45 | 50.02 |  | 1448.89
|  |  | Above 25 MW | [5 empty] | 146.3744 |  | 286.4868 |  | 44.3898 | 44.1635 |  | 12: 52 | 12.45-13.00 | 50.07 | 50.03 | 1430.05 | 1458.7575
|  |  | Below 25 MW(Small Hydro <25 MW) | [5 empty] | 153.6066 |  | 735.9122 |  | 80.3443 | 80.2985 |  | 12: 53 | 13.00-13.15 | 50.07 |  | 1372.86
[16 empty] | 12: 54 | 13.15-13.30 | 50.03 |  | 1362.19
[16 empty] | 12: 55 | 13.30-13.45 | 49.98 |  | 1372.73
[16 empty] | 12: 56 | 13.45-14.00 | 49.91 | 49.9975 | 1394.91 | 1375.6725
[16 empty] | 12: 57 | 14.00-14.15 | 49.94 |  | 1396.59
[16 empty] | 12: 58 | 14.15-14.30 | 49.84 |  | 1391.58
[16 empty] | 12: 59 | 14.30-14.45 | 49.78 |  | 1403.78
[16 empty] | 12: 60 | 14.45-15.00 | 49.97 | 49.8825 | 1410.79 | 1400.685
[16 empty] | 12: 61 | 15.00-15.15 | 50.02 |  | 1409.31
[16 empty] | 12: 62 | 15.15-15.30 | 49.99 |  | 1412.11
[16 empty] | 12: 63 | 15.30-15.45 | 49.98 |  | 1423.06
[16 empty] | 12: 64 | 15.45-16.00 | 49.97 | 49.99 | 1428.02 | 1418.125
[16 empty] | 12: 65 | 16.00-16.15 | 50 |  | 1430.89
[16 empty] | 12: 66 | 16.15-16.30 | 49.88 |  | 1443.68
[16 empty] | 12: 67 | 16.30-16.45 | 49.95 |  | 1425.57
[16 empty] | 12: 68 | 16.45-17.00 | 49.97 | 49.95 | 1441.04 | 1435.295
[16 empty] | 12: 69 | 17.00-17.15 | 50.03 |  | 1412.11
[16 empty] | 12: 70 | 17.15-17.30 | 49.97 |  | 1402.07
[16 empty] | 12: 71 | 17.30-17.45 | 49.98 |  | 1413.36
[16 empty] | 12: 72 | 17.45-18.00 | 50.02 | 50 | 1456.7 | 1421.06
[16 empty] | 12: 73 | 18.00-18.15 | 50.01 |  | 1481.58
[16 empty] | 12: 74 | 18.15-18.30 | 49.86 |  | 1500.46
[16 empty] | 12: 75 | 18.30-18.45 | 49.9 |  | 1497.64
[16 empty] | 12: 76 | 18.45-19.00 | 50.03 | 49.95 | 1482.6 | 1490.57
[16 empty] | 12: 77 | 19.00-19.15 | 50.04 |  | 1440.41
[16 empty] | 12: 78 | 19.15-19.30 | 50.09 |  | 1417.77
[16 empty] | 12: 79 | 19.30-19.45 | 50.1 |  | 1429.81
[16 empty] | 12: 80 | 19.45-20.00 | 50.11 | 50.085 | 1392.76 | 1420.1875
[16 empty] | 12: 81 | 20.00-20.15 | 50.13 |  | 1379.88
[16 empty] | 12: 82 | 20.15-20.30 | 50.06 |  | 1347.72
[16 empty] | 12: 83 | 20.30-20.45 | 50.04 |  | 1320.26
[16 empty] | 12: 84 | 20.45-21.00 | 50.07 | 50.075 | 1285.82 | 1333.42
[16 empty] | 12: 85 | 21.00-21.15 | 50.03 |  | 1250.83
[16 empty] | 12: 86 | 21.15-21.30 | 50.05 |  | 1220.45
[16 empty] | 12: 87 | 21.30-21.45 | 50.04 |  | 1196.05
[16 empty] | 12: 88 | 21.45-22.00 | 50.02 | 50.035 | 1157.68 | 1206.2525
[16 empty] | 12: 89 | 22.00-22.15 | 49.95 |  | 1137.01
[16 empty] | 12: 90 | 22.15-22.30 | 49.98 |  | 1157.75
[16 empty] | 12: 91 | 22.30-22.45 | 49.98 |  | 1125.92
[16 empty] | 12: 92 | 22.45-23.00 | 49.99 | 49.975 | 1120.05 | 1135.1825
[16 empty] | 12: 93 | 23.00-23.15 | 49.96 |  | 1087.61
[16 empty] | 12: 94 | 23.15-23.30 | 49.97 |  | 1069.2
[16 empty] | 12: 95 | 23.30-23.45 | 50 |  | 1045.61
[16 empty] | 12: 96 | 23.45-24.00 | 50.01 | 49.985 | 1045.59 | 1062.0025
[29 empty] | Total | 49.988 | 49.988 | 32087.7975 | 32087.7975
[29 empty] | max | 1642.98 |  | avg. max | 1623.97
[29 empty] | min | 1045.59 |  | avg. min | 1062.0025
Note on AA16: ReportServer: critical formulas…….do not disturb
Note on AB16: ReportServer: critical formulas…….do not disturb
Note on S24: Please don't edit here
Note on G25: Column no. 5 =Sum (2+3+4 Column)
Note on K25: The fig of power cut comes from daily hourly load sheet.