## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2022-05-01
Hiamchal Pradesh State Load Despatch Centre
[17 empty] | DATED | 2022-05-02
FROM | [14 empty] | TO
| POWER CONTROLLER | [15 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [15 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [17 empty] | DEMAND OF STATE |  |  | 29860.8825 | MWh
[21 empty] | ACTUAL MALANA GENERATION |  |  | 652 | MWh
|  | State:- Himachal Pradesh | [18 empty] | ACTUAL BASPA GENERATION |  |  | 3132 | MWh | [7 empty] | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[17 empty] | PEAK DEMAND(MW) |  | 1453.79 | [13 empty] | 1 | 00.00-00.15 | 49.91 |  | 1266
|  | Month/Day :- |  |  |  | 2022-05-01 | [10 empty] | Min.DEMAND(MW) |  | 1003 |  | ACTUAL OWN GENERATION |  |  | 16962.9975 | MWh | [7 empty] | 2 | 00.15-00.30 | 49.87 |  | 1182
[33 empty] | 3 | 00.30-00.45 | 49.95 |  | 1176 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [5 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 49.92 | 49.9125 | 1174 | 1199.5 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[10 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 49.97 |  | 1170 |  |  |  | MALANA-2 | 45 | 45 | 44 | 45 | 101 | 101 | 101 | 24 | 24 | 25 | 25 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 30 | 30 | 30 | 30 | 755
[33 empty] | 6 | 01.15-01.30 | 49.97 |  | 1158 |  |  |  | SWARA KUDDU | 0 | 0 | 0 | 0 | 0 | 37 | 37 | 37 | 37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37 | 37 | 37 | 37 | 33.35 | 37 | 366.35
[33 empty] | 7 | 01.30-01.45 | 50 |  | 1152
[33 empty] | 8 | 01.45-02:00 | 50.05 | 49.9975 | 1147 | 1156.75
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50.03 |  | 1142 |  | Malana
[8 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 50.03 |  | 1146
[8 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.99 |  | 1163
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.01 | 50.015 | 1152 | 1150.75
1 | 162.1616 | 29 | 171.4469 | 45 | 0 | 362.6085 | 837.4225 | 1200.031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1200.031 | 1 | 94.19 | 29 | 170.165 | 293.355 | 1199.5 | 1266 | 1174 | 1199.5 | 1199.5 | 1200.031 | 0 | 13 | 03.00-03.15 | 50.02 |  | 1133 |  | 29 | 1
2 | 473.779 | 29 | 202.6603 | 45 | 0 | 705.4393 | 451.8228 | 1157.2621 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1157.2621 | 2 | 275.19 | 29 | 201.145 | 505.335 | 1156.75 | 1170 | 1147 | 1156.75 | 1156.75 | 1157.2621 | 0 | 14 | 03.15-03.30 | 50.02 |  | 1131 |  | 29 | 2
3 | 504.4242 | 29 | 230.4279 | 44 | 0 | 763.8521 | 387.4073 | 1151.2594 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1151.2594 | 3 | 292.99 | 29 | 228.705 | 550.695 | 1150.75 | 1163 | 1142 | 1150.75 | 1150.75 | 1151.2594 | 0 | 15 | 03.30-03.45 | 50.02 |  | 1162 |  | 29 | 3
4 | 507.7814 | 29 | 253.2586 | 45 | 0 | 790.04 | 358.9684 | 1149.0084 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1149.0084 | 4 | 294.94 | 29 | 251.365 | 575.305 | 1148.5 | 1168 | 1131 | 1148.5 | 1148.5 | 1149.0084 | 0 | 16 | 03.45-04.00 | 50.05 | 50.0275 | 1168 | 1148.5 | 29 | 4
5 | 532.2288 | 44.5 | 213.8842 | 101 | 0 | 790.613 | 385.9076 | 1176.5206 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1176.5206 | 5 | 309.14 | 44.5 | 212.285 | 565.925 | 1176 | 1183 | 1172 | 1176 | 1176 | 1176.5206 | 0 | 17 | 04.00-04.15 | 50.04 |  | 1173 |  | 44.5 | 5
6 | 590.5925 | 44.5 | 42.2937 | 101 | 37 | 714.3862 | 542.4199 | 1256.8061 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1256.8061 | 6 | 343.04 | 44.5 | 41.9775 | 429.5175 | 1256.25 | 1280 | 1222 | 1256.25 | 1256.25 | 1256.8061 | 0 | 18 | 04.15-04.30 | 50.01 |  | 1172 |  | 44.5 | 6
7 | 632.6522 | 44.7 | 42.6338 | 101 | 37 | 756.986 | 562.848 | 1319.834 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1319.834 | 7 | 367.47 | 44.7 | 42.315 | 454.485 | 1319.25 | 1356 | 1276 | 1319.25 | 1319.25 | 1319.834 | 0 | 19 | 04.30-04.45 | 50.02 |  | 1183 |  | 44.7 | 7
8 | 779.0435 | 44.8 | 155.0568 | 24 | 37 | 1015.9004 | 366.1211 | 1382.0215 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1382.0215 | 8 | 452.5 | 44.8 | 153.8975 | 651.1975 | 1381.41 | 1398.08 | 1366.2 | 1381.41 | 1381.41 | 1382.0215 | 0 | 20 | 04.45-05.00 | 50.02 | 50.0225 | 1176 | 1176 | 44.8 | 8
9 | 753.4255 | 43.5 | 152.9536 | 24 | 37 | 986.8791 | 401.04 | 1387.9191 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1387.9191 | 9 | 437.62 | 43.5 | 151.81 | 632.93 | 1387.305 | 1393.47 | 1376.79 | 1387.305 | 1387.305 | 1387.9191 | 0 | 21 | 05.00-05.15 | 50.02 |  | 1222 |  | 43.5 | 9
10 | 734.9695 | 0 | 183.5272 | 25 | 0 | 918.4967 | 495.514 | 1414.0107 | 0 | 0 | 0 | 5.25 | 0 | 0 | 0 | 0 | 0 | 5.25 | 0.00525 | 1419.2607 | 10 | 426.9 | 0 | 182.155 | 609.055 | 1413.385 | 1422.07 | 1403.44 | 1413.385 | 1413.385 | 1414.0107 | 5.25 | 22 | 05.15-05.30 | 50.01 |  | 1254 |  | 0 | 10
11 | 727.6697 | 0 | 187.0687 | 25 | 0 | 914.7384 | 530.0516 | 1444.79 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 9 | 0.009 | 1453.79 | 11 | 422.66 | 0 | 185.67 | 608.33 | 1427.5025 | 1444.79 | 1412.06 | 1444.79 | 1444.79 | 1444.79 | 9 | 23 | 05.30-05.45 | 50.03 |  | 1269 |  | 0 | 11
12 | 681.6846 | 0 | 107.6096 | 25 | 0 | 789.2942 | 609.2671 | 1398.5613 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 9 | 0.009 | 1407.5613 | 12 | 395.95 | 0 | 106.805 | 502.755 | 1397.9425 | 1416.05 | 1374.76 | 1397.9425 | 1397.9425 | 1398.5613 | 9 | 24 | 05.45-06.00 | 50.05 | 50.0275 | 1280 | 1256.25 | 0 | 12
13 | 669.2544 | 0 | 55.6511 | 0 | 0 | 724.9055 | 643.9777 | 1368.8832 | 0 | 0 | 0 | 6.75 | 0 | 0 | 0 | 0 | 0 | 6.75 | 0.00675 | 1375.6332 | 13 | 388.73 | 0 | 55.235 | 443.965 | 1368.2775 | 1390.89 | 1343.2 | 1368.2775 | 1368.2775 | 1368.8832 | 6.75 | 25 | 06.00-06.15 | 50.05 |  | 1276 |  | 0 | 13
14 | 688.4507 | 0 | 60.5729 | 0 | 0 | 749.0236 | 553.3627 | 1302.3863 | 0 | 0 | 0 | 11.5 | 0 | 0 | 0 | 0 | 0 | 11.5 | 0.0115 | 1313.8863 | 14 | 399.88 | 0 | 60.12 | 460 | 1301.81 | 1329.61 | 1238 | 1301.81 | 1301.81 | 1302.3863 | 11.5 | 26 | 06.15-06.30 | 50.06 |  | 1295 |  | 0 | 14
15 | 873.5101 | 0 | 29.6693 | 0 | 0 | 903.1794 | 350.8754 | 1254.0549 | 0 | 0 | 0 | 6.9 | 0 | 0 | 0 | 0 | 0 | 6.9 | 0.0069 | 1260.9549 | 15 | 507.37 | 0 | 29.4475 | 536.8175 | 1253.5 | 1272 | 1237 | 1253.5 | 1253.5 | 1254.0549 | 6.9 | 27 | 06.30-06.45 | 50.08 |  | 1356 |  | 0 | 15
16 | 874.9907 | 0 | 83.6026 | 0 | 0 | 958.5933 | 263.6975 | 1222.2908 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1222.2908 | 16 | 508.23 | 0 | 82.9775 | 591.2075 | 1221.75 | 1257 | 1196 | 1221.75 | 1221.75 | 1222.2908 | 0 | 28 | 06.45-07.00 | 50.14 | 50.0825 | 1350 | 1319.25 | 0 | 16
17 | 832.8621 | 0 | 71.6608 | 0 | 0 | 904.5229 | 266.9954 | 1171.5184 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1171.5184 | 17 | 483.76 | 0 | 71.125 | 554.885 | 1171 | 1202 | 1118 | 1171 | 1171 | 1171.5184 | 0 | 29 | 07.00-07.15 | 50.22 |  | 1366.2 |  | 0 | 17
18 | 740.7198 | 45 | 126.2112 | 0 | 0 | 911.9309 | 229.0739 | 1141.0049 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1141.0049 | 18 | 430.24 | 45 | 125.2675 | 600.5075 | 1140.5 | 1162 | 1107 | 1140.5 | 1140.5 | 1141.0049 | 0 | 30 | 07.15-07.30 | 50.2 |  | 1368.2 |  | 45 | 18
19 | 806.2799 | 45 | 199.8568 | 0 | 37 | 1088.1367 | 15.3515 | 1103.4883 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1103.4883 | 19 | 468.32 | 45 | 198.3625 | 711.6825 | 1103 | 1116 | 1089 | 1103 | 1103 | 1103.4883 | 0 | 31 | 07.30-07.45 | 50.25 |  | 1398.08 |  | 45 | 19
20 | 851.6452 | 45 | 220.5616 | 30 | 37 | 1154.2068 | 114.1043 | 1268.3112 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1268.3112 | 20 | 494.67 | 45 | 218.9125 | 758.5825 | 1267.75 | 1335 | 1195 | 1267.75 | 1267.75 | 1268.3112 | 0 | 32 | 07.45-08.00 | 50.24 | 50.2275 | 1393.16 | 1381.41 | 45 | 20
21 | 846.9968 | 45 | 129.332 | 30 | 37 | 1058.3288 | 210.4826 | 1268.8114 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1268.8114 | 21 | 491.97 | 45 | 128.365 | 665.335 | 1268.25 | 1302 | 1249 | 1268.25 | 1268.25 | 1268.8114 | 0 | 33 | 08.00-08.15 | 50.27 |  | 1393.47 |  | 45 | 21
22 | 822.3429 | 44.7 | 41.9537 | 30 | 37 | 945.9966 | 225.5218 | 1171.5184 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1171.5184 | 22 | 477.65 | 44.7 | 41.64 | 563.99 | 1171 | 1183 | 1157 | 1171 | 1171 | 1171.5184 | 0 | 34 | 08.15-08.30 | 50.16 |  | 1376.79 |  | 44.7 | 22
23 | 945.3818 | 44.7 | 59.2278 | 30 | 33.35 | 1082.6597 | 63.8476 | 1146.5073 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1146.5073 | 23 | 549.116 | 44.7 | 58.785 | 652.601 | 1146 | 1162 | 1140 | 1146 | 1146 | 1146.5073 | 0 | 35 | 08.30-08.45 | 50.1 |  | 1391.49 |  | 44.7 | 23
24 | 930.1504 | 44.6 | 110.879 | 30 | 37 | 1122.6295 | -119.6295 | 1003 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1003 | 24 | 540.269 | 44.6 | 110.05 | 694.919 | 1033.5 | 1070 | 1003 | 1003 | 1003 | 1003 | 0 | 36 | 08.45-09.00 | 50.09 | 50.155 | 1387.47 | 1387.305 | 44.6 | 24
[33 empty] | 37 | 09.00-09.15 | 50.03 |  | 1403.44
TOTAL (in MWh) | 16962.9975 | 652 | 3132 | 755 | 366.35 | 21113.3475 | 8746.4515 | 29859.799 | 0 | 0 | 0 | 48.4 | 0 | 0 | 0 | 0 | 0 | 48.4 | 48.4 | 29908.199 | TOTAL | 9852.795 | 652 | 3108.5825 | 13613.3775 | 29860.8825 |  |  | 29847.67 | 29847.67 | 29859.799 | 48.4 | 38 | 09.15-09.30 | 50.06 |  | 1407.06
[33 empty] | 39 | 09.30-09.45 | 50.03 |  | 1420.97
[33 empty] | 40 | 09.45-10.00 | 50.05 | 50.0425 | 1422.07 | 1413.385
|  |  | Hourly Average Frequency (Fr) |  |  |  |  | 5+6 P4: 50.0211; 5+6 P6: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 50.02 |  | 1412.06
|  |  | Demand met for the day |  |  |  |  | 5+6 P4: 1444.79; 5+6 P6: MW | [12 empty] | 42 | 10.15-10.30 | 50.01 |  | 1422.91
|  |  | Unrestricted Demand for the day |  |  |  |  | 5+6 P4: 1453.79; 5+6 P6: MW | MAX = | 1444.79 | [10 empty] | 43 | 10.30-10.45 | 49.95 |  | 1430.25
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  |  | 5+6 P4: 1003; 5+6 P6: MW; 5+6 P11: Aux.; 5+6 P11/1000: Net gen. | MIN = | 1003 | [10 empty] | 44 | 10.45-11.00 | 49.92 | 49.975 | 1444.79 | 1427.5025
|  |  | Gross own generation |  |  |  |  | 5+6 P4: 16962.9975; 5+6 P6: MWH; 5+6 P11: 32.278; 5+6 P11/1000: 16930.7195 | [12 empty] | 45 | 11.00-11.15 | 49.98 |  | 1416.05
|  |  | Gross Baspa generation |  |  |  |  | 5+6 P4: 3132; 5+6 P6: MWH; 5+6 P11: 5.11; 5+6 P11/1000: 3126.89 | [12 empty] | 46 | 11.15-11.30 | 49.84 |  | 1402.46
|  |  | Gross Malana generation |  |  |  |  | 5+6 P4: 652; 5+6 P6: MWH; 5+6 P11: 4.07; 5+6 P11/1000: 647.93 | [12 empty] | 47 | 11.30-11.45 | 49.94 |  | 1398.5
|  |  | Malana generation at 0300 Hrs. |  |  |  |  | 5+6 P4: 29; 5+6 P6: MW | [12 empty] | 48 | 11.45-12.00 | 49.95 | 49.9275 | 1374.76 | 1397.9425
|  |  | Malana generation at 2400 Hrs. |  |  |  |  | 5+6 P4: 44.6; 5+6 P6: MW | [12 empty] | 49 | 12.00-12.15 | 50 |  | 1390.89
|  |  | Max.generation of Malana at 1800 Hrs. |  |  |  |  | 5+6 P4: 45; 5+6 P6: MW | [12 empty] | 50 | 12.15-12.30 | 49.93 |  | 1381.73
[9 empty] | Off Peak Hrs MW |  | Peak Hrs MW | [6 empty] | Gross Lus | Net Lus
|  |  | Total Own Generation |  |  |  |  | 5+6 P2: 424.0825; 5+6 P4: 1012.4235; 5+6 P11: 169.63; 5+6 P11/1000: 169.3072 | [12 empty] | 51 | 12.30-12.45 | 49.83 |  | 1357.29
|  |  | Above 25 MW |  |  |  |  | 5+6 P2: 85.6183; 5+6 P4: 302.2849; 5+6 P11: 59.7663; 5+6 P11/1000: 59.4873 | [12 empty] | 52 | 12.45-13.00 | 49.85 | 49.9025 | 1343.2 | 1368.2775
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  |  | 5+6 P2: 338.4642; 5+6 P4: 710.1386; 5+6 P11: 109.8637; 5+6 P11/1000: 109.8199 | [12 empty] | 53 | 13.00-13.15 | 49.94 |  | 1322.63
[33 empty] | 54 | 13.15-13.30 | 49.98 |  | 1329.61
[33 empty] | 55 | 13.30-13.45 | 49.92 |  | 1317
HOURLY LOAD SHEDDING UNDER DIFFERENT CATEGORIES | [7 empty] | 5+6 P1: DATE; 5+6 P2: 2022-05-02 02:56 | [12 empty] | 56 | 13.45-14.00 | 49.89 | 49.9325 | 1238 | 1301.81
LOAD NOT SERVED DUE TO | [32 empty] | 57 | 14.00-14.15 | 50.02 |  | 1237 | bar: 5+6 P1 to 5+6 P2
Hrs | Low Availablity (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | 5+6 P1: Any other reasion ( to be specfied) (MW); 5+6 P2: Total (in MW) | [12 empty] | 58 | 14.15-14.30 | 50.03 |  | 1242
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5+6 P1: 0; 5+6 P2: 0 | [12 empty] | 59 | 14.30-14.45 | 50.05 |  | 1272
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5+6 P1: 0; 5+6 P2: 0 | [12 empty] | 60 | 14.45-15.00 | 50.01 | 50.0275 | 1263 | 1253.5
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5+6 P1: 0; 5+6 P2: 0 | [12 empty] | 61 | 15.00-15.15 | 50.04 |  | 1257
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5+6 P1: 0; 5+6 P2: 0 | [12 empty] | 62 | 15.15-15.30 | 49.99 |  | 1237
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5+6 P1: 0; 5+6 P2: 0 | [12 empty] | 63 | 15.30-15.45 | 50 |  | 1196
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5+6 P1: 0; 5+6 P2: 0 | [12 empty] | 64 | 15.45-16.00 | 50.06 | 50.0225 | 1197 | 1221.75
7 | 0 | 0 | 0 |  | 0 | 0 | 0 | 5+6 P1: 0; 5+6 P2: 0 | [12 empty] | 65 | 16.00-16.15 | 50.19 |  | 1199
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5+6 P1: 0; 5+6 P2: 0 | [12 empty] | 66 | 16.15-16.30 | 50.11 |  | 1202
9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5+6 P1: 0; 5+6 P2: 0 | [12 empty] | 67 | 16.30-16.45 | 50.09 |  | 1165
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5+6 P1: 0; 5+6 P2: 0 | [12 empty] | 68 | 16.45-17.00 | 50.05 | 50.11 | 1118 | 1171
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5+6 P1: 0; 5+6 P2: 0 | [12 empty] | 69 | 17.00-17.15 | 50.18 |  | 1157
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5+6 P1: 0; 5+6 P2: 0 | [12 empty] | 70 | 17.15-17.30 | 50.07 |  | 1162
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5+6 P1: 0; 5+6 P2: 0 | [12 empty] | 71 | 17.30-17.45 | 50.06 |  | 1136
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5+6 P1: 0; 5+6 P2: 0 | [12 empty] | 72 | 17.45-18.00 | 50.05 | 50.09 | 1107 | 1140.5
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5+6 P1: 0; 5+6 P2: 0 | [12 empty] | 73 | 18.00-18.15 | 50.11 |  | 1106
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5+6 P1: 0; 5+6 P2: 0 | [12 empty] | 74 | 18.15-18.30 | 50.03 |  | 1101
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5+6 P1: 0; 5+6 P2: 0 | [12 empty] | 75 | 18.30-18.45 | 50.03 |  | 1089
18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5+6 P1: 0; 5+6 P2: 0 | [12 empty] | 76 | 18.45-19.00 | 50.01 | 50.045 | 1116 | 1103
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5+6 P1: 0; 5+6 P2: 0 | [12 empty] | 77 | 19.00-19.15 | 50.01 |  | 1195
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5+6 P1: 0; 5+6 P2: 0 | [12 empty] | 78 | 19.15-19.30 | 49.97 |  | 1244
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5+6 P1: 0; 5+6 P2: 0 | [12 empty] | 79 | 19.30-19.45 | 49.95 |  | 1297
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5+6 P1: 0; 5+6 P2: 0 | [12 empty] | 80 | 19.45-20.00 | 49.9 | 49.9575 | 1335 | 1267.75
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5+6 P1: 0; 5+6 P2: 0 | [12 empty] | 81 | 20.00-20.15 | 50 |  | 1302
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5+6 P1: 0; 5+6 P2: 0 | [12 empty] | 82 | 20.15-20.30 | 50.01 |  | 1266
Total | [32 empty] | 83 | 20.30-20.45 | 50 |  | 1256
[33 empty] | 84 | 20.45-21.00 | 50.02 | 50.0075 | 1249 | 1268.25
[33 empty] | 85 | 21.00-21.15 | 49.92 |  | 1183
[33 empty] | 86 | 21.15-21.30 | 49.98 |  | 1174
[33 empty] | 87 | 21.30-21.45 | 49.93 |  | 1170
[33 empty] | 88 | 21.45-22.00 | 50.03 | 49.965 | 1157 | 1171
[33 empty] | 89 | 22.00-22.15 | 49.92 |  | 1162
[33 empty] | 90 | 22.15-22.30 | 50.02 |  | 1140
[33 empty] | 91 | 22.30-22.45 | 50.03 |  | 1141
[33 empty] | 92 | 22.45-23.00 | 50.05 | 50.005 | 1141 | 1146
[33 empty] | 93 | 23.00-23.15 | 50 |  | 1070
[33 empty] | 94 | 23.15-23.30 | 50.01 |  | 1034
[33 empty] | 95 | 23.30-23.45 | 50.05 |  | 1027
[33 empty] | 96 | 23.45-24.00 | 50.06 | 50.03 | 1003 | 1033.5
[34 empty] | Total | 50.0211 | 50.0211 | 29860.8825 | 29860.8825
[34 empty] | max | 1444.79 |  | avg. max | 1427.5025
[34 empty] | min | 1003 |  | avg. min | 1033.5
Note on AF16: ReportServer: critical formulas…….do not disturb
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on X24: Please don't edit here
Note on G25: Column no. 5 =Sum (2+3+4 Column)
Note on K25: The fig of power cut comes from daily hourly load sheet.