## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2022-05-04
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2022-05-05
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 30924.3475 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 841 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 3724.3 | MWh | [7 empty] | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1551 | [13 empty] | 1 | 00.00-00.15 | 49.82 |  | 1142
|  | Month/Day :- |  |  |  |  | 2022-05-04 | [10 empty] | Min.DEMAND(MW) |  | 1083 |  | ACTUAL OWN GENERATION |  |  | 17199.75 | MWh | [7 empty] | 2 | 00.15-00.30 | 49.87 |  | 1129
[34 empty] | 3 | 00.30-00.45 | 49.94 |  | 1132 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 49.99 | 49.905 | 1112 | 1128.75 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 49.91 |  | 1118 |  |  |  | MALANA-2 | 40 | 40 | 40 | 41 | 101 | 101 | 101 | 35 | 35 | 35 | 25 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 30 | 30 | 30 | 30 | 30 | 798
[34 empty] | 6 | 01.15-01.30 | 49.96 |  | 1113 |  |  |  | SWARA KUDDU | 0 | 0 | 40.7 | 40.7 | 40.7 | 40.7 | 74 | 74 | 74 | 74 | 37 | 0 | 0 | 0 | 0 | 74 | 74 | 74 | 55.5 | 18.5 | 0 | 0 | 0 | 0 | 791.8
[34 empty] | 7 | 01.30-01.45 | 49.96 |  | 1113 |  |  |  | BAZOLI HOIL | 59.42 | 59.44 | 59.42 | 59.44 | 59.41 | 59.44 | 59.42 | 59.46 | 59.44 | 59.44 | 59.42 | 59.36 | 59.34 | 59.33 | 59.41 | 59.41 | 59.42 | 59.44 | 59.41 | 59.46 | 59.41 | 59.44 | 59.44 | 59.44 | 1426.06
[34 empty] | 8 | 01.45-02:00 | 50 | 49.9575 | 1123 | 1116.75
| OWN GEN | Malana | BASPA | MALANA-II |  | SAWRA KUDDU | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50 |  | 1117 |  | Malana
[5 empty] | BAJOLI HOLI |  |  |  | 5+6 | [24 empty] | 10 | 02.15-02.30 | 49.93 |  | 1114
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.99 |  | 1110
1 | 2 | 3 | 4 | 5 |  | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 49.99 | 49.9775 | 1113 | 1113.5
1 | 528.0085 | 59 | 145.7885 | 40 | 59.42 | 0 | 732.797 | 395.0868 | 1127.8838 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1127.8838 | 1 | 309.19 | 59 | 145.725 | 513.915 | 1128.75 | 1142 | 1112 | 1128.75 | 1128.75 | 1127.8838 | 0 | 13 | 03.00-03.15 | 49.99 |  | 1094 |  | 59 | 1
2 | 469.9462 | 59 | 214.6435 | 40 | 59.44 | 0 | 743.5897 | 372.3033 | 1115.893 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1115.893 | 2 | 275.19 | 59 | 214.55 | 548.74 | 1116.75 | 1123 | 1113 | 1116.75 | 1116.75 | 1115.893 | 0 | 14 | 03.15-03.30 | 49.96 |  | 1083 |  | 59 | 2
3 | 500.3435 | 59 | 208.3283 | 40 | 59.42 | 40.7 | 767.6718 | 344.9737 | 1112.6455 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1112.6455 | 3 | 292.99 | 59 | 208.2375 | 560.2275 | 1113.5 | 1117 | 1110 | 1113.5 | 1113.5 | 1112.6455 | 0 | 15 | 03.30-03.45 | 49.99 |  | 1089 |  | 59 | 3
4 | 503.6736 | 59 | 188.2595 | 41 | 59.44 | 40.7 | 750.9331 | 332.0669 | 1083 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1083 | 4 | 294.94 | 59 | 188.1775 | 542.1175 | 1088.25 | 1094 | 1083 | 1083 | 1083 | 1083 | 0 | 16 | 03.45-04.00 | 49.91 | 49.9625 | 1087 | 1088.25 | 59 | 4
5 | 527.9231 | 59 | 113.9621 | 101 | 59.41 | 40.7 | 700.8853 | 418.0054 | 1118.8907 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1118.8907 | 5 | 309.14 | 59 | 113.9125 | 482.0525 | 1119.75 | 1145 | 1100 | 1119.75 | 1119.75 | 1118.8907 | 0 | 17 | 04.00-04.15 | 50.02 |  | 1100 |  | 59 | 5
6 | 585.8147 | 59 | 147.8269 | 101 | 59.44 | 40.7 | 792.6416 | 465.6421 | 1258.2836 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1258.2836 | 6 | 343.04 | 59 | 147.7625 | 549.8025 | 1259.25 | 1357 | 1181 | 1259.25 | 1259.25 | 1258.2836 | 0 | 18 | 04.15-04.30 | 50.01 |  | 1109 |  | 59 | 6
7 | 627.5341 | 46 | 216.6144 | 101 | 59.42 | 74 | 890.1485 | 567.2322 | 1457.3807 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1457.3807 | 7 | 367.47 | 46 | 216.52 | 629.99 | 1458.5 | 1479 | 1413 | 1458.5 | 1458.5 | 1457.3807 | 0 | 19 | 04.30-04.45 | 50.02 |  | 1125 |  | 46 | 7
8 | 772.7412 | 46 | 204.7417 | 35 | 59.46 | 74 | 1023.4829 | 527.5171 | 1551 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1551 | 8 | 452.5 | 46 | 204.6525 | 703.1525 | 1522 | 1551 | 1480 | 1551 | 1551 | 1551 | 0 | 20 | 04.45-05.00 | 50 | 50.0125 | 1145 | 1119.75 | 46 | 8
9 | 747.3304 | 46 | 117.5012 | 35 | 59.44 | 74 | 910.8316 | 592.7637 | 1503.5952 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1503.5952 | 9 | 437.62 | 46 | 117.45 | 601.07 | 1504.75 | 1524 | 1476 | 1504.75 | 1504.75 | 1503.5952 | 0 | 21 | 05.00-05.15 | 49.94 |  | 1181 |  | 46 | 9
10 | 729.0237 | 0 | 87.0454 | 35 | 59.44 | 74 | 816.0691 | 665.0434 | 1481.1125 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1481.1125 | 10 | 426.9 | 0 | 87.0075 | 513.9075 | 1482.25 | 1489 | 1474 | 1482.25 | 1482.25 | 1481.1125 | 0 | 22 | 05.15-05.30 | 49.96 |  | 1218 |  | 0 | 10
11 | 721.783 | 0 | 128.6285 | 25 | 59.42 | 37 | 850.4115 | 615.7125 | 1466.124 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1466.124 | 11 | 422.66 | 0 | 128.5725 | 551.2325 | 1467.25 | 1487 | 1443 | 1467.25 | 1467.25 | 1466.124 | 0 | 23 | 05.30-05.45 | 50.03 |  | 1281 |  | 0 | 11
12 | 676.1699 | 0 | 284.2813 | 24 | 59.36 | 0 | 960.4512 | 437.2254 | 1397.6766 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1397.6766 | 12 | 395.95 | 0 | 284.1575 | 680.1075 | 1398.75 | 1437 | 1369 | 1398.75 | 1398.75 | 1397.6766 | 0 | 24 | 05.45-06.00 | 50.05 | 49.995 | 1357 | 1259.25 | 0 | 12
13 | 663.8402 | 0 | 164.2691 | 0 | 59.34 | 0 | 828.1092 | 526.1007 | 1354.21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1354.21 | 13 | 388.73 | 0 | 164.1975 | 552.9275 | 1355.25 | 1380 | 1321 | 1355.25 | 1355.25 | 1354.21 | 0 | 25 | 06.00-06.15 | 50.06 |  | 1413 |  | 0 | 13
14 | 682.8812 | 0 | 79.8623 | 0 | 59.33 | 0 | 762.7435 | 504.838 | 1267.5815 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1267.5815 | 14 | 399.88 | 0 | 79.8275 | 479.7075 | 1268.555 | 1273.22 | 1251 | 1268.555 | 1268.555 | 1267.5815 | 0 | 26 | 06.15-06.30 | 50.04 |  | 1463 |  | 0 | 14
15 | 866.4435 | 0 | 167.0128 | 0 | 59.41 | 0 | 1033.4563 | 271.2492 | 1304.7055 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1304.7055 | 15 | 507.37 | 0 | 166.94 | 674.31 | 1305.7075 | 1326.67 | 1274.78 | 1305.7075 | 1305.7075 | 1304.7055 | 0 | 27 | 06.30-06.45 | 50.04 |  | 1479 |  | 0 | 15
16 | 867.9122 | 39.5 | 184.3553 | 0 | 59.41 | 74 | 1091.7675 | 203.9424 | 1295.7099 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1295.7099 | 16 | 508.23 | 39.5 | 184.275 | 732.005 | 1296.705 | 1322.14 | 1265.17 | 1296.705 | 1296.705 | 1295.7099 | 0 | 28 | 06.45-07.00 | 50.06 | 50.05 | 1479 | 1458.5 | 39.5 | 16
17 | 826.1244 | 39.5 | 185.906 | 0 | 59.42 | 74 | 1051.5303 | 221.6893 | 1273.2197 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1273.2197 | 17 | 483.76 | 39.5 | 185.825 | 709.085 | 1274.1975 | 1286.74 | 1255.25 | 1274.1975 | 1274.1975 | 1273.2197 | 0 | 29 | 07.00-07.15 | 50.04 |  | 1480 |  | 39.5 | 17
18 | 734.7274 | 39.4 | 91.0572 | 0 | 59.44 | 74 | 865.1846 | 374.4758 | 1239.6604 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1239.6604 | 18 | 430.24 | 39.4 | 91.0175 | 560.6575 | 1240.6125 | 1271.83 | 1209.12 | 1240.6125 | 1240.6125 | 1239.6604 | 0 | 30 | 07.15-07.30 | 50.05 |  | 1518 |  | 39.4 | 18
19 | 799.7572 | 39.6 | 141.6292 | 30 | 59.41 | 55.5 | 980.9864 | 231.4424 | 1212.4289 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.3667 | 0 | 11.3667 | 0.011367 | 1223.7955 | 19 | 468.32 | 39.6 | 141.5675 | 649.4875 | 1213.36 | 1237.71 | 1199 | 1213.36 | 1213.36 | 1212.4289 | 11.3667 | 31 | 07.30-07.45 | 50.04 |  | 1551 |  | 39.6 | 19
20 | 844.7555 | 39.5 | 212.5726 | 30 | 59.46 | 18.5 | 1096.8281 | 235.3587 | 1332.1869 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1332.1869 | 20 | 494.67 | 39.5 | 212.48 | 746.65 | 1333.21 | 1391 | 1280.79 | 1333.21 | 1333.21 | 1332.1869 | 0 | 32 | 07.45-08.00 | 50.03 | 50.04 | 1539 | 1522 | 39.5 | 20
21 | 840.1447 | 39.5 | 162.7459 | 30 | 59.41 | 0 | 1042.3906 | 309.5711 | 1351.9617 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1351.9617 | 21 | 491.97 | 39.5 | 162.675 | 694.145 | 1353 | 1377 | 1327 | 1353 | 1353 | 1351.9617 | 0 | 33 | 08.00-08.15 | 50.04 |  | 1524 |  | 39.5 | 21
22 | 815.6902 | 39 | 73.5295 | 30 | 59.44 | 0 | 928.2198 | 343.8033 | 1272.0231 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1272.0231 | 22 | 477.65 | 39 | 73.4975 | 590.1475 | 1273 | 1292 | 1249 | 1273 | 1273 | 1272.0231 | 0 | 34 | 08.15-08.30 | 50.01 |  | 1518 |  | 39 | 22
23 | 863.9912 | 37 | 89.4065 | 30 | 59.44 | 0 | 990.3977 | 211.4293 | 1201.827 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1201.827 | 23 | 505.934 | 37 | 89.3675 | 632.3015 | 1202.75 | 1233 | 1167 | 1202.75 | 1202.75 | 1201.827 | 0 | 35 | 08.30-08.45 | 49.97 |  | 1501 |  | 37 | 23
24 | 1003.1905 | 36 | 114.3323 | 30 | 59.44 | 0 | 1153.5228 | -6.154 | 1147.3688 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1147.3688 | 24 | 587.446 | 36 | 114.2825 | 737.7285 | 1148.25 | 1162 | 1135 | 1148.25 | 1148.25 | 1147.3688 | 0 | 36 | 08.45-09.00 | 50 | 50.005 | 1476 | 1504.75 | 36 | 24
[5 empty] | 0 | [28 empty] | 37 | 09.00-09.15 | 49.87 |  | 1483
TOTAL (in MWh) | 17199.75 | 841 | 3724.3 | 798 | 1426.06 | 791.8 | 21765.05 | 9161.3189 | 30926.3689 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.3667 | 0 | 11.3667 | 11.3667 | 30937.7355 | TOTAL | 10071.79 | 841 | 3722.6775 | 14635.4675 | 30924.3475 |  |  | 30948.0975 | 30948.0975 | 30926.3689 | 11.3667 | 38 | 09.15-09.30 | 49.96 |  | 1474
[34 empty] | 39 | 09.30-09.45 | 49.96 |  | 1483
[34 empty] | 40 | 09.45-10.00 | 50.02 | 49.9525 | 1489 | 1482.25
|  |  | Hourly Average Frequency (Fr) |  |  | 5+6 P4 12: 50.0051; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 50.02 |  | 1487
|  |  | Demand met for the day |  |  | 5+6 P4 12: 1551; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 50.02 |  | 1467
|  |  | Unrestricted Demand for the day |  |  | 5+6 P4 12: 1551; 5+6 P6 14: MW | MAX = | 1551 | [10 empty] | 43 | 10.30-10.45 | 50.01 |  | 1472
|  |  | Minimum Demand(Unrestricted) for the day |  |  | 5+6 P4 12: 1083; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 1083 | [10 empty] | 44 | 10.45-11.00 | 50.02 | 50.0175 | 1443 | 1467.25
|  |  | Gross own generation |  |  | 5+6 P4 12: 17199.75; 5+6 P6 14: MWH; 5+6 P11 19: 30.174; 5+6 P11/1000 20: 17169.576 | [12 empty] | 45 | 11.00-11.15 | 50.01 |  | 1437
|  |  | Gross Baspa generation |  |  | 5+6 P4 12: 3724.3; 5+6 P6 14: MWH; 5+6 P11 19: 5.35; 5+6 P11/1000 20: 3718.95 | [12 empty] | 46 | 11.15-11.30 | 50 |  | 1389
|  |  | Gross Malana generation |  |  | 5+6 P4 12: 841; 5+6 P6 14: MWH; 5+6 P11 19: 8.368; 5+6 P11/1000 20: 832.632 | [12 empty] | 47 | 11.30-11.45 | 50 |  | 1400
|  |  | Malana generation at 0300 Hrs. |  |  | 5+6 P4 12: 59; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 49.96 | 49.9925 | 1369 | 1398.75
|  |  | Malana generation at 2400 Hrs. |  |  | 5+6 P4 12: 36; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 50.01 |  | 1376
|  |  | Max.generation of Malana at 100 Hrs. |  |  | 5+6 P4 12: 59; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 50.01 |  | 1380
[10 empty] | Off Peak Hrs MW |  | Peak Hrs MW | [6 empty] | Gross Lus | Net Lus
|  |  | Total Own Generation |  |  | 5+6 P2 10: 394.0147; 5+6 P4 12: 1006.8003; 5+6 P11 19: 171.9975; 5+6 P11/1000 20: 171.6958 | [12 empty] | 51 | 12.30-12.45 | 50.02 |  | 1321
|  |  | Above 25 MW |  |  | 5+6 P2 10: 93.0761; 5+6 P4 12: 328.6155; 5+6 P11 19: 65.2382; 5+6 P11/1000 20: 64.984 | [12 empty] | 52 | 12.45-13.00 | 50.04 | 50.02 | 1344 | 1355.25
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  | 5+6 P2 10: 300.9386; 5+6 P4 12: 678.1849; 5+6 P11 19: 106.7593; 5+6 P11/1000 20: 106.7118 | [12 empty] | 53 | 13.00-13.15 | 50.11 |  | 1282
[34 empty] | 54 | 13.15-13.30 | 50.06 |  | 1251
[34 empty] | 55 | 13.30-13.45 | 50 |  | 1268
HOURLY LOAD SHEDDING UNDER DIFFERENT CATEGORIES | [5 empty] | 5+6 P1 9: DATE; 5+6 P2 10: 2022-05-05 08:48 | [12 empty] | 56 | 13.45-14.00 | 50.04 | 50.0525 | 1273.22 | 1268.555
LOAD NOT SERVED DUE TO | [33 empty] | 57 | 14.00-14.15 | 50.05 |  | 1274.78 | bar: 6 to 5+6 P2 10
Hrs | Low Availablity (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) |  | 6: Transmission constraint (in MW); 7: Planned maintenance in distribution system (in MW); 8: Distribution constraints (in MW); 5+6 P1 9: Any other reasion ( to be specfied) (MW); 5+6 P2 10: Total (in MW) | [12 empty] | 58 | 14.15-14.30 | 50.04 |  | 1305.32
1 | 0 | 0 | 0 | 0 |  | 6: 0; 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 59 | 14.30-14.45 | 50.05 |  | 1316.06
2 | 0 | 0 | 0 | 0 |  | 6: 0; 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 60 | 14.45-15.00 | 50.05 | 50.0475 | 1326.67 | 1305.7075
3 | 0 | 0 | 0 | 0 |  | 6: 0; 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 61 | 15.00-15.15 | 50.06 |  | 1322.14
4 | 0 | 0 | 0 | 0 |  | 6: 0; 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 62 | 15.15-15.30 | 50.03 |  | 1318.02
5 | 0 | 0 | 0 | 0 |  | 6: 0; 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 63 | 15.30-15.45 | 50 |  | 1281.49
6 | 0 | 0 | 0 | 0 |  | 6: 0; 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 64 | 15.45-16.00 | 50.02 | 50.0275 | 1265.17 | 1296.705
7 | 0 | 0 | 0 |  |  | 6: 0; 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 65 | 16.00-16.15 | 50.02 |  | 1285.55
8 | 0 | 0 | 0 | 0 |  | 6: 0; 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 66 | 16.15-16.30 | 49.98 |  | 1286.74
9 | 0 | 0 | 0 | 0 |  | 6: 0; 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 67 | 16.30-16.45 | 50 |  | 1269.25
10 | 0 | 0 | 0 | 0 |  | 6: 0; 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 68 | 16.45-17.00 | 50.03 | 50.0075 | 1255.25 | 1274.1975
11 | 0 | 0 | 0 | 0 |  | 6: 0; 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 69 | 17.00-17.15 | 50.06 |  | 1209.12
12 | 0 | 0 | 0 | 0 |  | 6: 0; 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 70 | 17.15-17.30 | 50.11 |  | 1271.83
13 | 0 | 0 | 0 | 0 |  | 6: 0; 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 71 | 17.30-17.45 | 50.07 |  | 1248
14 | 0 | 0 | 0 | 0 |  | 6: 0; 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 72 | 17.45-18.00 | 50.08 | 50.08 | 1233.5 | 1240.6125
15 | 0 | 0 | 0 | 0 |  | 6: 0; 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 73 | 18.00-18.15 | 50.17 |  | 1216.47
16 | 0 | 0 | 0 | 0 |  | 6: 0; 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 74 | 18.15-18.30 | 50.02 |  | 1199
17 | 0 | 0 | 0 | 0 |  | 6: 0; 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 75 | 18.30-18.45 | 50.01 |  | 1200.26
18 | 0 | 0 | 0 | 0 |  | 6: 0; 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 76 | 18.45-19.00 | 49.99 | 50.0475 | 1237.71 | 1213.36
19 | 0 | 0 | 0 | 0 |  | 6: 0; 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 77 | 19.00-19.15 | 49.95 |  | 1280.79
20 | 0 | 0 | 0 | 0 |  | 6: 0; 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 78 | 19.15-19.30 | 49.88 |  | 1313.52
21 | 0 | 0 | 0 | 0 |  | 6: 0; 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 79 | 19.30-19.45 | 49.87 |  | 1347.53
22 | 0 | 0 | 0 | 0 |  | 6: 0; 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 80 | 19.45-20.00 | 49.96 | 49.915 | 1391 | 1333.21
23 | 0 | 0 | 0 | 0 |  | 6: 0; 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 81 | 20.00-20.15 | 50.02 |  | 1377
24 | 0 | 0 | 0 | 0 |  | 6: 0; 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 82 | 20.15-20.30 | 50 |  | 1371
Total | [33 empty] | 83 | 20.30-20.45 | 50.04 |  | 1337
[34 empty] | 84 | 20.45-21.00 | 50.04 | 50.025 | 1327 | 1353
[34 empty] | 85 | 21.00-21.15 | 50 |  | 1292
[34 empty] | 86 | 21.15-21.30 | 49.97 |  | 1276
[34 empty] | 87 | 21.30-21.45 | 49.98 |  | 1275
[34 empty] | 88 | 21.45-22.00 | 50.02 | 49.9925 | 1249 | 1273
[34 empty] | 89 | 22.00-22.15 | 50.02 |  | 1233
[34 empty] | 90 | 22.15-22.30 | 50.01 |  | 1221
[34 empty] | 91 | 22.30-22.45 | 50.02 |  | 1190
[34 empty] | 92 | 22.45-23.00 | 50.03 | 50.02 | 1167 | 1202.75
[34 empty] | 93 | 23.00-23.15 | 50.02 |  | 1162
[34 empty] | 94 | 23.15-23.30 | 50.01 |  | 1135
[34 empty] | 95 | 23.30-23.45 | 50.03 |  | 1155
[34 empty] | 96 | 23.45-24.00 | 50.02 | 50.02 | 1141 | 1148.25
[35 empty] | Total | 50.0051 | 50.0051 | 30924.3475 | 30924.3475
[35 empty] | max | 1551 |  | avg. max | 1522
[35 empty] | min | 1083 |  | avg. min | 1088.25
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.