## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2022-05-05
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2022-05-06
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 32745.1425 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 574 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 3139 | MWh | [7 empty] | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1565 | [13 empty] | 1 | 00.00-00.15 | 49.99 |  | 1108
|  | Month/Day :- |  |  |  |  | 2022-05-05 | [10 empty] | Min.DEMAND(MW) |  | 1050 |  | ACTUAL OWN GENERATION |  |  | 15914.636 | MWh | [7 empty] | 2 | 00.15-00.30 | 50.01 |  | 1093
[34 empty] | 3 | 00.30-00.45 | 49.99 |  | 1096 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 49.99 | 49.995 | 1093 | 1097.5 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 50 |  | 1099 |  |  |  | MALANA-2 | 15 | 15 | 15 | 22 | 88 | 101 | 100 | 24 | 25 | 25 | 25 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 30 | 30 | 30 | 30 | 630
[34 empty] | 6 | 01.15-01.30 | 50.03 |  | 1092 |  |  |  | SWARA KUDDU | 0 | 0 | 0 | 0 | 0 | 18.5 | 74 | 74 | 74 | 74 | 18.5 | 0 | 0 | 0 | 64.75 | 74 | 74 | 74 | 74 | 37 | 0 | 0 | 0 | 0 | 730.75
[34 empty] | 7 | 01.30-01.45 | 50 |  | 1090
[34 empty] | 8 | 01.45-02:00 | 50.01 | 50.01 | 1089 | 1092.5
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.92 |  | 1063 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 49.9 |  | 1072
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.97 |  | 1050
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.01 | 49.95 | 1064 | 1062.25
1 | 629.7243 | 11.0911 | 60.4835 | 15 | 0 | 59.46 | 701.2989 | 396.3268 | 1097.6257 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1097.6257 | 1 | 481.3775 | 11.0825 | 59.885 | 552.345 | 1097.5 | 1108 | 1093 | 1097.5 | 1097.5 | 1097.6257 | 0 | 13 | 03.00-03.15 | 50.01 |  | 1073 |  | 11.0825 | 1
2 | 684.4059 | 10.7258 | 138.1899 | 15 | 0 | 59.42 | 833.3216 | 259.3035 | 1092.6251 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1092.6251 | 2 | 523.1775 | 10.7175 | 136.8225 | 670.7175 | 1092.5 | 1099 | 1089 | 1092.5 | 1092.5 | 1092.6251 | 0 | 14 | 03.15-03.30 | 50.01 |  | 1065 |  | 10.7175 | 2
3 | 672.2399 | 10.7258 | 172.7897 | 15 | 0 | 59.44 | 855.7555 | 194.2445 | 1050 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1050 | 3 | 513.8775 | 10.7175 | 171.08 | 695.675 | 1062.25 | 1072 | 1050 | 1050 | 1050 | 1050 | 0 | 15 | 03.30-03.45 | 50.02 |  | 1067 |  | 10.7175 | 3
4 | 636.3208 | 10.5932 | 155.0795 | 22 | 0 | 59.41 | 801.9935 | 270.1293 | 1072.1228 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1072.1228 | 4 | 486.42 | 10.585 | 153.545 | 650.55 | 1072 | 1083 | 1065 | 1072 | 1072 | 1072.1228 | 0 | 16 | 03.45-04.00 | 50 | 50.01 | 1083 | 1072 | 10.585 | 4
5 | 578.0614 | 36.8336 | 112.2457 | 88 | 0 | 59.41 | 727.1406 | 379.2361 | 1106.3767 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1106.3767 | 5 | 441.885 | 36.805 | 111.135 | 589.825 | 1106.25 | 1132 | 1091 | 1106.25 | 1106.25 | 1106.3767 | 0 | 17 | 04.00-04.15 | 50.03 |  | 1092 |  | 36.805 | 5
6 | 613.0288 | 45.8155 | 160.0133 | 101 | 18.5 | 59.42 | 818.8576 | 439.5365 | 1258.3941 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1258.3941 | 6 | 468.615 | 45.78 | 158.43 | 672.825 | 1258.25 | 1357 | 1170 | 1258.25 | 1258.25 | 1258.3941 | 0 | 18 | 04.15-04.30 | 50.03 |  | 1091 |  | 45.78 | 6
7 | 720.9333 | 45.9131 | 207.0538 | 100 | 74 | 59.42 | 973.9002 | 511.7699 | 1485.6701 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1485.6701 | 7 | 551.1 | 45.8775 | 205.005 | 801.9825 | 1485.5 | 1541 | 1424 | 1485.5 | 1485.5 | 1485.6701 | 0 | 19 | 04.30-04.45 | 50.02 |  | 1110 |  | 45.8775 | 7
8 | 738.973 | 45.4953 | 170.6435 | 24 | 74 | 59.46 | 955.1118 | 609.8882 | 1565 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1565 | 8 | 564.89 | 45.46 | 168.955 | 779.305 | 1556.5 | 1565 | 1546 | 1565 | 1565 | 1565 | 0 | 20 | 04.45-05.00 | 50.01 | 50.0225 | 1132 | 1106.25 | 45.46 | 8
9 | 669.9048 | 0.10008 | 153.2009 | 25 | 74 | 59.44 | 823.2058 | 695.9682 | 1519.174 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1519.174 | 9 | 512.0925 | 0.1 | 151.685 | 663.8775 | 1519 | 1523 | 1515 | 1519 | 1519 | 1519.174 | 0 | 21 | 05.00-05.15 | 50.01 |  | 1170 |  | 0.1 | 9
10 | 602.6059 | 0 | 151.8223 | 25 | 74 | 59.44 | 754.4282 | 766.2459 | 1520.6741 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1520.6741 | 10 | 460.6475 | 0 | 150.32 | 610.9675 | 1520.5 | 1540 | 1501 | 1520.5 | 1520.5 | 1520.6741 | 0 | 22 | 05.15-05.30 | 49.98 |  | 1217 |  | 0 | 10
11 | 556.8952 | 0 | 218.0501 | 25 | 18.5 | 59.42 | 774.9452 | 727.7268 | 1502.6721 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1502.6721 | 11 | 425.705 | 0 | 215.8925 | 641.5975 | 1502.5 | 1508 | 1490 | 1502.5 | 1502.5 | 1502.6721 | 0 | 23 | 05.30-05.45 | 49.99 |  | 1289 |  | 0 | 11
12 | 582.0938 | 0 | 191.717 | 25 | 0 | 59.42 | 773.8108 | 743.1129 | 1516.9237 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1516.9237 | 12 | 444.9675 | 0 | 189.82 | 634.7875 | 1516.75 | 1526 | 1510 | 1516.75 | 1516.75 | 1516.9237 | 0 | 24 | 05.45-06.00 | 50.02 | 50 | 1357 | 1258.25 | 0 | 12
13 | 594.1846 | 0 | 142.4344 | 0 | 0 | 59.42 | 736.619 | 777.8045 | 1514.4234 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1514.4234 | 13 | 454.21 | 0 | 141.025 | 595.235 | 1514.25 | 1527 | 1499 | 1514.25 | 1514.25 | 1514.4234 | 0 | 25 | 06.00-06.15 | 50.04 |  | 1424 |  | 0 | 13
14 | 615.256 | 0 | 73.9442 | 0 | 0 | 59.39 | 689.2001 | 764.2163 | 1453.4164 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1453.4164 | 14 | 470.3175 | 0 | 73.2125 | 543.53 | 1453.25 | 1457 | 1446 | 1453.25 | 1453.25 | 1453.4164 | 0 | 26 | 06.15-06.30 | 50.02 |  | 1468 |  | 0 | 14
15 | 620.4461 | 0.037529 | 60.2032 | 0 | 64.75 | 59.42 | 680.6869 | 770.9794 | 1451.6662 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1451.6662 | 15 | 474.285 | 0.0375 | 59.6075 | 533.93 | 1451.5 | 1459 | 1446 | 1451.5 | 1451.5 | 1451.6662 | 0 | 27 | 06.30-06.45 | 50.05 |  | 1509 |  | 0.0375 | 15
16 | 678.3491 | 38.3898 | 112.3972 | 0 | 74 | 59.41 | 829.136 | 649.5333 | 1478.6693 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1478.6693 | 16 | 518.5475 | 38.36 | 111.285 | 668.1925 | 1478.5 | 1521 | 1400 | 1478.5 | 1478.5 | 1478.6693 | 0 | 28 | 06.45-07.00 | 50.09 | 50.05 | 1541 | 1485.5 | 38.36 | 16
17 | 688.0165 | 40.0235 | 197.0043 | 0 | 74 | 59.41 | 925.0443 | 548.3744 | 1473.4187 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1473.4187 | 17 | 525.9375 | 39.9925 | 195.055 | 760.985 | 1473.25 | 1488 | 1452 | 1473.25 | 1473.25 | 1473.4187 | 0 | 29 | 07.00-07.15 | 50.03 |  | 1556 |  | 39.9925 | 17
18 | 677.2175 | 40.0235 | 63.9478 | 0 | 74 | 59.41 | 781.1888 | 622.472 | 1403.6607 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1403.6607 | 18 | 517.6825 | 39.9925 | 63.315 | 620.99 | 1403.5 | 1440 | 1379 | 1403.5 | 1403.5 | 1403.6607 | 0 | 30 | 07.15-07.30 | 50.02 |  | 1565 |  | 39.9925 | 18
19 | 658.3079 | 40.0235 | 53.7317 | 0 | 74 | 59.41 | 752.0631 | 613.8433 | 1365.9064 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1365.9064 | 19 | 503.2275 | 39.9925 | 53.2 | 596.42 | 1365.75 | 1387 | 1350 | 1365.75 | 1365.75 | 1365.9064 | 0 | 31 | 07.30-07.45 | 50.05 |  | 1559 |  | 39.9925 | 19
20 | 742.9433 | 39.5357 | 91.9145 | 30 | 37 | 59.46 | 874.3935 | 555.2578 | 1429.6512 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1429.6512 | 20 | 567.925 | 39.505 | 91.005 | 698.435 | 1429.4875 | 1486.95 | 1371 | 1429.4875 | 1429.4875 | 1429.6512 | 0 | 32 | 07.45-08.00 | 50.07 | 50.0425 | 1546 | 1556.5 | 39.505 | 20
21 | 761.4016 | 39.5256 | 88.9072 | 30 | 0 | 59.42 | 889.8345 | 572.1529 | 1461.9874 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1461.9874 | 21 | 582.035 | 39.495 | 88.0275 | 709.5575 | 1461.82 | 1482.48 | 1431.66 | 1461.82 | 1461.82 | 1461.9874 | 0 | 33 | 08.00-08.15 | 50.04 |  | 1516 |  | 39.495 | 21
22 | 788.9975 | 39.7083 | 146.896 | 30 | 0 | 59.39 | 975.6018 | 406.0314 | 1381.6332 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1381.6332 | 22 | 603.13 | 39.6775 | 145.4425 | 788.25 | 1381.475 | 1399.72 | 1356.95 | 1381.475 | 1381.475 | 1381.6332 | 0 | 34 | 08.15-08.30 | 50.01 |  | 1515 |  | 39.6775 | 22
23 | 712.3275 | 39.7183 | 132.9152 | 30 | 0 | 59.41 | 884.961 | 423.4538 | 1308.4148 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1308.4148 | 23 | 544.5215 | 39.6875 | 131.6 | 715.809 | 1308.265 | 1351.75 | 1271.3 | 1308.265 | 1308.265 | 1308.4148 | 0 | 35 | 08.30-08.45 | 50.03 |  | 1523 |  | 39.6875 | 23
24 | 692.0012 | 39.7208 | 83.4154 | 30 | 0 | 59.41 | 815.1373 | 419.5991 | 1234.7364 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1234.7364 | 24 | 528.9835 | 39.69 | 82.59 | 651.2635 | 1234.595 | 1253.81 | 1216 | 1234.595 | 1234.595 | 1234.7364 | 0 | 36 | 08.45-09.00 | 50.02 | 50.025 | 1522 | 1519 | 39.69 | 24
[34 empty] | 37 | 09.00-09.15 | 50 |  | 1514
TOTAL (in MWh) | 15914.636 | 574 | 3139 | 630 | 730.75 | 1426.12 | 19627.636 | 13117.207 | 32744.843 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32744.843 | TOTAL | 12165.5575 | 573.555 | 3107.94 | 15847.0525 | 32745.1425 |  |  | 32741.3925 | 32741.3925 | 32744.843 | 0 | 38 | 09.15-09.30 | 49.93 |  | 1540
[34 empty] | 39 | 09.30-09.45 | 49.93 |  | 1527
[34 empty] | 40 | 09.45-10.00 | 49.97 | 49.9575 | 1501 | 1520.5
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 49.9601; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 49.99 |  | 1508
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1565; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 49.98 |  | 1490
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1565; 5+6 P6 14: MW | MAX = | 1565 | [10 empty] | 43 | 10.30-10.45 | 49.99 |  | 1504
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 1050; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 1050 | [10 empty] | 44 | 10.45-11.00 | 49.97 | 49.9825 | 1508 | 1502.5
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 15914.636; 5+6 P6 14: MWH; 5+6 P11 19: 27.053; 5+6 P11/1000 20: 15887.583 | [12 empty] | 45 | 11.00-11.15 | 49.98 |  | 1519
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 3139; 5+6 P6 14: MWH; 5+6 P11 19: 5.69; 5+6 P11/1000 20: 3133.31 | [12 empty] | 46 | 11.15-11.30 | 49.96 |  | 1510
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 574; 5+6 P6 14: MWH; 5+6 P11 19: 7.276; 5+6 P11/1000 20: 566.724 | [12 empty] | 47 | 11.30-11.45 | 49.92 |  | 1512
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 10.7175; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 49.86 | 49.93 | 1526 | 1516.75
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 39.69; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 49.94 |  | 1520
|  |  | Max.generation of Malana at 700 Hrs. |  |  |  | 5+6 P4 12: 45.8775; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 49.97 |  | 1527
[10 empty] | Off Peak Hrs MW |  | Peak Hrs MW | [6 empty] | Gross Lus | Net Lus
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 488.005; 5+6 P4 12: 912.0906; 5+6 P11 19: 159.1464; 5+6 P11/1000 20: 158.8758 | [12 empty] | 51 | 12.30-12.45 | 50.01 |  | 1511
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 259.8056; 5+6 P4 12: 253.1672; 5+6 P11 19: 54.605; 5+6 P11/1000 20: 54.3786 | [12 empty] | 52 | 12.45-13.00 | 50.01 | 49.9825 | 1499 | 1514.25
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 228.1994; 5+6 P4 12: 658.9234; 5+6 P11 19: 104.5414; 5+6 P11/1000 20: 104.4972 | [12 empty] | 53 | 13.00-13.15 | 50.02 |  | 1457
[34 empty] | 54 | 13.15-13.30 | 50 |  | 1446
[34 empty] | 55 | 13.30-13.45 | 49.97 |  | 1453
HOURLY LOAD SHEDDING UNDER DIFFERENT CATEGORIES | [6 empty] | 5+6 P1 9: DATE; 5+6 P2 10: 2022-05-06 01:35 | [12 empty] | 56 | 13.45-14.00 | 49.92 | 49.9775 | 1457 | 1453.25
LOAD NOT SERVED DUE TO | [33 empty] | 57 | 14.00-14.15 | 49.93 |  | 1459 | bar: 7 to 5+6 P2 10
Hrs | Low Availablity (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) |  | 7: Planned maintenance in distribution system (in MW); 8: Distribution constraints (in MW); 5+6 P1 9: Any other reasion ( to be specfied) (MW); 5+6 P2 10: Total (in MW) | [12 empty] | 58 | 14.15-14.30 | 49.86 |  | 1450
1 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 59 | 14.30-14.45 | 49.8 |  | 1451
2 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 60 | 14.45-15.00 | 49.67 | 49.815 | 1446 | 1451.5
3 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 61 | 15.00-15.15 | 49.67 |  | 1400
4 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 62 | 15.15-15.30 | 49.9 |  | 1474
5 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 63 | 15.30-15.45 | 49.93 |  | 1521
6 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 64 | 15.45-16.00 | 49.8 | 49.825 | 1519 | 1478.5
7 | 0 | 0 | 0 |  | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 65 | 16.00-16.15 | 49.95 |  | 1488
8 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 66 | 16.15-16.30 | 49.91 |  | 1477
9 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 67 | 16.30-16.45 | 49.9 |  | 1476
10 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 68 | 16.45-17.00 | 49.99 | 49.9375 | 1452 | 1473.25
11 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 69 | 17.00-17.15 | 49.95 |  | 1440
12 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 70 | 17.15-17.30 | 49.84 |  | 1415
13 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 71 | 17.30-17.45 | 49.99 |  | 1379
14 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 72 | 17.45-18.00 | 50.02 | 49.95 | 1380 | 1403.5
15 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 73 | 18.00-18.15 | 50.09 |  | 1354
16 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 74 | 18.15-18.30 | 50.01 |  | 1350
17 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 75 | 18.30-18.45 | 49.99 |  | 1372
18 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 76 | 18.45-19.00 | 50.01 | 50.025 | 1387 | 1365.75
19 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 77 | 19.00-19.15 | 49.96 |  | 1371
20 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 78 | 19.15-19.30 | 49.86 |  | 1411
21 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 79 | 19.30-19.45 | 49.89 |  | 1449
22 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 80 | 19.45-20.00 | 49.93 | 49.91 | 1486.95 | 1429.4875
23 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 81 | 20.00-20.15 | 50.02 |  | 1482.48
24 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 82 | 20.15-20.30 | 50.01 |  | 1473.93
Total | [33 empty] | 83 | 20.30-20.45 | 50 |  | 1459.21
[34 empty] | 84 | 20.45-21.00 | 50 | 50.0075 | 1431.66 | 1461.82
[34 empty] | 85 | 21.00-21.15 | 49.9 |  | 1391.9
[34 empty] | 86 | 21.15-21.30 | 49.91 |  | 1399.72
[34 empty] | 87 | 21.30-21.45 | 49.88 |  | 1377.33
[34 empty] | 88 | 21.45-22.00 | 49.9 | 49.8975 | 1356.95 | 1381.475
[34 empty] | 89 | 22.00-22.15 | 49.92 |  | 1351.75
[34 empty] | 90 | 22.15-22.30 | 49.84 |  | 1315.86
[34 empty] | 91 | 22.30-22.45 | 49.93 |  | 1294.15
[34 empty] | 92 | 22.45-23.00 | 49.83 | 49.88 | 1271.3 | 1308.265
[34 empty] | 93 | 23.00-23.15 | 49.67 |  | 1253.81
[34 empty] | 94 | 23.15-23.30 | 49.81 |  | 1240.78
[34 empty] | 95 | 23.30-23.45 | 49.94 |  | 1227.79
[34 empty] | 96 | 23.45-24.00 | 50.02 | 49.86 | 1216 | 1234.595
[35 empty] | Total | 49.9601 | 49.9601 | 32745.1425 | 32745.1425
[35 empty] | max | 1565 |  | avg. max | 1556.5
[35 empty] | min | 1050 |  | avg. min | 1062.25
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.