## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2022-05-06
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2022-05-07
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 33178.75 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 533 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 3267.8 | MWh | [7 empty] | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1637 | [13 empty] | 1 | 00.00-00.15 | 49.88 |  | 1190
|  | Month/Day :- |  |  |  |  | 2022-05-06 | [10 empty] | Min.DEMAND(MW) |  | 1123 |  | ACTUAL OWN GENERATION |  |  | 15166.1205 | MWh | [7 empty] | 2 | 00.15-00.30 | 49.94 |  | 1183
[34 empty] | 3 | 00.30-00.45 | 49.9 |  | 1207 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 49.95 | 49.9175 | 1178 | 1189.5 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 49.99 |  | 1168 |  |  |  | MALANA-2 | 14.8825 | 14.91 | 14.885 | 29.195 | 100.4625 | 100.3225 | 99.58 | -0.0025 | 0 | 0 | 0 | 0 | 0 | 0 | 0.115 | 29.8125 | 29.76 | 29.76 | 29.765 | 29.775 | 29.7725 | 29.76 | 29.7725 | 29.9 | 642.4275
[34 empty] | 6 | 01.15-01.30 | 49.96 |  | 1184 |  |  |  | SWARA KUDDU | 0 | 0 | 0 | 0 | 0 | 0 | 64.75 | 74 | 74 | 74 | 18.5 | 0 | 0 | 0 | 9.25 | 74 | 74 | 74 | 74 | 37 | 27.75 | 0 | 0 | 0 | 675.25
[34 empty] | 7 | 01.30-01.45 | 49.98 |  | 1177
[34 empty] | 8 | 01.45-02:00 | 50 | 49.9825 | 1172 | 1175.25
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.98 |  | 1157 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 49.95 |  | 1147
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.99 |  | 1154
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.01 | 49.9825 | 1139 | 1149.25
1 | 635.0162 | 10 | 83.4074 | 14.8825 | 0 | 59.41 | 728.4236 | 460.6374 | 1189.061 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1189.061 | 1 | 495.92 | 10 | 82.8025 | 588.7225 | 1189.5 | 1207 | 1178 | 1189.5 | 1189.5 | 1189.061 | 0 | 13 | 03.00-03.15 | 49.99 |  | 1142 |  | 10 | 1
2 | 676.9199 | 9 | 172.7957 | 14.91 | 0 | 59.41 | 858.7156 | 316.1006 | 1174.8162 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1174.8162 | 2 | 528.645 | 9 | 171.5425 | 709.1875 | 1175.25 | 1184 | 1168 | 1175.25 | 1175.25 | 1174.8162 | 0 | 14 | 03.15-03.30 | 49.98 |  | 1150 |  | 9 | 2
3 | 690.2753 | 10 | 157.0641 | 14.885 | 0 | 59.41 | 857.3395 | 291.4864 | 1148.8258 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1148.8258 | 3 | 539.075 | 10 | 155.925 | 705 | 1149.25 | 1157 | 1139 | 1149.25 | 1149.25 | 1148.8258 | 0 | 15 | 03.30-03.45 | 49.99 |  | 1123 |  | 10 | 3
4 | 638.5247 | 9.2 | 144.8757 | 29.195 | 0 | 59.41 | 792.6004 | 330.3996 | 1123 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1123 | 4 | 498.66 | 9.2 | 143.825 | 651.685 | 1137.25 | 1150 | 1123 | 1123 | 1123 | 1123 | 0 | 16 | 03.45-04.00 | 49.94 | 49.975 | 1134 | 1137.25 | 9.2 | 4
5 | 572.8424 | 45.8 | 130.713 | 100.4625 | 0 | 59.41 | 749.3554 | 415.2146 | 1164.57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1164.57 | 5 | 447.365 | 45.8 | 129.765 | 622.93 | 1165 | 1173 | 1150 | 1165 | 1165 | 1164.57 | 0 | 17 | 04.00-04.15 | 49.95 |  | 1150 |  | 45.8 | 5
6 | 575.7203 | 46 | 150.3832 | 100.3225 | 0 | 59.42 | 772.1035 | 557.9055 | 1330.0089 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1330.0089 | 6 | 449.6125 | 46 | 149.2925 | 644.905 | 1330.5 | 1442 | 1229 | 1330.5 | 1330.5 | 1330.0089 | 0 | 18 | 04.15-04.30 | 49.94 |  | 1167 |  | 46 | 6
7 | 626.6995 | 46 | 203.6646 | 99.58 | 64.75 | 59.42 | 941.1141 | 620.8093 | 1561.9233 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1561.9233 | 7 | 489.425 | 46 | 202.1875 | 737.6125 | 1562.5 | 1606 | 1504 | 1562.5 | 1562.5 | 1561.9233 | 0 | 19 | 04.30-04.45 | 49.93 |  | 1170 |  | 46 | 7
8 | 582.6957 | 0 | 98.6908 | -0.0025 | 74 | 59.46 | 755.3865 | 858.5176 | 1613.9041 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1613.9041 | 8 | 455.06 | 0 | 97.975 | 553.035 | 1614.5 | 1625 | 1597 | 1614.5 | 1614.5 | 1613.9041 | 0 | 20 | 04.45-05.00 | 49.94 | 49.94 | 1173 | 1165 | 0 | 8
9 | 619.1094 | 0 | 112.2516 | 0 | 74 | 59.44 | 805.361 | 794.0485 | 1599.4095 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1599.4095 | 9 | 483.4975 | 0 | 111.4375 | 594.935 | 1600 | 1608 | 1591 | 1600 | 1600 | 1599.4095 | 0 | 21 | 05.00-05.15 | 49.89 |  | 1229 |  | 0 | 9
10 | 600.6225 | 0 | 109.9197 | 0 | 74 | 59.44 | 784.5422 | 852.4578 | 1637 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1637 | 10 | 469.06 | 0 | 109.1225 | 578.1825 | 1623.75 | 1637 | 1602 | 1637 | 1637 | 1637 | 0 | 22 | 05.15-05.30 | 49.94 |  | 1287 |  | 0 | 10
11 | 633.0218 | 0 | 186.9887 | 0 | 18.5 | 59.36 | 838.5105 | 798.4895 | 1637 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1637 | 11 | 494.3625 | 0 | 185.6325 | 679.995 | 1623.75 | 1637 | 1608 | 1637 | 1637 | 1637 | 0 | 23 | 05.30-05.45 | 49.93 |  | 1364 |  | 0 | 11
12 | 566.7857 | 0 | 125.2861 | 0 | 0 | 59.41 | 692.0719 | 888.8444 | 1580.9163 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1580.9163 | 12 | 442.635 | 0 | 124.3775 | 567.0125 | 1581.5 | 1595 | 1567 | 1581.5 | 1581.5 | 1580.9163 | 0 | 24 | 05.45-06.00 | 50.01 | 49.9425 | 1442 | 1330.5 | 0 | 12
13 | 546.4741 | 0 | 120.2345 | 0 | 0 | 59.41 | 666.7086 | 860.4775 | 1527.1861 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1527.1861 | 13 | 426.7725 | 0 | 119.3625 | 546.135 | 1527.75 | 1568 | 1489 | 1527.75 | 1527.75 | 1527.1861 | 0 | 25 | 06.00-06.15 | 50.03 |  | 1504 |  | 0 | 13
14 | 599.7421 | 0 | 73.6794 | 0 | 0 | 59.41 | 673.4215 | 776.2933 | 1449.7147 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1449.7147 | 14 | 468.3725 | 0 | 73.145 | 541.5175 | 1450.25 | 1462 | 1438 | 1450.25 | 1450.25 | 1449.7147 | 0 | 26 | 06.15-06.30 | 50.02 |  | 1549 |  | 0 | 14
15 | 698.6689 | 0 | 175.9184 | 0.115 | 9.25 | 59.41 | 883.8373 | 578.3729 | 1462.2101 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1462.2101 | 15 | 545.63 | 0 | 174.6425 | 720.2725 | 1462.75 | 1467 | 1459 | 1462.75 | 1462.75 | 1462.2101 | 0 | 27 | 06.30-06.45 | 50.03 |  | 1591 |  | 0 | 15
16 | 623.7095 | 39 | 120.4637 | 29.8125 | 74 | 59.36 | 857.1732 | 588.7929 | 1445.9661 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1445.9661 | 16 | 487.09 | 39 | 119.59 | 645.68 | 1446.5 | 1455 | 1440 | 1446.5 | 1446.5 | 1445.9661 | 0 | 28 | 06.45-07.00 | 50.07 | 50.0375 | 1606 | 1562.5 | 39 | 16
17 | 633.1147 | 39 | 202.0756 | 29.76 | 74 | 59.41 | 948.1902 | 475.5341 | 1423.7243 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1423.7243 | 17 | 494.435 | 39 | 200.61 | 734.045 | 1424.25 | 1441 | 1399 | 1424.25 | 1424.25 | 1423.7243 | 0 | 29 | 07.00-07.15 | 50.02 |  | 1625 |  | 39 | 17
18 | 649.7577 | 40 | 168.0614 | 29.76 | 74 | 59.41 | 931.8191 | 422.9307 | 1354.7498 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1354.7498 | 18 | 507.4325 | 40 | 166.8425 | 714.275 | 1355.25 | 1382 | 1333 | 1355.25 | 1355.25 | 1354.7498 | 0 | 30 | 07.15-07.30 | 50.04 |  | 1623 |  | 40 | 18
19 | 635.4387 | 40 | 89.0836 | 29.765 | 74 | 59.34 | 838.5223 | 465.2463 | 1303.7686 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1303.7686 | 19 | 496.25 | 40 | 88.4375 | 624.6875 | 1304.25 | 1336 | 1285 | 1304.25 | 1304.25 | 1303.7686 | 0 | 31 | 07.30-07.45 | 50.06 |  | 1613 |  | 40 | 19
20 | 635.0226 | 40 | 109.406 | 29.775 | 37 | 59.46 | 821.4286 | 514.3283 | 1335.7568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1335.7568 | 20 | 495.925 | 40 | 108.6125 | 644.5375 | 1336.25 | 1395 | 1271 | 1336.25 | 1336.25 | 1335.7568 | 0 | 32 | 07.45-08.00 | 50.05 | 50.0425 | 1597 | 1614.5 | 40 | 20
21 | 677.4929 | 39 | 210.7057 | 29.7725 | 27.75 | 0 | 954.9486 | 433.2888 | 1388.2374 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1388.2374 | 21 | 529.0925 | 39 | 209.1775 | 777.27 | 1388.75 | 1426 | 1343 | 1388.75 | 1388.75 | 1388.2374 | 0 | 33 | 08.00-08.15 | 50.03 |  | 1604 |  | 39 | 21
22 | 654.9373 | 40 | 108.6732 | 29.76 | 0 | 45.9 | 803.6104 | 499.4085 | 1303.0189 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1303.0189 | 22 | 511.4775 | 40 | 107.885 | 659.3625 | 1303.5 | 1332 | 1278 | 1303.5 | 1303.5 | 1303.0189 | 0 | 34 | 08.15-08.30 | 50 |  | 1597 |  | 40 | 22
23 | 674.7898 | 40 | 122.1383 | 29.7725 | 0 | 59.46 | 836.9282 | 405.3632 | 1242.2913 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1242.2913 | 23 | 526.9815 | 40 | 121.2525 | 688.234 | 1242.75 | 1271 | 1214 | 1242.75 | 1242.75 | 1242.2913 | 0 | 35 | 08.30-08.45 | 50 |  | 1608 |  | 40 | 23
24 | 718.7385 | 40 | 91.3198 | 29.9 | 0 | 59.41 | 850.0583 | 333.2548 | 1183.3131 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1183.3131 | 24 | 561.3035 | 40 | 90.6575 | 691.961 | 1183.75 | 1204 | 1165 | 1183.75 | 1183.75 | 1183.3131 | 0 | 36 | 08.45-09.00 | 50.04 | 50.0175 | 1591 | 1600 | 40 | 24
[34 empty] | 37 | 09.00-09.15 | 50.02 |  | 1602
TOTAL (in MWh) | 15166.1205 | 533 | 3267.8 | 642.4275 | 675.25 | 1352.98 | 19642.1705 | 13538.2023 | 33180.3728 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33180.3728 | TOTAL | 11844.08 | 533 | 3244.1 | 15621.18 | 33178.75 |  |  | 33191 | 33191 | 33180.3728 | 0 | 38 | 09.15-09.30 | 50.02 |  | 1627
[34 empty] | 39 | 09.30-09.45 | 50.05 |  | 1637
[34 empty] | 40 | 09.45-10.00 | 50.04 | 50.0325 | 1629 | 1623.75
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 49.986; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 50.01 |  | 1625
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1637; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 50.02 |  | 1637
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1637; 5+6 P6 14: MW | MAX = | 1637 | [10 empty] | 43 | 10.30-10.45 | 50.02 |  | 1625
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 1123; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 1123 | [10 empty] | 44 | 10.45-11.00 | 50.04 | 50.0225 | 1608 | 1623.75
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 15166.1205; 5+6 P6 14: MWH; 5+6 P11 19: 25.623; 5+6 P11/1000 20: 15140.4975 | [12 empty] | 45 | 11.00-11.15 | 50.05 |  | 1595
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 3267.8; 5+6 P6 14: MWH; 5+6 P11 19: 5.32; 5+6 P11/1000 20: 3262.48 | [12 empty] | 46 | 11.15-11.30 | 50.03 |  | 1589
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 533; 5+6 P6 14: MWH; 5+6 P11 19: 7.173; 5+6 P11/1000 20: 525.827 | [12 empty] | 47 | 11.30-11.45 | 50 |  | 1567
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 10; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 50.02 | 50.025 | 1575 | 1581.5
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 40; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 50.04 |  | 1568
|  |  | Max.generation of Malana at 600 Hrs. |  |  |  | 5+6 P4 12: 46; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 50.03 |  | 1548
[10 empty] | Off Peak Hrs MW |  | Peak Hrs MW | [6 empty] | Gross Lus | Net Lus
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 495.0703; 5+6 P4 12: 829.958; 5+6 P11 19: 151.6612; 5+6 P11/1000 20: 151.405 | [12 empty] | 51 | 12.30-12.45 | 50.02 |  | 1506
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 296.6904; 5+6 P4 12: 201.8372; 5+6 P11 19: 54.4303; 5+6 P11/1000 20: 54.216 | [12 empty] | 52 | 12.45-13.00 | 50.04 | 50.0325 | 1489 | 1527.75
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 198.3799; 5+6 P4 12: 628.1209; 5+6 P11 19: 97.2309; 5+6 P11/1000 20: 97.189 | [12 empty] | 53 | 13.00-13.15 | 50.03 |  | 1441
[34 empty] | 54 | 13.15-13.30 | 50.06 |  | 1438
[34 empty] | 55 | 13.30-13.45 | 50.01 |  | 1460
HOURLY LOAD SHEDDING UNDER DIFFERENT CATEGORIES | [6 empty] | 5+6 P1 9: DATE; 5+6 P2 10: 2022-05-07 01:34 | [12 empty] | 56 | 13.45-14.00 | 50 | 50.025 | 1462 | 1450.25
LOAD NOT SERVED DUE TO | [33 empty] | 57 | 14.00-14.15 | 49.99 |  | 1460 | bar: 7 to 5+6 P2 10
Hrs | Low Availablity (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) |  | 7: Planned maintenance in distribution system (in MW); 8: Distribution constraints (in MW); 5+6 P1 9: Any other reasion ( to be specfied) (MW); 5+6 P2 10: Total (in MW) | [12 empty] | 58 | 14.15-14.30 | 50 |  | 1467
1 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 59 | 14.30-14.45 | 49.99 |  | 1465
2 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 60 | 14.45-15.00 | 50 | 49.995 | 1459 | 1462.75
3 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 61 | 15.00-15.15 | 49.99 |  | 1445
4 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 62 | 15.15-15.30 | 50 |  | 1446
5 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 63 | 15.30-15.45 | 50.01 |  | 1440
6 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 64 | 15.45-16.00 | 50.02 | 50.005 | 1455 | 1446.5
7 | 0 | 0 | 0 |  | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 65 | 16.00-16.15 | 50.08 |  | 1441
8 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 66 | 16.15-16.30 | 50.04 |  | 1434
9 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 67 | 16.30-16.45 | 50.03 |  | 1423
10 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 68 | 16.45-17.00 | 50.06 | 50.0525 | 1399 | 1424.25
11 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 69 | 17.00-17.15 | 50.08 |  | 1382
12 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 70 | 17.15-17.30 | 50.02 |  | 1363
13 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 71 | 17.30-17.45 | 50.05 |  | 1343
14 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 72 | 17.45-18.00 | 50.02 | 50.0425 | 1333 | 1355.25
15 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 73 | 18.00-18.15 | 50.07 |  | 1336
16 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 74 | 18.15-18.30 | 50 |  | 1295
17 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 75 | 18.30-18.45 | 49.97 |  | 1301
18 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 76 | 18.45-19.00 | 49.94 | 49.995 | 1285 | 1304.25
19 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 77 | 19.00-19.15 | 49.91 |  | 1271
20 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 78 | 19.15-19.30 | 49.81 |  | 1304
21 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 79 | 19.30-19.45 | 49.9 |  | 1375
22 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 80 | 19.45-20.00 | 49.88 | 49.875 | 1395 | 1336.25
23 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 81 | 20.00-20.15 | 49.99 |  | 1426
24 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 82 | 20.15-20.30 | 50 |  | 1409
Total | [33 empty] | 83 | 20.30-20.45 | 49.96 |  | 1377
[34 empty] | 84 | 20.45-21.00 | 49.99 | 49.985 | 1343 | 1388.75
[34 empty] | 85 | 21.00-21.15 | 49.9 |  | 1332
[34 empty] | 86 | 21.15-21.30 | 49.88 |  | 1309
[34 empty] | 87 | 21.30-21.45 | 49.89 |  | 1295
[34 empty] | 88 | 21.45-22.00 | 49.95 | 49.905 | 1278 | 1303.5
[34 empty] | 89 | 22.00-22.15 | 49.9 |  | 1271
[34 empty] | 90 | 22.15-22.30 | 49.85 |  | 1248
[34 empty] | 91 | 22.30-22.45 | 49.93 |  | 1238
[34 empty] | 92 | 22.45-23.00 | 49.99 | 49.9175 | 1214 | 1242.75
[34 empty] | 93 | 23.00-23.15 | 49.88 |  | 1204
[34 empty] | 94 | 23.15-23.30 | 49.87 |  | 1191
[34 empty] | 95 | 23.30-23.45 | 49.96 |  | 1175
[34 empty] | 96 | 23.45-24.00 | 49.96 | 49.9175 | 1165 | 1183.75
[35 empty] | Total | 49.986 | 49.986 | 33178.75 | 33178.75
[35 empty] | max | 1637 |  | avg. max | 1623.75
[35 empty] | min | 1123 |  | avg. min | 1137.25
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.