## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2022-05-07
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2022-05-08
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 33277.255 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 616 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 3695.2 | MWh | [7 empty] | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1584 | [13 empty] | 1 | 00.00-00.15 | 49.88 |  | 1179
|  | Month/Day :- |  |  |  |  | 2022-05-07 | [10 empty] | Min.DEMAND(MW) |  | 1114 |  | ACTUAL OWN GENERATION |  |  | 15255.334 | MWh | [7 empty] | 2 | 00.15-00.30 | 49.84 |  | 1170
[34 empty] | 3 | 00.30-00.45 | 49.97 |  | 1153 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50.01 | 49.925 | 1151 | 1163.25 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 50.01 |  | 1155 |  |  |  | MALANA-2 | 20 | 20 | 20 | 30 | 100 | 101 | 99 | 24 | 25 | 25 | 15 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 30 | 30 | 30 | 613
[34 empty] | 6 | 01.15-01.30 | 50.01 |  | 1156 |  |  |  | SWARA KUDDU | 0 | 0 | 0 | 0 | 0 | 0 | 27.75 | 74 | 74 | 37 | 0 | 0 | 0 | 0 | 0 | 64.75 | 74 | 74 | 37 | 37 | 0 | 0 | 0 | 0 | 499.5
[34 empty] | 7 | 01.30-01.45 | 50.02 |  | 1138
[34 empty] | 8 | 01.45-02:00 | 50.03 | 50.0175 | 1129 | 1144.5
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50 |  | 1114 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 50 |  | 1118
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50.03 |  | 1123
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.04 | 50.0175 | 1115 | 1117.5
1 | 674.8119 | 36.7 | 98.4442 | 20 | 0 | 59.42 | 809.956 | 352.9445 | 1162.9005 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1162.9005 | 1 | 668.0375 | 36.7 | 97.7425 | 802.48 | 1163.25 | 1179 | 1151 | 1163.25 | 1163.25 | 1162.9005 | 0 | 13 | 03.00-03.15 | 50.01 |  | 1114 |  | 36.7 | 1
2 | 665.0817 | 36.7 | 198.598 | 20 | 0 | 59.41 | 900.3797 | 243.7765 | 1144.1562 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1144.1562 | 2 | 658.405 | 36.7 | 197.1825 | 892.2875 | 1144.5 | 1156 | 1129 | 1144.5 | 1144.5 | 1144.1562 | 0 | 14 | 03.15-03.30 | 50.01 |  | 1125 |  | 36.7 | 2
3 | 660.7936 | 36.7 | 201.1008 | 20 | 0 | 59.41 | 898.5945 | 215.4055 | 1114 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1114 | 3 | 654.16 | 36.7 | 199.6675 | 890.5275 | 1117.5 | 1123 | 1114 | 1114 | 1114 | 1114 | 0 | 15 | 03.30-03.45 | 50.02 |  | 1122 |  | 36.7 | 3
4 | 634.434 | 36.7 | 197.1527 | 30 | 0 | 59.41 | 868.2867 | 245.7133 | 1114 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1114 | 4 | 628.065 | 36.7 | 195.7475 | 860.5125 | 1121.5 | 1125 | 1114 | 1114 | 1114 | 1114 | 0 | 16 | 03.45-04.00 | 50.03 | 50.0175 | 1125 | 1121.5 | 36.7 | 4
5 | 655.3641 | 47.2 | 161.418 | 100 | 0 | 59.42 | 863.9821 | 277.4249 | 1141.407 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1141.407 | 5 | 648.785 | 47.2 | 160.2675 | 856.2525 | 1141.75 | 1158 | 1132 | 1141.75 | 1141.75 | 1141.407 | 0 | 17 | 04.00-04.15 | 50.04 |  | 1132 |  | 47.2 | 5
6 | 734.1728 | 47.1 | 187.8716 | 101 | 0 | 59.42 | 969.1443 | 315.7196 | 1284.8639 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1284.8639 | 6 | 726.8025 | 47.1 | 186.5325 | 960.435 | 1285.25 | 1368 | 1181 | 1285.25 | 1285.25 | 1284.8639 | 0 | 18 | 04.15-04.30 | 50.03 |  | 1134 |  | 47.1 | 6
7 | 728.5438 | 47.3 | 146.0082 | 99 | 27.75 | 59.41 | 949.6019 | 545.1989 | 1494.8008 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1494.8008 | 7 | 721.23 | 47.3 | 144.9675 | 913.4975 | 1495.25 | 1531 | 1438 | 1495.25 | 1495.25 | 1494.8008 | 0 | 19 | 04.30-04.45 | 50.02 |  | 1143 |  | 47.3 | 7
8 | 676.2715 | 22.6 | 176.2059 | 24 | 74 | 59.46 | 949.0774 | 605.7054 | 1554.7828 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1554.7828 | 8 | 669.4825 | 22.6 | 174.95 | 867.0325 | 1555.25 | 1562 | 1543 | 1555.25 | 1555.25 | 1554.7828 | 0 | 20 | 04.45-05.00 | 50.01 | 50.025 | 1158 | 1141.75 | 22.6 | 8
9 | 670.2435 | 0 | 190.6992 | 25 | 74 | 59.44 | 934.9427 | 615.5914 | 1550.5341 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1550.5341 | 9 | 663.515 | 0 | 189.34 | 852.855 | 1551 | 1558 | 1533 | 1551 | 1551 | 1550.5341 | 0 | 21 | 05.00-05.15 | 50 |  | 1181 |  | 0 | 9
10 | 642.1591 | 0 | 169.7801 | 25 | 37 | 59.44 | 848.9392 | 735.0608 | 1584 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1584 | 10 | 635.7125 | 0 | 168.57 | 804.2825 | 1563 | 1584 | 1543 | 1584 | 1584 | 1584 | 0 | 22 | 05.15-05.30 | 50 |  | 1263 |  | 0 | 10
11 | 567.5778 | 0 | 115.8734 | 15 | 0 | 59.44 | 683.4512 | 855.8362 | 1539.2874 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1539.2874 | 11 | 561.88 | 0 | 115.0475 | 676.9275 | 1539.75 | 1556 | 1523 | 1539.75 | 1539.75 | 1539.2874 | 0 | 23 | 05.30-05.45 | 49.99 |  | 1329 |  | 0 | 11
12 | 590.3489 | 0 | 189.5107 | 14 | 0 | 59.42 | 779.8597 | 740.6834 | 1520.5431 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1520.5431 | 12 | 584.4225 | 0 | 188.16 | 772.5825 | 1521 | 1531 | 1505 | 1521 | 1521 | 1520.5431 | 0 | 24 | 05.45-06.00 | 50.03 | 50.005 | 1368 | 1285.25 | 0 | 12
13 | 541.7864 | 0 | 132.9098 | 0 | 0 | 59.44 | 674.6962 | 813.1067 | 1487.8029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1487.8029 | 13 | 536.3475 | 0 | 131.9625 | 668.31 | 1488.25 | 1512 | 1464 | 1488.25 | 1488.25 | 1487.8029 | 0 | 25 | 06.00-06.15 | 50.05 |  | 1438 |  | 0 | 13
14 | 531.5057 | 0 | 146.547 | 0 | 0 | 59.42 | 678.0527 | 754.0169 | 1432.0697 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1432.0697 | 14 | 526.17 | 0 | 145.5025 | 671.6725 | 1432.5 | 1448 | 1424 | 1432.5 | 1432.5 | 1432.0697 | 0 | 26 | 06.15-06.30 | 50.07 |  | 1492 |  | 0 | 14
15 | 557.931 | 0 | 123.2686 | 0 | 0 | 59.42 | 681.1996 | 777.612 | 1458.8116 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1458.8116 | 15 | 552.33 | 0 | 122.39 | 674.72 | 1459.25 | 1501 | 1395 | 1459.25 | 1459.25 | 1458.8116 | 0 | 27 | 06.30-06.45 | 50.07 |  | 1520 |  | 0 | 15
16 | 586.0281 | 29 | 145.2528 | 0 | 64.75 | 59.44 | 825.0309 | 676.5179 | 1501.5488 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1501.5488 | 16 | 580.145 | 29 | 144.2175 | 753.3625 | 1502 | 1513 | 1484 | 1502 | 1502 | 1501.5488 | 0 | 28 | 06.45-07.00 | 50.11 | 50.075 | 1531 | 1495.25 | 29 | 16
17 | 592.1445 | 29 | 189.2489 | 0 | 74 | 59.44 | 884.3933 | 600.6604 | 1485.0537 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1485.0537 | 17 | 586.2 | 29 | 187.9 | 803.1 | 1485.5 | 1503 | 1474 | 1485.5 | 1485.5 | 1485.0537 | 0 | 29 | 07.00-07.15 | 50.04 |  | 1543 |  | 29 | 17
18 | 602.6752 | 40 | 219.8369 | 0 | 74 | 59.44 | 936.5121 | 512.3026 | 1448.8146 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1448.8146 | 18 | 596.625 | 40 | 218.27 | 854.895 | 1449.25 | 1461 | 1438 | 1449.25 | 1449.25 | 1448.8146 | 0 | 30 | 07.15-07.30 | 50.02 |  | 1562 |  | 40 | 18
19 | 572.2169 | 38 | 95.4302 | 0 | 37 | 59.44 | 742.6471 | 644.1862 | 1386.8332 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1386.8332 | 19 | 566.4725 | 38 | 94.75 | 699.2225 | 1387.25 | 1422 | 1365 | 1387.25 | 1387.25 | 1386.8332 | 0 | 31 | 07.30-07.45 | 50.07 |  | 1555 |  | 38 | 19
20 | 585.3588 | 38 | 30.1927 | 0 | 37 | 59.46 | 690.5515 | 728.477 | 1419.0286 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1419.0286 | 20 | 579.4825 | 38 | 29.9775 | 647.46 | 1419.455 | 1476.82 | 1362 | 1419.455 | 1419.455 | 1419.0286 | 0 | 32 | 07.45-08.00 | 50.06 | 50.0475 | 1561 | 1555.25 | 38 | 20
21 | 659.9098 | 40 | 61.8458 | 30 | 0 | 59.44 | 761.7556 | 688.3837 | 1450.1392 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1450.1392 | 21 | 653.285 | 40 | 61.405 | 754.69 | 1450.575 | 1472.24 | 1435.26 | 1450.575 | 1450.575 | 1450.1392 | 0 | 33 | 08.00-08.15 | 50.05 |  | 1558 |  | 40 | 21
22 | 721.3036 | 38 | 97.4899 | 30 | 0 | 59.42 | 856.7934 | 529.525 | 1386.3184 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1386.3184 | 22 | 714.0625 | 38 | 96.795 | 848.8575 | 1386.735 | 1411.64 | 1367.54 | 1386.735 | 1386.735 | 1386.3184 | 0 | 34 | 08.15-08.30 | 50.02 |  | 1557 |  | 38 | 22
23 | 729.708 | 30 | 217.0445 | 30 | 0 | 59.44 | 976.7524 | 367.3112 | 1344.0636 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1344.0636 | 23 | 722.3825 | 30 | 215.4975 | 967.88 | 1344.4675 | 1353.79 | 1323.5 | 1344.4675 | 1344.4675 | 1344.0636 | 0 | 35 | 08.30-08.45 | 50.03 |  | 1556 |  | 30 | 23
24 | 674.9634 | 23 | 203.4702 | 30 | 0 | 59.42 | 901.4336 | 371.2065 | 1272.6401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1272.6401 | 24 | 668.1875 | 23 | 202.02 | 893.2075 | 1273.0225 | 1295.35 | 1245.95 | 1273.0225 | 1273.0225 | 1272.6401 | 0 | 36 | 08.45-09.00 | 50.06 | 50.04 | 1533 | 1551 | 23 | 24
[34 empty] | 37 | 09.00-09.15 | 50.02 |  | 1543
TOTAL (in MWh) | 15255.334 | 616 | 3695.2 | 613 | 499.5 | 1426.32 | 20066.034 | 13212.3662 | 33278.4002 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33278.4002 | TOTAL | 15102.1875 | 616 | 3668.8625 | 19387.05 | 33277.255 |  |  | 33287.255 | 33287.255 | 33278.4002 | 0 | 38 | 09.15-09.30 | 50.02 |  | 1563
[34 empty] | 39 | 09.30-09.45 | 50.02 |  | 1562
[34 empty] | 40 | 09.45-10.00 | 50.04 | 50.025 | 1584 | 1563
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 49.9961; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 49.99 |  | 1556
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1584; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 50.03 |  | 1540
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1584; 5+6 P6 14: MW | MAX = | 1584 | [10 empty] | 43 | 10.30-10.45 | 50.04 |  | 1540
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 1114; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 1114 | [10 empty] | 44 | 10.45-11.00 | 50.04 | 50.025 | 1523 | 1539.75
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 15255.334; 5+6 P6 14: MWH; 5+6 P11 19: 26.431; 5+6 P11/1000 20: 15228.903 | [12 empty] | 45 | 11.00-11.15 | 50.04 |  | 1529
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 3695.2; 5+6 P6 14: MWH; 5+6 P11 19: 5.16; 5+6 P11/1000 20: 3690.04 | [12 empty] | 46 | 11.15-11.30 | 50.01 |  | 1531
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 616; 5+6 P6 14: MWH; 5+6 P11 19: 5.36; 5+6 P11/1000 20: 610.64 | [12 empty] | 47 | 11.30-11.45 | 50 |  | 1505
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 36.7; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 50.03 | 50.02 | 1519 | 1521
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 23; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 50.02 |  | 1512
|  |  | Max.generation of Malana at 700 Hrs. |  |  |  | 5+6 P4 12: 47.3; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 49.91 |  | 1493
[10 empty] | Off Peak Hrs MW |  | Peak Hrs MW | [6 empty] | Gross Lus | Net Lus
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 576.5638; 5+6 P4 12: 609.2788; 5+6 P11 19: 152.5533; 5+6 P11/1000 20: 152.289 | [12 empty] | 51 | 12.30-12.45 | 49.94 |  | 1484
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 274.3743; 5+6 P4 12: 169.379; 5+6 P11 19: 54.8886; 5+6 P11/1000 20: 54.6694 | [12 empty] | 52 | 12.45-13.00 | 49.94 | 49.9525 | 1464 | 1488.25
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 302.1895; 5+6 P4 12: 439.8998; 5+6 P11 19: 97.6647; 5+6 P11/1000 20: 97.6196 | [12 empty] | 53 | 13.00-13.15 | 50 |  | 1429
[34 empty] | 54 | 13.15-13.30 | 49.93 |  | 1424
[34 empty] | 55 | 13.30-13.45 | 49.83 |  | 1429
HOURLY LOAD SHEDDING UNDER DIFFERENT CATEGORIES | [6 empty] | 5+6 P1 9: DATE; 5+6 P2 10: 2022-05-08 01:48 | [12 empty] | 56 | 13.45-14.00 | 49.98 | 49.935 | 1448 | 1432.5
LOAD NOT SERVED DUE TO | [33 empty] | 57 | 14.00-14.15 | 49.96 |  | 1395 | bar: 7 to 5+6 P2 10
Hrs | Low Availablity (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) |  | 7: Planned maintenance in distribution system (in MW); 8: Distribution constraints (in MW); 5+6 P1 9: Any other reasion ( to be specfied) (MW); 5+6 P2 10: Total (in MW) | [12 empty] | 58 | 14.15-14.30 | 49.91 |  | 1458
1 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 59 | 14.30-14.45 | 49.94 |  | 1483
2 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 60 | 14.45-15.00 | 49.88 | 49.9225 | 1501 | 1459.25
3 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 61 | 15.00-15.15 | 50 |  | 1499
4 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 62 | 15.15-15.30 | 49.95 |  | 1512
5 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 63 | 15.30-15.45 | 49.96 |  | 1484
6 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 64 | 15.45-16.00 | 50.01 | 49.98 | 1513 | 1502
7 | 0 | 0 | 0 |  | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 65 | 16.00-16.15 | 50.04 |  | 1503
8 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 66 | 16.15-16.30 | 50.01 |  | 1487
9 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 67 | 16.30-16.45 | 50.03 |  | 1478
10 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 68 | 16.45-17.00 | 50.02 | 50.025 | 1474 | 1485.5
11 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 69 | 17.00-17.15 | 50.04 |  | 1439
12 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 70 | 17.15-17.30 | 50.02 |  | 1461
13 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 71 | 17.30-17.45 | 50.04 |  | 1438
14 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 72 | 17.45-18.00 | 50.02 | 50.03 | 1459 | 1449.25
15 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 73 | 18.00-18.15 | 50.1 |  | 1422
16 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 74 | 18.15-18.30 | 50.03 |  | 1391
17 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 75 | 18.30-18.45 | 50.02 |  | 1365
18 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 76 | 18.45-19.00 | 50 | 50.0375 | 1371 | 1387.25
19 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 77 | 19.00-19.15 | 49.93 |  | 1362
20 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 78 | 19.15-19.30 | 49.96 |  | 1401
21 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 79 | 19.30-19.45 | 50 |  | 1438
22 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 80 | 19.45-20.00 | 50.01 | 49.975 | 1476.82 | 1419.455
23 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 81 | 20.00-20.15 | 50.04 |  | 1472.24
24 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 82 | 20.15-20.30 | 50.03 |  | 1450.29
Total | [33 empty] | 83 | 20.30-20.45 | 50.03 |  | 1444.51
[34 empty] | 84 | 20.45-21.00 | 50.02 | 50.03 | 1435.26 | 1450.575
[34 empty] | 85 | 21.00-21.15 | 49.98 |  | 1411.64
[34 empty] | 86 | 21.15-21.30 | 50 |  | 1393.25
[34 empty] | 87 | 21.30-21.45 | 49.97 |  | 1374.51
[34 empty] | 88 | 21.45-22.00 | 50 | 49.9875 | 1367.54 | 1386.735
[34 empty] | 89 | 22.00-22.15 | 49.93 |  | 1353.79
[34 empty] | 90 | 22.15-22.30 | 49.91 |  | 1351.37
[34 empty] | 91 | 22.30-22.45 | 49.86 |  | 1349.21
[34 empty] | 92 | 22.45-23.00 | 49.88 | 49.895 | 1323.5 | 1344.4675
[34 empty] | 93 | 23.00-23.15 | 49.83 |  | 1295.35
[34 empty] | 94 | 23.15-23.30 | 49.91 |  | 1292.02
[34 empty] | 95 | 23.30-23.45 | 49.88 |  | 1258.77
[34 empty] | 96 | 23.45-24.00 | 49.97 | 49.8975 | 1245.95 | 1273.0225
[35 empty] | Total | 49.9961 | 49.9961 | 33277.255 | 33277.255
[35 empty] | max | 1584 |  | avg. max | 1563
[35 empty] | min | 1114 |  | avg. min | 1117.5
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.