## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2022-05-08
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2022-05-09
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 31833.655 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 509 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 4339.9 | MWh | [7 empty] | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1521 | [13 empty] | 1 | 00.00-00.15 | 49.97 |  | 1234
|  | Month/Day :- |  |  |  |  | 2022-05-08 | [10 empty] | Min.DEMAND(MW) |  | 1156 |  | ACTUAL OWN GENERATION |  |  | 13019.44 | MWh | [7 empty] | 2 | 00.15-00.30 | 49.98 |  | 1241
[34 empty] | 3 | 00.30-00.45 | 49.92 |  | 1244 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 49.98 | 49.9625 | 1235 | 1238.5 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 50 |  | 1234 |  |  |  | MALANA-2 | 0.0025 | 0 | 0 | 11.0975 | 100.265 | 100.3675 | 100.5175 | 14.7475 | 14.79 | 14.3575 | 14.835 | 15.0375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79 | 30.2175 | 30.8025 | 29.92 | 29.915 | 507.6625
[34 empty] | 6 | 01.15-01.30 | 50.02 |  | 1225 |  |  |  | SWARA KUDDU | 0 | 0 | 0 | 0 | 0 | 0 | 27.75 | 74 | 74 | 37 | 0 | 0 | 0 | 0 | 0 | 64.75 | 74 | 74 | 55.5 | 37 | 37 | 0 | 0 | 0 | 555
[34 empty] | 7 | 01.30-01.45 | 50.02 |  | 1232
[34 empty] | 8 | 01.45-02:00 | 50.02 | 50.015 | 1218 | 1227.25
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.99 |  | 1206 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 49.93 |  | 1201
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50 |  | 1192
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.01 | 49.9825 | 1184 | 1195.75
1 | 584.7472 | 9.5 | 240.7857 | 0.0025 | 0 | 59.44 | 894.4754 | 344.2288 | 1238.7043 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1238.7043 | 1 | 584.1675 | 9.5 | 239.235 | 832.9025 | 1238.5 | 1244 | 1234 | 1238.5 | 1238.5 | 1238.7043 | 0 | 13 | 03.00-03.15 | 49.99 |  | 1156 |  | 9.5 | 1
2 | 538.9543 | 9.5 | 289.3611 | 0 | 0 | 59.44 | 897.2554 | 330.1971 | 1227.4524 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1227.4524 | 2 | 538.42 | 9.5 | 287.4975 | 835.4175 | 1227.25 | 1234 | 1218 | 1227.25 | 1227.25 | 1227.4524 | 0 | 14 | 03.15-03.30 | 50.01 |  | 1166 |  | 9.5 | 2
3 | 527.5931 | 7 | 199.6332 | 0 | 0 | 59.42 | 793.6462 | 402.301 | 1195.9472 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1195.9472 | 3 | 527.07 | 7 | 198.3475 | 732.4175 | 1195.75 | 1206 | 1184 | 1195.75 | 1195.75 | 1195.9472 | 0 | 15 | 03.30-03.45 | 50 |  | 1183 |  | 7 | 3
4 | 566.7369 | 8 | 203.7321 | 11.0975 | 0 | 59.42 | 848.9864 | 307.0136 | 1156 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1156 | 4 | 566.175 | 8 | 202.42 | 776.595 | 1174.5 | 1193 | 1156 | 1156 | 1156 | 1156 | 0 | 16 | 03.45-04.00 | 50 | 50 | 1193 | 1174.5 | 8 | 4
5 | 498.1464 | 46 | 198.901 | 100.265 | 0 | 59.44 | 902.7523 | 301.1962 | 1203.9486 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1203.9486 | 5 | 497.6525 | 46 | 197.62 | 741.2725 | 1203.75 | 1216 | 1186 | 1203.75 | 1203.75 | 1203.9486 | 0 | 17 | 04.00-04.15 | 50 |  | 1186 |  | 46 | 5
6 | 525.6161 | 47 | 201.5103 | 100.3675 | 0 | 59.42 | 933.9139 | 369.051 | 1302.9649 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1302.9649 | 6 | 525.095 | 47 | 200.2125 | 772.3075 | 1302.75 | 1370 | 1227 | 1302.75 | 1302.75 | 1302.9649 | 0 | 18 | 04.15-04.30 | 50 |  | 1202 |  | 47 | 6
7 | 516.4245 | 46 | 183.7635 | 100.5175 | 27.75 | 59.44 | 933.8955 | 479.8377 | 1413.7332 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1413.7332 | 7 | 515.9125 | 46 | 182.58 | 744.4925 | 1413.5 | 1430 | 1382 | 1413.5 | 1413.5 | 1413.7332 | 0 | 19 | 04.30-04.45 | 50 |  | 1211 |  | 46 | 7
8 | 511.1768 | 0 | 96.2323 | 14.7475 | 74 | 59.46 | 755.6165 | 700.8737 | 1456.4902 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1456.4902 | 8 | 510.67 | 0 | 95.6125 | 606.2825 | 1456.25 | 1465 | 1447 | 1456.25 | 1456.25 | 1456.4902 | 0 | 20 | 04.45-05.00 | 50.01 | 50.0025 | 1216 | 1203.75 | 0 | 8
9 | 536.592 | 0 | 80.3424 | 14.79 | 74 | 59.44 | 765.1644 | 719.0804 | 1484.2448 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1484.2448 | 9 | 536.06 | 0 | 79.825 | 615.885 | 1484 | 1494 | 1473 | 1484 | 1484 | 1484.2448 | 0 | 21 | 05.00-05.15 | 49.99 |  | 1227 |  | 0 | 9
10 | 574.945 | 0 | 104.8956 | 14.3575 | 37 | 59.44 | 790.6381 | 730.3619 | 1521 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1521 | 10 | 574.375 | 0 | 104.22 | 678.595 | 1507.75 | 1521 | 1498 | 1521 | 1521 | 1521 | 0 | 22 | 05.15-05.30 | 50.01 |  | 1279 |  | 0 | 10
11 | 550.3481 | 0 | 210.0981 | 14.835 | 0 | 59.46 | 834.7412 | 642.0023 | 1476.7435 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1476.7435 | 11 | 549.8025 | 0 | 208.745 | 758.5475 | 1476.5 | 1504 | 1456 | 1476.5 | 1476.5 | 1476.7435 | 0 | 23 | 05.30-05.45 | 49.96 |  | 1335 |  | 0 | 11
12 | 496.9427 | 0 | 193.7277 | 15.0375 | 0 | 59.44 | 765.1478 | 686.3416 | 1451.4894 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1451.4894 | 12 | 496.45 | 0 | 192.48 | 688.93 | 1451.25 | 1460 | 1439 | 1451.25 | 1451.25 | 1451.4894 | 0 | 24 | 05.45-06.00 | 50 | 49.99 | 1370 | 1302.75 | 0 | 12
13 | 495.804 | 0 | 217.468 | 0 | 0 | 59.46 | 772.7321 | 651.0027 | 1423.7348 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1423.7348 | 13 | 495.3125 | 0 | 216.0675 | 711.38 | 1423.5 | 1441 | 1405 | 1423.5 | 1423.5 | 1423.7348 | 0 | 25 | 06.00-06.15 | 50.04 |  | 1382 |  | 0 | 13
14 | 430.7821 | 0 | 69.6888 | 0 | 0 | 59.42 | 559.8909 | 798.8332 | 1358.7241 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1358.7241 | 14 | 430.355 | 0 | 69.24 | 499.595 | 1358.5 | 1360 | 1350 | 1358.5 | 1358.5 | 1358.7241 | 0 | 26 | 06.15-06.30 | 50.02 |  | 1413 |  | 0 | 14
15 | 493.727 | 0 | 237.1976 | 0 | 0 | 59.47 | 790.3946 | 559.328 | 1349.7226 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1349.7226 | 15 | 493.2375 | 0 | 235.67 | 728.9075 | 1349.5 | 1355 | 1347 | 1349.5 | 1349.5 | 1349.7226 | 0 | 27 | 06.30-06.45 | 50.02 |  | 1430 |  | 0 | 15
16 | 578.1732 | 30 | 220.4925 | 0 | 64.75 | 59.42 | 952.8357 | 413.1395 | 1365.9753 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1365.9753 | 16 | 577.6 | 30 | 219.0725 | 826.6725 | 1365.75 | 1372 | 1358 | 1365.75 | 1365.75 | 1365.9753 | 0 | 28 | 06.45-07.00 | 50.05 | 50.0325 | 1429 | 1413.5 | 30 | 16
17 | 597.2246 | 29 | 220.5278 | 0 | 74 | 59.44 | 980.1923 | 352.5275 | 1332.7198 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1332.7198 | 17 | 596.6325 | 29 | 219.1075 | 844.74 | 1332.5 | 1377 | 1297 | 1332.5 | 1332.5 | 1332.7198 | 0 | 29 | 07.00-07.15 | 50.06 |  | 1447 |  | 29 | 17
18 | 578.1807 | 39.5 | 178.0366 | 0 | 74 | 59.44 | 929.1573 | 323.5493 | 1252.7066 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1252.7066 | 18 | 577.6075 | 39.5 | 176.89 | 793.9975 | 1252.5 | 1263 | 1245 | 1252.5 | 1252.5 | 1252.7066 | 0 | 30 | 07.15-07.30 | 50.1 |  | 1462 |  | 39.5 | 18
19 | 518.7868 | 39.5 | 98.907 | 0 | 55.5 | 59.42 | 772.1138 | 462.8399 | 1234.9537 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1234.9537 | 19 | 518.2725 | 39.5 | 98.27 | 656.0425 | 1234.75 | 1245 | 1220 | 1234.75 | 1234.75 | 1234.9537 | 0 | 31 | 07.30-07.45 | 50.13 |  | 1451 |  | 39.5 | 19
20 | 536.0389 | 39.5 | 213.6132 | 0.79 | 37 | 59.46 | 886.4022 | 400.6426 | 1287.0448 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1287.0448 | 20 | 535.5075 | 39.5 | 212.2375 | 787.245 | 1286.8325 | 1340.33 | 1231 | 1286.8325 | 1286.8325 | 1287.0448 | 0 | 32 | 07.45-08.00 | 50.06 | 50.0875 | 1465 | 1456.25 | 39.5 | 20
21 | 559.3245 | 39.5 | 220.6913 | 30.2175 | 37 | 59.44 | 946.1733 | 402.2141 | 1348.3874 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1348.3874 | 21 | 558.77 | 39.5 | 219.27 | 817.54 | 1348.165 | 1360.32 | 1339.41 | 1348.165 | 1348.165 | 1348.3874 | 0 | 33 | 08.00-08.15 | 50.02 |  | 1473 |  | 39.5 | 21
22 | 620.5953 | 39.6 | 116.9104 | 30.8025 | 0 | 59.44 | 867.3482 | 429.2756 | 1296.6238 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1296.6238 | 22 | 619.98 | 39.6 | 116.1575 | 775.7375 | 1296.41 | 1320.2 | 1270.91 | 1296.41 | 1296.41 | 1296.6238 | 0 | 34 | 08.15-08.30 | 50.02 |  | 1494 |  | 39.6 | 22
23 | 608.8987 | 39.6 | 148.4058 | 29.92 | 0 | 59.46 | 886.2844 | 367.4248 | 1253.7093 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1253.7093 | 23 | 608.295 | 39.6 | 147.45 | 795.345 | 1253.5025 | 1270.53 | 1227.52 | 1253.5025 | 1253.5025 | 1253.7093 | 0 | 35 | 08.30-08.45 | 50.08 |  | 1490 |  | 39.6 | 23
24 | 573.6812 | 39.8 | 194.9782 | 29.915 | 0 | 59.44 | 897.8145 | 302.3785 | 1200.1929 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1200.1929 | 24 | 573.1125 | 39.8 | 193.7225 | 806.635 | 1199.995 | 1223.29 | 1171 | 1199.995 | 1199.995 | 1200.1929 | 0 | 36 | 08.45-09.00 | 50.1 | 50.055 | 1479 | 1484 | 39.8 | 24
[34 empty] | 37 | 09.00-09.15 | 50.1 |  | 1498
TOTAL (in MWh) | 13019.44 | 509 | 4339.9 | 507.6625 | 555 | 1426.57 | 20357.5725 | 11475.6409 | 31833.2134 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31833.2134 | TOTAL | 13006.5325 | 509 | 4311.95 | 17827.4825 | 31833.655 |  |  | 31828.405 | 31828.405 | 31833.2134 | 0 | 38 | 09.15-09.30 | 50.06 |  | 1501
[34 empty] | 39 | 09.30-09.45 | 50.04 |  | 1511
[34 empty] | 40 | 09.45-10.00 | 50.08 | 50.07 | 1521 | 1507.75
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 49.9981; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 50.03 |  | 1504
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1521; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 50.02 |  | 1471
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1521; 5+6 P6 14: MW | MAX = | 1521 | [10 empty] | 43 | 10.30-10.45 | 50.02 |  | 1475
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 1156; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 1156 | [10 empty] | 44 | 10.45-11.00 | 50.02 | 50.0225 | 1456 | 1476.5
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 13019.44; 5+6 P6 14: MWH; 5+6 P11 19: 32.872; 5+6 P11/1000 20: 12986.568 | [12 empty] | 45 | 11.00-11.15 | 49.97 |  | 1460
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 4339.9; 5+6 P6 14: MWH; 5+6 P11 19: 4.86; 5+6 P11/1000 20: 4335.04 | [12 empty] | 46 | 11.15-11.30 | 49.99 |  | 1439
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 509; 5+6 P6 14: MWH; 5+6 P11 19: 6.127; 5+6 P11/1000 20: 502.873 | [12 empty] | 47 | 11.30-11.45 | 49.98 |  | 1449
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 7; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 49.98 | 49.98 | 1457 | 1451.25
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 39.8; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 49.98 |  | 1441
|  |  | Max.generation of Malana at 600 Hrs. |  |  |  | 5+6 P4 12: 47; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 49.97 |  | 1438
[10 empty] | Off Peak Hrs MW |  | Peak Hrs MW | [6 empty] | Gross Lus | Net Lus
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 432.632; 5+6 P4 12: 481.3652; 5+6 P11 19: 130.1944; 5+6 P11/1000 20: 129.8657 | [12 empty] | 51 | 12.30-12.45 | 49.96 |  | 1410
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 216.555; 5+6 P4 12: 205.908; 5+6 P11 19: 54.5826; 5+6 P11/1000 20: 54.2995 | [12 empty] | 52 | 12.45-13.00 | 50.01 | 49.98 | 1405 | 1423.5
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 216.0771; 5+6 P4 12: 275.4572; 5+6 P11 19: 75.6118; 5+6 P11/1000 20: 75.5662 | [12 empty] | 53 | 13.00-13.15 | 50.03 |  | 1365
[34 empty] | 54 | 13.15-13.30 | 50.02 |  | 1359
[34 empty] | 55 | 13.30-13.45 | 50.01 |  | 1360
HOURLY LOAD SHEDDING UNDER DIFFERENT CATEGORIES | [6 empty] | 5+6 P1 9: DATE; 5+6 P2 10: 2022-05-09 01:34 | [12 empty] | 56 | 13.45-14.00 | 50.01 | 50.0175 | 1350 | 1358.5
LOAD NOT SERVED DUE TO | [33 empty] | 57 | 14.00-14.15 | 50.01 |  | 1349 | bar: 7 to 5+6 P2 10
Hrs | Low Availablity (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) |  | 7: Planned maintenance in distribution system (in MW); 8: Distribution constraints (in MW); 5+6 P1 9: Any other reasion ( to be specfied) (MW); 5+6 P2 10: Total (in MW) | [12 empty] | 58 | 14.15-14.30 | 49.94 |  | 1347
1 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 59 | 14.30-14.45 | 49.87 |  | 1347
2 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 60 | 14.45-15.00 | 49.96 | 49.945 | 1355 | 1349.5
3 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 61 | 15.00-15.15 | 50 |  | 1366
4 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 62 | 15.15-15.30 | 49.95 |  | 1372
5 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 63 | 15.30-15.45 | 49.98 |  | 1367
6 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 64 | 15.45-16.00 | 50.02 | 49.9875 | 1358 | 1365.75
7 | 0 | 0 | 0 |  | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 65 | 16.00-16.15 | 50.1 |  | 1377
8 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 66 | 16.15-16.30 | 50.07 |  | 1347
9 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 67 | 16.30-16.45 | 50.04 |  | 1309
10 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 68 | 16.45-17.00 | 50.05 | 50.065 | 1297 | 1332.5
11 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 69 | 17.00-17.15 | 50.03 |  | 1263
12 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 70 | 17.15-17.30 | 50.02 |  | 1250
13 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 71 | 17.30-17.45 | 50.05 |  | 1252
14 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 72 | 17.45-18.00 | 50.03 | 50.0325 | 1245 | 1252.5
15 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 73 | 18.00-18.15 | 50.03 |  | 1242
16 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 74 | 18.15-18.30 | 50.02 |  | 1245
17 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 75 | 18.30-18.45 | 49.98 |  | 1220
18 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 76 | 18.45-19.00 | 49.97 | 50 | 1232 | 1234.75
19 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 77 | 19.00-19.15 | 49.91 |  | 1231
20 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 78 | 19.15-19.30 | 49.73 |  | 1261
21 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 79 | 19.30-19.45 | 49.75 |  | 1315
22 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 80 | 19.45-20.00 | 49.74 | 49.7825 | 1340.33 | 1286.8325
23 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 81 | 20.00-20.15 | 49.97 |  | 1360.32
24 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 82 | 20.15-20.30 | 49.99 |  | 1345.92
Total | [33 empty] | 83 | 20.30-20.45 | 50.01 |  | 1347.01
[34 empty] | 84 | 20.45-21.00 | 50.01 | 49.995 | 1339.41 | 1348.165
[34 empty] | 85 | 21.00-21.15 | 49.99 |  | 1320.2
[34 empty] | 86 | 21.15-21.30 | 50.01 |  | 1299.11
[34 empty] | 87 | 21.30-21.45 | 49.94 |  | 1295.42
[34 empty] | 88 | 21.45-22.00 | 50.03 | 49.9925 | 1270.91 | 1296.41
[34 empty] | 89 | 22.00-22.15 | 49.96 |  | 1266.17
[34 empty] | 90 | 22.15-22.30 | 49.98 |  | 1270.53
[34 empty] | 91 | 22.30-22.45 | 49.98 |  | 1249.79
[34 empty] | 92 | 22.45-23.00 | 49.98 | 49.975 | 1227.52 | 1253.5025
[34 empty] | 93 | 23.00-23.15 | 49.93 |  | 1223.29
[34 empty] | 94 | 23.15-23.30 | 49.96 |  | 1208.76
[34 empty] | 95 | 23.30-23.45 | 50.01 |  | 1196.93
[34 empty] | 96 | 23.45-24.00 | 50.03 | 49.9825 | 1171 | 1199.995
[35 empty] | Total | 49.9981 | 49.9981 | 31833.655 | 31833.655
[35 empty] | max | 1521 |  | avg. max | 1507.75
[35 empty] | min | 1156 |  | avg. min | 1174.5
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.