## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2022-05-21
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2022-05-22
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 34132.25 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 867 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 4834 | MWh | MALANA-II | 867 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1644 | [6 empty] | HOLI BAJOLI | 2854 | MWh |  |  |  |  | 1 | 00.00-00.15 | 50.05 |  | 1196
|  | Month/Day :- |  |  |  |  | 2022-05-21 | [10 empty] | Min.DEMAND(MW) |  | 1147 |  | ACTUAL OWN GENERATION |  |  | 13292.035 | MWh | SWARA KUDDU | 494 | MWh |  |  |  |  | 2 | 00.15-00.30 | 50.04 |  | 1190
[34 empty] | 3 | 00.30-00.45 | 50.04 |  | 1189 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50.05 | 50.045 | 1188 | 1190.75 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 50.02 |  | 1181 |  |  |  | MALANA-2 | 34.625 | 34.725 | 34.72 | 34.72 | 34.72 | 34.72 | 34.72 | 34.7225 | 34.72 | 34.8975 | 34.97 | 35.0375 | 35.04 | 35.04 | 35.05 | 0.02 | 0 | 0 | 0 | 0.6825 | 39.74 | 94.8925 | 100.4575 | 100.08 | 858.3
[34 empty] | 6 | 01.15-01.30 | 50.04 |  | 1147 |  |  |  | SWARA KUDDU | 0 | 0 | 0 | 0 | 0 | 0 | 29.34 | 74.095 | 37.355 | 37.0475 | 18.8375 | 0 | 0 | 0 | 0 | 0.78 | 37.0525 | 56.1975 | 74.095 | 74.1 | 37.32 | 18.8325 | 0 | 0 | 495.0525
[34 empty] | 7 | 01.30-01.45 | 50.05 |  | 1165
[34 empty] | 8 | 01.45-02:00 | 50.04 | 50.0375 | 1156 | 1162.25
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50.01 |  | 1170 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 50.02 |  | 1172
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50.02 |  | 1152
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.04 | 50.0225 | 1154 | 1162
1 | 583.1684 | 45.3353 | 232.4855 | 34.625 | 0 | 118.9 | 1014.5142 | 175.2772 | 1189.7914 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1189.7914 | 1 | 623.0175 | 45.22 | 230.93 | 899.1675 | 1190.75 | 1196 | 1188 | 1190.75 | 1190.75 | 1189.7914 | 0 | 13 | 03.00-03.15 | 50.02 |  | 1165 |  | 45.22 | 1
2 | 568.3415 | 46.1022 | 232.3596 | 34.725 | 0 | 118.91 | 1000.4384 | 146.5616 | 1147 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1147 | 2 | 607.1775 | 45.985 | 230.805 | 883.9675 | 1162.25 | 1181 | 1147 | 1147 | 1147 | 1147 | 0 | 14 | 03.15-03.30 | 50.02 |  | 1158 |  | 45.985 | 2
3 | 514.2128 | 46.1098 | 287.3123 | 34.72 | 0 | 118.9 | 1001.2548 | 159.8097 | 1161.0645 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1161.0645 | 3 | 549.35 | 45.9925 | 285.39 | 880.7325 | 1162 | 1172 | 1152 | 1162 | 1162 | 1161.0645 | 0 | 15 | 03.30-03.45 | 50.04 |  | 1163 |  | 45.9925 | 3
4 | 515.6706 | 46.1048 | 255.2025 | 34.72 | 0 | 118.91 | 970.6079 | 189.7073 | 1160.3151 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1160.3151 | 4 | 550.9075 | 45.9875 | 253.495 | 850.39 | 1161.25 | 1165 | 1158 | 1161.25 | 1161.25 | 1160.3151 | 0 | 16 | 03.45-04.00 | 50.04 | 50.03 | 1159 | 1161.25 | 45.9875 | 4
5 | 550.5357 | 46.0797 | 156.6682 | 34.72 | 0 | 118.9 | 906.9036 | 257.1585 | 1164.0621 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1164.0621 | 5 | 588.155 | 45.9625 | 155.62 | 789.7375 | 1165 | 1172 | 1161 | 1165 | 1165 | 1164.0621 | 0 | 17 | 04.00-04.15 | 50.08 |  | 1161 |  | 45.9625 | 5
6 | 568.8166 | 46.1022 | 122.638 | 34.72 | 0 | 118.93 | 891.2069 | 354.7893 | 1245.9961 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1245.9961 | 6 | 607.685 | 45.985 | 121.8175 | 775.4875 | 1247 | 1283 | 1201 | 1247 | 1247 | 1245.9961 | 0 | 18 | 04.15-04.30 | 50.07 |  | 1172 |  | 45.985 | 6
7 | 602.7761 | 46.0797 | 132.7582 | 34.72 | 29.34 | 118.93 | 964.604 | 413.7855 | 1378.3894 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1378.3894 | 7 | 643.965 | 45.9625 | 131.87 | 821.7975 | 1379.5 | 1432 | 1335 | 1379.5 | 1379.5 | 1378.3894 | 0 | 19 | 04.30-04.45 | 50.05 |  | 1164 |  | 45.9625 | 7
8 | 582.1107 | 2.3234 | 180.4976 | 34.7225 | 74.095 | 118.91 | 992.6592 | 471.661 | 1464.3202 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1464.3202 | 8 | 621.8875 | 2.3175 | 179.29 | 803.495 | 1465.5 | 1488 | 1435 | 1465.5 | 1465.5 | 1464.3202 | 0 | 20 | 04.45-05.00 | 50.04 | 50.06 | 1163 | 1165 | 2.3175 | 8
9 | 592.2994 | 0 | 204.8934 | 34.72 | 37.355 | 118.93 | 988.1978 | 516.34 | 1504.5378 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1504.5378 | 9 | 632.7725 | 0 | 203.5225 | 836.295 | 1505.75 | 1514 | 1490 | 1505.75 | 1505.75 | 1504.5378 | 0 | 21 | 05.00-05.15 | 50.05 |  | 1201 |  | 0 | 9
10 | 562.8025 | 0 | 216.569 | 34.8975 | 37.0475 | 118.93 | 970.2465 | 588.2478 | 1558.4943 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1558.4943 | 10 | 601.26 | 0 | 215.12 | 816.38 | 1559.75 | 1569 | 1542 | 1559.75 | 1559.75 | 1558.4943 | 0 | 22 | 05.15-05.30 | 50.05 |  | 1239 |  | 0 | 10
11 | 544.3345 | 0 | 200.5694 | 34.97 | 18.8375 | 118.9 | 917.6114 | 648.6267 | 1566.2381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1566.2381 | 11 | 581.53 | 0 | 199.2275 | 780.7575 | 1567.5 | 1577 | 1549 | 1567.5 | 1567.5 | 1566.2381 | 0 | 23 | 05.30-05.45 | 50.04 |  | 1265 |  | 0 | 11
12 | 532.5872 | 0 | 200.509 | 35.0375 | 0 | 118.86 | 886.9937 | 674.748 | 1561.7417 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1561.7417 | 12 | 568.98 | 0 | 199.1675 | 768.1475 | 1563 | 1576 | 1553 | 1563 | 1563 | 1561.7417 | 0 | 24 | 05.45-06.00 | 50.05 | 50.0475 | 1283 | 1247 | 0 | 12
13 | 543.0521 | 29.9061 | 213.6218 | 35.04 | 0 | 118.93 | 940.5499 | 595.2127 | 1535.7627 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1535.7627 | 13 | 580.16 | 29.83 | 212.1925 | 822.1825 | 1537 | 1547 | 1526 | 1537 | 1537 | 1535.7627 | 0 | 25 | 06.00-06.15 | 50.08 |  | 1335 |  | 29.83 | 13
14 | 536.769 | 31.8209 | 206.6703 | 35.04 | 0 | 118.9 | 929.2001 | 714.7999 | 1644 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1644 | 14 | 573.4475 | 31.74 | 205.2875 | 810.475 | 1601.25 | 1644 | 1582 | 1644 | 1644 | 1644 | 0 | 26 | 06.15-06.30 | 50.08 |  | 1355 |  | 31.74 | 14
15 | 533.6824 | 30.46 | 240.6476 | 35.05 | 0 | 118.85 | 958.6899 | 628.7811 | 1587.471 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1587.471 | 15 | 570.15 | 30.3825 | 239.0375 | 839.57 | 1588.75 | 1614 | 1571 | 1588.75 | 1588.75 | 1587.471 | 0 | 27 | 06.30-06.45 | 50.07 |  | 1396 |  | 30.3825 | 15
16 | 561.1598 | 32.9989 | 214.1377 | 0.02 | 0.78 | 118.9 | 927.9964 | 675.7115 | 1603.7079 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1603.7079 | 16 | 599.505 | 32.915 | 212.705 | 845.125 | 1605 | 1620 | 1595 | 1605 | 1605 | 1603.7079 | 0 | 28 | 06.45-07.00 | 50.07 | 50.075 | 1432 | 1379.5 | 32.915 | 16
17 | 572.1302 | 31.9462 | 191.4258 | 0 | 37.0525 | 118.9 | 951.4547 | 648.2565 | 1599.7111 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1599.7111 | 17 | 611.225 | 31.865 | 190.145 | 833.235 | 1601 | 1625 | 1589 | 1601 | 1601 | 1599.7111 | 0 | 29 | 07.00-07.15 | 50.16 |  | 1435 |  | 31.865 | 17
18 | 511.4749 | 43.2174 | 130.3899 | 0 | 56.1975 | 118.9 | 860.1797 | 643.1092 | 1503.2888 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1503.2888 | 18 | 546.425 | 43.1075 | 129.5175 | 719.05 | 1504.5 | 1524 | 1475 | 1504.5 | 1504.5 | 1503.2888 | 0 | 30 | 07.15-07.30 | 50.11 |  | 1453 |  | 43.1075 | 18
19 | 510.9132 | 42.285 | 130.5837 | 0 | 74.095 | 118.9 | 876.777 | 550.8228 | 1427.5998 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1427.5998 | 19 | 545.825 | 42.1775 | 129.71 | 717.7125 | 1428.75 | 1449 | 1400 | 1428.75 | 1428.75 | 1427.5998 | 0 | 31 | 07.30-07.45 | 50.1 |  | 1488 |  | 42.1775 | 19
20 | 547.8587 | 44.3227 | 143.3743 | 0.6825 | 74.1 | 118.91 | 929.2482 | 495.6039 | 1424.852 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1424.852 | 20 | 585.295 | 44.21 | 142.415 | 771.92 | 1426 | 1488 | 1372 | 1426 | 1426 | 1424.852 | 0 | 32 | 07.45-08.00 | 50.08 | 50.1125 | 1486 | 1465.5 | 44.21 | 20
21 | 581.3806 | 42.661 | 189.9081 | 39.74 | 37.32 | 118.91 | 1009.9197 | 475.3837 | 1485.3033 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1485.3033 | 21 | 621.1075 | 42.5525 | 188.6375 | 852.2975 | 1486.5 | 1503 | 1466 | 1486.5 | 1486.5 | 1485.3033 | 0 | 33 | 08.00-08.15 | 50.11 |  | 1490 |  | 42.5525 | 21
22 | 586.2012 | 63.0779 | 214.933 | 94.8925 | 18.8325 | 118.93 | 1096.8671 | 346.7198 | 1443.5869 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1443.5869 | 22 | 626.2575 | 62.9175 | 213.495 | 902.67 | 1444.75 | 1458 | 1432 | 1444.75 | 1444.75 | 1443.5869 | 0 | 34 | 08.15-08.30 | 50.05 |  | 1513 |  | 62.9175 | 22
23 | 573.0124 | 75.299 | 292.0641 | 100.4575 | 0 | 118.94 | 1159.773 | 251.8397 | 1411.6127 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1411.6127 | 23 | 612.1675 | 75.1075 | 290.11 | 977.385 | 1412.75 | 1427 | 1394 | 1412.75 | 1412.75 | 1411.6127 | 0 | 35 | 08.30-08.45 | 50.04 |  | 1506 |  | 75.1075 | 23
24 | 516.7448 | 74.7677 | 243.781 | 100.08 | 0 | 118.9 | 1054.2735 | 311.3763 | 1365.6497 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1365.6497 | 24 | 552.055 | 74.5775 | 242.15 | 868.7825 | 1366.75 | 1383 | 1355 | 1366.75 | 1366.75 | 1365.6497 | 0 | 36 | 08.45-09.00 | 50.08 | 50.07 | 1514 | 1505.75 | 74.5775 | 24
[34 empty] | 37 | 09.00-09.15 | 50.02 |  | 1542
TOTAL (in MWh) | 13292.035 | 867 | 4834 | 858.3 | 495.0525 | 2853.78 | 23200.1675 | 10934.3294 | 34134.4969 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34134.4969 | TOTAL | 14200.3075 | 864.795 | 4801.6575 | 19866.76 | 34132.25 |  |  | 34159.75 | 34159.75 | 34134.4969 | 0 | 38 | 09.15-09.30 | 50.04 |  | 1569
[34 empty] | 39 | 09.30-09.45 | 50.04 |  | 1559
[34 empty] | 40 | 09.45-10.00 | 50.05 | 50.0375 | 1569 | 1559.75
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 50.036; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 49.99 |  | 1569
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1644; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 50 |  | 1577
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1644; 5+6 P6 14: MW | MAX = | 1644 | [10 empty] | 43 | 10.30-10.45 | 49.99 |  | 1575
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 1147; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 1147 | [10 empty] | 44 | 10.45-11.00 | 50 | 49.995 | 1549 | 1567.5
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 13292.035; 5+6 P6 14: MWH; 5+6 P11 19: 32; 5+6 P11/1000 20: 13260.035 | [12 empty] | 45 | 11.00-11.15 | 50.03 |  | 1558
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 4834; 5+6 P6 14: MWH; 5+6 P11 19: 7.43; 5+6 P11/1000 20: 4826.57 | [12 empty] | 46 | 11.15-11.30 | 50.02 |  | 1576
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 867; 5+6 P6 14: MWH; 5+6 P11 19: 5.311; 5+6 P11/1000 20: 861.689 | [12 empty] | 47 | 11.30-11.45 | 50.03 |  | 1565
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 45.9925; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 50.01 | 50.0225 | 1553 | 1563
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 74.5775; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 50.02 |  | 1547
|  |  | Max.generation of Malana at 2300 Hrs. |  |  |  | 5+6 P4 12: 75.1075; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 50.01 |  | 1541
[10 empty] | Off Peak Hrs MW |  | Peak Hrs MW | [6 empty] | Gross Lus | Net Lus
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 472.9303; 5+6 P4 12: 521.2743; 5+6 P11 19: 132.9204; 5+6 P11/1000 20: 132.6004 | [12 empty] | 51 | 12.30-12.45 | 50.02 |  | 1534
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 271.1038; 5+6 P4 12: 236.8131; 5+6 P11 19: 68.5404; 5+6 P11/1000 20: 68.2658 | [12 empty] | 52 | 12.45-13.00 | 50.01 | 50.015 | 1526 | 1537
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 201.8264; 5+6 P4 12: 284.4611; 5+6 P11 19: 64.38; 5+6 P11/1000 20: 64.3346 | [12 empty] | 53 | 13.00-13.15 | 50.09 |  | 1545
[8 empty] | Gross Gen. |  | Aux. | Net gen.
|  |  | Gross Swara Kuddu generation |  |  |  | 8: 495.0525; 5+6 P1 9: MWh; 5+6 P2 10: 5.311; 5+6 P3 11: 489.7415
|  |  | Gross Holi Bajoli generation |  |  |  | 8: 2853.78; 5+6 P1 9: MWh; 5+6 P2 10: 3.244; 5+6 P3 11: 2850.536
|  |  | Gross Malana- ll generation |  |  |  | 8: 858.3; 5+6 P1 9: MWh; 5+6 P2 10: 9.66; 5+6 P3 11: 848.64 | [12 empty] | 54 | 13.15-13.30 | 50.05 |  | 1582
[34 empty] | 55 | 13.30-13.45 | 50.03 |  | 1634
HOURLY LOAD SHEDDING UNDER DIFFERENT CATEGORIES | [6 empty] | 5+6 P1 9: DATE; 5+6 P2 10: 2022-05-22 01:44 | [12 empty] | 56 | 13.45-14.00 | 50.03 | 50.05 | 1644 | 1601.25
LOAD NOT SERVED DUE TO | [33 empty] | 57 | 14.00-14.15 | 50.02 |  | 1614 | bar: 7 to 5+6 P2 10
Hrs | Low Availablity (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) |  | 7: Planned maintenance in distribution system (in MW); 8: Distribution constraints (in MW); 5+6 P1 9: Any other reasion ( to be specfied) (MW); 5+6 P2 10: Total (in MW) | [12 empty] | 58 | 14.15-14.30 | 49.99 |  | 1571
1 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 59 | 14.30-14.45 | 49.96 |  | 1583
2 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 60 | 14.45-15.00 | 49.95 | 49.98 | 1587 | 1588.75
3 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 61 | 15.00-15.15 | 50.01 |  | 1598
4 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 62 | 15.15-15.30 | 50.02 |  | 1620
5 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 63 | 15.30-15.45 | 50.01 |  | 1595
6 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 64 | 15.45-16.00 | 50.04 | 50.02 | 1607 | 1605
7 | 0 | 0 | 0 |  | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 65 | 16.00-16.15 | 50.08 |  | 1625
8 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 66 | 16.15-16.30 | 50.14 |  | 1590
9 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 67 | 16.30-16.45 | 50.18 |  | 1600
10 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 68 | 16.45-17.00 | 50.08 | 50.12 | 1589 | 1601
11 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 69 | 17.00-17.15 | 50.07 |  | 1524
12 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 70 | 17.15-17.30 | 50.05 |  | 1514
13 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 71 | 17.30-17.45 | 50.1 |  | 1505
14 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 72 | 17.45-18.00 | 50.08 | 50.075 | 1475 | 1504.5
15 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 73 | 18.00-18.15 | 50.15 |  | 1441
16 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 74 | 18.15-18.30 | 50.08 |  | 1449
17 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 75 | 18.30-18.45 | 50.09 |  | 1425
18 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 76 | 18.45-19.00 | 50.03 | 50.0875 | 1400 | 1428.75
19 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 77 | 19.00-19.15 | 50.04 |  | 1372
20 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 78 | 19.15-19.30 | 50.05 |  | 1406
21 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 79 | 19.30-19.45 | 50.05 |  | 1438
22 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 80 | 19.45-20.00 | 50.05 | 50.0475 | 1488 | 1426
23 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 81 | 20.00-20.15 | 50.07 |  | 1466
24 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 82 | 20.15-20.30 | 50.03 |  | 1483
Total | [33 empty] | 83 | 20.30-20.45 | 50.03 |  | 1494
[34 empty] | 84 | 20.45-21.00 | 50.02 | 50.0375 | 1503 | 1486.5
[34 empty] | 85 | 21.00-21.15 | 50.01 |  | 1458
[34 empty] | 86 | 21.15-21.30 | 50 |  | 1453
[34 empty] | 87 | 21.30-21.45 | 50.01 |  | 1436
[34 empty] | 88 | 21.45-22.00 | 50.04 | 50.015 | 1432 | 1444.75
[34 empty] | 89 | 22.00-22.15 | 49.96 |  | 1426
[34 empty] | 90 | 22.15-22.30 | 49.87 |  | 1427
[34 empty] | 91 | 22.30-22.45 | 49.94 |  | 1404
[34 empty] | 92 | 22.45-23.00 | 49.95 | 49.93 | 1394 | 1412.75
[34 empty] | 93 | 23.00-23.15 | 49.81 |  | 1383
[34 empty] | 94 | 23.15-23.30 | 49.9 |  | 1366
[34 empty] | 95 | 23.30-23.45 | 49.99 |  | 1363
[34 empty] | 96 | 23.45-24.00 | 50.03 | 49.9325 | 1355 | 1366.75
[35 empty] | Total | 50.036 | 50.036 | 34132.25 | 34132.25
[35 empty] | max | 1644 |  | avg. max | 1605
[35 empty] | min | 1147 |  | avg. min | 1161.25
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.