## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2022-05-10
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2022-05-11
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 32524.25 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 688 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 5067.4 | MWh | MALANA-II | 769 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1547 | [6 empty] | HOLI BAJOLI | 1426 | MWh |  |  |  |  | 1 | 00.00-00.15 | 49.92 |  | 1170
|  | Month/Day :- |  |  |  |  | 2022-05-10 | [10 empty] | Min.DEMAND(MW) |  | 1094 |  | ACTUAL OWN GENERATION |  |  | 14369.9015 | MWh | SWARA KUDDU | 614 | MWh |  |  |  |  | 2 | 00.15-00.30 | 49.98 |  | 1162
[34 empty] | 3 | 00.30-00.45 | 49.98 |  | 1150 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 49.98 | 49.965 | 1138 | 1155 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 50 |  | 1134 |  |  |  | MALANA-2 | 35 | 35 | 35 | 41 | 101 | 100 | 101 | 25 | 25 | 25 | 25 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 37 | 40 | 50 | 50 | 769
[34 empty] | 6 | 01.15-01.30 | 50 |  | 1119 |  |  |  | SWARA KUDDU | 0 | 0 | 0 | 0 | 0 | 0 | 18.5 | 74 | 74 | 55.5 | 20.35 | 20.35 | 0 | 0 | 0 | 74 | 74 | 74 | 55.5 | 37 | 37 | 0 | 0 | 0 | 614.2
[34 empty] | 7 | 01.30-01.45 | 49.99 |  | 1121
[34 empty] | 8 | 01.45-02:00 | 50.01 | 50 | 1116 | 1122.5
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.88 |  | 1103 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 49.87 |  | 1096
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.86 |  | 1094
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 49.87 | 49.87 | 1095 | 1097
1 | 619.488 | 43 | 274.2628 | 35 | 0 | 59.42 | 1031.1708 | 123.2436 | 1154.4143 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1154.4143 | 1 | 625.4775 | 43 | 272.5175 | 940.995 | 1155 | 1170 | 1138 | 1155 | 1155 | 1154.4143 | 0 | 13 | 03.00-03.15 | 49.93 |  | 1100 |  | 43 | 1
2 | 611.2947 | 47 | 200.3223 | 35 | 0 | 59.42 | 953.037 | 168.8939 | 1121.9308 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1121.9308 | 2 | 617.205 | 47 | 199.0475 | 863.2525 | 1122.5 | 1134 | 1116 | 1122.5 | 1122.5 | 1121.9308 | 0 | 14 | 03.15-03.30 | 49.97 |  | 1105 |  | 47 | 2
3 | 629.8131 | 47 | 253.0805 | 35 | 0 | 59.44 | 1024.3337 | 69.6663 | 1094 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1094 | 3 | 635.9025 | 47 | 251.47 | 934.3725 | 1097 | 1103 | 1094 | 1094 | 1094 | 1094 | 0 | 15 | 03.30-03.45 | 49.97 |  | 1098 |  | 47 | 3
4 | 576.2089 | 46 | 287.2153 | 41 | 0 | 59.41 | 1009.8342 | 91.3572 | 1101.1914 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1101.1914 | 4 | 581.78 | 46 | 285.3875 | 913.1675 | 1101.75 | 1105 | 1098 | 1101.75 | 1101.75 | 1101.1914 | 0 | 16 | 03.45-04.00 | 49.96 | 49.9575 | 1104 | 1101.75 | 46 | 4
5 | 585.4595 | 47 | 193.3706 | 101 | 0 | 59.41 | 986.24 | 134.9412 | 1121.1812 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1121.1812 | 5 | 591.12 | 47 | 192.14 | 830.26 | 1121.75 | 1139 | 1107 | 1121.75 | 1121.75 | 1121.1812 | 0 | 17 | 04.00-04.15 | 49.96 |  | 1107 |  | 47 | 5
6 | 582.867 | 48 | 152.6313 | 100 | 0 | 59.42 | 942.9183 | 305.1985 | 1248.1168 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1248.1168 | 6 | 588.5025 | 48 | 151.66 | 788.1625 | 1248.75 | 1323 | 1170 | 1248.75 | 1248.75 | 1248.1168 | 0 | 18 | 04.15-04.30 | 49.94 |  | 1121 |  | 48 | 6
7 | 640.1556 | 47 | 135.9778 | 101 | 18.5 | 59.42 | 1002.0535 | 418.7258 | 1420.7792 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1420.7792 | 7 | 646.345 | 47 | 135.1125 | 828.4575 | 1421.5 | 1467 | 1369 | 1421.5 | 1421.5 | 1420.7792 | 0 | 19 | 04.30-04.45 | 49.98 |  | 1120 |  | 47 | 7
8 | 643.3324 | 0 | 74.3154 | 25 | 74 | 59.46 | 876.1078 | 620.1331 | 1496.2409 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1496.2409 | 8 | 649.5525 | 0 | 73.8425 | 723.395 | 1497 | 1505 | 1483 | 1497 | 1497 | 1496.2409 | 0 | 20 | 04.45-05.00 | 49.99 | 49.9675 | 1139 | 1121.75 | 0 | 8
9 | 632.4477 | 0 | 87.3987 | 25 | 74 | 59.44 | 878.2863 | 605.9607 | 1484.247 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1484.247 | 9 | 638.5625 | 0 | 86.8425 | 725.405 | 1485 | 1488 | 1482 | 1485 | 1485 | 1484.247 | 0 | 21 | 05.00-05.15 | 49.94 |  | 1170 |  | 0 | 9
10 | 587.0293 | 0 | 220.2088 | 25 | 55.5 | 59.44 | 947.1781 | 599.8219 | 1547 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1547 | 10 | 592.705 | 0 | 218.8075 | 811.5125 | 1527.5 | 1547 | 1515 | 1547 | 1547 | 1547 | 0 | 22 | 05.15-05.30 | 49.88 |  | 1224 |  | 0 | 10
11 | 532.3529 | 0 | 220.6491 | 25 | 20.35 | 59.42 | 857.7721 | 665.9549 | 1523.727 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1523.727 | 11 | 537.5 | 0 | 219.245 | 756.745 | 1524.5 | 1538 | 1514 | 1524.5 | 1524.5 | 1523.727 | 0 | 23 | 05.30-05.45 | 49.84 |  | 1278 |  | 0 | 11
12 | 521.0101 | 0 | 249.2008 | 25 | 20.35 | 59.42 | 874.9809 | 650.745 | 1525.726 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1525.726 | 12 | 526.0475 | 0 | 247.615 | 773.6625 | 1526.5 | 1535 | 1518 | 1526.5 | 1526.5 | 1525.726 | 0 | 24 | 05.45-06.00 | 49.93 | 49.8975 | 1323 | 1248.75 | 0 | 12
13 | 515.1493 | 0 | 171.7379 | 0 | 0 | 59.34 | 746.2271 | 765.0062 | 1511.2333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1511.2333 | 13 | 520.13 | 0 | 170.645 | 690.775 | 1512 | 1528 | 1487 | 1512 | 1512 | 1511.2333 | 0 | 25 | 06.00-06.15 | 49.99 |  | 1369 |  | 0 | 13
14 | 576.7957 | 0 | 173.1016 | 0 | 0 | 59.44 | 809.3373 | 663.4156 | 1472.7529 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1472.7529 | 14 | 582.3725 | 0 | 172 | 754.3725 | 1473.5 | 1500 | 1459 | 1473.5 | 1473.5 | 1472.7529 | 0 | 26 | 06.15-06.30 | 50.01 |  | 1415 |  | 0 | 14
15 | 591.2386 | 0 | 220.8605 | 0 | 0 | 59.41 | 871.5091 | 633.2275 | 1504.7366 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1504.7366 | 15 | 596.955 | 0 | 219.455 | 816.41 | 1505.5 | 1521 | 1480 | 1505.5 | 1505.5 | 1504.7366 | 0 | 27 | 06.30-06.45 | 50.04 |  | 1435 |  | 0 | 15
16 | 613.0626 | 11 | 305.3079 | 0 | 74 | 59.42 | 1062.7905 | 402.2163 | 1465.0068 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1465.0068 | 16 | 618.99 | 11 | 303.365 | 933.355 | 1465.75 | 1479 | 1452 | 1465.75 | 1465.75 | 1465.0068 | 0 | 28 | 06.45-07.00 | 50.03 | 50.0175 | 1467 | 1421.5 | 11 | 16
17 | 623.0758 | 11 | 234.9829 | 0 | 74 | 59.42 | 1002.4786 | 466.2763 | 1468.7549 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1468.7549 | 17 | 629.1 | 11 | 233.4875 | 873.5875 | 1469.5 | 1485 | 1458 | 1469.5 | 1469.5 | 1468.7549 | 0 | 29 | 07.00-07.15 | 50.01 |  | 1483 |  | 11 | 17
18 | 590.1145 | 39 | 220.1988 | 0 | 74 | 59.39 | 982.7032 | 396.597 | 1379.3003 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1379.3003 | 18 | 595.82 | 39 | 218.7975 | 853.6175 | 1380 | 1434 | 1335 | 1380 | 1380 | 1379.3003 | 0 | 30 | 07.15-07.30 | 50.02 |  | 1505 |  | 39 | 18
19 | 545.4637 | 39 | 164.6729 | 0 | 55.5 | 59.39 | 864.0266 | 447.8079 | 1311.8345 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1311.8345 | 19 | 550.7375 | 39 | 163.625 | 753.3625 | 1312.5 | 1315 | 1310 | 1312.5 | 1312.5 | 1311.8345 | 0 | 31 | 07.30-07.45 | 50.04 |  | 1503 |  | 39 | 19
20 | 606.3054 | 39 | 217.1519 | 19 | 37 | 59.46 | 977.9173 | 385.6409 | 1363.5582 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1363.5582 | 20 | 612.1675 | 39 | 215.77 | 866.9375 | 1364.25 | 1419 | 1303 | 1364.25 | 1364.25 | 1363.5582 | 0 | 32 | 07.45-08.00 | 50.05 | 50.03 | 1497 | 1497 | 39 | 20
21 | 634.5795 | 39 | 201.9426 | 37 | 37 | 59.41 | 1008.9321 | 375.1157 | 1384.0479 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1384.0479 | 21 | 640.715 | 39 | 200.6575 | 880.3725 | 1384.75 | 1417 | 1353 | 1384.75 | 1384.75 | 1384.0479 | 0 | 33 | 08.00-08.15 | 50.03 |  | 1488 |  | 39 | 21
22 | 643.7608 | 40 | 249.7267 | 40 | 0 | 59.41 | 1032.8975 | 295.6785 | 1328.576 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1328.576 | 22 | 649.985 | 40 | 248.1375 | 938.1225 | 1329.25 | 1351 | 1310 | 1329.25 | 1329.25 | 1328.576 | 0 | 34 | 08.15-08.30 | 50.03 |  | 1482 |  | 40 | 22
23 | 643.684 | 72 | 278.4193 | 50 | 0 | 59.41 | 1103.5133 | 172.5893 | 1276.1026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1276.1026 | 23 | 649.9075 | 72 | 276.6475 | 998.555 | 1276.75 | 1293 | 1253 | 1276.75 | 1276.75 | 1276.1026 | 0 | 35 | 08.30-08.45 | 50.02 |  | 1482 |  | 72 | 23
24 | 625.2126 | 73 | 280.6636 | 50 | 0 | 59.42 | 1088.2962 | 132.8343 | 1221.1305 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1221.1305 | 24 | 631.2575 | 73 | 278.8775 | 983.135 | 1221.75 | 1239 | 1201 | 1221.75 | 1221.75 | 1221.1305 | 0 | 36 | 08.45-09.00 | 50.04 | 50.03 | 1488 | 1485 | 73 | 24
[34 empty] | 37 | 09.00-09.15 | 49.98 |  | 1515
TOTAL (in MWh) | 14369.9015 | 688 | 5067.4 | 769 | 614.2 | 1426.04 | 22934.5415 | 9591.0476 | 32525.5891 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32525.5891 | TOTAL | 14508.8375 | 688 | 5035.1525 | 20231.99 | 32524.25 |  |  | 32540.75 | 32540.75 | 32525.5891 | 0 | 38 | 09.15-09.30 | 50.03 |  | 1521
[34 empty] | 39 | 09.30-09.45 | 50.04 |  | 1547
[34 empty] | 40 | 09.45-10.00 | 50.04 | 50.0225 | 1527 | 1527.5
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 49.973; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 49.96 |  | 1514
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1547; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 49.97 |  | 1538
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1547; 5+6 P6 14: MW | MAX = | 1547 | [10 empty] | 43 | 10.30-10.45 | 49.94 |  | 1527
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 1094; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 1094 | [10 empty] | 44 | 10.45-11.00 | 49.94 | 49.9525 | 1519 | 1524.5
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 14369.9015; 5+6 P6 14: MWH; 5+6 P11 19: 27.082; 5+6 P11/1000 20: 14342.8195 | [12 empty] | 45 | 11.00-11.15 | 49.92 |  | 1518
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 5067.4; 5+6 P6 14: MWH; 5+6 P11 19: 7.05; 5+6 P11/1000 20: 5060.35 | [12 empty] | 46 | 11.15-11.30 | 49.9 |  | 1524
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 688; 5+6 P6 14: MWH; 5+6 P11 19: 6.455; 5+6 P11/1000 20: 681.545 | [12 empty] | 47 | 11.30-11.45 | 49.86 |  | 1535
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 47; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 49.97 | 49.9125 | 1529 | 1526.5
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 73; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 49.86 |  | 1528
|  |  | Max.generation of Malana at 2400 Hrs. |  |  |  | 5+6 P4 12: 73; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 49.95 |  | 1525
[10 empty] | Off Peak Hrs MW |  | Peak Hrs MW | [6 empty] | Gross Lus | Net Lus
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 631.0912; 5+6 P4 12: 565.2433; 5+6 P11 19: 143.699; 5+6 P11/1000 20: 143.4282 | [12 empty] | 51 | 12.30-12.45 | 49.94 |  | 1508
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 323.5702; 5+6 P4 12: 287.4849; 5+6 P11 19: 68.9483; 5+6 P11/1000 20: 68.7233 | [12 empty] | 52 | 12.45-13.00 | 50.02 | 49.9425 | 1487 | 1512
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 307.521; 5+6 P4 12: 277.7584; 5+6 P11 19: 74.7507; 5+6 P11/1000 20: 74.7049 | [12 empty] | 53 | 13.00-13.15 | 50.06 |  | 1451
[8 empty] | Gross Gen. |  | Aux. | Net gen.
|  |  | Gross Swara Kuddu generation |  |  |  | 8: 614.2; 5+6 P1 9: MWh; 5+6 P2 10: 6.455; 5+6 P3 11: 607.745
|  |  | Gross Holi Bajoli generation |  |  |  | 8: 1426.04; 5+6 P1 9: MWh; 5+6 P2 10: 1.71; 5+6 P3 11: 1424.33
|  |  | Gross Malana- ll generation |  |  |  | 8: 769; 5+6 P1 9: MWh; 5+6 P2 10: 8.032; 5+6 P3 11: 760.968 | [12 empty] | 54 | 13.15-13.30 | 50.02 |  | 1459
[34 empty] | 55 | 13.30-13.45 | 50.01 |  | 1484
HOURLY LOAD SHEDDING UNDER DIFFERENT CATEGORIES | [6 empty] | 5+6 P1 9: DATE; 5+6 P2 10: 2022-05-11 02:23 | [12 empty] | 56 | 13.45-14.00 | 50.02 | 50.0275 | 1500 | 1473.5
LOAD NOT SERVED DUE TO | [33 empty] | 57 | 14.00-14.15 | 50.07 |  | 1512 | bar: 7 to 5+6 P2 10
Hrs | Low Availablity (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) |  | 7: Planned maintenance in distribution system (in MW); 8: Distribution constraints (in MW); 5+6 P1 9: Any other reasion ( to be specfied) (MW); 5+6 P2 10: Total (in MW) | [12 empty] | 58 | 14.15-14.30 | 50.03 |  | 1521
1 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 59 | 14.30-14.45 | 50.04 |  | 1509
2 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 60 | 14.45-15.00 | 50.04 | 50.045 | 1480 | 1505.5
3 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 61 | 15.00-15.15 | 50.04 |  | 1452
4 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 62 | 15.15-15.30 | 50 |  | 1465
5 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 63 | 15.30-15.45 | 49.97 |  | 1467
6 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 64 | 15.45-16.00 | 49.99 | 50 | 1479 | 1465.75
7 | 0 | 0 | 0 |  | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 65 | 16.00-16.15 | 50.01 |  | 1475
8 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 66 | 16.15-16.30 | 49.96 |  | 1485
9 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 67 | 16.30-16.45 | 49.94 |  | 1460
10 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 68 | 16.45-17.00 | 49.98 | 49.9725 | 1458 | 1469.5
11 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 69 | 17.00-17.15 | 50.01 |  | 1434
12 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 70 | 17.15-17.30 | 50.01 |  | 1388
13 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 71 | 17.30-17.45 | 50.01 |  | 1363
14 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 72 | 17.45-18.00 | 49.96 | 49.9975 | 1335 | 1380
15 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 73 | 18.00-18.15 | 50 |  | 1313
16 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 74 | 18.15-18.30 | 49.87 |  | 1312
17 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 75 | 18.30-18.45 | 49.95 |  | 1310
18 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 76 | 18.45-19.00 | 49.97 | 49.9475 | 1315 | 1312.5
19 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 77 | 19.00-19.15 | 49.9 |  | 1303
20 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 78 | 19.15-19.30 | 49.85 |  | 1337
21 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 79 | 19.30-19.45 | 49.84 |  | 1398
22 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 80 | 19.45-20.00 | 49.93 | 49.88 | 1419 | 1364.25
23 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 81 | 20.00-20.15 | 49.97 |  | 1417
24 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 82 | 20.15-20.30 | 49.92 |  | 1391
Total | [33 empty] | 83 | 20.30-20.45 | 50.03 |  | 1378
[34 empty] | 84 | 20.45-21.00 | 50 | 49.98 | 1353 | 1384.75
[34 empty] | 85 | 21.00-21.15 | 49.94 |  | 1351
[34 empty] | 86 | 21.15-21.30 | 49.97 |  | 1345
[34 empty] | 87 | 21.30-21.45 | 49.93 |  | 1311
[34 empty] | 88 | 21.45-22.00 | 49.99 | 49.9575 | 1310 | 1329.25
[34 empty] | 89 | 22.00-22.15 | 49.9 |  | 1293
[34 empty] | 90 | 22.15-22.30 | 49.97 |  | 1286
[34 empty] | 91 | 22.30-22.45 | 50 |  | 1275
[34 empty] | 92 | 22.45-23.00 | 49.97 | 49.96 | 1253 | 1276.75
[34 empty] | 93 | 23.00-23.15 | 49.99 |  | 1239
[34 empty] | 94 | 23.15-23.30 | 50.02 |  | 1230
[34 empty] | 95 | 23.30-23.45 | 50.03 |  | 1217
[34 empty] | 96 | 23.45-24.00 | 50.04 | 50.02 | 1201 | 1221.75
[35 empty] | Total | 49.973 | 49.973 | 32524.25 | 32524.25
[35 empty] | max | 1547 |  | avg. max | 1527.5
[35 empty] | min | 1094 |  | avg. min | 1097
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.