## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2022-05-13
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2022-05-14
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 32972.25 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 1106 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 6803 | MWh | MALANA-II | 1373 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1570 | [6 empty] | HOLI BAJOLI | 2854 | MWh |  |  |  |  | 1 | 00.00-00.15 | 50.02 |  | 1177
|  | Month/Day :- |  |  |  |  | 2022-05-13 | [10 empty] | Min.DEMAND(MW) |  | 1107 |  | ACTUAL OWN GENERATION |  |  | 16399.8805 | MWh | SWARA KUDDU | 717 | MWh |  |  |  |  | 2 | 00.15-00.30 | 49.99 |  | 1164
[34 empty] | 3 | 00.30-00.45 | 50.01 |  | 1164 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50.01 | 50.0075 | 1163 | 1167 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 50 |  | 1136 |  |  |  | MALANA-2 | 60 | 60 | 60 | 60 | 101 | 101 | 102 | 44 | 45 | 45 | 47 | 46 | 45 | 45 | 45 | 45 | 46 | 45 | 45 | 45 | 50 | 51 | 69 | 71 | 1373
[34 empty] | 6 | 01.15-01.30 | 50.01 |  | 1137 |  |  |  | SWARA KUDDU | 0 | 0 | 0 | 0 | 0 | 18.5 | 46.25 | 74 | 74 | 46.25 | 0 | 0 | 0 | 0 | 0 | 64.75 | 74 | 74 | 74 | 74 | 74 | 0 | 0 | 0 | 693.75
[34 empty] | 7 | 01.30-01.45 | 49.9 |  | 1125
[34 empty] | 8 | 01.45-02:00 | 50 | 49.9775 | 1123 | 1130.25
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50.01 |  | 1127 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 49.99 |  | 1141
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.97 |  | 1134
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 49.99 | 49.99 | 1124 | 1131.5
1 | 606.4547 | 79.0715 | 330.7389 | 60 | 0 | 118.9 | 1195.1651 | -28.3509 | 1166.8142 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1166.8142 | 1 | 565.505 | 79 | 328.785 | 973.29 | 1167 | 1177 | 1163 | 1167 | 1167 | 1166.8142 | 0 | 13 | 03.00-03.15 | 49.97 |  | 1123 |  | 79 | 1
2 | 642.5977 | 79.0715 | 330.6559 | 60 | 0 | 118.91 | 1231.2351 | -101.165 | 1130.0701 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1130.0701 | 2 | 599.2075 | 79 | 328.7025 | 1006.91 | 1130.25 | 1137 | 1123 | 1130.25 | 1130.25 | 1130.0701 | 0 | 14 | 03.15-03.30 | 49.98 |  | 1119 |  | 79 | 2
3 | 692.8724 | 67.0606 | 330.6232 | 60 | 0 | 118.91 | 1269.4662 | -138.1464 | 1131.3199 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1131.3199 | 3 | 646.0875 | 67 | 328.67 | 1041.7575 | 1131.5 | 1141 | 1124 | 1131.5 | 1131.5 | 1131.3199 | 0 | 15 | 03.30-03.45 | 49.98 |  | 1126 |  | 67 | 3
4 | 723.8276 | 66.0597 | 299.3887 | 60 | 0 | 118.91 | 1268.186 | -147.6144 | 1120.5716 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1120.5716 | 4 | 674.9525 | 66 | 297.62 | 1038.5725 | 1120.75 | 1126 | 1115 | 1120.75 | 1120.75 | 1120.5716 | 0 | 16 | 03.45-04.00 | 50.01 | 49.985 | 1115 | 1120.75 | 66 | 4
5 | 702.6662 | 65.0588 | 252.5771 | 101 | 0 | 118.94 | 1240.2422 | -133.2422 | 1107 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1107 | 5 | 655.22 | 65 | 251.085 | 971.305 | 1127 | 1148 | 1107 | 1107 | 1107 | 1107 | 0 | 17 | 04.00-04.15 | 50.04 |  | 1107 |  | 65 | 5
6 | 731.2245 | 65.0588 | 292.8048 | 101 | 18.5 | 118.94 | 1327.5282 | -64.7292 | 1262.7989 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1262.7989 | 6 | 681.85 | 65 | 291.075 | 1037.925 | 1263 | 1332 | 1182 | 1263 | 1263 | 1262.7989 | 0 | 18 | 04.15-04.30 | 50.04 |  | 1120 |  | 65 | 6
7 | 752.4395 | 65.0588 | 212.9656 | 102 | 46.25 | 118.94 | 1297.654 | 133.6181 | 1431.2721 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1431.2721 | 7 | 701.6325 | 65 | 211.7075 | 978.34 | 1431.5 | 1455 | 1392 | 1431.5 | 1431.5 | 1431.2721 | 0 | 19 | 04.30-04.45 | 50.03 |  | 1133 |  | 65 | 7
8 | 727.8384 | 18.0163 | 219.9393 | 44 | 74 | 118.94 | 1202.734 | 284.5292 | 1487.2632 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1487.2632 | 8 | 678.6925 | 18 | 218.64 | 915.3325 | 1487.5 | 1503 | 1460 | 1487.5 | 1487.5 | 1487.2632 | 0 | 20 | 04.45-05.00 | 50.01 | 50.03 | 1148 | 1127 | 18 | 8
9 | 695.8403 | 18.0163 | 231.7768 | 45 | 74 | 118.94 | 1183.5733 | 298.4407 | 1482.014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1482.014 | 9 | 648.855 | 18 | 230.4075 | 897.2625 | 1482.25 | 1497 | 1465 | 1482.25 | 1482.25 | 1482.014 | 0 | 21 | 05.00-05.15 | 50 |  | 1182 |  | 18 | 9
10 | 654.5872 | 17.5158 | 306.7069 | 45 | 46.25 | 118.94 | 1189 | 381 | 1570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1570 | 10 | 610.3875 | 17.5 | 304.895 | 932.7825 | 1544.75 | 1570 | 1500 | 1570 | 1570 | 1570 | 0 | 22 | 05.15-05.30 | 50.01 |  | 1244 |  | 17.5 | 10
11 | 635.9568 | 17.5158 | 309.5236 | 47 | 0 | 118.93 | 1128.9262 | 411.3286 | 1540.2548 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1540.2548 | 11 | 593.015 | 17.5 | 307.695 | 918.21 | 1540.5 | 1548 | 1524 | 1540.5 | 1540.5 | 1540.2548 | 0 | 23 | 05.30-05.45 | 49.99 |  | 1294 |  | 17.5 | 11
12 | 646.3967 | 17.0154 | 294.8041 | 46 | 0 | 118.94 | 1123.1562 | 388.3531 | 1511.5093 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1511.5093 | 12 | 602.75 | 17 | 293.0625 | 912.8125 | 1511.75 | 1525 | 1503 | 1511.75 | 1511.75 | 1511.5093 | 0 | 24 | 05.45-06.00 | 49.99 | 49.9975 | 1332 | 1263 | 17 | 12
13 | 668.0246 | 17.0154 | 253.6434 | 45 | 0 | 118.93 | 1102.6134 | 375.4013 | 1478.0147 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1478.0147 | 13 | 622.9175 | 17 | 252.145 | 892.0625 | 1478.25 | 1487 | 1469 | 1478.25 | 1478.25 | 1478.0147 | 0 | 25 | 06.00-06.15 | 50.03 |  | 1392 |  | 17 | 13
14 | 663.7778 | 46.0416 | 225.6833 | 45 | 0 | 118.94 | 1099.4427 | 368.8235 | 1468.2662 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1468.2662 | 14 | 618.9575 | 46 | 224.35 | 889.3075 | 1468.5 | 1493 | 1457 | 1468.5 | 1468.5 | 1468.2662 | 0 | 26 | 06.15-06.30 | 50.04 |  | 1427 |  | 46 | 14
15 | 651.9652 | 45.0407 | 249.1921 | 45 | 0 | 118.94 | 1110.1381 | 409.8699 | 1520.008 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1520.008 | 15 | 607.9425 | 45 | 247.72 | 900.6625 | 1520.25 | 1551 | 1491 | 1520.25 | 1520.25 | 1520.008 | 0 | 27 | 06.30-06.45 | 50.03 |  | 1455 |  | 45 | 15
16 | 572.0356 | 46.0416 | 225.555 | 45 | 64.75 | 118.94 | 1072.3222 | 435.4377 | 1507.7599 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1507.7599 | 16 | 533.41 | 46 | 224.2225 | 803.6325 | 1508 | 1516 | 1498 | 1508 | 1508 | 1507.7599 | 0 | 28 | 06.45-07.00 | 50.05 | 50.0375 | 1452 | 1431.5 | 46 | 16
17 | 575.6041 | 46.0416 | 244.4969 | 46 | 74 | 118.9 | 1105.0426 | 374.2219 | 1479.2645 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1479.2645 | 17 | 536.7375 | 46 | 243.0525 | 825.79 | 1479.5 | 1503 | 1463 | 1479.5 | 1479.5 | 1479.2645 | 0 | 29 | 07.00-07.15 | 50.04 |  | 1460 |  | 46 | 17
18 | 612.8221 | 46.0416 | 249.8561 | 45 | 74 | 118.91 | 1146.6298 | 288.1417 | 1434.7715 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1434.7715 | 18 | 571.4425 | 46 | 248.38 | 865.8225 | 1435 | 1457 | 1405 | 1435 | 1435 | 1434.7715 | 0 | 30 | 07.15-07.30 | 50.04 |  | 1485 |  | 46 | 18
19 | 679.4377 | 46.0416 | 301.7703 | 45 | 74 | 118.88 | 1265.1296 | 81.6559 | 1346.7856 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1346.7856 | 19 | 633.56 | 46 | 299.9875 | 979.5475 | 1347 | 1359 | 1334 | 1347 | 1347 | 1346.7856 | 0 | 31 | 07.30-07.45 | 50.06 |  | 1503 |  | 46 | 19
20 | 721.6023 | 47.0425 | 319.9703 | 45 | 74 | 118.88 | 1326.4951 | 54.535 | 1381.0301 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1381.0301 | 20 | 672.8775 | 47 | 318.08 | 1037.9575 | 1381.25 | 1432 | 1329 | 1381.25 | 1381.25 | 1381.0301 | 0 | 32 | 07.45-08.00 | 50.08 | 50.055 | 1502 | 1487.5 | 47 | 20
21 | 767.5069 | 48.0434 | 328.5107 | 50 | 74 | 118.91 | 1386.9711 | 45.0509 | 1432.022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1432.022 | 21 | 715.6825 | 48 | 326.57 | 1090.2525 | 1432.25 | 1448 | 1420 | 1432.25 | 1432.25 | 1432.022 | 0 | 33 | 08.00-08.15 | 50.12 |  | 1497 |  | 48 | 21
22 | 776.2069 | 48.0434 | 330.593 | 51 | 0 | 118.93 | 1324.7734 | 64.2555 | 1389.0288 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1389.0288 | 22 | 723.795 | 48 | 328.64 | 1100.435 | 1389.25 | 1417 | 1367 | 1389.25 | 1389.25 | 1389.0288 | 0 | 34 | 08.15-08.30 | 50.04 |  | 1492 |  | 48 | 22
23 | 763.0269 | 48.0434 | 330.5654 | 69 | 0 | 118.91 | 1329.5457 | -5.0066 | 1324.5391 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1324.5391 | 23 | 711.505 | 48 | 328.6125 | 1088.1175 | 1324.75 | 1341 | 1301 | 1324.75 | 1324.75 | 1324.5391 | 0 | 35 | 08.30-08.45 | 50.04 |  | 1465 |  | 48 | 23
24 | 735.1683 | 48.0434 | 330.6584 | 71 | 0 | 118.93 | 1303.8002 | -33.5025 | 1270.2977 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1270.2977 | 24 | 685.5275 | 48 | 328.705 | 1062.2325 | 1270.5 | 1299 | 1254 | 1270.5 | 1270.5 | 1270.2977 | 0 | 36 | 08.45-09.00 | 50.04 | 50.06 | 1475 | 1482.25 | 48 | 24
[34 empty] | 37 | 09.00-09.15 | 50.05 |  | 1500
TOTAL (in MWh) | 16399.8805 | 1106 | 6803 | 1373 | 693.75 | 2854.14 | 29229.7705 | 3742.9057 | 32972.6762 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32972.6762 | TOTAL | 15292.51 | 1105 | 6762.81 | 23160.32 | 32972.25 |  |  | 32977.5 | 32977.5 | 32972.6762 | 0 | 38 | 09.15-09.30 | 50.06 |  | 1550
[34 empty] | 39 | 09.30-09.45 | 50.06 |  | 1570
[34 empty] | 40 | 09.45-10.00 | 50.04 | 50.0525 | 1559 | 1544.75
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 50.0123; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 50.02 |  | 1548
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1570; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 50.03 |  | 1548
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1570; 5+6 P6 14: MW | MAX = | 1570 | [10 empty] | 43 | 10.30-10.45 | 50.02 |  | 1542
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 1107; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 1107 | [10 empty] | 44 | 10.45-11.00 | 50.03 | 50.025 | 1524 | 1540.5
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 16399.8805; 5+6 P6 14: MWH; 5+6 P11 19: 28.469; 5+6 P11/1000 20: 16371.4115 | [12 empty] | 45 | 11.00-11.15 | 50.01 |  | 1525
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 6803; 5+6 P6 14: MWH; 5+6 P11 19: 7.59; 5+6 P11/1000 20: 6795.41 | [12 empty] | 46 | 11.15-11.30 | 49.95 |  | 1515
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 1106; 5+6 P6 14: MWH; 5+6 P11 19: 7.415; 5+6 P11/1000 20: 1098.585 | [12 empty] | 47 | 11.30-11.45 | 49.97 |  | 1503
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 67; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 49.99 | 49.98 | 1504 | 1511.75
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 48; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 50 |  | 1487
|  |  | Max.generation of Malana at 100 Hrs. |  |  |  | 5+6 P4 12: 79; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 50.02 |  | 1475
[10 empty] | Off Peak Hrs MW |  | Peak Hrs MW | [6 empty] | Gross Lus | Net Lus
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 693.5924; 5+6 P4 12: 739.7637; 5+6 P11 19: 163.9988; 5+6 P11/1000 20: 163.7141 | [12 empty] | 51 | 12.30-12.45 | 50.02 |  | 1469
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 357.4611; 5+6 P4 12: 339.6359; 5+6 P11 19: 82.5279; 5+6 P11/1000 20: 82.2901 | [12 empty] | 52 | 12.45-13.00 | 50.02 | 50.015 | 1482 | 1478.25
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 336.1313; 5+6 P4 12: 400.1278; 5+6 P11 19: 81.4709; 5+6 P11/1000 20: 81.424 | [12 empty] | 53 | 13.00-13.15 | 50.05 |  | 1453
[8 empty] | Gross Gen. |  | Aux. | Net gen.
|  |  | Gross Swara Kuddu generation |  |  |  | 8: 693.75; 5+6 P1 9: MWh; 5+6 P2 10: 7.415; 5+6 P3 11: 686.335
|  |  | Gross Holi Bajoli generation |  |  |  | 8: 2854.14; 5+6 P1 9: MWh; 5+6 P2 10: 3.278; 5+6 P3 11: 2850.862
|  |  | Gross Malana- ll generation |  |  |  | 8: 1373; 5+6 P1 9: MWh; 5+6 P2 10: 12.308; 5+6 P3 11: 1360.692 | [12 empty] | 54 | 13.15-13.30 | 50.04 |  | 1457
[34 empty] | 55 | 13.30-13.45 | 50.02 |  | 1471
HOURLY LOAD SHEDDING UNDER DIFFERENT CATEGORIES | [6 empty] | 5+6 P1 9: DATE; 5+6 P2 10: 2022-05-14 03:19 | [12 empty] | 56 | 13.45-14.00 | 49.99 | 50.025 | 1493 | 1468.5
LOAD NOT SERVED DUE TO | [33 empty] | 57 | 14.00-14.15 | 50.03 |  | 1500 | bar: 7 to 5+6 P2 10
Hrs | Low Availablity (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) |  | 7: Planned maintenance in distribution system (in MW); 8: Distribution constraints (in MW); 5+6 P1 9: Any other reasion ( to be specfied) (MW); 5+6 P2 10: Total (in MW) | [12 empty] | 58 | 14.15-14.30 | 50.02 |  | 1539
1 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 59 | 14.30-14.45 | 50 |  | 1551
2 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 60 | 14.45-15.00 | 50 | 50.0125 | 1491 | 1520.25
3 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 61 | 15.00-15.15 | 49.99 |  | 1498
4 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 62 | 15.15-15.30 | 49.99 |  | 1506
5 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 63 | 15.30-15.45 | 49.98 |  | 1512
6 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 64 | 15.45-16.00 | 49.94 | 49.975 | 1516 | 1508
7 | 0 | 0 | 0 |  | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 65 | 16.00-16.15 | 49.97 |  | 1503
8 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 66 | 16.15-16.30 | 49.93 |  | 1480
9 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 67 | 16.30-16.45 | 49.98 |  | 1463
10 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 68 | 16.45-17.00 | 50.04 | 49.98 | 1472 | 1479.5
11 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 69 | 17.00-17.15 | 50.06 |  | 1457
12 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 70 | 17.15-17.30 | 50.01 |  | 1447
13 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 71 | 17.30-17.45 | 50.01 |  | 1431
14 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 72 | 17.45-18.00 | 50.02 | 50.025 | 1405 | 1435
15 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 73 | 18.00-18.15 | 50.03 |  | 1359
16 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 74 | 18.15-18.30 | 50.01 |  | 1347
17 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 75 | 18.30-18.45 | 50.04 |  | 1348
18 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 76 | 18.45-19.00 | 50 | 50.02 | 1334 | 1347
19 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 77 | 19.00-19.15 | 49.99 |  | 1329
20 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 78 | 19.15-19.30 | 49.94 |  | 1347
21 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 79 | 19.30-19.45 | 50 |  | 1417
22 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 80 | 19.45-20.00 | 50.03 | 49.99 | 1432 | 1381.25
23 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 81 | 20.00-20.15 | 50.02 |  | 1448
24 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 82 | 20.15-20.30 | 50 |  | 1432
Total | [33 empty] | 83 | 20.30-20.45 | 50.02 |  | 1429
[34 empty] | 84 | 20.45-21.00 | 50.02 | 50.015 | 1420 | 1432.25
[34 empty] | 85 | 21.00-21.15 | 50.02 |  | 1417
[34 empty] | 86 | 21.15-21.30 | 50.02 |  | 1394
[34 empty] | 87 | 21.30-21.45 | 50 |  | 1379
[34 empty] | 88 | 21.45-22.00 | 50.03 | 50.0175 | 1367 | 1389.25
[34 empty] | 89 | 22.00-22.15 | 50 |  | 1341
[34 empty] | 90 | 22.15-22.30 | 50 |  | 1332
[34 empty] | 91 | 22.30-22.45 | 50.02 |  | 1325
[34 empty] | 92 | 22.45-23.00 | 50.02 | 50.01 | 1301 | 1324.75
[34 empty] | 93 | 23.00-23.15 | 50.01 |  | 1299
[34 empty] | 94 | 23.15-23.30 | 50 |  | 1273
[34 empty] | 95 | 23.30-23.45 | 50.02 |  | 1254
[34 empty] | 96 | 23.45-24.00 | 50.02 | 50.0125 | 1256 | 1270.5
[35 empty] | Total | 50.0123 | 50.0123 | 32972.25 | 32972.25
[35 empty] | max | 1570 |  | avg. max | 1544.75
[35 empty] | min | 1107 |  | avg. min | 1120.75
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.