## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2022-05-14
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2022-05-15
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 33208.235 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 1255 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 7436.1 | MWh | MALANA-II | 1455 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1559.29 | [6 empty] | HOLI BAJOLI | 2854 | MWh |  |  |  |  | 1 | 00.00-00.15 | 50.01 |  | 1258.4
|  | Month/Day :- |  |  |  |  | 2022-05-14 | [10 empty] | Min.DEMAND(MW) |  | 1131.21 |  | ACTUAL OWN GENERATION |  |  | 15717.645 | MWh | SWARA KUDDU | 697.8 | MWh |  |  |  |  | 2 | 00.15-00.30 | 50.01 |  | 1241.31
[34 empty] | 3 | 00.30-00.45 | 50.02 |  | 1225.33 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50.03 | 50.0175 | 1221.8 | 1236.71 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 50.04 |  | 1223.18 |  |  |  | MALANA-2 | 69.9975 | 69.8825 | 69.8025 | 70.6075 | 100.7025 | 100.52 | 98.6825 | 44.635 | 44.57 | 44.8 | 44.4725 | 44.7475 | 44.8 | 44.8 | 44.805 | 44.935 | 44.9925 | 44.495 | 44.95 | 44.9775 | 84.8125 | 84.8 | 84.8375 | 84.7 | 1501.325
[34 empty] | 6 | 01.15-01.30 | 50.05 |  | 1213.18 |  |  |  | SWARA KUDDU | 0 | 0 | 0 | 0 | 0 | 0.015 | 47.74 | 74.1475 | 74.15 | 74.15 | 37.305 | 0.105 | 0 | 0 | 0.78 | 65.61 | 74.1025 | 74.1 | 74.095 | 74.095 | 37.0475 | 0.29 | 0 | 0 | 707.7325
[34 empty] | 7 | 01.30-01.45 | 50.07 |  | 1212.55
[34 empty] | 8 | 01.45-02:00 | 50.06 | 50.055 | 1204.86 | 1213.4425
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50.04 |  | 1193.31 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 50.02 |  | 1204.63
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50.05 |  | 1200.11
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.05 | 50.04 | 1237.3 | 1208.8375
1 | 655.8893 | 85.5055 | 330.5893 | 69.9975 | 0 | 118.93 | 1260.9116 | -23.2634 | 1237.6482 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1237.6482 | 1 | 681.8075 | 85.095 | 328.7675 | 1095.67 | 1236.71 | 1258.4 | 1221.8 | 1236.71 | 1236.71 | 1237.6482 | 0 | 13 | 03.00-03.15 | 50.02 |  | 1222.94 |  | 85.095 | 1
2 | 652.2049 | 87.1861 | 330.5717 | 69.8825 | 0 | 118.93 | 1258.7751 | -44.4121 | 1214.363 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1214.363 | 2 | 677.9775 | 86.7675 | 328.75 | 1093.495 | 1213.4425 | 1223.18 | 1204.86 | 1213.4425 | 1213.4425 | 1214.363 | 0 | 14 | 03.15-03.30 | 50.02 |  | 1176.45 |  | 86.7675 | 2
3 | 652.0654 | 82.0966 | 330.5591 | 69.8025 | 0 | 118.93 | 1253.4536 | -43.6991 | 1209.7545 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1209.7545 | 3 | 677.8325 | 81.7025 | 328.7375 | 1088.2725 | 1208.8375 | 1237.3 | 1193.31 | 1208.8375 | 1208.8375 | 1209.7545 | 0 | 15 | 03.30-03.45 | 50.02 |  | 1131.21 |  | 81.7025 | 3
4 | 620.2285 | 81.8856 | 330.5591 | 70.6075 | 0 | 118.93 | 1222.2107 | -91.0007 | 1131.21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1131.21 | 4 | 644.7375 | 81.4925 | 328.7375 | 1054.9675 | 1166.5875 | 1222.94 | 1131.21 | 1131.21 | 1131.21 | 1131.21 | 0 | 16 | 03.45-04.00 | 50 | 50.015 | 1135.75 | 1166.5875 | 81.4925 | 4
5 | 599.7045 | 81.8932 | 324.3046 | 100.7025 | 0 | 118.94 | 1225.5448 | -58.0673 | 1167.4775 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1167.4775 | 5 | 623.4025 | 81.5 | 322.5175 | 1027.42 | 1166.5925 | 1188.04 | 1136.38 | 1166.5925 | 1166.5925 | 1167.4775 | 0 | 17 | 04.00-04.15 | 49.96 |  | 1136.38 |  | 81.5 | 5
6 | 657.0245 | 81.8906 | 330.5666 | 100.52 | 0.015 | 118.93 | 1288.9467 | -14.5532 | 1274.3935 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1274.3935 | 6 | 682.9875 | 81.4975 | 328.745 | 1093.23 | 1273.4275 | 1325.6 | 1223.02 | 1273.4275 | 1273.4275 | 1274.3935 | 0 | 18 | 04.15-04.30 | 50.01 |  | 1165.89 |  | 81.4975 | 6
7 | 703.7217 | 81.8756 | 321.7204 | 98.6825 | 47.74 | 118.96 | 1372.7001 | 14.7216 | 1387.4217 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1387.4217 | 7 | 731.53 | 81.4825 | 319.9475 | 1132.96 | 1386.37 | 1423.14 | 1355.07 | 1386.37 | 1386.37 | 1387.4217 | 0 | 19 | 04.30-04.45 | 50 |  | 1176.06 |  | 81.4825 | 7
8 | 683.0534 | 17.7452 | 325.3001 | 44.635 | 74.1475 | 118.94 | 1263.8212 | 182.1699 | 1445.9911 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1445.9911 | 8 | 710.045 | 17.66 | 323.5075 | 1051.2125 | 1444.895 | 1455.01 | 1424.37 | 1444.895 | 1444.895 | 1445.9911 | 0 | 20 | 04.45-05.00 | 50.01 | 49.995 | 1188.04 | 1166.5925 | 17.66 | 8
9 | 681.6417 | 17.0142 | 330.5013 | 44.57 | 74.15 | 118.94 | 1266.8171 | 222.8696 | 1489.6867 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1489.6867 | 9 | 708.5775 | 16.9325 | 328.68 | 1054.19 | 1488.5575 | 1498.65 | 1475.87 | 1488.5575 | 1488.5575 | 1489.6867 | 0 | 21 | 05.00-05.15 | 50 |  | 1223.02 |  | 16.9325 | 9
10 | 646.3584 | 17.2126 | 303.2637 | 44.8 | 74.15 | 118.94 | 1204.7247 | 354.5653 | 1559.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1559.29 | 10 | 671.9 | 17.13 | 301.5925 | 990.6225 | 1549.085 | 1559.29 | 1529.13 | 1559.29 | 1559.29 | 1559.29 | 0 | 22 | 05.15-05.30 | 50.01 |  | 1247.33 |  | 17.13 | 10
11 | 625.4376 | 17.3081 | 303.06 | 44.4725 | 37.305 | 118.93 | 1146.5133 | 401.0648 | 1547.5781 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1547.5781 | 11 | 650.1525 | 17.225 | 301.39 | 968.7675 | 1546.405 | 1558.57 | 1535.86 | 1546.405 | 1546.405 | 1547.5781 | 0 | 23 | 05.30-05.45 | 50 |  | 1297.76 |  | 17.225 | 11
12 | 620.1203 | 17.5292 | 255.9605 | 44.7475 | 0.105 | 118.9 | 1057.3624 | 487.9389 | 1545.3014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1545.3014 | 12 | 644.625 | 17.445 | 254.55 | 916.62 | 1544.13 | 1556.51 | 1527.7 | 1544.13 | 1544.13 | 1545.3014 | 0 | 24 | 05.45-06.00 | 50.02 | 50.0075 | 1325.6 | 1273.4275 | 17.445 | 12
13 | 587.824 | 17.5693 | 232.0789 | 44.8 | 0 | 118.91 | 1001.1822 | 489.0774 | 1490.2596 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1490.2596 | 13 | 611.0525 | 17.485 | 230.8 | 859.3375 | 1489.13 | 1518.59 | 1460.12 | 1489.13 | 1489.13 | 1490.2596 | 0 | 25 | 06.00-06.15 | 50.04 |  | 1355.07 |  | 17.485 | 13
14 | 589.1155 | 37.4774 | 260.6312 | 44.8 | 0 | 118.94 | 1050.9641 | 402.2024 | 1453.1665 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1453.1665 | 14 | 612.395 | 37.2975 | 259.195 | 908.8875 | 1452.065 | 1479.83 | 1420.36 | 1452.065 | 1452.065 | 1453.1665 | 0 | 26 | 06.15-06.30 | 50.05 |  | 1374.92 |  | 37.2975 | 14
15 | 632.1475 | 39.8111 | 270.5459 | 44.805 | 0.78 | 118.94 | 1107.0295 | 408.3692 | 1515.3987 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1515.3987 | 15 | 657.1275 | 39.62 | 269.055 | 965.8025 | 1514.25 | 1534 | 1468 | 1514.25 | 1514.25 | 1515.3987 | 0 | 27 | 06.30-06.45 | 50.07 |  | 1392.35 |  | 39.62 | 15
16 | 661.5193 | 39.786 | 285.9131 | 44.935 | 65.61 | 118.93 | 1216.6934 | 322.7235 | 1539.4169 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1539.4169 | 16 | 687.66 | 39.595 | 284.3375 | 1011.5925 | 1538.25 | 1552 | 1522 | 1538.25 | 1538.25 | 1539.4169 | 0 | 28 | 06.45-07.00 | 50.13 | 50.0725 | 1423.14 | 1386.37 | 39.595 | 16
17 | 649.949 | 39.7408 | 283.2635 | 44.9925 | 74.1025 | 118.91 | 1210.9583 | 307.1925 | 1518.1508 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1518.1508 | 17 | 675.6325 | 39.55 | 281.7025 | 996.885 | 1517 | 1531 | 1496 | 1517 | 1517 | 1518.1508 | 0 | 29 | 07.00-07.15 | 50.14 |  | 1424.37 |  | 39.55 | 17
18 | 614.685 | 47.0961 | 304.2114 | 44.495 | 74.1 | 118.91 | 1203.4975 | 218.5804 | 1422.078 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1422.078 | 18 | 638.975 | 46.87 | 302.535 | 988.38 | 1421 | 1472 | 1372 | 1421 | 1421 | 1422.078 | 0 | 30 | 07.15-07.30 | 50.06 |  | 1448.12 |  | 46.87 | 18
19 | 580.876 | 47.9351 | 330.3957 | 44.95 | 74.095 | 118.91 | 1197.1619 | 144.6052 | 1341.7671 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1341.7671 | 19 | 603.83 | 47.705 | 328.575 | 980.11 | 1340.75 | 1348 | 1335 | 1340.75 | 1340.75 | 1341.7671 | 0 | 31 | 07.30-07.45 | 50.04 |  | 1452.08 |  | 47.705 | 19
20 | 667.2047 | 47.9276 | 330.5465 | 44.9775 | 74.095 | 118.91 | 1283.6613 | 72.1164 | 1355.7777 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1355.7777 | 20 | 693.57 | 47.6975 | 328.725 | 1069.9925 | 1354.75 | 1393 | 1319 | 1354.75 | 1354.75 | 1355.7777 | 0 | 32 | 07.45-08.00 | 50.08 | 50.08 | 1455.01 | 1444.895 | 47.6975 | 20
21 | 710.6191 | 66.1124 | 330.3354 | 84.8125 | 37.0475 | 118.9 | 1347.8268 | 51.734 | 1399.5609 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1399.5609 | 21 | 738.7 | 65.795 | 328.515 | 1133.01 | 1398.5 | 1411 | 1378 | 1398.5 | 1398.5 | 1399.5609 | 0 | 33 | 08.00-08.15 | 50.13 |  | 1475.87 |  | 65.795 | 21
22 | 740.6114 | 67.4563 | 330.461 | 84.8 | 0.29 | 118.91 | 1342.5288 | 6.2436 | 1348.7724 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1348.7724 | 22 | 769.8775 | 67.1325 | 328.64 | 1165.65 | 1347.75 | 1353 | 1338 | 1347.75 | 1347.75 | 1348.7724 | 0 | 34 | 08.15-08.30 | 50.13 |  | 1492.88 |  | 67.1325 | 22
23 | 744.5748 | 67.489 | 330.3555 | 84.8375 | 0 | 118.9 | 1346.1568 | -12.1456 | 1334.0112 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1334.0112 | 23 | 773.9975 | 67.165 | 328.535 | 1169.6975 | 1333 | 1341 | 1323 | 1333 | 1333 | 1334.0112 | 0 | 35 | 08.30-08.45 | 50.07 |  | 1498.65 |  | 67.165 | 23
24 | 741.0684 | 67.4563 | 330.4057 | 84.7 | 0 | 118.91 | 1342.5405 | -64.8219 | 1277.7185 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1277.7185 | 24 | 770.3525 | 67.1325 | 328.585 | 1166.07 | 1276.75 | 1297 | 1244 | 1276.75 | 1276.75 | 1277.7185 | 0 | 36 | 08.45-09.00 | 50.06 | 50.0975 | 1486.83 | 1488.5575 | 67.1325 | 24
[34 empty] | 37 | 09.00-09.15 | 50.06 |  | 1529.13
TOTAL (in MWh) | 15717.645 | 1255 | 7436.1 | 1501.325 | 707.7325 | 2854.18 | 29471.9825 | 3734.2115 | 33206.194 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33206.194 | TOTAL | 16338.745 | 1248.975 | 7395.1225 | 24982.8425 | 33208.235 |  |  | 33183.0625 | 33183.0625 | 33206.194 | 0 | 38 | 09.15-09.30 | 50.06 |  | 1556.86
[34 empty] | 39 | 09.30-09.45 | 50.08 |  | 1559.29
[34 empty] | 40 | 09.45-10.00 | 50.07 | 50.0675 | 1551.06 | 1549.085
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 50.0218; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 50.07 |  | 1558.57
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1559.29; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 50.06 |  | 1541.43
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1559.29; 5+6 P6 14: MW | MAX = | 1559.29 | [10 empty] | 43 | 10.30-10.45 | 50.1 |  | 1549.76
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 1131.21; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 1131.21 | [10 empty] | 44 | 10.45-11.00 | 50.04 | 50.0675 | 1535.86 | 1546.405
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 15717.645; 5+6 P6 14: MWH; 5+6 P11 19: 33.783; 5+6 P11/1000 20: 15683.862 | [12 empty] | 45 | 11.00-11.15 | 50.01 |  | 1556.51
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 7436.1; 5+6 P6 14: MWH; 5+6 P11 19: 7.86; 5+6 P11/1000 20: 7428.24 | [12 empty] | 46 | 11.15-11.30 | 49.98 |  | 1551.41
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 1255; 5+6 P6 14: MWH; 5+6 P11 19: 7.408; 5+6 P11/1000 20: 1247.592 | [12 empty] | 47 | 11.30-11.45 | 49.97 |  | 1540.9
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 81.7025; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 50.02 | 49.995 | 1527.7 | 1544.13
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 67.1325; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 50.01 |  | 1518.59
|  |  | Max.generation of Malana at 200 Hrs. |  |  |  | 5+6 P4 12: 86.7675; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 49.99 |  | 1496.6
[10 empty] | Off Peak Hrs MW |  | Peak Hrs MW | [6 empty] | Gross Lus | Net Lus
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 637.544; 5+6 P4 12: 669.5426; 5+6 P11 19: 157.1765; 5+6 P11/1000 20: 156.8386 | [12 empty] | 51 | 12.30-12.45 | 49.97 |  | 1481.21
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 363.859; 5+6 P4 12: 279.512; 5+6 P11 19: 79.9695; 5+6 P11/1000 20: 79.68 | [12 empty] | 52 | 12.45-13.00 | 50.02 | 49.9975 | 1460.12 | 1489.13
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 273.685; 5+6 P4 12: 390.0306; 5+6 P11 19: 77.207; 5+6 P11/1000 20: 77.1587 | [12 empty] | 53 | 13.00-13.15 | 50.02 |  | 1440.71
[8 empty] | Gross Gen. |  | Aux. | Net gen.
|  |  | Gross Swara Kuddu generation |  |  |  | 8: 707.7325; 5+6 P1 9: MWh; 5+6 P2 10: 7.408; 5+6 P3 11: 700.3245
|  |  | Gross Holi Bajoli generation |  |  |  | 8: 2854.18; 5+6 P1 9: MWh; 5+6 P2 10: 3.278; 5+6 P3 11: 2850.902
|  |  | Gross Malana- ll generation |  |  |  | 8: 1501.325; 5+6 P1 9: MWh; 5+6 P2 10: 1.745; 5+6 P3 11: 1499.58 | [12 empty] | 54 | 13.15-13.30 | 50.03 |  | 1420.36
[34 empty] | 55 | 13.30-13.45 | 50.04 |  | 1467.36
HOURLY LOAD SHEDDING UNDER DIFFERENT CATEGORIES | [6 empty] | 5+6 P1 9: DATE; 5+6 P2 10: 2022-05-15 04:52 | [12 empty] | 56 | 13.45-14.00 | 50.01 | 50.025 | 1479.83 | 1452.065
LOAD NOT SERVED DUE TO | [33 empty] | 57 | 14.00-14.15 | 50.01 |  | 1468 | bar: 7 to 5+6 P2 10
Hrs | Low Availablity (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) |  | 7: Planned maintenance in distribution system (in MW); 8: Distribution constraints (in MW); 5+6 P1 9: Any other reasion ( to be specfied) (MW); 5+6 P2 10: Total (in MW) | [12 empty] | 58 | 14.15-14.30 | 49.97 |  | 1521
1 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 59 | 14.30-14.45 | 49.96 |  | 1534
2 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 60 | 14.45-15.00 | 49.9 | 49.96 | 1534 | 1514.25
3 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 61 | 15.00-15.15 | 50.02 |  | 1552
4 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 62 | 15.15-15.30 | 50.01 |  | 1549
5 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 63 | 15.30-15.45 | 49.99 |  | 1530
6 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 64 | 15.45-16.00 | 50 | 50.005 | 1522 | 1538.25
7 | 0 | 0 | 0 |  | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 65 | 16.00-16.15 | 50.07 |  | 1531
8 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 66 | 16.15-16.30 | 50.02 |  | 1526
9 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 67 | 16.30-16.45 | 50.02 |  | 1515
10 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 68 | 16.45-17.00 | 50.04 | 50.0375 | 1496 | 1517
11 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 69 | 17.00-17.15 | 50.06 |  | 1472
12 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 70 | 17.15-17.30 | 50.05 |  | 1441
13 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 71 | 17.30-17.45 | 50.05 |  | 1399
14 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 72 | 17.45-18.00 | 50.03 | 50.0475 | 1372 | 1421
15 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 73 | 18.00-18.15 | 50.1 |  | 1343
16 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 74 | 18.15-18.30 | 50.05 |  | 1348
17 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 75 | 18.30-18.45 | 50.04 |  | 1337
18 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 76 | 18.45-19.00 | 50.03 | 50.055 | 1335 | 1340.75
19 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 77 | 19.00-19.15 | 50.05 |  | 1319
20 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 78 | 19.15-19.30 | 50.03 |  | 1339
21 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 79 | 19.30-19.45 | 50 |  | 1368
22 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 80 | 19.45-20.00 | 50.02 | 50.025 | 1393 | 1354.75
23 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 81 | 20.00-20.15 | 50.02 |  | 1402
24 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 82 | 20.15-20.30 | 50.01 |  | 1411
Total | [33 empty] | 83 | 20.30-20.45 | 50 |  | 1403
[34 empty] | 84 | 20.45-21.00 | 50.01 | 50.01 | 1378 | 1398.5
[34 empty] | 85 | 21.00-21.15 | 49.99 |  | 1352
[34 empty] | 86 | 21.15-21.30 | 50 |  | 1353
[34 empty] | 87 | 21.30-21.45 | 50 |  | 1338
[34 empty] | 88 | 21.45-22.00 | 50 | 49.9975 | 1348 | 1347.75
[34 empty] | 89 | 22.00-22.15 | 49.89 |  | 1339
[34 empty] | 90 | 22.15-22.30 | 49.88 |  | 1341
[34 empty] | 91 | 22.30-22.45 | 49.82 |  | 1329
[34 empty] | 92 | 22.45-23.00 | 49.87 | 49.865 | 1323 | 1333
[34 empty] | 93 | 23.00-23.15 | 49.97 |  | 1293
[34 empty] | 94 | 23.15-23.30 | 49.99 |  | 1297
[34 empty] | 95 | 23.30-23.45 | 49.98 |  | 1273
[34 empty] | 96 | 23.45-24.00 | 50.01 | 49.9875 | 1244 | 1276.75
[35 empty] | Total | 50.0218 | 50.0218 | 33208.235 | 33208.235
[35 empty] | max | 1559.29 |  | avg. max | 1549.085
[35 empty] | min | 1131.21 |  | avg. min | 1166.5875
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.