## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2022-05-15
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2022-05-16
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 30635 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 1359 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 7934 | MWh | MALANA-II | 1571 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1403 | [6 empty] | HOLI BAJOLI | 2854 | MWh |  |  |  |  | 1 | 00.00-00.15 | 49.99 |  | 1216
|  | Month/Day :- |  |  |  |  | 2022-05-15 | [10 empty] | Min.DEMAND(MW) |  | 1155 |  | ACTUAL OWN GENERATION |  |  | 15272.62 | MWh | SWARA KUDDU | 697.8 | MWh |  |  |  |  | 2 | 00.15-00.30 | 49.99 |  | 1233
[34 empty] | 3 | 00.30-00.45 | 50 |  | 1236 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50.01 | 49.9975 | 1217 | 1225.5 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 50 |  | 1219 |  |  |  | MALANA-2 | 74.905 | 74.925 | 74.885 | 75.4 | 100.855 | 100.735 | 100.4875 | 49.1925 | 49.2075 | 49.6875 | 49.6175 | 49.73 | 49.8925 | 49.6775 | 49.8275 | 49.865 | 49.92 | 49.53 | 69.4275 | 69.7325 | 70.14 | 70.03 | 69.8125 | 69.79 | 1567.2725
[34 empty] | 6 | 01.15-01.30 | 50.01 |  | 1214 |  |  |  | SWARA KUDDU | 0 | 0 | 0 | 0 | 0 | 19.4225 | 56.4775 | 74.05 | 74.05 | 74.0525 | 38.0325 | 0 | 0 | 0 | 0.8425 | 64.1375 | 71.6975 | 74.0975 | 67.0825 | 48.265 | 37.0475 | 0.3075 | 0 | 0 | 699.5625
[34 empty] | 7 | 01.30-01.45 | 50 |  | 1212
[34 empty] | 8 | 01.45-02:00 | 50.01 | 50.005 | 1201 | 1211.5
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.99 |  | 1189 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 50 |  | 1185
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.99 |  | 1178
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.01 | 49.9975 | 1183 | 1183.75
1 | 579.8555 | 86.5742 | 330.5957 | 74.905 | 0 | 118.94 | 1190.8704 | 36.8237 | 1227.6941 | 0 | 0 | 0 | 0 | 0 | 6.0667 | 0 | 0 | 0 | 6.0667 | 0.0060667 | 1233.7608 | 1 | 600.65 | 86.675 | 328.6475 | 1015.9725 | 1225.5 | 1236 | 1216 | 1225.5 | 1225.5 | 1227.6941 | 6.0667 | 13 | 03.00-03.15 | 50.02 |  | 1168 |  | 86.675 | 1
2 | 603.0729 | 86.9438 | 330.5404 | 74.925 | 0 | 118.94 | 1214.422 | -0.75296 | 1213.669 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 7 | 0.007 | 1220.669 | 2 | 624.7 | 87.045 | 328.5925 | 1040.3375 | 1211.5 | 1219 | 1201 | 1211.5 | 1211.5 | 1213.669 | 7 | 14 | 03.15-03.30 | 50.02 |  | 1163 |  | 87.045 | 2
3 | 623.6017 | 86.9388 | 330.5253 | 74.885 | 0 | 118.93 | 1234.8807 | -49.0114 | 1185.8694 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 7 | 0.007 | 1192.8694 | 3 | 645.965 | 87.04 | 328.5775 | 1061.5825 | 1183.75 | 1189 | 1178 | 1183.75 | 1183.75 | 1185.8694 | 7 | 15 | 03.30-03.45 | 50.01 |  | 1156 |  | 87.04 | 3
4 | 631.2016 | 86.9737 | 330.5756 | 75.4 | 0 | 118.94 | 1243.0909 | -78.7601 | 1164.3309 | 0 | 0 | 0 | 0 | 0 | 2.9167 | 0 | 0 | 0 | 2.9167 | 0.0029167 | 1167.2475 | 4 | 653.8375 | 87.075 | 328.6275 | 1069.54 | 1162.25 | 1168 | 1156 | 1162.25 | 1162.25 | 1164.3309 | 2.9167 | 16 | 03.45-04.00 | 50.01 | 50.015 | 1162 | 1162.25 | 87.075 | 4
5 | 627.678 | 86.9438 | 330.5731 | 100.855 | 0 | 118.91 | 1264.9598 | -91.8633 | 1173.0965 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1173.0965 | 5 | 650.1875 | 87.045 | 328.625 | 1065.8575 | 1171 | 1180 | 1163 | 1171 | 1171 | 1173.0965 | 0 | 17 | 04.00-04.15 | 50 |  | 1163 |  | 87.045 | 5
6 | 635.9296 | 86.9537 | 330.5907 | 100.735 | 19.4225 | 118.94 | 1292.5715 | -49.0992 | 1243.4723 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1243.4723 | 6 | 658.735 | 87.055 | 328.6425 | 1074.4325 | 1241.25 | 1265 | 1219 | 1241.25 | 1241.25 | 1243.4723 | 0 | 18 | 04.15-04.30 | 50.02 |  | 1172 |  | 87.055 | 6
7 | 657.6892 | 86.9313 | 330.5379 | 100.4875 | 56.4775 | 118.93 | 1351.0534 | -23.6811 | 1327.3722 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1327.3722 | 7 | 681.275 | 87.0325 | 328.59 | 1096.8975 | 1325 | 1343 | 1314 | 1325 | 1325 | 1327.3722 | 0 | 19 | 04.30-04.45 | 50 |  | 1169 |  | 87.0325 | 7
8 | 648.9381 | 24.5664 | 330.6938 | 49.1925 | 74.05 | 118.93 | 1246.3707 | 101.2878 | 1347.6585 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1347.6585 | 8 | 672.21 | 24.595 | 328.745 | 1025.55 | 1345.25 | 1368 | 1329 | 1345.25 | 1345.25 | 1347.6585 | 0 | 20 | 04.45-05.00 | 50.01 | 50.0075 | 1180 | 1171 | 24.595 | 8
9 | 624.9484 | 17.3198 | 330.6234 | 49.2075 | 74.05 | 118.93 | 1215.0791 | 147.8567 | 1362.9358 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1362.9358 | 9 | 647.36 | 17.34 | 328.675 | 993.375 | 1360.5 | 1379 | 1337 | 1360.5 | 1360.5 | 1362.9358 | 0 | 21 | 05.00-05.15 | 49.99 |  | 1219 |  | 17.34 | 9
10 | 613.9382 | 17.205 | 330.563 | 49.6875 | 74.0525 | 118.93 | 1204.3762 | 192.8709 | 1397.2471 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1397.2471 | 10 | 635.955 | 17.225 | 328.615 | 981.795 | 1394.75 | 1401 | 1386 | 1394.75 | 1394.75 | 1397.2471 | 0 | 22 | 05.15-05.30 | 49.99 |  | 1224 |  | 17.225 | 10
11 | 633.4823 | 17.2 | 330.5605 | 49.6175 | 38.0325 | 118.93 | 1187.8228 | 215.1772 | 1403 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1403 | 11 | 656.2 | 17.22 | 328.6125 | 1002.0325 | 1389 | 1403 | 1370 | 1403 | 1403 | 1403 | 0 | 23 | 05.30-05.45 | 49.99 |  | 1257 |  | 17.22 | 11
12 | 668.6535 | 17.205 | 330.6686 | 49.73 | 0 | 118.94 | 1185.1971 | 190.5115 | 1375.7086 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1375.7086 | 12 | 692.6325 | 17.225 | 328.72 | 1038.5775 | 1373.25 | 1392 | 1354 | 1373.25 | 1373.25 | 1375.7086 | 0 | 24 | 05.45-06.00 | 50.02 | 49.9975 | 1265 | 1241.25 | 17.225 | 12
13 | 634.2619 | 17.642 | 330.6435 | 49.8925 | 0 | 118.94 | 1151.3798 | 199.5345 | 1350.9143 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1350.9143 | 13 | 657.0075 | 17.6625 | 328.695 | 1003.365 | 1348.5 | 1354 | 1343 | 1348.5 | 1348.5 | 1350.9143 | 0 | 25 | 06.00-06.15 | 50.01 |  | 1314 |  | 17.6625 | 13
14 | 598.2701 | 44.3509 | 330.6661 | 49.6775 | 0 | 118.93 | 1141.8946 | 168.6977 | 1310.5923 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1310.5923 | 14 | 619.725 | 44.4025 | 328.7175 | 992.845 | 1308.25 | 1319 | 1298 | 1308.25 | 1308.25 | 1310.5923 | 0 | 26 | 06.15-06.30 | 50.02 |  | 1343 |  | 44.4025 | 14
15 | 550.9013 | 47.6171 | 330.6913 | 49.8275 | 0.8425 | 118.96 | 1098.8396 | 228.0317 | 1326.8713 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1326.8713 | 15 | 570.6575 | 47.6725 | 328.7425 | 947.0725 | 1324.5 | 1339 | 1299 | 1324.5 | 1324.5 | 1326.8713 | 0 | 27 | 06.30-06.45 | 50.01 |  | 1315 |  | 47.6725 | 15
16 | 565.3048 | 47.3274 | 330.5882 | 49.865 | 64.1375 | 118.94 | 1176.1628 | 146.4509 | 1322.6137 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1322.6137 | 16 | 585.5775 | 47.3825 | 328.64 | 961.6 | 1320.25 | 1326 | 1312 | 1320.25 | 1320.25 | 1322.6137 | 0 | 28 | 06.45-07.00 | 50.02 | 50.015 | 1328 | 1325 | 47.3825 | 16
17 | 615.2801 | 46.9279 | 330.5152 | 49.92 | 71.6975 | 118.94 | 1233.2807 | 66.0414 | 1299.3221 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1299.3221 | 17 | 637.345 | 46.9825 | 328.5675 | 1012.895 | 1297 | 1312 | 1277 | 1297 | 1297 | 1299.3221 | 0 | 29 | 07.00-07.15 | 50.03 |  | 1368 |  | 46.9825 | 17
18 | 656.2725 | 46.8704 | 330.568 | 49.53 | 74.0975 | 118.91 | 1276.2485 | -45.0481 | 1231.2004 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1231.2004 | 18 | 679.8075 | 46.925 | 328.62 | 1055.3525 | 1229 | 1249 | 1208 | 1229 | 1229 | 1231.2004 | 0 | 30 | 07.15-07.30 | 50.05 |  | 1352 |  | 46.925 | 18
19 | 677.2309 | 46.8829 | 330.5605 | 69.4275 | 67.0825 | 118.91 | 1310.0943 | -131.9889 | 1178.1055 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1178.1055 | 19 | 701.5175 | 46.9375 | 328.6125 | 1077.0675 | 1176 | 1194 | 1160 | 1176 | 1176 | 1178.1055 | 0 | 31 | 07.30-07.45 | 50.06 |  | 1332 |  | 46.9375 | 19
20 | 716.8646 | 73.5968 | 330.641 | 69.7325 | 48.265 | 118.91 | 1358.0099 | -203.0099 | 1155 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1155 | 20 | 742.5725 | 73.6825 | 328.6925 | 1144.9475 | 1223.75 | 1289 | 1155 | 1155 | 1155 | 1155 | 0 | 32 | 07.45-08.00 | 50.12 | 50.065 | 1329 | 1345.25 | 73.6825 | 20
21 | 626.6064 | 75.7718 | 330.5479 | 70.14 | 37.0475 | 118.91 | 1259.0236 | 50.5669 | 1309.5905 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1309.5905 | 21 | 649.0775 | 75.86 | 328.6 | 1053.5375 | 1307.25 | 1336 | 1284 | 1307.25 | 1307.25 | 1309.5905 | 0 | 33 | 08.00-08.15 | 50.16 |  | 1337 |  | 75.86 | 21
22 | 678.1239 | 75.9466 | 330.5504 | 70.03 | 0.3075 | 118.91 | 1273.8684 | -10.8612 | 1263.0072 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1263.0072 | 22 | 702.4425 | 76.035 | 328.6025 | 1107.08 | 1260.75 | 1270 | 1240 | 1260.75 | 1260.75 | 1263.0072 | 0 | 34 | 08.15-08.30 | 50.11 |  | 1357 |  | 76.035 | 22
23 | 701.6382 | 66.1205 | 330.5152 | 69.8125 | 0 | 118.91 | 1286.9964 | -27.4954 | 1259.5009 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1259.5009 | 23 | 726.8 | 66.1975 | 328.5675 | 1121.565 | 1257.25 | 1266 | 1250 | 1257.25 | 1257.25 | 1259.5009 | 0 | 35 | 08.30-08.45 | 50.12 |  | 1369 |  | 66.1975 | 23
24 | 702.8763 | 68.1906 | 330.4649 | 69.79 | 0 | 118.91 | 1290.2318 | -88.5842 | 1201.6476 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1201.6476 | 24 | 728.0825 | 68.27 | 328.5175 | 1124.87 | 1199.5 | 1221 | 1171 | 1199.5 | 1199.5 | 1201.6476 | 0 | 36 | 08.45-09.00 | 50.08 | 50.1175 | 1379 | 1360.5 | 68.27 | 24
[34 empty] | 37 | 09.00-09.15 | 50.08 |  | 1386
TOTAL (in MWh) | 15272.62 | 1359 | 7934 | 1567.2725 | 699.5625 | 2854.27 | 29686.725 | 943.6952 | 30630.4202 | 0 | 0 | 0 | 0 | 0 | 22.9833 | 0 | 0 | 0 | 22.9833 | 22.9833 | 30653.4036 | TOTAL | 15820.32 | 1360.5825 | 7887.245 | 25068.1475 | 30635 |  |  | 30580.25 | 30580.25 | 30630.4202 | 22.9833 | 38 | 09.15-09.30 | 50.08 |  | 1401
[34 empty] | 39 | 09.30-09.45 | 50.1 |  | 1401
[34 empty] | 40 | 09.45-10.00 | 50.15 | 50.1025 | 1391 | 1394.75
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 50.02; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 50.11 |  | 1399
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1403; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 50.06 |  | 1403
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1403; 5+6 P6 14: MW | MAX = | 1403 | [10 empty] | 43 | 10.30-10.45 | 50.02 |  | 1384
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 1155; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 1155 | [10 empty] | 44 | 10.45-11.00 | 50.03 | 50.055 | 1370 | 1389
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 15272.62; 5+6 P6 14: MWH; 5+6 P11 19: 26.489; 5+6 P11/1000 20: 15246.131 | [12 empty] | 45 | 11.00-11.15 | 50.01 |  | 1385
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 7934; 5+6 P6 14: MWH; 5+6 P11 19: 7.89; 5+6 P11/1000 20: 7926.11 | [12 empty] | 46 | 11.15-11.30 | 50.01 |  | 1392
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 1359; 5+6 P6 14: MWH; 5+6 P11 19: 7.408; 5+6 P11/1000 20: 1351.592 | [12 empty] | 47 | 11.30-11.45 | 50 |  | 1362
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 87.04; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 50 | 50.005 | 1354 | 1373.25
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 68.27; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 49.99 |  | 1354
|  |  | Max.generation of Malana at 400 Hrs. |  |  |  | 5+6 P4 12: 87.075; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 49.98 |  | 1353
[10 empty] | Off Peak Hrs MW |  | Peak Hrs MW | [6 empty] | Gross Lus | Net Lus
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 611.6877; 5+6 P4 12: 752.6325; 5+6 P11 19: 152.7262; 5+6 P11/1000 20: 152.4613 | [12 empty] | 51 | 12.30-12.45 | 50 |  | 1344
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 326.3173; 5+6 P4 12: 337.2444; 5+6 P11 19: 73.8312; 5+6 P11/1000 20: 73.6184 | [12 empty] | 52 | 12.45-13.00 | 50.01 | 49.995 | 1343 | 1348.5
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 285.3703; 5+6 P4 12: 415.388; 5+6 P11 19: 78.895; 5+6 P11/1000 20: 78.8429 | [12 empty] | 53 | 13.00-13.15 | 50.02 |  | 1305
[8 empty] | Gross Gen. |  | Aux. | Net gen.
|  |  | Gross Swara Kuddu generation |  |  |  | 8: 699.5625; 5+6 P1 9: MWh; 5+6 P2 10: 7.408; 5+6 P3 11: 692.1545
|  |  | Gross Holi Bajoli generation |  |  |  | 8: 2854.27; 5+6 P1 9: MWh; 5+6 P2 10: 3.278; 5+6 P3 11: 2850.992
|  |  | Gross Malana- ll generation |  |  |  | 8: 1567.2725; 5+6 P1 9: MWh; 5+6 P2 10: 1.992; 5+6 P3 11: 1565.2805 | [12 empty] | 54 | 13.15-13.30 | 49.99 |  | 1319
[34 empty] | 55 | 13.30-13.45 | 49.98 |  | 1311
HOURLY LOAD SHEDDING UNDER DIFFERENT CATEGORIES | [6 empty] | 5+6 P1 9: DATE; 5+6 P2 10: 2022-05-16 03:59 | [12 empty] | 56 | 13.45-14.00 | 49.98 | 49.9925 | 1298 | 1308.25
LOAD NOT SERVED DUE TO | [33 empty] | 57 | 14.00-14.15 | 49.93 |  | 1299 | bar: 7 to 5+6 P2 10
Hrs | Low Availablity (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) |  | 7: Planned maintenance in distribution system (in MW); 8: Distribution constraints (in MW); 5+6 P1 9: Any other reasion ( to be specfied) (MW); 5+6 P2 10: Total (in MW) | [12 empty] | 58 | 14.15-14.30 | 49.87 |  | 1325
1 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 59 | 14.30-14.45 | 49.96 |  | 1339
2 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 60 | 14.45-15.00 | 49.98 | 49.935 | 1335 | 1324.5
3 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 61 | 15.00-15.15 | 50.01 |  | 1326
4 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 62 | 15.15-15.30 | 50 |  | 1323
5 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 63 | 15.30-15.45 | 50.01 |  | 1320
6 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 64 | 15.45-16.00 | 50.01 | 50.0075 | 1312 | 1320.25
7 | 0 | 0 | 0 |  | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 65 | 16.00-16.15 | 50.06 |  | 1312
8 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 66 | 16.15-16.30 | 50.04 |  | 1302
9 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 67 | 16.30-16.45 | 50.03 |  | 1297
10 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 68 | 16.45-17.00 | 50.02 | 50.0375 | 1277 | 1297
11 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 69 | 17.00-17.15 | 50.11 |  | 1249
12 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 70 | 17.15-17.30 | 50.08 |  | 1245
13 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 71 | 17.30-17.45 | 50.12 |  | 1214
14 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 72 | 17.45-18.00 | 50.07 | 50.095 | 1208 | 1229
15 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 73 | 18.00-18.15 | 50.1 |  | 1194
16 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 74 | 18.15-18.30 | 50.07 |  | 1181
17 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 75 | 18.30-18.45 | 50.07 |  | 1160
18 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 76 | 18.45-19.00 | 50.02 | 50.065 | 1169 | 1176
19 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 77 | 19.00-19.15 | 50.01 |  | 1155
20 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 78 | 19.15-19.30 | 50.01 |  | 1201
21 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 79 | 19.30-19.45 | 49.99 |  | 1250
22 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 80 | 19.45-20.00 | 49.98 | 49.9975 | 1289 | 1223.75
23 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 81 | 20.00-20.15 | 49.98 |  | 1299
24 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 82 | 20.15-20.30 | 49.72 |  | 1336
Total | [33 empty] | 83 | 20.30-20.45 | 49.85 |  | 1310
[34 empty] | 84 | 20.45-21.00 | 49.77 | 49.83 | 1284 | 1307.25
[34 empty] | 85 | 21.00-21.15 | 49.92 |  | 1268
[34 empty] | 86 | 21.15-21.30 | 50.02 |  | 1265
[34 empty] | 87 | 21.30-21.45 | 49.99 |  | 1240
[34 empty] | 88 | 21.45-22.00 | 50.04 | 49.9925 | 1270 | 1260.75
[34 empty] | 89 | 22.00-22.15 | 50.02 |  | 1254
[34 empty] | 90 | 22.15-22.30 | 50.04 |  | 1259
[34 empty] | 91 | 22.30-22.45 | 50.08 |  | 1266
[34 empty] | 92 | 22.45-23.00 | 50.08 | 50.055 | 1250 | 1257.25
[34 empty] | 93 | 23.00-23.15 | 50.06 |  | 1221
[34 empty] | 94 | 23.15-23.30 | 50.09 |  | 1214
[34 empty] | 95 | 23.30-23.45 | 50.09 |  | 1192
[34 empty] | 96 | 23.45-24.00 | 50.15 | 50.0975 | 1171 | 1199.5
[35 empty] | Total | 50.02 | 50.02 | 30635 | 30635
[35 empty] | max | 1403 |  | avg. max | 1394.75
[35 empty] | min | 1155 |  | avg. min | 1162.25
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.