## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2022-05-17
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2022-05-18
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 32995.5 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 926 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 6285.4 | MWh | MALANA-II | 926 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1559 | [6 empty] | HOLI BAJOLI | 2798 | MWh |  |  |  |  | 1 | 00.00-00.15 | 50.01 |  | 1183
|  | Month/Day :- |  |  |  |  | 2022-05-17 | [10 empty] | Min.DEMAND(MW) |  | 1115 |  | ACTUAL OWN GENERATION |  |  | 15188.7075 | MWh | SWARA KUDDU | 795 | MWh |  |  |  |  | 2 | 00.15-00.30 | 50 |  | 1181
[34 empty] | 3 | 00.30-00.45 | 50 |  | 1184 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50.01 | 50.005 | 1170 | 1179.5 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 50 |  | 1186 |  |  |  | MALANA-2 | 40 | 40 | 40 | 40.75 | 101.25 | 100.25 | 99.5 | 38.5 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 24.945 | 24.9825 | 24.96 | 24.96 | 1080.0975
[34 empty] | 6 | 01.15-01.30 | 49.96 |  | 1174 |  |  |  | SWARA KUDDU | 0 | 0 | 0 | 0 | 1 | 37.75 | 74 | 74 | 74 | 74 | 50.75 | 0 | 0 | 0 | 0.75 | 65.5 | 65 | 74 | 74 | 74 | 55.8 | 0.2975 | 0 | 0 | 794.8475
[34 empty] | 7 | 01.30-01.45 | 49.98 |  | 1170
[34 empty] | 8 | 01.45-02:00 | 50.02 | 49.99 | 1144 | 1168.5
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.96 |  | 1123 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 49.96 |  | 1151
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.93 |  | 1126
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 49.97 | 49.955 | 1128 | 1132
1 | 575.9179 | 12.2121 | 330.8995 | 40 | 0 | 119.33 | 1078.3595 | 101.069 | 1179.4285 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1179.4285 | 1 | 600.4975 | 12.25 | 329 | 941.7475 | 1179.5 | 1184 | 1170 | 1179.5 | 1179.5 | 1179.4285 | 0 | 13 | 03.00-03.15 | 50.01 |  | 1132 |  | 12.25 | 1
2 | 590.0642 | 10.966 | 330.8995 | 40 | 0 | 119.33 | 1091.2596 | 77.1696 | 1168.4292 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1168.4292 | 2 | 615.2475 | 11 | 329 | 955.2475 | 1168.5 | 1186 | 1144 | 1168.5 | 1168.5 | 1168.4292 | 0 | 14 | 03.15-03.30 | 49.99 |  | 1137 |  | 11 | 2
3 | 595.459 | 42.1192 | 299.7205 | 40 | 0 | 119.31 | 1096.6087 | 35.3227 | 1131.9314 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1131.9314 | 3 | 620.8725 | 42.25 | 298 | 961.1225 | 1132 | 1151 | 1123 | 1132 | 1132 | 1131.9314 | 0 | 15 | 03.30-03.45 | 50 |  | 1134 |  | 42.25 | 3
4 | 629.8655 | 47.6022 | 280.6108 | 40.75 | 0 | 119.15 | 1117.9785 | 13.2029 | 1131.1814 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1131.1814 | 4 | 656.7475 | 47.75 | 279 | 983.4975 | 1131.25 | 1137 | 1122 | 1131.25 | 1131.25 | 1131.1814 | 0 | 16 | 03.45-04.00 | 49.97 | 49.9925 | 1122 | 1131.25 | 47.75 | 4
5 | 619.5316 | 47.6022 | 280.6108 | 101.25 | 1 | 119.34 | 1169.3346 | -54.3346 | 1115 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1115 | 5 | 645.9725 | 47.75 | 279 | 972.7225 | 1134 | 1160 | 1115 | 1115 | 1115 | 1115 | 0 | 17 | 04.00-04.15 | 49.92 |  | 1115 |  | 47.75 | 5
6 | 641.4223 | 46.8545 | 270.0502 | 100.25 | 37.75 | 119.34 | 1215.667 | 47.0065 | 1262.6735 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1262.6735 | 6 | 668.7975 | 47 | 268.5 | 984.2975 | 1262.75 | 1325 | 1180 | 1262.75 | 1262.75 | 1262.6735 | 0 | 18 | 04.15-04.30 | 49.87 |  | 1129 |  | 47 | 6
7 | 644.2995 | 47.353 | 243.9001 | 99.5 | 74 | 119.33 | 1228.3825 | 170.5327 | 1398.9152 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1398.9152 | 7 | 671.7975 | 47.5 | 242.5 | 961.7975 | 1399 | 1445 | 1349 | 1399 | 1399 | 1398.9152 | 0 | 19 | 04.30-04.45 | 49.86 |  | 1132 |  | 47.5 | 7
8 | 641.8299 | 22.4304 | 206.1836 | 38.5 | 74 | 119.36 | 1102.3038 | 366.6072 | 1468.911 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1468.911 | 8 | 669.2225 | 22.5 | 205 | 896.7225 | 1469 | 1475 | 1463 | 1469 | 1469 | 1468.911 | 0 | 20 | 04.45-05.00 | 49.88 | 49.8825 | 1160 | 1134 | 22.5 | 8
9 | 613.6093 | 18.9412 | 259.4895 | 40 | 74 | 119.34 | 1125.3801 | 318.5324 | 1443.9125 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1443.9125 | 9 | 639.7975 | 19 | 258 | 916.7975 | 1444 | 1454 | 1440 | 1444 | 1444 | 1443.9125 | 0 | 21 | 05.00-05.15 | 49.8 |  | 1180 |  | 19 | 9
10 | 593.6607 | 18.692 | 272.0617 | 40 | 74 | 119.34 | 1117.7544 | 370.9054 | 1488.6598 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1488.6598 | 10 | 618.9975 | 18.75 | 270.5 | 908.2475 | 1488.75 | 1501 | 1466 | 1488.75 | 1488.75 | 1488.6598 | 0 | 22 | 05.15-05.30 | 49.83 |  | 1247 |  | 18.75 | 10
11 | 607.3274 | 19.1904 | 300.4748 | 40 | 50.75 | 119.28 | 1137.0227 | 378.8855 | 1515.9081 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1515.9081 | 11 | 633.2475 | 19.25 | 298.75 | 951.2475 | 1516 | 1525 | 1502 | 1516 | 1516 | 1515.9081 | 0 | 23 | 05.30-05.45 | 49.88 |  | 1299 |  | 19.25 | 11
12 | 671.8248 | 17.4458 | 238.1169 | 40 | 0 | 114.05 | 1081.4374 | 424.9712 | 1506.4087 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1506.4087 | 12 | 700.4975 | 17.5 | 236.75 | 954.7475 | 1506.5 | 1513 | 1496 | 1506.5 | 1506.5 | 1506.4087 | 0 | 24 | 05.45-06.00 | 49.93 | 49.86 | 1325 | 1262.75 | 17.5 | 12
13 | 661.9943 | 16.9474 | 220.2644 | 40 | 0 | 59.5 | 998.7061 | 514.4522 | 1513.1583 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1513.1583 | 13 | 690.2475 | 17 | 219 | 926.2475 | 1513.25 | 1529 | 1485 | 1513.25 | 1513.25 | 1513.1583 | 0 | 25 | 06.00-06.15 | 50.01 |  | 1349 |  | 17 | 13
14 | 617.3017 | 42.8669 | 166.9584 | 40 | 0 | 119.28 | 986.407 | 462.5051 | 1448.9122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1448.9122 | 14 | 643.6475 | 43 | 166 | 852.6475 | 1449 | 1480 | 1434 | 1449 | 1449 | 1448.9122 | 0 | 26 | 06.15-06.30 | 50.01 |  | 1387 |  | 43 | 14
15 | 581.3607 | 47.8514 | 281.1137 | 40 | 0.75 | 119.34 | 1070.4158 | 456.7417 | 1527.1574 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1527.1574 | 15 | 606.1725 | 48 | 279.5 | 933.6725 | 1527.25 | 1540 | 1509 | 1527.25 | 1527.25 | 1527.1574 | 0 | 27 | 06.30-06.45 | 50.02 |  | 1415 |  | 48 | 15
16 | 583.4227 | 47.8514 | 302.2349 | 40 | 65.5 | 119.31 | 1158.319 | 380.5877 | 1538.9067 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1538.9067 | 16 | 608.3225 | 48 | 300.5 | 956.8225 | 1539 | 1548 | 1532 | 1539 | 1539 | 1538.9067 | 0 | 28 | 06.45-07.00 | 50.05 | 50.0225 | 1445 | 1399 | 48 | 16
17 | 646.9849 | 47.353 | 243.6486 | 40 | 65 | 119.3 | 1162.2865 | 396.7135 | 1559 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1559 | 17 | 674.5975 | 47.5 | 242.25 | 964.3475 | 1538 | 1559 | 1514 | 1559 | 1559 | 1559 | 0 | 29 | 07.00-07.15 | 50.05 |  | 1475 |  | 47.5 | 17
18 | 661.3709 | 47.8514 | 213.7269 | 40 | 74 | 119.31 | 1156.2592 | 278.1539 | 1434.4131 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1434.4131 | 18 | 689.5975 | 48 | 212.5 | 950.0975 | 1434.5 | 1487 | 1393 | 1434.5 | 1434.5 | 1434.4131 | 0 | 30 | 07.15-07.30 | 50.04 |  | 1471 |  | 48 | 18
19 | 622.7684 | 40.8731 | 244.9058 | 40 | 74 | 119.28 | 1141.8274 | 218.5902 | 1360.4175 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1360.4175 | 19 | 649.3475 | 41 | 243.5 | 933.8475 | 1360.5 | 1375 | 1343 | 1360.5 | 1360.5 | 1360.4175 | 0 | 31 | 07.30-07.45 | 50.03 |  | 1467 |  | 41 | 19
20 | 668.5639 | 64.3004 | 278.5992 | 40 | 74 | 119.26 | 1244.7235 | 150.6919 | 1395.4154 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1395.4154 | 20 | 697.0975 | 64.5 | 277 | 1038.5975 | 1395.5 | 1447 | 1354 | 1395.5 | 1395.5 | 1395.4154 | 0 | 32 | 07.45-08.00 | 50.06 | 50.045 | 1463 | 1469 | 64.5 | 20
21 | 687.9779 | 60.7165 | 255.4111 | 24.945 | 55.8 | 119.3 | 1204.1505 | 247.2615 | 1451.412 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1451.412 | 21 | 717.34 | 60.905 | 253.945 | 1032.19 | 1451.5 | 1462 | 1441 | 1451.5 | 1451.5 | 1451.412 | 0 | 33 | 08.00-08.15 | 50.06 |  | 1454 |  | 60.905 | 21
22 | 708.0392 | 58.9819 | 250.4753 | 24.9825 | 0.2975 | 119.28 | 1162.0563 | 237.8588 | 1399.9151 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1399.9151 | 22 | 738.2575 | 59.165 | 249.0375 | 1046.46 | 1400 | 1421 | 1384 | 1400 | 1400 | 1399.9151 | 0 | 34 | 08.15-08.30 | 50.04 |  | 1440 |  | 59.165 | 22
23 | 683.4918 | 53.773 | 258.7377 | 24.96 | 0 | 119.28 | 1140.2426 | 185.1771 | 1325.4197 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1325.4197 | 23 | 712.6625 | 53.94 | 257.2525 | 1023.855 | 1325.5 | 1385 | 1274 | 1325.5 | 1325.5 | 1325.4197 | 0 | 35 | 08.30-08.45 | 50.04 |  | 1440 |  | 53.94 | 23
24 | 640.6191 | 45.2246 | 256.3063 | 24.96 | 0 | 119.28 | 1086.3899 | 143.7855 | 1230.1754 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1230.1754 | 24 | 667.96 | 45.365 | 254.835 | 968.16 | 1230.25 | 1258 | 1208 | 1230.25 | 1230.25 | 1230.1754 | 0 | 36 | 08.45-09.00 | 50.01 | 50.0375 | 1442 | 1444 | 45.365 | 24
[34 empty] | 37 | 09.00-09.15 | 50.01 |  | 1466
TOTAL (in MWh) | 15188.7075 | 926 | 6285.4 | 1080.0975 | 794.8475 | 2798.22 | 27073.2725 | 5922.3896 | 32995.6621 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32995.6621 | TOTAL | 15836.945 | 928.875 | 6249.32 | 23015.14 | 32995.5 |  |  | 32997.5 | 32997.5 | 32995.6621 | 0 | 38 | 09.15-09.30 | 50.02 |  | 1501
[34 empty] | 39 | 09.30-09.45 | 50 |  | 1496
[34 empty] | 40 | 09.45-10.00 | 49.97 | 50 | 1492 | 1488.75
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 49.9814; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 49.96 |  | 1515
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1559; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 49.99 |  | 1525
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1559; 5+6 P6 14: MW | MAX = | 1559 | [10 empty] | 43 | 10.30-10.45 | 50.02 |  | 1522
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 1115; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 1115 | [10 empty] | 44 | 10.45-11.00 | 50.01 | 49.995 | 1502 | 1516
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 15188.7075; 5+6 P6 14: MWH; 5+6 P11 19: 28.238; 5+6 P11/1000 20: 15160.4695 | [12 empty] | 45 | 11.00-11.15 | 49.99 |  | 1496
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 6285.4; 5+6 P6 14: MWH; 5+6 P11 19: 8.79; 5+6 P11/1000 20: 6276.61 | [12 empty] | 46 | 11.15-11.30 | 49.92 |  | 1506
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 926; 5+6 P6 14: MWH; 5+6 P11 19: 8.285; 5+6 P11/1000 20: 917.715 | [12 empty] | 47 | 11.30-11.45 | 50 |  | 1511
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 42.25; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 49.99 | 49.975 | 1513 | 1506.5
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 45.365; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 50 |  | 1529
|  |  | Max.generation of Malana at 2000 Hrs. |  |  |  | 5+6 P4 12: 64.5; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 49.96 |  | 1517
[10 empty] | Off Peak Hrs MW |  | Peak Hrs MW | [6 empty] | Gross Lus | Net Lus
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 549.329; 5+6 P4 12: 705.2314; 5+6 P11 19: 151.8871; 5+6 P11/1000 20: 151.6047 | [12 empty] | 51 | 12.30-12.45 | 49.98 |  | 1522
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 317.2471; 5+6 P4 12: 327.2946; 5+6 P11 19: 80.0991; 5+6 P11/1000 20: 79.8643 | [12 empty] | 52 | 12.45-13.00 | 50 | 49.985 | 1485 | 1513.25
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 232.0819; 5+6 P4 12: 377.9369; 5+6 P11 19: 71.788; 5+6 P11/1000 20: 71.7404 | [12 empty] | 53 | 13.00-13.15 | 50.02 |  | 1428
[8 empty] | Gross Gen. |  | Aux. | Net gen.
|  |  | Gross Swara Kuddu generation |  |  |  | 8: 794.8475; 5+6 P1 9: MWh; 5+6 P2 10: 8.285; 5+6 P3 11: 786.5625
|  |  | Gross Holi Bajoli generation |  |  |  | 8: 2798.22; 5+6 P1 9: MWh; 5+6 P2 10: 3.278; 5+6 P3 11: 2794.942
|  |  | Gross Malana- ll generation |  |  |  | 8: 1080.0975; 5+6 P1 9: MWh; 5+6 P2 10: 1.65; 5+6 P3 11: 1078.4475 | [12 empty] | 54 | 13.15-13.30 | 49.96 |  | 1434
[34 empty] | 55 | 13.30-13.45 | 49.9 |  | 1454
HOURLY LOAD SHEDDING UNDER DIFFERENT CATEGORIES | [6 empty] | 5+6 P1 9: DATE; 5+6 P2 10: 2022-05-18 04:08 | [12 empty] | 56 | 13.45-14.00 | 49.97 | 49.9625 | 1480 | 1449
LOAD NOT SERVED DUE TO | [33 empty] | 57 | 14.00-14.15 | 49.99 |  | 1509 | bar: 7 to 5+6 P2 10
Hrs | Low Availablity (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) |  | 7: Planned maintenance in distribution system (in MW); 8: Distribution constraints (in MW); 5+6 P1 9: Any other reasion ( to be specfied) (MW); 5+6 P2 10: Total (in MW) | [12 empty] | 58 | 14.15-14.30 | 49.99 |  | 1540
1 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 59 | 14.30-14.45 | 49.96 |  | 1532
2 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 60 | 14.45-15.00 | 49.98 | 49.98 | 1528 | 1527.25
3 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 61 | 15.00-15.15 | 50.01 |  | 1534
4 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 62 | 15.15-15.30 | 49.99 |  | 1548
5 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 63 | 15.30-15.45 | 50 |  | 1542
6 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 64 | 15.45-16.00 | 50.01 | 50.0025 | 1532 | 1539
7 | 0 | 0 | 0 |  | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 65 | 16.00-16.15 | 50.02 |  | 1559
8 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 66 | 16.15-16.30 | 50.01 |  | 1553
9 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 67 | 16.30-16.45 | 50.02 |  | 1526
10 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 68 | 16.45-17.00 | 50.02 | 50.0175 | 1514 | 1538
11 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 69 | 17.00-17.15 | 50.04 |  | 1487
12 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 70 | 17.15-17.30 | 50.02 |  | 1449
13 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 71 | 17.30-17.45 | 50.04 |  | 1409
14 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 72 | 17.45-18.00 | 50.05 | 50.0375 | 1393 | 1434.5
15 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 73 | 18.00-18.15 | 50.04 |  | 1365
16 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 74 | 18.15-18.30 | 50.03 |  | 1343
17 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 75 | 18.30-18.45 | 49.98 |  | 1359
18 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 76 | 18.45-19.00 | 49.97 | 50.005 | 1375 | 1360.5
19 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 77 | 19.00-19.15 | 50.02 |  | 1354
20 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 78 | 19.15-19.30 | 49.95 |  | 1380
21 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 79 | 19.30-19.45 | 49.9 |  | 1401
22 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 80 | 19.45-20.00 | 49.91 | 49.945 | 1447 | 1395.5
23 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 81 | 20.00-20.15 | 50.02 |  | 1447
24 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 82 | 20.15-20.30 | 50.01 |  | 1462
Total | [33 empty] | 83 | 20.30-20.45 | 49.98 |  | 1456
[34 empty] | 84 | 20.45-21.00 | 50 | 50.0025 | 1441 | 1451.5
[34 empty] | 85 | 21.00-21.15 | 49.99 |  | 1421
[34 empty] | 86 | 21.15-21.30 | 50 |  | 1405
[34 empty] | 87 | 21.30-21.45 | 50.02 |  | 1390
[34 empty] | 88 | 21.45-22.00 | 50.01 | 50.005 | 1384 | 1400
[34 empty] | 89 | 22.00-22.15 | 50.01 |  | 1385
[34 empty] | 90 | 22.15-22.30 | 49.96 |  | 1343
[34 empty] | 91 | 22.30-22.45 | 49.84 |  | 1300
[34 empty] | 92 | 22.45-23.00 | 49.93 | 49.935 | 1274 | 1325.5
[34 empty] | 93 | 23.00-23.15 | 49.86 |  | 1258
[34 empty] | 94 | 23.15-23.30 | 49.87 |  | 1241
[34 empty] | 95 | 23.30-23.45 | 49.97 |  | 1214
[34 empty] | 96 | 23.45-24.00 | 49.96 | 49.915 | 1208 | 1230.25
[35 empty] | Total | 49.9814 | 49.9814 | 32995.5 | 32995.5
[35 empty] | max | 1559 |  | avg. max | 1539
[35 empty] | min | 1115 |  | avg. min | 1131.25
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.