## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2022-05-18
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2022-05-19
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 33639.0575 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 846 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 5306 | MWh | MALANA-II | 846 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1586 | [6 empty] | HOLI BAJOLI | 2798 | MWh |  |  |  |  | 1 | 00.00-00.15 | 49.95 |  | 1180
|  | Month/Day :- |  |  |  |  | 2022-05-18 | [10 empty] | Min.DEMAND(MW) |  | 1112 |  | ACTUAL OWN GENERATION |  |  | 13513.3575 | MWh | SWARA KUDDU | 652.6 | MWh |  |  |  |  | 2 | 00.15-00.30 | 49.9 |  | 1188
[34 empty] | 3 | 00.30-00.45 | 49.91 |  | 1172 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 49.97 | 49.9325 | 1176 | 1179 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 49.93 |  | 1144 |  |  |  | MALANA-2 | 25 | 25 | 25 | 25.5 | 58.5 | 57 | 89.75 | 29.25 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 40 | 39.75 | 59.935 | 60.0025 | 59.8975 | 59.84 | 954.425
[34 empty] | 6 | 01.15-01.30 | 49.88 |  | 1153 |  |  |  | SWARA KUDDU | 0 | 0 | 0 | 0 | 0 | 0 | 46 | 70 | 69.75 | 70 | 44.5 | 0 | 0 | 0 | 0 | 0.5 | 53 | 70 | 68.5 | 68 | 67.9325 | 25.6275 | 0 | 0 | 653.81
[34 empty] | 7 | 01.30-01.45 | 49.92 |  | 1147
[34 empty] | 8 | 01.45-02:00 | 49.91 | 49.91 | 1146 | 1147.5
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.82 |  | 1143 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 49.81 |  | 1121
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.76 |  | 1123
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 49.87 | 49.815 | 1112 | 1124.75
1 | 526.7544 | 16.6566 | 250.8141 | 25 | 0 | 119.33 | 938.5552 | 240.4624 | 1179.0175 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1179.0175 | 1 | 557.4975 | 16.5 | 249 | 822.9975 | 1179 | 1188 | 1172 | 1179 | 1179 | 1179.0175 | 0 | 13 | 03.00-03.15 | 49.98 |  | 1124 |  | 16.5 | 1
2 | 502.1882 | 19.6851 | 232.9348 | 25 | 0 | 119.34 | 899.1481 | 248.369 | 1147.5171 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1147.5171 | 2 | 531.4975 | 19.5 | 231.25 | 782.2475 | 1147.5 | 1153 | 1144 | 1147.5 | 1147.5 | 1147.5171 | 0 | 14 | 03.15-03.30 | 49.91 |  | 1121 |  | 19.5 | 2
3 | 526.8725 | 19.6851 | 200.9535 | 25 | 0 | 119.33 | 891.8411 | 220.1589 | 1112 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1112 | 3 | 557.6225 | 19.5 | 199.5 | 776.6225 | 1124.75 | 1143 | 1112 | 1112 | 1112 | 1112 | 0 | 15 | 03.30-03.45 | 49.93 |  | 1129 |  | 19.5 | 3
4 | 520.6129 | 23.9754 | 200.4498 | 25.5 | 0 | 119.34 | 889.8781 | 236.6386 | 1126.5167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1126.5167 | 4 | 550.9975 | 23.75 | 199 | 773.7475 | 1126.5 | 1132 | 1121 | 1126.5 | 1126.5 | 1126.5167 | 0 | 16 | 03.45-04.00 | 49.9 | 49.93 | 1132 | 1126.5 | 23.75 | 4
5 | 552.9505 | 43.1558 | 209.5154 | 58.5 | 0 | 119.31 | 983.4317 | 158.0852 | 1141.517 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1141.517 | 5 | 585.2225 | 42.75 | 208 | 835.9725 | 1141.5 | 1157 | 1121 | 1141.5 | 1141.5 | 1141.517 | 0 | 17 | 04.00-04.15 | 49.86 |  | 1121 |  | 42.75 | 5
6 | 559.3992 | 48.4556 | 255.3469 | 57 | 0 | 119.33 | 1039.5317 | 189.9866 | 1229.5183 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1229.5183 | 6 | 592.0475 | 48 | 253.5 | 893.5475 | 1229.5 | 1323 | 1170 | 1229.5 | 1229.5 | 1229.5183 | 0 | 18 | 04.15-04.30 | 49.83 |  | 1131 |  | 48 | 6
7 | 561.0527 | 48.4556 | 270.9598 | 89.75 | 46 | 119.34 | 1135.5581 | 298.4632 | 1434.0213 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1434.0213 | 7 | 593.7975 | 48 | 269 | 910.7975 | 1434 | 1497 | 1354 | 1434 | 1434 | 1434.0213 | 0 | 19 | 04.30-04.45 | 49.73 |  | 1157 |  | 48 | 7
8 | 570.4304 | 19.6851 | 220.5955 | 29.25 | 70 | 119.34 | 1029.301 | 502.9718 | 1532.2728 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1532.2728 | 8 | 603.7225 | 19.5 | 219 | 842.2225 | 1532.25 | 1542 | 1518 | 1532.25 | 1532.25 | 1532.2728 | 0 | 20 | 04.45-05.00 | 49.77 | 49.7975 | 1157 | 1141.5 | 19.5 | 8
9 | 594.8313 | 17.1614 | 202.2126 | 30 | 69.75 | 119.33 | 1033.2852 | 502.9876 | 1536.2728 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1536.2728 | 9 | 629.5475 | 17 | 200.75 | 847.2975 | 1536.25 | 1548 | 1527 | 1536.25 | 1536.25 | 1536.2728 | 0 | 21 | 05.00-05.15 | 49.76 |  | 1170 |  | 17 | 9
10 | 530.7701 | 17.1614 | 216.0627 | 30 | 70 | 119.33 | 983.3242 | 587.4492 | 1570.7733 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1570.7733 | 10 | 561.7475 | 17 | 214.5 | 793.2475 | 1570.75 | 1584 | 1561 | 1570.75 | 1570.75 | 1570.7733 | 0 | 22 | 05.15-05.30 | 49.71 |  | 1182 |  | 17 | 10
11 | 590.296 | 17.1614 | 213.0409 | 30 | 44.5 | 119.36 | 1014.3582 | 539.4149 | 1553.7731 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1553.7731 | 11 | 624.7475 | 17 | 211.5 | 853.2475 | 1553.75 | 1565 | 1533 | 1553.75 | 1553.75 | 1553.7731 | 0 | 23 | 05.30-05.45 | 49.75 |  | 1243 |  | 17 | 11
12 | 609.6655 | 17.1614 | 219.5882 | 30 | 0 | 119.33 | 995.7451 | 590.2549 | 1586 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1586 | 12 | 645.2475 | 17 | 218 | 880.2475 | 1573.75 | 1586 | 1563 | 1586 | 1586 | 1586 | 0 | 24 | 05.45-06.00 | 49.89 | 49.7775 | 1323 | 1229.5 | 17 | 12
13 | 507.8573 | 17.1614 | 175.0159 | 30 | 0 | 118.9 | 848.9346 | 679.8382 | 1528.7727 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1528.7727 | 13 | 537.4975 | 17 | 173.75 | 728.2475 | 1528.75 | 1566 | 1484 | 1528.75 | 1528.75 | 1528.7727 | 0 | 25 | 06.00-06.15 | 50.02 |  | 1354 |  | 17 | 13
14 | 480.5983 | 42.3987 | 178.0377 | 30 | 0 | 118.9 | 849.9347 | 602.0869 | 1452.0216 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1452.0216 | 14 | 508.6475 | 42 | 176.75 | 727.3975 | 1452 | 1472 | 1446 | 1452 | 1452 | 1452.0216 | 0 | 26 | 06.15-06.30 | 50.01 |  | 1422 |  | 42 | 14
15 | 496.212 | 47.4461 | 234.1939 | 30 | 0 | 118.91 | 926.762 | 582.7604 | 1509.5224 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1509.5224 | 15 | 525.1725 | 47 | 232.5 | 804.6725 | 1509.5 | 1534 | 1494 | 1509.5 | 1509.5 | 1509.5224 | 0 | 27 | 06.30-06.45 | 50.01 |  | 1463 |  | 47 | 15
16 | 558.478 | 47.4461 | 185.3405 | 30 | 0.5 | 118.91 | 940.6746 | 621.0986 | 1561.7732 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1561.7732 | 16 | 591.0725 | 47 | 184 | 822.0725 | 1561.75 | 1577 | 1550 | 1561.75 | 1561.75 | 1561.7732 | 0 | 28 | 06.45-07.00 | 50.02 | 50.015 | 1497 | 1434 | 47 | 16
17 | 548.8168 | 47.6985 | 198.1834 | 30 | 53 | 118.9 | 996.5988 | 548.4242 | 1545.023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1545.023 | 17 | 580.8475 | 47.25 | 196.75 | 824.8475 | 1545 | 1561 | 1529 | 1545 | 1545 | 1545.023 | 0 | 29 | 07.00-07.15 | 50.03 |  | 1518 |  | 47.25 | 17
18 | 539.3683 | 47.9509 | 220.5955 | 30 | 70 | 118.86 | 1026.7747 | 444.4972 | 1471.2719 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1471.2719 | 18 | 570.8475 | 47.5 | 219 | 837.3475 | 1471.25 | 1502 | 1437 | 1471.25 | 1471.25 | 1471.2719 | 0 | 30 | 07.15-07.30 | 50.04 |  | 1542 |  | 47.5 | 18
19 | 540.0769 | 47.9509 | 223.8692 | 40 | 68.5 | 118.86 | 1039.257 | 364.7639 | 1404.0209 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1404.0209 | 19 | 571.5975 | 47.5 | 222.25 | 841.3475 | 1404 | 1419 | 1375 | 1404 | 1404 | 1404.0209 | 0 | 31 | 07.30-07.45 | 50.04 |  | 1542 |  | 47.5 | 19
20 | 621.0982 | 47.4461 | 220.8474 | 39.75 | 68 | 118.91 | 1116.0517 | 304.4694 | 1420.5211 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1420.5211 | 20 | 657.3475 | 47 | 219.25 | 923.5975 | 1420.5 | 1482 | 1374 | 1420.5 | 1420.5 | 1420.5211 | 0 | 32 | 07.45-08.00 | 50.04 | 50.0375 | 1527 | 1532.25 | 47 | 20
21 | 688.9577 | 47.9383 | 220.8801 | 59.935 | 67.9325 | 118.9 | 1204.5436 | 280.126 | 1484.6696 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1484.6696 | 21 | 729.1675 | 47.4875 | 219.2825 | 995.9375 | 1484.6475 | 1491.37 | 1467.71 | 1484.6475 | 1484.6475 | 1484.6696 | 0 | 33 | 08.00-08.15 | 50 |  | 1527 |  | 47.4875 | 21
22 | 670.5 | 47.9433 | 220.9808 | 60.0025 | 25.6275 | 118.9 | 1143.9541 | 298.1798 | 1442.1339 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1442.1339 | 22 | 709.6325 | 47.4925 | 219.3825 | 976.5075 | 1442.1125 | 1462.58 | 1428.41 | 1442.1125 | 1442.1125 | 1442.1339 | 0 | 34 | 08.15-08.30 | 50.01 |  | 1548 |  | 47.4925 | 22
23 | 611.6898 | 47.9206 | 256.5934 | 59.8975 | 0 | 118.9 | 1095.0013 | 272.0115 | 1367.0128 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1367.0128 | 23 | 647.39 | 47.47 | 254.7375 | 949.5975 | 1366.9925 | 1394.77 | 1341.61 | 1366.9925 | 1366.9925 | 1367.0128 | 0 | 35 | 08.30-08.45 | 49.93 |  | 1530 |  | 47.47 | 23
24 | 603.8806 | 48.2992 | 278.9879 | 59.84 | 0 | 118.9 | 1109.9076 | 193.1667 | 1303.0744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1303.0744 | 24 | 639.125 | 47.845 | 276.97 | 963.94 | 1303.055 | 1321.59 | 1282.48 | 1303.055 | 1303.055 | 1303.0744 | 0 | 36 | 08.45-09.00 | 49.98 | 49.98 | 1540 | 1536.25 | 47.845 | 24
[34 empty] | 37 | 09.00-09.15 | 49.97 |  | 1566
TOTAL (in MWh) | 13513.3575 | 846 | 5306 | 954.425 | 653.81 | 2858.76 | 24132.3525 | 9506.6649 | 33639.0174 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33639.0174 | TOTAL | 14302.04 | 838.045 | 5267.6225 | 20407.7075 | 33639.0575 |  |  | 33638.5575 | 33638.5575 | 33639.0174 | 0 | 38 | 09.15-09.30 | 49.99 |  | 1561
[34 empty] | 39 | 09.30-09.45 | 50 |  | 1572
[34 empty] | 40 | 09.45-10.00 | 49.99 | 49.9875 | 1584 | 1570.75
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 49.93; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 49.99 |  | 1565
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1586; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 50.01 |  | 1559
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1586; 5+6 P6 14: MW | MAX = | 1586 | [10 empty] | 43 | 10.30-10.45 | 50 |  | 1533
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 1112; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 1112 | [10 empty] | 44 | 10.45-11.00 | 50.01 | 50.0025 | 1558 | 1553.75
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 13513.3575; 5+6 P6 14: MWH; 5+6 P11 19: 28.68; 5+6 P11/1000 20: 13484.6775 | [12 empty] | 45 | 11.00-11.15 | 50.01 |  | 1563
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 5306; 5+6 P6 14: MWH; 5+6 P11 19: 8.81; 5+6 P11/1000 20: 5297.19 | [12 empty] | 46 | 11.15-11.30 | 50 |  | 1586
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 846; 5+6 P6 14: MWH; 5+6 P11 19: 6.804; 5+6 P11/1000 20: 839.196 | [12 empty] | 47 | 11.30-11.45 | 50.01 |  | 1573
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 19.5; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 50.03 | 50.0125 | 1573 | 1573.75
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 47.845; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 50.03 |  | 1566
|  |  | Max.generation of Malana at 600 Hrs. |  |  |  | 5+6 P4 12: 48; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 50 |  | 1553
[10 empty] | Off Peak Hrs MW |  | Peak Hrs MW | [6 empty] | Gross Lus | Net Lus
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 460.464; 5+6 P4 12: 674.1381; 5+6 P11 19: 135.1336; 5+6 P11/1000 20: 134.8468 | [12 empty] | 51 | 12.30-12.45 | 50 |  | 1512
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 276.7552; 5+6 P4 12: 293.7709; 5+6 P11 19: 68.3976; 5+6 P11/1000 20: 68.158 | [12 empty] | 52 | 12.45-13.00 | 50 | 50.0075 | 1484 | 1528.75
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 183.7088; 5+6 P4 12: 380.3672; 5+6 P11 19: 66.736; 5+6 P11/1000 20: 66.6888 | [12 empty] | 53 | 13.00-13.15 | 50.06 |  | 1434
[8 empty] | Gross Gen. |  | Aux. | Net gen.
|  |  | Gross Swara Kuddu generation |  |  |  | 8: 653.81; 5+6 P1 9: MWh; 5+6 P2 10: 6.804; 5+6 P3 11: 647.006
|  |  | Gross Holi Bajoli generation |  |  |  | 8: 2858.76; 5+6 P1 9: MWh; 5+6 P2 10: 3.278; 5+6 P3 11: 2855.482
|  |  | Gross Malana- ll generation |  |  |  | 8: 954.425; 5+6 P1 9: MWh; 5+6 P2 10: 1.515; 5+6 P3 11: 952.91 | [12 empty] | 54 | 13.15-13.30 | 50.02 |  | 1446
[34 empty] | 55 | 13.30-13.45 | 49.99 |  | 1456
HOURLY LOAD SHEDDING UNDER DIFFERENT CATEGORIES | [6 empty] | 5+6 P1 9: DATE; 5+6 P2 10: 2022-05-19 03:41 | [12 empty] | 56 | 13.45-14.00 | 49.97 | 50.01 | 1472 | 1452
LOAD NOT SERVED DUE TO | [33 empty] | 57 | 14.00-14.15 | 49.96 |  | 1494 | bar: 7 to 5+6 P2 10
Hrs | Low Availablity (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) |  | 7: Planned maintenance in distribution system (in MW); 8: Distribution constraints (in MW); 5+6 P1 9: Any other reasion ( to be specfied) (MW); 5+6 P2 10: Total (in MW) | [12 empty] | 58 | 14.15-14.30 | 49.92 |  | 1502
1 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 59 | 14.30-14.45 | 49.73 |  | 1508
2 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 60 | 14.45-15.00 | 49.67 | 49.82 | 1534 | 1509.5
3 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 61 | 15.00-15.15 | 49.89 |  | 1550
4 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 62 | 15.15-15.30 | 49.88 |  | 1556
5 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 63 | 15.30-15.45 | 49.79 |  | 1564
6 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 64 | 15.45-16.00 | 49.76 | 49.83 | 1577 | 1561.75
7 | 0 | 0 | 0 |  | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 65 | 16.00-16.15 | 49.96 |  | 1561
8 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 66 | 16.15-16.30 | 49.99 |  | 1555
9 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 67 | 16.30-16.45 | 49.97 |  | 1535
10 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 68 | 16.45-17.00 | 50 | 49.98 | 1529 | 1545
11 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 69 | 17.00-17.15 | 50.01 |  | 1502
12 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 70 | 17.15-17.30 | 49.99 |  | 1488
13 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 71 | 17.30-17.45 | 49.99 |  | 1458
14 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 72 | 17.45-18.00 | 50 | 49.9975 | 1437 | 1471.25
15 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 73 | 18.00-18.15 | 50.01 |  | 1419
16 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 74 | 18.15-18.30 | 49.99 |  | 1418
17 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 75 | 18.30-18.45 | 49.97 |  | 1404
18 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 76 | 18.45-19.00 | 49.87 | 49.96 | 1375 | 1404
19 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 77 | 19.00-19.15 | 49.95 |  | 1374
20 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 78 | 19.15-19.30 | 49.88 |  | 1390
21 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 79 | 19.30-19.45 | 49.8 |  | 1436
22 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 80 | 19.45-20.00 | 49.89 | 49.88 | 1482 | 1420.5
23 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 81 | 20.00-20.15 | 50.03 |  | 1491.37
24 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 82 | 20.15-20.30 | 49.99 |  | 1489.98
Total | [33 empty] | 83 | 20.30-20.45 | 49.96 |  | 1489.53
[34 empty] | 84 | 20.45-21.00 | 49.87 | 49.9625 | 1467.71 | 1484.6475
[34 empty] | 85 | 21.00-21.15 | 49.97 |  | 1462.58
[34 empty] | 86 | 21.15-21.30 | 49.85 |  | 1447.15
[34 empty] | 87 | 21.30-21.45 | 49.99 |  | 1430.31
[34 empty] | 88 | 21.45-22.00 | 50 | 49.9525 | 1428.41 | 1442.1125
[34 empty] | 89 | 22.00-22.15 | 49.92 |  | 1394.77
[34 empty] | 90 | 22.15-22.30 | 49.83 |  | 1383.21
[34 empty] | 91 | 22.30-22.45 | 49.83 |  | 1341.61
[34 empty] | 92 | 22.45-23.00 | 49.87 | 49.8625 | 1348.38 | 1366.9925
[34 empty] | 93 | 23.00-23.15 | 49.68 |  | 1312.75
[34 empty] | 94 | 23.15-23.30 | 49.83 |  | 1321.59
[34 empty] | 95 | 23.30-23.45 | 49.95 |  | 1295.4
[34 empty] | 96 | 23.45-24.00 | 49.98 | 49.86 | 1282.48 | 1303.055
[35 empty] | Total | 49.93 | 49.93 | 33639.0575 | 33639.0575
[35 empty] | max | 1586 |  | avg. max | 1573.75
[35 empty] | min | 1112 |  | avg. min | 1124.75
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.