## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2022-09-03
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2022-09-04
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 32868.25 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 1926 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 7901 | MWh | MALANA-II | 2086 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1592 | [6 empty] | HOLI BAJOLI | 2866.56 | MWh |  |  |  |  | 1 | 00.00-00.15 | 49.95 |  | 1224
|  | Month/Day :- |  |  |  |  | 2022-09-03 | [10 empty] | Min.DEMAND(MW) |  | 1152 |  | ACTUAL OWN GENERATION |  |  | 22881.415 | MWh | SWARA KUDDU | 1546.9 | MWh |  |  |  |  | 2 | 00.15-00.30 | 49.91 |  | 1216
[34 empty] | 3 | 00.30-00.45 | 49.92 |  | 1206 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 49.99 | 49.9425 | 1189 | 1208.75 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 50 |  | 1185 |  |  |  | MALANA-2 | 101 | 101 | 101 | 101 | 60 | 60 | 60 | 60 | 60 | 54.75 | 55 | 55 | 55 | 55.25 | 111 | 111 | 110 | 110.25 | 110.25 | 110.5 | 110.75 | 110.25 | 110 | 109.5 | 2082.5
[34 empty] | 6 | 01.15-01.30 | 50.01 |  | 1193 |  |  |  | SWARA KUDDU | 74 | 74 | 74 | 74 | 57.75 | 41 | 41 | 58 | 73.5 | 74 | 74 | 74 | 45.75 | 41 | 41 | 41.25 | 71.75 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 1548
[34 empty] | 7 | 01.30-01.45 | 50 |  | 1188
[34 empty] | 8 | 01.45-02:00 | 50.01 | 50.005 | 1177 | 1185.75
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50.02 |  | 1186 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 50 |  | 1192
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50.01 |  | 1187
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.03 | 50.015 | 1191 | 1189
1 | 896.329 | 95.2225 | 329.6676 | 101 | 74 | 119.46 | 1615.6791 | -405.9053 | 1209.7738 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1209.7738 | 1 | 776.4975 | 95 | 329 | 1200.4975 | 1208.75 | 1224 | 1189 | 1208.75 | 1208.75 | 1209.7738 | 0 | 13 | 03.00-03.15 | 50.04 |  | 1179 |  | 95 | 1
2 | 929.8044 | 95.2225 | 329.6676 | 101 | 74 | 119.41 | 1649.1045 | -462.3501 | 1186.7544 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1186.7544 | 2 | 805.4975 | 95 | 329 | 1229.4975 | 1185.75 | 1193 | 1177 | 1185.75 | 1185.75 | 1186.7544 | 0 | 14 | 03.15-03.30 | 50.04 |  | 1180 |  | 95 | 2
3 | 877.8887 | 95.2225 | 329.6676 | 101 | 74 | 119.38 | 1597.1588 | -407.1517 | 1190.0071 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1190.0071 | 3 | 760.5225 | 95 | 329 | 1184.5225 | 1189 | 1192 | 1186 | 1189 | 1189 | 1190.0071 | 0 | 15 | 03.30-03.45 | 50.03 |  | 1157 |  | 95 | 3
4 | 884.8435 | 89.2084 | 329.6676 | 101 | 74 | 119.38 | 1598.0996 | -428.3596 | 1169.74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1169.74 | 4 | 766.5475 | 89 | 329 | 1184.5475 | 1168.75 | 1180 | 1157 | 1168.75 | 1168.75 | 1169.74 | 0 | 16 | 03.45-04.00 | 50.05 | 50.04 | 1159 | 1168.75 | 89 | 4
5 | 900.2826 | 87.2037 | 329.6676 | 60 | 57.75 | 119.39 | 1554.2939 | -402.2939 | 1152 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1152 | 5 | 779.9225 | 87 | 329 | 1195.9225 | 1174.25 | 1198 | 1152 | 1152 | 1152 | 1152 | 0 | 17 | 04.00-04.15 | 50 |  | 1152 |  | 87 | 5
6 | 935.8646 | 87.2037 | 329.6676 | 60 | 41 | 119.41 | 1573.146 | -311.3281 | 1261.8179 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1261.8179 | 6 | 810.7475 | 87 | 329 | 1226.7475 | 1260.75 | 1325 | 1215 | 1260.75 | 1260.75 | 1261.8179 | 0 | 18 | 04.15-04.30 | 50 |  | 1163 |  | 87 | 6
7 | 914.7982 | 87.2037 | 329.6676 | 60 | 41 | 119.42 | 1552.0896 | -69.0845 | 1483.0051 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1483.0051 | 7 | 792.4975 | 87 | 329 | 1208.4975 | 1481.75 | 1551 | 1401 | 1481.75 | 1481.75 | 1483.0051 | 0 | 19 | 04.30-04.45 | 49.98 |  | 1184 |  | 87 | 7
8 | 944.724 | 85.9508 | 329.6676 | 60 | 58 | 119.41 | 1597.7525 | -5.7525 | 1592 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1592 | 8 | 818.4225 | 85.75 | 329 | 1233.1725 | 1581.25 | 1592 | 1570 | 1592 | 1592 | 1592 | 0 | 20 | 04.45-05.00 | 50 | 49.995 | 1198 | 1174.25 | 85.75 | 8
9 | 923.5134 | 46.1077 | 329.6676 | 60 | 73.5 | 119.41 | 1552.1987 | 20.3822 | 1572.5809 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1572.5809 | 9 | 800.0475 | 46 | 329 | 1175.0475 | 1571.25 | 1580 | 1561 | 1571.25 | 1571.25 | 1572.5809 | 0 | 21 | 05.00-05.15 | 49.95 |  | 1215 |  | 46 | 9
10 | 889.6917 | 46.1077 | 329.6676 | 54.75 | 74 | 119.41 | 1513.627 | 74.7172 | 1588.3442 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1588.3442 | 10 | 770.7475 | 46 | 329 | 1145.7475 | 1587 | 1591 | 1584 | 1587 | 1587 | 1588.3442 | 0 | 22 | 05.15-05.30 | 49.94 |  | 1232 |  | 46 | 10
11 | 917.1069 | 46.1077 | 329.6676 | 55 | 74 | 119.39 | 1541.2722 | 31.0585 | 1572.3307 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1572.3307 | 11 | 794.4975 | 46 | 329 | 1169.4975 | 1571 | 1587 | 1556 | 1571 | 1571 | 1572.3307 | 0 | 23 | 05.30-05.45 | 49.99 |  | 1271 |  | 46 | 11
12 | 922.0127 | 46.1077 | 322.1524 | 55 | 74 | 119.46 | 1538.7328 | -50.2231 | 1488.5097 | 0 | 0 | 0 | 0 | 0 | 20.2667 | 0 | 0 | 0 | 20.2667 | 0.020267 | 1508.7764 | 12 | 798.7475 | 46 | 321.5 | 1166.2475 | 1487.25 | 1532 | 1452 | 1487.25 | 1487.25 | 1488.5097 | 20.2667 | 24 | 05.45-06.00 | 50 | 49.97 | 1325 | 1260.75 | 46 | 12
13 | 929.8044 | 46.1077 | 328.6656 | 55 | 45.75 | 119.54 | 1524.8677 | -78.0433 | 1446.8245 | 0 | 0 | 0 | 0 | 0 | 0.63333 | 0 | 0 | 0 | 0.63333 | 0.00063333 | 1447.4578 | 13 | 805.4975 | 46 | 328 | 1179.4975 | 1445.6 | 1476 | 1399 | 1445.6 | 1445.6 | 1446.8245 | 0.63333 | 25 | 06.00-06.15 | 49.97 |  | 1401 |  | 46 | 13
14 | 949.3125 | 46.1077 | 329.6676 | 55.25 | 41 | 119.5 | 1540.8378 | -159.3353 | 1381.5025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1381.5025 | 14 | 822.3975 | 46 | 329 | 1197.3975 | 1380.3333 | 1384 | 1367 | 1380.3333 | 1380.3333 | 1381.5025 | 0 | 26 | 06.15-06.30 | 49.96 |  | 1463 |  | 46 | 14
15 | 967.2333 | 69.9133 | 329.1666 | 111 | 41 | 119.47 | 1637.7833 | -243.8536 | 1393.9297 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1393.9297 | 15 | 837.9225 | 69.75 | 328.5 | 1236.1725 | 1392.75 | 1405 | 1383 | 1392.75 | 1392.75 | 1393.9297 | 0 | 27 | 06.30-06.45 | 50.01 |  | 1512 |  | 69.75 | 15
16 | 978.6611 | 95.2225 | 328.9161 | 111 | 41.25 | 119.49 | 1674.5397 | -287.6159 | 1386.9238 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1386.9238 | 16 | 847.8225 | 95 | 328.25 | 1271.0725 | 1385.75 | 1405 | 1374 | 1385.75 | 1385.75 | 1386.9238 | 0 | 28 | 06.45-07.00 | 50.03 | 49.9925 | 1551 | 1481.75 | 95 | 16
17 | 998.3135 | 95.2225 | 328.9161 | 110 | 71.75 | 119.42 | 1723.6221 | -308.9248 | 1414.6973 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1414.6973 | 17 | 864.8475 | 95 | 328.25 | 1288.0975 | 1413.5 | 1422 | 1405 | 1413.5 | 1413.5 | 1414.6973 | 0 | 29 | 07.00-07.15 | 50.01 |  | 1584 |  | 95 | 17
18 | 999.4678 | 95.2225 | 329.1666 | 110.25 | 74 | 119.46 | 1727.5669 | -329.884 | 1397.6829 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1397.6829 | 18 | 865.8475 | 95 | 328.5 | 1289.3475 | 1396.5 | 1406 | 1384 | 1396.5 | 1396.5 | 1397.6829 | 0 | 30 | 07.15-07.30 | 50.04 |  | 1592 |  | 95 | 18
19 | 994.5619 | 95.2225 | 329.6676 | 110.25 | 74 | 119.42 | 1723.122 | -344.205 | 1378.917 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1378.917 | 19 | 861.5975 | 95 | 329 | 1285.5975 | 1377.75 | 1391 | 1370 | 1377.75 | 1377.75 | 1378.917 | 0 | 31 | 07.30-07.45 | 50.03 |  | 1570 |  | 95 | 19
20 | 1013.0311 | 95.2225 | 329.6676 | 110.5 | 74 | 119.46 | 1741.8812 | -294.9066 | 1446.9746 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1446.9746 | 20 | 877.5975 | 95 | 329 | 1301.5975 | 1445.75 | 1459 | 1426 | 1445.75 | 1445.75 | 1446.9746 | 0 | 32 | 07.45-08.00 | 50.03 | 50.0275 | 1579 | 1581.25 | 95 | 20
21 | 1018.5142 | 95.2225 | 329.6676 | 110.75 | 74 | 119.41 | 1747.5642 | -357.8881 | 1389.6761 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1389.6761 | 21 | 882.3475 | 95 | 329 | 1306.3475 | 1388.5 | 1410 | 1355 | 1388.5 | 1388.5 | 1389.6761 | 0 | 33 | 08.00-08.15 | 50.04 |  | 1573 |  | 95 | 21
22 | 1036.6947 | 95.2225 | 329.6676 | 110.25 | 74 | 119.42 | 1765.2548 | -454.6456 | 1310.6092 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1310.6092 | 22 | 898.0975 | 95 | 329 | 1322.0975 | 1309.5 | 1335 | 1281 | 1309.5 | 1309.5 | 1310.6092 | 0 | 34 | 08.15-08.30 | 50.04 |  | 1561 |  | 95 | 22
23 | 1031.5003 | 95.2225 | 329.6676 | 110 | 74 | 119.46 | 1759.8504 | -509.0418 | 1250.8086 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1250.8086 | 23 | 893.5975 | 95 | 329 | 1317.5975 | 1249.75 | 1271 | 1234 | 1249.75 | 1249.75 | 1250.8086 | 0 | 35 | 08.30-08.45 | 50.02 |  | 1571 |  | 95 | 23
24 | 1027.4602 | 95.2225 | 329.6676 | 109.5 | 74 | 119.44 | 1755.2902 | -554.7742 | 1200.516 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1200.516 | 24 | 890.0975 | 95 | 329 | 1314.0975 | 1199.5 | 1213 | 1187 | 1199.5 | 1199.5 | 1200.516 | 0 | 36 | 08.45-09.00 | 50.05 | 50.0375 | 1580 | 1571.25 | 95 | 24
[34 empty] | 37 | 09.00-09.15 | 50.01 |  | 1591
TOTAL (in MWh) | 22881.415 | 1926 | 7901 | 2082.5 | 1548 | 2866.42 | 39205.335 | -6339.4092 | 32865.9258 | 0 | 0 | 0 | 0 | 0 | 20.9 | 0 | 0 | 0 | 20.9 | 20.9 | 32886.8258 | TOTAL | 19822.365 | 1921.5 | 7885 | 29628.865 | 32851.9333 |  |  | 32840.4333 | 32840.4333 | 32865.9258 | 20.9 | 38 | 09.15-09.30 | 49.99 |  | 1587
[34 empty] | 39 | 09.30-09.45 | 49.97 |  | 1586
[34 empty] | 40 | 09.45-10.00 | 49.99 | 49.99 | 1584 | 1587
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 50.0036; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 49.98 |  | 1568
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1592; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 49.99 |  | 1573
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1592; 5+6 P6 14: MW | MAX = | 1592 | [10 empty] | 43 | 10.30-10.45 | 49.93 |  | 1587
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 1152; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 1152 | [10 empty] | 44 | 10.45-11.00 | 49.91 | 49.9525 | 1556 | 1571
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 22881.415; 5+6 P6 14: MWH; 5+6 P11 19: 36.164; 5+6 P11/1000 20: 22845.251 | [12 empty] | 45 | 11.00-11.15 | 49.94 |  | 1532
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 7901; 5+6 P6 14: MWH; 5+6 P11 19: 8.41; 5+6 P11/1000 20: 7892.59 | [12 empty] | 46 | 11.15-11.30 | 49.95 |  | 1502
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 1926; 5+6 P6 14: MWH; 5+6 P11 19: 15.158; 5+6 P11/1000 20: 1910.842 | [12 empty] | 47 | 11.30-11.45 | 50.01 |  | 1463
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 95; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 49.99 | 49.9725 | 1452 | 1487.25
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 95; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 49.98 |  | 1460
|  |  | Max.generation of Malana at 100 Hrs. |  |  |  | 5+6 P4 12: 95; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 49.95 |  | 1476
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [16 empty] | 1451
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 892.8292; 5+6 P4 12: 1073.6271; 5+6 P11 19: 228.8141; 5+6 P11/1000 20: 228.4525 | [12 empty] | 51 | 12.30-12.45 | 49.96 |  | 1442
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 383.3105; 5+6 P4 12: 438.5332; 5+6 P11 19: 100.8177; 5+6 P11/1000 20: 100.5086 | [12 empty] | 52 | 12.45-13.00 | 49.89 | 49.945 | 1399 | 1445.6
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 509.5187; 5+6 P4 12: 635.094; 5+6 P11 19: 127.9965; 5+6 P11/1000 20: 127.944 | [12 empty] | 53 | 13.00-13.15 | 49.96 |  | 1390
[34 empty] | 55 | 13.30-13.45 | 49.99 |  | 1384
HOURLY LOAD SHEDDING UNDER DIFFERENT CATEGORIES | [6 empty] | 5+6 P1 9: DATE; 5+6 P2 10: 2022-09-04 01:53 | [12 empty] | 56 | 13.45-14.00 | 50.01 | 49.9867 | 1367 | 1380.3333
LOAD NOT SERVED DUE TO | [33 empty] | 57 | 14.00-14.15 | 49.98 |  | 1386 | bar: 7 to 5+6 P2 10
Hrs | Low Availablity (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) |  | 7: Planned maintenance in distribution system (in MW); 8: Distribution constraints (in MW); 5+6 P1 9: Any other reasion ( to be specfied) (MW); 5+6 P2 10: Total (in MW) | [12 empty] | 58 | 14.15-14.30 | 50.01 |  | 1383
1 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 59 | 14.30-14.45 | 49.93 |  | 1405
2 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 60 | 14.45-15.00 | 49.99 | 49.9775 | 1397 | 1392.75
3 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 61 | 15.00-15.15 | 50.01 |  | 1382
4 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 62 | 15.15-15.30 | 50 |  | 1382
5 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 63 | 15.30-15.45 | 50.02 |  | 1374
6 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 64 | 15.45-16.00 | 50 | 50.0075 | 1405 | 1385.75
7 | 0 | 0 | 0 |  | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 65 | 16.00-16.15 | 50.06 |  | 1420
8 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 66 | 16.15-16.30 | 50.02 |  | 1422
9 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 67 | 16.30-16.45 | 49.98 |  | 1405
10 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 68 | 16.45-17.00 | 49.99 | 50.0125 | 1407 | 1413.5
11 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 69 | 17.00-17.15 | 50.02 |  | 1400
12 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 70 | 17.15-17.30 | 50.02 |  | 1406
13 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 71 | 17.30-17.45 | 50.03 |  | 1396
14 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 72 | 17.45-18.00 | 50.03 | 50.025 | 1384 | 1396.5
15 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 73 | 18.00-18.15 | 50.07 |  | 1379
16 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 74 | 18.15-18.30 | 50.4 |  | 1371
17 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 75 | 18.30-18.45 | 50.03 |  | 1370
18 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 76 | 18.45-19.00 | 50.01 | 50.1275 | 1391 | 1377.75
19 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 77 | 19.00-19.15 | 49.93 |  | 1426
20 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 78 | 19.15-19.30 | 50.01 |  | 1459
21 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 79 | 19.30-19.45 | 50 |  | 1458
22 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 80 | 19.45-20.00 | 50.01 | 49.9875 | 1440 | 1445.75
23 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 81 | 20.00-20.15 | 50.02 |  | 1410
24 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 82 | 20.15-20.30 | 50.01 |  | 1407
Total | [33 empty] | 83 | 20.30-20.45 | 50.02 |  | 1382
[34 empty] | 84 | 20.45-21.00 | 50.03 | 50.02 | 1355 | 1388.5
[34 empty] | 85 | 21.00-21.15 | 50.01 |  | 1335
[34 empty] | 86 | 21.15-21.30 | 50.02 |  | 1321
[34 empty] | 87 | 21.30-21.45 | 50.02 |  | 1301
[34 empty] | 88 | 21.45-22.00 | 50.03 | 50.02 | 1281 | 1309.5
[34 empty] | 89 | 22.00-22.15 | 50.04 |  | 1271
[34 empty] | 90 | 22.15-22.30 | 50.04 |  | 1253
[34 empty] | 91 | 22.30-22.45 | 50.01 |  | 1241
[34 empty] | 92 | 22.45-23.00 | 50.01 | 50.025 | 1234 | 1249.75
[34 empty] | 93 | 23.00-23.15 | 50.01 |  | 1213
[34 empty] | 94 | 23.15-23.30 | 50.03 |  | 1206
[34 empty] | 95 | 23.30-23.45 | 50.03 |  | 1192
[34 empty] | 96 | 23.45-24.00 | 50.06 | 50.0325 | 1187 | 1199.5
[35 empty] | Total | 50.0046 | 50.0044 | 32868.25 | 32851.9333
[35 empty] | max | 1592 |  | avg. max | 1587
[35 empty] | min | 1152 |  | avg. min | 1168.75
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.