## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2022-09-04
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2022-09-05
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 29476 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 1805 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 7926.7 | MWh | MALANA-II | 1829 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1394 | [6 empty] | HOLI BAJOLI | 2866.996 | MWh |  |  |  |  | 1 | 00.00-00.15 | 50.03 |  | 1177
|  | Month/Day :- |  |  |  |  | 2022-09-04 | [10 empty] | Min.DEMAND(MW) |  | 1092 |  | ACTUAL OWN GENERATION |  |  | 22774.95 | MWh | SWARA KUDDU | 1230.6 | MWh |  |  |  |  | 2 | 00.15-00.30 | 50.04 |  | 1166
[34 empty] | 3 | 00.30-00.45 | 50.03 |  | 1162 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50.06 | 50.04 | 1170 | 1168.75 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 50.07 |  | 1166 |  |  |  | MALANA-2 | 84 | 84.75 | 84.75 | 71.75 | 60 | 60 | 59 | 61 | 61 | 60.75 | 59.75 | 60 | 60 | 60 | 109 | 110 | 111 | 56.75 | 56.5 | 101.25 | 101 | 100.25 | 70 | 70 | 1812.5
[34 empty] | 6 | 01.15-01.30 | 50.06 |  | 1153 |  |  |  | SWARA KUDDU | 37.5 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 73 | 74 | 74 | 74 | 74.5 | 75 | 75 | 79 | 75.75 | 1229.75
[34 empty] | 7 | 01.30-01.45 | 50.02 |  | 1121
[34 empty] | 8 | 01.45-02:00 | 50 | 50.0375 | 1123 | 1140.75
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50.01 |  | 1140 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 50.04 |  | 1136
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50.01 |  | 1130
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 49.99 | 50.0125 | 1138 | 1136
1 | 927.4804 | 95.6358 | 330.457 | 84 | 37.5 | 119.44 | 1594.5132 | -425.4936 | 1169.0197 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1169.0197 | 1 | 797.2975 | 95 | 329 | 1221.2975 | 1168.75 | 1177 | 1162 | 1168.75 | 1168.75 | 1169.0197 | 0 | 13 | 03.00-03.15 | 49.95 |  | 1109 |  | 95 | 1
2 | 917.767 | 90.099 | 330.457 | 84.75 | 37 | 119.46 | 1579.533 | -438.5198 | 1141.0132 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1141.0132 | 2 | 788.9475 | 89.5 | 329 | 1207.4475 | 1140.75 | 1166 | 1121 | 1140.75 | 1140.75 | 1141.0132 | 0 | 14 | 03.15-03.30 | 50.02 |  | 1111 |  | 89.5 | 2
3 | 890.1682 | 87.5823 | 330.457 | 84.75 | 37 | 119.42 | 1549.3775 | -413.1154 | 1136.2621 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1136.2621 | 3 | 765.2225 | 87 | 329 | 1181.2225 | 1136 | 1140 | 1130 | 1136 | 1136 | 1136.2621 | 0 | 15 | 03.30-03.45 | 50 |  | 1126 |  | 87 | 3
4 | 920.4426 | 87.5823 | 330.457 | 71.75 | 37 | 119.46 | 1566.6919 | -452.9349 | 1113.7569 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1113.7569 | 4 | 791.2475 | 87 | 329 | 1207.2475 | 1113.5 | 1126 | 1108 | 1113.5 | 1113.5 | 1113.7569 | 0 | 16 | 03.45-04.00 | 50 | 49.9925 | 1108 | 1113.5 | 87 | 4
5 | 954.6139 | 87.5823 | 330.457 | 60 | 37 | 119.42 | 1589.0732 | -497.0732 | 1092 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1092 | 5 | 820.6225 | 87 | 329 | 1236.6225 | 1097.75 | 1105 | 1092 | 1092 | 1092 | 1092 | 0 | 17 | 04.00-04.15 | 50 |  | 1092 |  | 87 | 5
6 | 969.9983 | 87.5823 | 330.457 | 60 | 37 | 119.46 | 1604.4976 | -465.7349 | 1138.7627 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1138.7627 | 6 | 833.8475 | 87 | 329 | 1249.8475 | 1138.5 | 1187 | 1101 | 1138.5 | 1138.5 | 1138.7627 | 0 | 18 | 04.15-04.30 | 49.98 |  | 1099 |  | 87 | 6
7 | 960.8665 | 61.9116 | 330.457 | 59 | 37 | 119.44 | 1568.6752 | -293.8811 | 1274.7941 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1274.7941 | 7 | 825.9975 | 61.5 | 329 | 1216.4975 | 1274.5 | 1335 | 1213 | 1274.5 | 1274.5 | 1274.7941 | 0 | 19 | 04.30-04.45 | 49.95 |  | 1095 |  | 61.5 | 7
8 | 957.5803 | 61.4083 | 330.457 | 61 | 37 | 119.44 | 1566.8856 | -194.3189 | 1372.5666 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1372.5666 | 8 | 823.1725 | 61 | 329 | 1213.1725 | 1372.25 | 1384 | 1353 | 1372.25 | 1372.25 | 1372.5666 | 0 | 20 | 04.45-05.00 | 50.01 | 49.985 | 1105 | 1097.75 | 61 | 8
9 | 931.0284 | 46.5595 | 330.457 | 61 | 37 | 119.42 | 1525.465 | -144.1463 | 1381.3187 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1381.3187 | 9 | 800.3475 | 46.25 | 329 | 1175.5975 | 1381 | 1391 | 1375 | 1381 | 1381 | 1381.3187 | 0 | 21 | 05.00-05.15 | 49.99 |  | 1101 |  | 46.25 | 9
10 | 900.8413 | 46.3079 | 330.457 | 60.75 | 37 | 119.42 | 1494.7762 | -100.7762 | 1394 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1394 | 10 | 774.3975 | 46 | 329 | 1149.3975 | 1380 | 1394 | 1362 | 1394 | 1394 | 1394 | 0 | 22 | 05.15-05.30 | 49.99 |  | 1116 |  | 46 | 10
11 | 883.6247 | 46.3079 | 330.457 | 59.75 | 37 | 119.5 | 1476.6396 | -143.8322 | 1332.8075 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1332.8075 | 11 | 759.5975 | 46 | 329 | 1134.5975 | 1332.5 | 1343 | 1321 | 1332.5 | 1332.5 | 1332.8075 | 0 | 23 | 05.30-05.45 | 50 |  | 1150 |  | 46 | 11
12 | 928.76 | 46.3079 | 330.457 | 60 | 37 | 119.58 | 1522.1049 | -216.3037 | 1305.8012 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1305.8012 | 12 | 798.3975 | 46 | 329 | 1173.3975 | 1305.5 | 1310 | 1299 | 1305.5 | 1305.5 | 1305.8012 | 0 | 24 | 05.45-06.00 | 50.01 | 49.9975 | 1187 | 1138.5 | 46 | 12
13 | 962.4951 | 46.3079 | 330.2059 | 60 | 37 | 119.62 | 1555.6289 | -268.1319 | 1287.497 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1287.497 | 13 | 827.3975 | 46 | 328.75 | 1202.1475 | 1287.2 | 1314 | 1240 | 1287.2 | 1287.2 | 1287.497 | 0 | 25 | 06.00-06.15 | 50 |  | 1213 |  | 46 | 13
14 | 969.5911 | 46.3079 | 330.457 | 60 | 37 | 119.44 | 1562.796 | -335.5129 | 1227.2831 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1227.2831 | 14 | 833.4975 | 46 | 329 | 1208.4975 | 1227 | 1230 | 1228 | 1227 | 1227 | 1227.2831 | 0 | 26 | 06.15-06.30 | 50.01 |  | 1249 |  | 46 | 14
15 | 965.7814 | 46.3079 | 330.457 | 109 | 37 | 119.47 | 1608.0163 | -373.2314 | 1234.7849 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1234.7849 | 15 | 830.2225 | 46 | 329 | 1205.2225 | 1234.5 | 1241 | 1229 | 1234.5 | 1234.5 | 1234.7849 | 0 | 27 | 06.30-06.45 | 50.03 |  | 1301 |  | 46 | 15
16 | 960.0813 | 69.7135 | 330.457 | 110 | 73 | 119.5 | 1662.7518 | -429.9674 | 1232.7844 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1232.7844 | 16 | 825.3225 | 69.25 | 329 | 1223.5725 | 1232.5 | 1240 | 1221 | 1232.5 | 1232.5 | 1232.7844 | 0 | 28 | 06.45-07.00 | 50.03 | 50.0175 | 1335 | 1274.5 | 69.25 | 16
17 | 953.8287 | 95.6358 | 330.457 | 111 | 74 | 119.49 | 1684.4115 | -489.3858 | 1195.0257 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1195.0257 | 17 | 819.9475 | 95 | 329 | 1243.9475 | 1194.75 | 1214 | 1182 | 1194.75 | 1194.75 | 1195.0257 | 0 | 29 | 07.00-07.15 | 50.02 |  | 1353 |  | 95 | 17
18 | 966.9156 | 95.6358 | 330.457 | 56.75 | 74 | 119.49 | 1643.2484 | -469.7277 | 1173.5207 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1173.5207 | 18 | 831.1975 | 95 | 329 | 1255.1975 | 1173.25 | 1183 | 1166 | 1173.25 | 1173.25 | 1173.5207 | 0 | 30 | 07.15-07.30 | 50.02 |  | 1378 |  | 95 | 18
19 | 965.2288 | 95.6358 | 329.9548 | 56.5 | 74 | 119.47 | 1640.7895 | -438.5121 | 1202.2774 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1202.2774 | 19 | 829.7475 | 95 | 328.5 | 1253.2475 | 1202 | 1234 | 1184 | 1202 | 1202 | 1202.2774 | 0 | 31 | 07.30-07.45 | 49.96 |  | 1384 |  | 95 | 19
20 | 941.9632 | 95.6358 | 329.7037 | 101.25 | 74.5 | 119.47 | 1662.5228 | -365.4735 | 1297.0492 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1297.0492 | 20 | 809.7475 | 95 | 328.25 | 1232.9975 | 1296.75 | 1313 | 1279 | 1296.75 | 1296.75 | 1297.0492 | 0 | 32 | 07.45-08.00 | 49.99 | 49.9975 | 1374 | 1372.25 | 95 | 20
21 | 933.5876 | 95.6358 | 329.4526 | 101 | 75 | 119.42 | 1654.096 | -384.5532 | 1269.5429 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1269.5429 | 21 | 802.5475 | 95 | 328 | 1225.5475 | 1269.25 | 1292 | 1248 | 1269.25 | 1269.25 | 1269.5429 | 0 | 33 | 08.00-08.15 | 49.98 |  | 1391 |  | 95 | 21
22 | 978.7229 | 95.6358 | 329.4526 | 100.25 | 75 | 119.44 | 1698.5013 | -490.2226 | 1208.2787 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1208.2787 | 22 | 841.3475 | 95 | 328 | 1264.3475 | 1208 | 1233 | 1186 | 1208 | 1208 | 1208.2787 | 0 | 34 | 08.15-08.30 | 50.01 |  | 1375 |  | 95 | 22
23 | 1009.4917 | 90.099 | 329.7037 | 70 | 79 | 119.49 | 1697.7844 | -530.015 | 1167.7694 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1167.7694 | 23 | 867.7975 | 89.5 | 328.25 | 1285.5475 | 1167.5 | 1178 | 1152 | 1167.5 | 1167.5 | 1167.7694 | 0 | 35 | 08.30-08.45 | 50.01 |  | 1378 |  | 89.5 | 23
24 | 1024.0908 | 87.5823 | 330.457 | 70 | 75.75 | 119.44 | 1707.3201 | -579.81 | 1127.5101 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1127.5101 | 24 | 880.3475 | 87 | 329 | 1296.3475 | 1127.25 | 1153 | 1107 | 1127.25 | 1127.25 | 1127.5101 | 0 | 36 | 08.45-09.00 | 50.01 | 50.0025 | 1380 | 1381 | 87 | 24
[34 empty] | 37 | 09.00-09.15 | 50.01 |  | 1375
TOTAL (in MWh) | 22774.95 | 1805 | 7926.7 | 1812.5 | 1229.75 | 2867.2 | 38416.1 | -8940.6736 | 29475.4264 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29475.4264 | TOTAL | 19578.215 | 1793 | 7891.75 | 29262.965 | 29460.95 |  |  | 29469.2 | 29469.2 | 29475.4264 | 0 | 38 | 09.15-09.30 | 50.07 |  | 1394
[34 empty] | 39 | 09.30-09.45 | 50.07 |  | 1389
[34 empty] | 40 | 09.45-10.00 | 50.07 | 50.055 | 1362 | 1380
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 50.0059; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 50.08 |  | 1343
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1394; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 50.03 |  | 1332
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1394; 5+6 P6 14: MW | MAX = | 1394 | [10 empty] | 43 | 10.30-10.45 | 50.01 |  | 1321
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 1092; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 1092 | [10 empty] | 44 | 10.45-11.00 | 49.9 | 50.005 | 1334 | 1332.5
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 22774.95; 5+6 P6 14: MWH; 5+6 P11 19: 33.557; 5+6 P11/1000 20: 22741.393 | [12 empty] | 45 | 11.00-11.15 | 49.91 |  | 1310
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 7926.7; 5+6 P6 14: MWH; 5+6 P11 19: 8.22; 5+6 P11/1000 20: 7918.48 | [12 empty] | 46 | 11.15-11.30 | 49.87 |  | 1306
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 1805; 5+6 P6 14: MWH; 5+6 P11 19: 11.758; 5+6 P11/1000 20: 1793.242 | [12 empty] | 47 | 11.30-11.45 | 49.83 |  | 1299
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 87; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 49.92 | 49.8825 | 1307 | 1305.5
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 87; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 49.86 |  | 1314
|  |  | Max.generation of Malana at 100 Hrs. |  |  |  | 5+6 P4 12: 95; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 49.88 |  | 1314
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [16 empty] | 1294
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 876.208; 5+6 P4 12: 1025.0696; 5+6 P11 19: 227.7495; 5+6 P11/1000 20: 227.4139 | [12 empty] | 51 | 12.30-12.45 | 50.02 |  | 1274
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 386.324; 5+6 P4 12: 392.0052; 5+6 P11 19: 98.646; 5+6 P11/1000 20: 98.364 | [12 empty] | 52 | 12.45-13.00 | 49.99 | 49.9375 | 1240 | 1287.2
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 489.884; 5+6 P4 12: 633.0644; 5+6 P11 19: 129.1035; 5+6 P11/1000 20: 129.0499 | [12 empty] | 53 | 13.00-13.15 | 50.03 |  | 1223
[34 empty] | 55 | 13.30-13.45 | 50.02 |  | 1228
HOURLY LOAD SHEDDING UNDER DIFFERENT CATEGORIES | [6 empty] | 5+6 P1 9: DATE; 5+6 P2 10: 2022-09-05 01:35 | [12 empty] | 56 | 13.45-14.00 | 50.01 | 50.02 | 1230 | 1227
LOAD NOT SERVED DUE TO | [33 empty] | 57 | 14.00-14.15 | 50.09 |  | 1241 | bar: 7 to 5+6 P2 10
Hrs | Low Availablity (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) |  | 7: Planned maintenance in distribution system (in MW); 8: Distribution constraints (in MW); 5+6 P1 9: Any other reasion ( to be specfied) (MW); 5+6 P2 10: Total (in MW) | [12 empty] | 58 | 14.15-14.30 | 50.08 |  | 1237
1 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 59 | 14.30-14.45 | 50.07 |  | 1231
2 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 60 | 14.45-15.00 | 50.06 | 50.075 | 1229 | 1234.5
3 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 61 | 15.00-15.15 | 50.08 |  | 1239
4 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 62 | 15.15-15.30 | 50.04 |  | 1240
5 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 63 | 15.30-15.45 | 50.05 |  | 1221
6 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 64 | 15.45-16.00 | 50.01 | 50.045 | 1230 | 1232.5
7 | 0 | 0 | 0 |  | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 65 | 16.00-16.15 | 50.05 |  | 1214
8 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 66 | 16.15-16.30 | 50.02 |  | 1199
9 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 67 | 16.30-16.45 | 49.99 |  | 1182
10 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 68 | 16.45-17.00 | 49.83 | 49.9725 | 1184 | 1194.75
11 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 69 | 17.00-17.15 | 50.01 |  | 1183
12 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 70 | 17.15-17.30 | 49.99 |  | 1168
13 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 71 | 17.30-17.45 | 50.01 |  | 1166
14 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 72 | 17.45-18.00 | 50.01 | 50.005 | 1176 | 1173.25
15 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 73 | 18.00-18.15 | 50.04 |  | 1184
16 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 74 | 18.15-18.30 | 49.98 |  | 1187
17 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 75 | 18.30-18.45 | 50.02 |  | 1203
18 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 76 | 18.45-19.00 | 50.02 | 50.015 | 1234 | 1202
19 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 77 | 19.00-19.15 | 49.99 |  | 1279
20 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 78 | 19.15-19.30 | 50.02 |  | 1292
21 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 79 | 19.30-19.45 | 50.07 |  | 1313
22 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 80 | 19.45-20.00 | 50 | 50.02 | 1303 | 1296.75
23 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 81 | 20.00-20.15 | 50.04 |  | 1292
24 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 82 | 20.15-20.30 | 50.03 |  | 1284
Total | [33 empty] | 83 | 20.30-20.45 | 50.02 |  | 1253
[34 empty] | 84 | 20.45-21.00 | 50.03 | 50.03 | 1248 | 1269.25
[34 empty] | 85 | 21.00-21.15 | 50.04 |  | 1233
[34 empty] | 86 | 21.15-21.30 | 50.02 |  | 1210
[34 empty] | 87 | 21.30-21.45 | 50.02 |  | 1203
[34 empty] | 88 | 21.45-22.00 | 50.03 | 50.0275 | 1186 | 1208
[34 empty] | 89 | 22.00-22.15 | 50 |  | 1171
[34 empty] | 90 | 22.15-22.30 | 49.95 |  | 1178
[34 empty] | 91 | 22.30-22.45 | 49.99 |  | 1169
[34 empty] | 92 | 22.45-23.00 | 49.92 | 49.965 | 1152 | 1167.5
[34 empty] | 93 | 23.00-23.15 | 49.98 |  | 1153
[34 empty] | 94 | 23.15-23.30 | 50.01 |  | 1136
[34 empty] | 95 | 23.30-23.45 | 49.98 |  | 1113
[34 empty] | 96 | 23.45-24.00 | 50.02 | 49.9975 | 1107 | 1127.25
[35 empty] | Total | 50.0055 | 50.0056 | 29476 | 29460.95
[35 empty] | max | 1394 |  | avg. max | 1381
[35 empty] | min | 1092 |  | avg. min | 1097.75
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.