## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2022-09-16
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2022-09-17
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 35212.75 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 1359 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 6948.7 | MWh | MALANA-II | 1407 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1721 | [6 empty] | HOLI BAJOLI | 2394 | MWh |  |  |  |  | 1 | 00.00-00.15 | 50.03 |  | 1239
|  | Month/Day :- |  |  |  |  | 2022-09-16 | [10 empty] | Min.DEMAND(MW) |  | 1197 |  | ACTUAL OWN GENERATION |  |  | 19336.999 | MWh | SWARA KUDDU | 1481.427 | MWh |  |  |  |  | 2 | 00.15-00.30 | 50.03 |  | 1242
[34 empty] | 3 | 00.30-00.45 | 50.04 |  | 1223 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50.04 | 50.035 | 1212 | 1229 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 50.02 |  | 1216 |  |  |  | MALANA-2 | 49.25 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 49.75 | 40 | 39.75 | 40 | 40 | 40 | 40 | 40 | 44.25 | 91.75 | 100.75 | 100 | 100 | 99.25 | 70 | 70 | 1404.75
[34 empty] | 6 | 01.15-01.30 | 50.02 |  | 1223 |  |  |  | SWARA KUDDU | 74 | 57.75 | 41 | 41 | 41 | 41 | 41 | 81 | 81 | 81 | 81 | 81 | 77.75 | 74 | 37.25 | 37 | 37 | 37 | 37 | 40 | 81 | 81 | 86 | 89 | 1455.75
[34 empty] | 7 | 01.30-01.45 | 50.01 |  | 1218
[34 empty] | 8 | 01.45-02:00 | 50.07 | 50.03 | 1220 | 1219.25
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50.03 |  | 1207 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 50 |  | 1210
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50.02 |  | 1203
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.02 | 50.0175 | 1201 | 1205.25
1 | 760.5981 | 66.311 | 326.75 | 49.25 | 74 | 113.12 | 1390.0291 | -160.5222 | 1229.5069 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1229.5069 | 1 | 650.8475 | 66.25 | 326 | 1043.0975 | 1229 | 1242 | 1212 | 1229 | 1229 | 1229.5069 | 0 | 13 | 03.00-03.15 | 50.07 |  | 1214 |  | 66.25 | 1
2 | 779.0039 | 64.5594 | 326.75 | 50 | 57.75 | 93.1 | 1371.1633 | -151.4105 | 1219.7529 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1219.7529 | 2 | 666.5975 | 64.5 | 326 | 1057.0975 | 1219.25 | 1223 | 1216 | 1219.25 | 1219.25 | 1219.7529 | 0 | 14 | 03.15-03.30 | 50.1 |  | 1213 |  | 64.5 | 2
3 | 795.803 | 44.0405 | 326.75 | 50 | 41 | 93.17 | 1350.7635 | -145.0164 | 1205.7471 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1205.7471 | 3 | 680.9725 | 44 | 326 | 1050.9725 | 1205.25 | 1210 | 1201 | 1205.25 | 1205.25 | 1205.7471 | 0 | 15 | 03.30-03.45 | 50.1 |  | 1206 |  | 44 | 3
4 | 805.2981 | 44.0405 | 326.75 | 50 | 41 | 92.18 | 1359.2686 | -162.2686 | 1197 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1197 | 4 | 689.0975 | 44 | 326 | 1059.0975 | 1207.5 | 1214 | 1197 | 1197 | 1197 | 1197 | 0 | 16 | 03.45-04.00 | 50.08 | 50.0875 | 1197 | 1207.5 | 44 | 4
5 | 811.112 | 44.0405 | 326.75 | 50 | 41 | 92.16 | 1365.0625 | -142.5585 | 1222.504 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1222.504 | 5 | 694.0725 | 44 | 326 | 1064.0725 | 1222 | 1233 | 1218 | 1222 | 1222 | 1222.504 | 0 | 17 | 04.00-04.15 | 50.04 |  | 1218 |  | 44 | 5
6 | 817.0428 | 44.0405 | 326.75 | 50 | 41 | 93.14 | 1371.9733 | -64.6843 | 1307.2889 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1307.2889 | 6 | 699.1475 | 44 | 326 | 1069.1475 | 1306.75 | 1363 | 1258 | 1306.75 | 1306.75 | 1307.2889 | 0 | 18 | 04.15-04.30 | 50.03 |  | 1219 |  | 44 | 6
7 | 830.482 | 44.0405 | 326.75 | 50 | 41 | 93.14 | 1385.4125 | 163.476 | 1548.8885 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1548.8885 | 7 | 710.6475 | 44 | 326 | 1080.6475 | 1548.25 | 1638 | 1447 | 1548.25 | 1548.25 | 1548.8885 | 0 | 19 | 04.30-04.45 | 50.04 |  | 1218 |  | 44 | 7
8 | 814.3841 | 36.2834 | 316.2259 | 50 | 81 | 92.22 | 1390.1134 | 330.8866 | 1721 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1721 | 8 | 696.8725 | 36.25 | 315.5 | 1048.6225 | 1709 | 1721 | 1688 | 1721 | 1721 | 1721 | 0 | 20 | 04.45-05.00 | 50.04 | 50.0375 | 1233 | 1222 | 36.25 | 8
9 | 791.8004 | 36.0331 | 295.1775 | 49.75 | 81 | 95.39 | 1349.1511 | 317.2859 | 1666.437 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1666.437 | 9 | 677.5475 | 36 | 294.5 | 1008.0475 | 1665.75 | 1686 | 1658 | 1665.75 | 1665.75 | 1666.437 | 0 | 21 | 05.00-05.15 | 50.01 |  | 1258 |  | 36 | 9
10 | 791.5667 | 36.0331 | 277.6373 | 40 | 81 | 95.39 | 1321.6271 | 358.3155 | 1679.9426 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1679.9426 | 10 | 677.3475 | 36 | 277 | 990.3475 | 1679.25 | 1689 | 1662 | 1679.25 | 1679.25 | 1679.9426 | 0 | 22 | 05.15-05.30 | 50 |  | 1293 |  | 36 | 10
11 | 773.453 | 36.0331 | 255.3361 | 39.75 | 81 | 95.41 | 1280.9822 | 380.7028 | 1661.685 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1661.685 | 11 | 661.8475 | 36 | 254.75 | 952.5975 | 1661 | 1679 | 1648 | 1661 | 1661 | 1661.685 | 0 | 23 | 05.30-05.45 | 49.96 |  | 1313 |  | 36 | 11
12 | 781.4581 | 36.0331 | 267.6143 | 40 | 81 | 95.39 | 1301.4955 | 344.4331 | 1645.9285 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1645.9285 | 12 | 668.6975 | 36 | 267 | 971.6975 | 1645.25 | 1666 | 1624 | 1645.25 | 1645.25 | 1645.9285 | 0 | 24 | 05.45-06.00 | 50 | 49.9925 | 1363 | 1306.75 | 36 | 12
13 | 789.1126 | 36.0331 | 255.3361 | 40 | 77.75 | 95.36 | 1293.5918 | 322.4744 | 1616.0662 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1616.0662 | 13 | 675.2475 | 36 | 254.75 | 965.9975 | 1615.4 | 1661 | 1549 | 1615.4 | 1615.4 | 1616.0662 | 0 | 25 | 06.00-06.15 | 50.02 |  | 1447 |  | 36 | 13
14 | 713.9114 | 36.0331 | 201.9636 | 40 | 74 | 95.36 | 1161.2681 | 390.705 | 1551.9731 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1551.9731 | 14 | 610.8975 | 36 | 201.5 | 848.3975 | 1551.3333 | 1558 | 1546 | 1551.3333 | 1551.3333 | 1551.9731 | 0 | 26 | 06.15-06.30 | 50 |  | 1525 |  | 36 | 14
15 | 716.8622 | 36.0331 | 261.8511 | 40 | 37.25 | 92.14 | 1184.1364 | 401.2672 | 1585.4036 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1585.4036 | 15 | 613.4225 | 36 | 261.25 | 910.6725 | 1584.75 | 1589 | 1579 | 1584.75 | 1584.75 | 1585.4036 | 0 | 27 | 06.30-06.45 | 49.95 |  | 1583 |  | 36 | 15
16 | 724.9257 | 45.7921 | 245.0625 | 40 | 37 | 90.3 | 1183.0804 | 393.0694 | 1576.1498 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1576.1498 | 16 | 620.3225 | 45.75 | 244.5 | 910.5725 | 1575.5 | 1577 | 1574 | 1575.5 | 1575.5 | 1576.1498 | 0 | 28 | 06.45-07.00 | 50.01 | 49.995 | 1638 | 1548.25 | 45.75 | 16
17 | 773.9788 | 46.2926 | 259.0947 | 44.25 | 37 | 90.32 | 1250.9362 | 317.9606 | 1568.8968 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1568.8968 | 17 | 662.2975 | 46.25 | 258.5 | 967.0475 | 1568.25 | 1574 | 1562 | 1568.25 | 1568.25 | 1568.8968 | 0 | 29 | 07.00-07.15 | 49.98 |  | 1688 |  | 46.25 | 17
18 | 805.9408 | 84.828 | 266.612 | 91.75 | 37 | 95.3 | 1381.4308 | 115.6864 | 1497.1172 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1497.1172 | 18 | 689.6475 | 84.75 | 266 | 1040.3975 | 1496.5 | 1526 | 1470 | 1496.5 | 1496.5 | 1497.1172 | 0 | 30 | 07.15-07.30 | 50 |  | 1721 |  | 84.75 | 18
19 | 838.6624 | 92.0847 | 287.1591 | 100.75 | 37 | 95.25 | 1450.9062 | 70.471 | 1521.3772 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1521.3772 | 19 | 717.6475 | 92 | 286.5 | 1096.1475 | 1520.75 | 1548 | 1493 | 1520.75 | 1520.75 | 1521.3772 | 0 | 31 | 07.30-07.45 | 50.02 |  | 1716 |  | 92 | 19
20 | 886.5761 | 78.0718 | 265.3591 | 100 | 40 | 115.04 | 1485.047 | 37.0805 | 1522.1275 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1522.1275 | 20 | 758.6475 | 78 | 264.75 | 1101.3975 | 1521.5 | 1542 | 1491 | 1521.5 | 1521.5 | 1522.1275 | 0 | 32 | 07.45-08.00 | 50.04 | 50.01 | 1711 | 1709 | 78 | 20
21 | 881.0251 | 93.0856 | 261.6005 | 100 | 81 | 115.02 | 1531.7312 | -73.1299 | 1458.6013 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1458.6013 | 21 | 753.8975 | 93 | 261 | 1107.8975 | 1458 | 1475 | 1444 | 1458 | 1458 | 1458.6013 | 0 | 33 | 08.00-08.15 | 50.05 |  | 1686 |  | 93 | 21
22 | 899.3725 | 93.0856 | 319.7339 | 99.25 | 81 | 115.02 | 1607.4621 | -209.6358 | 1397.8263 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1397.8263 | 22 | 769.5975 | 93 | 319 | 1181.5975 | 1397.25 | 1419 | 1371 | 1397.25 | 1397.25 | 1397.8263 | 0 | 34 | 08.15-08.30 | 50.03 |  | 1658 |  | 93 | 22
23 | 888.5627 | 93.0856 | 318.9822 | 70 | 86 | 113.04 | 1569.6705 | -232.8694 | 1336.8011 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1336.8011 | 23 | 760.3475 | 93 | 318.25 | 1171.5975 | 1336.25 | 1362 | 1314 | 1336.25 | 1336.25 | 1336.8011 | 0 | 35 | 08.30-08.45 | 50.05 |  | 1659 |  | 93 | 23
24 | 866.0667 | 93.0856 | 306.704 | 70 | 89 | 113.04 | 1537.8963 | -264.3713 | 1273.525 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1273.525 | 24 | 741.0975 | 93 | 306 | 1140.0975 | 1273 | 1282 | 1266 | 1273 | 1273 | 1273.525 | 0 | 36 | 08.45-09.00 | 50.06 | 50.0475 | 1660 | 1665.75 | 93 | 24
[34 empty] | 37 | 09.00-09.15 | 50.03 |  | 1662
TOTAL (in MWh) | 19336.999 | 1359 | 6948.7 | 1404.75 | 1455.75 | 2369 | 32874.199 | 2337.3475 | 35211.5465 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35211.5465 | TOTAL | 16546.765 | 1357.75 | 6932.75 | 24837.265 | 35196.7333 |  |  | 35198.2333 | 35198.2333 | 35211.5465 | 0 | 38 | 09.15-09.30 | 50.06 |  | 1683
[34 empty] | 39 | 09.30-09.45 | 50.11 |  | 1689
[34 empty] | 40 | 09.45-10.00 | 50.13 | 50.0825 | 1683 | 1679.25
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 50.0258; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 50.1 |  | 1666
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1721; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 50.05 |  | 1679
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1721; 5+6 P6 14: MW | MAX = | 1721 | [10 empty] | 43 | 10.30-10.45 | 50.04 |  | 1651
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 1197; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 1197 | [10 empty] | 44 | 10.45-11.00 | 50.02 | 50.0525 | 1648 | 1661
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 19336.999; 5+6 P6 14: MWH; 5+6 P11 19: 30.783; 5+6 P11/1000 20: 19306.216 | [12 empty] | 45 | 11.00-11.15 | 50.04 |  | 1624
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 6948.7; 5+6 P6 14: MWH; 5+6 P11 19: 8.49; 5+6 P11/1000 20: 6940.21 | [12 empty] | 46 | 11.15-11.30 | 50 |  | 1636
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 1359; 5+6 P6 14: MWH; 5+6 P11 19: 15.267; 5+6 P11/1000 20: 1343.733 | [12 empty] | 47 | 11.30-11.45 | 50.01 |  | 1655
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 44; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 50.04 | 50.0225 | 1666 | 1645.25
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 93; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 50.02 |  | 1661
|  |  | Max.generation of Malana at 2100 Hrs. |  |  |  | 5+6 P4 12: 93; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 50.01 |  | 1632
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [16 empty] | 1635
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 719.5735; 5+6 P4 12: 1010.5162; 5+6 P11 19: 193.37; 5+6 P11/1000 20: 193.0622 | [12 empty] | 51 | 12.30-12.45 | 50.04 |  | 1600
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 345.1486; 5+6 P4 12: 362.7071; 5+6 P11 19: 77.676; 5+6 P11/1000 20: 77.4239 | [12 empty] | 52 | 12.45-13.00 | 50.05 | 50.03 | 1549 | 1615.4
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 374.4249; 5+6 P4 12: 647.8091; 5+6 P11 19: 115.694; 5+6 P11/1000 20: 115.6383 | [12 empty] | 53 | 13.00-13.15 | 50.21 |  | 1550
[34 empty] | 55 | 13.30-13.45 | 50.06 |  | 1546
HOURLY LOAD SHEDDING UNDER DIFFERENT CATEGORIES | [6 empty] | 5+6 P1 9: DATE; 5+6 P2 10: 2022-09-17 02:27 | [12 empty] | 56 | 13.45-14.00 | 50.08 | 50.1167 | 1558 | 1551.3333
LOAD NOT SERVED DUE TO | [33 empty] | 57 | 14.00-14.15 | 50.11 |  | 1589 | bar: 7 to 5+6 P2 10
Hrs | Low Availablity (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) |  | 7: Planned maintenance in distribution system (in MW); 8: Distribution constraints (in MW); 5+6 P1 9: Any other reasion ( to be specfied) (MW); 5+6 P2 10: Total (in MW) | [12 empty] | 58 | 14.15-14.30 | 50.01 |  | 1588
1 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 59 | 14.30-14.45 | 50.04 |  | 1579
2 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 60 | 14.45-15.00 | 49.96 | 50.03 | 1583 | 1584.75
3 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 61 | 15.00-15.15 | 50.02 |  | 1577
4 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 62 | 15.15-15.30 | 50.01 |  | 1574
5 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 63 | 15.30-15.45 | 49.98 |  | 1577
6 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 64 | 15.45-16.00 | 50.04 | 50.0125 | 1574 | 1575.5
7 | 0 | 0 | 0 |  | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 65 | 16.00-16.15 | 50.02 |  | 1573
8 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 66 | 16.15-16.30 | 49.97 |  | 1562
9 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 67 | 16.30-16.45 | 49.97 |  | 1564
10 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 68 | 16.45-17.00 | 49.95 | 49.9775 | 1574 | 1568.25
11 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 69 | 17.00-17.15 | 50.06 |  | 1526
12 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 70 | 17.15-17.30 | 50.01 |  | 1495
13 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 71 | 17.30-17.45 | 49.99 |  | 1470
14 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 72 | 17.45-18.00 | 49.89 | 49.9875 | 1495 | 1496.5
15 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 73 | 18.00-18.15 | 49.96 |  | 1493
16 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 74 | 18.15-18.30 | 49.82 |  | 1501
17 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 75 | 18.30-18.45 | 49.99 |  | 1541
18 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 76 | 18.45-19.00 | 49.96 | 49.9325 | 1548 | 1520.75
19 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 77 | 19.00-19.15 | 50.01 |  | 1542
20 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 78 | 19.15-19.30 | 50 |  | 1536
21 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 79 | 19.30-19.45 | 50.03 |  | 1517
22 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 80 | 19.45-20.00 | 50.07 | 50.0275 | 1491 | 1521.5
23 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 81 | 20.00-20.15 | 50.02 |  | 1475
24 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 82 | 20.15-20.30 | 50 |  | 1462
Total | [33 empty] | 83 | 20.30-20.45 | 50 |  | 1451
[34 empty] | 84 | 20.45-21.00 | 49.99 | 50.0025 | 1444 | 1458
[34 empty] | 85 | 21.00-21.15 | 49.94 |  | 1419
[34 empty] | 86 | 21.15-21.30 | 49.99 |  | 1410
[34 empty] | 87 | 21.30-21.45 | 50.03 |  | 1389
[34 empty] | 88 | 21.45-22.00 | 50.04 | 50 | 1371 | 1397.25
[34 empty] | 89 | 22.00-22.15 | 50.03 |  | 1362
[34 empty] | 90 | 22.15-22.30 | 50.03 |  | 1353
[34 empty] | 91 | 22.30-22.45 | 50.08 |  | 1316
[34 empty] | 92 | 22.45-23.00 | 50.09 | 50.0575 | 1314 | 1336.25
[34 empty] | 93 | 23.00-23.15 | 50.06 |  | 1282
[34 empty] | 94 | 23.15-23.30 | 50.04 |  | 1274
[34 empty] | 95 | 23.30-23.45 | 50 |  | 1270
[34 empty] | 96 | 23.45-24.00 | 50.01 | 50.0275 | 1266 | 1273
[35 empty] | Total | 50.0245 | 50.0255 | 35212.75 | 35196.7333
[35 empty] | max | 1721 |  | avg. max | 1709
[35 empty] | min | 1197 |  | avg. min | 1205.25
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.