## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2022-09-17
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2022-09-18
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 34438.5 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 1521 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 6976.9 | MWh | MALANA-II | 1485 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1643 | [6 empty] | HOLI BAJOLI | 1964.451 | MWh |  |  |  |  | 1 | 00.00-00.15 | 50 |  | 1267
|  | Month/Day :- |  |  |  |  | 2022-09-17 | [10 empty] | Min.DEMAND(MW) |  | 1220 |  | ACTUAL OWN GENERATION |  |  | 19718.414 | MWh | SWARA KUDDU | 1814.91 | MWh |  |  |  |  | 2 | 00.15-00.30 | 50 |  | 1258
[34 empty] | 3 | 00.30-00.45 | 49.98 |  | 1277 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 49.99 | 49.9925 | 1269 | 1267.75 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 49.96 |  | 1285 |  |  |  | MALANA-2 | 50 | 50 | 50 | 50 | 50 | 40 | 50 | 50 | 50 | 49.75 | 49.5 | 50 | 50 | 50 | 49.25 | 69 | 100.75 | 100.25 | 95.25 | 99.75 | 99.75 | 99.5 | 40.75 | 40.5 | 1484
[34 empty] | 6 | 01.15-01.30 | 49.99 |  | 1286 |  |  |  | SWARA KUDDU | 89 | 89 | 89 | 85 | 83.5 | 89 | 89 | 89 | 89 | 89 | 81.25 | 86.75 | 89 | 89 | 70.75 | 0 | 0 | 0 | 82.5 | 89 | 89 | 89 | 89 | 89 | 1824.75
[34 empty] | 7 | 01.30-01.45 | 49.98 |  | 1277
[34 empty] | 8 | 01.45-02:00 | 49.95 | 49.97 | 1266 | 1278.5
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.96 |  | 1263 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 49.95 |  | 1228
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50.01 |  | 1237
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.04 | 49.99 | 1220 | 1237
1 | 785.6399 | 67.6112 | 308.4381 | 50 | 89 | 93.23 | 1393.9192 | -125.7819 | 1268.1373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1268.1373 | 1 | 673.0975 | 67 | 306 | 1046.0975 | 1267.75 | 1277 | 1258 | 1267.75 | 1267.75 | 1268.1373 | 0 | 13 | 03.00-03.15 | 50.01 |  | 1226 |  | 67 | 1
2 | 768.4236 | 64.8361 | 317.7618 | 50 | 89 | 73.17 | 1363.1916 | -84.301 | 1278.8905 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1278.8905 | 2 | 658.3475 | 64.25 | 315.25 | 1037.8475 | 1278.5 | 1286 | 1266 | 1278.5 | 1278.5 | 1278.8905 | 0 | 14 | 03.15-03.30 | 50.01 |  | 1228 |  | 64.25 | 2
3 | 751.0615 | 40.3649 | 255.5198 | 50 | 89 | 73.25 | 1259.1962 | -39.1962 | 1220 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1220 | 3 | 643.4725 | 40 | 253.5 | 936.9725 | 1237 | 1263 | 1220 | 1220 | 1220 | 1220 | 0 | 15 | 03.30-03.45 | 49.99 |  | 1227 |  | 40 | 3
4 | 751.791 | 40.3649 | 239.8963 | 50 | 85 | 73.26 | 1240.3122 | -12.1872 | 1228.125 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1228.125 | 4 | 644.0975 | 40 | 238 | 922.0975 | 1227.75 | 1230 | 1226 | 1227.75 | 1227.75 | 1228.125 | 0 | 16 | 03.45-04.00 | 50.03 | 50.01 | 1230 | 1227.75 | 40 | 4
5 | 771.8961 | 40.3649 | 254.5118 | 50 | 83.5 | 73.3 | 1273.5728 | -28.1925 | 1245.3803 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1245.3803 | 5 | 661.3225 | 40 | 252.5 | 953.8225 | 1245 | 1261 | 1237 | 1245 | 1245 | 1245.3803 | 0 | 17 | 04.00-04.15 | 50.01 |  | 1237 |  | 40 | 5
6 | 799.121 | 46.1674 | 222.5089 | 40 | 89 | 73.26 | 1270.0572 | 60.099 | 1330.1562 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1330.1562 | 6 | 684.6475 | 45.75 | 220.75 | 951.1475 | 1329.75 | 1384 | 1288 | 1329.75 | 1329.75 | 1330.1562 | 0 | 18 | 04.15-04.30 | 50 |  | 1237 |  | 45.75 | 6
7 | 811.9602 | 46.4196 | 282.9869 | 50 | 89 | 73.3 | 1353.6668 | 184.3029 | 1537.9697 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1537.9697 | 7 | 695.6475 | 46 | 280.75 | 1022.3975 | 1537.5 | 1607 | 1436 | 1537.5 | 1537.5 | 1537.9697 | 0 | 19 | 04.30-04.45 | 49.98 |  | 1245 |  | 46 | 7
8 | 818.9343 | 46.4196 | 285.7588 | 50 | 89 | 73.3 | 1363.4127 | 264.5844 | 1627.9972 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1627.9972 | 8 | 701.6225 | 46 | 283.5 | 1031.1225 | 1627.5 | 1640 | 1620 | 1627.5 | 1627.5 | 1627.9972 | 0 | 20 | 04.45-05.00 | 49.96 | 49.9875 | 1261 | 1245 | 46 | 8
9 | 841.0235 | 46.4196 | 287.5228 | 50 | 89 | 75.34 | 1389.3059 | 238.1911 | 1627.497 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1627.497 | 9 | 720.5475 | 46 | 285.25 | 1051.7975 | 1627 | 1637 | 1622 | 1627 | 1627 | 1627.497 | 0 | 21 | 05.00-05.15 | 49.92 |  | 1288 |  | 46 | 9
10 | 852.4621 | 46.4196 | 267.6154 | 49.75 | 89 | 75.34 | 1380.5871 | 262.4129 | 1643 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1643 | 10 | 730.3475 | 46 | 265.5 | 1041.8475 | 1627.75 | 1643 | 1615 | 1643 | 1643 | 1643 | 0 | 22 | 05.15-05.30 | 49.95 |  | 1307 |  | 46 | 10
11 | 837.5803 | 46.4196 | 248.968 | 49.5 | 81.25 | 75.34 | 1339.0579 | 218.1676 | 1557.2255 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1557.2255 | 11 | 717.5975 | 46 | 247 | 1010.5975 | 1556.75 | 1585 | 1524 | 1556.75 | 1556.75 | 1557.2255 | 0 | 23 | 05.30-05.45 | 50 |  | 1340 |  | 46 | 11
12 | 823.107 | 47.4288 | 251.4879 | 50 | 86.75 | 75.34 | 1334.1137 | 170.3457 | 1504.4594 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1504.4594 | 12 | 705.1975 | 47 | 249.5 | 1001.6975 | 1504 | 1514 | 1492 | 1504 | 1504 | 1504.4594 | 0 | 24 | 05.45-06.00 | 50.03 | 49.975 | 1384 | 1329.75 | 47 | 12
13 | 788.1493 | 47.4288 | 277.4431 | 50 | 89 | 75.36 | 1327.3812 | 138.4664 | 1465.8476 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1465.8476 | 13 | 675.2475 | 47 | 275.25 | 997.4975 | 1465.4 | 1499 | 1414 | 1465.4 | 1465.4 | 1465.8476 | 0 | 25 | 06.00-06.15 | 50.02 |  | 1436 |  | 47 | 13
14 | 812.5438 | 47.4288 | 280.215 | 50 | 89 | 75.34 | 1354.5276 | 76.2427 | 1430.7703 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1430.7703 | 14 | 696.1475 | 47 | 278 | 1021.1475 | 1430.3333 | 1443 | 1428 | 1430.3333 | 1430.3333 | 1430.7703 | 0 | 26 | 06.15-06.30 | 50.01 |  | 1520 |  | 47 | 14
15 | 818.1172 | 62.5656 | 299.3664 | 49.25 | 70.75 | 75.36 | 1375.4092 | 105.543 | 1480.9522 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1480.9522 | 15 | 700.9225 | 62 | 297 | 1059.9225 | 1480.5 | 1499 | 1462 | 1480.5 | 1480.5 | 1480.9522 | 0 | 27 | 06.30-06.45 | 49.99 |  | 1587 |  | 62 | 15
16 | 839.8855 | 72.4045 | 305.9182 | 69 | 0 | 75.36 | 1362.5682 | 147.893 | 1510.4613 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1510.4613 | 16 | 719.5725 | 71.75 | 303.5 | 1094.8225 | 1510 | 1519 | 1503 | 1510 | 1510 | 1510.4613 | 0 | 28 | 06.45-07.00 | 50.01 | 50.0075 | 1607 | 1537.5 | 71.75 | 16
17 | 829.6433 | 72.6568 | 313.9819 | 100.75 | 0 | 75.38 | 1392.4121 | 108.5463 | 1500.9584 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1500.9584 | 17 | 710.7975 | 72 | 311.5 | 1094.2975 | 1500.5 | 1515 | 1477 | 1500.5 | 1500.5 | 1500.9584 | 0 | 29 | 07.00-07.15 | 50.02 |  | 1640 |  | 72 | 17
18 | 821.5896 | 72.6568 | 321.7937 | 100.25 | 0 | 75.34 | 1391.6301 | 45.5587 | 1437.1889 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1437.1889 | 18 | 703.8975 | 72 | 319.25 | 1095.1475 | 1436.75 | 1469 | 1402 | 1436.75 | 1436.75 | 1437.1889 | 0 | 30 | 07.15-07.30 | 50.04 |  | 1628 |  | 72 | 18
19 | 822.1732 | 92.0824 | 327.5895 | 95.25 | 82.5 | 75.33 | 1494.9252 | -6.4706 | 1488.4545 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1488.4545 | 19 | 704.3975 | 91.25 | 325 | 1120.6475 | 1488 | 1564 | 1440 | 1488 | 1488 | 1488.4545 | 0 | 31 | 07.30-07.45 | 49.99 |  | 1620 |  | 91.25 | 19
20 | 847.2681 | 94.6052 | 327.5895 | 99.75 | 89 | 102.99 | 1561.2028 | 6.526 | 1567.7287 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1567.7287 | 20 | 725.8975 | 93.75 | 325 | 1144.6475 | 1567.25 | 1592 | 1544 | 1567.25 | 1567.25 | 1567.7287 | 0 | 32 | 07.45-08.00 | 49.96 | 50.0025 | 1622 | 1627.5 | 93.75 | 20
21 | 870.3203 | 95.8666 | 318.7698 | 99.75 | 89 | 101.5 | 1575.2067 | -115.0108 | 1460.1959 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1460.1959 | 21 | 745.6475 | 95 | 316.25 | 1156.8975 | 1459.75 | 1509 | 1424 | 1459.75 | 1459.75 | 1460.1959 | 0 | 33 | 08.00-08.15 | 49.96 |  | 1622 |  | 95 | 21
22 | 904.4025 | 95.8666 | 326.0775 | 99.5 | 89 | 101.5 | 1616.3467 | -225.1719 | 1391.1748 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1391.1748 | 22 | 774.8475 | 95 | 323.5 | 1193.3475 | 1390.75 | 1413 | 1367 | 1390.75 | 1390.75 | 1391.1748 | 0 | 34 | 08.15-08.30 | 50.01 |  | 1622 |  | 95 | 22
23 | 885.1437 | 95.8666 | 327.5895 | 40.75 | 89 | 101.5 | 1539.8498 | -196.4396 | 1343.4102 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1343.4102 | 23 | 758.3475 | 95 | 325 | 1178.3475 | 1343 | 1350 | 1334 | 1343 | 1343 | 1343.4102 | 0 | 35 | 08.30-08.45 | 50.03 |  | 1637 |  | 95 | 23
24 | 866.1767 | 92.3347 | 327.5895 | 40.5 | 89 | 101.5 | 1517.1009 | -225.4565 | 1291.6444 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1291.6444 | 24 | 742.0975 | 91.5 | 325 | 1158.5975 | 1291.25 | 1322 | 1267 | 1291.25 | 1291.25 | 1291.6444 | 0 | 36 | 08.45-09.00 | 50.06 | 50.015 | 1627 | 1627 | 91.5 | 24
[34 empty] | 37 | 09.00-09.15 | 50.1 |  | 1619
TOTAL (in MWh) | 19718.414 | 1521 | 6976.9 | 1484 | 1824.75 | 1943.89 | 33468.954 | 968.6714 | 34437.6254 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34437.6254 | TOTAL | 16893.765 | 1507.25 | 6921.75 | 25322.765 | 34429.7333 |  |  | 34427.9833 | 34427.9833 | 34437.6254 | 0 | 38 | 09.15-09.30 | 50.12 |  | 1643
[34 empty] | 39 | 09.30-09.45 | 50.06 |  | 1634
[34 empty] | 40 | 09.45-10.00 | 50.1 | 50.095 | 1615 | 1627.75
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 49.9958; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 50.02 |  | 1585
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1643; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 50.01 |  | 1575
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1643; 5+6 P6 14: MW | MAX = | 1643 | [10 empty] | 43 | 10.30-10.45 | 50.02 |  | 1543
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 1220; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 1220 | [10 empty] | 44 | 10.45-11.00 | 49.99 | 50.01 | 1524 | 1556.75
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 19718.414; 5+6 P6 14: MWH; 5+6 P11 19: 26.45; 5+6 P11/1000 20: 19691.964 | [12 empty] | 45 | 11.00-11.15 | 50.02 |  | 1492
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 6976.9; 5+6 P6 14: MWH; 5+6 P11 19: 8.41; 5+6 P11/1000 20: 6968.49 | [12 empty] | 46 | 11.15-11.30 | 50.04 |  | 1511
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 1521; 5+6 P6 14: MWH; 5+6 P11 19: 18.652; 5+6 P11/1000 20: 1502.348 | [12 empty] | 47 | 11.30-11.45 | 50 |  | 1514
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 40; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 50 | 50.015 | 1499 | 1504
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 91.5; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 50 |  | 1499
|  |  | Max.generation of Malana at 2100 Hrs. |  |  |  | 5+6 P4 12: 95; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 49.98 |  | 1486
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [16 empty] | 1466
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 663.4739; 5+6 P4 12: 975.1279; 5+6 P11 19: 197.1841; 5+6 P11/1000 20: 196.9196 | [12 empty] | 51 | 12.30-12.45 | 50 |  | 1462
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 319.7084; 5+6 P4 12: 334.0462; 5+6 P11 19: 81.381; 5+6 P11/1000 20: 81.1657 | [12 empty] | 52 | 12.45-13.00 | 49.99 | 49.9925 | 1414 | 1465.4
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 343.7656; 5+6 P4 12: 641.0817; 5+6 P11 19: 115.8031; 5+6 P11/1000 20: 115.7539 | [12 empty] | 53 | 13.00-13.15 | 50.04 |  | 1420
[34 empty] | 55 | 13.30-13.45 | 50.01 |  | 1428
HOURLY LOAD SHEDDING UNDER DIFFERENT CATEGORIES | [6 empty] | 5+6 P1 9: DATE; 5+6 P2 10: 2022-09-18 02:40 | [12 empty] | 56 | 13.45-14.00 | 50 | 50.0167 | 1443 | 1430.3333
LOAD NOT SERVED DUE TO | [33 empty] | 57 | 14.00-14.15 | 50.03 |  | 1462 | bar: 7 to 5+6 P2 10
Hrs | Low Availablity (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) |  | 7: Planned maintenance in distribution system (in MW); 8: Distribution constraints (in MW); 5+6 P1 9: Any other reasion ( to be specfied) (MW); 5+6 P2 10: Total (in MW) | [12 empty] | 58 | 14.15-14.30 | 50.03 |  | 1475
1 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 59 | 14.30-14.45 | 50.02 |  | 1486
2 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 60 | 14.45-15.00 | 50.02 | 50.025 | 1499 | 1480.5
3 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 61 | 15.00-15.15 | 50.06 |  | 1503
4 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 62 | 15.15-15.30 | 50.05 |  | 1519
5 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 63 | 15.30-15.45 | 50 |  | 1515
6 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 64 | 15.45-16.00 | 49.99 | 50.025 | 1503 | 1510
7 | 0 | 0 | 0 |  | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 65 | 16.00-16.15 | 49.99 |  | 1502
8 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 66 | 16.15-16.30 | 49.88 |  | 1515
9 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 67 | 16.30-16.45 | 49.95 |  | 1508
10 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 68 | 16.45-17.00 | 49.78 | 49.9 | 1477 | 1500.5
11 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 69 | 17.00-17.15 | 49.94 |  | 1469
12 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 70 | 17.15-17.30 | 49.77 |  | 1466
13 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 71 | 17.30-17.45 | 49.95 |  | 1402
14 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 72 | 17.45-18.00 | 49.97 | 49.9075 | 1410 | 1436.75
15 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 73 | 18.00-18.15 | 50.04 |  | 1440
16 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 74 | 18.15-18.30 | 49.99 |  | 1443
17 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 75 | 18.30-18.45 | 49.96 |  | 1505
18 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 76 | 18.45-19.00 | 49.97 | 49.99 | 1564 | 1488
19 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 77 | 19.00-19.15 | 50 |  | 1592
20 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 78 | 19.15-19.30 | 50 |  | 1583
21 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 79 | 19.30-19.45 | 50 |  | 1550
22 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 80 | 19.45-20.00 | 49.96 | 49.99 | 1544 | 1567.25
23 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 81 | 20.00-20.15 | 50.04 |  | 1509
24 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 82 | 20.15-20.30 | 50.03 |  | 1472
Total | [33 empty] | 83 | 20.30-20.45 | 50.02 |  | 1434
[34 empty] | 84 | 20.45-21.00 | 50.01 | 50.025 | 1424 | 1459.75
[34 empty] | 85 | 21.00-21.15 | 49.91 |  | 1407
[34 empty] | 86 | 21.15-21.30 | 49.95 |  | 1413
[34 empty] | 87 | 21.30-21.45 | 49.92 |  | 1376
[34 empty] | 88 | 21.45-22.00 | 49.99 | 49.9425 | 1367 | 1390.75
[34 empty] | 89 | 22.00-22.15 | 50.02 |  | 1349
[34 empty] | 90 | 22.15-22.30 | 50.03 |  | 1350
[34 empty] | 91 | 22.30-22.45 | 50 |  | 1334
[34 empty] | 92 | 22.45-23.00 | 50.03 | 50.02 | 1339 | 1343
[34 empty] | 93 | 23.00-23.15 | 50.01 |  | 1322
[34 empty] | 94 | 23.15-23.30 | 49.99 |  | 1306
[34 empty] | 95 | 23.30-23.45 | 49.96 |  | 1267
[34 empty] | 96 | 23.45-24.00 | 50.01 | 49.9925 | 1270 | 1291.25
[35 empty] | Total | 49.9955 | 49.9957 | 34438.5 | 34429.7333
[35 empty] | max | 1643 |  | avg. max | 1627.75
[35 empty] | min | 1220 |  | avg. min | 1227.75
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.