## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2022-09-18
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2022-09-19
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 32670.25 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 1292 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 6388.1 | MWh | MALANA-II | 1485 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1567 | [6 empty] | HOLI BAJOLI | 2129.88 | MWh |  |  |  |  | 1 | 00.00-00.15 | 49.99 |  | 1253
|  | Month/Day :- |  |  |  |  | 2022-09-18 | [10 empty] | Min.DEMAND(MW) |  | 1173 |  | ACTUAL OWN GENERATION |  |  | 19122.687 | MWh | SWARA KUDDU | 2082.097 | MWh |  |  |  |  | 2 | 00.15-00.30 | 50 |  | 1248
[34 empty] | 3 | 00.30-00.45 | 50 |  | 1256 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50 | 49.9975 | 1254 | 1252.75 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 49.98 |  | 1246 |  |  |  | MALANA-2 | 49.75 | 40 | 40 | 40 | 40 | 41.5 | 38.75 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 30 | 30 | 30 | 33 | 72.5 | 101.75 | 101 | 99.5 | 60.25 | 60 | 1160
[34 empty] | 6 | 01.15-01.30 | 50.01 |  | 1255 |  |  |  | SWARA KUDDU | 87.25 | 89 | 89 | 89 | 89 | 85 | 81.75 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 89 | 89 | 89 | 89 | 84.75 | 81.5 | 89 | 89 | 89 | 89 | 2104.25
[34 empty] | 7 | 01.30-01.45 | 50.01 |  | 1238
[34 empty] | 8 | 01.45-02:00 | 50.03 | 50.0075 | 1235 | 1243.5
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50.03 |  | 1234 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 50.02 |  | 1225
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50 |  | 1225
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.01 | 50.015 | 1217 | 1225.25
1 | 752.9627 | 65.9209 | 325.8417 | 49.75 | 87.25 | 99.01 | 1380.7353 | -127.3337 | 1253.4016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1253.4016 | 1 | 652.2475 | 65.5 | 325.25 | 1042.9975 | 1252.75 | 1256 | 1248 | 1252.75 | 1252.75 | 1253.4016 | 0 | 13 | 03.00-03.15 | 50.01 |  | 1229 |  | 65.5 | 1
2 | 765.6612 | 52.3342 | 325.5912 | 40 | 89 | 79.23 | 1351.8166 | -107.6698 | 1244.1468 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1244.1468 | 2 | 663.2475 | 52 | 325 | 1040.2475 | 1243.5 | 1255 | 1235 | 1243.5 | 1243.5 | 1244.1468 | 0 | 14 | 03.15-03.30 | 50 |  | 1208 |  | 52 | 2
3 | 765.6901 | 40.2571 | 311.8162 | 40 | 89 | 79.28 | 1326.0433 | -100.1561 | 1225.8873 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1225.8873 | 3 | 663.2725 | 40 | 311.25 | 1014.5225 | 1225.25 | 1234 | 1217 | 1225.25 | 1225.25 | 1225.8873 | 0 | 15 | 03.30-03.45 | 50 |  | 1221 |  | 40 | 3
4 | 769.8748 | 40.2571 | 325.8417 | 40 | 89 | 79.26 | 1344.2335 | -123.599 | 1220.6345 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1220.6345 | 4 | 666.8975 | 40 | 325.25 | 1032.1475 | 1220 | 1229 | 1208 | 1220 | 1220 | 1220.6345 | 0 | 16 | 03.45-04.00 | 50.01 | 50.005 | 1222 | 1220 | 40 | 4
5 | 803.2085 | 40.2571 | 325.5912 | 40 | 89 | 79.26 | 1377.3168 | -160.9344 | 1216.3823 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1216.3823 | 5 | 695.7725 | 40 | 325 | 1060.7725 | 1215.75 | 1218 | 1214 | 1215.75 | 1215.75 | 1216.3823 | 0 | 17 | 04.00-04.15 | 49.99 |  | 1217 |  | 40 | 5
6 | 821.7656 | 40.2571 | 289.2753 | 41.5 | 85 | 79.28 | 1357.078 | -67.1574 | 1289.9206 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1289.9206 | 6 | 711.8475 | 40 | 288.75 | 1040.5975 | 1289.25 | 1335 | 1250 | 1289.25 | 1289.25 | 1289.9206 | 0 | 18 | 04.15-04.30 | 50 |  | 1214 |  | 40 | 6
7 | 830.0197 | 39.7538 | 262.4766 | 38.75 | 81.75 | 79.3 | 1332.0502 | 123.9567 | 1456.0069 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1456.0069 | 7 | 718.9975 | 39.5 | 262 | 1020.4975 | 1455.25 | 1503 | 1395 | 1455.25 | 1455.25 | 1456.0069 | 0 | 19 | 04.30-04.45 | 49.99 |  | 1214 |  | 39.5 | 7
8 | 798.3599 | 37.2378 | 264.2298 | 36 | 88 | 79.3 | 1303.1275 | 231.9205 | 1535.048 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1535.048 | 8 | 691.5725 | 37 | 263.75 | 992.3225 | 1534.25 | 1546 | 1518 | 1534.25 | 1534.25 | 1535.048 | 0 | 20 | 04.45-05.00 | 50 | 49.995 | 1218 | 1215.75 | 37 | 8
9 | 789.2112 | 37.2378 | 264.9812 | 36 | 88 | 73.28 | 1288.7102 | 278.2898 | 1567 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1567 | 9 | 683.6475 | 37 | 264.5 | 985.1475 | 1550.5 | 1567 | 1540 | 1567 | 1567 | 1567 | 0 | 21 | 05.00-05.15 | 49.97 |  | 1250 |  | 37 | 9
10 | 756.4259 | 37.2378 | 259.4712 | 36 | 88 | 73.28 | 1250.4148 | 287.8848 | 1538.2997 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1538.2997 | 10 | 655.2475 | 37 | 259 | 951.2475 | 1537.5 | 1545 | 1526 | 1537.5 | 1537.5 | 1538.2997 | 0 | 22 | 05.15-05.30 | 50.01 |  | 1267 |  | 37 | 10
11 | 759.7737 | 37.2378 | 249.453 | 36 | 88 | 79.26 | 1249.7244 | 263.062 | 1512.7864 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1512.7864 | 11 | 658.1475 | 37 | 249 | 944.1475 | 1512 | 1529 | 1489 | 1512 | 1512 | 1512.7864 | 0 | 23 | 05.30-05.45 | 50.04 |  | 1305 |  | 37 | 11
12 | 757.4649 | 37.2378 | 249.453 | 36 | 88 | 79.25 | 1247.4056 | 215.3548 | 1462.7604 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1462.7604 | 12 | 656.1475 | 37 | 249 | 942.1475 | 1462 | 1471 | 1449 | 1462 | 1462 | 1462.7604 | 0 | 24 | 05.45-06.00 | 50.04 | 50.015 | 1335 | 1289.25 | 37 | 12
13 | 766.7002 | 37.2378 | 249.453 | 36 | 88 | 79.26 | 1256.6509 | 164.6879 | 1421.3389 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1421.3389 | 13 | 664.1475 | 37 | 249 | 950.1475 | 1420.6 | 1453 | 1374 | 1420.6 | 1420.6 | 1421.3389 | 0 | 25 | 06.00-06.15 | 50.05 |  | 1395 |  | 37 | 13
14 | 771.4333 | 37.2378 | 249.453 | 36 | 88 | 79.28 | 1261.404 | 110.9761 | 1372.3801 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1372.3801 | 14 | 668.2475 | 37 | 249 | 954.2475 | 1371.6667 | 1381 | 1373 | 1371.6667 | 1371.6667 | 1372.3801 | 0 | 26 | 06.15-06.30 | 50.02 |  | 1448 |  | 37 | 14
15 | 774.0018 | 39.2506 | 207.8775 | 30 | 89 | 79.28 | 1219.4099 | 160.3073 | 1379.7172 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1379.7172 | 15 | 670.4725 | 39 | 207.5 | 916.9725 | 1379 | 1385 | 1370 | 1379 | 1379 | 1379.7172 | 0 | 27 | 06.30-06.45 | 50.03 |  | 1475 |  | 39 | 15
16 | 779.0235 | 39.2506 | 225.4093 | 30 | 89 | 79.28 | 1241.9635 | 142.006 | 1383.9694 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1383.9694 | 16 | 674.8225 | 39 | 225 | 938.8225 | 1383.25 | 1387 | 1379 | 1383.25 | 1383.25 | 1383.9694 | 0 | 28 | 06.45-07.00 | 50.03 | 50.0325 | 1503 | 1455.25 | 39 | 16
17 | 788.8072 | 40.0055 | 282.2626 | 30 | 89 | 79.3 | 1309.3752 | 33.5729 | 1342.9481 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1342.9481 | 17 | 683.2975 | 39.75 | 281.75 | 1004.7975 | 1342.25 | 1368 | 1305 | 1342.25 | 1342.25 | 1342.9481 | 0 | 29 | 07.00-07.15 | 50.02 |  | 1518 |  | 39.75 | 17
18 | 803.0064 | 40.2571 | 241.9393 | 33 | 89 | 79.28 | 1286.4828 | 19.1959 | 1305.6787 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1305.6787 | 18 | 695.5975 | 40 | 241.5 | 977.0975 | 1305 | 1311 | 1301 | 1305 | 1305 | 1305.6787 | 0 | 30 | 07.15-07.30 | 50.01 |  | 1540 |  | 40 | 18
19 | 812.9921 | 90.5784 | 258.4693 | 72.5 | 84.75 | 80.82 | 1400.1098 | -51.4087 | 1348.7011 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1348.7011 | 19 | 704.2475 | 90 | 258 | 1052.2475 | 1348 | 1410 | 1308 | 1348 | 1348 | 1348.7011 | 0 | 31 | 07.30-07.45 | 49.99 |  | 1546 |  | 90 | 19
20 | 822.6315 | 92.5912 | 268.9884 | 101.75 | 81.5 | 119.34 | 1486.8011 | -35.7968 | 1451.0043 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1451.0043 | 20 | 712.5975 | 92 | 268.5 | 1073.0975 | 1450.25 | 1468 | 1419 | 1450.25 | 1450.25 | 1451.0043 | 0 | 32 | 07.45-08.00 | 50 | 50.005 | 1533 | 1534.25 | 92 | 20
21 | 859.1686 | 92.5912 | 189.3438 | 101 | 89 | 119.42 | 1450.5237 | -64.3031 | 1386.2206 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1386.2206 | 21 | 744.2475 | 92 | 189 | 1025.2475 | 1385.5 | 1413 | 1362 | 1385.5 | 1385.5 | 1386.2206 | 0 | 33 | 08.00-08.15 | 49.93 |  | 1540 |  | 92 | 21
22 | 874.9263 | 92.5912 | 217.6452 | 99.5 | 89 | 119.46 | 1493.1228 | -162.431 | 1330.6917 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1330.6917 | 22 | 757.8975 | 92 | 217.25 | 1067.1475 | 1330 | 1358 | 1303 | 1330 | 1330 | 1330.6917 | 0 | 34 | 08.15-08.30 | 50.01 |  | 1549 |  | 92 | 22
23 | 855.5322 | 92.5912 | 258.4693 | 60.25 | 89 | 119.41 | 1475.2528 | -224.3525 | 1250.9003 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1250.9003 | 23 | 741.0975 | 92 | 258 | 1091.0975 | 1250.25 | 1284 | 1217 | 1250.25 | 1250.25 | 1250.9003 | 0 | 35 | 08.30-08.45 | 50.01 |  | 1567 |  | 92 | 23
24 | 844.0458 | 92.5912 | 284.7671 | 60 | 89 | 119.44 | 1489.8441 | -316.8441 | 1173 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1173 | 24 | 731.1475 | 92 | 284.25 | 1107.3975 | 1194.25 | 1207 | 1173 | 1173 | 1173 | 1173 | 0 | 36 | 08.45-09.00 | 50.04 | 49.9975 | 1546 | 1550.5 | 92 | 24
[34 empty] | 37 | 09.00-09.15 | 49.98 |  | 1526
TOTAL (in MWh) | 19122.687 | 1292 | 6388.1 | 1160 | 2104.25 | 2112.56 | 32179.597 | 489.2279 | 32668.8249 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32668.8249 | TOTAL | 16564.865 | 1283.75 | 6376.5 | 24225.115 | 32658.0167 |  |  | 32653.2667 | 32653.2667 | 32668.8249 | 0 | 38 | 09.15-09.30 | 49.98 |  | 1545
[34 empty] | 39 | 09.30-09.45 | 49.99 |  | 1537
[34 empty] | 40 | 09.45-10.00 | 49.98 | 49.9825 | 1542 | 1537.5
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 49.9909; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 49.96 |  | 1529
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1567; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 49.99 |  | 1523
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1567; 5+6 P6 14: MW | MAX = | 1567 | [10 empty] | 43 | 10.30-10.45 | 49.94 |  | 1507
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 1173; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 1173 | [10 empty] | 44 | 10.45-11.00 | 49.91 | 49.95 | 1489 | 1512
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 19122.687; 5+6 P6 14: MWH; 5+6 P11 19: 28.381; 5+6 P11/1000 20: 19094.306 | [12 empty] | 45 | 11.00-11.15 | 49.91 |  | 1462
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 6388.1; 5+6 P6 14: MWH; 5+6 P11 19: 8.59; 5+6 P11/1000 20: 6379.51 | [12 empty] | 46 | 11.15-11.30 | 49.92 |  | 1471
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 1292; 5+6 P6 14: MWH; 5+6 P11 19: 22.097; 5+6 P11/1000 20: 1269.903 | [12 empty] | 47 | 11.30-11.45 | 49.98 |  | 1466
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 40; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 49.99 | 49.95 | 1449 | 1462
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 92; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 50.03 |  | 1453
|  |  | Max.generation of Malana at 2000 Hrs. |  |  |  | 5+6 P4 12: 92; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 50.03 |  | 1438
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [16 empty] | 1427
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 695.1089; 5+6 P4 12: 981.4274; 5+6 P11 19: 191.2269; 5+6 P11/1000 20: 190.9431 | [12 empty] | 51 | 12.30-12.45 | 50.02 |  | 1411
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 324.5733; 5+6 P4 12: 310.5917; 5+6 P11 19: 77.965; 5+6 P11/1000 20: 77.7328 | [12 empty] | 52 | 12.45-13.00 | 50.03 | 50.0275 | 1374 | 1420.6
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 370.5356; 5+6 P4 12: 670.8357; 5+6 P11 19: 113.2619; 5+6 P11/1000 20: 113.2103 | [12 empty] | 53 | 13.00-13.15 | 50.06 |  | 1361
[34 empty] | 55 | 13.30-13.45 | 50.02 |  | 1381
HOURLY LOAD SHEDDING UNDER DIFFERENT CATEGORIES | [6 empty] | 5+6 P1 9: DATE; 5+6 P2 10: 2022-09-19 01:40 | [12 empty] | 56 | 13.45-14.00 | 50 | 50.0267 | 1373 | 1371.6667
LOAD NOT SERVED DUE TO | [33 empty] | 57 | 14.00-14.15 | 50.05 |  | 1370 | bar: 7 to 5+6 P2 10
Hrs | Low Availablity (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) |  | 7: Planned maintenance in distribution system (in MW); 8: Distribution constraints (in MW); 5+6 P1 9: Any other reasion ( to be specfied) (MW); 5+6 P2 10: Total (in MW) | [12 empty] | 58 | 14.15-14.30 | 50 |  | 1385
1 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 59 | 14.30-14.45 | 49.99 |  | 1381
2 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 60 | 14.45-15.00 | 50.01 | 50.0125 | 1380 | 1379
3 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 61 | 15.00-15.15 | 50.04 |  | 1381
4 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 62 | 15.15-15.30 | 50.02 |  | 1387
5 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 63 | 15.30-15.45 | 50.02 |  | 1386
6 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 64 | 15.45-16.00 | 50.01 | 50.0225 | 1379 | 1383.25
7 | 0 | 0 | 0 |  | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 65 | 16.00-16.15 | 50.07 |  | 1368
8 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 66 | 16.15-16.30 | 50.01 |  | 1362
9 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 67 | 16.30-16.45 | 50 |  | 1334
10 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 68 | 16.45-17.00 | 49.96 | 50.01 | 1305 | 1342.25
11 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 69 | 17.00-17.15 | 50 |  | 1304
12 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 70 | 17.15-17.30 | 49.98 |  | 1311
13 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 71 | 17.30-17.45 | 50 |  | 1301
14 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 72 | 17.45-18.00 | 50 | 49.995 | 1304 | 1305
15 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 73 | 18.00-18.15 | 49.96 |  | 1308
16 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 74 | 18.15-18.30 | 49.92 |  | 1322
17 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 75 | 18.30-18.45 | 49.91 |  | 1352
18 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 76 | 18.45-19.00 | 49.86 | 49.9125 | 1410 | 1348
19 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 77 | 19.00-19.15 | 49.77 |  | 1468
20 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 78 | 19.15-19.30 | 49.97 |  | 1468
21 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 79 | 19.30-19.45 | 49.97 |  | 1446
22 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 80 | 19.45-20.00 | 49.89 | 49.9 | 1419 | 1450.25
23 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 81 | 20.00-20.15 | 49.97 |  | 1413
24 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 82 | 20.15-20.30 | 49.98 |  | 1392
Total | [33 empty] | 83 | 20.30-20.45 | 50 |  | 1375
[34 empty] | 84 | 20.45-21.00 | 50 | 49.9875 | 1362 | 1385.5
[34 empty] | 85 | 21.00-21.15 | 49.9 |  | 1358
[34 empty] | 86 | 21.15-21.30 | 49.94 |  | 1331
[34 empty] | 87 | 21.30-21.45 | 49.95 |  | 1328
[34 empty] | 88 | 21.45-22.00 | 49.9 | 49.9225 | 1303 | 1330
[34 empty] | 89 | 22.00-22.15 | 50 |  | 1284
[34 empty] | 90 | 22.15-22.30 | 50.01 |  | 1262
[34 empty] | 91 | 22.30-22.45 | 50.02 |  | 1238
[34 empty] | 92 | 22.45-23.00 | 50.04 | 50.0175 | 1217 | 1250.25
[34 empty] | 93 | 23.00-23.15 | 50 |  | 1204
[34 empty] | 94 | 23.15-23.30 | 49.98 |  | 1207
[34 empty] | 95 | 23.30-23.45 | 50.01 |  | 1193
[34 empty] | 96 | 23.45-24.00 | 50.02 | 50.0025 | 1173 | 1194.25
[35 empty] | Total | 49.9908 | 49.9912 | 32670.25 | 32658.0167
[35 empty] | max | 1567 |  | avg. max | 1550.5
[35 empty] | min | 1173 |  | avg. min | 1194.25
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.