## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2022-09-20
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2022-09-21
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 34127.5 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 1631 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 4951 | MWh | MALANA-II | 1591 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1653 | [6 empty] | HOLI BAJOLI | 2502.083 | MWh |  |  |  |  | 1 | 00.00-00.15 | 50.01 |  | 1282
|  | Month/Day :- |  |  |  |  | 2022-09-20 | [10 empty] | Min.DEMAND(MW) |  | 1182 |  | ACTUAL OWN GENERATION |  |  | 18758.34 | MWh | SWARA KUDDU | 1673 | MWh |  |  |  |  | 2 | 00.15-00.30 | 50.03 |  | 1279
[34 empty] | 3 | 00.30-00.45 | 50.02 |  | 1267 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50.03 | 50.0225 | 1264 | 1273 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 50.02 |  | 1261 |  |  |  | MALANA-2 | 60 | 60 | 60 | 60 | 60 | 60 | 41 | 52.25 | 60.25 | 60 | 60 | 60 | 60 | 60 | 60.25 | 60 | 60 | 86 | 100.5 | 98.75 | 98.75 | 99 | 59.75 | 49.75 | 1586.25
[34 empty] | 6 | 01.15-01.30 | 50.01 |  | 1256 |  |  |  | SWARA KUDDU | 89 | 89 | 89 | 83 | 81 | 81 | 81 | 81 | 81 | 77.75 | 74 | 74 | 74 | 74 | 1 | 0 | 20.25 | 74 | 74 | 74 | 74 | 75.5 | 77 | 77 | 1675.5
[34 empty] | 7 | 01.30-01.45 | 50.02 |  | 1249
[34 empty] | 8 | 01.45-02:00 | 50.04 | 50.0225 | 1233 | 1249.75
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50.03 |  | 1226 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 50.04 |  | 1242
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50.03 |  | 1241
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.02 | 50.03 | 1249 | 1239.5
1 | 728.3277 | 66.4844 | 201.2233 | 60 | 89 | 104.21 | 1249.2453 | 25.4759 | 1274.7213 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1274.7213 | 1 | 646.9475 | 66.25 | 199.75 | 912.9475 | 1273 | 1282 | 1264 | 1273 | 1273 | 1274.7213 | 0 | 13 | 03.00-03.15 | 50.01 |  | 1241 |  | 66.25 | 1
2 | 724.8377 | 61.2158 | 178.0537 | 60 | 89 | 104.22 | 1217.3272 | 34.1127 | 1251.4399 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1251.4399 | 2 | 643.8475 | 61 | 176.75 | 881.5975 | 1249.75 | 1261 | 1233 | 1249.75 | 1249.75 | 1251.4399 | 0 | 14 | 03.15-03.30 | 50.01 |  | 1244 |  | 61 | 2
3 | 718.674 | 59.2087 | 162.6912 | 60 | 89 | 104.22 | 1193.7939 | 47.3821 | 1241.176 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1241.176 | 3 | 638.3725 | 59 | 161.5 | 858.8725 | 1239.5 | 1249 | 1226 | 1239.5 | 1239.5 | 1241.176 | 0 | 15 | 03.30-03.45 | 50 |  | 1239 |  | 59 | 3
4 | 722.361 | 59.2087 | 189.6385 | 60 | 83 | 104.24 | 1218.4482 | 22.2271 | 1240.6753 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1240.6753 | 4 | 641.6475 | 59 | 188.25 | 888.8975 | 1239 | 1244 | 1232 | 1239 | 1239 | 1240.6753 | 0 | 16 | 03.45-04.00 | 50.02 | 50.01 | 1232 | 1239 | 59 | 4
5 | 705.6148 | 59.2087 | 183.0905 | 60 | 81 | 104.21 | 1193.1241 | 53.8097 | 1246.9338 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1246.9338 | 5 | 626.7725 | 59 | 181.75 | 867.5225 | 1245.25 | 1251 | 1236 | 1245.25 | 1245.25 | 1246.9338 | 0 | 17 | 04.00-04.15 | 50 |  | 1236 |  | 59 | 5
6 | 726.5264 | 59.2087 | 180.3203 | 60 | 81 | 104.21 | 1211.2654 | 93.2461 | 1304.5115 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1304.5115 | 6 | 645.3475 | 59 | 179 | 883.3475 | 1302.75 | 1358 | 1262 | 1302.75 | 1302.75 | 1304.5115 | 0 | 18 | 04.15-04.30 | 50 |  | 1251 |  | 59 | 6
7 | 786.4748 | 59.2087 | 189.1348 | 41 | 81 | 104.24 | 1261.0583 | 258.2433 | 1519.3016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1519.3016 | 7 | 698.5975 | 59 | 187.75 | 945.3475 | 1517.25 | 1598 | 1416 | 1517.25 | 1517.25 | 1519.3016 | 0 | 19 | 04.30-04.45 | 49.96 |  | 1243 |  | 59 | 7
8 | 803.5586 | 59.2087 | 226.9114 | 52.25 | 81 | 104.19 | 1327.1188 | 325.8812 | 1653 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1653 | 8 | 713.7725 | 59 | 225.25 | 998.0225 | 1647 | 1653 | 1634 | 1653 | 1653 | 1653 | 0 | 20 | 04.45-05.00 | 49.96 | 49.98 | 1251 | 1245.25 | 59 | 8
9 | 811.2422 | 59.2087 | 183.5942 | 60.25 | 81 | 104.24 | 1299.5351 | 345.1858 | 1644.7209 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1644.7209 | 9 | 720.5975 | 59 | 182.25 | 961.8475 | 1642.5 | 1651 | 1633 | 1642.5 | 1642.5 | 1644.7209 | 0 | 21 | 05.00-05.15 | 50 |  | 1262 |  | 59 | 9
10 | 793.6235 | 54.9437 | 160.1727 | 60 | 77.75 | 104.24 | 1250.73 | 387.7325 | 1638.4625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1638.4625 | 10 | 704.9475 | 54.75 | 159 | 918.6975 | 1636.25 | 1644 | 1615 | 1636.25 | 1636.25 | 1638.4625 | 0 | 22 | 05.15-05.30 | 50.04 |  | 1294 |  | 54.75 | 10
11 | 760.5816 | 53.1875 | 171.5057 | 60 | 74 | 104.22 | 1223.4948 | 373.1612 | 1596.656 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1596.656 | 11 | 675.5975 | 53 | 170.25 | 898.8475 | 1594.5 | 1630 | 1491 | 1594.5 | 1594.5 | 1596.656 | 0 | 23 | 05.30-05.45 | 50.04 |  | 1297 |  | 53 | 11
12 | 766.492 | 53.1875 | 263.6806 | 60 | 74 | 104.24 | 1321.6001 | 305.3468 | 1626.9469 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1626.9469 | 12 | 680.8475 | 53 | 261.75 | 995.5975 | 1624.75 | 1632 | 1618 | 1624.75 | 1624.75 | 1626.9469 | 0 | 24 | 05.45-06.00 | 50.03 | 50.0275 | 1358 | 1302.75 | 53 | 12
13 | 779.5511 | 58.9579 | 301.2054 | 60 | 74 | 104.22 | 1377.9343 | 158.1399 | 1536.0742 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1536.0742 | 13 | 692.4475 | 58.75 | 299 | 1050.1975 | 1534 | 1607 | 1462 | 1534 | 1534 | 1536.0742 | 0 | 25 | 06.00-06.15 | 50 |  | 1416 |  | 58.75 | 13
14 | 789.6833 | 59.2087 | 255.1179 | 60 | 74 | 104.02 | 1342.0299 | 110.5983 | 1452.6282 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1452.6282 | 14 | 701.4475 | 59 | 253.25 | 1013.6975 | 1450.6667 | 1464 | 1442 | 1450.6667 | 1450.6667 | 1452.6282 | 0 | 26 | 06.15-06.30 | 49.98 |  | 1487 |  | 59 | 14
15 | 786.2777 | 59.2087 | 253.355 | 60.25 | 1 | 104 | 1264.0915 | 194.6283 | 1458.7198 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1458.7198 | 15 | 698.4225 | 59 | 251.5 | 1008.9225 | 1456.75 | 1474 | 1444 | 1456.75 | 1456.75 | 1458.7198 | 0 | 27 | 06.30-06.45 | 50 |  | 1568 |  | 59 | 15
16 | 747.832 | 61.9685 | 220.1116 | 60 | 0 | 104.02 | 1193.932 | 246.513 | 1440.4451 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1440.4451 | 16 | 664.2725 | 61.75 | 218.5 | 944.5225 | 1438.5 | 1460 | 1395 | 1438.5 | 1438.5 | 1440.4451 | 0 | 28 | 06.45-07.00 | 49.97 | 49.9875 | 1598 | 1517.25 | 61.75 | 16
17 | 788.3323 | 63.9755 | 175.2834 | 60 | 20.25 | 104 | 1211.8412 | 214.5849 | 1426.4261 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1426.4261 | 17 | 700.2475 | 63.75 | 174 | 937.9975 | 1424.5 | 1436 | 1413 | 1424.5 | 1424.5 | 1426.4261 | 0 | 29 | 07.00-07.15 | 49.98 |  | 1634 |  | 63.75 | 17
18 | 840.2313 | 72.2547 | 219.1042 | 86 | 74 | 103.98 | 1395.5702 | 22.3444 | 1417.9147 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1417.9147 | 18 | 746.3475 | 72 | 217.5 | 1035.8475 | 1416 | 1420 | 1413 | 1416 | 1416 | 1417.9147 | 0 | 30 | 07.15-07.30 | 49.97 |  | 1653 |  | 72 | 18
19 | 844.7344 | 95.8379 | 217.5932 | 100.5 | 74 | 104.08 | 1436.7455 | 12.4614 | 1449.2069 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1449.2069 | 19 | 750.3475 | 95.5 | 216 | 1061.8475 | 1447.25 | 1505 | 1398 | 1447.25 | 1447.25 | 1449.2069 | 0 | 31 | 07.30-07.45 | 50.02 |  | 1651 |  | 95.5 | 19
20 | 846.7046 | 96.3396 | 223.3856 | 98.75 | 74 | 104.5 | 1443.6798 | 71.6164 | 1515.2961 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1515.2961 | 20 | 752.0975 | 96 | 221.75 | 1069.8475 | 1513.25 | 1536 | 1494 | 1513.25 | 1513.25 | 1515.2961 | 0 | 32 | 07.45-08.00 | 50.02 | 49.9975 | 1650 | 1647 | 96 | 20
21 | 831.9567 | 94.3326 | 249.3255 | 98.75 | 74 | 97.1 | 1445.4648 | -34.0589 | 1411.4059 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1411.4059 | 21 | 738.9975 | 94 | 247.5 | 1080.4975 | 1409.5 | 1443 | 1379 | 1409.5 | 1409.5 | 1411.4059 | 0 | 33 | 08.00-08.15 | 49.99 |  | 1644 |  | 94 | 21
22 | 828.7482 | 90.8202 | 185.609 | 99 | 75.5 | 97.12 | 1376.7974 | -49.7554 | 1327.0419 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1327.0419 | 22 | 736.1475 | 90.5 | 184.25 | 1010.8975 | 1325.25 | 1356 | 1300 | 1325.25 | 1325.25 | 1327.0419 | 0 | 34 | 08.15-08.30 | 50.03 |  | 1642 |  | 90.5 | 22
23 | 801.5041 | 87.3078 | 160.1727 | 59.75 | 77 | 95.92 | 1281.6546 | -13.6924 | 1267.9622 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1267.9622 | 23 | 711.9475 | 87 | 159 | 957.9475 | 1266.25 | 1278 | 1249 | 1266.25 | 1266.25 | 1267.9622 | 0 | 35 | 08.30-08.45 | 49.99 |  | 1651 |  | 87 | 23
24 | 824.4702 | 87.3078 | 200.7196 | 49.75 | 77 | 95.92 | 1335.1676 | -153.1676 | 1182 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1182 | 24 | 732.3475 | 87 | 199.25 | 1018.5975 | 1213.25 | 1237 | 1182 | 1182 | 1182 | 1182 | 0 | 36 | 08.45-09.00 | 49.99 | 50 | 1633 | 1642.5 | 87 | 24
[34 empty] | 37 | 09.00-09.15 | 49.98 |  | 1643
TOTAL (in MWh) | 18758.34 | 1631 | 4951 | 1586.25 | 1675.5 | 2469.56 | 31071.65 | 3052.0166 | 34123.6666 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34123.6666 | TOTAL | 16662.365 | 1625.25 | 4914.75 | 23202.365 | 34106.6667 |  |  | 34081.4167 | 34081.4167 | 34123.6666 | 0 | 38 | 09.15-09.30 | 50 |  | 1644
[34 empty] | 39 | 09.30-09.45 | 50.03 |  | 1643
[34 empty] | 40 | 09.45-10.00 | 50.04 | 50.0125 | 1615 | 1636.25
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 50.0093; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 50.06 |  | 1491
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1653; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 50.04 |  | 1630
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1653; 5+6 P6 14: MW | MAX = | 1653 | [10 empty] | 43 | 10.30-10.45 | 50 |  | 1630
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 1182; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 1182 | [10 empty] | 44 | 10.45-11.00 | 50.02 | 50.03 | 1627 | 1594.5
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 18758.34; 5+6 P6 14: MWH; 5+6 P11 19: 22.876; 5+6 P11/1000 20: 18735.464 | [12 empty] | 45 | 11.00-11.15 | 50.04 |  | 1632
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 4951; 5+6 P6 14: MWH; 5+6 P11 19: 8.02; 5+6 P11/1000 20: 4942.98 | [12 empty] | 46 | 11.15-11.30 | 50.02 |  | 1620
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 1631; 5+6 P6 14: MWH; 5+6 P11 19: 1.886; 5+6 P11/1000 20: 1629.114 | [12 empty] | 47 | 11.30-11.45 | 49.99 |  | 1629
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 59; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 49.99 | 50.01 | 1618 | 1624.75
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 87; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 50.02 |  | 1607
|  |  | Max.generation of Malana at 2000 Hrs. |  |  |  | 5+6 P4 12: 96; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 49.99 |  | 1569
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [16 empty] | 1518
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 672.6234; 5+6 P4 12: 931.367; 5+6 P11 19: 187.5834; 5+6 P11/1000 20: 187.3546 | [12 empty] | 51 | 12.30-12.45 | 49.98 |  | 1514
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 302.078; 5+6 P4 12: 354.8339; 5+6 P11 19: 78.241; 5+6 P11/1000 20: 78.0646 | [12 empty] | 52 | 12.45-13.00 | 49.99 | 49.995 | 1462 | 1534
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 370.5453; 5+6 P4 12: 576.5331; 5+6 P11 19: 109.3424; 5+6 P11/1000 20: 109.2901 | [12 empty] | 53 | 13.00-13.15 | 50.08 |  | 1446
[34 empty] | 55 | 13.30-13.45 | 50 |  | 1464
HOURLY LOAD SHEDDING UNDER DIFFERENT CATEGORIES | [6 empty] | 5+6 P1 9: DATE; 5+6 P2 10: 2022-09-21 02:04 | [12 empty] | 56 | 13.45-14.00 | 50.03 | 50.0367 | 1442 | 1450.6667
LOAD NOT SERVED DUE TO | [33 empty] | 57 | 14.00-14.15 | 49.98 |  | 1462 | bar: 7 to 5+6 P2 10
Hrs | Low Availablity (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) |  | 7: Planned maintenance in distribution system (in MW); 8: Distribution constraints (in MW); 5+6 P1 9: Any other reasion ( to be specfied) (MW); 5+6 P2 10: Total (in MW) | [12 empty] | 58 | 14.15-14.30 | 49.93 |  | 1474
1 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 59 | 14.30-14.45 | 49.96 |  | 1447
2 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 60 | 14.45-15.00 | 49.99 | 49.965 | 1444 | 1456.75
3 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 61 | 15.00-15.15 | 50.01 |  | 1452
4 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 62 | 15.15-15.30 | 50.03 |  | 1460
5 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 63 | 15.30-15.45 | 50.06 |  | 1447
6 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 64 | 15.45-16.00 | 50.04 | 50.035 | 1395 | 1438.5
7 | 0 | 0 | 0 |  | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 65 | 16.00-16.15 | 50.04 |  | 1431
8 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 66 | 16.15-16.30 | 49.99 |  | 1413
9 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 67 | 16.30-16.45 | 49.98 |  | 1436
10 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 68 | 16.45-17.00 | 49.97 | 49.995 | 1418 | 1424.5
11 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 69 | 17.00-17.15 | 50.01 |  | 1414
12 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 70 | 17.15-17.30 | 49.97 |  | 1417
13 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 71 | 17.30-17.45 | 49.97 |  | 1420
14 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 72 | 17.45-18.00 | 49.94 | 49.9725 | 1413 | 1416
15 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 73 | 18.00-18.15 | 49.98 |  | 1398
16 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 74 | 18.15-18.30 | 49.98 |  | 1426
17 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 75 | 18.30-18.45 | 49.94 |  | 1460
18 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 76 | 18.45-19.00 | 49.92 | 49.955 | 1505 | 1447.25
19 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 77 | 19.00-19.15 | 50.03 |  | 1521
20 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 78 | 19.15-19.30 | 50.04 |  | 1536
21 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 79 | 19.30-19.45 | 50.03 |  | 1502
22 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 80 | 19.45-20.00 | 50.02 | 50.03 | 1494 | 1513.25
23 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 81 | 20.00-20.15 | 50.03 |  | 1443
24 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 82 | 20.15-20.30 | 50.05 |  | 1414
Total | [33 empty] | 83 | 20.30-20.45 | 50.04 |  | 1402
[34 empty] | 84 | 20.45-21.00 | 50.04 | 50.04 | 1379 | 1409.5
[34 empty] | 85 | 21.00-21.15 | 50.02 |  | 1356
[34 empty] | 86 | 21.15-21.30 | 50.03 |  | 1340
[34 empty] | 87 | 21.30-21.45 | 50.02 |  | 1305
[34 empty] | 88 | 21.45-22.00 | 50.04 | 50.0275 | 1300 | 1325.25
[34 empty] | 89 | 22.00-22.15 | 50.03 |  | 1278
[34 empty] | 90 | 22.15-22.30 | 50.03 |  | 1270
[34 empty] | 91 | 22.30-22.45 | 50.03 |  | 1268
[34 empty] | 92 | 22.45-23.00 | 50.03 | 50.03 | 1249 | 1266.25
[34 empty] | 93 | 23.00-23.15 | 50.01 |  | 1237
[34 empty] | 94 | 23.15-23.30 | 50.02 |  | 1234
[34 empty] | 95 | 23.30-23.45 | 50 |  | 1200
[34 empty] | 96 | 23.45-24.00 | 50.02 | 50.0125 | 1182 | 1213.25
[35 empty] | Total | 50.0091 | 50.0093 | 34127.5 | 34106.6667
[35 empty] | max | 1653 |  | avg. max | 1647
[35 empty] | min | 1182 |  | avg. min | 1213.25
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.