## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2022-09-21
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2022-09-22
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 31994.5 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 1566 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 6069.8 | MWh | MALANA-II | 1473 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1603 | [6 empty] | HOLI BAJOLI | 2692.27 | MWh |  |  |  |  | 1 | 00.00-00.15 | 50.01 |  | 1179
|  | Month/Day :- |  |  |  |  | 2022-09-21 | [10 empty] | Min.DEMAND(MW) |  | 1089 |  | ACTUAL OWN GENERATION |  |  | 19355.34 | MWh | SWARA KUDDU | 1968 | MWh |  |  |  |  | 2 | 00.15-00.30 | 50 |  | 1178
[34 empty] | 3 | 00.30-00.45 | 49.93 |  | 1177 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50.02 | 49.99 | 1180 | 1178.5 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 50.03 |  | 1170 |  |  |  | MALANA-2 | 46.5 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 45.5 | 61.75 | 85 | 85 | 85 | 85 | 82.5 | 100.5 | 99.25 | 97.75 | 67.5 | 69 | 1472.25
[34 empty] | 6 | 01.15-01.30 | 50.03 |  | 1161 |  |  |  | SWARA KUDDU | 74.25 | 74 | 74 | 77.75 | 81 | 81 | 81 | 81 | 81 | 81 | 81 | 81.25 | 80 | 81 | 81 | 81 | 81.25 | 89 | 89 | 89 | 89 | 89 | 85 | 85.25 | 1967.75
[34 empty] | 7 | 01.30-01.45 | 50.01 |  | 1146
[34 empty] | 8 | 01.45-02:00 | 50 | 50.0175 | 1138 | 1153.75
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.96 |  | 1121 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 49.99 |  | 1107
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.99 |  | 1121
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 49.95 | 49.9725 | 1119 | 1117
1 | 756.5431 | 66.2923 | 249.6783 | 46.5 | 74.25 | 111.92 | 1305.1837 | -125.9404 | 1179.2433 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1179.2433 | 1 | 699.1975 | 66.25 | 248 | 1013.4475 | 1178.5 | 1180 | 1177 | 1178.5 | 1178.5 | 1179.2433 | 0 | 13 | 03.00-03.15 | 49.95 |  | 1128 |  | 66.25 | 1
2 | 749.9428 | 59.7882 | 320.6554 | 42 | 74 | 92.24 | 1338.6263 | -184.1487 | 1154.4777 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1154.4777 | 2 | 693.0975 | 59.75 | 318.5 | 1071.3475 | 1153.75 | 1170 | 1138 | 1153.75 | 1153.75 | 1154.4777 | 0 | 14 | 03.15-03.30 | 49.99 |  | 1141 |  | 59.75 | 2
3 | 730.6017 | 53.0339 | 243.8894 | 42 | 74 | 92.3 | 1235.825 | -118.1205 | 1117.7045 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1117.7045 | 3 | 675.2225 | 53 | 242.25 | 970.4725 | 1117 | 1121 | 1107 | 1117 | 1117 | 1117.7045 | 0 | 15 | 03.30-03.45 | 50.01 |  | 1146 |  | 53 | 3
4 | 732.5223 | 53.0339 | 240.8691 | 42 | 77.75 | 92.24 | 1238.4153 | -99.6975 | 1138.7178 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1138.7178 | 4 | 676.9975 | 53 | 239.25 | 969.2475 | 1138 | 1146 | 1128 | 1138 | 1138 | 1138.7178 | 0 | 16 | 03.45-04.00 | 50.02 | 49.9925 | 1137 | 1138 | 53 | 4
5 | 754.0274 | 53.0339 | 205.3805 | 42 | 81 | 92.26 | 1227.7018 | -83.7307 | 1143.9711 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1143.9711 | 5 | 696.8725 | 53 | 204 | 953.8725 | 1143.25 | 1150 | 1131 | 1143.25 | 1143.25 | 1143.9711 | 0 | 17 | 04.00-04.15 | 50 |  | 1131 |  | 53 | 5
6 | 768.6076 | 53.0339 | 189.7756 | 42 | 81 | 92.29 | 1226.7071 | -3.1859 | 1223.5212 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1223.5212 | 6 | 710.3475 | 53 | 188.5 | 951.8475 | 1222.75 | 1268 | 1179 | 1222.75 | 1222.75 | 1223.5212 | 0 | 18 | 04.15-04.30 | 49.99 |  | 1150 |  | 53 | 6
7 | 781.7 | 53.0339 | 200.3467 | 42 | 81 | 92.26 | 1250.3405 | 207.0781 | 1457.4186 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1457.4186 | 7 | 722.4475 | 53 | 199 | 974.4475 | 1456.5 | 1544 | 1342 | 1456.5 | 1456.5 | 1457.4186 | 0 | 19 | 04.30-04.45 | 50.01 |  | 1150 |  | 53 | 7
8 | 802.664 | 53.284 | 209.911 | 42 | 81 | 119.1 | 1307.959 | 295.041 | 1603 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1603 | 8 | 741.8225 | 53.25 | 208.5 | 1003.5725 | 1591 | 1603 | 1584 | 1603 | 1603 | 1603 | 0 | 20 | 04.45-05.00 | 50 | 50 | 1142 | 1143.25 | 53.25 | 8
9 | 792.0873 | 40.0256 | 211.1694 | 42 | 81 | 119.58 | 1285.8623 | 264.8651 | 1550.7274 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1550.7274 | 9 | 732.0475 | 40 | 209.75 | 981.7975 | 1549.75 | 1578 | 1531 | 1549.75 | 1549.75 | 1550.7274 | 0 | 21 | 05.00-05.15 | 50.01 |  | 1179 |  | 40 | 9
10 | 799.3909 | 40.0256 | 264.2764 | 42 | 81 | 119.58 | 1346.2729 | 210.4583 | 1556.7312 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1556.7312 | 10 | 738.7975 | 40 | 262.5 | 1041.2975 | 1555.75 | 1565 | 1549 | 1555.75 | 1555.75 | 1556.7312 | 0 | 22 | 05.15-05.30 | 50 |  | 1221 |  | 40 | 10
11 | 810.4816 | 40.0256 | 259.2426 | 42 | 81 | 119.54 | 1352.2897 | 166.9178 | 1519.2076 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1519.2076 | 11 | 749.0475 | 40 | 257.5 | 1046.5475 | 1518.25 | 1537 | 1502 | 1518.25 | 1518.25 | 1519.2076 | 0 | 23 | 05.30-05.45 | 49.99 |  | 1223 |  | 40 | 11
12 | 796.1449 | 40.0256 | 175.9326 | 42 | 81.25 | 119.54 | 1254.893 | 215.2837 | 1470.1767 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1470.1767 | 12 | 735.7975 | 40 | 174.75 | 950.5475 | 1469.25 | 1487 | 1456 | 1469.25 | 1469.25 | 1470.1767 | 0 | 24 | 05.45-06.00 | 50.01 | 50.0025 | 1268 | 1222.75 | 40 | 12
13 | 812.1046 | 40.0256 | 250.1817 | 45.5 | 80 | 118.88 | 1346.6919 | 52.1899 | 1398.8817 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1398.8817 | 13 | 750.5475 | 40 | 248.5 | 1039.0475 | 1398 | 1435 | 1348 | 1398 | 1398 | 1398.8817 | 0 | 25 | 06.00-06.15 | 49.98 |  | 1342 |  | 40 | 13
14 | 810.2111 | 40.0256 | 283.1533 | 61.75 | 81 | 119.28 | 1395.42 | -39.2318 | 1356.1882 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1356.1882 | 14 | 748.7975 | 40 | 281.25 | 1070.0475 | 1355.3333 | 1354 | 1348 | 1355.3333 | 1355.3333 | 1356.1882 | 0 | 26 | 06.15-06.30 | 49.98 |  | 1444 |  | 40 | 14
15 | 828.9029 | 38.2744 | 324.4308 | 85 | 81 | 119.26 | 1476.8681 | -62.7268 | 1414.1414 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1414.1414 | 15 | 766.0725 | 38.25 | 322.25 | 1126.5725 | 1413.25 | 1422 | 1392 | 1413.25 | 1413.25 | 1414.1414 | 0 | 27 | 06.30-06.45 | 49.98 |  | 1496 |  | 38.25 | 15
16 | 855.4664 | 85.8048 | 257.7324 | 85 | 81 | 119.3 | 1484.3036 | -80.6689 | 1403.6347 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1403.6347 | 16 | 790.6225 | 85.75 | 256 | 1132.3725 | 1402.75 | 1431 | 1380 | 1402.75 | 1402.75 | 1403.6347 | 0 | 28 | 06.45-07.00 | 49.95 | 49.9725 | 1544 | 1456.5 | 85.75 | 16
17 | 883.8964 | 91.8086 | 230.5497 | 85 | 81.25 | 119.31 | 1491.8147 | -121.7011 | 1370.1136 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1370.1136 | 17 | 816.8975 | 91.75 | 229 | 1137.6475 | 1369.25 | 1372 | 1362 | 1369.25 | 1369.25 | 1370.1136 | 0 | 29 | 07.00-07.15 | 49.99 |  | 1585 |  | 91.75 | 17
18 | 888.4409 | 94.5604 | 307.064 | 85 | 89 | 119.92 | 1583.9853 | -242.6398 | 1341.3455 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1341.3455 | 18 | 821.0975 | 94.5 | 305 | 1220.5975 | 1340.5 | 1366 | 1291 | 1340.5 | 1340.5 | 1341.3455 | 0 | 30 | 07.15-07.30 | 49.97 |  | 1592 |  | 94.5 | 18
19 | 889.036 | 95.561 | 320.9071 | 82.5 | 89 | 119.3 | 1596.3041 | -202.4255 | 1393.8786 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1393.8786 | 19 | 821.6475 | 95.5 | 318.75 | 1235.8975 | 1393 | 1437 | 1349 | 1393 | 1393 | 1393.8786 | 0 | 31 | 07.30-07.45 | 50.02 |  | 1603 |  | 95.5 | 19
20 | 867.6121 | 95.0607 | 216.2033 | 100.5 | 89 | 119.46 | 1487.836 | -96.2089 | 1391.6272 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1391.6272 | 20 | 801.8475 | 95 | 214.75 | 1111.5975 | 1390.75 | 1404 | 1371 | 1390.75 | 1390.75 | 1391.6272 | 0 | 32 | 07.45-08.00 | 50.03 | 50.0025 | 1584 | 1591 | 95 | 20
21 | 872.2647 | 95.0607 | 251.9435 | 99.25 | 89 | 118.9 | 1526.4189 | -231.3526 | 1295.0663 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1295.0663 | 21 | 806.1475 | 95 | 250.25 | 1151.3975 | 1294.25 | 1329 | 1264 | 1294.25 | 1294.25 | 1295.0663 | 0 | 33 | 08.00-08.15 | 50.02 |  | 1578 |  | 95 | 21
22 | 868.5318 | 95.0607 | 282.3982 | 97.75 | 89 | 118.9 | 1551.6407 | -290.3457 | 1261.295 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1261.295 | 22 | 802.6975 | 95 | 280.5 | 1178.1975 | 1260.5 | 1293 | 1234 | 1260.5 | 1260.5 | 1261.295 | 0 | 34 | 08.15-08.30 | 50.04 |  | 1542 |  | 95 | 22
23 | 750.3756 | 95.0607 | 298.0031 | 67.5 | 85 | 118.86 | 1414.7994 | -252.0665 | 1162.7329 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1162.7329 | 23 | 693.4975 | 95 | 296 | 1084.4975 | 1162 | 1185 | 1137 | 1162 | 1162 | 1162.7329 | 0 | 35 | 08.30-08.45 | 50.05 |  | 1531 |  | 95 | 23
24 | 753.7839 | 95.0607 | 276.1059 | 69 | 85.25 | 118.93 | 1398.1306 | -309.1306 | 1089 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1089 | 24 | 696.6475 | 95 | 274.25 | 1065.8975 | 1110.5 | 1126 | 1089 | 1089 | 1089 | 1089 | 0 | 36 | 08.45-09.00 | 50.02 | 50.0325 | 1548 | 1549.75 | 95 | 24
[34 empty] | 37 | 09.00-09.15 | 50.01 |  | 1553
TOTAL (in MWh) | 19355.34 | 1566 | 6069.8 | 1472.25 | 1967.75 | 2693.15 | 33124.29 | -1131.4879 | 31992.8021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31992.8021 | TOTAL | 17888.215 | 1565 | 6029 | 25482.215 | 31983.8333 |  |  | 31974.3333 | 31974.3333 | 31992.8021 | 0 | 38 | 09.15-09.30 | 50.02 |  | 1565
[34 empty] | 39 | 09.30-09.45 | 50.03 |  | 1556
[34 empty] | 40 | 09.45-10.00 | 50.04 | 50.025 | 1549 | 1555.75
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 50.0047; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 50.04 |  | 1537
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1603; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 50.04 |  | 1520
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1603; 5+6 P6 14: MW | MAX = | 1603 | [10 empty] | 43 | 10.30-10.45 | 50.01 |  | 1514
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 1089; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 1089 | [10 empty] | 44 | 10.45-11.00 | 50.01 | 50.025 | 1502 | 1518.25
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 19355.34; 5+6 P6 14: MWH; 5+6 P11 19: 23.118; 5+6 P11/1000 20: 19332.222 | [12 empty] | 45 | 11.00-11.15 | 50.01 |  | 1487
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 6069.8; 5+6 P6 14: MWH; 5+6 P11 19: 8.04; 5+6 P11/1000 20: 6061.76 | [12 empty] | 46 | 11.15-11.30 | 50 |  | 1468
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 1566; 5+6 P6 14: MWH; 5+6 P11 19: 1.78; 5+6 P11/1000 20: 1564.22 | [12 empty] | 47 | 11.30-11.45 | 50.01 |  | 1466
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 53; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 50.02 | 50.01 | 1456 | 1469.25
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 95; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 50.13 |  | 1435
|  |  | Max.generation of Malana at 1900 Hrs. |  |  |  | 5+6 P4 12: 95.5; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 50.06 |  | 1419
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [16 empty] | 1392
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 652.877; 5+6 P4 12: 975.4787; 5+6 P11 19: 193.5534; 5+6 P11/1000 20: 193.3222 | [12 empty] | 51 | 12.30-12.45 | 50.06 |  | 1396
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 326.3931; 5+6 P4 12: 362.9652; 5+6 P11 19: 82.981; 5+6 P11/1000 20: 82.8018 | [12 empty] | 52 | 12.45-13.00 | 50.07 | 50.08 | 1348 | 1398
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 326.4839; 5+6 P4 12: 612.5135; 5+6 P11 19: 110.5724; 5+6 P11/1000 20: 110.5204 | [12 empty] | 53 | 13.00-13.15 | 50.14 |  | 1364
[34 empty] | 55 | 13.30-13.45 | 49.97 |  | 1354
HOURLY LOAD SHEDDING UNDER DIFFERENT CATEGORIES | [6 empty] | 5+6 P1 9: DATE; 5+6 P2 10: 2022-09-22 01:56 | [12 empty] | 56 | 13.45-14.00 | 50 | 50.0367 | 1348 | 1355.3333
LOAD NOT SERVED DUE TO | [33 empty] | 57 | 14.00-14.15 | 49.97 |  | 1392 | bar: 7 to 5+6 P2 10
Hrs | Low Availablity (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) |  | 7: Planned maintenance in distribution system (in MW); 8: Distribution constraints (in MW); 5+6 P1 9: Any other reasion ( to be specfied) (MW); 5+6 P2 10: Total (in MW) | [12 empty] | 58 | 14.15-14.30 | 49.9 |  | 1421
1 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 59 | 14.30-14.45 | 49.85 |  | 1418
2 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 60 | 14.45-15.00 | 49.8 | 49.88 | 1422 | 1413.25
3 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 61 | 15.00-15.15 | 49.99 |  | 1431
4 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 62 | 15.15-15.30 | 50.02 |  | 1412
5 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 63 | 15.30-15.45 | 50 |  | 1388
6 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 64 | 15.45-16.00 | 50.01 | 50.005 | 1380 | 1402.75
7 | 0 | 0 | 0 |  | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 65 | 16.00-16.15 | 50.02 |  | 1372
8 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 66 | 16.15-16.30 | 50.01 |  | 1371
9 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 67 | 16.30-16.45 | 50 |  | 1362
10 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 68 | 16.45-17.00 | 50 | 50.0075 | 1372 | 1369.25
11 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 69 | 17.00-17.15 | 49.95 |  | 1346
12 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 70 | 17.15-17.30 | 49.95 |  | 1291
13 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 71 | 17.30-17.45 | 49.93 |  | 1359
14 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 72 | 17.45-18.00 | 49.89 | 49.93 | 1366 | 1340.5
15 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 73 | 18.00-18.15 | 49.93 |  | 1349
16 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 74 | 18.15-18.30 | 49.89 |  | 1378
17 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 75 | 18.30-18.45 | 49.96 |  | 1408
18 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 76 | 18.45-19.00 | 49.91 | 49.9225 | 1437 | 1393
19 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 77 | 19.00-19.15 | 50.02 |  | 1404
20 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 78 | 19.15-19.30 | 50 |  | 1393
21 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 79 | 19.30-19.45 | 50.03 |  | 1395
22 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 80 | 19.45-20.00 | 50.02 | 50.0175 | 1371 | 1390.75
23 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 81 | 20.00-20.15 | 50.03 |  | 1329
24 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 82 | 20.15-20.30 | 50.04 |  | 1305
Total | [33 empty] | 83 | 20.30-20.45 | 50.04 |  | 1264
[34 empty] | 84 | 20.45-21.00 | 50.04 | 50.0375 | 1279 | 1294.25
[34 empty] | 85 | 21.00-21.15 | 50.02 |  | 1271
[34 empty] | 86 | 21.15-21.30 | 50.04 |  | 1244
[34 empty] | 87 | 21.30-21.45 | 50.06 |  | 1293
[34 empty] | 88 | 21.45-22.00 | 50.05 | 50.0425 | 1234 | 1260.5
[34 empty] | 89 | 22.00-22.15 | 50.05 |  | 1185
[34 empty] | 90 | 22.15-22.30 | 50.04 |  | 1166
[34 empty] | 91 | 22.30-22.45 | 50.04 |  | 1160
[34 empty] | 92 | 22.45-23.00 | 50.09 | 50.055 | 1137 | 1162
[34 empty] | 93 | 23.00-23.15 | 50.02 |  | 1124
[34 empty] | 94 | 23.15-23.30 | 50.03 |  | 1126
[34 empty] | 95 | 23.30-23.45 | 50.07 |  | 1103
[34 empty] | 96 | 23.45-24.00 | 50.09 | 50.0525 | 1089 | 1110.5
[35 empty] | Total | 50.0042 | 50.0045 | 31994.5 | 31983.8333
[35 empty] | max | 1603 |  | avg. max | 1591
[35 empty] | min | 1089 |  | avg. min | 1110.5
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.