## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2022-09-24
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2022-09-25
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 30217.5 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 1417 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 6336 | MWh | MALANA-II | 1267 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1568 | [6 empty] | HOLI BAJOLI | 2569.7 | MWh |  |  |  |  | 1 | 00.00-00.15 | 50.01 |  | 1054
|  | Month/Day :- |  |  |  |  | 2022-09-24 | [10 empty] | Min.DEMAND(MW) |  | 980 |  | ACTUAL OWN GENERATION |  |  | 21289.49 | MWh | SWARA KUDDU | 2090 | MWh |  |  |  |  | 2 | 00.15-00.30 | 50.02 |  | 1053
[34 empty] | 3 | 00.30-00.45 | 50.01 |  | 1065 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50.01 | 50.0125 | 1074 | 1061.5 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 50 |  | 1067 |  |  |  | MALANA-2 | 34 | 34 | 34 | 34 | 34 | 34 | 34 | 35 | 35 | 35 | 35 | 35.25 | 35.25 | 44.75 | 45.25 | 50 | 50.25 | 54.25 | 62 | 101 | 100.75 | 101 | 101 | 100.25 | 1259
[34 empty] | 6 | 01.15-01.30 | 50.01 |  | 1054 |  |  |  | SWARA KUDDU | 89 | 89 | 81 | 87 | 89 | 89 | 89 | 89 | 85 | 84.25 | 89 | 89 | 89 | 89 | 89 | 81 | 85 | 89 | 89 | 89 | 89 | 85 | 81.25 | 89 | 2093.5
[34 empty] | 7 | 01.30-01.45 | 50.03 |  | 1044
[34 empty] | 8 | 01.45-02:00 | 50.05 | 50.0225 | 1039 | 1051
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 50.04 |  | 1064 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 50.03 |  | 1037
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50.03 |  | 1027
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.02 | 50.03 | 1018 | 1036.5
1 | 823.0831 | 92.4403 | 302.0865 | 34 | 89 | 119.3 | 1459.91 | -398.4287 | 1061.4813 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1061.4813 | 1 | 705.1975 | 92 | 299.5 | 1096.6975 | 1061.5 | 1074 | 1053 | 1061.5 | 1061.5 | 1061.4813 | 0 | 13 | 03.00-03.15 | 50.03 |  | 1003 |  | 92 | 1
2 | 842.6331 | 92.4403 | 280.653 | 34 | 89 | 119.26 | 1457.9865 | -407.005 | 1050.9815 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1050.9815 | 2 | 721.9475 | 92 | 278.25 | 1092.1975 | 1051 | 1067 | 1039 | 1051 | 1051 | 1050.9815 | 0 | 14 | 03.15-03.30 | 50.03 |  | 1024 |  | 92 | 2
3 | 852.5832 | 92.4403 | 266.2799 | 34 | 81 | 119.3 | 1445.6035 | -409.1218 | 1036.4817 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1036.4817 | 3 | 730.4725 | 92 | 264 | 1086.4725 | 1036.5 | 1064 | 1018 | 1036.5 | 1036.5 | 1036.4817 | 0 | 15 | 03.30-03.45 | 50.05 |  | 1027 |  | 92 | 3
4 | 861.658 | 30.1436 | 255.4371 | 34 | 87 | 119.28 | 1387.5187 | -363.0367 | 1024.4819 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1024.4819 | 4 | 738.2475 | 30 | 253.25 | 1021.4975 | 1024.5 | 1044 | 1003 | 1024.5 | 1024.5 | 1024.4819 | 0 | 16 | 03.45-04.00 | 50.04 | 50.0375 | 1044 | 1024.5 | 30 | 4
5 | 866.1807 | 29.1388 | 277.6271 | 34 | 89 | 119.3 | 1415.2466 | -378.2649 | 1036.9817 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1036.9817 | 5 | 742.1225 | 29 | 275.25 | 1046.3725 | 1037 | 1056 | 1024 | 1037 | 1037 | 1036.9817 | 0 | 17 | 04.00-04.15 | 50 |  | 1024 |  | 29 | 5
6 | 878.9904 | 29.1388 | 272.5839 | 34 | 89 | 119.26 | 1422.9731 | -294.993 | 1127.9801 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1127.9801 | 6 | 753.0975 | 29 | 270.25 | 1052.3475 | 1128 | 1187 | 1078 | 1128 | 1128 | 1127.9801 | 0 | 18 | 04.15-04.30 | 50.01 |  | 1032 |  | 29 | 6
7 | 890.2536 | 29.1388 | 271.3231 | 34 | 89 | 100.98 | 1414.6955 | -28.7199 | 1385.9755 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1385.9755 | 7 | 762.7475 | 29 | 269 | 1060.7475 | 1386 | 1482 | 1266 | 1386 | 1386 | 1385.9755 | 0 | 19 | 04.30-04.45 | 49.99 |  | 1036 |  | 29 | 7
8 | 870.2075 | 29.1388 | 261.2368 | 35 | 89 | 100.99 | 1385.573 | 147.6499 | 1533.2229 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1533.2229 | 8 | 745.5725 | 29 | 259 | 1033.5725 | 1533.25 | 1550 | 1512 | 1533.25 | 1533.25 | 1533.2229 | 0 | 20 | 04.45-05.00 | 49.99 | 49.9975 | 1056 | 1037 | 29 | 8
9 | 874.2634 | 29.1388 | 259.7238 | 35 | 85 | 84.21 | 1367.336 | 200.664 | 1568 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1568 | 9 | 749.0475 | 29 | 257.5 | 1035.5475 | 1532.25 | 1568 | 1503 | 1568 | 1568 | 1568 | 0 | 21 | 05.00-05.15 | 50.02 |  | 1078 |  | 29 | 9
10 | 879.6323 | 41.4474 | 241.064 | 35 | 84.25 | 84.21 | 1365.6038 | 181.8689 | 1547.4727 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1547.4727 | 10 | 753.6475 | 41.25 | 239 | 1033.8975 | 1547.5 | 1565 | 1536 | 1547.5 | 1547.5 | 1547.4727 | 0 | 22 | 05.15-05.30 | 50 |  | 1114 |  | 41.25 | 10
11 | 885.0597 | 45.2154 | 261.9932 | 35 | 89 | 84.19 | 1400.4583 | 111.765 | 1512.2233 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1512.2233 | 11 | 758.2975 | 45 | 259.75 | 1063.0475 | 1512.25 | 1534 | 1496 | 1512.25 | 1512.25 | 1512.2233 | 0 | 23 | 05.30-05.45 | 50.03 |  | 1133 |  | 45 | 11
12 | 858.0981 | 45.2154 | 267.5407 | 35.25 | 89 | 84.21 | 1379.3142 | 89.6598 | 1468.9741 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1468.9741 | 12 | 735.1975 | 45 | 265.25 | 1045.4475 | 1469 | 1484 | 1454 | 1469 | 1469 | 1468.9741 | 0 | 24 | 05.45-06.00 | 50.01 | 50.015 | 1187 | 1128 | 45 | 12
13 | 861.3662 | 45.2154 | 223.4129 | 35.25 | 89 | 84.21 | 1338.4545 | 16.7216 | 1355.1761 | 0 | 0 | 0 | 0 | 0 | 36.6667 | 0 | 0 | 0 | 36.6667 | 0.036667 | 1391.8427 | 13 | 737.9975 | 45 | 221.5 | 1004.4975 | 1355.2 | 1399 | 1305 | 1355.2 | 1355.2 | 1355.1761 | 36.6667 | 25 | 06.00-06.15 | 49.96 |  | 1266 |  | 45 | 13
14 | 850.6866 | 48.2297 | 112.4629 | 44.75 | 89 | 84.21 | 1229.3393 | 67.9712 | 1297.3104 | 0 | 0 | 0 | 0 | 0 | 16.6667 | 0 | 0 | 0 | 16.6667 | 0.016667 | 1313.9771 | 14 | 728.8475 | 48 | 111.5 | 888.3475 | 1297.3333 | 1309 | 1304 | 1297.3333 | 1297.3333 | 1297.3104 | 16.6667 | 26 | 06.15-06.30 | 49.96 |  | 1365 |  | 48 | 14
15 | 860.9868 | 48.2297 | 225.4302 | 45.25 | 89 | 84.16 | 1353.0568 | -71.0794 | 1281.9774 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1281.9774 | 15 | 737.6725 | 48 | 223.5 | 1009.1725 | 1282 | 1308 | 1266 | 1282 | 1282 | 1281.9774 | 0 | 27 | 06.30-06.45 | 49.99 |  | 1431 |  | 48 | 15
16 | 886.6645 | 48.2297 | 315.4509 | 50 | 81 | 84.22 | 1465.5652 | -153.0884 | 1312.4768 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1312.4768 | 16 | 759.6725 | 48 | 312.75 | 1120.4225 | 1312.5 | 1349 | 1254 | 1312.5 | 1312.5 | 1312.4768 | 0 | 28 | 06.45-07.00 | 49.98 | 49.9725 | 1482 | 1386 | 48 | 16
17 | 895.9727 | 48.4809 | 318.4769 | 50.25 | 85 | 84.27 | 1482.4505 | -161.7238 | 1320.7267 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1320.7267 | 17 | 767.6475 | 48.25 | 315.75 | 1131.6475 | 1320.75 | 1338 | 1309 | 1320.75 | 1320.75 | 1320.7267 | 0 | 29 | 07.00-07.15 | 50.02 |  | 1512 |  | 48.25 | 17
18 | 879.3989 | 48.4809 | 251.1504 | 54.25 | 89 | 85.49 | 1407.7702 | -110.7931 | 1296.9771 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1296.9771 | 18 | 753.4475 | 48.25 | 249 | 1050.6975 | 1297 | 1303 | 1290 | 1297 | 1297 | 1296.9771 | 0 | 30 | 07.15-07.30 | 50.03 |  | 1539 |  | 48.25 | 18
19 | 909.5702 | 86.914 | 251.1504 | 62 | 89 | 104.48 | 1503.1146 | -161.3883 | 1341.7263 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1341.7263 | 19 | 779.2975 | 86.5 | 249 | 1114.7975 | 1341.75 | 1361 | 1306 | 1341.75 | 1341.75 | 1341.7263 | 0 | 31 | 07.30-07.45 | 50.05 |  | 1550 |  | 86.5 | 19
20 | 928.2448 | 87.4164 | 229.4647 | 101 | 89 | 105.54 | 1540.666 | -247.1888 | 1293.4772 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1293.4772 | 20 | 795.2975 | 87 | 227.5 | 1109.7975 | 1293.5 | 1343 | 1246 | 1293.5 | 1293.5 | 1293.4772 | 0 | 32 | 07.45-08.00 | 50.05 | 50.0375 | 1532 | 1533.25 | 87 | 20
21 | 943.8265 | 88.17 | 271.3231 | 100.75 | 89 | 105.52 | 1598.5896 | -393.8609 | 1204.7287 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1204.7287 | 21 | 808.6475 | 87.75 | 269 | 1165.3975 | 1204.75 | 1218 | 1189 | 1204.75 | 1204.75 | 1204.7287 | 0 | 33 | 08.00-08.15 | 50.02 |  | 1528 |  | 87.75 | 21
22 | 969.2707 | 91.6868 | 327.5546 | 101 | 85 | 105.23 | 1679.7421 | -562.5118 | 1117.2303 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1117.2303 | 22 | 830.4475 | 91.25 | 324.75 | 1246.4475 | 1117.25 | 1170 | 1077 | 1117.25 | 1117.25 | 1117.2303 | 0 | 34 | 08.15-08.30 | 50.05 |  | 1568 |  | 91.25 | 22
23 | 962.3261 | 95.4547 | 291.748 | 101 | 81.25 | 119.1 | 1650.8788 | -589.3975 | 1061.4813 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1061.4813 | 23 | 824.4975 | 95 | 289.25 | 1208.7475 | 1061.5 | 1065 | 1058 | 1061.5 | 1061.5 | 1061.4813 | 0 | 35 | 08.30-08.45 | 50.05 |  | 1530 |  | 95 | 23
24 | 958.5328 | 95.4547 | 300.8257 | 100.25 | 89 | 119.09 | 1663.1532 | -683.1532 | 980 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 980 | 24 | 821.2475 | 95 | 298.25 | 1214.4975 | 1000.75 | 1022 | 980 | 980 | 980 | 980 | 0 | 36 | 08.45-09.00 | 50.06 | 50.045 | 1503 | 1532.25 | 95 | 24
[34 empty] | 37 | 09.00-09.15 | 50.04 |  | 1543
TOTAL (in MWh) | 21289.49 | 1417 | 6336 | 1259 | 2093.5 | 2420.01 | 34815 | -4597.455 | 30217.545 | 0 | 0 | 0 | 0 | 0 | 53.3333 | 0 | 0 | 0 | 53.3333 | 53.3333 | 30270.8783 | TOTAL | 18240.315 | 1410.25 | 6281.75 | 25932.315 | 30203.0333 |  |  | 30218.0333 | 30218.0333 | 30217.545 | 53.3333 | 38 | 09.15-09.30 | 50.03 |  | 1546
[34 empty] | 39 | 09.30-09.45 | 50.04 |  | 1565
[34 empty] | 40 | 09.45-10.00 | 50.03 | 50.035 | 1536 | 1547.5
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 50.0086; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 50 |  | 1534
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1568; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 50 |  | 1511
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1568; 5+6 P6 14: MW | MAX = | 1568 | [10 empty] | 43 | 10.30-10.45 | 50 |  | 1508
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 980; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 980 | [10 empty] | 44 | 10.45-11.00 | 49.99 | 49.9975 | 1496 | 1512.25
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 21289.49; 5+6 P6 14: MWH; 5+6 P11 19: 29.532; 5+6 P11/1000 20: 21259.958 | [12 empty] | 45 | 11.00-11.15 | 50.01 |  | 1484
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 6336; 5+6 P6 14: MWH; 5+6 P11 19: 7.92; 5+6 P11/1000 20: 6328.08 | [12 empty] | 46 | 11.15-11.30 | 49.98 |  | 1474
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 1417; 5+6 P6 14: MWH; 5+6 P11 19: 1.648; 5+6 P11/1000 20: 1415.352 | [12 empty] | 47 | 11.30-11.45 | 50 |  | 1464
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 92; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 50.04 | 50.0075 | 1454 | 1469
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 95; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 50.06 |  | 1399
|  |  | Max.generation of Malana at 2300 Hrs. |  |  |  | 5+6 P4 12: 95; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 50.03 |  | 1387
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [16 empty] | 1356
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 766.3627; 5+6 P4 12: 1066.3419; 5+6 P11 19: 212.8949; 5+6 P11/1000 20: 212.5996 | [12 empty] | 51 | 12.30-12.45 | 50.06 |  | 1329
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 358.5693; 5+6 P4 12: 352.5387; 5+6 P11 19: 84.75; 5+6 P11/1000 20: 84.5115 | [12 empty] | 52 | 12.45-13.00 | 50.12 | 50.0675 | 1305 | 1355.2
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 407.7934; 5+6 P4 12: 713.8032; 5+6 P11 19: 128.1449; 5+6 P11/1000 20: 128.088 | [12 empty] | 53 | 13.00-13.15 | 50.16 |  | 1279
[34 empty] | 55 | 13.30-13.45 | 50.04 |  | 1304
HOURLY LOAD SHEDDING UNDER DIFFERENT CATEGORIES | [6 empty] | 5+6 P1 9: DATE; 5+6 P2 10: 2022-09-25 01:35 | [12 empty] | 56 | 13.45-14.00 | 49.99 | 50.0633 | 1309 | 1297.3333
LOAD NOT SERVED DUE TO | [33 empty] | 57 | 14.00-14.15 | 49.99 |  | 1308 | bar: 7 to 5+6 P2 10
Hrs | Low Availablity (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) |  | 7: Planned maintenance in distribution system (in MW); 8: Distribution constraints (in MW); 5+6 P1 9: Any other reasion ( to be specfied) (MW); 5+6 P2 10: Total (in MW) | [12 empty] | 58 | 14.15-14.30 | 50 |  | 1282
1 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 59 | 14.30-14.45 | 49.98 |  | 1272
2 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 60 | 14.45-15.00 | 49.9 | 49.9675 | 1266 | 1282
3 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 61 | 15.00-15.15 | 49.99 |  | 1254
4 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 62 | 15.15-15.30 | 49.92 |  | 1302
5 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 63 | 15.30-15.45 | 50.02 |  | 1345
6 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 64 | 15.45-16.00 | 50.02 | 49.9875 | 1349 | 1312.5
7 | 0 | 0 | 0 |  | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 65 | 16.00-16.15 | 50 |  | 1338
8 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 66 | 16.15-16.30 | 49.96 |  | 1321
9 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 67 | 16.30-16.45 | 50.01 |  | 1315
10 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 68 | 16.45-17.00 | 50.01 | 49.995 | 1309 | 1320.75
11 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 69 | 17.00-17.15 | 49.99 |  | 1302
12 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 70 | 17.15-17.30 | 49.9 |  | 1303
13 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 71 | 17.30-17.45 | 49.95 |  | 1290
14 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 72 | 17.45-18.00 | 49.93 | 49.9425 | 1293 | 1297
15 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 73 | 18.00-18.15 | 49.97 |  | 1306
16 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 74 | 18.15-18.30 | 49.91 |  | 1343
17 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 75 | 18.30-18.45 | 49.86 |  | 1357
18 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 76 | 18.45-19.00 | 49.89 | 49.9075 | 1361 | 1341.75
19 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 77 | 19.00-19.15 | 49.99 |  | 1343
20 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 78 | 19.15-19.30 | 50.03 |  | 1317
21 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 79 | 19.30-19.45 | 50.03 |  | 1268
22 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 80 | 19.45-20.00 | 50.04 | 50.0225 | 1246 | 1293.5
23 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 81 | 20.00-20.15 | 50.04 |  | 1208
24 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 82 | 20.15-20.30 | 50.02 |  | 1218
Total | [33 empty] | 83 | 20.30-20.45 | 50.03 |  | 1204
[34 empty] | 84 | 20.45-21.00 | 50.06 | 50.0375 | 1189 | 1204.75
[34 empty] | 85 | 21.00-21.15 | 50.01 |  | 1170
[34 empty] | 86 | 21.15-21.30 | 50 |  | 1128
[34 empty] | 87 | 21.30-21.45 | 50 |  | 1094
[34 empty] | 88 | 21.45-22.00 | 50.02 | 50.0075 | 1077 | 1117.25
[34 empty] | 89 | 22.00-22.15 | 50.02 |  | 1058
[34 empty] | 90 | 22.15-22.30 | 50.01 |  | 1065
[34 empty] | 91 | 22.30-22.45 | 49.98 |  | 1064
[34 empty] | 92 | 22.45-23.00 | 50 | 50.0025 | 1059 | 1061.5
[34 empty] | 93 | 23.00-23.15 | 49.96 |  | 1022
[34 empty] | 94 | 23.15-23.30 | 50 |  | 1003
[34 empty] | 95 | 23.30-23.45 | 50.01 |  | 998
[34 empty] | 96 | 23.45-24.00 | 50.02 | 49.9975 | 980 | 1000.75
[35 empty] | Total | 50.0081 | 50.0087 | 30217.5 | 30203.0333
[35 empty] | max | 1568 |  | avg. max | 1547.5
[35 empty] | min | 980 |  | avg. min | 1000.75
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.