## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2022-09-06
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2022-09-07
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 33844.25 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 1443 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 7316.7 | MWh | MALANA-II | 1704 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1644.8667 | [6 empty] | HOLI BAJOLI | 2390 | MWh |  |  |  |  | 1 | 00.00-00.15 | 49.94 |  | 1192
|  | Month/Day :- |  |  |  |  | 2022-09-06 | [10 empty] | Min.DEMAND(MW) |  | 1147 |  | ACTUAL OWN GENERATION |  |  | 21256.621 | MWh | SWARA KUDDU | 1379.6 | MWh |  |  |  |  | 2 | 00.15-00.30 | 49.93 |  | 1208
[34 empty] | 3 | 00.30-00.45 | 49.95 |  | 1209 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 50 | 49.955 | 1197 | 1201.5 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 49.94 |  | 1201 |  |  |  | MALANA-2 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 56.25 | 89.75 | 93.5 | 98.75 | 99.25 | 110 | 110.5 | 110.5 | 80 | 80 | 1698.5
[34 empty] | 6 | 01.15-01.30 | 49.94 |  | 1180 |  |  |  | SWARA KUDDU | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 61.5 | 74 | 74 | 72 | 72 | 70.25 | 69.75 | 70 | 70 | 72 | 74 | 74 | 74 | 74 | 1371.5
[34 empty] | 7 | 01.30-01.45 | 50.02 |  | 1157
[34 empty] | 8 | 01.45-02:00 | 50 | 49.975 | 1159 | 1174.25
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.97 |  | 1160 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 49.94 |  | 1161
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 50 |  | 1169
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 50.01 | 49.98 | 1147 | 1159.25
1 | 849.7456 | 71.5124 | 327.5759 | 55 | 37 | 115.65 | 1456.4839 | -255.3294 | 1201.1546 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1201.1546 | 1 | 738.2475 | 71.5 | 326 | 1135.7475 | 1201.5 | 1209 | 1192 | 1201.5 | 1201.5 | 1201.1546 | 0 | 13 | 03.00-03.15 | 50.01 |  | 1161 |  | 71.5 | 1
2 | 892.7942 | 48.2584 | 327.5759 | 55 | 37 | 109.46 | 1470.0885 | -296.1761 | 1173.9124 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1173.9124 | 2 | 775.6475 | 48.25 | 326 | 1149.8975 | 1174.25 | 1201 | 1157 | 1174.25 | 1174.25 | 1173.9124 | 0 | 14 | 03.15-03.30 | 49.99 |  | 1163 |  | 48.25 | 2
3 | 826.9264 | 19.0033 | 327.5759 | 55 | 37 | 109.5 | 1375.0057 | -228.0057 | 1147 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1147 | 3 | 718.4225 | 19 | 326 | 1063.4225 | 1159.25 | 1169 | 1147 | 1147 | 1147 | 1147 | 0 | 15 | 03.30-03.45 | 50 |  | 1163 |  | 19 | 3
4 | 841.4582 | 34.756 | 327.5759 | 55 | 37 | 109.52 | 1405.3101 | -243.6442 | 1161.6659 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1161.6659 | 4 | 731.0475 | 34.75 | 326 | 1091.7975 | 1162 | 1163 | 1161 | 1162 | 1162 | 1161.6659 | 0 | 16 | 03.45-04.00 | 50.02 | 50.005 | 1161 | 1162 | 34.75 | 4
5 | 830.955 | 60.5105 | 327.5759 | 55 | 37 | 109.54 | 1420.5815 | -253.917 | 1166.6645 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1166.6645 | 5 | 721.9225 | 60.5 | 326 | 1108.4225 | 1167 | 1179 | 1159 | 1167 | 1167 | 1166.6645 | 0 | 17 | 04.00-04.15 | 50 |  | 1164 |  | 60.5 | 5
6 | 903.9016 | 62.0107 | 327.5759 | 55 | 37 | 109.54 | 1495.0283 | -239.8893 | 1255.139 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1255.139 | 6 | 785.2975 | 62 | 326 | 1173.2975 | 1255.5 | 1325 | 1199 | 1255.5 | 1255.5 | 1255.139 | 0 | 18 | 04.15-04.30 | 49.99 |  | 1166 |  | 62 | 6
7 | 876.1618 | 62.0107 | 327.5759 | 55 | 37 | 109.54 | 1467.2884 | 34.7796 | 1502.068 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1502.068 | 7 | 761.1975 | 62 | 326 | 1149.1975 | 1502.5 | 1571 | 1404 | 1502.5 | 1502.5 | 1502.068 | 0 | 19 | 04.30-04.45 | 50 |  | 1159 |  | 62 | 7
8 | 899.0961 | 61.5107 | 327.5759 | 55 | 37 | 109.52 | 1489.7027 | 114.2973 | 1604 | 0 | 0 | 0 | 0 | 0 | 40.8667 | 0 | 0 | 0 | 40.8667 | 0.040867 | 1644.8667 | 8 | 781.1225 | 61.5 | 326 | 1168.6225 | 1568 | 1604 | 1521 | 1604 | 1604 | 1604 | 40.8667 | 20 | 04.45-05.00 | 50.01 | 50 | 1179 | 1167 | 61.5 | 8
9 | 885.5427 | 49.5086 | 327.5759 | 55 | 37 | 99.12 | 1453.7472 | 98.3065 | 1552.0536 | 0 | 0 | 0 | 0 | 0 | 12.5 | 0 | 0 | 0 | 12.5 | 0.0125 | 1564.5536 | 9 | 769.3475 | 49.5 | 326 | 1144.8475 | 1552.5 | 1575 | 1528 | 1552.5 | 1552.5 | 1552.0536 | 12.5 | 21 | 05.00-05.15 | 49.99 |  | 1199 |  | 49.5 | 9
10 | 843.0696 | 49.0085 | 326.0687 | 55 | 37 | 99.12 | 1409.2668 | 119.2936 | 1528.5604 | 0 | 0 | 0 | 0 | 0 | 61.3333 | 0 | 0 | 0 | 61.3333 | 0.061333 | 1589.8937 | 10 | 732.4475 | 49 | 324.5 | 1105.9475 | 1529 | 1550 | 1516 | 1529 | 1529 | 1528.5604 | 61.3333 | 22 | 05.15-05.30 | 50.02 |  | 1234 |  | 49 | 10
11 | 817.3441 | 49.0085 | 279.3439 | 55 | 61.5 | 99.14 | 1361.3365 | 195.2159 | 1556.5523 | 0 | 0 | 0 | 0 | 0 | 17.3833 | 0 | 0 | 0 | 17.3833 | 0.017383 | 1573.9357 | 11 | 710.0975 | 49 | 278 | 1037.0975 | 1557 | 1575 | 1532 | 1557 | 1557 | 1556.5523 | 17.3833 | 23 | 05.30-05.45 | 49.98 |  | 1264 |  | 49 | 11
12 | 866.2629 | 49.0085 | 247.4404 | 55 | 74 | 99.15 | 1390.8618 | 135.9491 | 1526.8109 | 0 | 0 | 0 | 0 | 0 | 43.5 | 0 | 0 | 0 | 43.5 | 0.0435 | 1570.3109 | 12 | 752.5975 | 49 | 246.25 | 1047.8475 | 1527.25 | 1548 | 1514 | 1527.25 | 1527.25 | 1526.8109 | 43.5 | 24 | 05.45-06.00 | 49.91 | 49.975 | 1325 | 1255.5 | 49 | 12
13 | 855.0979 | 45.2578 | 250.2037 | 55 | 74 | 99.2 | 1378.7595 | 169.1954 | 1547.9548 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1547.9548 | 13 | 742.8975 | 45.25 | 249 | 1037.1475 | 1548.4 | 1569 | 1508 | 1548.4 | 1548.4 | 1547.9548 | 0 | 25 | 06.00-06.15 | 49.96 |  | 1404 |  | 45.25 | 13
14 | 789.1438 | 44.0076 | 245.1795 | 55 | 72 | 99.22 | 1304.551 | 187.3533 | 1491.9043 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1491.9043 | 14 | 685.5975 | 44 | 244 | 973.5975 | 1492.3333 | 1497 | 1486 | 1492.3333 | 1492.3333 | 1491.9043 | 0 | 26 | 06.15-06.30 | 49.85 |  | 1474 |  | 44 | 14
15 | 815.301 | 44.0076 | 240.1554 | 56.25 | 72 | 91.26 | 1318.974 | 212.5855 | 1531.5595 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1531.5595 | 15 | 708.3225 | 44 | 239 | 991.3225 | 1532 | 1536 | 1529 | 1532 | 1532 | 1531.5595 | 0 | 27 | 06.30-06.45 | 49.9 |  | 1561 |  | 44 | 15
16 | 847.9327 | 44.0076 | 243.4211 | 89.75 | 70.25 | 89.23 | 1384.5914 | 114.9773 | 1499.5687 | 0 | 0 | 0 | 0 | 0 | 50 | 0 | 0 | 0 | 50 | 0.05 | 1549.5687 | 16 | 736.6725 | 44 | 242.25 | 1022.9225 | 1500 | 1558 | 1426 | 1500 | 1500 | 1499.5687 | 50 | 28 | 06.45-07.00 | 49.84 | 49.8875 | 1571 | 1502.5 | 44 | 16
17 | 906.8943 | 44.0076 | 245.1795 | 93.5 | 69.75 | 89.25 | 1448.5815 | 36.2415 | 1484.823 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1484.823 | 17 | 787.8975 | 44 | 244 | 1075.8975 | 1485.25 | 1512 | 1446 | 1485.25 | 1485.25 | 1484.823 | 0 | 29 | 07.00-07.15 | 49.94 |  | 1581 |  | 44 | 17
18 | 924.5051 | 44.5077 | 326.5711 | 98.75 | 70 | 89.23 | 1553.5639 | -77.9882 | 1475.5756 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1475.5756 | 18 | 803.1975 | 44.5 | 325 | 1172.6975 | 1476 | 1500 | 1457 | 1476 | 1476 | 1475.5756 | 0 | 30 | 07.15-07.30 | 49.97 |  | 1604 |  | 44.5 | 18
19 | 899.8154 | 86.0149 | 327.5759 | 99.25 | 70 | 89.2 | 1571.8563 | -132.7702 | 1439.0861 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1439.0861 | 19 | 781.7475 | 86 | 326 | 1193.7475 | 1439.5 | 1454 | 1427 | 1439.5 | 1439.5 | 1439.0861 | 0 | 31 | 07.30-07.45 | 49.92 |  | 1566 |  | 86 | 19
20 | 939.3534 | 95.0165 | 327.5759 | 110 | 72 | 89.22 | 1633.1658 | -116.1021 | 1517.0637 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1517.0637 | 20 | 816.0975 | 95 | 326 | 1237.0975 | 1517.5 | 1536 | 1487 | 1517.5 | 1517.5 | 1517.0637 | 0 | 32 | 07.45-08.00 | 50.03 | 49.965 | 1521 | 1568 | 95 | 20
21 | 973.4814 | 95.0165 | 327.5759 | 110.5 | 74 | 89.18 | 1669.7538 | -219.6709 | 1450.083 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1450.083 | 21 | 845.7475 | 95 | 326 | 1266.7475 | 1450.5 | 1482 | 1427 | 1450.5 | 1450.5 | 1450.083 | 0 | 33 | 08.00-08.15 | 49.99 |  | 1566 |  | 95 | 21
22 | 977.4525 | 95.0165 | 327.0735 | 110.5 | 74 | 89.2 | 1673.2425 | -290.89 | 1382.3524 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1382.3524 | 22 | 849.1975 | 95 | 325.5 | 1269.6975 | 1382.75 | 1405 | 1355 | 1382.75 | 1382.75 | 1382.3524 | 0 | 34 | 08.15-08.30 | 50.02 |  | 1575 |  | 95 | 22
23 | 992.4159 | 95.0165 | 327.5759 | 80 | 74 | 89.18 | 1658.1883 | -307.8266 | 1350.3616 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1350.3616 | 23 | 862.1975 | 95 | 326 | 1283.1975 | 1350.75 | 1364 | 1341 | 1350.75 | 1350.75 | 1350.3616 | 0 | 35 | 08.30-08.45 | 50.04 |  | 1541 |  | 95 | 23
24 | 1001.9694 | 95.0165 | 327.5759 | 80 | 74 | 89.38 | 1667.9418 | -368.8155 | 1299.1264 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1299.1264 | 24 | 870.4975 | 95 | 326 | 1291.4975 | 1299.5 | 1319 | 1276 | 1299.5 | 1299.5 | 1299.1264 | 0 | 36 | 08.45-09.00 | 50.03 | 50.02 | 1528 | 1552.5 | 95 | 24
[34 empty] | 37 | 09.00-09.15 | 50.02 |  | 1550
TOTAL (in MWh) | 21256.621 | 1443 | 7316.7 | 1698.5 | 1371.5 | 2371.55 | 35457.871 | -1612.8301 | 33845.0409 | 0 | 0 | 0 | 0 | 0 | 225.5833 | 0 | 0 | 0 | 225.5833 | 225.5833 | 34070.6243 | TOTAL | 18467.465 | 1442.75 | 7281.5 | 27191.715 | 33830.2333 |  |  | 33853.9833 | 33853.9833 | 33845.0409 | 225.5833 | 38 | 09.15-09.30 | 50.05 |  | 1531
[34 empty] | 39 | 09.30-09.45 | 49.99 |  | 1519
[34 empty] | 40 | 09.45-10.00 | 50.04 | 50.025 | 1516 | 1529
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 49.9811; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 50.04 |  | 1532
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1604; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 50.01 |  | 1560
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1644.8667; 5+6 P6 14: MW | MAX = | 1604 | [10 empty] | 43 | 10.30-10.45 | 49.98 |  | 1575
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 1147; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 1147 | [10 empty] | 44 | 10.45-11.00 | 49.99 | 50.005 | 1561 | 1557
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 21256.621; 5+6 P6 14: MWH; 5+6 P11 19: 33.984; 5+6 P11/1000 20: 21222.637 | [12 empty] | 45 | 11.00-11.15 | 50 |  | 1514
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 7316.7; 5+6 P6 14: MWH; 5+6 P11 19: 7.95; 5+6 P11/1000 20: 7308.75 | [12 empty] | 46 | 11.15-11.30 | 49.92 |  | 1517
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 1443; 5+6 P6 14: MWH; 5+6 P11 19: 13.76; 5+6 P11/1000 20: 1429.24 | [12 empty] | 47 | 11.30-11.45 | 49.88 |  | 1530
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 19; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 49.87 | 49.9175 | 1548 | 1527.25
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 95; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 49.88 |  | 1565
|  |  | Max.generation of Malana at 2000 Hrs. |  |  |  | 5+6 P4 12: 95; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 49.91 |  | 1569
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [16 empty] | 1560
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 762.7536; 5+6 P4 12: 1040.973; 5+6 P11 19: 212.5662; 5+6 P11/1000 20: 212.2264 | [12 empty] | 51 | 12.30-12.45 | 49.98 |  | 1540
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 359.7558; 5+6 P4 12: 411.0412; 5+6 P11 19: 92.6447; 5+6 P11/1000 20: 92.3597 | [12 empty] | 52 | 12.45-13.00 | 49.94 | 49.9275 | 1508 | 1548.4
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 402.9978; 5+6 P4 12: 629.9317; 5+6 P11 19: 119.9215; 5+6 P11/1000 20: 119.8667 | [12 empty] | 53 | 13.00-13.15 | 50.06 |  | 1494
[34 empty] | 55 | 13.30-13.45 | 49.97 |  | 1497
HOURLY LOAD SHEDDING UNDER DIFFERENT CATEGORIES | [6 empty] | 5+6 P1 9: DATE; 5+6 P2 10: 2022-09-07 02:13 | [12 empty] | 56 | 13.45-14.00 | 50.02 | 50.0167 | 1486 | 1492.3333
LOAD NOT SERVED DUE TO | [33 empty] | 57 | 14.00-14.15 | 50.03 |  | 1532 | bar: 7 to 5+6 P2 10
Hrs | Low Availablity (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) |  | 7: Planned maintenance in distribution system (in MW); 8: Distribution constraints (in MW); 5+6 P1 9: Any other reasion ( to be specfied) (MW); 5+6 P2 10: Total (in MW) | [12 empty] | 58 | 14.15-14.30 | 49.96 |  | 1536
1 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 59 | 14.30-14.45 | 49.91 |  | 1531
2 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 60 | 14.45-15.00 | 49.99 | 49.9725 | 1529 | 1532
3 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 61 | 15.00-15.15 | 50 |  | 1541
4 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 62 | 15.15-15.30 | 49.99 |  | 1558
5 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 63 | 15.30-15.45 | 50.01 |  | 1475
6 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 64 | 15.45-16.00 | 50 | 50 | 1426 | 1500
7 | 0 | 0 | 0 |  | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 65 | 16.00-16.15 | 50.04 |  | 1446
8 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 66 | 16.15-16.30 | 50.01 |  | 1482
9 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 67 | 16.30-16.45 | 50.014 |  | 1501
10 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 68 | 16.45-17.00 | 49.99 | 50.0135 | 1512 | 1485.25
11 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 69 | 17.00-17.15 | 50.02 |  | 1500
12 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 70 | 17.15-17.30 | 49.99 |  | 1483
13 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 71 | 17.30-17.45 | 50.01 |  | 1464
14 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 72 | 17.45-18.00 | 50.01 | 50.0075 | 1457 | 1476
15 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 73 | 18.00-18.15 | 49.99 |  | 1454
16 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 74 | 18.15-18.30 | 49.97 |  | 1433
17 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 75 | 18.30-18.45 | 49.96 |  | 1427
18 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 76 | 18.45-19.00 | 49.95 | 49.9675 | 1444 | 1439.5
19 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 77 | 19.00-19.15 | 49.91 |  | 1487
20 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 78 | 19.15-19.30 | 49.9 |  | 1536
21 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 79 | 19.30-19.45 | 49.95 |  | 1524
22 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 80 | 19.45-20.00 | 50.02 | 49.945 | 1523 | 1517.5
23 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 81 | 20.00-20.15 | 50.04 |  | 1482
24 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 82 | 20.15-20.30 | 50 |  | 1460
Total | [33 empty] | 83 | 20.30-20.45 | 50 |  | 1433
[34 empty] | 84 | 20.45-21.00 | 49.96 | 50 | 1427 | 1450.5
[34 empty] | 85 | 21.00-21.15 | 50 |  | 1405
[34 empty] | 86 | 21.15-21.30 | 49.97 |  | 1391
[34 empty] | 87 | 21.30-21.45 | 50 |  | 1380
[34 empty] | 88 | 21.45-22.00 | 50.01 | 49.995 | 1355 | 1382.75
[34 empty] | 89 | 22.00-22.15 | 50 |  | 1347
[34 empty] | 90 | 22.15-22.30 | 50 |  | 1364
[34 empty] | 91 | 22.30-22.45 | 49.96 |  | 1351
[34 empty] | 92 | 22.45-23.00 | 50 | 49.99 | 1341 | 1350.75
[34 empty] | 93 | 23.00-23.15 | 49.96 |  | 1319
[34 empty] | 94 | 23.15-23.30 | 50 |  | 1305
[34 empty] | 95 | 23.30-23.45 | 49.99 |  | 1298
[34 empty] | 96 | 23.45-24.00 | 50.02 | 49.9925 | 1276 | 1299.5
[35 empty] | Total | 49.9804 | 49.9807 | 33844.25 | 33830.2333
[35 empty] | max | 1604 |  | avg. max | 1568
[35 empty] | min | 1147 |  | avg. min | 1159.25
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.