## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2022-09-08
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2022-09-09
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 35904.75 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 1999 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 7834 | MWh | MALANA-II | 2050 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1709 | [6 empty] | HOLI BAJOLI | 2607 | MWh |  |  |  |  | 1 | 00.00-00.15 | 50 |  | 1278
|  | Month/Day :- |  |  |  |  | 2022-09-08 | [10 empty] | Min.DEMAND(MW) |  | 1234 |  | ACTUAL OWN GENERATION |  |  | 21581.0875 | MWh | SWARA KUDDU | 1223 | MWh |  |  |  |  | 2 | 00.15-00.30 | 49.98 |  | 1270
[34 empty] | 3 | 00.30-00.45 | 49.97 |  | 1269 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 49.96 | 49.9775 | 1280 | 1274.25 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 49.97 |  | 1270 |  |  |  | MALANA-2 | 87.75 | 101 | 100.5 | 100 | 100 | 100 | 100 | 96.25 | 60.5 | 62.5 | 55 | 55 | 55 | 55 | 59 | 101 | 102 | 104.25 | 110.5 | 111 | 110.25 | 109.75 | 80.25 | 80 | 2096.5
[34 empty] | 6 | 01.15-01.30 | 50 |  | 1268 |  |  |  | SWARA KUDDU | 74 | 74 | 74 | 74 | 74 | 74 | 37.25 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 38 | 74 | 74 | 74 | 1222.25
[34 empty] | 7 | 01.30-01.45 | 49.9 |  | 1265
[34 empty] | 8 | 01.45-02:00 | 49.98 | 49.9625 | 1273 | 1269
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.93 |  | 1235 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 49.99 |  | 1240
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.97 |  | 1234
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 49.99 | 49.97 | 1240 | 1237.25
1 | 841.1554 | 84.3007 | 327.0141 | 87.75 | 74 | 112.96 | 1527.1802 | -253.0804 | 1274.0998 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1274.0998 | 1 | 723.5975 | 92.25 | 325 | 1140.8475 | 1274.25 | 1280 | 1269 | 1274.25 | 1274.25 | 1274.0998 | 0 | 13 | 03.00-03.15 | 49.98 |  | 1245 |  | 92.25 | 1
2 | 869.6939 | 84.0722 | 327.0141 | 101 | 74 | 92.99 | 1548.7702 | -279.9198 | 1268.8504 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1268.8504 | 2 | 748.1475 | 92 | 325 | 1165.1475 | 1269 | 1273 | 1265 | 1269 | 1269 | 1268.8504 | 0 | 14 | 03.15-03.30 | 49.88 |  | 1263 |  | 92 | 2
3 | 815.4359 | 86.5853 | 327.0141 | 100.5 | 74 | 93.17 | 1496.7053 | -262.7053 | 1234 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1234 | 3 | 701.4725 | 94.75 | 325 | 1121.2225 | 1237.25 | 1240 | 1234 | 1234 | 1234 | 1234 | 0 | 15 | 03.30-03.45 | 49.98 |  | 1244 |  | 94.75 | 3
4 | 819.4174 | 86.8137 | 327.0141 | 100 | 74 | 93.18 | 1500.4252 | -250.5725 | 1249.8526 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1249.8526 | 4 | 704.8975 | 95 | 325 | 1124.8975 | 1250 | 1263 | 1244 | 1250 | 1250 | 1249.8526 | 0 | 16 | 03.45-04.00 | 50.02 | 49.965 | 1248 | 1250 | 95 | 4
5 | 886.3462 | 86.8137 | 327.2656 | 100 | 74 | 93.18 | 1567.6055 | -313.5034 | 1254.1021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1254.1021 | 5 | 762.4725 | 95 | 325.25 | 1182.7225 | 1254.25 | 1265 | 1244 | 1254.25 | 1254.25 | 1254.1021 | 0 | 17 | 04.00-04.15 | 50 |  | 1244 |  | 95 | 5
6 | 899.8017 | 86.8137 | 327.0141 | 100 | 74 | 93.18 | 1580.8095 | -258.4654 | 1322.3441 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1322.3441 | 6 | 774.0475 | 95 | 325 | 1194.0475 | 1322.5 | 1400 | 1266 | 1322.5 | 1322.5 | 1322.3441 | 0 | 18 | 04.15-04.30 | 50.02 |  | 1265 |  | 95 | 6
7 | 915.2043 | 86.8137 | 327.0141 | 100 | 37.25 | 93.22 | 1559.5021 | 47.0584 | 1606.5606 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1606.5606 | 7 | 787.2975 | 95 | 325 | 1207.2975 | 1606.75 | 1672 | 1521 | 1606.75 | 1606.75 | 1606.5606 | 0 | 19 | 04.30-04.45 | 50.02 |  | 1261 |  | 95 | 7
8 | 935.1696 | 86.8137 | 327.0141 | 96.25 | 37 | 103.17 | 1585.4174 | 123.5826 | 1709 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1709 | 8 | 804.4725 | 95 | 325 | 1224.4725 | 1693.5 | 1709 | 1679 | 1709 | 1709 | 1709 | 0 | 20 | 04.45-05.00 | 50.03 | 50.0175 | 1247 | 1254.25 | 95 | 8
9 | 862.3704 | 78.5893 | 327.0141 | 60.5 | 37 | 104.14 | 1469.6137 | 168.6931 | 1638.3068 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1638.3068 | 9 | 741.8475 | 86 | 325 | 1152.8475 | 1638.5 | 1655 | 1623 | 1638.5 | 1638.5 | 1638.3068 | 0 | 21 | 05.00-05.15 | 50.04 |  | 1266 |  | 86 | 9
10 | 833.2507 | 73.1063 | 327.0141 | 62.5 | 37 | 104.14 | 1437.0111 | 214.2942 | 1651.3053 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1651.3053 | 10 | 716.7975 | 80 | 325 | 1121.7975 | 1651.5 | 1659 | 1637 | 1651.5 | 1651.5 | 1651.3053 | 0 | 22 | 05.15-05.30 | 50 |  | 1294 |  | 80 | 10
11 | 849.9901 | 44.7776 | 327.0141 | 55 | 37 | 104.13 | 1417.9118 | 226.1443 | 1644.0562 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1644.0562 | 11 | 731.1975 | 49 | 325 | 1105.1975 | 1644.25 | 1652 | 1639 | 1644.25 | 1644.25 | 1644.0562 | 0 | 23 | 05.30-05.45 | 50.01 |  | 1330 |  | 49 | 11
12 | 847.7815 | 44.7776 | 318.4614 | 55 | 37 | 104.13 | 1407.1505 | 228.9066 | 1636.0571 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1636.0571 | 12 | 729.2975 | 49 | 316.5 | 1094.7975 | 1636.25 | 1643 | 1630 | 1636.25 | 1636.25 | 1636.0571 | 0 | 24 | 05.45-06.00 | 50.01 | 50.015 | 1400 | 1322.5 | 49 | 12
13 | 878.6449 | 44.7776 | 327.0141 | 55 | 37 | 104.13 | 1446.5666 | 164.6435 | 1611.21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1611.21 | 13 | 755.8475 | 49 | 325 | 1129.8475 | 1611.4 | 1640 | 1562 | 1611.4 | 1611.4 | 1611.21 | 0 | 25 | 06.00-06.15 | 50.01 |  | 1521 |  | 49 | 13
14 | 864.7534 | 44.7776 | 327.0141 | 55 | 37 | 118.93 | 1447.4751 | 131.672 | 1579.1471 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1579.1471 | 14 | 743.8975 | 49 | 325 | 1117.8975 | 1579.3333 | 1605 | 1589 | 1579.3333 | 1579.3333 | 1579.1471 | 0 | 26 | 06.15-06.30 | 49.99 |  | 1591 |  | 49 | 14
15 | 923.8937 | 47.7475 | 327.0141 | 59 | 37 | 119.09 | 1513.7454 | 111.0631 | 1624.8084 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1624.8084 | 15 | 794.7725 | 52.25 | 325 | 1172.0225 | 1625 | 1631 | 1618 | 1625 | 1625 | 1624.8084 | 0 | 27 | 06.30-06.45 | 50.02 |  | 1643 |  | 52.25 | 15
16 | 914.4197 | 73.5632 | 320.9769 | 101 | 37 | 119.04 | 1565.9998 | 58.5587 | 1624.5585 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1624.5585 | 16 | 786.6225 | 80.5 | 319 | 1186.1225 | 1624.75 | 1628 | 1620 | 1624.75 | 1624.75 | 1624.5585 | 0 | 28 | 06.45-07.00 | 50 | 50.005 | 1672 | 1606.75 | 80.5 | 16
17 | 913.2281 | 250.1606 | 327.0141 | 102 | 37 | 119.02 | 1748.4228 | -141.3623 | 1607.0605 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1607.0605 | 17 | 785.5975 | 273.75 | 325 | 1384.3475 | 1607.25 | 1610 | 1604 | 1607.25 | 1607.25 | 1607.0605 | 0 | 29 | 07.00-07.15 | 50.02 |  | 1683 |  | 273.75 | 17
18 | 918.808 | 86.8137 | 327.0141 | 104.25 | 37 | 119.06 | 1592.9458 | -46.3781 | 1546.5677 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1546.5677 | 18 | 790.3975 | 95 | 325 | 1210.3975 | 1546.75 | 1592 | 1516 | 1546.75 | 1546.75 | 1546.5677 | 0 | 30 | 07.15-07.30 | 50.02 |  | 1709 |  | 95 | 18
19 | 919.6798 | 86.8137 | 327.0141 | 110.5 | 37 | 119.63 | 1600.6376 | -86.8161 | 1513.8215 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1513.8215 | 19 | 791.1475 | 95 | 325 | 1211.1475 | 1514 | 1527 | 1497 | 1514 | 1514 | 1513.8215 | 0 | 31 | 07.30-07.45 | 50.03 |  | 1703 |  | 95 | 19
20 | 951.1244 | 86.8137 | 327.0141 | 111 | 37 | 119.55 | 1632.5022 | -49.9388 | 1582.5634 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1582.5634 | 20 | 818.1975 | 95 | 325 | 1238.1975 | 1582.75 | 1597 | 1570 | 1582.75 | 1582.75 | 1582.5634 | 0 | 32 | 07.45-08.00 | 50.01 | 50.02 | 1679 | 1693.5 | 95 | 20
21 | 962.3422 | 86.8137 | 327.0141 | 110.25 | 38 | 119.55 | 1643.97 | -128.3987 | 1515.5713 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1515.5713 | 21 | 827.8475 | 95 | 325 | 1247.8475 | 1515.75 | 1550 | 1473 | 1515.75 | 1515.75 | 1515.5713 | 0 | 33 | 08.00-08.15 | 50.02 |  | 1655 |  | 95 | 21
22 | 988.5557 | 86.8137 | 327.0141 | 109.75 | 74 | 119.55 | 1705.6836 | -247.8554 | 1457.8281 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1457.8281 | 22 | 850.3975 | 95 | 325 | 1270.3975 | 1458 | 1476 | 1445 | 1458 | 1458 | 1457.8281 | 0 | 34 | 08.15-08.30 | 50.03 |  | 1643 |  | 95 | 22
23 | 1006.5158 | 86.8137 | 327.0141 | 80.25 | 74 | 120.13 | 1694.7236 | -266.1421 | 1428.5816 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1428.5816 | 23 | 865.8475 | 95 | 325 | 1285.8475 | 1428.75 | 1447 | 1392 | 1428.75 | 1428.75 | 1428.5816 | 0 | 35 | 08.30-08.45 | 49.99 |  | 1623 |  | 95 | 23
24 | 963.5047 | 86.8137 | 327.0141 | 80 | 74 | 119.58 | 1650.9125 | -326.0687 | 1324.8438 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1324.8438 | 24 | 828.8475 | 95 | 325 | 1248.8475 | 1325 | 1346 | 1316 | 1325 | 1325 | 1324.8438 | 0 | 36 | 08.45-09.00 | 49.99 | 50.0075 | 1633 | 1638.5 | 95 | 24
[34 empty] | 37 | 09.00-09.15 | 49.92 |  | 1637
TOTAL (in MWh) | 21581.0875 | 1999 | 7834 | 2096.5 | 1222.25 | 2608.85 | 37341.6875 | -1436.5905 | 35905.097 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35905.097 | TOTAL | 18564.965 | 2187.5 | 7785.75 | 28538.215 | 35896.7333 |  |  | 35908.9833 | 35908.9833 | 35905.097 | 0 | 38 | 09.15-09.30 | 49.93 |  | 1651
[34 empty] | 39 | 09.30-09.45 | 50 |  | 1659
[34 empty] | 40 | 09.45-10.00 | 50 | 49.9625 | 1659 | 1651.5
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 49.9736; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 50.03 |  | 1639
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1709; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 50.01 |  | 1643
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1709; 5+6 P6 14: MW | MAX = | 1709 | [10 empty] | 43 | 10.30-10.45 | 50.02 |  | 1643
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 1234; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 1234 | [10 empty] | 44 | 10.45-11.00 | 50.02 | 50.02 | 1652 | 1644.25
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 21581.0875; 5+6 P6 14: MWH; 5+6 P11 19: 32.702; 5+6 P11/1000 20: 21548.3855 | [12 empty] | 45 | 11.00-11.15 | 50 |  | 1641
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 7834; 5+6 P6 14: MWH; 5+6 P11 19: 7.99; 5+6 P11/1000 20: 7826.01 | [12 empty] | 46 | 11.15-11.30 | 50 |  | 1631
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 1999; 5+6 P6 14: MWH; 5+6 P11 19: 12.58; 5+6 P11/1000 20: 1986.42 | [12 empty] | 47 | 11.30-11.45 | 49.98 |  | 1630
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 94.75; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 50.01 | 49.9975 | 1643 | 1636.25
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 95; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 50 |  | 1640
|  |  | Max.generation of Malana at 1700 Hrs. |  |  |  | 5+6 P4 12: 273.75; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 50 |  | 1633
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [16 empty] | 1619
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 820.1722; 5+6 P4 12: 1021.4643; 5+6 P11 19: 215.8109; 5+6 P11/1000 20: 215.4839 | [12 empty] | 51 | 12.30-12.45 | 50.01 |  | 1603
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 349.023; 5+6 P4 12: 411.3217; 5+6 P11 19: 93.8209; 5+6 P11/1000 20: 93.5452 | [12 empty] | 52 | 12.45-13.00 | 49.99 | 50 | 1562 | 1611.4
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 471.1492; 5+6 P4 12: 610.1426; 5+6 P11 19: 121.99; 5+6 P11/1000 20: 121.9387 | [12 empty] | 53 | 13.00-13.15 | 50.01 |  | 1544
[34 empty] | 55 | 13.30-13.45 | 50.02 |  | 1589
HOURLY LOAD SHEDDING UNDER DIFFERENT CATEGORIES | [6 empty] | 5+6 P1 9: DATE; 5+6 P2 10: 2022-09-09 02:11 | [12 empty] | 56 | 13.45-14.00 | 50.01 | 50.0133 | 1605 | 1579.3333
LOAD NOT SERVED DUE TO | [33 empty] | 57 | 14.00-14.15 | 49.97 |  | 1620 | bar: 7 to 5+6 P2 10
Hrs | Low Availablity (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) |  | 7: Planned maintenance in distribution system (in MW); 8: Distribution constraints (in MW); 5+6 P1 9: Any other reasion ( to be specfied) (MW); 5+6 P2 10: Total (in MW) | [12 empty] | 58 | 14.15-14.30 | 49.86 |  | 1631
1 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 59 | 14.30-14.45 | 49.93 |  | 1631
2 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 60 | 14.45-15.00 | 49.86 | 49.905 | 1618 | 1625
3 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 61 | 15.00-15.15 | 50 |  | 1625
4 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 62 | 15.15-15.30 | 49.92 |  | 1626
5 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 63 | 15.30-15.45 | 49.94 |  | 1628
6 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 64 | 15.45-16.00 | 49.96 | 49.955 | 1620 | 1624.75
7 | 0 | 0 | 0 |  | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 65 | 16.00-16.15 | 49.99 |  | 1604
8 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 66 | 16.15-16.30 | 49.97 |  | 1606
9 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 67 | 16.30-16.45 | 49.95 |  | 1609
10 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 68 | 16.45-17.00 | 49.93 | 49.96 | 1610 | 1607.25
11 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 69 | 17.00-17.15 | 50 |  | 1592
12 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 70 | 17.15-17.30 | 49.97 |  | 1558
13 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 71 | 17.30-17.45 | 49.96 |  | 1521
14 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 72 | 17.45-18.00 | 49.85 | 49.945 | 1516 | 1546.75
15 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 73 | 18.00-18.15 | 49.98 |  | 1518
16 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 74 | 18.15-18.30 | 49.85 |  | 1527
17 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 75 | 18.30-18.45 | 49.79 |  | 1497
18 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 76 | 18.45-19.00 | 49.78 | 49.85 | 1514 | 1514
19 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 77 | 19.00-19.15 | 49.93 |  | 1570
20 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 78 | 19.15-19.30 | 49.87 |  | 1597
21 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 79 | 19.30-19.45 | 49.95 |  | 1589
22 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 80 | 19.45-20.00 | 49.97 | 49.93 | 1575 | 1582.75
23 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 81 | 20.00-20.15 | 50 |  | 1550
24 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 82 | 20.15-20.30 | 50 |  | 1528
Total | [33 empty] | 83 | 20.30-20.45 | 49.98 |  | 1512
[34 empty] | 84 | 20.45-21.00 | 49.99 | 49.9925 | 1473 | 1515.75
[34 empty] | 85 | 21.00-21.15 | 49.93 |  | 1476
[34 empty] | 86 | 21.15-21.30 | 49.94 |  | 1462
[34 empty] | 87 | 21.30-21.45 | 49.95 |  | 1445
[34 empty] | 88 | 21.45-22.00 | 50.01 | 49.9575 | 1449 | 1458
[34 empty] | 89 | 22.00-22.15 | 49.95 |  | 1447
[34 empty] | 90 | 22.15-22.30 | 49.95 |  | 1442
[34 empty] | 91 | 22.30-22.45 | 49.92 |  | 1434
[34 empty] | 92 | 22.45-23.00 | 49.92 | 49.935 | 1392 | 1428.75
[34 empty] | 93 | 23.00-23.15 | 49.99 |  | 1346
[34 empty] | 94 | 23.15-23.30 | 49.99 |  | 1318
[34 empty] | 95 | 23.30-23.45 | 50.02 |  | 1316
[34 empty] | 96 | 23.45-24.00 | 50.01 | 50.0025 | 1320 | 1325
[35 empty] | Total | 49.9732 | 49.9736 | 35904.75 | 35896.7333
[35 empty] | max | 1709 |  | avg. max | 1693.5
[35 empty] | min | 1234 |  | avg. min | 1237.25
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.