## Report_PSPR NRLDC SLDC
File Name: PSPR- |  |  | 2022-09-09
Hiamchal Pradesh State Load Despatch Centre
[18 empty] | DATED | 2022-09-10
FROM | [15 empty] | TO
| POWER CONTROLLER | [16 empty] | D.G.M.,NRLDC,NEW DELHI
| HPSLDC, GoHP, Totu, Shimla-11 | [16 empty] | FAX # 011-26852747-26853082
(FAX #: 0177 2837543)
|  |  | DEMAND AND POWER SUPPLY POSITION | [18 empty] | DEMAND OF STATE |  |  | 36310.25 | MWh
[22 empty] | ACTUAL MALANA GENERATION |  |  | 1905 | MWh
|  | State:- Himachal Pradesh | [19 empty] | ACTUAL BASPA GENERATION |  |  | 7854.9 | MWh | MALANA-II | 2018 | MWh |  |  |  |  | SN | Time Block | Frequency | Avg. Freq. | Demand | Avg Demand
[18 empty] | PEAK DEMAND(MW) |  | 1748 | [6 empty] | HOLI BAJOLI | 2607 | MWh |  |  |  |  | 1 | 00.00-00.15 | 49.99 |  | 1304
|  | Month/Day :- |  |  |  |  | 2022-09-09 | [10 empty] | Min.DEMAND(MW) |  | 1275 |  | ACTUAL OWN GENERATION |  |  | 21569.608 | MWh | SWARA KUDDU | 1279 | MWh |  |  |  |  | 2 | 00.15-00.30 | 49.99 |  | 1312
[34 empty] | 3 | 00.30-00.45 | 50 |  | 1328 |  | for VLOOKUP(MaxGenHrs.)
HRS. OF THE DAY | GENERATION (MW) | [6 empty] | NET IMPORT (MW) | DEMAND MET (MW) | FREQ-UENCY CORREC-TION (MW) | DEMAND NOT MET | [7 empty] | TOTAL DEMAND NOT MET (MW) | TOTAL ENERGY EQUIVA-LENT TO DEMAND NOT MET (MU) | TOTAL UNRESTRI-CTED DEMAND (MW) P7=P1+P2+P11 | HRS. OF THE DAY | GENERATION (MW) |  |  |  | AVERAGE DEMAND MET (MW) | MAX DEMAND (HOURLY) | MIN DEMAND (HOURLY) | DEMAND ADJUSTMENT(MAXIMUM/MINIMUM/AVERAGE) | CALCULATION MAX/MIN ACTUAL | DEMAND TREND | DUE TO LOAD SHEDD-ING (MW) | 4 | 00.45-01.00 | 49.99 | 49.9925 | 1337 | 1320.25 | Malana | HRS. OF THE DAY | TIME | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | TOTAL
[11 empty] | Low Availability (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) | Planned maintenance in distribution system (in MW) | Distribution constraints (in MW) | Any other reasion ( to be specfied) (MW) | [15 empty] | 5 | 01.00-01.15 | 49.91 |  | 1330 |  |  |  | MALANA-2 | 85 | 85 | 85 | 85 | 85 | 84.5 | 84.75 | 83.25 | 54.5 | 55 | 55 | 55 | 55 | 55 | 84 | 101 | 100 | 101 | 101 | 101 | 101 | 101 | 101 | 100 | 1998
[34 empty] | 6 | 01.15-01.30 | 49.89 |  | 1317 |  |  |  | SWARA KUDDU | 37.75 | 37 | 37 | 37 | 37 | 37.75 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 74 | 55.75 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 1278.25
[34 empty] | 7 | 01.30-01.45 | 49.92 |  | 1303
[34 empty] | 8 | 01.45-02:00 | 49.98 | 49.925 | 1297 | 1311.75
| OWN GEN | Malana | BASPA | MALANA-II | SAWRA KUDDU | BAJOLI HOLI | TOTAL | [15 empty] | OWN Generation | Malana | BASPA | TOTAL | [7 empty] | 9 | 02.00-02.15 | 49.99 |  | 1301 |  | Malana
[9 empty] | 5+6 | [24 empty] | 10 | 02.15-02.30 | 49.98 |  | 1313
[9 empty] | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P11/1000 | P12 | [5 empty] | P1 | [5 empty] | P3 | 11 | 02.30-02.45 | 49.91 |  | 1309
1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 8 | 9 | 10 | 12 | 02.45-03:00 | 49.97 | 49.9625 | 1316 | 1309.75
1 | 868.9517 | 92.4806 | 326.994 | 85 | 37.75 | 119.55 | 1530.7263 | -210.0393 | 1320.6871 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1320.6871 | 1 | 751.0975 | 92.25 | 325 | 1168.3475 | 1320.25 | 1337 | 1304 | 1320.25 | 1320.25 | 1320.6871 | 0 | 13 | 03.00-03.15 | 49.97 |  | 1313 |  | 92.25 | 1
2 | 872.4803 | 92.23 | 326.994 | 85 | 37 | 120.27 | 1533.9743 | -221.79 | 1312.1843 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1312.1843 | 2 | 754.1475 | 92 | 325 | 1171.1475 | 1311.75 | 1330 | 1297 | 1311.75 | 1311.75 | 1312.1843 | 0 | 14 | 03.15-03.30 | 49.93 |  | 1295 |  | 92 | 2
3 | 807.6644 | 92.23 | 326.994 | 85 | 37 | 119.6 | 1468.4884 | -158.3048 | 1310.1836 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1310.1836 | 3 | 698.1225 | 92 | 325 | 1115.1225 | 1309.75 | 1316 | 1301 | 1309.75 | 1309.75 | 1310.1836 | 0 | 15 | 03.30-03.45 | 49.93 |  | 1284 |  | 92 | 3
4 | 811.2798 | 94.9868 | 326.994 | 85 | 37 | 119.66 | 1474.9206 | -182.2428 | 1292.6778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1292.6778 | 4 | 701.2475 | 94.75 | 325 | 1120.9975 | 1292.25 | 1313 | 1277 | 1292.25 | 1292.25 | 1292.6778 | 0 | 16 | 03.45-04.00 | 49.92 | 49.9375 | 1277 | 1292.25 | 94.75 | 4
5 | 870.4267 | 95.2375 | 326.994 | 85 | 37 | 119.65 | 1534.3083 | -259.3083 | 1275 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1275 | 5 | 752.3725 | 95 | 325 | 1172.3725 | 1287.75 | 1303 | 1275 | 1275 | 1275 | 1275 | 0 | 17 | 04.00-04.15 | 50.01 |  | 1275 |  | 95 | 5
6 | 879.5374 | 95.2375 | 326.994 | 84.5 | 37.75 | 119.68 | 1543.6989 | -168.994 | 1374.705 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1374.705 | 6 | 760.2475 | 95 | 325 | 1180.2475 | 1374.25 | 1452 | 1316 | 1374.25 | 1374.25 | 1374.705 | 0 | 18 | 04.15-04.30 | 49.93 |  | 1278 |  | 95 | 6
7 | 871.0341 | 95.2375 | 326.994 | 84.75 | 74 | 119.58 | 1571.5956 | 59.9443 | 1631.5399 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1631.5399 | 7 | 752.8975 | 95 | 325 | 1172.8975 | 1631 | 1694 | 1552 | 1631 | 1631 | 1631.5399 | 0 | 19 | 04.30-04.45 | 49.97 |  | 1295 |  | 95 | 7
8 | 917.513 | 95.2375 | 326.994 | 83.25 | 74 | 119.17 | 1616.1645 | 131.8355 | 1748 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1748 | 8 | 793.0725 | 95 | 325 | 1213.0725 | 1733.25 | 1748 | 1710 | 1748 | 1748 | 1748 | 0 | 20 | 04.45-05.00 | 49.97 | 49.97 | 1303 | 1287.75 | 95 | 8
9 | 886.8259 | 45.3631 | 326.994 | 54.5 | 74 | 119.17 | 1506.8531 | 196.4606 | 1703.3137 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1703.3137 | 9 | 766.5475 | 45.25 | 325 | 1136.7975 | 1702.75 | 1708 | 1692 | 1702.75 | 1702.75 | 1703.3137 | 0 | 21 | 05.00-05.15 | 49.94 |  | 1316 |  | 45.25 | 9
10 | 857.5561 | 44.11 | 326.994 | 55 | 74 | 119.17 | 1476.8302 | 231.7353 | 1708.5654 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1708.5654 | 10 | 741.2475 | 44 | 325 | 1110.2475 | 1708 | 1714 | 1703 | 1708 | 1708 | 1708.5654 | 0 | 22 | 05.15-05.30 | 49.99 |  | 1349 |  | 44 | 10
11 | 836.3268 | 44.11 | 326.994 | 55 | 74 | 119.15 | 1455.5809 | 249.7335 | 1705.3144 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1705.3144 | 11 | 722.8975 | 44 | 325 | 1091.8975 | 1704.75 | 1711 | 1697 | 1704.75 | 1704.75 | 1705.3144 | 0 | 23 | 05.30-05.45 | 50.01 |  | 1380 |  | 44 | 11
12 | 823.4852 | 44.6112 | 326.994 | 55 | 74 | 109.38 | 1433.4704 | 231.0804 | 1664.5509 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1664.5509 | 12 | 711.7975 | 44.5 | 325 | 1081.2975 | 1664 | 1681 | 1647 | 1664 | 1664 | 1664.5509 | 0 | 24 | 05.45-06.00 | 49.98 | 49.98 | 1452 | 1374.25 | 44.5 | 12
13 | 858.1924 | 45.1125 | 326.994 | 55 | 74 | 109.38 | 1468.679 | 150.2568 | 1618.9358 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1618.9358 | 13 | 741.7975 | 45 | 325 | 1111.7975 | 1618.4 | 1659 | 1569 | 1618.4 | 1618.4 | 1618.9358 | 0 | 25 | 06.00-06.15 | 49.98 |  | 1552 |  | 45 | 13
14 | 886.2475 | 45.1125 | 326.994 | 55 | 74 | 109.41 | 1496.764 | 66.0865 | 1562.8505 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1562.8505 | 14 | 766.0475 | 45 | 325 | 1136.0475 | 1562.3333 | 1569 | 1561 | 1562.3333 | 1562.3333 | 1562.8505 | 0 | 26 | 06.15-06.30 | 49.9 |  | 1610 |  | 45 | 14
15 | 912.4804 | 74.6862 | 326.994 | 84 | 74 | 109.28 | 1581.4407 | 9.5859 | 1591.0265 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1591.0265 | 15 | 788.7225 | 74.5 | 325 | 1188.2225 | 1590.5 | 1601 | 1573 | 1590.5 | 1590.5 | 1591.0265 | 0 | 27 | 06.30-06.45 | 49.98 |  | 1668 |  | 74.5 | 15
16 | 942.8493 | 76.19 | 326.994 | 101 | 74 | 109.18 | 1630.2133 | -7.1762 | 1623.0371 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1623.0371 | 16 | 814.9725 | 76 | 325 | 1215.9725 | 1622.5 | 1647 | 1603 | 1622.5 | 1622.5 | 1623.0371 | 0 | 28 | 06.45-07.00 | 50 | 49.965 | 1694 | 1631 | 76 | 16
17 | 904.5266 | 88.7212 | 326.994 | 100 | 55.75 | 96.48 | 1572.4719 | -22.9591 | 1549.5128 | 0 | 0 | 0 | 0 | 0 | 3.5 | 0 | 0 | 0 | 3.5 | 0.0035 | 1553.0128 | 17 | 781.8475 | 88.5 | 325 | 1195.3475 | 1549 | 1582 | 1507 | 1549 | 1549 | 1549.5128 | 3.5 | 29 | 07.00-07.15 | 50 |  | 1734 |  | 88.5 | 17
18 | 885.2063 | 89.2225 | 328.0002 | 101 | 37 | 96.56 | 1536.9889 | -27.2393 | 1509.7496 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1509.7496 | 18 | 765.1475 | 89 | 326 | 1180.1475 | 1509.25 | 1522 | 1503 | 1509.25 | 1509.25 | 1509.7496 | 0 | 30 | 07.15-07.30 | 50.01 |  | 1748 |  | 89 | 18
19 | 919.6243 | 93.7337 | 328.0002 | 101 | 37 | 96.56 | 1575.9182 | -84.6747 | 1491.2435 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1491.2435 | 19 | 794.8975 | 93.5 | 326 | 1214.3975 | 1490.75 | 1517 | 1471 | 1490.75 | 1490.75 | 1491.2435 | 0 | 31 | 07.30-07.45 | 50.02 |  | 1741 |  | 93.5 | 19
20 | 987.882 | 92.23 | 328.0002 | 101 | 37 | 119.3 | 1665.4121 | -82.1381 | 1583.274 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1583.274 | 20 | 853.8975 | 92 | 326 | 1271.8975 | 1582.75 | 1593 | 1567 | 1582.75 | 1582.75 | 1583.274 | 0 | 32 | 07.45-08.00 | 50.07 | 50.025 | 1710 | 1733.25 | 92 | 20
21 | 986.7829 | 92.23 | 328.0002 | 101 | 37 | 119.33 | 1664.343 | -146.3407 | 1518.0024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1518.0024 | 21 | 852.9475 | 92 | 326 | 1270.9475 | 1517.5 | 1544 | 1490 | 1517.5 | 1517.5 | 1518.0024 | 0 | 33 | 08.00-08.15 | 50.02 |  | 1708 |  | 92 | 21
22 | 993.3194 | 92.23 | 328.0002 | 101 | 37 | 119.33 | 1670.8796 | -202.3936 | 1468.486 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1468.486 | 22 | 858.5975 | 92 | 326 | 1276.5975 | 1468 | 1482 | 1445 | 1468 | 1468 | 1468.486 | 0 | 34 | 08.15-08.30 | 50 |  | 1707 |  | 92 | 22
23 | 1006.3347 | 92.23 | 328.0002 | 101 | 37 | 119.3 | 1683.8648 | -280.1503 | 1403.7146 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1403.7146 | 23 | 869.8475 | 92 | 326 | 1287.8475 | 1403.25 | 1437 | 1369 | 1403.25 | 1403.25 | 1403.7146 | 0 | 35 | 08.30-08.45 | 49.96 |  | 1704 |  | 92 | 23
24 | 983.0808 | 92.23 | 328.0002 | 100 | 37 | 119.3 | 1659.6109 | -316.9166 | 1342.6944 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1342.6944 | 24 | 849.7475 | 92 | 326 | 1267.7475 | 1342.25 | 1365 | 1325 | 1342.25 | 1342.25 | 1342.6944 | 0 | 36 | 08.45-09.00 | 49.99 | 49.9925 | 1692 | 1702.75 | 92 | 24
[34 empty] | 37 | 09.00-09.15 | 49.96 |  | 1707
TOTAL (in MWh) | 21569.608 | 1905 | 7854.9 | 1998 | 1278.25 | 2747.44 | 37353.198 | -1043.9488 | 36309.2492 | 0 | 0 | 0 | 0 | 0 | 3.5 | 0 | 0 | 0 | 3.5 | 3.5 | 36312.7492 | TOTAL | 18644.165 | 1900.25 | 7807 | 28351.415 | 36296.2333 |  |  | 36298.2333 | 36298.2333 | 36309.2492 | 3.5 | 38 | 09.15-09.30 | 49.92 |  | 1708
[34 empty] | 39 | 09.30-09.45 | 49.98 |  | 1714
[34 empty] | 40 | 09.45-10.00 | 50 | 49.965 | 1703 | 1708
|  |  | Hourly Average Frequency (Fr) |  |  |  | 5+6 P4 12: 49.9769; 5+6 P6 14: HZ | Note :- Please don't edit these figures. | [11 empty] | 41 | 10.00-10.15 | 50 |  | 1705
|  |  | Demand met for the day |  |  |  | 5+6 P4 12: 1748; 5+6 P6 14: MW | [12 empty] | 42 | 10.15-10.30 | 50 |  | 1711
|  |  | Unrestricted Demand for the day |  |  |  | 5+6 P4 12: 1748; 5+6 P6 14: MW | MAX = | 1748 | [10 empty] | 43 | 10.30-10.45 | 49.99 |  | 1697
|  |  | Minimum Demand(Unrestricted) for the day |  |  |  | 5+6 P4 12: 1275; 5+6 P6 14: MW; 5+6 P11 19: Aux.; 5+6 P11/1000 20: Net gen. | MIN = | 1275 | [10 empty] | 44 | 10.45-11.00 | 49.99 | 49.995 | 1706 | 1704.75
|  |  | Gross own generation |  |  |  | 5+6 P4 12: 21569.608; 5+6 P6 14: MWH; 5+6 P11 19: 35.961; 5+6 P11/1000 20: 21533.647 | [12 empty] | 45 | 11.00-11.15 | 49.99 |  | 1681
|  |  | Gross Baspa generation |  |  |  | 5+6 P4 12: 7854.9; 5+6 P6 14: MWH; 5+6 P11 19: 8; 5+6 P11/1000 20: 7846.9 | [12 empty] | 46 | 11.15-11.30 | 49.95 |  | 1675
|  |  | Gross Malana generation |  |  |  | 5+6 P4 12: 1905; 5+6 P6 14: MWH; 5+6 P11 19: 13.528; 5+6 P11/1000 20: 1891.472 | [12 empty] | 47 | 11.30-11.45 | 49.95 |  | 1653
|  |  | Malana generation at 0300 Hrs. |  |  |  | 5+6 P4 12: 92; 5+6 P6 14: MW | [12 empty] | 48 | 11.45-12.00 | 50 | 49.9725 | 1647 | 1664
|  |  | Malana generation at 2400 Hrs. |  |  |  | 5+6 P4 12: 92; 5+6 P6 14: MW | [12 empty] | 49 | 12.00-12.15 | 49.97 |  | 1659
|  |  | Max.generation of Malana at 500 Hrs. |  |  |  | 5+6 P4 12: 95; 5+6 P6 14: MW | [12 empty] | 50 | 12.15-12.30 | 49.95 |  | 1630
[7 empty] | 5+6 P2 10: Off Peak Hrs MW; 5+6 P4 12: Peak Hrs MW; 5+6 P11 19: Gross Lus; 5+6 P11/1000 20: Net Lus | [16 empty] | 1620
|  |  | Total Own Generation |  |  |  | 5+6 P2 10: 784.2788; 5+6 P4 12: 1042.5214; 5+6 P11 19: 215.6961; 5+6 P11/1000 20: 215.3365 | [12 empty] | 51 | 12.30-12.45 | 49.98 |  | 1614
|  |  | Above 25 MW |  |  |  | 5+6 P2 10: 343.8116; 5+6 P4 12: 450.6245; 5+6 P11 19: 94.2441; 5+6 P11/1000 20: 93.9348 | [12 empty] | 52 | 12.45-13.00 | 49.93 | 49.9575 | 1569 | 1618.4
|  |  | Below 25 MW(Small Hydro <25 MW) |  |  |  | 5+6 P2 10: 440.4672; 5+6 P4 12: 591.897; 5+6 P11 19: 121.452; 5+6 P11/1000 20: 121.4017 | [12 empty] | 53 | 13.00-13.15 | 50.02 |  | 1557
[34 empty] | 55 | 13.30-13.45 | 50 |  | 1561
HOURLY LOAD SHEDDING UNDER DIFFERENT CATEGORIES | [6 empty] | 5+6 P1 9: DATE; 5+6 P2 10: 2022-09-10 01:47 | [12 empty] | 56 | 13.45-14.00 | 50.01 | 50.01 | 1569 | 1562.3333
LOAD NOT SERVED DUE TO | [33 empty] | 57 | 14.00-14.15 | 49.99 |  | 1573 | bar: 7 to 5+6 P2 10
Hrs | Low Availablity (in MW) | Financial Constraints (in MW) | Emergency load shedding due to security and reliability of the Grid-over Drawl (in MW) | Planned maintenance in transmission system (in MW) | Transmission constraint (in MW) |  | 7: Planned maintenance in distribution system (in MW); 8: Distribution constraints (in MW); 5+6 P1 9: Any other reasion ( to be specfied) (MW); 5+6 P2 10: Total (in MW) | [12 empty] | 58 | 14.15-14.30 | 50 |  | 1590
1 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 59 | 14.30-14.45 | 49.95 |  | 1598
2 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 60 | 14.45-15.00 | 50 | 49.985 | 1601 | 1590.5
3 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 61 | 15.00-15.15 | 50.02 |  | 1635
4 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 62 | 15.15-15.30 | 50.01 |  | 1647
5 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 63 | 15.30-15.45 | 50.06 |  | 1605
6 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 64 | 15.45-16.00 | 50.05 | 50.035 | 1603 | 1622.5
7 | 0 | 0 | 0 |  | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 65 | 16.00-16.15 | 50.07 |  | 1582
8 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 66 | 16.15-16.30 | 50.02 |  | 1557
9 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 67 | 16.30-16.45 | 50 |  | 1550
10 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 68 | 16.45-17.00 | 50.02 | 50.0275 | 1507 | 1549
11 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 69 | 17.00-17.15 | 50 |  | 1522
12 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 70 | 17.15-17.30 | 50.01 |  | 1505
13 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 71 | 17.30-17.45 | 50 |  | 1503
14 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 72 | 17.45-18.00 | 49.98 | 49.9975 | 1507 | 1509.25
15 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 73 | 18.00-18.15 | 49.95 |  | 1495
16 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 74 | 18.15-18.30 | 49.94 |  | 1471
17 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 75 | 18.30-18.45 | 49.96 |  | 1480
18 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 76 | 18.45-19.00 | 49.9 | 49.9375 | 1517 | 1490.75
19 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 77 | 19.00-19.15 | 49.89 |  | 1567
20 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 78 | 19.15-19.30 | 49.83 |  | 1593
21 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 79 | 19.30-19.45 | 49.86 |  | 1591
22 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 80 | 19.45-20.00 | 49.98 | 49.89 | 1580 | 1582.75
23 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 81 | 20.00-20.15 | 49.99 |  | 1544
24 | 0 | 0 | 0 | 0 | 0 |  | 7: 0; 8: 0; 5+6 P1 9: 0; 5+6 P2 10: 0 | [12 empty] | 82 | 20.15-20.30 | 49.99 |  | 1522
Total | [33 empty] | 83 | 20.30-20.45 | 50.01 |  | 1514
[34 empty] | 84 | 20.45-21.00 | 50.02 | 50.0025 | 1490 | 1517.5
[34 empty] | 85 | 21.00-21.15 | 50 |  | 1475
[34 empty] | 86 | 21.15-21.30 | 50.01 |  | 1482
[34 empty] | 87 | 21.30-21.45 | 49.99 |  | 1470
[34 empty] | 88 | 21.45-22.00 | 50 | 50 | 1445 | 1468
[34 empty] | 89 | 22.00-22.15 | 49.98 |  | 1437
[34 empty] | 90 | 22.15-22.30 | 50 |  | 1416
[34 empty] | 91 | 22.30-22.45 | 49.93 |  | 1391
[34 empty] | 92 | 22.45-23.00 | 49.99 | 49.975 | 1369 | 1403.25
[34 empty] | 93 | 23.00-23.15 | 49.99 |  | 1365
[34 empty] | 94 | 23.15-23.30 | 49.98 |  | 1344
[34 empty] | 95 | 23.30-23.45 | 49.88 |  | 1325
[34 empty] | 96 | 23.45-24.00 | 49.98 | 49.9575 | 1335 | 1342.25
[35 empty] | Total | 49.9771 | 49.9774 | 36310.25 | 36296.2333
[35 empty] | max | 1748 |  | avg. max | 1733.25
[35 empty] | min | 1275 |  | avg. min | 1287.75
Note on AG16: ReportServer: critical formulas…….do not disturb
Note on AH16: ReportServer: critical formulas…….do not disturb
Note on Y24: Please don't edit here
Note on H25: Column no. 5 =Sum (2+3+4 Column)
Note on L25: The fig of power cut comes from daily hourly load sheet.